## FCR Read Me
SCHEDULE 62 UPDATE January 1, 2021
UE-190529 Electric Rate Design Work Paper
2019 GRC Compliance Filing
Effective October 15, 2020
Background | In order to caculate customer-specific rates, it is necessary to convert the distribution plant used by the customer into a levelized fixed charge rate (FCR). This spreadsheet shows what annual rate is necessary to recover the remaining value of the distribution facilities used to serve the customer
Inputs | Once the cost of capital and capital structure for the rate case has been determined, those numbers should be entered in the top of the tab LvlFCR.
Notes: | Based upon the depreciation study, gross plant, and plant in service assume all facilities under the Special Contract distribution rate have an original life of 49 years for substation equipment and 35 years for OH/UG Feeder
Cost of Capital updated for Docket No. UE-190529 @ 7.390%

## Sch 62 FCR Table
Special Contract Fixed Charge Rates For Land and Depreciable Plant
Docket No. UE-190529 + Weighted Cost of Capital = 7.390% + 49 Year Substation Plant Life + 35 Year Feeder Plant Life
With FIT & Revenue sensitive together
Book Life | Real Property O&M, A&G and Capital Charge | Replacement Coverage FCR | FCR on Net Plant Value of Feeders | FCR on Net Plant Value of Substations
0 | 8.918% | 8.193% | 8.742% | 9.84%
1 |  |  | 8.747% | 9.785%
2 |  |  | 8.768% | 9.75%
3 |  |  | 8.796% | 9.718%
4 |  |  | 8.831% | 9.686%
5 |  |  | 8.873% | 9.653%
6 |  |  | 8.922% | 9.62%
7 |  |  | 8.979% | 9.584%
8 |  |  | 9.045% | 9.545%
9 |  |  | 9.121% | 9.503%
10 |  |  | 9.211% | 9.46%
11 |  |  | 9.315% | 9.427%
12 |  |  | 9.436% | 9.407%
13 |  |  | 9.579% | 9.396%
14 |  |  | 9.745% | 9.395%
15 |  |  | 9.941% | 9.407%
16 |  |  | 10.17% | 9.433%
17 |  |  | 10.45% | 9.477%
18 |  |  | 10.77% | 9.54%
19 |  |  | 11.17% | 9.626%
20 |  |  | 11.64% | 9.739%
21 |  |  | 12.18% | 9.847%
22 |  |  | 12.8% | 9.95%
23 |  |  | 13.54% | 10.06%
24 |  |  | 14.43% | 10.18%
25 |  |  | 15.52% | 10.31%
26 |  |  | 16.88% | 10.45%
27 |  |  | 18.63% | 10.6%
28 |  |  | 20.95% | 10.77%
29 |  |  | 24.16% | 10.95%
30 |  |  | 28.86% | 11.16%
31 |  |  | 36.35% | 11.38%
32 |  |  | 49.99% | 11.64%
33 |  |  | 81.55% | 11.92%
34 |  |  | 210.1% | 12.24%
35 |  |  |  | 12.61%
36 |  |  |  | 13.04%
37 |  |  |  | 13.53%
38 |  |  |  | 14.12%
39 |  |  |  | 14.82%
40 |  |  |  | 14.85%
41 |  |  |  | 14.88%
42 |  |  |  | 14.92%
43 |  |  |  | 14.95%
44 |  |  |  | 14.99%
45 |  |  |  | 15.02%
46 |  |  |  | 15.06%
47 |  |  |  | 15.1%
48 |  |  |  | 15.15%
49

## FCR Rates Feeder
Special Contract Fixed Charge Rates For Depreciable Plant
Docket No. UE-190529 + Weighted Cost of Capital = 7.390% + 35 Year Feeder Plant Life
Book Life | NPV Rev Requirements | Annualized | FCR on net Plant Value
0 | 108540.0967 | 8742.0167 | 8.742%
1 | 104800.4668 | 8497.2573 | 8.747%
2 | 101232.622 | 8267.3375 | 8.768%
3 | 97712.3454 | 8042.3105 | 8.796%
4 | 94233.8082 | 7821.7556 | 8.831%
5 | 90790.7515 | 7605.2047 | 8.873%
6 | 87381.593 | 7392.5694 | 8.922%
7 | 84001.3629 | 7183.4688 | 8.979%
8 | 80644.724 | 6977.4732 | 9.045%
9 | 77326.5035 | 6775.8965 | 9.121%
10 | 74049.5407 | 6579.0571 | 9.211%
11 | 70816.8844 | 6387.3155 | 9.315%
12 | 67631.809 | 6201.0837 | 9.436%
13 | 64497.8305 | 6020.8367 | 9.579%
14 | 61418.7252 | 5847.1273 | 9.745%
15 | 58398.5481 | 5680.6061 | 9.941%
16 | 55441.654 | 5522.0472 | 10.17%
17 | 52552.7196 | 5372.3821 | 10.45%
18 | 49736.7669 | 5232.7472 | 10.77%
19 | 46999.1896 | 5104.5473 | 11.17%
20 | 44345.7793 | 4989.5458 | 11.64%
21 | 41638.8435 | 4873.1507 | 12.18%
22 | 38878.6387 | 4755.2243 | 12.8%
23 | 36116.8349 | 4642.1537 | 13.54%
24 | 33353.3141 | 4534.6913 | 14.43%
25 | 30587.9492 | 4433.8775 | 15.52%
26 | 27820.6041 | 4341.2011 | 16.88%
27 | 25051.1325 | 4258.8812 | 18.63%
28 | 22279.377 | 4190.3899 | 20.95%
29 | 19505.1691 | 4141.4984 | 24.16%
30 | 16728.3274 | 4122.5776 | 28.86%
31 | 13948.6573 | 4154.3515 | 36.35%
32 | 11165.9498 | 4285.155 | 49.99%
33 | 8379.9804 | 4659.9674 | 81.55%
34 | 5590.508 | 6003.6466 | 210.1%
35

## FCR Rates Sub
Special Contract Fixed Charge Rates For Depreciable Plant
Docket No. UE-190529 + Weighted Cost of Capital = 7.390% + 49 Year Sub Plant Life
Book Life | NPV Rev Requirements | Annualized | FCR on Gross Plant Value | NBV | FCR ON 10 Year Terms | Annual | Substation NBV Based on 10 Year
0 | 107501.4434 | 8193.3769 | 8.193% | 100000 | 67883.37 | 9840.0368 | 9.84%
1 |  |  |  | 97959.1837 | 66127.2478 | 9585.478 | 9.785%
2 |  |  |  | 95918.3673 | 64519.5873 | 9352.4395 | 9.75%
3 |  |  |  | 93877.551 | 62934.4478 | 9122.6656 | 9.718%
4 |  |  |  | 91836.7347 | 61364.1497 | 8895.0429 | 9.686%
5 |  |  |  | 89795.9184 | 59800.4462 | 8668.3762 | 9.653%
6 |  |  |  | 87755.102 | 58239.6204 | 8442.1267 | 9.62%
7 |  |  |  | 85714.2857 | 56674.4102 | 8215.2415 | 9.584%
8 |  |  |  | 83673.4694 | 55097.0163 | 7986.5904 | 9.545%
9 |  |  |  | 81632.6531 | 53519.6225 | 7757.9392 | 9.503%
10 |  |  |  | 79591.8367 | 51942.2287 | 7529.288 | 9.46%
11 |  |  |  | 77551.0204 | 50435.3789 | 7310.8625 | 9.427%
12 |  |  |  | 75510.2041 | 49002.2217 | 7103.1191 | 9.407%
13 |  |  |  | 73469.3878 | 47620.9453 | 6902.8962 | 9.396%
14 |  |  |  | 71428.5714 | 46295.3838 | 6710.7493 | 9.395%
15 |  |  |  | 69387.7551 | 45029.6543 | 6527.2755 | 9.407%
16 |  |  |  | 67346.9388 | 43828.1785 | 6353.1155 | 9.433%
17 |  |  |  | 65306.1224 | 42695.7048 | 6188.9577 | 9.477%
18 |  |  |  | 63265.3061 | 41637.3325 | 6035.5413 | 9.54%
19 |  |  |  | 61224.4898 | 40658.5375 | 5893.66 | 9.626%
20 |  |  |  | 59183.6735 | 39765.2007 | 5764.1664 | 9.739%
21 |  |  |  | 57142.8571 | 38819.7248 | 5627.1149 | 9.847%
22 |  |  |  | 55102.0408 | 37822.4688 | 5482.5576 | 9.95%
23 |  |  |  | 53061.2245 | 36825.2127 | 5338.0003 | 10.06%
24 |  |  |  | 51020.4082 | 35827.9567 | 5193.443 | 10.18%
25 |  |  |  | 48979.5918 | 34830.7007 | 5048.8857 | 10.31%
26 |  |  |  | 46938.7755 | 33833.4446 | 4904.3284 | 10.45%
27 |  |  |  | 44897.9592 | 32836.1886 | 4759.7711 | 10.6%
28 |  |  |  | 42857.1429 | 31838.9325 | 4615.2138 | 10.77%
29 |  |  |  | 40816.3265 | 30841.6765 | 4470.6565 | 10.95%
30 |  |  |  | 38775.5102 | 29844.4205 | 4326.0992 | 11.16%
31 |  |  |  | 36734.6939 | 28847.1644 | 4181.5419 | 11.38%
32 |  |  |  | 34693.8776 | 27849.9084 | 4036.9847 | 11.64%
33 |  |  |  | 32653.0612 | 26852.6524 | 3892.4274 | 11.92%
34 |  |  |  | 30612.2449 | 25855.3963 | 3747.8701 | 12.24%
35 |  |  |  | 28571.4286 | 24858.1403 | 3603.3128 | 12.61%
36 |  |  |  | 26530.6122 | 23860.8843 | 3458.7555 | 13.04%
37 |  |  |  | 24489.7959 | 22863.6282 | 3314.1982 | 13.53%
38 |  |  |  | 22448.9796 | 21866.3722 | 3169.6409 | 14.12%
39 |  |  |  | 20408.1633 | 20869.1161 | 3025.0836 | 14.82%
40 |  |  |  | 18367.3469 | 18820.062 | 2728.0629 | 14.85%
41 |  |  |  | 16326.5306 | 16764.1401 | 2430.0466 | 14.88%
42 |  |  |  | 14285.7143 | 14700.8428 | 2130.9613 | 14.92%
43 |  |  |  | 12244.898 | 12629.6251 | 1830.7279 | 14.95%
44 |  |  |  | 10204.0816 | 10549.9018 | 1529.2615 | 14.99%
45 |  |  |  | 8163.2653 | 8461.0442 | 1226.471 | 15.02%
46 |  |  |  | 6122.449 | 6362.3773 | 922.2587 | 15.06%
47 |  |  |  | 4081.6327 | 4253.1762 | 616.5193 | 15.1%
48 |  |  |  | 2040.8163 | 2132.6624 | 309.1402 | 15.15%
49

## Lvl FCR Sub Equip
Special Contract Analysis | [16 empty] | ‚
For Substations and Feeder Lines at Primary Service Voltage | [7 empty] | CAPITAL STRUCTURE: |  |  |  |  | PUGET SOUND ENERGY-ELECTRIC |  |  |  | ‚
[8 empty] | L.T. Debt | 51.5% | 5.495% | 2.83% |  | CONVERSION FACTOR
[8 empty] | S.T. Debt | 0% | 0% | 0% |  | FOR THE TWELVE MONTHS ENDED DECEMBER 31, 2018
[8 empty] | ALL DEBT | 51.5% |  | 2.83% |  | 2019 GENERAL RATE CASE |  |  |  | ‚
[8 empty] | PREFERRED | 0% | 0% | 0% | [5 empty] | ‚
|  | NPV Revenue Req. |  | 107501.4434 |  |  |  | COMMON | 48.5% | 9.4% | 4.56% |  | LINE |  |  |  | ‚
|  | Annual Equivalent |  | 8193.3769 | [6 empty] | ----------- |  | NO. | DESCRIPTION | %'s | RATE | ‚
|  | FCR |  | 8.1934 |  |  |  | COST OF CAPITAL |  |  | 7.39% | [5 empty] | ‚
[13 empty] | 1 | BAD DEBTS |  | 0.008479 | ‚
|  | 1st YR MOS. | 12 |  |  |  | 0.04% | Insurance Rate |  |  |  |  | 2 | ANNUAL FILING FEE |  | 0.002 | ‚
|  | BOOK VALUE | 100000 |  |  |  | 49 | Substation Book Life |  |  |  |  | 3 | STATE UTILITY TAX - NET OF BAD DEBTS ( 3.8734% - ( LINE 1 * 3.8734%) ) | 3.873% | 0.038406 | ‚
|  | TAX BASIS | 100000 |  |  |  | 24.86% | Income Tax Rate + Revenue Sensitive Items = 1-Conv Factor |  |  |  |  | 5 | SUM OF TAXES OTHER |  | 0.048885 | ‚
|  | DEPREC BASE | 100000 |  |  |  | 21% | Income Tax Rate |  |  |  |  | 7 | CONVERSION FACTOR EXCLUDING FEDERAL INCOME TAX ( 1 - LINE 5) |  | 0.95112
[13 empty] | 8 | FEDERAL INCOME TAX | 21% | 0.19973
Year | Net Book Value | 20 Year MACRS | Net Investment | Tax Depreciation | Deferred Taxes | Debt Return | Equity Return | Book Depreciation | Property Insurance | Income Taxes | Revenue Requirement | NPV10 Years | 9 | CONVERSION FACTOR INCL FEDERAL INCOME TAX ( LINE 5 + LINE 8 ) |  | 0.75138
1 | 100000 | 0.038 | 100000 | 3800 | 369.4286 | 2830 | 4560 | 2040.8163 | 40 | 1062.2146 | 10902.4595 | 67883.37
2 | 97959.1837 | 0.072 | 97589.7551 | 7200 | 1083.4286 | 2761.7901 | 4450.0928 | 2040.8163 | 39.1837 | 136.8271 | 10512.1386 | 66127.2478
3 | 95918.3673 | 0.067 | 94465.5102 | 6700 | 978.4286 | 2673.3739 | 4307.6273 | 2040.8163 | 38.3673 | 220.1163 | 10258.7297 | 64519.5873
4 | 93877.551 | 0.062 | 91446.2653 | 6200 | 873.4286 | 2587.9293 | 4169.9497 | 2040.8163 | 37.551 | 304.9897 | 10014.6646 | 62934.4478
5 | 91836.7347 | 0.057 | 88532.0204 | 5700 | 768.4286 | 2505.4562 | 4037.0601 | 2040.8163 | 36.7347 | 391.4474 | 9779.9433 | 61364.1497
6 | 89795.9184 | 0.053 | 85722.7755 | 5300 | 684.4286 | 2425.9545 | 3908.9586 | 2040.8163 | 35.9184 | 453.3497 | 9549.426 | 59800.4462
7 | 87755.102 | 0.049 | 82997.5306 | 4900 | 600.4286 | 2348.8301 | 3784.6874 | 2040.8163 | 35.102 | 516.5193 | 9326.3838 | 58239.6204
8 | 85714.2857 | 0.045 | 80356.2857 | 4500 | 516.4286 | 2274.0829 | 3664.2466 | 2040.8163 | 34.2857 | 580.9564 | 9110.8165 | 56674.4102
9 | 83673.4694 | 0.045 | 77799.0408 | 4500 | 516.4286 | 2201.7129 | 3547.6363 | 2040.8163 | 33.4694 | 542.1019 | 8882.1653 | 55097.0163
10 | 81632.6531 | 0.045 | 75241.7959 | 4500 | 516.4286 | 2129.3428 | 3431.0259 | 2040.8163 | 32.6531 | 503.2474 | 8653.5141 | 53519.6225
11 | 79591.8367 | 0.045 | 72684.551 | 4500 | 516.4286 | 2056.9728 | 3314.4155 | 2040.8163 | 31.8367 | 464.393 | 8424.8629 | 51942.2287
12 | 77551.0204 | 0.045 | 70127.3061 | 4500 | 516.4286 | 1984.6028 | 3197.8052 | 2040.8163 | 31.0204 | 425.5385 | 8196.2117 | 50435.3789
13 | 75510.2041 | 0.045 | 67570.0612 | 4500 | 516.4286 | 1912.2327 | 3081.1948 | 2040.8163 | 30.2041 | 386.684 | 7967.5606 | 49002.2217
14 | 73469.3878 | 0.045 | 65012.8163 | 4500 | 516.4286 | 1839.8627 | 2964.5844 | 2040.8163 | 29.3878 | 347.8296 | 7738.9094 | 47620.9453
15 | 71428.5714 | 0.045 | 62455.5714 | 4500 | 516.4286 | 1767.4927 | 2847.9741 | 2040.8163 | 28.5714 | 308.9751 | 7510.2582 | 46295.3838
16 | 69387.7551 | 0.045 | 59898.3265 | 4500 | 516.4286 | 1695.1226 | 2731.3637 | 2040.8163 | 27.7551 | 270.1207 | 7281.607 | 45029.6543
17 | 67346.9388 | 0.045 | 57341.0816 | 4500 | 516.4286 | 1622.7526 | 2614.7533 | 2040.8163 | 26.9388 | 231.2662 | 7052.9558 | 43828.1785
18 | 65306.1224 | 0.045 | 54783.8367 | 4500 | 516.4286 | 1550.3826 | 2498.143 | 2040.8163 | 26.1224 | 192.4117 | 6824.3046 | 42695.7048
19 | 63265.3061 | 0.045 | 52226.5918 | 4500 | 516.4286 | 1478.0125 | 2381.5326 | 2040.8163 | 25.3061 | 153.5573 | 6595.6534 | 41637.3325
20 | 61224.4898 | 0.045 | 49669.3469 | 4500 | 516.4286 | 1405.6425 | 2264.9222 | 2040.8163 | 24.4898 | 114.7028 | 6367.0022 | 40658.5375
21 | 59183.6735 | 0.017 | 47112.102 | 1700 | -71.5714 | 1333.2725 | 2148.3119 | 2040.8163 | 23.6735 | 807.7609 | 6282.2636 | 39765.2007
22 | 57142.8571 | 0 | 45142.8571 | 0 | -428.5714 | 1277.5429 | 2058.5143 | 2040.8163 | 22.8571 | 1222.1539 | 6193.3131 | 38819.7248
23 | 55102.0408 | 0 | 43530.6122 | 0 | -428.5714 | 1231.9163 | 1984.9959 | 2040.8163 | 22.0408 | 1197.5578 | 6048.7558 | 37822.4688
24 | 53061.2245 | 0 | 41918.3673 | 0 | -428.5714 | 1186.2898 | 1911.4776 | 2040.8163 | 21.2245 | 1172.9617 | 5904.1985 | 36825.2127
25 | 51020.4082 | 0 | 40306.1224 | 0 | -428.5714 | 1140.6633 | 1837.9592 | 2040.8163 | 20.4082 | 1148.3657 | 5759.6412 | 35827.9567
26 | 48979.5918 | 0 | 38693.8776 | 0 | -428.5714 | 1095.0367 | 1764.4408 | 2040.8163 | 19.5918 | 1123.7696 | 5615.0839 | 34830.7007
27 | 46938.7755 | 0 | 37081.6327 | 0 | -428.5714 | 1049.4102 | 1690.9224 | 2040.8163 | 18.7755 | 1099.1735 | 5470.5266 | 33833.4446
28 | 44897.9592 | 0 | 35469.3878 | 0 | -428.5714 | 1003.7837 | 1617.4041 | 2040.8163 | 17.9592 | 1074.5775 | 5325.9693 | 32836.1886
29 | 42857.1429 | 0 | 33857.1429 | 0 | -428.5714 | 958.1571 | 1543.8857 | 2040.8163 | 17.1429 | 1049.9814 | 5181.412 | 31838.9325
30 | 40816.3265 | 0 | 32244.898 | 0 | -428.5714 | 912.5306 | 1470.3673 | 2040.8163 | 16.3265 | 1025.3853 | 5036.8547 | 30841.6765
31 | 38775.5102 | 0 | 30632.6531 | 0 | -428.5714 | 866.9041 | 1396.849 | 2040.8163 | 15.5102 | 1000.7893 | 4892.2974 | 29844.4205
32 | 36734.6939 | 0 | 29020.4082 | 0 | -428.5714 | 821.2776 | 1323.3306 | 2040.8163 | 14.6939 | 976.1932 | 4747.7401 | 28847.1644
33 | 34693.8776 | 0 | 27408.1633 | 0 | -428.5714 | 775.651 | 1249.8122 | 2040.8163 | 13.8776 | 951.5971 | 4603.1829 | 27849.9084
34 | 32653.0612 | 0 | 25795.9184 | 0 | -428.5714 | 730.0245 | 1176.2939 | 2040.8163 | 13.0612 | 927.0011 | 4458.6256 | 26852.6524
35 | 30612.2449 | 0 | 24183.6735 | 0 | -428.5714 | 684.398 | 1102.7755 | 2040.8163 | 12.2449 | 902.405 | 4314.0683 | 25855.3963
36 | 28571.4286 | 0 | 22571.4286 | 0 | -428.5714 | 638.7714 | 1029.2571 | 2040.8163 | 11.4286 | 877.8089 | 4169.511 | 24858.1403
37 | 26530.6122 | 0 | 20959.1837 | 0 | -428.5714 | 593.1449 | 955.7388 | 2040.8163 | 10.6122 | 853.2129 | 4024.9537 | 23860.8843
38 | 24489.7959 | 0 | 19346.9388 | 0 | -428.5714 | 547.5184 | 882.2204 | 2040.8163 | 9.7959 | 828.6168 | 3880.3964 | 22863.6282
39 | 22448.9796 | 0 | 17734.6939 | 0 | -428.5714 | 501.8918 | 808.702 | 2040.8163 | 8.9796 | 804.0207 | 3735.8391 | 21866.3722
40 | 20408.1633 | 0 | 16122.449 | 0 | -428.5714 | 456.2653 | 735.1837 | 2040.8163 | 8.1633 | 779.4247 | 3591.2818 | 20869.1161
41 | 18367.3469 | 0 | 14510.2041 | 0 | -428.5714 | 410.6388 | 661.6653 | 2040.8163 | 7.3469 | 754.8286 | 3446.7245 | 18820.062
42 | 16326.5306 | 0 | 12897.9592 | 0 | -428.5714 | 365.0122 | 588.1469 | 2040.8163 | 6.5306 | 730.2325 | 3302.1672 | 16764.1401
43 | 14285.7143 | 0 | 11285.7143 | 0 | -428.5714 | 319.3857 | 514.6286 | 2040.8163 | 5.7143 | 705.6365 | 3157.6099 | 14700.8428
44 | 12244.898 | 0 | 9673.4694 | 0 | -428.5714 | 273.7592 | 441.1102 | 2040.8163 | 4.898 | 681.0404 | 3013.0526 | 12629.6251
45 | 10204.0816 | 0 | 8061.2245 | 0 | -428.5714 | 228.1327 | 367.5918 | 2040.8163 | 4.0816 | 656.4443 | 2868.4954 | 10549.9018
46 | 8163.2653 | 0 | 6448.9796 | 0 | -428.5714 | 182.5061 | 294.0735 | 2040.8163 | 3.2653 | 631.8483 | 2723.9381 | 8461.0442
47 | 6122.449 | 0 | 4836.7347 | 0 | -428.5714 | 136.8796 | 220.5551 | 2040.8163 | 2.449 | 607.2522 | 2579.3808 | 6362.3773
48 | 4081.6327 | 0 | 3224.4898 | 0 | -428.5714 | 91.2531 | 147.0367 | 2040.8163 | 1.6327 | 582.6561 | 2434.8235 | 4253.1762
49 | 2040.8163 | 0 | 1612.2449 | 0 | -428.5714 | 45.6265 | 73.5184 | 2040.8163 | 0.81633 | 558.0601 | 2290.2662 | 2132.6624
50 | 5.2296e-11 | 0 | 8.5265e-11 | 0 | 0 | 2.413e-12 | 3.8881e-12 | 0 | 2.0918e-14 | 1.2934e-12 | 7.6154e-12 | 7.0914e-12
----------- |  | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | -----------
TOTAL |  | 1 |  | 100000 | -1.0118e-11 | 61909.1932 | 99754.7424 | 100000 | 1000 | 33338.0047 | 296001.9403
|  | PRESENT WORTH |  | 52990.352 | 5504.8899 | 25932.8024 | 41785.7169 | 26776.5908 | 396.3378 | 7105.1056 | 107501.4434

## Lvl FCR Feeder
Special Contrct Analysis | [12 empty] | ‚
For Substations and Feeder Lines at Primary Service Voltage | [7 empty] | CAPITAL STRUCTURE |  |  |  |  | ‚
[8 empty] | L.T. Debt | 51.5% | 5.495% | 2.83%
[8 empty] | S.T. Debt | 0% | 0% | 0%
[8 empty] | ALL DEBT | 51.5% |  | 2.83% |  | ‚
[8 empty] | PREFERRED | 0% | 0% | 0% |  | ‚
|  | NPV Revenue Req. |  | 108309.4217 |  |  |  | COMMON | 48.5% | 9.4% | 4.56% |  | ‚
|  | Annual Equivalent |  | 8723.4377 | [6 empty] | ----------- |  | ‚
|  | FCR |  | 8.7234 |  |  |  | COST OF CAPITAL |  |  | 7.39% |  | ‚
‚
|  | 1st YR MOS. | 12 |  |  |  | 0.04% | Insurance Rate |  |  |  |  | ‚
|  | BOOK VALUE | 100000 |  |  |  | 35 | Feeder Book Life |  |  |  |  | ‚
|  | TAX BASIS | 100000 |  |  |  | 24.86% | Income Tax Rate + Revenue Sensitive Items |  |  |  |  | ‚
|  | DEPREC BASE | 100000 |  |  |  | 21% | Income Tax Rate
Year | Net Book Value | 20 Year MACRS | Net Investment | Tax Depreciation | Deferred Taxes | Debt Return | Equity Return | Book Depreciation | Property Insurance | Income Taxes | Revenue Requirement | NPV10 Years
1 | 100000 | 0.038 | 100000 | 3800 | 198 | 2830 | 4560 | 2857.1429 | 40 | 1275.6002 | 11760.7431 | 72241.9923
2 | 97142.8571 | 0.072 | 96944.8571 | 7200 | 912 | 2743.5395 | 4420.6855 | 2857.1429 | 38.8571 | 340.3743 | 11312.5992 | 70086.9677
3 | 94285.7143 | 0.067 | 93175.7143 | 6700 | 807 | 2636.8727 | 4248.8126 | 2857.1429 | 37.7143 | 413.825 | 11001.3674 | 68080.4048
4 | 91428.5714 | 0.062 | 89511.5714 | 6200 | 702 | 2533.1775 | 4081.7277 | 2857.1429 | 36.5714 | 488.86 | 10699.4794 | 66096.3628
5 | 88571.4286 | 0.057 | 85952.4286 | 5700 | 597 | 2432.4537 | 3919.4307 | 2857.1429 | 35.4286 | 565.4793 | 10406.9352 | 64127.1624
6 | 85714.2857 | 0.053 | 82498.2857 | 5300 | 513 | 2334.7015 | 3761.9218 | 2857.1429 | 34.2857 | 617.5431 | 10118.595 | 62164.5564
7 | 82857.1429 | 0.049 | 79128.1429 | 4900 | 429 | 2239.3264 | 3608.2433 | 2857.1429 | 33.1429 | 670.8743 | 9837.7298 | 60204.8283
8 | 80000 | 0.045 | 75842 | 4500 | 345 | 2146.3286 | 3458.3952 | 2857.1429 | 32 | 725.473 | 9564.3396 | 58240.7156
9 | 77142.8571 | 0.045 | 72639.8571 | 4500 | 345 | 2055.708 | 3312.3775 | 2857.1429 | 30.8571 | 676.7801 | 9277.8655 | 56264.4193
10 | 74285.7143 | 0.045 | 69437.7143 | 4500 | 345 | 1965.0873 | 3166.3598 | 2857.1429 | 29.7143 | 628.0872 | 8991.3914 | 54288.1231
11 | 71428.5714 | 0.045 | 66235.5714 | 4500 | 345 | 1874.4667 | 3020.3421 | 2857.1429 | 28.5714 | 579.3943 | 8704.9173 | 52311.8268
12 | 68571.4286 | 0.045 | 63033.4286 | 4500 | 345 | 1783.846 | 2874.3243 | 2857.1429 | 27.4286 | 530.7014 | 8418.4432 | 50406.0747
13 | 65714.2857 | 0.045 | 59831.2857 | 4500 | 345 | 1693.2254 | 2728.3066 | 2857.1429 | 26.2857 | 482.0085 | 8131.9691 | 48574.0151
14 | 62857.1429 | 0.045 | 56629.1429 | 4500 | 345 | 1602.6047 | 2582.2889 | 2857.1429 | 25.1429 | 433.3156 | 7845.495 | 46793.8363
15 | 60000 | 0.045 | 53427 | 4500 | 345 | 1511.9841 | 2436.2712 | 2857.1429 | 24 | 384.6227 | 7559.0209 | 45069.3723
16 | 57142.8571 | 0.045 | 50224.8571 | 4500 | 345 | 1421.3635 | 2290.2535 | 2857.1429 | 22.8571 | 335.9298 | 7272.5468 | 43404.7404
17 | 54285.7143 | 0.045 | 47022.7143 | 4500 | 345 | 1330.7428 | 2144.2358 | 2857.1429 | 21.7143 | 287.237 | 6986.0727 | 41804.3622
18 | 51428.5714 | 0.045 | 43820.5714 | 4500 | 345 | 1240.1222 | 1998.2181 | 2857.1429 | 20.5714 | 238.5441 | 6699.5986 | 40272.9861
19 | 48571.4286 | 0.045 | 40618.4286 | 4500 | 345 | 1149.5015 | 1852.2003 | 2857.1429 | 19.4286 | 189.8512 | 6413.1245 | 38815.7113
20 | 45714.2857 | 0.045 | 37416.2857 | 4500 | 345 | 1058.8809 | 1706.1826 | 2857.1429 | 18.2857 | 141.1583 | 6126.6504 | 37438.0139
21 | 42857.1429 | 0.017 | 34214.1429 | 1700 | -243 | 968.2602 | 1560.1649 | 2857.1429 | 17.1429 | 824.378 | 5984.0889 | 36145.7747
22 | 40000 | 0 | 31600 | 0 | -600 | 894.28 | 1440.96 | 2857.1429 | 16 | 1228.9325 | 5837.3154 | 34801.3964
23 | 37142.8571 | 0 | 29342.8571 | 0 | -600 | 830.4029 | 1338.0343 | 2857.1429 | 14.8571 | 1194.498 | 5634.9352 | 33405.238
24 | 34285.7143 | 0 | 27085.7143 | 0 | -600 | 766.5257 | 1235.1086 | 2857.1429 | 13.7143 | 1160.0635 | 5432.555 | 32009.0795
25 | 31428.5714 | 0 | 24828.5714 | 0 | -600 | 702.6486 | 1132.1829 | 2857.1429 | 12.5714 | 1125.629 | 5230.1747 | 30612.9211
26 | 28571.4286 | 0 | 22571.4286 | 0 | -600 | 638.7714 | 1029.2571 | 2857.1429 | 11.4286 | 1091.1945 | 5027.7945 | 29216.7626
27 | 25714.2857 | 0 | 20314.2857 | 0 | -600 | 574.8943 | 926.3314 | 2857.1429 | 10.2857 | 1056.76 | 4825.4143 | 26348.0868
28 | 22857.1429 | 0 | 18057.1429 | 0 | -600 | 511.0171 | 823.4057 | 2857.1429 | 9.1429 | 1022.3255 | 4623.0341 | 23469.7961
29 | 20000 | 0 | 15800 | 0 | -600 | 447.14 | 720.48 | 2857.1429 | 8 | 987.8911 | 4420.6539 | 20581.1799
30 | 17142.8571 | 0 | 13542.8571 | 0 | -600 | 383.2629 | 617.5543 | 2857.1429 | 6.8571 | 953.4566 | 4218.2737 | 17681.4752
31 | 14285.7143 | 0 | 11285.7143 | 0 | -600 | 319.3857 | 514.6286 | 2857.1429 | 5.7143 | 919.0221 | 4015.8935 | 14769.8625
32 | 11428.5714 | 0 | 9028.5714 | 0 | -600 | 255.5086 | 411.7029 | 2857.1429 | 4.5714 | 884.5876 | 3813.5133 | 11845.4619
33 | 8571.4286 | 0 | 6771.4286 | 0 | -600 | 191.6314 | 308.7771 | 2857.1429 | 3.4286 | 850.1531 | 3611.1331 | 8907.3282
34 | 5714.2857 | 0 | 4514.2857 | 0 | -600 | 127.7543 | 205.8514 | 2857.1429 | 2.2857 | 815.7186 | 3408.7529 | 5954.4467
35 | 2857.1429 | 0 | 2257.1429 | 0 | -600 | 63.8771 | 102.9257 | 2857.1429 | 1.1429 | 781.2841 | 3206.3727 | 2985.7274
36 | 3.9108e-11 | 0 | 3.0013e-11 | 0 | -600 | 8.4938e-13 | 1.3686e-12 | 2857.1429 | 1.5643e-14 | 746.8496 | 3003.9925 | 2797.2739
----------- |  | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | -----------
TOTAL |  | 1 |  | 100000 | -1.819e-12 | 46259.2932 | 74537.9424 | 100000 | 720 | 24901.5538 | 246418.7894
|  | PRESENT WORTH |  | 52990.352 | 3678.4276 | 23301.5622 | 37545.9801 | 35474.0301 | 349.261 | 7960.1607 | 108309.4217

## LvlFCR Land
Special Contract Analysis | [7 empty] | CAPITAL STRUCTURE |  |  |  | ‚
For Substations and Feeder Lines at Primary Service Voltage | [7 empty] | DEBT (LT) | 51.5% | 5.495% | 2.83% | ‚
[8 empty] | DEBT (ST) | 0% | 0% | 0% | ‚
[8 empty] | ALL DEBT | 51.5% |  | 2.83% | ‚
|  | NPV Revenue Req. |  | 117009.1486 |  |  |  | PREFERRED | 0% | 0% | 0% | ‚
|  | Annual Equivalent |  | 8918.0203 |  |  |  | COMMON | 48.5% | 9.4% | 4.56% | ‚
|  | FCR |  | 8.918 |  | 0.08918 |  |  |  |  | ----------- | ‚
[8 empty] | COST OF CAPITAL |  |  | 7.39% | ‚
|  | 1st YR MOS. |  | 12 | [7 empty] | ‚
|  | BOOK VALUE |  | 100000 |  |  |  | 49 | Book Life |  |  | ‚
|  | TAX BASIS |  | 100000 |  |  |  | 24.86% | Income Tax Rate + Revenue Sensitive Items |  |  | ‚
|  | DEPREC BASE |  | 100000 |  |  |  | 21% | Income Tax Rate
Year | Net Book Value | 20 Year MACRS | Net Investment | Tax Depreciation | Deferred Taxes | Debt Return | Equity Return | Book Depreciation | Income Taxes | Revenue Requirement
1 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
2 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
3 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
4 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
5 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
6 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
7 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
8 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
9 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
10 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
11 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
12 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
13 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
14 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
15 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
16 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
17 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
18 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
19 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
20 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
21 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
22 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
23 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
24 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
25 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
26 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
27 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
28 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
29 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
30 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
31 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
32 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
33 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
34 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
35 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
36 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
37 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
38 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
39 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
40 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
41 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
42 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
43 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
44 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
45 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
46 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
47 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
48 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
49 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
50 | 100000 | 0 | 100000 | 0 | 0 | 2830 | 4560 | 0 | 1508.8253 | 8898.8253
----------- |  | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | -----------
TOTAL |  | 0% |  | 0 | 0 | 141500 | 228000 | 0 | 75441.2635 | 444941.2635
|  | PRESENT WORTH |  | 0 | 0 | 37211.1914 | 59958.6688 | 0 | 19839.2883 | 117009.1486

## Sub & Feeder Depr Life
PUGET SOUND ENERGY
ELECTRIC PLANT
TABLE 1. SUMMARY OF ESTIMATED SURVIVOR CURVES, NET SALVAGE PERCENT, ORIGINAL COST, BOOK DEPRECIATION RESERVE
AND CALCULATED ANNUAL DEPRECIATION RATES BY COMPONENT AS OF SEPTEMBER 30, 2016
CAPITAL
RECOVERY/
|  | PROBABLE |  | NET | ORIGINAL COST | BOOK |  | CALCULATED ANNUAL |  | GROSS | COST OF
|  | RETIREMENT | SURVIVOR | SALVAGE | AS OF | DEPRECIATION | FUTURE | ACCRUAL | ACCRUAL | SALVAGE | REMOVAL |  |  | Asset
| ACCOUNT | DATE | CURVE | PERCENT | SEPTEMBER 30, 2016 | RESERVE | ACCRUALS | AMOUNT | RATE | RATE | RATE |  | Rate | Life
| -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | (9)=(8)/(5) | -10 | -11 | 362 Sub Life = | 2.04% | 49 | Years
ELECTRIC PLANT
[12 empty] | 364 OH Pole Life | 3.14% | 32 | Years
| DISTRIBUTION PLANT | [10 empty] | 365 OH Conductor Life | 3.74% | 27 | Years
360.1 | EASEMENTS |  | 65-R4 | 0 | 6192997.78 | 3154464.1 | 3038534 | 69962 | 1.13 | 1.13 | 0 | 366 UG Conduit Life | 1.77% | 56 | Years
361 | STRUCTURES AND IMPROVEMENTS |  | 60-R2 | -10 | 7980826.73 | 2327040.68 | 6451869 | 140499 | 1.76 | 1.6 | 0.16 | 367 UG Conductor Life | 3.93% | 25 | Years
362 | STATION EQUIPMENT |  | 52-S0 | -15 | 434912648.52 | 125213289.48 | 374936256 | 8871422 | 2.04 | 1.6813 | 0.35478 | Average Life of Feeders |  | 35 | Years
363 | BATTERY STORAGE EQUIPMENT |  | 20-S3 | 0 | 1194182.86 | 23908.84 | 1170274 | 59617 | 4.99 | 4.99 | 0
364 | POLES, TOWERS AND FIXTURES |  | 46-R1.5 | -50 | 340904415.12 | 146427146.66 | 364929476 | 10713901 | 3.14 | 2.05 | 1.09
365 | OVERHEAD CONDUCTORS AND DEVICES |  | 38-R2.5 | -25 | 409216186.51 | 120401104.94 | 391119128 | 15306553 | 3.74 | 2.9 | 0.84
366 | UNDERGROUND CONDUIT |  | 55-R3 | -10 | 672272622.88 | 261027349.01 | 478472536 | 11912719 | 1.77 | 1.61 | 0.16
367 | UNDERGROUND CONDUCTORS AND DEVICES |  | 38-R2.5 | -40 | 844856752.29 | 341308279.6 | 841491174 | 33220993 | 3.93 | 2.75 | 1.18
368 | LINE TRANSFORMERS |  | 44-R2 | -50 | 462673680.6 | 181111959.48 | 512898561 | 18805777 | 4.06 | 2.6559 | 1.4075
369 | SERVICES |  | 55-R3 | -60 | 182057677.19 | 116569686.07 | 174722597 | 5727599 | 3.15 | 1.97 | 1.18
370 | METERS |  | 20-L1 | -10 | 140665913.55 | 34679835.3 | 120052670 | 11730432 | 8.34 | 7.58 | 0.76
373 | STREET LIGHTING AND SIGNAL SYSTEMS |  | 31-S0.5 | -15 | 53727968.48 | 18793323.43 | 42993840 | 2552518 | 4.75 | 4.09 | 0.66
| TOTAL DISTRIBUTION PLANT |  |  |  | 3556655872.51 | 1351037387.59 | 3312276915 | 119111992 | 3.35