## Legend
Date
Data as/of | 2021-07-09
Fiscal Year | FY2022
Event Begin Date/Time | 2021-06-19 | Event Begin Time
Event End Date/Time | 2021-06-20 | Event End Time
Month Begin | 2021-06-01
Month End | 2021-06-30
Year Begin | 2021-01-01
Year End | 2021-06-30
State | Sunnyside, WA
Comments: | Tag | filed

## Customer Analysis
| Sunnyside, WA | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2021-06-19 | to | 2021-06-20
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 6463 | 0.32% | 415101.016 | 8 | 2019764 | 0 | 6453 | 10 | 0 | 0 | 0 | 0 | 99.85% | 0.20552 | 0.0031999 | 64.2273
PP | Pacific Power | 6463 | 0.8006% | 415101.016 | 8 | 807241 | 0 | 6453 | 10 | 0 | 0 | 0 | 0 | 99.85% | 0.51422 | 0.0080063 | 64.2273
WA | Washington | 6463 | 4.723% | 415101.016 | 8 | 136841 | 0 | 6453 | 10 | 0 | 0 | 0 | 0 | 99.85% | 3.0335 | 0.04723 | 64.2273
WA | SUNNYSIDE | 6463 | 25.86% | 415101.016 | 8 | 24993 | 0 | 6453 | 10 | 0 | 0 | 0 | 0 | 99.85% | 16.6087 | 0.25859 | 64.2273
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions during the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2021-06-19 | through | 2021-06-20 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2021-06-19 | 6463 | 4.723% | 415101.016 | 8 | 136841 | 0 | 6453 | 10 | 0 | 0 | 0 | 0 | 99.85% | 3.0335 | 0.04723 | 64.2273
Data as of
2021-07-09

## SSC by State
| Sunnyside, WA | Event |  | 2021-06-19 | to | 2021-06-20 |  | Month |  | 2021-06-01 | through | 2021-06-30 |  | YTD | FY2022 | 2021-01-01 | through | 2021-06-30
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 0.44558 | 0.0047005 | 94.7931 | 0.24006 | 0.0015007 | 159.9685 | 14.4409 | 0.13479 | 107.1372 | 11.2413 | 0.10259 | 109.5716 | 156.757 | 0.69782 | 224.6377 | 50.7541 | 0.45782 | 110.8609
PP | Pacific Power | 0.9803 | 0.010795 | 90.812 | 0.46607 | 0.0027885 | 167.141 | 19.0749 | 0.1877 | 101.6227 | 11.0693 | 0.10715 | 103.3087 | 303.9818 | 0.94652 | 321.1563 | 46.4881 | 0.38567 | 120.538
WA | Washington | 3.1148 | 0.047939 | 64.9738 | 0.081315 | 0.00070885 | 114.7137 | 12.7865 | 0.1068 | 119.721 | 9.7531 | 0.059573 | 163.7171 | 79.1847 | 0.46789 | 169.2393 | 50.296 | 0.37072 | 135.6702
WA | SUNNYSIDE | 3.0335 | 0.04723 | 64.2273 | 0 | 0 | 0 | 3.2606 | 0.049123 | 66.376 | 0.22711 | 0.0018927 | 119.994 | 33.7913 | 0.13465 | 250.9652 | 4.928 | 0.037781 | 130.4368
WA | WALLA WALLA | 0.025027 | 0.00034346 | 72.8667 | 0.025027 | 0.00034346 | 72.8667 | 2.8626 | 0.025014 | 114.4366 | 2.8626 | 0.025014 | 114.4366 | 8.6836 | 0.10435 | 83.2182 | 8.6769 | 0.10431 | 83.1833
WA | YAKIMA | 0.056288 | 0.00036539 | 154.05 | 0.056288 | 0.00036539 | 154.05 | 6.6634 | 0.032666 | 203.988 | 6.6634 | 0.032666 | 203.988 | 36.7098 | 0.22889 | 160.3795 | 36.691 | 0.22863 | 160.4818
*may include other regional major event exclusions during the same period. Operating areas are calculated by the state frozen customer count metrics.
Data as/of
2021-07-09