## EE
EE Impact Values Needed
Condensed for Impacts where at least two utilities indicated an impact is not currently included. Exception is where clarity is needed on current method.
Impact Category | Specific Impact | Energy Efficiency
|  | Currently Included (Y/N) |  |  | IF NO, REASON IS: |  |  | IF APPLICABLE AND MATERIAL, HOW TO INCLUDE?
|  | Avista | PSE | PAC | Lack of Data | Impact Not Applicable | Impact Not Material | Quantified (Jurisdiction-Specific Value) | Quantified (Value from other jurisdiction) | Proxy (Percentage Adder) | Qualitative Description | Notes:
| Generation: Environmental Compliance | Yes | No | Yes | 1 |  |  | 3 |  |  |  | PSE: They believe the avoided cost of compliance with CETA's zero-carbon energy generation requirements should be categorized under "RPS/CES Compliance." As to a recommended approach for quantifying "environmental compliance," it would depend of which environmental requirements are applicable. But if specific environmental regulations are quantifiably met through EE, then in principle they should be included in our cost test.
| Generation: Market Price Effects | No | No | No | 1 |  | 2 |  |  |  |  | Avista: includes forecasts of EE in its price forecast PSE: Wholesale market prices are determined by a combination of supply and demand effects. Consumption is certainly one, but we are not aware of a factor that can be applied to quantify a market price change per reduction in consumption. In any case this may be moot, as our avoided costs are based in part on 45-year projections in market prices that already, presumably, take into account supply and demand effects.
| Generation: Ancillary Services | Yes | No | Yes | 1 |  |  | 2 |  | 1 | 1 | Avista: Indirect, part of capacity
| Distribution: O&M | No | Yes | No |  | 1 | 1 |  |  |  |  | Avista: Does not impact labor or maintenance. PAC: Distribution O&M generally not tied to demand.
| Distribution: Voltage | Yes | No | No | 1 |  | 1 | 1 |  | 1 | 1 | Avista: Indirect; part of historical T & D spending PAC: Equipment must maintain full range of voltages and localized reductions from DERs don't impact that; prior studies have shown no measurable impacts
| General: Financial Incentives | No | Yes | Yes |  | 1 |  | 1 |  |  |  | Avista: Negative cost; TRC does not include incentives
| General: Utility Performance Incentives | No | No | No | 1 | 2 | 1 |  |  |  |  | PSE is incentivized to meet its EE targets through a penalty mechanism if the target is missed. Because these penalties, to PSE's knowledge, do not come out of EE program administration funds, they are not counted in our cost test.
| General: DG tariffs | No | No | No |  | 3
| General: Risk | Yes | No | Yes | 1 |  |  | 1 |  | 2
| General: Reliability | Yes | No | No | 1 |  | 1 | 1 |  | 1 |  | PAC: Utility planning adds sufficient Generation Capacity, Transmission Capacity, and Distribution Capacity to meet a targeted level of reliability. The additional Reliability benefits beyond those already captured are not expected to be material. PSE: In the categories of Risk, Reliability and Resilience, PSE agrees that there are real, material effects in these categories resulting from EE and other DSR measures. However, they are very broad impact categories that encompass many things, and an attempt to quantify them all for the PSE system may prove burdensome. PSE recommends that the State adopt a proxy "adder" or value to account for these effects, recognizing that these effects should not be ignored but the time and effort necessary to quantify them independently for every utility would be onerous and burdensome. See cover letter for additional discussion.
| General: Resilience | No | No | No | 2 |  | 1 |  |  | 1 |  | PAC: Utility planning adds sufficient Generation Capacity, Transmission Capacity, and Distribution Capacity to meet targeted metrics. The additional Resilience benefits beyond those already captured are not expected to be material.
Gas Utility System Impacts | Energy: Environmental Compliance | Yes | No |  | 1 |  |  | 2 |  |  |  | PSE: Per our note above on electrical system effects, we recommend greater clarity on what environmental compliance effects are being discussed here but in principle, quantifiable avoided compliance costs should be included in the cost test.
| Energy: Market Price Effects | No | No |  | 1 |  | 1 |  |  |  |  | PSE: See our note above under Market Price Effects for the electrical system.
| Distribution: Gas distribution | No | Yes |  |  |  | 1
| General: Credit and Collection Costs | No | Yes |  |  |  | 1
| General: Financial Incentives | No | Yes |  |  | 1 | [5 empty] | Avista: Negative cost; TRC does not include incentives
| General: Utility Performance Incentives | No | Yes |  |  | 1 | [5 empty] | Avista does not have any incentives.
| General: Risk | Yes | No |  | 1 |  |  |  |  | 1 |  | Avista: Does the 10% power act adder cover this as a proxy? Avista does risk adjusted portfolios with energy efficiency. PSE: See our note above regarding Risk, Reliability and Resilience electrical system impacts.
| General: Reliability | Yes | No |  | 1 |  |  |  |  | 1 |  | Avista: Indirect, part of capacity
| General: Resilience | No | No |  | 1 |  |  |  |  | 1 |  | Avista: Dependent upon the specific measure, not an overall adder, more specific to DR. Does the 10% power act adder cover this as a proxy?
Societal Impacts | Public Health | Yes (E) No (G) | Yes | Yes | 1 |  |  | 2 |  |  |  | Avista: Electric has NEI study values; natural gas no study
| Economic Development and Jobs | Yes (E) No (G) | No | Yes | 2 |  |  | 3 |  |  |  | Avista: Electric has NEI study values; natural gas no study
| Resilience | No | No | Not sure | 3 |  |  |  |  | 1 |  | PSE: See our note above regarding Risk, Reliability and Resilience electrical system impacts.
| Energy Security | No | No | No | 3 |  |  |  |  | 1 |  | PSE: See our note above regarding Risk, Reliability and Resilience electrical system impacts.
Host Customer Impacts | Transaction costs (Host) | No | No | Yes | 1 | 1 |  | 1 |  |  |  | PSE: To the extent that there are separate transaction costs associated with EE measures, if we know them we would include them under "Measure Costs."
| Interconnection Fees | No | No | No |  | 3
| Risk | No | No | No | 3 |  |  |  |  | 1 |  | PSE: See our note above regarding Risk, Reliability and Resilience electrical system impacts.
| Reliability | No | No | No | 3 |  |  |  |  | 1 |  | PSE: See our note above regarding Risk, Reliability and Resilience electrical system impacts.
| Resilience | No | No | No | 3 |  |  |  |  | 1 |  | PSE: See our note above regarding Risk, Reliability and Resilience electrical system impacts.
| Other Fuel | No | No | Yes | 1 | 1 |  | 1 |  |  |  | PSE: To the extent that there are benefits of avoiding other fuels, such as O&M or air pollution effects, we account for them in those specific categories, and do not use an "Other fuels" category.
| Tax Incentives | Yes | No | Yes |  |  |  | 2 |  |  |  | PSE: If there are tax incentives which change the cost-benefit equation to the customer, we would likely classify them under Measure Costs.
| Non-Energy Impacts (non-low income) | [6 empty] | 1 |  |  |  | Avista: Notes that the other NEIs that were Yes are Electric only. No NEIs for gas.
| Empowerment & control | No | No | No | 3 |  |  |  |  | 1 | 1 | PAC: Measurement would need to be relative to baseline equipment. It's unclear whether value can be quantified with certainty and reasonableness for a portfolio of measures. Recent literature reviews revealed no data quantifying these impacts PSE: believes customers enjoy these benefits from EE, but we have not yet identified a rigorous and defensible way to quantify them. As noted elsewhere in this submission, PSE would support the development of a statewide proxy adder to do so.
| Satisfaction & pride | No | No | No | 2 |  |  |  |  | 1 | 1 | PAC: Measurement would need to be relative to baseline equipment. It's unclear whether value can be quantified with certainty and reasonableness for a portfolio of measures. Recent literature reviews revealed no data quantifying these impacts PSE: believes customers enjoy these benefits from EE, but we have not yet identified a rigorous and defensible way to quantify them. As noted elsewhere in this submission, PSE would support the development of a statewide proxy adder to do so.
| Non-Energy Impacts (Low income) | Yes | Yes |  |  |  |  | 1 |  |  |  | Avista: Electric only
Yes

## DR
DR Impact Values Needed
Condensed for Impacts where at least two utilities indicated an impact is not currently included. Exception is where clarity is needed on current method.
Impact Category | Specific Impact | Demand Response
|  | Currently Included (Y/N) |  |  | IF NO, REASON IS: |  |  | IF APPLICABLE AND MATERIAL, HOW TO INCLUDE?
|  | Avista | PSE | PAC | Lack of Data | Impact Not Applicable | Impact Not Material | Quantified (Jurisdiction-Specific Value) | Quantified (Value from other jurisdiction) | Proxy (Percentage Adder) | Qualitative Description | Notes: PSE: General comment In response to all "No" categories listed on this tab, PSE is currently in the implementation stage of a DR pilot project, and at this early stage of the project we are only including known capacity and T&D effects. We agree that DR measures can provide tangible benefits in other areas, but we have not yet quantified them. One of the challenges presented is that most of the effects we do quantify in EE use kWh saved as the factor for quantifying other effects. But DR does not necessarily save kWh; rather, it often moves the kWh to off-peak times, which is why we measure capacity effects of DR in time-specific kW. The analysis required to evaluate other non-capacity and T&D effects in terms of avoided peak kW has not been completed.
Electric Utility System Impacts | Generation: Energy Generation | Yes | No | Yes |  | 1 |  | 2 |  |  |  | PSE categorizes the energy generation necessary to meet peak demand under "capacity," and all effects of DR are included there.
| Generation: Environmental Compliance | Yes | No | Yes | 1 |  |  | 2
| Generation: RPS/CES Compliance | No | No | Yes | 1 |  | 1 | 1
| Generation: Market Price Effects | No | No | No | 1 |  | 2
| Generation: Ancillary Services | Yes | No | Yes | 1 |  |  | 2
| Transmission: System Losses | Yes | No | Yes | 1 |  |  | 2
| Distribution: System Losses | Yes | No | Yes | 1 |  |  | 2
| Distribution: O&M | No | No | No | 1 |  | 2
| Distribution: Voltage | Yes | No | No | 1 |  | 1
| General: Financial Incentives | Yes | No | Yes | 1 |  |  | 2
| General: Program Administration Costs | Yes | No | Yes | 1 |  |  | 2
| General: Utility Performance Incentives | No | No | No | 1 | 2
| General: DG tariffs | No | No | No | 1 | 2
| General: Credit and Collection Costs | Yes | No | Yes | 1 |  |  | 2
| General: Risk | Yes | No | Yes | 1 |  |  | 2
| General: Reliability | No | No | No | 2 |  | 1
| General: Resilience | No | No | No | 2 |  | 1
Gas Utility System Impacts | Energy: Gas Commodity | No | No
| Energy: Environmental Compliance | No | No
| Energy: Market Price Effects | No | No
| Transp: Pipeline Capacity | Yes | Yes
| Distribution: Pipeline losses | No | No
| Distribution: Gas distribution | Yes | Yes
| General: Credit and Collection Costs | No | No
| General: Financial Incentives | Yes | Yes
| General: Program Administration Costs | No | No
| General: Utility Performance Incentives | No | No
| General: Risk | No | No
| General: Reliability | No | No
| General: Resilience | No | No
Societal Impacts | Greenhouse Gas Emissions | No | No | Yes |  | 1 |  | 1
| Other Environmental Impacts | No | No | No | 1 | 1
| Public Health | No | No | No | 1 | 1
| Economic Development and Jobs | No | No | No | 2
| Resilience | No | No | Not sure | 2
| Energy Security | No | No | No | 2
Host Customer Impacts | Transaction costs (Host) | Yes | No | Yes |  |  |  | 2
| Interconnection Fees | No | No | No |  | 2
| Risk | No | No | No | 2
| Reliability | No | No | No | 2
| Resilience | No | No | No | 2
| Other Fuel | No | No | Yes | 2 |  |  | 1
| Tax Incentives | No | No | Yes | 1 | 1
Non-Energy Impacts (non-low income)
| Asset value | No | No | Yes | 1 |  |  |  |  | 1
| Productivity | No | No | Yes | 1 |  |  |  |  | 1
| Economic well-being | No | No | Yes | 1 |  |  |  |  | 1
| Comfort | No | No | Yes | 1 |  |  |  |  | 1
| Health & safety | No | No | Yes | 1 |  |  |  |  | 1
| Empowerment & control | No | No | No | 1 | 1
| Satisfaction & pride | No | No | No | 2
| Non-Energy Impacts (Low income) | No | No |  | 1
Yes

## DG
DG Impact Values Needed
Condensed for Impacts where at least two utilities indicated an impact is not currently included. Exception is where clarity is needed on current method.
Impact Category | Specific Impact | Distributed Generation
|  | Currently Included (Y/N) *based on PSE |  |  | IF NO, REASON IS: |  |  | IF APPLICABLE AND MATERIAL, HOW TO INCLUDE?
|  | Avista | PSE | PAC | Lack of Data | Impact Not Applicable | Impact Not Material | Quantified (Jurisdiction-Specific Value) | Quantified (Value from other jurisdiction) | Proxy (Percentage Adder) | Qualitative Description | Notes:
| Generation: Market Price Effects | No | Yes | No |  |  | 2
| Generation: Ancillary Services | No | No | Yes | 1 |  | 1 | 2 |  |  |  | PSE is currently working to establish jurisdictional specific values.
| Distribution: O&M | No | No | No | 1 | 1 | 1 | 1 |  |  |  | PSE: Currently working to establish jurisdictional specific value.
| Distribution: Voltage | No | No | No | 2 |  | 1 | 1 |  |  |  | PSE: Currently working to establish jurisdictional specific value.
| General: Utility Performance Incentives | No | Yes | No |  | 2
| General: DG tariffs | No | Yes | No |  | 2 | [5 empty] | PAC: DG tariffs not defined; Company interprets this as "net metering". Current practice is to decrement load based on DG adoption occurring as the result of tax incentives and net metering policies.
| General: Risk | Yes | No | Yes | 1 |  |  | 1 | 1 |  |  | PAC: has identified a stochastic risk reduction value for energy efficiency that represents the incremental value of energy resources over a range of possible future operating conditions, relative to the value under expected conditions. Avista: Avista conducts studies related to risk to the portfolio
| General: Reliability | No | No | No | 2 |  | 1 |  | 1 |  |  | PAC: Utility planning adds sufficient Generation Capacity, Transmission Capacity, and Distribution Capacity to meet a targeted level of reliability. The additional Reliability benefits beyond those already captured are not expected to be material.
| General: Resilience | No | No | No | 2 |  | 1 |  | 1 |  |  | PAC: utility planning adds sufficient Generation Capacity, Transmission Capacity, and Distribution Capacity to meet targeted metrics. The additional Resilience benefits beyond those already captured are not expected to be material.
Societal Impacts | Other Environmental Impacts | Yes | No | Yes | 1 |  |  | 2 | 1 |  |  | PSE: Working towards quantitative value through CBI/NEI work. Open to a regional value developed with UTC. Avista: Indirect by avoidance of other resources
| Public Health | Yes | No | Yes | 1 |  |  | 2 | 1 |  |  | Avista: Indirect by avoidance of other resources
| Economic Development and Jobs | Yes | No | Yes | 1 |  |  | 2 | 1 |  |  | Avista: Indirect by avoidance of other resources
| Resilience | No | No | Not sure | 3 |  |  |  | 1
| Energy Security | No | No | No | 3 |  |  |  | 1
| Risk | No | No | No | 3 |  |  |  | 1
Host Customer Impacts | Reliability | No | No | No | 3 |  |  |  | 1
| Resilience | No | Yes | No | 2
| Other Fuel | No | No | No | 2 | 1
Non-Energy Impacts (non-low income)
| Asset value | No | No | Yes | 1 | 1 |  | 1 | 1 |  |  | PSE: Value not included due to lack of inclusion in currently used cost tests. If desire to measure asset value at EOL or end of contract, can add and have available data to work with.
| Productivity | No | No | Yes | 2 |  |  | 1 | 1 |  |  | PSE: Part of work currently being done with NEIs/CBIs. Guidance from UTC would additionally be useful given this value being non-jurisdictional
| Economic well-being | No | No | Yes | 2 |  |  | 1 | 1 |  |  | PSE: Part of work currently being done with NEIs/CBIs. Guidance from UTC would additionally be useful given this value being non-jurisdictional
| Comfort | No | No | Yes | 2 |  |  | 1 | 1 |  |  | PSE: Part of work currently being done with NEIs/CBIs. Guidance from UTC would additionally be useful given this value being non-jurisdictional
| Health & safety | No | No | Yes | 2 |  |  | 1 | 1 |  |  | PSE: Part of work currently being done with NEIs/CBIs. Guidance from UTC would additionally be useful given this value being non-jurisdictional
| Empowerment & control | No | No | No | 3 |  |  |  | 1 |  |  | PSE: Part of work currently being done with NEIs/CBIs. Guidance from UTC would additionally be useful given this value being non-jurisdictional
| Satisfaction & pride | No | No | No | 3 |  |  |  | 1 |  |  | PSE: Part of work currently being done with NEIs/CBIs. Guidance from UTC would additionally be useful given this value being non-jurisdictional
| Non-Energy Impacts (Low income) | No | No |  | 2 |  |  |  | 1 |  |  | PSE: Part of work currently being done with NEIs/CBIs. Guidance from UTC would additionally be useful given this value being non-jurisdictional
Yes

## DS
DS Impact Values Needed
Condensed for Impacts where at least two utilities indicated an impact is not currently included. Exception is where clarity is needed on current method.
Impact Category | Specific Impact | Distributed Storage
|  | Currently Included (Y/N) |  |  | IF NO, REASON IS: |  |  | IF APPLICABLE AND MATERIAL, HOW TO INCLUDE?
|  | Avista | PSE | PAC | Lack of Data | Impact Not Applicable | Impact Not Material | Quantified (Jurisdiction-Specific Value) | Quantified (Value from other jurisdiction) | Proxy (Percentage Adder) | Qualitative Description | Notes:
Electric Utility System Impacts | Generation: Environmental Compliance | No | No | Yes |  | 2 |  | 1 |  |  |  | PAC: Emissions costs included in cost of dispatch, and influence marginal energy and capacity costs
| Generation: RPS/CES Compliance | No | No | Yes |  | 2 |  | 1
| Generation: Market Price Effects | Yes | Yes | No |  |  | 2 |  |  |  |  | PSE: Currently working on jurisdictional value PAC: This effect is generally swamped by changes in the interconnection as a whole. A 1 MW WA DG solar program will have no measurable market impact versus error bands on a WECC wide solar buildout measured in GWs. The effect also mostly ends up being captured in price risk. The effect is also more relevant to entities with high market reliance - PAC capacity planning limits permissible market reliance, particularly in peak seasons when prices are most volatile.
| Distribution: O&M | No | No | No | 1 |  | 2 | 1
| Distribution: Voltage | No | No | No | 1 |  | 2 | 1
| General: Utility Performance Incentives | No | Yes | No |  | 2
| General: DG tariffs | No | Yes | No |  | 2
| General: Risk | No | No | Yes | 2 |  |  | 1 | 1 |  |  | PAC: The Company has identified a stochastic risk reduction value for energy efficiency that represents the incremental value of energy resources over a range of possible future operating conditions, relative to the value under expected conditions.
| General: Reliability | No | No | No | 2 |  | 1 |  | 1
| General: Resilience | No | No | No | 2 |  | 1 |  | 1
| Other Environmental Impacts | No | No | No | 2 |  | 1 |  | 1 |  |  | PSE :Working towards quantitative value through CBI/NEI work. Open to a regional value developed with UTC.
| Public Health | No | No | No | 2 |  | 1 |  | 1 |  |  | PSE :Working towards quantitative value through CBI/NEI work. Open to a regional value developed with UTC.
| Economic Development and Jobs | No | No | No | 3 |  |  |  | 1 |  |  | PSE :Working towards quantitative value through CBI/NEI work. Open to a regional value developed with UTC.
| Resilience | No | No | Not sure | 3 |  |  |  | 1 |  |  | PSE :Working towards quantitative value through CBI/NEI work. Open to a regional value developed with UTC.
| Energy Security | No | No | No | 3 |  |  |  | 1 |  |  | PSE :Working towards quantitative value through CBI/NEI work. Open to a regional value developed with UTC.
Host Customer Impacts | Risk | No | No | No | 3 |  |  |  | 1
| Reliability | No | No | No | 3 |  |  |  | 1
| Resilience | No | Yes | No | 2 |  |  |  |  | 1
| Other Fuel | No | No | No | 2 | 1
Non-Energy Impacts (non-low income)
| Asset value | No | No | Yes | 1 | 1 |  |  | 1 |  | 1 | PSE: Value not included due to lack of inclusion in currently used cost tests. If desire to measure asset value at EOL or end of contract, can add and have available data to work with.
| Productivity | No | No | Yes | 2 |  |  |  | 1 |  | 1 | PSE: Part of work currently being done with NEIs/CBIs. Guidance from UTC would additionally be useful given this value being non-jurisdictional
| Economic well-being | No | No | Yes | 2 |  |  |  | 1 |  | 1 | PSE: Part of work currently being done with NEIs/CBIs. Guidance from UTC would additionally be useful given this value being non-jurisdictional
| Comfort | No | No | Yes | 2 |  |  |  | 1 |  | 1 | PSE: Part of work currently being done with NEIs/CBIs. Guidance from UTC would additionally be useful given this value being non-jurisdictional
| Health & safety | No | No | Yes | 2 |  |  |  | 1 |  | 1 | PSE: Part of work currently being done with NEIs/CBIs. Guidance from UTC would additionally be useful given this value being non-jurisdictional
| Empowerment & control | No | No | No | 3 |  |  |  | 1 |  |  | PSE: Part of work currently being done with NEIs/CBIs. Guidance from UTC would additionally be useful given this value being non-jurisdictional
| Satisfaction & pride | No | No | No | 3 |  |  |  | 1 |  |  | PSE: Part of work currently being done with NEIs/CBIs. Guidance from UTC would additionally be useful given this value being non-jurisdictional
| Non-Energy Impacts (Low income) | No | No |  | 2 |  |  |  | 1 |  |  | PSE: Part of work currently being done with NEIs/CBIs. Guidance from UTC would additionally be useful given this value being non-jurisdictional
Yes

## EVSE
EVSE Impact Values Needed
Condensed for Impacts where at least two utilities indicated an impact is not currently included. Exception is where clarity is needed on current method.
Impact Category | Specific Impact | Electric Vehicles (V2G, managed charging, vehicle rebates, EVSE, etc.)
|  | Currently Included (Y/N) |  |  | IF NO, REASON IS: |  |  | IF APPLICABLE AND MATERIAL, HOW TO INCLUDE?
|  | Avista | PSE | PAC | Lack of Data | Impact Not Applicable | Impact Not Material | Quantified (Jurisdiction-Specific Value) | Quantified (Value from other jurisdiction) | Proxy (Percentage Adder) | Qualitative Description | Notes: Avista had no for many electric impacts as it indicated load shifting was a DR program. PSE didn't have Environmental Compliance but other utilities did. Need to determine where this is counted.
Electric Utility System Impacts | Distribution: O&M | No | No | No | 1 | 1 | 1 | 1
| Distribution: Voltage | No | No | No | 1 | 1 | 1 | 1
| General: Utility Performance Incentives | No | No | No | 1 | 2 |  | 1
| General: DG tariffs | No | No | No |  | 3
| General: Risk | No | No | Yes | 1 | 1 |  | 1 | 1 |  |  | PAC has identified a stochastic risk reduction value for energy efficiency that represents the incremental value of energy resources over a range of possible future operating conditions, relative to the value under expected conditions.
| General: Reliability | No | No | No | 1 | 1 | 1 |  | 1 |  |  | PAC utility planning adds sufficient Generation Capacity, Transmission Capacity, and Distribution Capacity to meet a targeted level of reliability. The additional Reliability benefits beyond those already captured are not expected to be material.
| General: Resilience | No | No | No | 1 | 1 | 1 |  | 1 |  |  | PAC utility planning adds sufficient Generation Capacity, Transmission Capacity, and Distribution Capacity to meet targeted metrics. The additional Resilience benefits beyond those already captured are not expected to be material.
Societal Impacts | Public Health | No | Yes | No | 1 | 1 | [5 empty] | PSE: Investments into WA Dept. of Health highly impacted communities account for environmental health
| Economic Development and Jobs | No | No | No | 2 | 1 |  |  | 1
| Resilience | No | No | Not sure | 2 | 1 |  |  | 1
| Energy Security | No | No | No | 2 | 1 |  |  | 1
Host Customer Impacts | Risk | No | No | No | 2 | 1 |  |  | 1
| Reliability | No | No | No | 2 | 1 |  |  | 1
| Resilience | No | No | No | 2 | 1 |  | 1
| Tax Incentives | No | No | Yes | 1 | 1 |  | 2
Non-Energy Impacts (non-low income)
| Asset value | No | No | Yes |  | 2 |  |  | 2
| Productivity | No | No | No | 1 | 2 |  |  | 1
| Economic well-being | No | No | Yes | 1 | 1 |  |  | 2
| Comfort | No | No | No | 2 | 1 |  |  | 1
| Health & safety | No | No | No | 2 | 1 |  |  | 1
| Empowerment & control | No | No | No | 2 | 1 |  |  | 1
| Satisfaction & pride | No | No | No | 2 | 1 |  |  | 1
| Non-Energy Impacts (Low income) | No | No |  | 1 | 1 |  |  | 1
Yes