## App F Cost Documents
Appendix F: Costs
Section |  | Data Sources and Additional Details
F1 | Energy Efficiency | Oct 1 2021 Draft Biennial Conservation Plan; Full details included in Appendix B
F2 | Demand Response | 2021 Conservation Potential Assessment; Full details included in Appendix J
F3 | Utility-Scale Generic Energy Resource Costs | 2021 IRP Generic Resource Costs
F4 | Distributed Energy Resource Program and Resource Costs | 2022 Distributed Energy Resource and Program Cost Report; Full details included in Appendix K
F5 | Distributed Energy Resource Enablers Projected Costs and Grid Modernization Projected Costs | Projected Costs to meet DER Enablers and Grid Mod
F6 | Customer Education and Engagement Projected Costs | Projected Costs based on Public Participation Plan
F7 | Monitoring and Reporting Projected Costs | Projected Monitoring and Reporting Costs

## F1
Appendix F1: Energy Efficiency
Reference: Full details from the BCP is included in Appendix B

## F2
Appendix F2: Demand Response
JFor full details on all Demand Response Potentials, see Appendix J.
Start Year | 2022
End Year | 2045
Inflation Rate | 2.5%
1 |  | Product/Scenario |  | 2022 | 2023 | 2024 | 2025
|  | Res CPP-No Enablement |  | 0 | 1 | 2 | 3
Setup Cost | 145796.8543 | $ | Ramped MW | 0 | 0 | 0 | 4.8657
O&M Cost | 72898.4271 | $ per year | Ramped Incremental Participants | 0 | 0 | 0 | 16223.8141
Marketing Cost | 25 | $ per new participant | Setup Cost | 145796.8543
|  |  | O&M Cost (Inflation rate applied) | 72898.4271 | 74720.8878 | 76588.91 | 78503.6328
CPP requires that PSE first establish a TOU tariff; therefore, the study assumed zero CPP participation until 2025. |  |  | Marketing Cost (Inflation rate applied) | 0 | 0 | 0 | 436781.8334
|  |  | Total Aurora Input | 218695.2814 | 74720.8878 | 76588.91 | 515285.4662
2 |  | Product/Scenario
Res CPP-With Enablement
Setup Cost | 4203.1457 | $ | Ramped MW | 0 | 0 | 0 | 0.14027
O&M Cost | 2101.5729 | $ per year | Ramped Incremental Participants | 0 | 0 | 0 | 237.7396
Marketing Cost | 25 | $ per new participant | Setup Cost | 4203.1457
|  |  | O&M Cost (Inflation rate applied) | 2101.5729 | 2154.1122 | 2207.965 | 2263.1641
CPP requires that PSE first establish a TOU tariff; therefore, the study assumed zero CPP participation until 2025. |  |  | Marketing Cost (Inflation rate applied) | 0 | 0 | 0 | 6400.4892
|  |  | Total Aurora Input | 6304.7186 | 2154.1122 | 2207.965 | 8663.6533
3 |  | Product/Scenario
Res DLC Heat-Switch
Setup Cost | 140929.707 | $ | Ramped MW | 0 | 4.0071 | 8.1073 | 16.4083
O&M Cost | 7.5 | $ per participant per year | Ramped Participants | 0 | 3310.8036 | 6698.5666 | 13557.2205
Equipment Cost | 215 | $ per new participant | Ramped Incremental Participants | 0 | 3476.3438 | 3722.6913 | 7536.5149
Marketing Cost | 25 | $ per new participant | Setup Cost | 140929.707
Incentives (annual) | 40 | $ per participant per year | O&M Cost (Inflation rate applied) | 0 | 25451.8025 | 52782.6113 | 109497.3273
|  |  | Equipment Cost (Inflation rate applied) | 0 | 766099.256 | 840897.8012 | 1744940.4899
|  |  | Marketing Cost (Inflation rate applied) | 0 | 89081.3088 | 97778.8141 | 202900.057
|  |  | Incentives (annual) (Inflation rate applied) | 0 | 135742.9468 | 281507.26 | 583985.7454
|  |  | Total Aurora Input | 140929.707 | 1016375.3141 | 1272966.4865 | 2641323.6196
4 |  | Product/Scenario
Res DLC Heat-BYOT
Setup Cost | 9070.293 | $ | Ramped MW | 0 | 0.047779 | 0.16208 | 0.36145
O&M Cost | 7.5 | $ per participant per year | Ramped Participants | 0 | 51.0669 | 173.2366 | 386.3216
Marketing Cost | 25 | $ per new participant | Ramped Incremental Participants | 0 | 53.6203 | 130.8315 | 232.4011
Incentives (annual) | 40 | $ per participant per year | Setup Cost | 9070.293
|  |  | O&M Cost (Inflation rate applied) | 0 | 392.577 | 1365.0503 | 3120.1962
|  |  | Marketing Cost (Inflation rate applied) | 0 | 1374.0193 | 3436.3716 | 6256.7646
|  |  | Incentives (annual) (Inflation rate applied) | 0 | 2093.7437 | 7280.2684 | 16641.0462
|  |  | Total Aurora Input | 9070.293 | 3860.34 | 12081.6904 | 26018.007
5 |  | Product/Scenario
Res DLC ERWH-Switch
Setup Cost | 22938.6701 | $
O&M Cost | 7.5 | $ per participant per year | Ramped MW | 0 | 5.0168 | 9.4659 | 17.7732
Equipment Cost | 315 | $ per new participant | Ramped Incremental MW | 0 | 5.2676 | 4.9224 | 9.1959
Marketing Cost | 25 | $ per new participant | Ramped Participants | 0 | 8485.7787 | 16011.361 | 30062.8163
Incentives (annual) | 24 | $ per participant per year | Ramped Incremental Participants | 0 | 8910.0676 | 8326.1503 | 15554.5961
|  |  | Setup Cost | 22938.6701
|  |  | O&M Cost (Inflation rate applied) | 0 | 65234.4237 | 126164.5209 | 242807.7377
|  |  | Equipment (Inflation rate applied) | 0 | 2876838.0873 | 2755513.43 | 5276438.6052
|  |  | Marketing Cost (Inflation rate applied) | 0 | 228320.4831 | 218691.5421 | 418764.9687
|  |  | Incentives (annual) (Inflation rate applied) | 0 | 208750.156 | 403726.4669 | 776984.7605
|  |  | Total Aurora Input | 22938.6701 | 3379143.1501 | 3504095.9599 | 6714996.0721
6 |  | Product/Scenario
Res DLC ERWH-Grid-Enabled
Setup Cost | 124786.3654 | $ | Ramped MW | 0 | 0.59525 | 1.8613 | 5.0965
O&M Cost | 7.5 | $ per participant per year | Ramped Participants | 0 | 1006.8519 | 3148.258 | 8620.6102
Equipment Cost | 40 | $ per new participant | Ramped Incremental Participants | 0 | 1057.1945 | 2298.8189 | 5903.3827
Marketing Cost | 25 | $ per new participant | Setup Cost | 124786.3654
Incentives (annual) | 24 | $ per participant per year | O&M Cost (Inflation rate applied) | 0 | 7740.1743 | 24807.2889 | 69625.9071
|  |  | Equipment (Inflation rate applied) | 0 | 43344.9762 | 96607.865 | 254291.9003
|  |  | Marketing Cost (Inflation rate applied) | 0 | 27090.6101 | 60379.9157 | 158932.4377
|  |  | Incentives (annual) (Inflation rate applied) | 0 | 24768.5578 | 79383.3246 | 222802.9028
|  |  | Total Aurora Input | 124786.3654 | 102944.3185 | 261178.3942 | 705653.1479
7 |  | Product/Scenario
Res DLC HPWH-Switch
Setup Cost | 353.2554 | $ | Ramped MW | 0 | 0.077259 | 0.14578 | 0.27371
O&M Cost | 7.5 | $ per participant per year | Ramped Incremental MW | 0 | 0.081122 | 0.075805 | 0.14162
Equipment Cost | 315 | $ per new participant | Ramped Participants | 0 | 318.82 | 601.5643 | 1129.4929
Marketing Cost | 25 | $ per new participant | Ramped Incremental Participants | 0 | 334.761 | 312.8226 | 584.4032
Incentives (annual) | 24 | $ per participant per year | Setup Cost | 353.2554
|  |  | O&M Cost (Inflation rate applied) | 0 | 2450.9287 | 4740.1391 | 9122.5523
|  |  | Equipment (Inflation rate applied) | 0 | 108085.9541 | 103527.654 | 198241.5706
|  |  | Marketing Cost (Inflation rate applied) | 0 | 8578.2503 | 8216.4805 | 15733.458
|  |  | Incentives (annual) (Inflation rate applied) | 0 | 7842.9717 | 15168.445 | 29192.1674
|  |  | Total Aurora Input | 353.2554 | 126958.1048 | 131652.7186 | 252289.7484
8 |  | Product/Scenario
Res DLC HPWH-Grid-Enabled
Setup Cost | 1921.7091 | $ | Ramped MW | 0 | 0.0091669 | 0.028663 | 0.078486
O&M Cost | 7.5 | $ per participant per year | Ramped Participants | 0 | 37.8285 | 118.2835 | 323.8858
Equipment Cost | 40 | $ per new participant | Ramped Incremental Participants | 0 | 39.72 | 86.3691 | 221.7965
Marketing Cost | 25 | $ per new participant | Setup Cost | 1921.7091
Incentives (annual) | 24 | $ per participant per year | O&M Cost (Inflation rate applied) | 0 | 290.8068 | 932.037 | 2615.9215
|  |  | Equipment (Inflation rate applied) | 0 | 1628.5182 | 3629.6632 | 9554.0249
|  |  | Marketing Cost (Inflation rate applied) | 0 | 1017.8239 | 2268.5395 | 5971.2655
|  |  | Total Aurora Input | 1921.7091 | 2937.1488 | 6830.2396 | 18141.2119
9 |  | Product/Scenario
Small Com DLC Heat-Switch
Setup Cost | 84712.1103 | $ | Ramped MW | 0 | 0.54132 | 1.0954 | 2.2135
O&M Cost | 15 | $ per participant per year | Ramped Participants | 0 | 283.5884 | 573.8826 | 1159.598
Equipment Cost | 387 | $ per new participant | Ramped Incremental Participants | 0 | 297.7678 | 318.9883 | 643.6954
Marketing Cost | 69 | $ per new participant | Setup Cost | 84712.1103
Incentives (annual) | 38 | $ per participant per year | O&M Cost (Inflation rate applied) | 0 | 4360.172 | 9044.0306 | 18731.4037
|  |  | Equipment (Inflation rate applied) | 0 | 118117.0584 | 129698.0418 | 268264.337
|  |  | Marketing Cost (Inflation rate applied) | 0 | 21059.6306 | 23124.4571 | 47830.0756
|  |  | Incentives (annual) (Inflation rate applied) | 0 | 11045.769 | 22911.5442 | 47452.8894
|  |  | Total Aurora Input | 84712.1103 | 154582.6299 | 184778.0737 | 382278.7058
10 |  | Product/Scenario
Medium Com DLC Heat-Switch
Setup Cost | 65287.8897 | $ | Ramped MW | 0 | 0.4172 | 0.84426 | 1.7059
O&M Cost | 15 | $ per participant per year | Ramped Participants | 0 | 44.7 | 90.457 | 182.7791
Equipment Cost | 1128 | $ per new participant | Ramped Incremental Participants | 0 | 46.935 | 50.2798 | 101.4611
Marketing Cost | 83 | $ per new participant | Setup Cost | 65287.8897
Incentives (annual) | 128 | $ per participant per year | O&M Cost (Inflation rate applied) | 0 | 687.2625 | 1425.5454 | 2952.4963
|  |  | Equipment (Inflation rate applied) | 0 | 54266.2482 | 59586.8727 | 123248.0667
|  |  | Marketing Cost (Inflation rate applied) | 0 | 3992.9952 | 4384.4951 | 9068.7851
|  |  | Incentives (annual) (Inflation rate applied) | 0 | 5864.6401 | 12164.6544 | 25194.6352
|  |  | Total Aurora Input | 65287.8897 | 64811.1461 | 77561.5676 | 160463.9833
11 |  | Product/Scenario
C&I Curtailment-Manual
Setup Cost | 74025.974 | $ | Ramped MW | 0 | 0.23054 | 0.46588 | 0.93861
O&M Cost | 60 | $ per kW pledged per year | Ramped Participants | 0 | 57.004 | 115.1851 | 232.4435
Equipment Cost | 0 |  | Ramped Incremental Participants | 0 | 57.004 | 58.1811 | 117.2583
Marketing Cost | 0 |  | Setup Cost | 74025.974
Incentives (annual) | 20 | $ per kW pledged per year | O&M Cost (Inflation rate applied) | 0 | 14178.5092 | 29368.1018 | 60646.88
|  |  | Equipment (Inflation rate applied) | 0 | 0 | 0 | 0
|  |  | Marketing Cost (Inflation rate applied) | 0 | 0 | 0 | 0
|  |  | Incentives (annual) (Inflation rate applied) | 0 | 4726.1697 | 9789.3673 | 20215.6267
|  |  | Total Aurora Input | 74025.974 | 18904.6789 | 39157.469 | 80862.5067
12 |  | Product/Scenario
C&I Curtailment-AutoDR
Setup Cost | 75974.026 | $ | Ramped MW | 0 | 0.23661 | 0.47814 | 0.96331
O&M Cost | 60 | $ per kW pledged per year | Ramped Incremental MW | 0 | 0.23661 | 0.24153 | 0.48517
Equipment Cost | 310 | $ per kW pledged per year | Ramped Participants | 0 | 57.004 | 115.1851 | 232.4435
Marketing Cost | 0 |  | Ramped Incremental Participants | 0 | 57.004 | 58.1811 | 117.2583
Incentives (annual) | 20 | $ per kW pledged per year | Setup Cost | 75974.026
|  |  | O&M Cost (Inflation rate applied) | 0 | 14551.6279 | 30140.9466 | 62242.8505
|  |  | Equipment (Inflation rate applied) | 0 | 75183.4107 | 78665.2279 | 161966.6317
|  |  | Marketing Cost (Inflation rate applied) | 0 | 0 | 0 | 0
|  |  | Incentives (annual) (Inflation rate applied) | 0 | 4850.5426 | 10046.9822 | 20747.6168
|  |  | Total Aurora Input | 75974.026 | 94585.5812 | 118853.1566 | 244957.099
13 |  | Product/Scenario
C&I CPP-No Enablement
Setup Cost | 87227.7585 | $ | Ramped MW | 0 | 0.10357 | 0.20933 | 0.42186
O&M Cost | 43613.8792 | $ per year | Ramped Participants | 0 | 571.6596 | 1156.8366 | 2337.5261
Equipment Cost | 0 |  | Ramped Incremental Participants | 0 | 571.6596 | 585.177 | 1180.6894
Marketing Cost | 50 | $ per new participant | Setup Cost | 87227.7585
Incentives (annual) | 0 |  | O&M Cost (Inflation rate applied) | 43613.8792 | 44704.2262 | 45821.8319 | 46967.3777
|  |  | Equipment (Inflation rate applied) | 0 | 0 | 0 | 0
|  |  | Marketing Cost (Inflation rate applied) | 0 | 29297.5534 | 30740.0811 | 63573.6696
|  |  | Incentives (annual) (Inflation rate applied) | 0 | 0 | 0 | 0
|  |  | Total Aurora Input | 130841.6377 | 74001.7796 | 76561.913 | 110541.0473
14 |  | Product/Scenario
C&I CPP-With Enablement
Setup Cost | 62772.2415 | $ | Ramped MW | 0 | 0.074529 | 0.15064 | 0.30358
O&M Cost | 31386.1208 | $ per year | Ramped Participants | 0 | 328.2884 | 664.3395 | 1342.3771
Equipment Cost | 0 |  | Ramped Incremental Participants | 0 | 328.2884 | 336.0511 | 678.0376
Marketing Cost | 50 | $ per new participant | Setup Cost | 62772.2415
Incentives (annual) | 0 |  | O&M Cost (Inflation rate applied) | 31386.1208 | 32170.7738 | 32975.0431 | 33799.4192
|  |  | Equipment (Inflation rate applied) | 0 | 0 | 0 | 0
|  |  | Marketing Cost (Inflation rate applied) | 0 | 16824.7816 | 17653.1857 | 36508.6153
|  |  | Incentives (annual) (Inflation rate applied) | 0 | 0 | 0 | 0
|  |  | Total Aurora Input | 94158.3623 | 48995.5554 | 50628.2288 | 70308.0345
15 |  | Product/Scenario
Res EV DLC-
Setup Cost | 150000 | $ | Ramped MW | 0 | 0.16621 | 0.4111 | 0.75628
O&M Cost | 150000 | $ per year | Ramped Participants | 0 | 479.5837 | 1186.216 | 2182.2002
Equipment Cost | 300 | $ per new participant | Ramped Incremental Participants | 0 | 503.5628 | 765.9431 | 1105.0942
Marketing Cost | 30 | $ per new participant | Setup Cost | 150000
Incentives (annual) | 25 | $ per participant per year | O&M Cost (Inflation rate applied) | 150000 | 153750 | 157593.75 | 161533.5937
|  |  | Equipment (Inflation rate applied) | 0 | 154845.574 | 241415.6886 | 357019.6813
|  |  | Marketing Cost (Inflation rate applied) | 0 | 15484.5574 | 24141.5689 | 35701.9681
|  |  | Incentives (annual) (Inflation rate applied) | 0 | 12289.3313 | 31156.7034 | 58749.7725
|  |  | Total Aurora Input | 300000 | 336369.4627 | 454307.7108 | 613005.0157
16 |  | Product/Scenario
Res Behavior DR-Winter
Setup Cost | 150000 | $ | Ramped MW | 0 | 1.2813 | 2.6029 | 3.9717
O&M Cost | 66.75 | $ per kW pledged per year | Ramped Participants | 0 | 42901.3201 | 86799.1588 | 131753.4299
Equipment Cost | 0 | $ per new participant | Ramped Incremental Participants | 0 | 44274.1623 | 46675.4118 | 49170.3809
Marketing Cost | 0 | $ per new participant | Setup Cost | 150000
Incentives (annual) | 0 | $ per participant per year | O&M Cost (Inflation rate applied) | 0 | 87663.6573 | 182539.4096 | 285493.2277
|  |  | Equipment (Inflation rate applied) | 0 | 0 | 0 | 0
|  |  | Marketing Cost (Inflation rate applied) | 0 | 0 | 0 | 0
|  |  | Incentives (annual) (Inflation rate applied) | 0 | 0 | 0 | 0
|  |  | Total Aurora Input | 150000 | 87663.6573 | 182539.4096 | 285493.2277
|  |  |  | 2022 | 2023 | 2024 | 2025
|  |  | Total Budget | 341996 | 1017980.6409 | 1252896.5402 | 3142219.3792

## F3
Utility-Scale Generic Energy Resource Costs
Citation Source: 2021 IRP Chapter 5
Appendix F3: New Resource Generic Cost Assumptions used in CEIP Modeling
IRP Modeling Assumptions (2020 $) | Nameplate (MW) | First year available | Fixed O&M ($/kw-yr) | Variable O&M1 | Capital Costs, Vintage 2021 ($/kw)
|  |  |  | ($/MWh) | Overnight Capital Cost | Notes
CCCT | 348 | 2025 | 12.87 | 3.32 | 1073 | Based on 2021 NREL ATB, includes $2.5MM interconnection spur line adder
Frame Peaker | 237 | 2025 | 7.68 | 7.86 | 953 | Based on 2021 NREL ATB, includes $2.5MM interconnection spur line adder
Recip Peaker | 219 | 2025 | 6.4 | 7.05 | 1683 | Same as 2021 IRP, not availabe in NREL ATB
WA Solar - Utility Scale | 100 | 2024 | 22.23 | 0 | 1369 | Based on 2021 NREL ATB, includes $2.5MM interconnection spur line adder
Idaho/Wyoming Solar – Utility Scale | 400 | 2026 | 22.23 | 0 | 1369 | Based on 2021 NREL ATB, includes $2.5MM interconnection spur line adder
WA Solar - Residential Scale | 30 | 2024 | 0 | 0 | 2603 | This cost was replaced with the program specific DER costs in CEIP modeling. Please see Appendix F4 for details.
Washington Wind | 100 | 2024 | 40.6 | 0 | 1394 | Based on 2021 NREL ATB, includes $2.5MM interconnection spur line adder
Montana Wind | 200 | 2024 | 40.6 | 0 | 1394 | Based on 2021 NREL ATB, includes $2.5MM interconnection spur line adder
Idaho/Wyoming Wind | 400 | 2026 | 40.6 | 0 | 1394 | Based on 2021 NREL ATB, includes $2.5MM interconnection spur line adder
Offshore Wind | 100 | 2030 | 110.08 | 0 | 4715 | Based on 2021 NREL ATB, includes $2.5MM interconnection spur line adder
Pumped Storage | 25 | 2028 | 16 | 0 | 2656 | Same as 2021 IRP, not availabe in NREL ATB
Battery 2hr Li-Ion | 25 | 2023 | 23.49 | 0 | 1357 | Based on 2021 NREL ATB, includes $2.5MM interconnection spur line adder
Battery 4hr Li-Ion | 25 | 2023 | 31.93 | 0 | 825 | Based on 2021 NREL ATB, includes $2.5MM interconnection spur line adder
Battery 4hr Flow | 25 | 2023 | 21.76 | 0 | 1777 | Based on 2021 NREL ATB, includes $2.5MM interconnection spur line adder
Battery 6hr Flow | 25 | 2023 | 37.97 | 0 | 2478 | Based on 2021 NREL ATB, includes $2.5MM interconnection spur line adder
Solar + battery | 100 solar + 25 battery | 2024 | 45.72 | 0 | 1974 | Based on 2021 NREL ATB, includes $2.5MM interconnection spur line adder
Wind + battery | 100 wind + 25 battery | 2024 | 64.09 | 0 | 1997 | Based on 2021 NREL ATB, includes $2.5MM interconnection spur line adder
Wind + pumped hydro | 200 wind + 100 PHES | 2028 | 56.6 | 0 | 3645 | Pumped Hydro same as 2021 IRP, Wind based on 2021 NREL ATB, includes $2.5MM interconnection spur line adder
Biomass | 15 | 2024 | 207 | 6.2 | 4479 | Based on 2021 NREL ATB, includes $2.5MM interconnection spur line adder
NOTES
1. Variable O&M costs do not include the cost of fuel for thermal resources
2. 2021 NREL ATB - National Renewable Energy Laboratory Annual Technology Baseline https://atb.nrel.gov/electricity/2021/data

## F4
For Details of Distributed Energy Resource Potentials and Costs, see Appendix K

## F5
|  | With-CETA Budget |  |  |  |  | No-CETA Budget | [5 empty] | CEIP DER Enablement Budget
CEIP Enablement Milestone | Swimlane | 2022 | 2023 | 2024 | 2025 | Total | 2022 | 2023 | 2024 | 2025 | Total | Allocation % to CETA | 2022 | 2023 | 2024 | 2025 | Total
DER Enablement Milestones
Procurement & Vendor Management Strategy | Total Procurement | 782500 | 382500 | 382500 | 382500 | 1930000 | 0 | 0 | 0 | 0 | 0 | 100% | 782500 | 382500 | 382500 | 382500 | 1930000
Capital | Procurement | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0
Labor | Procurement |  |  |  |  | 0
Services | Procurement |  |  |  |  | 0
Materials | Procurement |  |  |  |  | 0
IT | Procurement |  |  |  |  | 0
Expense | Procurement | 782500 | 382500 | 382500 | 382500 | 1930000 | [6 empty] | 782500 | 382500 | 382500 | 382500 | 1930000
Labor | Procurement | 382500 | 382500 | 382500 | 382500 | 1530000
Services | Procurement | 400000 |  |  |  | 400000
IT | Procurement |  |  |  |  | 0
Market Engagement & Benchmarking | Procurement | 0 | 0 | 0 | 200000 | 200000 | 0 | 0 | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 200000 | 200000
Capital | Procurement | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Procurement |  |  |  |  | 0
Services | Procurement |  |  |  |  | 0
Materials | Procurement |  |  |  |  | 0
IT | Procurement |  |  |  |  | 0
Expense | Procurement | 0 | 0 | 0 | 200000 | 200000 | [6 empty] | 0 | 0 | 0 | 200000 | 200000
Labor | Procurement | 0 | 0 | 0 | 0 | 0
Services | Procurement |  |  |  |  | 0
IT | Procurement |  |  |  | 200000 | 200000
Regulatory & Stakeholder Engagement Strategy | Total Strategy & Planning | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0
Capital | Strategy & Planning | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Strategy & Planning |  |  |  |  | 0
Services | Strategy & Planning |  |  |  |  | 0
Materials | Strategy & Planning |  |  |  |  | 0
IT | Strategy & Planning |  |  |  |  | 0
Expense | Strategy & Planning | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Strategy & Planning | 0 | 0 | 0 | 0 | 0
Services | Strategy & Planning |  |  |  |  | 0
IT | Strategy & Planning |  |  |  |  | 0
Portfolio Customer Care Strategy | Customer | 162010 | 162010 | 162010 | 162010 | 648040 | 0 | 0 | 0 | 0 | 0 | 100% | 162010 | 162010 | 162010 | 162010 | 648040
Capital | Customer | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Customer |  |  |  |  | 0
Services | Customer |  |  |  |  | 0
Materials | Customer |  |  |  |  | 0
IT | Customer |  |  |  |  | 0
Expense | Customer | 162010 | 162010 | 162010 | 162010 | 648040 | [6 empty] | 162010 | 162010 | 162010 | 162010 | 648040
Labor | Customer | 162010 | 162010 | 162010 | 162010 | 648040
Services | Customer |  |  |  |  | 0
IT | Customer |  |  |  |  | 0
Portfolio Marketing Strategy | Customer | 376495 | 185245 | 36711.5 | 36711.5 | 635163 | 0 | 0 | 0 | 0 | 0 | 100% | 376495 | 185245 | 36711.5 | 36711.5 | 635163
Capital | Customer | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Customer |  |  |  |  | 0
Services | Customer |  |  |  |  | 0
Materials | Customer |  |  |  |  | 0
IT | Customer |  |  |  |  | 0
Expense | Customer | 376495 | 185245 | 36711.5 | 36711.5 | 635163 | [6 empty] | 376495 | 185245 | 36711.5 | 36711.5 | 635163
Labor | Customer | 301495 | 110245 | 36711.5 | 36711.5 | 485163
Services | Customer | 75000 | 75000 |  |  | 150000
IT | Customer |  |  |  |  | 0
DER Customer Experience Strategy | Customer | 125000 | 125000 | 0 | 0 | 250000 | 0 | 0 | 0 | 0 | 0 | 100% | 125000 | 125000 | 0 | 0 | 250000
Capital | Customer | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Customer |  |  |  |  | 0
Services | Customer |  |  |  |  | 0
Materials | Customer |  |  |  |  | 0
IT | Customer |  |  |  |  | 0
Expense | Customer | 125000 | 125000 | 0 | 0 | 250000 | [6 empty] | 125000 | 125000 | 0 | 0 | 250000
Labor | Customer | 0 | 0 | 0 | 0 | 0
Services | Customer | 125000 | 125000 |  |  | 250000
IT | Customer |  |  |  |  | 0
Customer Relationship Management (CRM) Platform | Customer | 0 | 672000 | 2478000 | 450000 | 3600000 | 0 | 336000 | 1239000 | 225000 | 1800000 | 50% | 0 | 336000 | 1239000 | 225000 | 1800000
Capital | Customer | 0 | 672000 | 2028000 | 0 | 2700000 | 0 | 336000 | 1014000 | 0 | 1350000 |  | 0 | 336000 | 1014000 | 0 | 1350000
Labor | Customer |  |  |  |  | 0
Services | Customer | 0 | 0 |  |  | 0
Materials | Customer |  |  |  |  | 0
IT | Customer | 0 | 672000 | 2028000 |  | 2700000 | 0 | 336000 | 1014000 | 0 | 1350000
Expense | Customer | 0 | 0 | 450000 | 450000 | 900000 | 0 | 0 | 225000 | 225000 | 450000 |  | 0 | 0 | 225000 | 225000 | 450000
Labor | Customer |  |  | 50000 | 50000 | 100000 | 0 | 0 | 25000 | 25000 | 50000
Services | Customer |  |  |  |  | 0
IT | Customer |  |  | 400000 | 400000 | 800000 | 0 | 0 | 200000 | 200000 | 400000
Customer Enrollment & Education Portal | Customer | 0 | 1495000 | 0 | 0 | 1495000 | 0 | 0 | 0 | 0 | 0 | 100% | 0 | 1495000 | 0 | 0 | 1495000
Capital | Customer | 0 | 1495000 | 0 | 0 | 1495000 | [6 empty] | 0 | 1495000 | 0 | 0 | 1495000
Labor | Customer |  |  |  |  | 0
Services | Customer |  |  |  |  | 0
Materials | Customer |  |  |  |  | 0
IT | Customer |  |  |  |  | 0
Expense | Customer | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Customer | 0 | 0 | 0 | 0 | 0
Services | Customer |  |  |  |  | 0
IT | Customer |  |  |  |  | 0
Customer Notification Platform | Customer | 0 | 872740 | 522740 | 122740 | 1518220 | 0 | 0 | 0 | 0 | 0 | 100% | 0 | 872740 | 522740 | 122740 | 1518220
Capital | Customer | 0 | 750000 | 400000 | 0 | 1150000 | [6 empty] | 0 | 750000 | 400000 | 0 | 1150000
Labor | Customer |  |  |  |  | 0
Services | Customer | 0 | 150000 |  |  | 150000
Materials | Customer |  |  |  |  | 0
IT | Customer | 0 | 600000 | 400000 |  | 1000000
Expense | Customer | 0 | 122740 | 122740 | 122740 | 368220 | [6 empty] | 0 | 122740 | 122740 | 122740 | 368220
Labor | Customer | 0 | 122740 | 122740 | 122740 | 368220
Services | Customer |  |  |  |  | 0
IT | Customer |  |  |  |  | 0
Complex Billing Functionality | Customer | 0 | 2500000 | 5050000 | 50000 | 7600000 | 0 | 0 | 0 | 0 | 0 | 100% | 0 | 2500000 | 5050000 | 50000 | 7600000
Capital | Customer | 0 | 2500000 | 5000000 | 0 | 7500000 | [6 empty] | 0 | 2500000 | 5000000 | 0 | 7500000
Labor | Customer |  |  |  |  | 0
Services | Customer |  |  |  |  | 0
Materials | Customer |  |  |  |  | 0
IT | Customer | 0 | 2500000 | 5000000 |  | 7500000
Expense | Customer | 0 | 0 | 50000 | 50000 | 100000 | [6 empty] | 0 | 0 | 50000 | 50000 | 100000
Labor | Customer | 0 | 0 | 50000 | 50000 | 100000
Services | Customer |  |  |  |  | 0
IT | Customer |  |  |  |  | 0
Device Marketplace | Customer | 0 | 0 | 400000 | 550000 | 950000 | 0 | 0 | 0 | 0 | 0 | 100% | 0 | 0 | 400000 | 550000 | 950000
Capital | Customer | 0 | 0 | 400000 | 550000 | 950000 | [6 empty] | 0 | 0 | 400000 | 550000 | 950000
Labor | Customer |  |  |  |  | 0
Services | Customer |  |  | 150000 |  | 150000
Materials | Customer |  |  |  |  | 0
IT | Customer |  |  | 250000 | 550000 | 800000
Expense | Customer | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Customer | 0 | 0 | 0 | 0 | 0
Services | Customer |  |  |  |  | 0
IT | Customer |  |  |  |  | 0
Marketing Platform | Customer | 0 | 150000 | 0 | 0 | 150000 | 0 | 0 | 0 | 0 | 0 | 100% | 0 | 150000 | 0 | 0 | 150000
Capital | Customer | 0 | 150000 | 0 | 0 | 150000 | [6 empty] | 0 | 150000 | 0 | 0 | 150000
Labor | Customer |  |  |  |  | 0
Services | Customer |  | 150000 |  |  | 150000
Materials | Customer |  |  |  |  | 0
IT | Customer |  |  |  |  | 0
Expense | Customer | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Customer | 0 | 0 | 0 | 0 | 0
Services | Customer |  |  |  |  | 0
IT | Customer |  |  |  |  | 0
Portfolio & Product Management Strategy | Strategy & Planning | 237010 | 162010 | 162010 | 162010 | 723040 | 0 | 0 | 0 | 0 | 0 | 100% | 237010 | 162010 | 162010 | 162010 | 723040
Capital | Strategy & Planning | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Strategy & Planning |  |  |  |  | 0
Services | Strategy & Planning |  |  |  |  | 0
Materials | Strategy & Planning |  |  |  |  | 0
IT | Strategy & Planning |  |  |  |  | 0
Expense | Strategy & Planning | 237010 | 162010 | 162010 | 162010 | 723040 | [6 empty] | 237010 | 162010 | 162010 | 162010 | 723040
Labor | Strategy & Planning | 162010 | 162010 | 162010 | 162010 | 648040
Services | Strategy & Planning | 75000 |  |  |  | 75000
IT | Strategy & Planning |  |  |  |  | 0
Innovation Project / Emerging Technology Process | Strategy & Planning | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0 | 0 | 0 | 0 | 0
Capital | Strategy & Planning | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Strategy & Planning |  |  |  |  | 0
Services | Strategy & Planning |  |  |  |  | 0
Materials | Strategy & Planning |  |  |  |  | 0
IT | Strategy & Planning |  |  |  |  | 0
Expense | Strategy & Planning | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Strategy & Planning | 0 | 0 | 0 | 0 | 0
Services | Strategy & Planning |  |  |  |  | 0
IT | Strategy & Planning |  |  |  |  | 0
Asset Management Strategy & Planning | Operations | 162010 | 412010 | 162010 | 162010 | 898040 | 0 | 0 | 0 | 0 | 0 | 100% | 162010 | 412010 | 162010 | 162010 | 898040
Capital | Operations | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Operations |  |  |  |  | 0
Services | Operations |  |  |  |  | 0
Materials | Operations |  |  |  |  | 0
IT | Operations |  |  |  |  | 0
Expense | Operations | 162010 | 412010 | 162010 | 162010 | 898040 | [6 empty] | 162010 | 412010 | 162010 | 162010 | 898040
Labor | Operations | 162010 | 162010 | 162010 | 162010 | 648040
Services | Operations | 0 | 250000 |  |  | 250000
IT | Operations |  |  |  |  | 0
Dispatch & Operations Strategy | Operations | 100000 | 925710 | 775710 | 775710 | 2577130 | 0 | 0 | 0 | 0 | 0 | 100% | 100000 | 925710 | 775710 | 775710 | 2577130
Capital | Operations | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Operations |  |  |  |  | 0
Services | Operations |  |  |  |  | 0
Materials | Operations |  |  |  |  | 0
IT | Operations |  |  |  |  | 0
Expense | Operations | 100000 | 925710 | 775710 | 775710 | 2577130 | [6 empty] | 100000 | 925710 | 775710 | 775710 | 2577130
Labor | Operations | 0 | 775710 | 775710 | 775710 | 2327130
Services | Operations | 100000 | 150000 |  |  | 250000
IT | Operations |  |  |  |  | 0
DER IT/OT Strategy | Operations | 100000 | 640960 | 490960 | 490960 | 1722880 | 0 | 0 | 0 | 0 | 0 | 100% | 100000 | 640960 | 490960 | 490960 | 1722880
Capital | Operations | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Operations |  |  |  |  | 0
Services | Operations |  |  |  |  | 0
Materials | Operations |  |  |  |  | 0
IT | Operations |  |  |  |  | 0
Expense | Operations | 100000 | 640960 | 490960 | 490960 | 1722880 | [6 empty] | 100000 | 640960 | 490960 | 490960 | 1722880
Labor | Operations | 0 | 490960 | 490960 | 490960 | 1472880
Services | Operations | 100000 | 150000 |  |  | 250000
IT | Operations |  |  |  |  | 0
Virtual Power Plant (VPP) | Operations | 4356510 | 4356510 | 455260 | 455260 | 9623540 | 0 | 0 | 0 | 0 | 0 | 100% | 4356510 | 4356510 | 455260 | 455260 | 9623540
Capital | Operations | 3901250 | 3901250 | 0 | 0 | 7802500 | [6 empty] | 3901250 | 3901250 | 0 | 0 | 7802500
Labor | Operations |  |  |  |  | 0
Services | Operations |  |  |  |  | 0
Materials | Operations |  |  |  |  | 0
IT | Operations |  |  |  |  | 0
Expense | Operations | 455260 | 455260 | 455260 | 455260 | 1821040 | [6 empty] | 455260 | 455260 | 455260 | 455260 | 1821040
Labor | Operations | 455260 | 455260 | 455260 | 455260 | 1821040
Services | Operations |  |  |  |  | 0
IT | Operations |  |  |  |  | 0
Data Lake And Analytics | Operations | 0 | 1760000 | 2260000 | 3280000 | 7300000 | 0 | 880000 | 1130000 | 1640000 | 3650000 | 50% | 0 | 880000 | 1130000 | 1640000 | 3650000
Capital | Operations | 0 | 1760000 | 2260000 | 3280000 | 7300000 | 0 | 880000 | 1130000 | 1640000 | 3650000 |  | 0 | 880000 | 1130000 | 1640000 | 3650000
Labor | Operations | 0 | 0 |  |  | 0
Services | Operations |  |  |  |  | 0
Materials | Operations |  |  |  |  | 0
IT | Operations |  |  |  |  | 0
Expense | Operations | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Operations |  |  |  |  | 0
Services | Operations |  |  |  |  | 0
IT | Operations |  |  |  |  | 0
NWA Evaluation Tool & Methodology | Strategy & Planning | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0% | 0 | 0 | 0 | 0 | 0
Capital | Strategy & Planning | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Strategy & Planning |  |  |  |  | 0
Services | Strategy & Planning |  | 0 | 0 |  | 0
Materials | Strategy & Planning |  |  |  |  | 0
IT | Strategy & Planning |  |  |  |  | 0
Expense | Strategy & Planning | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Strategy & Planning | 0 | 0 | 0 | 0 | 0
Services | Strategy & Planning | 0 | 0 | 0 | 0 | 0
IT | Strategy & Planning |  |  |  |  | 0
Feeder-level Forecasting Tool | Strategy & Planning | 0 | 0 | 0 | 0 | 0 | [5 empty] | 0% | 0 | 0 | 0 | 0 | 0
Capital | Strategy & Planning | 0 | 0 | 0 |  | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Strategy & Planning |  |  |  |  | 0
Services | Strategy & Planning |  |  |  |  | 0
Materials | Strategy & Planning |  |  |  |  | 0
IT | Strategy & Planning |  |  |  |  | 0
Expense | Strategy & Planning | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Strategy & Planning | 0 | 0 | 0 | 0 | 0
Services | Strategy & Planning |  |  |  |  | 0
IT | Strategy & Planning |  |  |  |  | 0
Hosting Capacity Analysis | Strategy & Planning | 0 | 5205382 | 493447 | 493447 | 6192276 | 0 | 0 | 0 | 0 | 0 | 100% | 0 | 5205382 | 493447 | 493447 | 6192276
Capital | Strategy & Planning | 0 | 5143755 | 30000 | 30000 | 5203755 | [6 empty] | 0 | 5143755 | 30000 | 30000 | 5203755
Labor | Strategy & Planning |  |  |  |  | 0
Services | Strategy & Planning |  |  |  |  | 0
Materials | Strategy & Planning |  |  |  |  | 0
IT | Strategy & Planning |  |  |  |  | 0
Expense | Strategy & Planning | 0 | 61627 | 463447 | 463447 | 988521 | [6 empty] | 0 | 61627 | 463447 | 463447 | 988521
Labor | Strategy & Planning | 0 | 0 | 0 | 0 | 0
Services | Strategy & Planning |  |  |  |  | 0
IT | Strategy & Planning |  |  |  |  | 0
Locational Pricing & Valuation Tool | Strategy & Planning | 0 | 0 | 1920218 | 220218 | 2140436 | 0 | 0 | 1920218 | 220218 | 2140436 | 0% | 0 | 0 | 0 | 0 | 0
Capital | Strategy & Planning | 0 | 0 | 1700000 | 0 | 1700000 | 0 | 0 | 1700000 | 0 | 1700000 |  | 0 | 0 | 0 | 0 | 0
Labor | Strategy & Planning |  |  |  |  | 0
Services | Strategy & Planning |  |  | 1500000 |  | 1500000 | 0 | 0 | 1500000 | 0 | 1500000
Materials | Strategy & Planning |  |  |  |  | 0
IT | Strategy & Planning |  |  | 200000 |  | 200000 | 0 | 0 | 200000 | 0 | 200000
Expense | Strategy & Planning | 0 | 0 | 220218 | 220218 | 440436 | 0 | 0 | 220218 | 220218 | 440436 |  | 0 | 0 | 0 | 0 | 0
Labor | Strategy & Planning | 0 | 0 | 220218 | 220218 | 440436 | 0 | 0 | 220218 | 220218 | 440436
Services | Strategy & Planning |  |  |  |  | 0
IT | Strategy & Planning |  |  |  |  | 0
Advanced Distribution Management System (ADMS) | Operations | 6501177 | 945922 | 0 | 0 | 7447099 | 6501177 | 945922 | 0 | 0 | 7447099 | 0% | 0 | 0 | 0 | 0 | 0
Capital | Operations | 6501177 | 945922 |  |  | 7447099 | 6501177 | 945922 | 0 | 0 | 7447099 |  | 0 | 0 | 0 | 0 | 0
Labor | Operations |  |  |  |  | 0
Services | Operations |  |  |  |  | 0
Materials | Operations |  |  |  |  | 0
IT | Operations |  |  |  |  | 0
Expense | Operations | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Operations | 0 | 0 | 0 | 0 | 0
Services | Operations |  |  |  |  | 0
IT | Operations |  |  |  |  | 0
ADMS-integrated DER Management System (DERMS) | Operations | 0 | 0 | 475000 | 3500000 | 3975000 | 0 | 0 | 0 | 0 | 0 | 100% | 0 | 0 | 475000 | 3500000 | 3975000
Capital | Operations | 0 | 0 | 475000 | 3500000 | 3975000 | [6 empty] | 0 | 0 | 475000 | 3500000 | 3975000
Labor | Operations | 0 | 0 |  |  | 0
Services | Operations |  |  |  |  | 0
Materials | Operations |  |  |  |  | 0
IT | Operations |  |  |  |  | 0
Expense | Operations | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Operations |  |  |  |  | 0
Services | Operations |  |  |  |  | 0
IT | Operations |  |  |  |  | 0
Total Enablement |  | 12902712 | 20952999 | 16226576.5 | 11493576.5 | 61575864 | 6501177 | 2161922 | 4289218 | 2085218 | 15037535 |  | 6401535 | 18791077 | 11937358.5 | 9408358.5 | 46538329
Capital |  | 10402427 | 17317927 | 12293000 | 7360000 | 47373354 | 6501177 | 2161922 | 3844000 | 1640000 | 14147099 |  | 3901250 | 15156005 | 8449000 | 5720000 | 33226255
Expense |  | 2500285 | 3635072 | 3933576.5 | 4133576.5 | 14202510 | 0 | 0 | 445218 | 445218 | 890436 |  | 2500285 | 3635072 | 3488358.5 | 3688358.5 | 13312074
Grid Modernization
Substation SCADA | Operations | 5625000 | 15000000 | 22000000 | 22000000 | 64625000 | 2025000 | 5400000 | 7920000 | 7920000 | 23265000 | 64% | 3600000 | 9600000 | 14080000 | 14080000 | 41360000
Capital | Operations | 5625000 | 15000000 | 22000000 | 22000000 | 64625000 | 2025000 | 5400000 | 7920000 | 7920000 | 23265000 |  | 3600000 | 9600000 | 14080000 | 14080000 | 41360000
Labor | Operations | 0 | 0 |  |  | 0
Services | Operations |  |  |  |  | 0
Materials | Operations |  |  |  |  | 0
IT | Operations |  |  |  |  | 0
Expense | Operations | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Operations |  |  |  |  | 0
Services | Operations |  |  |  |  | 0
IT | Operations |  |  |  |  | 0
Circuit Enablement - DER and Microgrids | Operations | 0 | 15000000 | 17500000 | 25000000 | 57500000 | 0 | 0 | 0 | 0 | 0 | 100% | 0 | 15000000 | 17500000 | 25000000 | 57500000
Capital | Operations | 0 | 15000000 | 17500000 | 25000000 | 57500000 | [6 empty] | 0 | 15000000 | 17500000 | 25000000 | 57500000
Labor | Operations | 0 | 0 |  |  | 0
Services | Operations |  |  |  |  | 0
Materials | Operations |  |  |  |  | 0
IT | Operations |  |  |  |  | 0
Expense | Operations | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0 | 0 | 0 | 0 | 0
Labor | Operations |  |  |  |  | 0
Services | Operations |  |  |  |  | 0
IT | Operations |  |  |  |  | 0
Resilience Enhancement | Operations | 1096750 | 4841750 | 10191750 | 10191750 | 26322000 | 329025 | 1452525 | 3057525 | 3057525 | 7896600 | 70% | 767725 | 3389225 | 7134225 | 7134225 | 18425400
Capital | Operations | 1025000 | 4525000 | 9525000 | 9525000 | 24600000 | 307500 | 1357500 | 2857500 | 2857500 | 7380000 |  | 717500 | 3167500 | 6667500 | 6667500 | 17220000
Labor | Operations | 0 | 0 |  |  | 0
Services | Operations |  |  |  |  | 0
Materials | Operations |  |  |  |  | 0
IT | Operations |  |  |  |  | 0
Expense | Operations | 71750 | 316750 | 666750 | 666750 | 1722000 | 21525 | 95025 | 200025 | 200025 | 516600 |  | 50225 | 221725 | 466725 | 466725 | 1205400
Labor | Operations |  |  |  |  | 0
Services | Operations |  |  |  |  | 0
IT | Operations |  |  |  |  | 0
Grid Modernization - Core | Operations | 127102021 | 249249343 | 294250740 | 308060849 | 978662953 | 127102021 | 249249343 | 294250740 | 308060849 | 978662953 | 0% | 0 | 0 | 0 | 0 | 0
Capital | Operations | 124614816 | 246787199 | 291750805 | 305522351 | 968675171 | 124614816 | 246787199 | 291750805 | 305522351 | 968675171 | 0 | 0 | 0 | 0 | 0 | 0
Labor | Operations | 0 | 0 |  |  | 0
Services | Operations |  |  |  |  | 0
Materials | Operations |  |  |  |  | 0
IT | Operations |  |  |  |  | 0
Expense | Operations | 2487205 | 2462144 | 2499935 | 2538498 | 9987782
Labor | Operations |  |  |  |  | 0
Services | Operations |  |  |  |  | 0
IT | Operations |  |  |  |  | 0
Total Grid Modernization |  | 133823771 | 284091093 | 343942490 | 365252599 | 1127109953 | 129456046 | 256101868 | 305228265 | 319038374 | 1009824553 |  | 4367725 | 27989225 | 38714225 | 46214225 | 117285400
Capital |  | 131264816 | 281312199 | 340775805 | 362047351 | 1115400171 | 126947316 | 253544699 | 302528305 | 316299851 | 999320171 |  | 4317500 | 27767500 | 38247500 | 45747500 | 116080000
Expense |  | 71750 | 316750 | 666750 | 666750 | 1722000 | 21525 | 95025 | 200025 | 200025 | 516600 |  | 50225 | 221725 | 466725 | 466725 | 1205400

## F6
Customer Eduction and Engagement Projected Costs
General Education and Engagement
Work | Assumptions | Timing | Unit Pricing | 2022 | 2023 | 2024 | 2025
Transcreation of relevant PSE.com webpages | Limited pse.com transcreation and maintenance (~100 pages in 5 languages). Does not include transactional pages. [~$1,000 per language per page]. Will need to be coordinated with other pse.com multi-language web efforts. Pilot 20 pages in 2022, add balance in 2023 and 2024. | Pilot 10 pages in 5 languages in 2022. Add additional 45 pages per year in 5 languages in 2023 and 2024. Maintainenance and updates in 20225. | $1,000 per page per language | 50000 | 325000 | 325000 | 100000
Transcreation of non-web Communication Materials | Marketing materials/additional content development and transcreation [~$1,500 per piece per language] | Establish program and test ~ 5 pieces in in 5 languages in 2022. Add additional 10 pieces in 2023 and maintain in 2024 and 2025 | $1,500 per piece per language | 50000 | 100000 | 50000 | 50000
Establish in-language events on clean energy education and program enrollments | In-language events (contractor staffing for ~20 annual in-language Tier II events, fees, materials at est. $75K each) | 2022 - identify plans, likely restricted due to COVID. 2023 - start with 20 events per year and evaluate reach. | $75,000 per large community event | 0 | 1500000 | 1500000 | 1500000
Clean energy education and enrollment events for english-speaking audiences |  | 2022 - identify plans, likely restricted due to COVID. 2023 - start with 20 events per year and evaluate reach. | $75,000 per large community event | 0 | 200000 | 200000 | 200000
In-language advertising | In-language advertising (Digital: 52 wks at ~$20,000 per week in 5 languages; Radio/some TV/outdoor [mass]: ~20 weeks as available in language in priority communities, audiences); English for named communities TBD. ~20 weeks in year 1 to allow for ramp up | Estalish and test in 2022, scale up advertising in 2023. Maintain in 2024 and 2025. Includes digital, radio, TV, outdoor | ~$10,000/week/language | 100000 | 2540000 | 2540000 | 2540000
Advertising in English as primary language | Supplemental English mass advertising ( ~20 weeks in future years split radio, TV, digital). | Add in 2023 after in-language development and content completed. Includes digital, radio, TV, outdoor |  | 0 | 2000000 | 2000000 | 2000000
In-language marketing partnerships | Promotional partnerships (e.g., In-language partnership content with Seattle Sounders or Kraken, or Univision); research/negotiation in year 1 with execution in future years | Start after final CEIP scope known |  | 0 | 500000 | 500000 | 500000
In-language social media | In-language paid social media ($60K per language per year - establish in 2023; two languages in '23, three languages in '24, five languages in '25). Note that FTE labor to support this goes up YOY. | Establish program in 2023: two languages in 2023, add one language per year | ~$60,000 per language per year | 0 | 120000 | 180000 | 300000
English social media and content for named communities. |  | Add in 2023 after in-language development and content completed |  | 0 | 120000 | 120000 | 120000
Message testing and campaign performance measurement |  | Establish in 2022 and measure limited | $110,000 per year | 50000 | 110000 | 110000 | 110000
Outreach Personnel | Employee salaries and overheads tied to adding in-person outreach | Start in 2023 after program testing complete |  | 0 | 444105 | 444105 | 444105
Materials Production |  | Add with in-person efforts |  | 0 | 7000 | 7000 | 7000
Miscellaneous expenses |  | Add with in-person efforts |  | 0 | 6000 | 7500 | 7500
Communications Personnel | Employee salaries and overheads tied to ramp up of effort | Start in 2023 after program testing complete |  | 0 | 814192.5 | 962227.5 | 1258297.5
Total Estimate |  |  |  | 250000 | 8786297.5 | 8945832.5 | 9136902.5
Focused Education and Engagement
Work | Assumptions | Timing | Unit Pricing | 2022 | 2023 | 2024 | 2025
Updated project messages | Annual | Start 2022 for Approved CEIP | 1600 | 1600 | 1600 | 1600 | 1600
Project website updates | Quarterly | Start 2022 for Approved CEIP | 2500 | 10000 | 10000 | 10000 | 10000
Website translations | Quarterly |  | 2250 | 9000 | 9000 | 9000 | 9000
Fact sheets | 3 Fact Sheets | 2022 | 1500 | 4500 |  | 4500 | 4500
Updated PPT template | Annual |  | 1100 | 1100 | 1100 | 1100 | 1100
Transcreated fact sheets | Three per language - Spanish, Russian, Vietnamese, Traditional Chinese, Hindi |  | 3000 | 45000 | 0 | 45000 | 45000
Misc. translation needs |  |  | 5000 | 5000 | 5000 | 5000 | 5000
E-newsletters | 7/year |  | 1200 | 8400 | 8400 | 8400 | 8400
0
Bill insert |  |  | 12000 | 12000 | 12000 | 12000 | 12000
Informal surveys | Collect input for next round of CBIs; include cash incentive for chance to win. |  | 2000 | 2000 | 2000 | 2000 | 2000
Informal survey translation | 5 languages |  | 1500 | 1500 | 1500 | 1500 | 1500
Informal survey analysis and summary |  |  | 20000 | 20000 | 20000 | 20000 | 20000
0
Focus groups | online focus groups | 2022 | 50000 | 50000 |  | 50000 | 50000
Newspaper advertising on feedback opportunities |  | Start 2023 | 33000 | 0 | 33000 | 33000 | 33000
0
Inquiry tracking | Regular responding to website |  | 12600 | 12600 | 12600 | 12600 | 12600
Quarterly communication reports | Updates on progress |  | 2000 | 8000 | 8000 | 8000 | 8000
Annual P2 Report | Annual summary of activites | Annual | 2000 | 2000 | 2000 | 2000 | 2000
Multilingual voicemail line | Ongoing |  | 840 | 840 | 840 | 840 | 840
Multilingual phone tree recording | Ongoing |  | 5000 | 5000 |  | 5000 | 5000
Postcard engagement in 2023 CEIP update development | Focus on highly-impacted communities/vulnerable populations | 2023 | 305000 |  | 305000 | 305000 | 305000
0
0
CBO presentations - CBI input |  | 2/county | 2000 | 32000 | 32000 | 32000 | 32000
CBO "working dinner" workshop - program design | 8 | In 2022 to inform 2023 CEIP update | 12000 | 96000 |  | 96000 | 96000
General community meetings - CBI input | 8 per year, not available in 2022 | In 2022 to inform 2023 CEIP update | 20000 | 0 | 160000 | 160000 | 160000
Virtual community meeting - CBI input |  | 2/year | 5000 | 10000 | 10000 | 10000 | 10000
Multilingual sessions - CBI input and/or program design | 5 languages | Ongoing | 6000 | 30000 | 30000 | 30000 | 30000
Online open house |  | Ongoing | 6000 | 6000 | 6000 | 6000 | 6000
Train and coordinate ambassadors |  | Annual | 9000 | 9000 | 9000 | 9000 | 9000
IRP meetings |  | 2/year | 7000 | 14000 | 14000 | 14000 | 14000
CEIP team coordination meetings |  | Weekly | 928.8462 | 48300 | 48300 | 48300 | 48300
Tribal outreach activities |  | Ongoing | 17500 | 17500 | 17500 | 17500 | 17500
Develop Tribal outreach plan |  | 2022 | 10000 | 10000 |  | 10000 | 10000
Total |  |  |  | 471340 | 758840 | 969340 | 969340
Equity Advisory Group Support
Work | Assumptions | Timing | Unit Pricing | 2022 | 2023 | 2024 | 2025
Facilitation and Facilitation Support | 8 Meetings/Year | 8 Meetings/Year, includes meeting prep, facilitation, management, and summaries | 21250 | 170000 | 170000 | 170000 | 170000
Meeting Space and Logistics | 10 virtual | Virtual in 2022 | 100 | 800 | 200
| 6 in person | Starting in 2023 | 5800 | 0 | 34800 | 46400 | 46400
Member Stipends |  |  | 48000 | 48000 | 48000 | 48000 | 48000
Member recruitment and education, including advertising |  |  | 19500 | 19500 | 19500 | 19500 | 19500
Miscellaneous | Includes any travel expense |  | 2000 |  | 12000 | 16000 | 16000
Total Estimate |  |  |  | 238300 | 284500 | 299900 | 299900
Total |  |  |  | 959640 | 9829637.5 | 10215072.5 | 10406142.5

## F7
Citation Source:
F7 | Monitoring and Reporting Projected Costs
Administration Costs
|  |  | Includes | Cost Estimate Basis
Staffing |  | 1681835 | Internal Tracking, Preparation of External Reporting Evaluation of Baseline Measurements of Energy Indicators Evaluation of Non-Energy Indicators Data Monitoring for Customer Benefit Indicators Participation in Policy and Technical Forums Communication with EAG and other Stakeholders on CBI baselines | Estimated based on workload from similar efforts in other programs
Monitoring Plan Updates |  | 130000 | 2 Updates based on additional indicators and data | Estimated based on 2021 Initial Planning
Customer Benefit Indicator Baseline Measurement |  | 160000 | Assumes 2 comprehensive research efforts | Estimated based on similar projects
Documentation |  | 86400 | Editing and Publication | Vendor estimates
Total 2022 Estimate |  | 2058235