## Sheet1
Program Name | Associated Utility | Program or Pilot? | Program Type | Program Mechanism | Primary Objective | Source | Applicable Customer Class(es)
Power Shift- Residential Energy Storage Incentives | NV Energy | Program | Storage | Battery Storage- Combined solar+storage, EV+storage, etc. | System-wide Capacity / Peak Shaving | Link | C&I, Residential
Power Shift- Commercial Energy Storage Incentives | NV Energy | Program | Storage | Battery Storage- Combined solar+storage, EV+storage, etc. | System-wide Capacity / Peak Shaving | Link | C&I, Residential
APS Storage Rewards | Arizona Public Service Co | Program | Storage | Battery Storage- Direct Control of Customer Device | System-wide Capacity / Peak Shaving | Link | Residential
Battery Energy Storage | Duke Energy Progress - (NC) | Program | Storage | Battery Storage- Combined solar+storage, EV+storage, etc. | Zero-emissions kWh | Link | Residential
Battery Energy Storage | Consolidated Edison | Program | Storage | Battery Storage- Combined solar+storage, EV+storage, etc. | Zero-emissions kWh | Link | Residential, Commercial, Industrial
East River Energy Storage System | Consolidated Edison | Program | Storage | Battery Storage- Utility Leased Batteries | Zero-emissions kWh | Link | N/A
Self Generation Incentive Program | Pacific Gas & Electric | Program | Storage | Battery Storage- Incentive Only | System-wide Capacity / Peak Shaving | Link | Residential
Micro-Transactive Grid (MTG) | Avista | Pilot | Storage | Battery Storage- Combined solar+storage, EV+storage, etc. | Localized Capacity / Infrastructure Deferral | Link | N/A
Self-Generation Incentive Program ( SGIP) Financial Assistance Pilot | Southern California Edison | Pilot | Storage | Battery Storage- Incentive Only | System-wide Capacity / Peak Shaving | Link | Residential, Commercial
Net Energy Metering | San Diego Gas & Electric | Program | Storage | Battery Storage- Combined solar+storage, EV+storage, etc. | System-wide Capacity / Peak Shaving | Link | C&I, Residential
Tesla Powerwall | Green Mountain Power | Program | Storage | Battery Storage- Direct Control of Customer Device | System-wide Capacity / Peak Shaving | Link | Residential
Reslient Home | Green Mountain Power | Pilot | Storage | Battery Storage- Utility Leased Batteries | Localized Capacity / Infrastructure Deferral | Link | Residential
Bring Your Own Device | Green Mountain Power | Program | Storage | Battery Storage- Direct Control of Customer Device | System-wide Capacity / Peak Shaving | Link | Residential
Connected Solutions: Battery Program | National Grid-MA | Program | Storage | Battery Storage- Incentive Only | System-wide Capacity / Peak Shaving | Link | Residential
Connected Solutions: Battery Program | National Grid-RI | Program | Storage | Battery Storage- Incentive Only | System-wide Capacity / Peak Shaving | Link | Residential
Queens Home Battery VPP (Partnership with Swell) | Consolidated Edison | Program | Storage | Battery Storage- Direct Control of Customer Device | Localized Capacity / Infrastructure Deferral | Link | Residential
Energy Storage System | MidAmerican Energy Co | Pilot | Storage | Battery Storage- Direct Control of Customer Device | System-wide Capacity / Peak Shaving | Link | N/A
ConnectedSolutions | Massachusetts Electric Co | Program | Storage | Battery Storage- Direct Control of Customer Device | System-wide Capacity / Peak Shaving | Link | Residential
Paris Solar-Battery Park | Wisconsin Electric Power Co | Program | Storage | Battery Storage- Combined solar+storage, EV+storage, etc. | Zero-emissions kWh | Link | C&I, Residential
NMR-405 | NV Energy | Program | Solar | Solar- Net Metering | Zero-emissions kWh | Link | C&I, Residential
Net Metering | Portland General Electric | Program | Solar | Solar- Net Metering | Zero-emissions kWh | Link | C&I, Residential
Community Solar | Portland General Electric | Program | Solar | Solar- Community Solar | Zero-emissions kWh | Link | C&I, Residential
Simple Solar | Georgia Power | Program | Solar | Solar- Community Solar | Zero-emissions kWh | Link | C&I, Residential
Community Solar | Georgia Power | Program | Solar | Solar- Community Solar | Zero-emissions kWh | Link | C&I, Residential
APS Solar Partner Program | Arizona Public Service Co | Program | Solar | Solar- Incentive Only | Zero-emissions kWh | Link | Residential
Solar Energy Option | Entergy Arkansas LLC | Program | Solar | Solar- Community Solar | Zero-emissions kWh | Link | C&I, Residential
Net Energy Billing | Central Maine Power Co | Program | Solar | Solar- Net Metering | Zero-emissions kWh | Link | Residential, Non-residential
Inverter-Based DER Generation Dynamics Modeling Guidance Document | Central Maine Power Co | Pilot | Solar | Solar- Smart Inverter Control | Localized Capacity / Infrastructure Deferral | Link | N/A
Connecticut Net Metering | Eversource - Connecticut Light and Power Co | Program | Solar | Solar- Net Metering | Zero-emissions kWh | Link | Less than or equal to 2,000 kilowatts (2 MW).
Rider NM | Eversource | Program | Solar | Solar- Utility Scale | Zero-emissions kWh | Link | Residential
Net Metering Program | AES - Indianapolis Power & Light | Program | Solar | Solar- Net Metering | Zero-emissions kWh | Link | Customers with systems up to 1 MW
Net Energy Metering | San Diego Gas & Electric | Program | Solar | Solar- Net Metering | Zero-emissions kWh | Link | C&I, Residential
Solar Gardens Program- Residential & Business | Consumers Energy | Program | Solar | Solar- Community Solar | Zero-emissions kWh | Link | C&I, Residential
Net Metering- Residential & Business | Consumers Energy | Program | Solar | Solar- Net Metering | Zero-emissions kWh | Link | C&I, Residential
Smart Inverter Pilot | PPL Electric | Pilot | Solar | Solar- Smart Inverter Control | Zero-emissions kWh | Link | C&I, Residential
My Green Power Connection | PECO | Program | Solar | Solar- Net Metering | Zero-emissions kWh | Link | C&I, Residential
Interconnection Program | Mississippi Power | Program | Solar | Solar- Net Metering | Zero-emissions kWh | Link | C&I, Residential
2021 Solar Incentive Program | Oncor | Program | Solar | Solar- Net Metering | Zero-emissions kWh | Link | C&I, Residential
PECO Net Metering | PECO Energy Co | Program | Solar | Solar- Net Metering | Zero-emissions kWh | Link | Residential
Solar Share Program | Kentucky Utilities Co | Program | Solar | Solar- Community Solar | Zero-emissions kWh | Link | C&I, Residential
Net Metering | Kentucky Utilities Co | Program | Solar | Solar- Net Metering | Zero-emissions kWh | Link | C&I, Residential
Net Metering and Distributed Generation | Entergy Louisiana | Program | Solar | Solar- Net Metering | Zero-emissions kWh | Link | C&I, Residential
Net Metering | Tampa Electric Co | Program | Solar | Solar- Net Metering | Zero-emissions kWh | Link | C&I, Residential
Sun Select | Tampa Electric Co | Program | Solar | Solar- Community Solar | Zero-emissions kWh | Link | C&I, Residential
Sun For All | Tampa Electric Co | Program | Solar | Solar- Utility Scale | Zero-emissions kWh | Link | C&I, Residential
K-Solar Program | New York Power Authority | Program | Solar | Solar- Utility Scale | Zero-emissions kWh | Link | New York school districts
Community Solar | New York Power Authority | Program | Solar | Solar- Community Solar | Zero-emissions kWh | Link | N/A
Renewable *Connect | Xcel-CO | Program | Solar | Solar- Utility Scale | Zero-emissions kWh | Link | C&I, Residential
Solar*Rewards Community | Xcel-CO | Program | Solar | Solar- Community Solar | Zero-emissions kWh | Link | C&I, Residential
Solar*Rewards | Xcel-CO | Program | Solar | Solar- Community Solar | Zero-emissions kWh | Link | C&I, Residential
Net Metering | Xcel-CO | Program | Solar | Solar- Net Metering | Zero-emissions kWh | Link | C&I, Residential
SolarHost SA (Partnership with PowerFin) | CPS Energy | Program | Solar | Solar- Incentive Only | Zero-emissions kWh | Link | C&I, Residential
Illinois Solar for All (aplicable to Ameren, ComEd customers) | Illinois Power Agency (Adminstered by Elevate Energy) | Program | Solar | Solar- Community Solar | Zero-emissions kWh | Link | Residential, focused on LMI customers
California Solar on Multifamily Affordable Housing (SOMAH) | GridAlternatives | Program | Solar | Solar- Community Solar | Zero-emissions kWh | Link | Residential, focused on LMI customers
Mid-Atlantic Solar on Multifamily Affordable Housing (SOMAH) | GridAlternatives | Program | Solar | Solar- Community Solar | Zero-emissions kWh | Link | Residential, focused on LMI customers
Colorado Solar on Multifamily Affordable Housing (SOMAH) | GridAlternatives | Program | Solar | Solar- Community Solar | Zero-emissions kWh | Link | Residential, focused on LMI customers
PNM Power Saver | Public Service Company of New Mexico | Program | Demand Response | DLC DR: HVAC (t-stats) | System-wide Capacity / Peak Shaving | Link | Residential
Smart Neighborhood | Alabama Power | Pilot | Demand Response | DLC DR: Smart Home or Building (whole home/BMS) | System-wide Capacity / Peak Shaving | Link | Residential
Smart Neighborhood | Georgia Power | Pilot | Demand Response | DLC DR: Smart Home or Building (whole home/BMS) | System-wide Capacity / Peak Shaving | Link | Residential
Real Time Demand and Profiled Response | Central Maine Power Co | Program | Demand Response | Behavioral DR- Voluntary | System-wide Capacity / Peak Shaving | Link | C&I, Residential
The CoolCents® Smart Thermostat Program | AES - Indianapolis Power & Light | Program | Demand Response | DLC DR: HVAC (t-stats) | System-wide Capacity / Peak Shaving | Link | Residental
Brooklyn-Queens Demand Response | Consolidated Edison | Program | Demand Response | Market Based- DSO Market | Localized Capacity / Infrastructure Deferral | Link | N/A
Flexible Power Generation | TVA | Program | Demand Response | Market Based- DG Procurement/PPAs | Localized Capacity / Infrastructure Deferral | Link | C&I
Conservation Value Program | Tampa Electric Co | Program | Demand Response | Behavioral DR- Voluntary | System-wide Capacity / Peak Shaving | Link | C&I
Standby Generator Program | Tampa Electric Co | Program | Demand Response | DLC DR: Other | System-wide Capacity / Peak Shaving | Link | C&I with an on-site stand-by generator
Facility Energy Management System | Tampa Electric Co | Program | Demand Response | DLC DR: Smart Home or Building (whole home/BMS) | System-wide Capacity / Peak Shaving | Link | C&I
Voluntary Load Reduction (VLR) | Commonwealth Edison | Program | Demand Response | Behavioral DR- Voluntary | System-wide Capacity / Peak Shaving | Link | C&I
Peak Time Savings | Commonwealth Edison | Program | Demand Response | Fixed Rates- TOU | System-wide Capacity / Peak Shaving | Link | Residential
Time of Day Pricing | Commonwealth Edison | Program | Demand Response | Fixed Rates- TOU | System-wide Capacity / Peak Shaving | Link | Residential
Hourly Pricing (formerly RRTP) | Commonwealth Edison | Program | Demand Response | Fixed Rates- TOU | System-wide Capacity / Peak Shaving | Link | Residential
AC Cycling - Smart Therm | Commonwealth Edison | Program | Demand Response | DLC DR: HVAC (t-stats) | System-wide Capacity / Peak Shaving | Link | Residential
AC Cycling - DLC | Commonwealth Edison | Program | Demand Response | DLC DR: HVAC (t-stats) | System-wide Capacity / Peak Shaving | Link | Residential
AC Rewards - Smart Therm. | Xcel-CO | Program | Demand Response | DLC DR: HVAC (t-stats) | System-wide Capacity / Peak Shaving | Link | Residential (renters not applicable)
Peak Partner Rewards | Xcel-CO | Program | Demand Response | Behavioral DR- Voluntary | System-wide Capacity / Peak Shaving | Link | C&I
Commercial and Industrial Demand Response Programs | CPS Energy | Program | Demand Response | Behavioral DR- Voluntary | System-wide Capacity / Peak Shaving | Link | C&I
Connected Solutions | National Grid- NY | Program | Demand Response | DLC DR: HVAC (t-stats) | System-wide Capacity / Peak Shaving | Link | Residential
CSRP - Commercial System Relief Program | National Grid- NY | Program | Demand Response | Behavioral DR- Voluntary | System-wide Capacity / Peak Shaving | Link | C&I
Base Interruptible Program | Southern California Edison | Program | Demand Response | Behavioral DR- Voluntary | System-wide Capacity / Peak Shaving | Link | C&I, > 200kW
Optional Binding Mandatory Curtailment (OBMC) | Southern California Edison | Program | Demand Response | Behavioral DR- Mandatory/Contractual | System-wide Capacity / Peak Shaving | Link | Non-Residential, reduce circuit load by 15%
Agricultural & Pumping Interruptible | Southern California Edison | Program | Demand Response | DLC DR: Other | System-wide Capacity / Peak Shaving | Link | >37kW on Agicultural and Pumping rate plan
Summer Discount Plan | Southern California Edison | Program | Demand Response | DLC DR: HVAC (t-stats) | System-wide Capacity / Peak Shaving | Link | Residential w/ central AC
Summer Discount Plan | Southern California Edison | Program | Demand Response | DLC DR: HVAC (t-stats) | System-wide Capacity / Peak Shaving | Link | Commercial w/ central AC
Summer Advantage Incentive (SAI) | Southern California Edison | Program | Demand Response | Behavioral DR- Voluntary | System-wide Capacity / Peak Shaving | Link | Bundled service customers
AMP Contracts/DR Contracts (AMP) | Southern California Edison | Program | Demand Response | Market Based- Other | System-wide Capacity / Peak Shaving | Link | C&I
Real Time Pricing (RTP) | Southern California Edison | Program | Demand Response | Dynamic Rates- RTP | System-wide Capacity / Peak Shaving | Link | C&I, Bundled Service Customers
Smart Energy Program (SEP) Save Power Day (SPD/PTR) | Southern California Edison | Program | Demand Response | Dynamic Rates- PTR | System-wide Capacity / Peak Shaving | Link | C&I w/ Smart Meters
Scheduled Load Reduction Program (SLRP) | Southern California Edison | Program | Demand Response | Behavioral DR- Voluntary | System-wide Capacity / Peak Shaving | Link | C&I, Bundled Service Customers (>100kW)
Demand Response Auction Mechanism (DRAM) | Southern California Edison | Program | Demand Response | Market Based- DSO Market | System-wide Capacity / Peak Shaving | Link | N/A
Base Interruptible Program (Day Of) | Pacific Gas & Electric | Program | Demand Response | Dynamic Rates- PTR | System-wide Capacity / Peak Shaving | Link | C&I
Optional Binding Mandatory Curtailment (OBMC) | Pacific Gas & Electric | Program | Demand Response | Behavioral DR- Mandatory/Contractual | System-wide Capacity / Peak Shaving | Link | Non-Residential
Scheduled Load Reduction Program (SLRP) | Pacific Gas & Electric | Program | Demand Response | Dynamic Rates- PTR | System-wide Capacity / Peak Shaving | Link | Non-Residential, Bundled Service Customers (>100kW)
SmartAC | Pacific Gas & Electric | Program | Demand Response | DLC DR: HVAC (t-stats) | System-wide Capacity / Peak Shaving | Link | Commercial
SmartAC | Pacific Gas & Electric | Program | Demand Response | DLC DR: HVAC (t-stats) | System-wide Capacity / Peak Shaving | Link | Residential
Aggregator Managed Portfolio (Day Of) | Pacific Gas & Electric | Program | Demand Response | Market Based- Other | System-wide Capacity / Peak Shaving | Link | C&i
Demand Bidding Program (DBP) | Pacific Gas & Electric | Program | Demand Response | Market Based- Other | System-wide Capacity / Peak Shaving | Link | C&I, Residential
Peak Day Pricing (PDP)- Large Business | Pacific Gas & Electric | Program | Demand Response | Fixed Rates- TOU | System-wide Capacity / Peak Shaving | Link | 200 kW or above
Peak Day Pricing (PDP)-Small and Medium Business | Pacific Gas & Electric | Program | Demand Response | Dynamic Rates- CPP | System-wide Capacity / Peak Shaving | Link | Above 20 kW & below 200 kW baseline demand
SmartRate | Pacific Gas & Electric | Program | Demand Response | Dynamic Rates- PTR | System-wide Capacity / Peak Shaving | Link | Residential (Voluntary Rate Supplement)
Demand Response Auction Mechanism (DRAM) | Pacific Gas & Electric | Program | Demand Response | Market Based- DSO Market | System-wide Capacity / Peak Shaving | Link | N/A
Note on E18: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 1-megawatt battery storage facility. Unsure of incentives
Note on E20: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: 310MW solar power plant with 110MW of battery storage
Note on E36: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Also include Battery + Smart Inverter