## Original Concept List
Tab originated by PSE and formatting updated by assistance from West Monroe, third party consultant and subject matter expert, in Q1 2021. | [10 empty] | Strategic Fit | [21 empty] | Feasability
Methodology for screening of "Strategic Fit" and "Feasibility" developed by PSE and supported by assistance from West Monroe. Refer to Appendix D-5 for details.
[11 empty] | PSE System Benefits | [12 empty] | Scalability |  |  | Strategic Characteristics |  |  |  |  | Overall Strategic Fit Score | Feasibility |  |  |  | Overall Feasibility Score
[11 empty] | 40% | [12 empty] | 30% |  |  | 30% | [5 empty] | Idependent score out of 100 Points
[10 empty] | Notes: |  |  | Provides at least some renewable energy that contributes to PSE's clean energy targets under CETA | [7 empty] | Resources minmizes the system peak in some way | Required to achieve IRP/CETA goals (in addition to System Peak Reduction) |  | Defines Q1 | Likely to define Q2+ |  | New potential subcategories for consideration. |  | Reflects unchanged stakeholder scoring | new potential subcategory |  |  | Weighted to reduce importance of Ops feasability. Presumption is PSE would be expected to adjust ops as needed
[13 empty] | 15% | [7 empty] | 5% | 20% |  | 15% | 15% |  | 10% | 10% | 0% | 10% |  |  | 10% | 40% | 20% | 30%
# | Program Concept | Description | Resource Category | Resource Type | FOTM or BTM | Ownership | Customer-Facing? | Mechanism | Under Development, In Operation, or New? | Original PSE Quadrant | Defer Dist. Upgrades | Defer Transm. Upgrades | Reduce System Peak | Provide Dist. Volt Support | Provide Freq Support | Real-time Dispatch of Cust Resource | Power Factor Correction | Phase Balancing | Increase RE Integration | EIM Participation | NWA | Achieve Clean Energy Targets | System Benefit Score | Short-term Potential MW (0-4 yrs) | Long-Term Potential MW (4-10 years) | Overall Scalability Score | PSE Control of Devices (H/M/L) | Cohesive PSE Customer Experience (H/M/L) | Internal Stakeholder Survey Score (H/M/L) | Strategic Pilot (H/M/L) | Overall Strategic Characteristics Score | Strategic Fit | Reg Feasibility (H/M/L) | IT/Grid Feasibility (H/M/L) | Ops Feasibility (H/M/L) | Cust Feasibility (H/M/L) | Feasibility
1 | PSE Community Solar | PSE offers customers the ability to subscribe to the output of solar panels deployed throughout the service territory. Customers pay a monthly fee and receive a monthly credit for generation. | Renewable kWh | Solar | FOTM | PSE or PPA | Yes | PSE Program | Under Development | Q1 | [11 empty] | X | 20 | H | H | 30 | L | H | H | H | 20 | 70 | H | H | H | H | 100
2 | PSE Community Solar - Low Income | Provides community solar access to low income customers by discounting their monthly subscription fee, resulting in cost savings. | Renewable kWh | Solar | FOTM | PSE or PPA | Yes | PSE Program | Under Development | Q1 | [11 empty] | X | 20 | M | H | 22.5 | L | H | H | H | 20 | 62.5 | H | H | H | H | 100
3 | Net Metering (Existing) | Voluntary customer program to install roof-top solar and state-regulated mandate for compensation on generated energy imported to grid. | Renewable kWh | Solar | BTM | Customer(s) | Yes | PSE Program | In Operation | Q1 | [11 empty] | X | 20 | H | H | 30 | L | M | H | L | 5 | 55 | H | H | H | H | 100
4 | Net Metering (Successor) | Next iteration of voluntary customer program to install roof-top solar and state-regulated mandate for compensation, at a reduced rate from prior, on generated energy imported to grid. | Renewable kWh | Solar | BTM | Customer(s) | Yes | PSE Program | New | Q1 | [11 empty] | X | 20 | H | H | 30 | L | M | H | L | 5 | 55 | H | H | H | H | 100
5 | PSE Small-scale Utility Solar PV Generation Stations | PSE deploys small-scale solar PV within its service territories and/or within/along their ROWs that generates RE to supply grid. | Renewable kWh | Solar | FOTM | PSE or PPA | No | Portfolio resource | New | Q3 | [11 empty] | X | 20 | L | M | 7.5 | M | L | M | M | 10 | 37.5 | H | H | L | H | 80
6 | 3rd Party Distributed Solar PPA or Solar Lease | 3rd party installs/provides roof-top solar panels to customers throughout service territory. PSE off-takes RE via PPA while the 3rd party is responsible for managing program and financing equipment. | Renewable kWh | Solar | FOTM | 3rd Party (PPA) | Yes | 3rd Party Offering | New | Q3 | [11 empty] | X | 20 | H | M | 22.5 | L | L | M | H | 10 | 52.5 | M | H | M | M | 70
7 | 3rd Party/Co-Op Community Solar | 3rd party installs/provides solar panels to customers for subscription throughout service territory. PSE off-takes RE via PPA while 3rd party is responsible for managing program and financing equipment. | Renewable kWh | Solar | FOTM | 3rd Party (PPA) | Yes | 3rd Party Offering | New | Q3 | [11 empty] | X | 20 | M | H | 22.5 | L | L | M | L | 0 | 42.5 | M | H | M | M | 70
8 | C&I Roof-top Solar Incentive | PSE offers upfront incentive to commercial customers, discounting their upfront cost to install and own distributed solar generation throughout service territory. | Renewable kWh | Solar | BTM | Customer(s) | Yes | PSE Incentive | New | Q3 | [11 empty] | X | 20 | H | H | 30 | L | M | M | L | 5 | 55 | H | H | M | H | 90
9 | C&I Roof-top Solar Leasing | PSE offers to lease commercial customers' roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply grid. | Renewable kWh | Solar | FOTM | PSE or PPA | Yes | PSE Program | New | Q2 | [11 empty] | X | 20 | M | H | 22.5 | M | H | H | H | 25 | 67.5 | M | H | L | H | 75
10 | C&I Small & Minority-owned Business Roof-top Solar Leasing | PSE targets local, small, or BIPOC-owned businesses to lease customers' roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply to grid. | Renewable kWh | Solar | FOTM | PSE or PPA | Yes | PSE Program | New | Q2 | [11 empty] | X | 20 | M | M | 15 | M | H | H | H | 25 | 60 | M | H | L | H | 75
11 | Consumer Peer-to-Peer Solar | PSE offers platform that can connect customers and provide the ability to subscribe to the output of solar panels on other C&I/residential roof-tops. | Renewable kWh | Solar | BTM | Customer(s) | Yes | PSE Program / 3rd Party Offering | New | Q4 | [11 empty] | X | 20 | L | L | 0 | L | L | L | L | 0 | 20 | L | L | L | L | 0
12 | Residential Roof-top Solar Incentive | PSE offers upfront incentive for residential customers, discounting their upfront cost to install and own distributed solar generation throughout service territory. | Renewable kWh | Solar | BTM | Customer(s) | Yes | PSE Incentive | New | Q3 | [11 empty] | X | 20 | M | M | 15 | L | M | M | L | 5 | 40 | H | M | H | H | 80
13 | Residential Roof-top Solar Leasing | PSE offers to lease residential customers' roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply grid. | Renewable kWh | Solar | FOTM | PSE or PPA | Yes | PSE Program | New | Q2 | [11 empty] | X | 20 | M | H | 22.5 | M | H | H | M | 20 | 62.5 | M | M | M | M | 50
14 | Residential Roof-top Solar Leasing (Low-Income) | PSE target's lease to low-income and/or impacted residential customers for access to roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply grid. | Renewable kWh | Solar | FOTM | PSE or PPA | Yes | PSE Program | New | N/A | [11 empty] | X | 20 | L | M | 7.5 | M | H | H | H | 25 | 52.5 | M | M | M | M | 50
15 | Multi-Family Unit Roof-top Solar Incentive | PSE offers incentive to MFU building owners, discounting their upfront cost to install and own solar in PSE's service territory. | Renewable kWh | Solar | BTM | Landlord | Yes | PSE Incentive | New | Q3 | [11 empty] | X | 20 | H | H | 30 | L | M | M | L | 5 | 55 | M | M | M | M | 50
16 | Multi-Family Solar Partnership | PSE facilitates installation of solar PV at MFU buildings by connecting with technology providers and/or billing support to share production across units. | Renewable kWh | Solar | BTM | Landlord or 3rd party | Yes | PSE Program or PSE Rate | New | Q2 | [11 empty] | X | 20 | H | H | 30 | L | M | H | M | 10 | 60 | L | M | M | M | 45
17 | Multi-Family Unit Roof-top Solar Leasing | PSE offers to lease MFU building owner's roof-top space to install solar PV. Building owner receives monthly fee; PSE generates RE to supply the grid. | Renewable kWh | Solar | FOTM | PSE or PPA | Yes | PSE Program | New | Q4 | [11 empty] | X | 20 | H | H | 30 | M | M | M | H | 20 | 70 | M | H | L | M | 60
18 | PSE Substation Batteries | PSE installs batteries at its substations that can help to integrate renewables, increase power quality and/or resiliency, and manage system or local peak. | Capacity | Battery | FOTM | PSE | No | Portfolio resource | Under Development (in progress on Bainbridge) | Q1 | X | X | X | X | X |  | X | X | X | X | X |  | 20 | H | H | 30 | H | L | H | H | 20 | 70 | H | H | H | H | 100
19 | PSE Utility-Scale Distributed Battery Stations | PSE installs distributed batteries locally, communally, and/or in urban settings (i.e. outside of substations). Batteries help to improve power quality and/or resiliency, integrate renewables, or manage system/local peak. | Capacity | Battery | FOTM | PSE | No | Portfolio resource | Under Development | Q1 | X | X | X | X | X |  | X | X | X | X | X |  | 20 | H | M | 22.5 | H | L | M | H | 20 | 62.5 | H | H | H | H | 100
20 | PSE Mobile Batteries | PSE deploys mobile batteries to support planned and (un-)planned outages, as well as to help manage system/local peak. Batteries can serve at distribution level. | Capacity | Battery | FOTM | PSE | No | PSE Program | Under Development | Q2 | X | X | X | [5 empty] | X |  | X |  | 20 | M | M | 15 | H | L | M | H | 20 | 55 | L | H | L | H | 70
21 | PSE Pole-Mounted Batteries | PSE installs batteries along feeders to help increase power quality and/or resiliency, as well as to help manage system/local peak. | Capacity | Battery | FOTM | PSE | No | n/a | New | Q3 | X |  |  | X | X |  | X | X | X |  | X |  | 5 | L | M | 7.5 | H | L | L | L | 10 | 22.5 | H | M | M | H | 70
22 | PSE Battery Share | PSE offers customers subscription to the output of batteries locally and/or across service territory that help to manage system/local peak. Customer receives a monthly credit based on savings from battery, and potentially, backup power. | Capacity | Battery | FOTM | PSE | Yes | PSE Program | New | Q4 | X | X | X | X | X |  |  |  | X | X | X |  | 20 | L | M | 7.5 | M | H | L | H | 25 | 52.5 | M | M | L | L | 25
23 | PSE Battery Share - Low Income | Provides battery storage access to low income customers by discounting their monthly subscription fee, resulting in cost savings, and potentially, backup power. | Capacity | Battery | FOTM | PSE | Yes | PSE Program | New | Q4 | X | X | X | X | X |  |  |  | X | X | X |  | 20 | L | M | 7.5 | M | H | L | M | 20 | 47.5 | M | M | L | L | 25
24 | 3rd Party Utility-scale Distributed Battery PPA | 3rd Party installs/manges single/network of batteries to respond to dispatch signal from PSE to help increase power quality and/or resiliency, as well as manage system/local peak. | Capacity | Battery | FOTM | 3rd Party | No | Portfolio resource | New | Q1 | X | X | X | X | X |  | X | X | X | X | X |  | 20 | H | M | 22.5 | M | L | M | M | 10 | 52.5 | H | M | H | H | 80
25 | 3rd Party Distributed C&I Battery PPA | 3rd Party installs/manages network of commercial batteries that provide backup power, demand charge reduction, and RE integration for customers. 3rd Party will aggregate network of batteries to respond to dispatch signal from PSE to help integrate renewables and manage system/local peak. | Capacity | Battery | BTM | 3rd Party (PPA) | Yes | 3rd Party Offering | New | Q3 |  |  | X |  |  | X | [6 empty] | 15 | M | H | 22.5 | M | L | M | M | 10 | 47.5 | M | M | H | M | 60
26 | 3rd Party Distributed Residential Battery PPA | 3rd Party installs/manages network of residential batteries that provide backup power and RE integration for customers. 3rd Party will aggregate network of batteries to respond to dispatch signal from PSE to help integreate renewables and manage system or local peak. | Capacity | Battery | BTM | 3rd Party (PPA) | Yes | 3rd Party Offering | New | Q3 |  |  | X |  |  | X | [6 empty] | 15 | M | H | 22.5 | M | M | M | M | 15 | 52.5 | L | M | H | M | 55
27 | C&I Battery Install Incentive | PSE offers upfront incentive to commercial customer to install their own BESS, with terms for operating modes that lead to optimal load behavior. | Capacity | Battery | BTM | Customer(s) | Yes | PSE Incentive | New | Q3 |  |  | X | [9 empty] | 15 | M | H | 22.5 | M | M | M | L | 10 | 47.5 | H | M | M | M | 55
28 | C&I BYO Battery | Tariff targeted to existing/new commercial battery owners that encourages optimal load behavior, charge/discharge, and/or PSE access that helps PSE to manage system/local peak. | Capacity | Battery | BTM | Customer(s) | Yes | PSE Rate | New | Q2 |  |  | X |  |  | X | [6 empty] | 15 | M | H | 22.5 | M | M | H | M | 15 | 52.5 | H | M | M | M | 55
29 | C&I Solar+Storage Rate | PSE offers C&I customers with enrollment to solar+storage rate that incentivizes specific load and charge/discharge that helps PSE manage system/local peak. | Capacity | Battery | BTM | Customer(s) | Yes | PSE Rate | New | Q3 |  |  | X |  |  | X |  |  | X |  |  | X | 35 | L | M | 7.5 | L | M | M | M | 10 | 52.5 | H | M | M | M | 55
30 | C&I Space Leasing for Batteries | PSE leases space from/at C&I customers to deploy BESS to improve power quality and/or resiliency and manage system/local peak. Backup power for host customer as additional integration. | Capacity | Battery | FOTM | PSE | Yes | PSE Program | New | Q2 | X | X | X | X | X |  |  |  | X | X | X |  | 20 | M | H | 22.5 | M | M | M | H | 20 | 62.5 | M | M | M | M | 50
31 | Consumer Mobile Batteries | PSE offers customers rental of batteries for temporary planned outages and other events. | Capacity | Battery | BTM | PSE | Yes | PSE Program | Under Development | Q3 | [12 empty] | 0 | L | L | 0 | L | M | L | L | 5 | 5 | L | M | L | M | 35
32 | Consumer Peer-to-Peer Batteries | PSE offers customers the ability to subscribe to the output of batteries installed at other C&I/residential locations. Customers can share in savings from batteries that help PSE to manage system/local peak. | Capacity | Battery | BTM | Customer(s) | Yes | PSE Program | New | Q4 |  |  | X |  |  | X | [6 empty] | 15 | L | M | 7.5 | L | L | L | L | 0 | 22.5 | M | L | M | M | 30
33 | Residential Battery Install Incentive | PSE offers upfront incentive to residential customers to install their own BESS, with terms for operating modes that lead to optimal load behavior. | Capacity | Battery | BTM | Customer(s) | Yes | PSE Incentive | New | Q1 |  |  | X | [9 empty] | 15 | M | H | 22.5 | L | M | H | M | 10 | 47.5 | H | H | H | H | 100
34 | Residential BYO Battery Offer | Tariff targeted to existing/new residential battery owners that encourages optimal load behavior, charge/discharge, and/or PSE access that helps PSE to manage system/local peak. | Capacity | Battery | BTM | Customer(s) | Yes | PSE Rate | New | Q3 |  |  | X |  |  | X | [6 empty] | 15 | L | M | 7.5 | L | M | M | L | 5 | 27.5 | H | H | M | H | 90
35 | Residential Solar+Storage Rate | PSE offers residential customers with enrollment to solar+storage rate that incentivizes specific load and charge/discharge that helps PSE manage system/local peak. | Capacity | Battery | BTM | Customer(s) | Yes | PSE Rate | New | Q3 |  |  | X |  |  | X |  |  | X |  |  | X | 35 | L | M | 7.5 | L | M | M | L | 5 | 47.5 | M | M | M | M | 50
36 | Residential PSE Battery Leasing | PSE installs batteries in customer homes. Customers pay a monthly fee for backup power services; PSE uses battery to manage system/local peaks. | Capacity | Battery | BTM | PSE | Yes | PSE Program | New | Q2 |  |  | X |  |  | X | [6 empty] | 15 | M | H | 22.5 | H | H | H | H | 30 | 67.5 | M | H | L | M | 60
37 | Residential PSE Battery Leasing Pilot - Low Income | PSE provides targeted deployment of batteries for low-income customers. Customers benefit from back-up power and PSE can use batteries to manage system/local peaks. | Capacity | Battery | BTM | PSE | Yes | PSE Program | New | Q2 |  |  | X |  |  | X | [6 empty] | 15 | L | M | 7.5 | H | H | H | H | 30 | 52.5 | M | H | L | H | 75
38 | Multi-Family Unit Battery Program | PSE partners with MFU owner/developer to deploy battery program. MFU rentees benefit from back-up power and PSE uses batteries to help manage system/local peaks. | Capacity | Battery | BTM | PSE or PPA | No | PSE Program / 3rd Party Offering | New | Q3 |  |  | X |  |  | X | [6 empty] | 15 | M | M | 15 | H | M | M | H | 25 | 55 | M | H | L | H | 75
39 | Public Space Leasing for Batteries | PSE leases public/municipal space to deploy BESS to improve power quality and/or resiliency and manage system/local peaks. | Capacity | Battery | FOTM | PSE | No | PSE Program | New | Q3 | X | X | X | X | X |  |  |  | X | X | X |  | 20 | M | H | 22.5 | H | L | M | H | 20 | 62.5 | H | H | L | M | 65
40 | PSE Customer-Sited Solar+Storage Offering | PSE enrolls customers through a monthly incentive program to host solar+storage systems with that can off-set customers' load from the grid in response to operating settings or dispatch signals from PSE | Renewable kWh | Solar+BESS | BTM | PSE | Yes | PSE Program | New | N/A |  |  | X | [7 empty] | X | x | 40 | M | H | 22.5 | H | H | M | H | 30 | 92.5 | H | M | M | M | 55

## PSE-Fit & Feas. Mapping
Tab created by West Monroe, third party consultant and subject matter expert, in Q1 2021. Further updated and edited by the PSE DERs team.
Quandrants methodology originated by PSE and supported by West Monroe. Refer to Appendix D-5 for detail of methodology:
i | Initial assessment of quadrants by PSE after leading cross-functional input from internal stakeholder and subject matter experts. Subsequent engagement with West Monroe as due dilligence to confirm prioritization.
ii | Updated assessment of quadrants with modeling/support by West Monroe. Assessment based on comparative strategic fit and feasibility scores for all DER program concepts.
iii | Scoring performed independently by West Monroe and serving as reference for PSE.
iv | Scoring based on cross-functional input from PSE internal stakeholders and subject matter experts.
v | Scoring based on average between cross-functional input from PSE internal stakeholders and subject matter experts and West Monroe. Hybrid approach utilized to leverage West Monroe's outside perspective and experience on DER technology feasibility and industry trends.
vi | Refer to tab, "DER Prog Concept List" for full list of DER program concepts proceeding to cost and market potential assessment to be performed by third-party service provider and subject matter expert
|  |  |  | i | ii |  | iv | v | vi
Strategic Fit Rank | Resource Type | Program Concept | PSE Description | Original PSE Quadrant | Updated PSE Quadrant | Did PSE's Priority Quadrant Change? | Strategic Fit | Feasibility | Prioritized Program Concept for Cost & Market | Basis/Notes | Horizontal Boundary |  | Vertical Boundary |  |  | Strategic Fit Summary Stats | FeasibilityFit Summary Stats
2 | Solar | PSE Community Solar | PSE offers customers the ability to subscribe to the output of solar panels deployed throughout the service territory. Customers pay a monthly fee and receive a monthly credit for generation. | Q1 | Q1 | No | 70 | 100 | Yes | Must take for preferred portfolio | 0 | 67.5 | 52.5 | 0 | Max | 92.5 | 100
2 | Battery | PSE Substation Batteries | PSE installs batteries at its substations that can help to integrate renewables, increase power quality and/or resiliency, and manage system or local peak. | Q1 | Q1 | No | 70 | 100 | Yes |  | 1.8519 | 67.5 | 52.5 | 1.8519 | Min | 5 | 0
2 | Solar | Multi-Family Unit Roof-top Solar Leasing | PSE offers to lease MFU building owner's roof-top space to install solar PV. Building owner receives monthly fee; PSE generates RE to supply the grid. | Q4 | Q2 | Yes | 70 | 60 | No | Defer to 'partnership' and 'incentive' program concepts | 3.7037 | 67.5 | 52.5 | 3.7037 | Average | 51.875 | 65.75
5 | Solar | C&I Roof-top Solar Leasing | PSE offers to lease commercial customers' roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply grid. | Q2 | Q1 | Yes | 67.5 | 75 | Yes |  | 5.5556 | 67.5 | 52.5 | 5.5556 | Median | 52.5 | 67.5
7 | Battery | PSE Utility-Scale Distributed Battery Stations | PSE installs distributed batteries locally, communally, and/or in urban settings (i.e. outside of substations). Batteries help to improve power quality and/or resiliency, integrate renewables, or manage system/local peak. | Q1 | Q1 | No | 62.5 | 100 | Yes |  | 5.5556 | 67.5 | 52.5 | 5.5556 | Std. Dev | 15.7693 | 23.7842
7 | Solar | PSE Community Solar - Low Income | Provides community solar access to low income customers by discounting their monthly subscription fee, resulting in cost savings. | Q1 | Q1 | No | 62.5 | 100 | Yes | Must take for preferred portfolio | 7.4074 | 67.5 | 52.5 | 7.4074
7 | Battery | Public Space Leasing for Batteries | PSE leases public/municipal space to deploy BESS to improve power quality and/or resiliency and manage system/local peaks. | Q3 | Q2 | Yes | 62.5 | 65 | No | Integrated to C&I Space Leasing for Batteries | 9.2593 | 67.5 | 52.5 | 9.2593
[11 empty] | 11.1111 | 67.5 | 52.5 | 11.1111 | Total Count: | 54
[11 empty] | 12.963 | 67.5 | 52.5 | 12.963 | Changed Quadrant | 20
12 | Solar | C&I Small & Minority-owned Business Roof-top Solar Leasing | PSE targets local, small, or BIPOC-owned businesses to lease customers' roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply to grid. | Q2 | Q1 | Yes | 60 | 75 | No | Integrated to C&I Roof-top Solar Leasing | 14.8148 | 67.5 | 52.5 | 14.8148
[11 empty] | 16.6667 | 67.5 | 52.5 | 16.6667
14 | Solar | Net Metering (Existing) | Voluntary customer program to install roof-top solar and state-regulated mandate for compensation on generated energy imported to grid. | Q1 | Q1 | No | 55 | 100 | Yes | Must take for preferred portfolio | 18.5185 | 67.5 | 52.5 | 18.5185
14 | Solar | C&I Roof-top Solar Incentive | PSE offers upfront incentive to commercial customers, discounting their upfront cost to install and own distributed solar generation throughout service territory. | Q3 | Q1 | Yes | 55 | 90 | Yes |  | 20.3704 | 67.5 | 52.5 | 20.3704
14 | Solar | Net Metering (Successor) | Next iteration of voluntary customer program to install roof-top solar and state-regulated mandate for compensation, at a reduced rate from prior, on generated energy imported to grid. | Q1 | Q1 | No | 55 | 100 | Yes | Must take for preferred portfolio | 22.2222 | 67.5 | 52.5 | 22.2222
14 | Battery | PSE Mobile Batteries | PSE deploys mobile batteries to support planned and (un-)planned outages, as well as to help manage system/local peak. Batteries can serve at distribution level. | Q2 | Q1 | Yes | 55 | 70 | Yes |  | 24.0741 | 67.5 | 52.5 | 24.0741
20 | Battery | 3rd Party Utility-scale Distributed Battery PPA | 3rd Party installs/manges single/network of batteries to respond to dispatch signal from PSE to help increase power quality and/or resiliency, as well as manage system/local peak. Battery through All Source. | Q1 | Q1 | No | 52.5 | 80 | Yes |  | 25.9259 | 67.5 | 52.5 | 25.9259
20 | Battery | Residential PSE Battery Leasing Pilot - Low Income | PSE provides targeted deployment of batteries for low-income customers. Customers benefit from back-up power and PSE can use batteries to manage system/local peaks. | Q2 | Q1 | Yes | 52.5 | 75 | Yes |  | 27.7778 | 67.5 | 52.5 | 27.7778
[11 empty] | 29.6296 | 67.5 | 52.5 | 29.6296
20 | Solar | 3rd Party Distributed Solar PPA or Solar Lease | 3rd party installs/provides roof-top solar panels to customers throughout service territory. PSE off-takes RE via PPA or net metering while the 3rd party is responsible for managing program and financing equipment. | Q3 | Q1 | Yes | 52.5 | 70 | Yes |  | 31.4815 | 67.5 | 52.5 | 31.4815
1 | Solar+BESS | PSE Customer-Sited Solar+Storage Offering | PSE enrolls customers through a monthly incentive program to host solar+storage systems with that can off-set customers' load from the grid in response to operating settings or dispatch signals from PSE | N/A | Q2 | Yes | 92.5 | 55 | Yes |  | 33.3333 | 67.5 | 52.5 | 33.3333
5 | Battery | Residential PSE Battery Leasing | PSE installs batteries in customer homes. Customers pay a monthly fee for backup power services; PSE uses battery to manage system/local peaks. | Q2 | Q2 | No | 67.5 | 60 | Yes |  | 35.1852 | 67.5 | 52.5 | 35.1852
7 | Solar | Residential Roof-top Solar Leasing | PSE offers to lease residential customers' roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply grid. | Q2 | Q2 | No | 62.5 | 50 | Yes |  | 35.1852 | 67.5 | 52.5 | 35.1852
7 | Battery | C&I Space Leasing for Batteries | PSE leases space from/at C&I customers to deploy BESS to improve power quality and/or resiliency and manage system/local peak. Backup power for host customer as additional integration. | Q2 | Q2 | No | 62.5 | 50 | Yes |  | 37.037 | 67.5 | 52.5 | 37.037
12 | Solar | Multi-Family Solar Partnership | PSE facilitates installation of solar PV at MFU buildings by connecting with technology providers and/or billing support to share production across units. | Q2 | Q2 | No | 60 | 45 | Yes |  | 38.8889 | 67.5 | 52.5 | 38.8889
14 | Battery | Multi-Family Unit Battery Program | PSE partners with MFU owner/developer to deploy battery program. MFU rentees benefit from back-up power and PSE uses batteries to help manage system/local peaks. | Q3 | Q1 | Yes | 55 | 75 | Yes |  | 40.7407 | 67.5 | 52.5 | 40.7407
14 | Solar | Multi-Family Unit Roof-top Solar Incentive | PSE offers incentive to MFU building owners, discounting their upfront cost to install and own solar in PSE's service territory. | Q3 | Q2 | Yes | 55 | 50 | Yes |  | 42.5926 | 67.5 | 52.5 | 42.5926
20 | Solar | Residential Roof-top Solar Leasing (Low-Income) | PSE target's lease to low-income and/or impacted residential customers for access to roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply grid. | N/A | Q2 | Yes | 52.5 | 50 | Yes |  | 44.4444 | 67.5 | 52.5 | 44.4444
20 | Battery | C&I BYO Battery | Tariff targeted to existing/new commercial battery owners that encourages optimal load behavior, charge/discharge, and/or PSE access that helps PSE to manage system/local peak. | Q2 | Q2 | No | 52.5 | 55 | Yes | Strategic add on 4/23 to ensure comprehensive view on concept options potentially available to customers | 46.2963 | 67.5 | 52.5 | 46.2963
20 | Battery | C&I Solar+Storage Rate | PSE offers C&I customers with enrollment to solar+storage rate that incentivizes specific load and charge/discharge that helps PSE manage system/local peak. | Q3 | Q2 | Yes | 52.5 | 55 | No | Integrated to PSE Customer-sited Solar+Storage Offering | 48.1481 | 67.5 | 52.5 | 48.1481
20 | Battery | 3rd Party Distributed Residential Battery PPA | 3rd Party installs/manages network of residential batteries that provide backup power and RE integration for customers. 3rd Party will aggregate network of batteries to respond to dispatch signal from PSE to help integreate renewables and manage system or local peak. | Q3 | Q2 | Yes | 52.5 | 55 | No | Combined with 3rd Party Distributed C&I Battery PPA | 50 | 67.5 | 52.5 | 50
20 | Battery | PSE Battery Share | PSE offers customers subscription to the output of batteries locally and/or across service territory that help to manage system/local peak. Customer receives a monthly credit based on savings from battery, and potentially, backup power. | Q4 | Q2 | Yes | 52.5 | 25 | No | Low feasibility; noted for lack of industry benchmarks | 51.8519 | 67.5 | 52.5 | 51.8519
28 | Battery | Residential Battery Install Incentive | PSE offers upfront incentive to residential customers to install their own BESS, with terms for operating modes that lead to optimal load behavior. | Q1 | Q3 | Yes | 47.5 | 100 | Yes |  | 53.7037 | 67.5 | 52.5 | 53.7037
28 | Battery | 3rd Party Distributed C&I Battery PPA | 3rd Party installs/manages network of commercial batteries that provide backup power, demand charge reduction, and RE integration for customers. 3rd Party will aggregate network of batteries to respond to dispatch signal from PSE to help integrate renewables and manage system/local peak. | Q3 | Q4 | Yes | 47.5 | 60 | No | Combined with 3rd Party Distributed Residential Battery PPA | 55.5556 | 67.5 | 52.5 | 55.5556
[11 empty] | 57.4074 | 67.5 | 52.5 | 57.4074
[11 empty] | 59.2593 | 67.5 | 52.5 | 59.2593
[11 empty] | 61.1111 | 67.5 | 52.5 | 61.1111
[11 empty] | 62.963 | 67.5 | 52.5 | 62.963
[11 empty] | 64.8148 | 67.5 | 52.5 | 64.8148
28 | Battery | Residential Solar+Storage Rate | PSE offers residential customers with enrollment to solar+storage rate that incentivizes specific load and charge/discharge that helps PSE manage system/local peak. | Q3 | Q4 | Yes | 47.5 | 50 | No | Integrated to PSE Customer-sited Solar+Storage Offering | 66.6667 | 67.5 | 52.5 | 66.6667
33 | Solar | 3rd Party/Co-Op Community Solar | 3rd party installs/provides solar panels to customers for subscription throughout service territory. PSE off-takes RE via PPA while 3rd party is responsible for managing program and financing equipment. | Q3 | Q3 | No | 42.5 | 70 | No | Integrated with Community Solar | 68.5185 | 67.5 | 52.5 | 68.5185
34 | Solar | Residential Roof-top Solar Incentive | PSE offers upfront incentive for residential customers, discounting their upfront cost to install and own distributed solar generation throughout service territory. | Q3 | Q3 | No | 40 | 80 | Yes |  | 70.3704 | 67.5 | 52.5 | 70.3704
35 | Solar | PSE Small-scale Utility Solar PV Generation Stations | PSE deploys small-scale solar PV within its service territories and/or within/along their ROWs that generates RE to supply grid. | Q3 | Q3 | No | 37.5 | 80 | No |  | 72.2222 | 67.5 | 52.5 | 72.2222
36 | Battery | Residential BYO Battery Offer | Tariff targeted to existing/new residential battery owners that encourages optimal load behavior, charge/discharge, and/or PSE access that helps PSE to manage system/local peak. | Q3 | Q3 | No | 27.5 | 90 | No |  | 74.0741 | 67.5 | 52.5 | 74.0741
[11 empty] | 75.9259 | 67.5 | 52.5 | 75.9259
28 | Battery | C&I Battery Install Incentive | PSE offers upfront incentive to commercial customer to install their own BESS, with terms for operating modes that lead to optimal load behavior. | Q3 | Q4 | Yes | 47.5 | 55 | Yes | Strategic add based on feasibility of design and alignment with customer incentive | 77.7778 | 67.5 | 52.5 | 77.7778
[11 empty] | 79.6296 | 67.5 | 52.5 | 79.6296
[11 empty] | 81.4815 | 67.5 | 52.5 | 81.4815
[11 empty] | 83.3333 | 67.5 | 52.5 | 83.3333
[11 empty] | 85.1852 | 67.5 | 52.5 | 85.1852
28 | Battery | PSE Battery Share - Low Income | Provides battery storage access to low income customers by discounting their monthly subscription fee, resulting in cost savings, and potentially, backup power. | Q4 | Q4 | No | 47.5 | 25 | No |  | 87.037 | 67.5 | 52.5 | 87.037
[11 empty] | 88.8889 | 67.5 | 52.5 | 88.8889
[11 empty] | 90.7407 | 67.5 | 52.5 | 90.7407
37 | Battery | PSE Pole-Mounted Batteries | PSE installs batteries along feeders to help increase power quality and/or resiliency, as well as to help manage system/local peak. | Q3 | Q3 | No | 22.5 | 70 | No |  | 92.5926 | 67.5 | 52.5 | 92.5926
37 | Battery | Consumer Peer-to-Peer Batteries | PSE offers customers the ability to subscribe to the output of batteries installed at other C&I/residential locations. Customers can share in savings from batteries that help PSE to manage system/local peak. | Q4 | Q4 | No | 22.5 | 30 | No |  | 94.4444 | 67.5 | 52.5 | 94.4444
39 | Solar | Consumer Peer-to-Peer Solar | PSE offers platform that can connect customers and provide the ability to subscribe to the output of solar panels on other C&I/residential roof-tops. | Q4 | Q4 | No | 20 | 0 | No |  | 96.2963 | 67.5 | 52.5 | 96.2963
40 | Battery | Consumer Mobile Batteries | PSE offers customers rental of batteries for temporary planned outages and other events. | Q3 | Q4 | Yes | 5 | 35 | No |  | 98.1481 | 67.5 | 52.5 | 98.1481
[8 empty] | Yes | 24
[8 empty] | No | 16
|  | Original Q1 Concepts | Updated Q1 Concepts
|  | 4 | 8
|  | Original Q2 Concepts | Updated Q2 Concepts
|  | 4 | 6
Solar | Resource Type | Program Concept | PSE Description | Original PSE Quadrant | Updated PSE Quadrant | Did Priority Quadrant Change? | Strategic Fit | Feasibility |  |  | Horizontal Boundary |  | Vertical Boundary
| Solar | PSE Community Solar | PSE offers customers the ability to subscribe to the output of solar panels deployed throughout the service territory. Customers pay a monthly fee and receive a monthly credit for generation. | Q1 | Q1 | No | 70 | 100 |  |  | 0 | 67.5 | 52.5 | 0
| Solar | PSE Community Solar - Low Income | Provides community solar access to low income customers by discounting their monthly subscription fee, resulting in cost savings. | Q1 | Q1 | No | 62.5 | 100 |  |  | 5.5556 | 67.5 | 52.5 | 5.5556
| Solar | Net Metering (Existing) | Voluntary customer program to install roof-top solar and state-regulated mandate for compensation on generated energy imported to grid. | Q1 | Q1 | No | 55 | 100 |  |  | 11.1111 | 67.5 | 52.5 | 11.1111
| Solar | 3rd Party Distributed Solar PPA or Solar Lease | 3rd party installs/provides roof-top solar panels to customers throughout service territory. PSE off-takes RE via PPA or net metering while the 3rd party is responsible for managing program and financing equipment. | Q3 | Q1 | Yes | 52.5 | 70
| Solar | C&I Roof-top Solar Incentive | PSE offers upfront incentive to commercial customers, discounting their upfront cost to install and own distributed solar generation throughout service territory. | Q3 | Q1 | Yes | 55 | 90 |  |  | 16.6667 | 67.5 | 52.5 | 16.6667
| Solar | C&I Roof-top Solar Leasing | PSE offers to lease commercial customers' roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply grid. | Q2 | Q1 | Yes | 67.5 | 75 |  |  | 22.2222 | 67.5 | 52.5 | 22.2222
| Solar | C&I Small & Minority-owned Business Roof-top Solar Leasing | PSE targets local, small, or BIPOC-owned businesses to lease customers' roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply to grid. | Q2 | Q1 | Yes | 60 | 75 |  |  | 27.7778 | 67.5 | 52.5 | 27.7778
| Solar | Residential Roof-top Solar Leasing | PSE offers to lease residential customers' roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply grid. | Q2 | Q2 | No | 62.5 | 50 |  |  | 33.3333 | 67.5 | 52.5 | 33.3333
| Solar | Residential Roof-top Solar Leasing (Low-Income) | PSE target's lease to low-income and/or impacted residential customers for access to roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply grid. | N/A | Q2 | Yes | 52.5 | 50
| Solar | Multi-Family Unit Roof-top Solar Incentive | PSE offers incentive to MFU building owners, discounting their upfront cost to install and own solar in PSE's service territory. | Q3 | Q2 | Yes | 55 | 50 |  |  | 38.8889 | 67.5 | 52.5 | 38.8889
| Solar | Multi-Family Solar Partnership | PSE facilitates installation of solar PV at MFU buildings by connecting with technology providers and/or billing support to share production across units. | Q2 | Q2 | No | 60 | 45 |  |  | 44.4444 | 67.5 | 52.5 | 44.4444
| Solar | Multi-Family Unit Roof-top Solar Leasing | PSE offers to lease MFU building owner's roof-top space to install solar PV. Building owner receives monthly fee; PSE generates RE to supply the grid. | Q4 | Q2 | Yes | 70 | 60 |  |  | 50 | 67.5 | 52.5 | 50
| Solar | PSE Customer-Sited Solar+Storage Offering | PSE enrolls customers through a monthly incentive program to host solar+storage systems with that can off-set customers' load from the grid in response to operating settings or dispatch signals from PSE | N/A | Q2 | Yes | 92.5 | 55 |  |  | 55.5556 | 67.5 | 52.5 | 55.5556
| Solar | Net Metering (Successor) | Next iteration of voluntary customer program to install roof-top solar and state-regulated mandate for compensation, at a reduced rate from prior, on generated energy imported to grid. | Q1 | Q1 | No | 55 | 100 |  |  | 61.1111 | 67.5 | 52.5 | 61.1111
| Solar | PSE Small-scale Utility Solar PV Generation Stations | PSE deploys small-scale solar PV within its service territories and/or within/along their ROWs that generates RE to supply grid. | Q3 | Q3 | No | 37.5 | 80 |  |  | 66.6667 | 67.5 | 52.5 | 66.6667
| Solar | 3rd Party/Co-Op Community Solar | 3rd party installs/provides solar panels to customers for subscription throughout service territory. PSE off-takes RE via PPA while 3rd party is responsible for managing program and financing equipment. | Q3 | Q3 | No | 42.5 | 70 |  |  | 72.2222 | 67.5 | 52.5 | 72.2222
| Solar | Residential Roof-top Solar Incentive | PSE offers upfront incentive for residential customers, discounting their upfront cost to install and own distributed solar generation throughout service territory. | Q3 | Q3 | No | 40 | 80 |  |  | 77.7778 | 67.5 | 52.5 | 77.7778
| Solar | Consumer Peer-to-Peer Solar | PSE offers platform that can connect customers and provide the ability to subscribe to the output of solar panels on other C&I/residential roof-tops. | Q4 | Q4 | No | 20 | 0 |  |  | 83.3333 | 67.5 | 52.5 | 83.3333
|  | Original Q1 Concepts | Updated Q1 Concepts
|  | 4 | 6
|  | Original Q2 Concepts | Updated Q2 Concepts
|  | 5 | 7
Battery | Resource Type | Program Concept | PSE Description | Original PSE Quadrant | Updated PSE Quadrant | Did Priority Quadrant Change? | Strategic Fit | Feasibility |  |  | Horizontal Boundary |  | Vertical Boundary
| Battery | Multi-Family Unit Battery Program | PSE partners with MFU owner/developer to deploy battery program. MFU rentees benefit from back-up power and PSE uses batteries to help manage system/local peaks. | Q3 | Q1 | Yes | 55 | 75 |  |  | 0 | 67.5 | 52.5 | 0
| Battery | PSE Substation Batteries | PSE installs batteries at its substations that can help to integrate renewables, increase power quality and/or resiliency, and manage system or local peak. | Q1 | Q1 | No | 70 | 100 |  |  | 4.5455 | 67.5 | 52.5 | 4.5455
| Battery | PSE Utility-Scale Distributed Battery Stations | PSE installs distributed batteries locally, communally, and/or in urban settings (i.e. outside of substations). Batteries help to improve power quality and/or resiliency, integrate renewables, or manage system/local peak. | Q1 | Q1 | No | 62.5 | 100 |  |  | 9.0909 | 67.5 | 52.5 | 9.0909
| Battery | 3rd Party Utility-scale Distributed Battery PPA | 3rd Party installs/manges single/network of batteries to respond to dispatch signal from PSE to help increase power quality and/or resiliency, as well as manage system/local peak. Battery through All Source. | Q1 | Q1 | No | 52.5 | 80 |  |  | 13.6364 | 67.5 | 52.5 | 13.6364
| Battery | Residential Battery Install Incentive | PSE offers upfront incentive to residential customers to install their own BESS, with terms for operating modes that lead to optimal load behavior. | Q1 | Q3 | Yes | 47.5 | 100 |  |  | 18.1818 | 67.5 | 52.5 | 18.1818
| Battery | Residential PSE Battery Leasing Pilot - Low Income | PSE provides targeted deployment of batteries for low-income customers. Customers benefit from back-up power and PSE can use batteries to manage system/local peaks. | Q2 | Q1 | Yes | 52.5 | 75 |  |  | 22.7273 | 67.5 | 52.5 | 22.7273
| Battery | Public Space Leasing for Batteries | PSE leases public/municipal space to deploy BESS to improve power quality and/or resiliency and manage system/local peaks. | Q3 | Q2 | Yes | 62.5 | 65 |  |  | 27.2727 | 67.5 | 52.5 | 27.2727
| Battery | C&I Space Leasing for Batteries | PSE leases space from/at C&I customers to deploy BESS to improve power quality and/or resiliency and manage system/local peak. Backup power for host customer as additional integration. | Q2 | Q2 | No | 62.5 | 50 |  |  | 31.8182 | 67.5 | 52.5 | 31.8182
| Battery | Residential PSE Battery Leasing | PSE installs batteries in customer homes. Customers pay a monthly fee for backup power services; PSE uses battery to manage system/local peaks. | Q2 | Q2 | No | 67.5 | 60 |  |  | 36.3636 | 67.5 | 52.5 | 36.3636
| Battery | 3rd Party Distributed C&I Battery PPA | 3rd Party installs/manages network of commercial batteries that provide backup power, demand charge reduction, and RE integration for customers. 3rd Party will aggregate network of batteries to respond to dispatch signal from PSE to help integrate renewables and manage system/local peak. | Q3 | Q4 | Yes | 47.5 | 60 |  |  | 40.9091 | 67.5 | 52.5 | 40.9091
| Battery | 3rd Party Distributed Residential Battery PPA | 3rd Party installs/manages network of residential batteries that provide backup power and RE integration for customers. 3rd Party will aggregate network of batteries to respond to dispatch signal from PSE to help integreate renewables and manage system or local peak. | Q3 | Q2 | Yes | 52.5 | 55 |  |  | 45.4545 | 67.5 | 52.5 | 45.4545
| Battery | C&I Battery Install Incentive | PSE offers upfront incentive to commercial customer to install their own BESS, with terms for operating modes that lead to optimal load behavior. | Q3 | Q4 | Yes | 47.5 | 55 |  |  | 50 | 67.5 | 52.5 | 50
| Battery | C&I Solar+Storage Rate | PSE offers C&I customers with enrollment to solar+storage rate that incentivizes specific load and charge/discharge that helps PSE manage system/local peak. | Q3 | Q2 | Yes | 52.5 | 55 |  |  | 54.5455 | 67.5 | 52.5 | 54.5455
| Battery | C&I BYO Battery | Tariff targeted to existing/new commercial battery owners that encourages optimal load behavior, charge/discharge, and/or PSE access that helps PSE to manage system/local peak. | Q2 | Q2 | No | 52.5 | 55 |  |  | 59.0909 | 67.5 | 52.5 | 59.0909
| Battery | PSE Battery Share | PSE offers customers subscription to the output of batteries locally and/or across service territory that help to manage system/local peak. Customer receives a monthly credit based on savings from battery, and potentially, backup power. | Q4 | Q2 | Yes | 52.5 | 25 |  |  | 63.6364 | 67.5 | 52.5 | 63.6364
| Battery | PSE Mobile Batteries | PSE deploys mobile batteries to support planned and (un-)planned outages, as well as to help manage system/local peak. Batteries can serve at distribution level. | Q2 | Q1 | Yes | 55 | 70 |  |  | 68.1818 | 67.5 | 52.5 | 68.1818
| Battery | Residential BYO Battery Offer | Tariff targeted to existing/new residential battery owners that encourages optimal load behavior, charge/discharge, and/or PSE access that helps PSE to manage system/local peak. | Q3 | Q3 | No | 27.5 | 90 |  |  | 72.7273 | 67.5 | 52.5 | 72.7273
| Battery | PSE Pole-Mounted Batteries | PSE installs batteries along feeders to help increase power quality and/or resiliency, as well as to help manage system/local peak. | Q3 | Q3 | No | 22.5 | 70 |  |  | 77.2727 | 67.5 | 52.5 | 77.2727
| Battery | Residential Solar+Storage Rate | PSE offers residential customers with enrollment to solar+storage rate that incentivizes specific load and charge/discharge that helps PSE manage system/local peak. | Q3 | Q4 | Yes | 47.5 | 50 |  |  | 81.8182 | 67.5 | 52.5 | 81.8182
| Battery | PSE Battery Share - Low Income | Provides battery storage access to low income customers by discounting their monthly subscription fee, resulting in cost savings, and potentially, backup power. | Q4 | Q4 | No | 47.5 | 25 |  |  | 86.3636 | 67.5 | 52.5 | 86.3636
| Battery | Consumer Peer-to-Peer Batteries | PSE offers customers the ability to subscribe to the output of batteries installed at other C&I/residential locations. Customers can share in savings from batteries that help PSE to manage system/local peak. | Q4 | Q4 | No | 22.5 | 30 |  |  | 90.9091 | 67.5 | 52.5 | 90.9091
| Battery | Consumer Mobile Batteries | PSE offers customers rental of batteries for temporary planned outages and other events. | Q3 | Q4 | Yes | 5 | 35 |  |  | 95.4545 | 67.5 | 52.5 | 95.4545

## Stakeholder Feas Scoring
Tab created by West Monroe, third party consultant and subject matter expert, in Q1 2021.
PSE stakeholder input completed in Q1 2021 and led by DER team with cross-functional representation of PSE subject matter experts.
Stakeholder Collective Feasibility Scores
DER Concept | DER Concept Description | Reg Feasibility (H/M/L) | IT/Grid Feasibility (H/M/L) | Ops Feasibility (H/M/L) | Cust Feasibility (H/M/L)
PSE Community Solar | PSE offers customers the ability to subscribe to the output of solar panels deployed throughout the service territory. Customers pay a monthly fee and receive a monthly credit for generation. | H | H | H | H | PSE
PSE Community Solar - Low Income | Provides community solar access to low income customers by discounting their monthly subscription fee, resulting in cost savings. | H | H | H | H |  | Regulatory Feasibility | IT/Grid Feasibility | Ops Feasibility | Customer Feasibility
Net Metering (Existing) | Voluntary customer program to install roof-top solar and state-regulated mandate for compensation on generated energy imported to grid. | H | H | H | H | H | 18 | 20 | 11 | 18
Net Metering (Successor) | Next iteration of voluntary customer program to install roof-top solar and state-regulated mandate for compensation, at a reduced rate from prior, on generated energy imported to grid. | H | H | H | H | M | 16 | 17 | 15 | 18
PSE Small-scale Utility Solar PV Generation Stations | PSE deploys small-scale solar PV within its service territories and/or within/along their ROWs that generates RE to supply grid. | H | H | L | H | L | 5 | 2 | 13 | 3
3rd Party Distributed Solar PPA or Solar Lease | 3rd party installs/provides roof-top solar panels to customers throughout service territory. PSE off-takes RE via PPA or net metering while the 3rd party is responsible for managing program and financing equipment. | M | H | M | M
3rd Party/Co-Op Community Solar | 3rd party installs/provides solar panels to customers for subscription throughout service territory. PSE off-takes RE via PPA while 3rd party is responsible for managing program and financing equipment. | M | H | M | M
C&I Roof-top Solar Incentive | PSE offers upfront incentive to commercial customers, discounting their upfront cost to install and own distributed solar generation throughout service territory. | H | H | M | H | PSE
C&I Roof-top Solar Leasing | PSE offers to lease commercial customers' roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply grid. | M | H | L | H |  | Regulatory Feasibility | IT/Grid Feasibility | Ops Feasibility | Customer Feasibility
C&I Small & Minority-owned Business Roof-top Solar Leasing | PSE targets local, small, or BIPOC-owned businesses to lease customers' roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply to grid. | M | H | L | H | H | 46.15% | 51.28% | 28.21% | 46.15%
Consumer Peer-to-Peer Solar | PSE offers platform that can connect customers and provide the ability to subscribe to the output of solar panels on other C&I/residential roof-tops. | L | L | L | L | M | 41.03% | 43.59% | 38.46% | 46.15%
Residential Roof-top Solar Incentive | PSE offers upfront incentive for residential customers, discounting their upfront cost to install and own distributed solar generation throughout service territory. | H | M | H | H | L | 12.82% | 5.128% | 33.33% | 7.692%
Residential Roof-top Solar Leasing | PSE offers to lease residential customers' roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply grid. | M | M | M | M
Multi-Family Unit Roof-top Solar Incentive | PSE offers incentive to MFU building owners, discounting their upfront cost to install and own solar in PSE's service territory. | M | M | M | M
Multi-Family Solar Partnership | PSE facilitates installation of solar PV at MFU buildings by connecting with technology providers and/or billing support to share production across units. | L | M | M | M
Multi-Family Unit Roof-top Solar Leasing | PSE offers to lease MFU building owner's roof-top space to install solar PV. Building owner receives monthly fee; PSE generates RE to supply the grid. | M | H | L | M
PSE Substation Batteries | PSE installs batteries at its substations that can help to integrate renewables, increase power quality and/or resiliency, and manage system or local peak. | H | H | H | H
PSE Utility-Scale Distributed Battery Stations | PSE installs distributed batteries locally, communally, and/or in urban settings (i.e. outside of substations). Batteries help to improve power quality and/or resiliency, integrate renewables, or manage system/local peak. | H | H | H | H
PSE Mobile Batteries | PSE deploys mobile batteries to support planned and (un-)planned outages, as well as to help manage system/local peak. Batteries can serve at distribution level. | L | H | L | H
PSE Pole-Mounted Batteries | PSE installs batteries along feeders to help increase power quality and/or resiliency, as well as to help manage system/local peak. | H | M | M | H
PSE Battery Share | PSE offers customers subscription to the output of batteries locally and/or across service territory that help to manage system/local peak. Customer receives a monthly credit based on savings from battery, and potentially, backup power. | M | M | L | L
PSE Battery Share - Low Income | Provides battery storage access to low income customers by discounting their monthly subscription fee, resulting in cost savings, and potentially, backup power. | M | M | L | L
3rd Party Utility-scale Distributed Battery PPA | 3rd Party installs/manges single/network of batteries to respond to dispatch signal from PSE to help increase power quality and/or resiliency, as well as manage system/local peak. Battery through All Source. | H | M | H | H
3rd Party Distributed C&I Battery PPA | 3rd Party installs/manages network of commercial batteries that provide backup power, demand charge reduction, and RE integration for customers. 3rd Party will aggregate network of batteries to respond to dispatch signal from PSE to help integrate renewables and manage system/local peak. | M | M | H | M
3rd Party Distributed Residential Battery PPA | 3rd Party installs/manages network of residential batteries that provide backup power and RE integration for customers. 3rd Party will aggregate network of batteries to respond to dispatch signal from PSE to help integreate renewables and manage system or local peak. | L | M | H | M
C&I Battery Install Incentive | PSE offers upfront incentive to commercial customer to install their own BESS, with terms for operating modes that lead to optimal load behavior. | H | M | M | M
C&I BYO Battery | Tariff targeted to existing/new commercial battery owners that encourages optimal load behavior, charge/discharge, and/or PSE access that helps PSE to manage system/local peak. | H | M | M | M
C&I Solar+Storage Rate | PSE offers C&I customers with enrollment to solar+storage rate that incentivizes specific load and charge/discharge that helps PSE manage system/local peak. | H | M | M | M
C&I Space Leasing for Batteries | PSE leases space from/at C&I customers to deploy BESS to improve power quality and/or resiliency and manage system/local peak. Backup power for host customer as additional integration. | M | M | M | M
Consumer Mobile Batteries | PSE offers customers rental of batteries for temporary planned outages and other events. | L | M | L | M
Consumer Peer-to-Peer Batteries | PSE offers customers the ability to subscribe to the output of batteries installed at other C&I/residential locations. Customers can share in savings from batteries that help PSE to manage system/local peak. | M | L | M | M
Residential Battery Install Incentive | PSE offers upfront incentive to residential customers to install their own BESS, with terms for operating modes that lead to optimal load behavior. | H | H | H | H
Residential BYO Battery Offer | Tariff targeted to existing/new residential battery owners that encourages optimal load behavior, charge/discharge, and/or PSE access that helps PSE to manage system/local peak. | H | H | M | H
Residential Solar+Storage Rate | PSE offers residential customers with enrollment to solar+storage rate that incentivizes specific load and charge/discharge that helps PSE manage system/local peak. | M | M | M | M
Residential PSE Battery Leasing | PSE installs batteries in customer homes. Customers pay a monthly fee for backup power services; PSE uses battery to manage system/local peaks. | M | H | L | M
Residential PSE Battery Leasing Pilot - Low Income | PSE provides targeted deployment of batteries for low-income customers. Customers benefit from back-up power and PSE can use batteries to manage system/local peaks. | M | H | L | H
Multi-Family Unit Battery Program | PSE partners with MFU owner/developer to deploy battery program. MFU rentees benefit from back-up power and PSE uses batteries to help manage system/local peaks. | M | H | L | H
Public Space Leasing for Batteries | PSE leases public/municipal space to deploy BESS to improve power quality and/or resiliency and manage system/local peaks. | H | H | L | M
PSE Customer-Sited Solar+Storage Offering | PSE enrolls customers through a monthly incentive program to host solar+storage systems with that can off-set customers' load from the grid in response to operating settings or dispatch signals from PSE | H | M | M | M

## DER Concept List
List prepared by PSE in April 2021 as prioritized list of DER program concepts to proceed to cost and market potential assessment. PSE secured, via competitive RFP, the third-party consultant and subject matter expert, Black & Veatch, to perform services.
Refer to Appendix K for details of methdology and assessment for cost and market potential performed.
|  | Solar | 11
|  | Battery | 12
|  | Solar+Battery | 1
|  | Total | 24
| # | DER Concept | Resource Type | Program Description | FOTM or BTM | Ownership | Customer-Facing? | Mechanism | Under Development, In Operation, or New?
| 1 | 3rd Party Customer-Sited Distributed Battery PPA | Battery | 3rd Party installs/manages network of customer-sited batteries that provide backup power and RE integration for customers. 3rd Party will aggregate network of batteries to respond to dispatch signal from PSE to help integreate renewables and manage system or local peak. | BTM | 3rd Party | Yes | 3rd Party Offering | New
| 2 | 3rd Party Utility-scale Distributed Battery PPA | Battery | 3rd Party installs/manges single/network of batteries to respond to dispatch signal from PSE to help increase power quality and/or resiliency, as well as manage system/local peak. Battery through All Source. | FOTM | 3rd Party | No | Portfolio Resource | New
| 3 | C&I Battery Install Incentive | Battery | PSE offers upfront incentive to commercial customer to install their own BESS, with terms for operating modes that lead to optimal load behavior. | BTM | Customer(s) | Yes | PSE Incentive | New
| 4 | C&I Space Leasing for Batteries | Battery | PSE leases space from/at C&I customers to deploy BESS to improve power quality and/or resiliency and manage system/local peak. Backup power for host customer as additional integration. | FOTM | PSE | Yes | PSE Program | New
| 5 | Multi-Family Unit Battery Program | Battery | PSE partners with MFU owner/developer to deploy battery program. MFU rentees benefit from back-up power and PSE uses batteries to help manage system/local peaks. | BTM | PSE or PPA | No | PSE Program / 3rd Party Offering | New
| 6 | PSE Mobile Batteries | Battery | PSE deploys mobile batteries to support planned and (un-)planned outages, as well as to help manage system/local peak. Batteries can serve at distribution level. | FOTM | PSE | No | PSE Program | New
| 7 | PSE Substation Batteries | Battery | PSE installs batteries at its substations that can help to integrate renewables, increase power quality and/or resiliency, and manage system or local peak. | FOTM | PSE | No | Portfolio Resource | In Operation
| 8 | PSE Utility-Scale Distributed Battery Stations | Battery | PSE installs distributed batteries locally, communally, and/or in urban settings (i.e. outside of substations). Batteries help to improve power quality and/or resiliency, integrate renewables, or manage system/local peak. | FOTM | PSE | No | Portfolio Resource | Under Development
| 9 | Residential Battery Install Incentive | Battery | PSE offers upfront incentive to residential customers to install their own BESS, with terms for operating modes that lead to optimal load behavior. | BTM | Customer(s) | Yes | PSE Incentive | New
| 10 | Residential PSE Battery Leasing | Battery | PSE installs batteries in customer homes. Customers pay a monthly fee for backup power services; PSE uses battery to manage system/local peaks. | BTM | PSE | Yes | PSE Program | New
| 11 | Residential PSE Battery Leasing - Low Income | Battery | PSE provides targeted deployment of batteries for low-income customers. Customers benefit from back-up power and PSE can use batteries to manage system/local peaks. | BTM | PSE | Yes | PSE Program | New
| 12 | Net Metering (Existing) | Solar | Voluntary customer program to install roof-top solar and state-regulated mandate for compensation on generated energy imported to grid. | BTM | Customer(s) | Yes | PSE Program | In Operation
| 13 | Net Metering (Successor) | Solar | Next iteration of voluntary customer program to install roof-top solar and state-regulated mandate for compensation, at a reduced rate from prior, on generated energy imported to grid. | BTM | Customer(s) | Yes | PSE Program | New
| 14 | PSE Community Solar | Solar | PSE offers customers the ability to subscribe to the output of solar panels deployed throughout the service territory. Customers pay a monthly fee and receive a monthly credit for generation. | FOTM | PSE or PPA | Yes | PSE Program | Under Development
| 15 | PSE Community Solar - Low Income | Solar | Provides community solar access to low income customers by discounting their monthly subscription fee, resulting in cost savings. | FOTM | PSE or PPA | Yes | PSE Program | Under Development
| 16 | 3rd Party Distributed Solar PPA (or Solar Lease) | Solar | 3rd party installs/provides roof-top solar panels to customers throughout service territory. PSE off-takes RE via PPA or net metering while the 3rd party is responsible for managing program and financing equipment. | FOTM | 3rd Party | Yes | 3rd Party Offering | New
| 17 | C&I Roof-top Solar Incentive | Solar | PSE offers upfront incentive to commercial customers, discounting their upfront cost to install and own distributed solar generation throughout service territory. | BTM | Customer(s) | Yes | PSE Incentive | New
| 18 | C&I Roof-top Solar Leasing | Solar | PSE offers to lease commercial customers' roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply grid. | FOTM | PSE or PPA | Yes | PSE Program | New
| 19 | Multi-Family Solar Partnership | Solar | PSE facilitates installation of solar PV at MFU buildings by connecting with technology providers and/or billing support to share production across units. | BTM | Landlord or 3rd Party | Yes | PSE Program | New
| 20 | Multi-Family Roof-top Solar Incentive | Solar | PSE offers incentive to MFU building owners, discounting their upfront cost to install and own solar in PSE's service territory. | BTM | Landlord or 3rd Party | Yes | PSE Incentive | New
| 21 | PSE Customer-Sited Solar+Storage Offering | Solar+Battery | PSE enrolls customers through a monthly incentive program to host solar+storage systems with that can off-set customers' load from the grid in response to operating settings or dispatch signals from PSE | BTM | PSE | Yes | PSE Program | New
| 22 | Residential Roof-top Solar Leasing | Solar | PSE offers to lease residential customers' roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply grid. | FOTM | PSE or PPA | Yes | PSE Program | New
| 23 | Residential Roof-top Solar Leasing - Low Income | Solar | PSE target's lease to low-income and/or impacted residential customers for access to roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply grid. | FOTM | PSE or PPA | Yes | PSE Program | New
| 24 | C&I Battery BYO | Battery | Tariff targeted to existing/new commercial battery owners that encourages optimal load behavior, charge/discharge, and/or PSE access that helps PSE to manage system/local peak. | BTM | Customer(s) | Yes | PSE Incentive | New

## Scoring Overview
Tab created by West Monroe, third party consultant and subject matter expert, in Q1 2021. Intent of tab to help with formulas and scoring documented in subsequent tabs.
| Scoring Metric | Subcategories | Description | Additional Subcategories | Additional Subcatetory Description | Description of High Score | Relative Weighting | Scoring Mechanism
| Strategic Fit | System Benefits | Scores the ability to contribute to clean kWh, system peak shaving, or deferral of capital expenditure using DER concepts. Concepts not contributing to any of these three system benefits are not directly aligned with meeting CETA targets. | Contributes to clean kWh | Provides at least some renewable energy that contributes to PSE's clean energy targets under CETA | N/A: Scored on a Y/N basis | 20% | Y/N
|  |  |  | Reduced System Peak | Resources minmizes the system peak in some way |  | 15% | Y/N
|  |  |  | Non-wire Alternative | Resource is capanble of deferring previously discovered need to upgrad transmission and/or distribution infrastructure |  | 5% | Y/N
|  | Scalability | Qualitatively evaluates concepts to provide capacity in line with IRP goals in the short-term (within the 4-year CEIP timeframe) and/or over the long-term (4-10-year timeframe). | Near Term MW | Provides DER capacity that contribute to IRP targets within the next four years |  | 25% | H/M/L
|  |  |  | Longer Term MW | Provides DER capacity that contribute to IRP targets between four and ten years from now |  | 15% | H/M/L
|  | Strategic Characteristics | Represents key features of PSE’s goal of becoming its customer’s clean energy partner of choice through an equal weighting of PSE’s ability to control DER devices to maximize learning and experience in operating DERs, cohesive customer experience, and position for strategic piloting, and feedback from internal stakeholders. | PSE Control of Devices | Enables PSE to control devices fully to learn and scale solutions through experience and/or allows PSE to use its low cost of capital to break down barriers to DER procurement by customers |  | 5% | H/M/L
|  |  |  | Cohesive PSE Customer Experience | Customers have a seamless experience in navigativing energy options and understanding beneefits through PSE platforms and contracts |  | 5% | H/M/L
|  |  |  | Stakeholder Strategic Fit Score | Score based on survey data regarding the alingnment of programs with PSE strategy as seen through the lens of internal stakeholders |  | 5% | H/M/L
|  |  |  | Strategic Pilot | Promising technology or operating modeling that aligns to PSE goals, but may not be at fully scalable potential at present |  | 5% | H/M/L
| Feasibility | IT/Grid Modernization | Evaluates the level complexity and maturity of supporting technology required to enable to program |  | Evaluates the level complexity and maturity of supporting technology required to enable to program | Program can operate according to design leveragin existing IT systems and grid technology | 30% | H/M/L
|  | Customer | Evaluates the practicality & experience of participating from a customer’s point of view |  | Evaluates the practicality & experience of participating from a customer’s point of view | Enrollment in program offerings presents few to no barriers to customer adoption | 30% | H/M/L
|  | Regulatory | Evaluates the alignment to policy goals & likelihood of receiving support/approval |  | Evaluates the alignment to policy goals & likelihood of receiving support/approval | Program aligns well to WA state regulatory environment and goals established by regulator mandates | 25% | H/M/L
|  | Operations | Evaluates the level of complexity & difficulty in operating the program, from the utility’s perspective. |  | Evaluates the level of complexity & difficulty in operating the program, from the utility’s perspective. | Program can be stood up and rolled out to deliver its maximum potential benefits with relatively little effort | 15% | H/M/L
| Equity Score | Reduction in Upfront Participation Cost | Reduces barriers associated with customers needing up-front capital to particiate in programs | N/A | Reduces barriers associated with customers needing up-front capital to particiate in programs | Customer costs to enroll in programs are few to none. Where barriers are availble, PSE leverages its own low cost of capital to provide resources needed to enable particiaption | 50% | H/M/L
|  | Immediate Customer Savings | Provides savings and benefits to customers and does not depend solely on savings to accrue over a given payback time |  | Provides savings and benefits to customers and does not depend solely on savings to accrue over a given payback time | Customer savings and benefits are immediate and apparent. There is minimal lag time in bill credits or rebates where applicable | 10% | H/M/L
|  | Applicable to Renters | Enables tenants to make energy decisions that align with CETA targets |  | Enables tenants to make energy decisions that align with CETA targets | Enables tenants to participate with minimal needs to interact with landlords and/or property owners | 25% | H/M/L
|  | Customer Assistance Incentives | Program or offering features the ability for customers to easily procure and benefit from DERs to alleviate arrearage |  | Program or offering features the ability for customers to easily procure and benefit from DERs to alleviate arrearage | Where additional devices or resources are required to enable participation by disadvantaged customers, PSE provides the needed resources to enable participation for customers | 10% | H/M/L
|  | Provides Local Jobs | DER solution provider leverages local labor and/or meaningfully contributes to workforce development opportunities |  | DER solution provider leverages local labor and/or meaningfully contributes to workforce development opportunities | PSE or solution partner exclusively leverage labor from disadvantged communities and/or always provide workforce training opportunities as part of their solution build | 5% | H/M/L

## Scoring Dropdowns
Tab created by West Monroe, third party consultant and subject matter expert, in Q1 2021. Intent of tab to help with formulas and scoring documented in subsequent tabs.
Total Points by Category
Strategic Fit | 100
Feasability | 100
Equity | 100
% of points awarded, by score
H | 100%
M | 50%
L | 0%