## Slide 1: 2018 Integrated Resource Plan Presentation to WUTC Commissioners and Stakeholders
Monday March 11th, 2019
WUTC Offices
Olympia, WA
Cascade Natural Gas Corporation

## Slide 2: AGENDA
  OPENING REMARKS
  PURPOSE OF IRP
  PROCESS FOLLOWED
  DEMAND FORECAST
  GAS SUPPLY OVERVIEW
  ENVIRONMENTAL CONSIDERATIONS
  AVOIDED COST
  DEMAND SIDE MANAGEMENT
  DISTRIBUTION SYSTEM PLANNING
  SUPPLY RESOURCE OPTIMIZATION PROCESS
  ADDITIONAL QUESTIONS

## Slide 3: Purpose of the IRP Process
Mark Sellers-Vaughn
March 11, 2019

## Slide 4: All Formal Explanations Aside…
The purpose of an IRP is to transparently depict the overall company plan…
  For immediately-contemplated actions (i.e., in the next two years),
  To characterize emerging issues (and related approaches for mitigation, if necessary), and
  To outline the long-term direction a company is headed vis-a-vis the industry including economic trends, industry structure [partners such as the pipeline(s) and their impact/actions], technology, customer usage, etc.).

## Slide 5: IRP Objectives
Present a transparent roadmap of the overall corporate plan, per the previous slide.
Promote internal coordination.
  Even the best-managed companies are challenged to have inter-departmental deep discussions, particularly among analysts.
Describe to key stakeholders and the public the complex utility system unique to each local distribution company (LDC) and management decision-making processes to those who need to understand but don’t have the time and resources.
Provide for future regulatory approval of key projects and reduced data requests.
Meet regulatory requirements, at a minimum.
  Exceeding these can lead to improvement of the external understanding of complex analyses performed by company experts.
Enhance Commission staff understanding of resource planning through “training” afforded by this process.

## Slide 6: Benefits?
The value manifests in the opportunity for a company to describe its unique circumstances, opportunities and challenges.
More specifically, while commissions do not approve the IRP—and, hence future actions—the description of potential actions generally provides for expeditious response of such future requests because stakeholders have a basis for what is driving those decisions.

## Slide 7: In Conclusion
Staff turnover at Commissions allows the IRP process to bring new analysts up-to-speed on industry and utility-specific practices.
  This may be necessary every two years but can be a positive, rather than a negative.
The commitment from Cascade’s senior leadership has been outstanding and recognized by the WUTC Staff.
That Commissions acknowledge the plans, rather than approve, does not lessen the process’ regulatory import.

## Slide 8: Process Followed

## Slide 9
IRP GUIDELINES AND CONTENT
WASHINGTON
IRP Guidelines under WUTC WAC 480-90-238
CASCADE’S BASIC PHILOSOPHY
Primary purpose of Cascade’s long-term resource planning process has been, and continues to be, to inform and guide the Company’s resource acquisition process, consistent with state regulatory requirements.
Input and feedback from the Company’s Technical Advisory Group (TAG) is an important resource to help ensure that CNGC’s IRP is developed from a broader perspective than Cascade could have on its own.
In response to the issues identified with the 2016 IRP, Cascade has strengthened its commitment to securing and supporting the appropriate internal and external resources necessary to work with all stakeholders to produce a 2018 Integrated Resource Plan that meets the requirements of Washington Administrative Code 480-90-238.

## Slide 10: Stakeholder Engagement Process
Input and feedback from Cascade’s Technical Advisory Group (TAG) is an important resource to help ensure the IRP includes perspectives external to the Company and responsive to stakeholders.
Five Technical Advisory Group (TAG) meetings were held in Seattle.
Multiple opportunities for public participation were available.
Several walkthroughs of technical components (e.g., SENDOUT® modeling) were conducted upon request.

## Slide 11: Quarterly Updates
After Cascade filed the 2016 IRP, Cascade was requested by WUTC to file three quarterly progress reports in the 2016 Integrated Resource Plan’s (IRP) Compliance Acknowledgment Letter.
The progress reports noted 21 items that needed further analysis/clarification before Cascade received acknowledgment on the 2016 IRP.
After filing three quarterly updates, Cascade was required to file a fourth quarterly update noting eight items that needed further clarification.
Cascade received full acknowledgment on the 2016 IRP after the fourth quarterly update was filed.

## Slide 12
“Original” 2018 IRP TIMELINE

## Slide 13: 2-Year Action Plan
Continue active participation in regional LDC IRP processes.
The Company will attempt to increase stakeholder engagement for the IRP process.
Cascade will cross-validate new methodologies to ensure the accuracy of new modeling techniques.

## Slide 14: Demand Forecast

## Slide 15: Process

## Slide 16: Inputs
Cascade uses allocations to align data from various sources:
  Pipeline actuals at Citygate level.
  CC&B at town level.
  Woods & Poole at county level.
Market intelligence monthly.
Unifying the inputs provides a consistent data format for analysis and forecasting.

## Slide 17: Customer Forecast
CCG,Class = α0 + α1PopCG + α2EmpCG + Fourier(k) + ARIMA(p,d,q)
  C = Customers;
  CG = Citygate;
  Class = Residential, Commercial, Industrial, or Interruptible;
  ARIMA(p,d,q) = Indicates that the model has p autoregressive terms, d difference terms, and q moving average terms;
  Pop = Population;
  Emp = Employment;
  Fourier(k) = Captures seasonality of k number of seasons.

## Slide 18: Customer Forecast Inputs
Arima(1 1 0)(1 0 0) + Fourier
Arima(1 1 0)(1 0 0) +

## Slide 19: Customer Forecast
Chart: Whatcom Commercial Forecast

## Slide 20: Use Per Customer Forecast
Therms/CCG,Class = α0 + α1HDDCG, M + α2Iw + α3T + α4WINDCG, M
  Therms/C = Therms per customer;
  CG = Citygate;
  Class = Residential, Commercial, Industrial, or Interruptible;
  HDD = Heating Degree Days;
  M= Month;
  Iw = Indicator Variable set to 1 if it is a weekend;
  T = Trend Variable increasing by 1 for each day forecasted;
  WIND = Daily average wind speed.

## Slide 21
Use Per Customer Forecast Inputs
Citygate | Date | Weekend | Trend | Cngwa502 | Cngwa503 | jan.hdd | ...... | dec.hdd | jan.wind | ...... | dec.wind
acme | 10/3/2010 | 1 | 1 | 0.099243 | 0.538548 | 0 | ...... | 0 | 0 | ...... | 0
acme | 10/4/2010 | 0 | 2 | 0.153376 | 0.832302 | 0 | ...... | 0 | 0 | ...... | 0
acme | 10/5/2010 | 0 | 3 | 0.153376 | 0.832302 | 0 | ...... | 0 | 0 | ...... | 0
acme | 10/6/2010 | 0 | 4 | 0.135331 | 0.734384 | 0 | ...... | 0 | 0 | ...... | 0
acme | 10/7/2010 | 0 | 5 | 0.117287 | 0.636466 | 0 | ...... | 0 | 0 | ...... | 0
Acme 502 = α0 + α1HDD M + α2Iw + α3T + α4WIND M
Acme 503 = α0 + α1HDD M + α2Iw + α3T + α4WIND M

## Slide 22: UPC Forecast Results
Chart: Acme 504

## Slide 23: Final Demand Calculation
Chart: Acme 504

## Slide 24: Expected Growth
Cascade expects system load growth to average 1.25% per year or 25% over the 20-year planning horizon.
 | Residential | Commercial | Industrial | System
2019-2038 | 1.44% | 0.94% | 0.45% | 1.25%

## Slide 25: Methodology Evolutions
Stochastic analysis of growth
Stochastic analysis of weather using Monte Carlo simulations.

## Slide 26: Cascade Gas Supply Overview

## Slide 27: Pipeline transport flow
27

## Slide 28
Chart: Transport Summary
| AECO | KINGSGATE | STA 2 | NWP SUMAS/HUNT | NWP N OF GREEN | NWP S OF GREEN
 | 21973 | 46428 | 1000 | 137957 | 27292 | 36824
28

## Slide 29: Storage Resources
Jackson Prairie-
  4 accounts with 1,235,593 dths capacity
  We were approximately 95% cycled over the past winter season
  CNGC remains committed to cycling Jackson Prairie
Plymouth-
  2 accounts with 662,200 dths capacity
  Used 20% over the previous winter season
  CNGC remains committed to using Plymouth as a peaking resource.
29

## Slide 30: HIGHLIGHTS FOR THE 2018 PORTFOLIO DESIGN
PORTFOLIO PROCURMENT DESIGN BASED ON A DECLINING PERCENTAGE EACH YEAR, ACCORDINGLY: Approximately Year 1: 80% of annual requirements; Year 2: 40%, Year 3: 20%.
  80% allows more flexibility operationally
  Allows us to be in the market monthly through FOM purchase or Day Gas purchases
Hedged Percentages (fixed-price physical) Currently max 40% of annual requirements. Second year should be set at 25%, and 20% hedged volumes for year three.
GSOC would consider a modification of this plan if the outer year 3 year forward price is 20% higher/lower than the front month over a reasonably sustained period.
Annual load expectation (Nov-Oct) is approximately 30,000,000 dths, consistent with recent load history.
30

## Slide 31
Chart: TOTAL PLANNED RFP's
| Nov18-Oct19 | Nov19-Oct20 | Nov20-Oct21 | TOTALS
NWP SUMAS/HUNT | 6434450 | 5029500 | 2404250 | 13868200
NWP N OF GREEN | 3302700 | 867600 | 1427200 | 5597500
NWP S OF GREEN | 1524350 | 2222000 | 864550 | 4610900
AECO | 1758000 | 1258400 | 1129000 | 4145400
KINGSGATE | 0 | 0 | 0 | 0
STA 2 | 365000 | 0 | 0 | 365000
31

## Slide 32
Chart: 2018/2019 Supply by Location
| AECO | HUNT | SUMAS | STATION 2 | RM POOL | WY POOL | OPAL
Total | 3940000 | 9548000 | 1204000 | 365000 | 2094750 | 2884500 | 2715000
32

## Slide 33
Chart: 2017/2018 Portfolio by Supplier
| IGI RESOURCES | SHELL ENERGY NORTH AMERICA | TD ENERGY TRADING, INC. | UNITED ENERGY TRADING | TENASKA MARKETING CANADA | POWEREX CORPORATION | CITADEL ENERGY MARKETING | MACQUARIE ENERGY LLC | ENSTOR ENERGY SERVICES LLC | ULTRA RESOURCES, INC | CASTLETON COMMODITIES MERCHANT TRADING LP
Total | 2109000 | 3249750 | 2391000 | 1031000 | 1355000 | 4649500 | 1888000 | 1421000 | 1297500 | 905000 | 2454500
33
CONFIDENTIAL - for discussion purposes only

## Slide 34
Chart: Total Fixed VS Index
| FIXED | INDEX
Total | 10565500 | 12185750
34

## Slide 35
35

## Slide 36
Chart: 
| November | December | January | Febuary | March
Current Supply | 41000 | 56000 | 56000 | 48000 | 41000
RFP Supply | 55000 | 75000 | 80000 | 62500 | 37500
Storage | 4233.1771 | 4908.9842 | 5222.0433 | 4815.6937 | 3189.157
Spot | 14603.0587 | 6688.2271 | 8493.299 | 231.9204 | 9336.9305
36

## Slide 37
Chart: 
Current Supply | 56000
RFP Supply | 80000
FOM Spot Gas | 10000
SGS Storage | 56366
Daily Spot Gas | 10000
Peaking Deal | 20000
3rd Party Citygate | 10000
Pipeline Pack | 8156.07
LS Storage | 78125
37

## Slide 38: 2-Year Action Plan
Cascade will continue to work with Gelber & Associates to design and implement processes and analytics to comply with the WUTC UG-132019 policy statement.

## Slide 39: Environmental Considerations

## Slide 40: GHG Emissions from Natural Gas Industry
Natural Gas Distribution Facility Emissions
  Fugitive methane emissions from pipeline infrastructure and CO2 emissions from combustion equipment
    Cascade’s annual facility emissions in Washington are about 27,000 metric tons of CO2
Natural Gas Distribution Customer Emissions
  Cascade’s core customer CO2 emissions from combustion of natural gas are in the range of about 2 to 2.5 million metric tons of CO2 per year
At this time, we are not required to consider upstream/downstream GHG emissions in permitting our types of projects/activities
Notes: Natural Gas Distribution – natural gas distribution company facility contribution to GHG emissions generally result from fugitive methane emissions/leaks from pipeline infrastructure, and from combustion of fuel in compressors. For instance, Cascade has one small natural gas-fired compressor station in Mt. Vernon. Normally, the majority of compressor stations that are in operation are owned and operated by transmission companies.
Depending on where you get your data, about 5% of O&G sector emissions are from natural gas distribution company infrastructure (EPA 2016 data shows 14 million metric tons of CO2 equivalent compared with total of 283 million metric tons for O&G and total of 2,990 million metric tons of all industries)
However, due to conservative methods in calculating and reporting emissions, it is likely that the natural gas distribution companies’ contribution is lower than this.
Cascade is required to report facility emissions for the State of Washington and are about 27,000 metric tons of CO2 per year. Cascade’s emission in Oregon are low and are not required to be reported to EPA or the State of Oregon.
Natural Gas Distribution CUSTOMERS – CO2 emissions from customers’ combustion of natural gas has increased due to low natural gas prices, increasing demand and steady economic growth. With that growth, emissions also increase from customers combustion of natural gas.
The total annual emissions from our core customers are in the range of 2 to 2.5 million metric tons of CO2 per year. Emissions from non-core customers have totaled in the range of about 800,000 tons per year, depending on the year.
Cascade’s energy efficiency programs currently save about 40,000 to 80,000 dekatherms annually, slightly less than 5,000 metric tons of CO2 per year. More emission reductions will be realized as Cascade's programs mature and continue to grow.

## Slide 41: Cascade’s GHG Emission Reductions
Methane fugitive emissions and leak reductions
  Cascade became a founding member of EPA’s Natural Gas Star Methane Challenge Program in March 2016
    Participating in Excavation Damages Prevention
  System Integrity Projects
Energy efficiency and conservation programs
Streamlining emissions through demand management strategies including conservation and direct use
Notes: Cascade has committed to methane fugitive emissions and leak reductions through the EPA’s Natural Gas Star Methane Challenge Program.
Cascade became a founding member of that Program in March 2016 and is participating specifically in the Program’s Excavation Damages Prevention segment.
Best management practices implemented for that program include reductions the company has realized in creating the Public Awareness position. In 2014, Cascade created the Public Awareness position to actively manage the Public Awareness Program and Damage Prevention Program. This person assists in providing community education and outreach opportunities, focusing on damage prevention and further reducing potential releases of methane from excavation damages.
Cascade is currently implementing a Damage Prevention Program that focuses on working with contractors or third parties that are repeat offenders. By identifying and reaching out to these third parties prior to work beginning on the respective project, we believe that we’ll see a reduction in excavation damages throughout our service territory.
Cascade actively participates in 811, Common Ground Alliance, and damage complaint programs in Washington and Oregon. And, we continue to explore other voluntary actions which could reduce methane emissions resulting from excavation damage
Cascade has also implemented pipeline replacement projects which have contributed to fugitive emissions reductions. Newer and more leak proof pipeline materials such as polyethylene and steel are used to replace older more leak-prone materials, methane leaks are reduced.
From 2012-2018, Cascade has replaced nearly 91 miles of early vintage steel pipe, ranging from service lines up to 12-inch mains, and have been replaced with new steel or polyethylene pipe.
Also, Cascade is better positioned than most US utilities as it has no unprotected steel pipeline and none of the potentially leak-prone cast iron pipe seen elsewhere. There are many utilities who still have cast iron pipe in their systems.
Cascade is dedicated to expanding its EE efforts
Increased conservation goals and targets
Residential program step increases
Commercial/Industrial program outreach & marketing
Regional collaborative approach to market transformation
Incorporation of NWPCC methodologies and regional technical forum
Emerging technology scanning and support
Supporting Wood Fireplace changeout programs
Coordination with state and local conservation initiatives
Cascade also encourages direct use of natural gas – especially as innovative gas solutions can maximize the efficient use of energy and offer customers more choice and improved affordability, reliability and comfort.

## Slide 42: GHG Policy Trends
National Focus
  Current administration has focused less on required emissions reductions.
  In June 2017, the US withdrew from the Paris Agreement on climate change.
  Topics to monitor: EPA‘s Clean Power Plan (CPP), NSPS OOOOa – Standards of Performance for Crude Oil and Natural Gas Facilities, FERC Review of Pipeline Projects, Market Choice Act , Vehicle Emissions Standards.
State/Regional Focus
  Some states have been adopting emissions reduction requirements in lieu of, or in addition to, federal emission reduction requirements (ie. Washington, Oregon and California).
  More state-level action, expected due to less national focus.
  Topics to monitor: Clean Air Rule (CAR), CO2 tax and/or Cap and Trade Programs, increased conservation/EE, RNG mandates, other state policies with CO2 impacts.
Notes: National policy trends we have seen in this administration is less focus on required emissions reductions. EPA is still funding its voluntary emissions reduction programs such as the Methane Challenge Program.
We see growing regional and state focus on adopting GHG emissions reductions or renewables mandates and studies through regulation or statute. We see this happening in Oregon, Washington and further south in California. We’ll touch on what we see in Washington and Oregon in a few slides.
We see influence There are more cities across the US committing to emissions reductions and renewable energy through city goals and requirements vary – some goals are 2030 and some further out – ie. 2050. May include city infrastructure only, but some are community-wide. We will talk about a recent referendum in the City of Bellingham in a few slides.

## Slide 43: GHG Policy Trends
Local
  Municipal-level action due to less national focus
  Local movements to monitor:
    City of Bellingham - Reduce municipal greenhouse gas emissions to 85% below 2000 levels by 2030 and 100% below 2000 levels by 2050. Reduce community emissions by 70% below 2000 levels by 2030 and 85% below 2000 levels by 2050.
    Whatcom County - Committed to the “Ready for 100” campaign: 100% renewable electricity for county operations and larger Whatcom County community by 2035 , Established commitments in ordinance
    City of Bend - Voluntary goals established in 2016 for city facilities and operations: 40% reduction of 2010 baseline year emissions by 2030, 70% reduction of 2010 baseline year emissions by 2050. May determine to use more recent years for baseline, and could potentially could expand voluntary goals community-wide
    Go 100% Renewable Energy lists some additional local commitments

## Slide 44: CO2 Adders Modeled
Main cost modeled - Social Cost of Carbon with a 3% discount rate
Other sensitivities modeled:
  I-1631 Ballot Initiative
  Gov. Inslee proposed tax
  House of Representatives Market Choice
ERU costs not used as a carbon adder due to court invalidating CAR
Sensitivity analyses include 0%, 20%, and 30% environmental adder sensitivities
Notes: In their acknowledgment of many recent regional IRPs, the WUTC has indicated a strong desire for LDCs to use SCC as their baseline for carbon analysis
Local Distribution Company acknowledgments:
  PSE
    UE-160918 and UG-160919
  Pacific Power
    UE-160353
  Avista
    UE-161036

## Slide 45: 2-Year Action Plan
Cascade will either begin or continue to participate/monitor the following items:
  Participate in City of Bellingham Climate Action Plan discussions;
  Participate on City of Bend Climate Action Steering Committee;
  Monitor service areas for potential Greenhouse Gas (GHG) reduction goal development relating to energy delivery and supply;
  Monitor carbon pricing and policy developments nationally and statewide (i.e., Washington ballot measure (I-1631), Washington Clean Air Rule (CAR) litigation, 2019 carbon tax or cap and trade bills, Market Choice, etc.);
  Monitor federal and state GHG regulation development for energy industry; and
  Continuation of current emission reduction and monitoring endeavors (i.e., Methane Challenge Program, Renewable Natural Gas studies).

## Slide 46: Avoided Cost Methodology and Calculation

## Slide 47: Avoided Cost Overview
As part of the IRP process, Cascade produces a 20‐year price forecast and 45 years of avoided costs.
The avoided cost is an estimated cost to serve the next unit of demand with a supply side resource option at a point in time. This incremental cost to serve represents the cost that could be avoided through energy conservation.
The avoided cost forecast can be used as a guideline for comparing energy conservation with the cost of acquiring and transporting natural gas to meet demand.

## Slide 48: Avoided Cost Overview
For the 2018 IRP, Cascade has revamped its avoided cost formula to create a more transparent and intuitive final number.
Cascade evaluates the impact that a range of environmental externalities, including CO2 emission prices, would have on the avoided costs in terms of cost adders and supply costs.
The Company produces an expected avoided cost case based on peak day for each of four climate zones.

## Slide 49: Avoided Cost Formula
The components that go into Cascade’s avoided cost calculation are as follows:
Where
= The nominal avoided cost for a given year. To put this into real dollars you must apply the following: Avoided Cost/(1+discount rate)^Years from the reference year.
= Incremental Fixed Transportation Costs
= Variable Transportation Costs
= Storage Costs
= Commodity Costs
= Carbon Tax
= Environmental Adder, as recommended by the Northwest Power and Conservation Council
= Distribution System Costs
= Risk Premium
Notes: What units is the avoided cost formula measured in? Does it give us a cost per therm? Yes, it is $/therm.

## Slide 50: Distribution System Costs
New to this IRP cycle, Cascade will include avoided distribution system costs in its final calculation.
These are calculated by taking Cascade’s margin for each rate class, and deriving a one day system weighted margin figure, which is assumed to grow by inflation each year.
Notes: Which margin are you referring to? It is the authorized margin in UG-152286.

## Slide 51: Share of 2018 WA IRP Avoided Cost

## Slide 52
Nominal Avoided Cost by Conservation Zone, 2018 WA IRP (Cost per Therm)

## Slide 53: 2-Year Action Plan
Investigate incorporating a risk premium into the avoided cost calculation.

## Slide 54: DSM Forecast, 2018 IRP
Monica Cowlishaw & Amanda Sargent

## Slide 55: Short term Annual Goals
 | 2018* | 2019 | 2020
C&I | 345,000 | 370,587 | 437,271
RES | 420,000 | 333,424** | 369,466
Snapshots
Residential programs brought in-house 2016
Incentives increased 2017
  Residential > Commercial/Industrial
  Both Programs increased uptake
  Improved DBtC ratio
2019 Program Design adopted AEG’s LoadMAP updates and incorporated lower Avoided Costs
  Maintains most Residential offerings
  Increases many C&I rebates
  Adds new measures
Monitor 2019 C/I vendor performance
* 2018 figures represent preliminary performance
** 2019 residential reflects lower deemed therms
Notes: In 2016, Residential was brought in house. Nexant software was obtained to process rebates, continue to fulfill the online application option, streamline reporting, and conduct eM&V.
Mid 2017, incentives were increased to entice participation to meet higher therm savings goals asked of Cascade by the WUTC:
  Residential rebates were raised further than Commercial/Industrial because C&I carries higher admin.
  The results were significant increases in both programs, with more room left to increase rebates further on the Commercial/Industrial side.
  The corollary benefit improved our DBtC ratio.
Switched from Nexant’s TEAPot to AEG’s LoadMAP model, 2018.
The next tariff change is planned for early 2019. It will incorporate the lower 2018 Avoided Costs, aiming to maintain Residential offerings and increase C&I rebates, where possible.
An RFP for the C&I 2020 program is being considered to ensure the most cost-effective method of EE delivery is being utilized, one option of which may include in-house or partially in-house.

## Slide 56
2018 CPA Therm Results
Select therm savings updated per 2018 CPA for the 2019 Program Year
Adjustments reflect normal weather
Notes: Originally, AEG set therm savings to a weighted average of what was being installed, rather than the base efficiency code option available. AEG updated the LoadMAP model to reflect regionally accepted methodology to base the efficient equipment’s savings off of the base code, rather than the weighted average of efficiencies. However, the CPA based deemed therm savings on 2016 weather, which was warmer than usual and affected some of the measures disproportionately. The Company has updated the deemed therm savings to a normal weathergate’s HDDs. The changes to deemed therms will be reflected in the 2019 Annual Conservation Report.

## Slide 57
LoadMAP Model Forecast Process

## Slide 58:  Biennium Performance
Annual Performance

Portfolio Biennium Performance & Goals
Notes: Years 2011 through 2017 show actual total portfolio performance, meaning Residential & Builder and Commercial & Industrial combined.
In the Biennium graph, up through 2015-2016 are actuals.
For 2018 and the current 2017-2018 biennium, the anticipated end-of-year expectations were incorporated with actual performance to date. From 2019 forwards represents the short-term forecast which have been filed with the Commission as the department’s official goals.
Meanwhile, a subcommittee of the Statewide Advisory Group Resource Value Test workgroup is working to propose new rules to allow for incentives should penalties remain in place to financially reward utilities that meet or exceed goals. Cascade would prefer neither a carrot nor stick so goals can continue to be set realistically without fear of risks for achieving higher savings through trying new avenues. It could inadvertently provide a disincentive to pursue higher achievements goals through leadership in energy efficiency program innovation if utilities are not encouraged learn through potential pilot success and failure.

## Slide 59: Cumulative potential DSM Forecast
Cumulative Portfolio Potential Forecasts
Twenty Year Total:
47 Million
therms
Year 20 Cumulative DSM = 16% of Core Forecasted Demand

## Slide 60: LOW-INCOME WEATHERIZATION
Increase in forecasted program savings anticipated as a result of tariff updates in August 2018
  $10,000 per project cap removed
  Health and Safety specifications broadened to include all H&S associated with qualified measures as part of total project cost
  Avoided costs upwardly adjusted to $18.77 for 30 year measures per most recently acknowledged IRP
  Added project coordination payment of 15% and indirect rate of 10% of total project costs
Synchronization with Commerce Deemed Measures Policy 5.2.7-SF in light of new Prevailing Wage requirements
Increased communication and coordination, & outreach with Agencies

## Slide 61: 2019 Program UPDATES
Residential
Added 2nd tier to Tankless, Duct Sealing & Insulation, as well as Windows
Consolidated fireplace incentives
Removed Conventional Water Heaters
Decreased Combination System due to new savings
Maintained New Home Certifications’ rebate levels
Increased Air Sealing, Boiler and Thermostat rebates
Added Floor Insulation & Windows
Removed Clothes Washers
Decreased standard rebates on two measures: Water Heaters and Gas Conveyer Oven
Increased rebates on 13 measures: Insulation, Furnaces, Boilers, Tankless, Fryers, Radiant Heating, Double Rack and Convection Ovens, Pipe Insulation, Dishwasher, and more.
business
Notes: These changes were filed with the Commission in January and are effective February 19th, if approved by the Commision.

## Slide 62: 2-Year action plan
Monitor code updates, emerging technologies and research feasibility
Continually reassess ramp rates
Extend NEEA membership into Cycle 6 (2020-2024)
Expand and enhance outreach in Commercial/Industrial, Trade Ally and customer engagement
Launch pilots and explore additional geographically targeted options
Increase LI Weatherization engagement
Notes: Perform continual technical reviews of new measures identified by the Applied Energy Group (AEG) Conservation Potential Assessment (CPA) as well as through participation in the Gas Technology Institute Emerging Technology workgroup for inclusion into the Energy Efficiency program portfolio.
Review and revise ramp rates within the LoadMAP model in compliance with best practices as recommended by the Northwest Power and Conservation Council (NWPCC) and AEG, to align with measure maturity.
Extend Northwest Energy Efficiency Alliance membership into Cycle 6 (2020-2024) and elevate CNGC’s participation to equal status with electric and dual fuel utilities on the Board of Directors allowing regional natural gas market transformation efforts to grow.
Expand Commercial/Industrial program outreach and customer engagement.
Enhance Trade Ally Engagement.
Explore geographic pilots and efforts for specific offerings to underperforming areas within the service territory – for example in Climate Zone 2 (Aberdeen, Longview, etc.).
Increase engagement with the agencies delivering the Company’s Low-Income Weatherization Incentive Program for the purpose of facilitating increased weatherization services delivered to qualified natural gas customers in Cascade’s service area.
Monitor the state of natural gas conservation technologies within its service territory and make adjustments commensurate with evolving ENERGY STAR® standards, and updated building code requirements.
Monitor the residential natural gas furnace code standards as well as water heater criteria and will alter the program offerings as standards and building codes change in the next few years.

## Slide 63: Distribution System Planning
Linda Offerdahl, PE - Engineer II
IRP Open Meeting
March 11th, 2019

## Slide 64: Summary
Company overview
Synergi Modeling Software
    Input Data  Model Output
System Enhancement Techniques
Project Process Flow
Future Projects

## Slide 65: Synergi Modeling
    Calibrated Model – Model to represent a specific date and time
    Design Day Model – Uses the peak Heating Degree Day (HDD) for selected areas to simulate a cold weather day (worst case scenario)
    Growth Model – Uses design day model along with growth data to predict future constraints

## Slide 66: Synergi Modeling (cont.)
All customers are loaded based upon base and heat trend
Benefits of the models: - customer requests
- future planning
- system reliability
- optimizing potential reinforcements

## Slide 67: System Enhancement Techniques
Low pressure scenario
Possible Solutions ?
REGS?
PIPE?

## Slide 68: System Enhancement Techniques
Raising regulator station set points

## Slide 69: System Enhancement Techniques
Piping reinforcement

## Slide 70: Project Process Flow
Info & Data
Project & Schedules

## Slide 71: Future Projects
Example upcoming growth projects
Location | 2019 | 2020 | 2021
Burlington 4” PE Reinforcement | $ 676,507 |  | 
8” HP Yakima Reinforcement |  | $ 1,781,770 | 
Bellingham 6” PE Reinforcement |  |  | $ 1,733,876

## Slide 72: Burlington 4” IP Reinforcement
2019 project
4,000’ of 4” PE
Have experienced low pressure during peak heating
Allow for growth in system
LOW PRESSURE
LOW PRESSURE
4” PE

## Slide 73: Burlington 4” PE Reinforcement
Design day pressure before and after
4” PE

## Slide 74: Supply Resource Optimization Process

## Slide 75: Current Methodology – Flow Chart

## Slide 76: Step 1: As-is Analysis
Model Cascade’s current system under expected conditions with a 3-day peak inserted each year.
Record timing and location of potential shortfalls.
Identifies the problems that incremental resources will solve for.

## Slide 77: Step 1: As-Is Analysis Shortfalls

## Slide 78: Step 2: Introduce Additional Resources
Cascade uses it’s market intelligence to identify potential solutions to shortfalls previously identified in the As-is.
These can be in the form of incremental transport, incremental supplies, incremental storage, and other resources.
Once included, Cascade runs the optimizer and records the timing and quantity of resources selected.
This forms the deterministic preferred portfolio; one of six portfolios to be evaluated under stochastic conditions.
The other 5 portfolios are derived by running the optimizer on a modified list of resource availability.

## Slide 79: Step 2: Introduce Additional Resources
All-In Portfolio
GTN Only Portfolio
GTN + Storage Portfolio
NWP Only Portfolio
NWP + Storage Portfolio
Storage Only

## Slide 80: Step 3: Stochastic Analysis of All Portfolios Under Existing Conditions
Each of the 6 portfolios is run through a Monte Carlo simulation on weather.
Cascade records the mean and 95th percentile value-at-risk (VaR) of the total system cost and unserved demand of each portfolio.
This allows Cascade to evaluate the portfolios’ intrinsic and extrinsic values.

## Slide 81: Step 4: Ranking of Portfolios
Portfolios are ranked primarily on unserved demand and secondarily on total system cost.
Cascade uses regional best practices to weight the deterministic and stochastic components.
Ultimately, the portfolio that performs best under expected conditions will be deemed the first candidate portfolio.
Notes: Is this the best way to rank portfolios, and are there other ranking methods? I’m not clear on what “unserved demand” is. Which regional best practices are we talking about? Cascade has had many discussions with previous stakeholders on portfolios and how to rank them. The Company currently believes unserved demand and total system cost is the best way to rank them. Unserved demand is customer demand usage that cannot be served due to some sort of limitation. This limitation could be lack of upstream transportation, distribution system constraints, lack of supply, etc. Since Cascade’s primary focus is to serve customers, it is important to ensure our portfolio can serve every customer. The regional best practice is going to weight the deterministic component 75% and the stochastic component 25%. This methodology first came from a regional LDC but Cascade is open to alternative methodologies.

## Slide 82: Final Ranking of Portfolios
Notes: Slide 25: Can you please explain what you mean by “risk-adjusted results” here?
  Risk-Adjusted results simply weigh the deterministic and stochastic results by the 75/25 mix discussed earlier. We call it risk-adjusted because the stochastic portion attempts to capture the unknown quantities.

## Slide 83: Step 5: Stochastic Analysis of Candidate Portfolio
Cascade runs Monte Carlo analysis on the candidate portfolio under a variety of scenarios.
Scenarios allow Cascade to evaluate a portfolio under a number of load impacting externalities.
Cascade expects to run the simulations on both price and weather.
Cascade records mean and VaR of total system cost under each scenario.

## Slide 84: Step 6: Analysis of Candidate Portfolio
Cascade compares the 95th percentile VaR under each scenario to a predetermined VaR limit.
  The VaR limit is a risk and cost ceiling determined by Cascade’s GSOC.
If costs exceed the VaR limit in any scenario tested, Cascade may reject the candidate portfolio and begin testing the next ranking portfolio from step 4.
If costs do not exceed the VaR limit, the candidate portfolio moves to sensitivity testing.

## Slide 85: Step 7: Sensitivity Analysis of Candidate Portfolio
Cascade runs Monte Carlo analysis on the candidate portfolio under a variety of sensitivities.
Sensitivities allow Cascade to evaluate a portfolio under a number of price impacting externalities.
Cascade expects to run the simulations on both price and weather.
Cascade records mean and VaR of total system cost under each sensitivity.
Notes: Are there other things to run sensitivities on besides price and weather? For its modeling purposes, Cascade defines sensitivities as external factors that test how the candidate portfolio reacts to changes in market pricing. Sensitivity analysis is primarily done on prices, such as using a high or low price forecast, or different carbon tax/environmental adders. In previous IRPs, Cascade would only perform the Monte Carlo simulations on price here, due to computational limitations. Cascade believes it will be able to run a robust Monte Carlo analysis on both price and weather this year, so it will do so for the stochastic sensitivity analysis. Cascade is not looking at other factors to do sensitivity analysis on, but welcomes feedback during TAG 4 on ideas from stakeholders.

## Slide 86: Step 8: Re-evaluation of Candidate Portfolio
Cascade compares the 95th percentile VaR under each sensitivity to a predetermined VaR limit.
If costs exceed the VaR limit in any sensitivity tested, Cascade may reject the candidate portfolio and begin testing the next ranking portfolio from step 4.
If costs do not exceed the VaR limit, the candidate portfolio becomes Cascade’s preferred portfolio.

## Slide 87: Top Ranked Candidate Portfolio Components
Bremerton Shelton Realignment
Incremental GTN Capacity From Stanfield – 8,369 Dth by 2028, 22,533 dth by 2038
Incremental GTN Capacity From Kingsgate – 1,291 Dth by 2038
Monitor Incremental Nova

## Slide 88: Peak Day Supply Take Vs. Demand

## Slide 89: Peak Day Transport Vs. Demand

## Slide 90: Conclusion
Cascade has identified potential deficiencies starting in 2019.
From 2019-2023, Cascade expects the Bremerton-Shelton acquisition to solve this shortfall.
From 2024 through the end of the planning horizon, Cascade uses a mix of incremental Transportation and DSM to solve the deficiency.
Cascade will continue to monitor the GTN shortfall in further IRPs.
With the resource mix that is designated the “Preferred Portfolio” Cascade forecasts the ability to serve all firm demand through the 20-year planning horizon.

## Slide 91: 2-Year Action Plan
Cascade will make a recommendation to GSOC regarding the volume and timing of acquiring incremental GTN capacity.
Cascade will continue to monitor NGTL incremental capacity and Spire storage.
Cascade will complete discussions with NWP regarding their Shelton lateral proposal.
Cascade will also continue to explore biogas opportunities.

## Slide 92: ADDITIONAL QUESTIONS?

## Slide 93: 2018 Integrated Resource Plan Presentation to WUTC Commissioners and Stakeholders
Monday March 11th, 2019
WUTC Offices
Olympia, WA
Cascade Natural Gas Corporation