## Legend
Date
Data as/of | 2015-12-15
Fiscal Year | FY2016
Event Begin Date/Time | 2015-11-17 11:13 | Event Begin Time
Event End Date/Time | 2015-11-18 17:30 | Event End Time
Month Begin | 2015-11-01
Month End | 2015-11-30
Year Begin | 2015-01-01
Year End | 2015-11-30
State | Washington
Comments: | Tag | filed

## Customer Analysis
| Washington | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by operating area customer counts
|  |  | 2015-11-17 11:13 | through | 2015-11-18 17:30
| PacifiCorp Major Events Report Customer Analysis* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PC | PACIFICORP | 6870 | 0% | 1839623 | 106 | 1887237 | 75 | 1980 | 4890 | 0 | 0 | 0 | 0 | 29% | 0.9748 | 0.004 | 268
PP | Pacific Power | 6870 | 1% | 1839623 | 106 | 793118 | 75 | 1980 | 4890 | 0 | 0 | 0 | 0 | 29% | 2.3195 | 0.009 | 268
WA | Washington | 6870 | 5% | 1839623 | 106 | 137313 | 75 | 1980 | 4890 | 0 | 0 | 0 | 0 | 29% | 13.397 | 0.004 | 268
WA | SUNNYSIDE | 187 | 1% | 88336 | 9 | 25181 | 0 | 10 | 177 | 0 | 0 | 0 | 0 | 5% | 3.51 | 0.007 | 472
WA | WALLA WALLA | 2018 | 7% | 461311 | 31 | 28719 | 0 | 91 | 1927 | 0 | 0 | 0 | 0 | 5% | 16.06 | 0.07 | 229
WA | YAKIMA | 4665 | 6% | 1289976 | 66 | 83410 | 75 | 1879 | 2786 | 0 | 0 | 0 | 0 | 40% | 15.47 | 0.056 | 277
*Only current event specific metric impact shown. Does not include values from other events which may have occurred in other regions durring the same time period.
|  | Customer Interrupted by Date |  |  |  |  | Customers Restored by Intervals | [7 empty] | Major Event Only - metric by state customer counts
|  |  | 2015-11-17 11:13 | through | 2015-11-18 17:30 |  |  |  | Customers Restored by Intervals
| Date* | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | < 5 min | 5 min - 3 hrs | 3 hrs - 24 hrs | 24 hrs - 48 hrs | 48 hrs - 72 hrs | 72 hrs - 96 hrs | 96 + hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
| 2015-11-17 | 6365 | 5% | 1731625 | 81 | 137313 | 0 | 1935 | 4430 | 0 | 0 | 0 | 0 | 30% | 12.61 | 0.046 | 272
| 2015-11-18 | 505 | 0% | 107998 | 25 | 137313 | 75 | 45 | 460 | 0 | 0 | 0 | 0 | 9% | 0.79 | 0.004 | 214
Data as of
2015-12-15

## SSC by State
| Washington | Event |  | 2015-11-17 11:13 | through | 2015-11-18 17:30 |  | Month |  | 2015-11-01 | through | 2015-11-30 |  | YTD | FY2016 | 2015-01-01 | through | 2015-11-30
|  | Major Events Included |  |  | Major Event Excluded |  |  | Major Events Included |  |  | Major Events Excluded* |  |  | Major Events Included |  |  | Major Events Excluded*
| PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PC | PacifiCorp | 3.7323 | 0.029 | 128 | 1.2197 | 0.012 | 100 | 13.6142 | 0.1 | 136 | 10.0049 | 0.08 | 124 | 180.916 | 1.234 | 147 | 130.634 | 1.038 | 126
PP | Pacific Power | 7.1982 | 0.049 | 146 | 1.2195 | 0.009 | 134 | 16.7733 | 0.11 | 152 | 8.1847 | 0.064 | 128 | 178.129 | 1.166 | 153 | 106.638 | 0.873 | 122
WA | Washington | 13.5185 | 0.051 | 264 | 0.00375 | 5.0978e-05 | 74 | 35.8425 | 0.137 | 261 | 7.2534 | 0.053 | 136 | 128.518 | 1.032 | 125 | 80.0479 | 0.647 | 124
WA | SUNNYSIDE | 0.6447 | 0.001 | 463 | 0 | 0 | 0 | 5.7213 | 0.034 | 170 | 5.0341 | 0.032 | 156 | 20.3696 | 0.167 | 122 | 19.6674 | 0.166 | 118
WA | WALLA WALLA | 3.3596 | 0.015 | 229 | 0 | 0 | 0 | 3.8703 | 0.018 | 217 | 0.46684 | 0.003 | 152 | 18.1675 | 0.111 | 163 | 14.7034 | 0.096 | 153
WA | YAKIMA | 9.5143 | 0.035 | 272 | 0 | 0 | 0 | 26.2509 | 0.086 | 307 | 1.7525 | 0.018 | 97 | 89.9811 | 0.753 | 120 | 45.6771 | 0.385 | 119
*may include other regional major event exclusions durring the same period.
Data as/of
2015-12-15