# DRAFT

(Legislative Version Showing 
PSE's Comments on Discussion Draft)

# Draft Integrated Resource Planning Requirements for Electric Utilities

WAC 480-100-238  Integrated Resource Planning.  (1) Purpose.  Each electric utility regulated by the commission has the responsibility to meet its load with a lowest reasonable cost mix of resources.  In furtherance of that responsibility, each electric utility must develop an "integrated resource plan" to inform future efficiency and supply resource acquisitions.

(2) Definitions.

(a) "Integrated resource plan" or "plan" means a plan describing strategies for acquiring energy, capacity, and energy efficiency resources that will meet current and future needs at the lowest reasonable cost to the utility and its ratepayers.

(b) “Lowest reasonable cost” means the lowest cost resulting from an analysis of all reasonable alternative sources and mixes of supply, considerations of market-volatility risks of generating and demand-side resources, and of system reliability and operational risks.

(3) Content.  At a minimum, integrated resource plans must include:

(a) A range of forecasts of future demand using methods that examine the effect of economic forces on the consumption of electricity and that address changes in the number, type, and efficiency of electrical end-uses.

(b) An assessment of commercially feasible improvements in the efficient use of electricity, including load management, as well as an assessment of currently employed efficiency programs .

(c) An assessment of commercially feasible generating technologies.

(d) A comparative evaluation of generating resources and improvements in the efficient use of electricity based on a consistent method for calculating cost-effectiveness.

(e) The integration of the demand forecasts and resource evaluations into a long-range (i.e., of a duration appropriate to the life of the resources considered for acquisition) integrated resource plan describing the mix of resources that will meet current and future needs at the lowest reasonable cost to the utility and its ratepayers.

(f) A short-term (e.g., two-year) plan outlining the specific actions to be taken by the utility in implementing the long-range plan.

(4) Timing.  Unless otherwise ordered by the commission, each electric utility must submit an IRP within two years after the date on which the previous plan was filed with the Commission.  Not later than 16 months prior to the due date of a plan, the utility must provide a work plan for Commission review.

(5) Work plan.  The work plan must outline the content of the integrated resource plan to be developed by the utility  and the method for assessing potential resources.  Consultations with commission staff and public participation are essential to the development of an effective plan.  The work plan must also outline the timing and extent of public participation and must be conducted in consultation with staff.

(6) All integrated resource plans must include a progress report that relates the new plan to the previously filed plan.

(7) The Commission will consider the information reported in the integrated resource plan, along with other available information, at a public hearing on the plan and when it evaluates the performance of the utility in rate and other proceedings.

[Statutory Authority:  RCW 80.01.040 and 80.04.160.  01-11-004 (Docket No. UE-990473, General Order No. R-482), § 480-100-238, filed 5/3/01, effective 6/3/01.]

PSE believes the fundamental purpose of the IRP should be to inform future resource acquisition/development decisions.  Stating this in section (1) would help guide interpretation of the rest of the rule.

This edit adopts the same definition as the gas plan, which more directly supports the purpose of the rule noted above in footnote 1.  Note, PSE believes it is more important for the IRP to develop generic strategies than it is for the IRP to focus on finding one hypothetical, but unattainable, theoretical portfolio of resources.

The phrase “exhaustive and detailed” is too broad to provide utilities with guidance.  Also, extensively analyzing countless resources the utility would not reasonably expect to acquire over the planning horizon would add costs to the process without reaping commensurate benefits for customers.  Changing the explanation to “all reasonable” will better support the purpose of the rule, as described in footnote 1, above.

This edit continues implementing the concept in footnote 4; i.e., the utility should not spend a significant amount of time analyzing resources that are not reasonably anticipated to be acquirable.

These edits will help keep the IRP focused on point to inform future resource decisions.  While some policy discussion may be appropriate, the edits will help the IRP from straying into a document on regulatory policy.

This edit continues implementing the concept in footnote 4; i.e., the utility should not spend a significant amount of time analyzing resources that are not reasonably anticipated to be acquirable.