## Table 1.1 21IRPU
Table 1.1 – Transmission Projects Included in the 2021 IRP Preferred Portfolio1, 2
Year | Resource(s) | From | To | Description |  | Total | Year | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
2025 | 1,641 MW RFP Wind (2025) | Aeolus WY | Clover | Enables 1,930 MW of interconnection with 1700 MW of TTC: Energy Gateway South | INC Wyoming East > Clover 2025 | 1200 | 2025 | 0 | 0 | 0 | 0 | 1200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026 | 415 MW Wind (2026) 200 MW Standalone Battery (2026) | Within Willamette Valley OR Transmission Area |  | Enables 615 MW of interconnection: Albany OR area reinforcement | CON Portland North Coast > TxCON 2026 | 130 | 2026 | 0 | 0 | 0 | 0 | 0 | 130 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026 | 130 MW Wind (2026) | Portland North Coast | Willamette Valley | Enables 450 MW of interconnection with 450 MW TTC; Portland Coast area reinforcement and Willamette Valley | CON Willamette Valley > TxCON 2026 | 615 | 2026 | 0 | 0 | 0 | 0 | 0 | 615 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 450 MW Wind (2032) |  |  |  | INC B2H Borah > Hemingway 2026 | 600 | 2026 | 0 | 0 | 0 | 0 | 0 | 600 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | INC B2H Hemingway > Midpoint 2026 | 455 | 2026 | 0 | 0 | 0 | 0 | 0 | 455 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | INC B2H Walla Walla - WA > Borah 2026 | 300 | 2026 | 0 | 0 | 0 | 0 | 0 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2026 | 600 MW Solar+Storage (2026) | Borah-Populous | Hemingway | Enables 600 MW of interconnection with 600 MW of TTC: B2H Boardman-Hemingway | CON Central OR > TxCON 2027 | 100 | 2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2028 | 83 MW Solar+Storage (2028) 377 MW Solar+Storage (2030) | Within Southern OR Transmission Area |  | Enables 460 MW of interconnection: Medford area reinforcement | CON Southern OR > TxCON 2027 | 460 | 2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2029 | 160 MW Solar+Wind+Storage (2030) 120 MW Solar+Storage (2030) | Yakima WA Transmission Area |  | Enables 280 MW of interconnection: Yakima local area reinforcement | CON Yakima > TxCON 2027a | 180 | 2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2030 | 100 MW Wind (2030) | Walla Walla | Yakima | Enables 100 MW of interconnection | CON Yakima > TxCON 2027b | 100 | 2027 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2030 | 100 MW Solar+Storage (2030) | Central OR Transmission Area |  | Enables 100 MW of interconnection | INC D3 Bridger > BorahPop 2028 | 0 | 2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2031 | 626 MW Solar+Storage (2031) 412 MW Non-Emitting Peaker (2033) | Northern UT Transmission Area |  | Enables 1040 MW of interconnection: Northern UT 345 kV reinforcement | INC SegE BorahPop > Hemingway 2028 | 0 | 2028 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2032 | 1100 MW Solar+Storage (2032) | Southern UT | Northern UT | Enables 1500 MW of interconnection with 800 MW TTC: Spanish Fork - Mercer 345 kV; New Emery – Clover 345 kV | INC D3 Wyoming East > Bridger 2029 | 0 | 2029 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2037 | 155 MW Wind (2037) 500 MW Pumped Storage (2040) | Central OR | Willamette Valley | Enables 980 MW of interconnection with 1500 MW of TTC | INC Walla Walla - WA > Yakima 2030 | 200 | 2030 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | CON Utah North > TxCON 2031 | 1040 | 2031 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1040 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2028* | 500 MW Adv Nuclear (2028) | Southwest Wyoming |  | Reclaimed transmission upon retirement of Naughton 1 & 2 | INC Portland North Coast > Willamette Valley 2032 | 450 | 2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 450 | 0 | 0
|  | Transmission Area |  |  | INC Utah South > Utah North 2032 | 800 | 2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2029* | 500 MW Battery (2029) 330 MW Wind (2028 & 2029) | Eastern Wyoming |  | Reclaimed transmission upon retirement of Dave Johnston Plant | INC Yakima > Central OR 2032 | 0 | 2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Transmission Area |  |  | INC Central OR > Willamette Valley 2037 | 1500 | 2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1500 | 0 | 0 | 0
2037 | 702 MW Solar+Storage (2037) 206 MW Non-Emitting Peaker (2037) | Southern Utah |  | Reclaimed transmission upon retirement of Huntington 1 & 2 | INC Portland North Coast > Southern Oregon 2037 | 0 | 2037 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Transmission Area | [5 empty] | 0 | 0 | 0 | 0 | 1200 | 2100 | 0 | 460 | 280 | 300 | 1040 | 800 | 0 | 0 | 0 | 0 | 1500 | 450 | 0 | 0 | 8130
2038 | 412 MW Non-Emitting Peaker (2038) 1000 MW Adv Nuclear (2038) | Bridger WY |  | Reclaimed transmission upon retirement of Jim Bridger Plant
Transmission Area
2040 | 268 MW Wind (2040) | Eastern Wyoming |  | Reclaimed transmission upon retirement of Wyodak
Transmission Area
1 - TTC = total transfer capability. The scope and cost of transmission upgrades are planning estimates. Actual scope and costs will vary depending upon the interconnection queue, the transmission service queue, the specific location of any given generating resource and the type of equipment proposed for any given generating resource.
2 - Energy Gateway South is modeled in the 2021 IRP as a contingent option with bids in the 2020 All Source RFP. Other transmission options prior to 2026 are not modeled as transmission requirements and costs are accounted for in the 2020 All Surce RFP cluster study for all other resource bids.
* Reclaimed transmission is committed with resources with COD later than the date of retirement.

## 21IRPU TRANS
Units Built | 1
Sum of Export Capacity Built (MW) | Column Labels
Row Labels | 2024 | 2025 | 2026 | 2028 | 2029 | 2030 | 2031 | 2032 | 2037 | 2038 | Grand Total
CON Central OR > TxCON 2027 | [5 empty] | 100 |  |  |  |  | 100
CON Portland North Coast > TxCON 2026 |  |  | 130 | [7 empty] | 130
CON Southern OR > TxCON 2027 |  |  |  | 460 | [6 empty] | 460
CON Utah North > TxCON 2031 | [6 empty] | 1040 |  |  |  | 1040
CON Utah South > TxCON Hornshadow | 1 | [9 empty] | 1
CON Willamette Valley > TxCON 2026 |  |  | 615 | [7 empty] | 615
CON Yakima > TxCON 2027a |  |  |  |  | 180 | [5 empty] | 180
CON Yakima > TxCON 2027b |  |  |  |  | 100 | [5 empty] | 100
INC B2H Borah > Hemingway 2026 |  |  | 600 | [7 empty] | 600
INC B2H Hemingway > Midpoint 2026 |  |  | 455 | [7 empty] | 455
INC B2H Walla Walla - WA > Borah 2026 |  |  | 300 | [7 empty] | 300
INC Central OR > Willamette Valley 2037 | [8 empty] | 1500 |  | 1500
INC Portland North Coast > Willamette Valley 2032 | [9 empty] | 450 | 450
INC Utah South > Utah North 2032 | [7 empty] | 800 |  |  | 800
INC Walla Walla - WA > Yakima 2030 | [5 empty] | 200 |  |  |  |  | 200
INC Wyoming East > Clover 2025 |  | 1200 | [8 empty] | 1200
Grand Total | 1 | 1200 | 2100 | 460 | 280 | 300 | 1040 | 800 | 1500 | 450 | 8131