## Table 1
Table 1
NW Natural
Firm Off-System Gas Supply Contracts
Contract Demand
Supply Location/Type | (Dth/day) | Termination Date
British Columbia/year-round:
Amoco Canada | 8330 | 2003-11-01
CanWest | 96000 | 2003-11-01
Alberta/year-round:
Engage 1 | 14000 | 2003-09-30
Poco 1 | 11000 | 2003-09-30
Summit 1 | 5000 | 2000-10-31
Alberta/winter-only:
El Paso Energy 1 | 15000 | 2000-03-31
Engage 2 | 9275 | 2003-09-30
Engage 3 | 10971 | 2000-03-31
Engage 4 | 15000 | 2000-03-31
Poco 2 | 4516 | 2003-09-30
Reliant | 10000 | 2000-03-31
Summit 3 | 2758 | 2000-10-31
TransCanada Gas Services | 6578 | 2000-03-31
Rockies/winter-only:
Amoco Energy Trading | 15000 | 2000-03-31
Barrett Resources | 12000 | 2000-03-31
Coral Energy | 15000 | 2000-03-31
El Paso Energy 2 | 5000 | 2000-03-31
Engage 5 | 15000 | 2000-03-31
Enserco | 10000 | 2000-03-31
Exxon | 10000 | 2000-03-31
Questar Energy Trading | 17000 | 2000-03-31
Williams Energy | 4826 | 2000-03-31
Total Off-System Firm Contract Supply | 312254
Notes:
1. Contract quantities represent deliveries into upstream pipelines (usually NPC). Accordingly,
quantities delivered into NW Natural's system are slightly less due to the reduction for
upstream pipeline fuel consumption.
2. Winter-only contracts, and new prices under long-term deals, all commence on November 1
except for Engage 1, Poco 1 and 2, and Summit 1 and 2, which commence October 1.
3. Differences between contracted supply quantities and firm pipeline capacity amounts held by
NW Natural represent opportunities for short-term (spot) gas purchases.
4. All long-term contracts are subject to annual price negotiation and binding arbitration.
5. The Engage 2 and Engage 3 contracts utilize a total of 3.0 Bcf of Alberta storage capacity.
6. The TransCanada contract utilizes 1.0 Bcf of Alberta storage capacity.
7. The Summit contract terminates on 9/30/2000 and for tracker purposes it is assumed that
equivalent volumes replace it effective 10/1/2000.

## Table 2
Table 2
NW Natural
Firm Transportation Capacity
Contract Demand
Pipeline and Contract | (Dth/day) | Termination Date
NPC:
Sales Conversion | 216044 | 2013-09-30
1993 Expansion | 34000 | 2009-09-30
1995 Expansion | 102000 | 2011-11-30
WWP Capacity Acquisition | 3500 | 2001-10-31
Weyerhaeuser Cap. Acquisition | 5200 | 2006-01-01
Duke Capacity Acquisition | 5000 | 2008-03-31
Total NPC Capacity | 365744
less recallable releases to -
Portland General Electric | -30000 | 2010-10-31
Georgia Pacific | -7000 | 2000-10-31
Net NPC Capacity | 328744
PG&E GT-NW:
Sales Conversion | 3616 | 2023-10-31
1993 Expansion | 46549 | 2023-10-31
1995 Rationalization | 56000 | 2005-10-31
Total GT-NW Capacity | 106165
ANG:
1993 Expansion | 47000 | 2008-10-31
1995 Rationalization | 56500 | 2005-10-31
Total ANG Capacity | 103500
NOVA:
1995 Rationalization | 57000 | 2001-10-31
Total NOVA Capacity | 57000
Notes:
1. All of the above agreements continue year-to-year after termination, at NW Natural's sole
option, except for the following: WWP, Weyerhaeuser, PGE and GP. Each of those parties
control the option to continue their respective agreements with NW Natural.
2. The ANG and NOVA contracts are denominated in volumetric units. Accordingly, the above
energy units are an approximation.
3. The numbers shown for the PG&E GT-NW and ANG 1993 Expansion contracts are for the
winter season (October-March) only. Both contracts decline during the summer season
(April-September) to approx. 30,000 Dth/day.
4. When its long-term Alberta supply contracts with Engage, Poco and Summit each expire, NW
Natural takes assignment of the related 1993 NOVA Expansion capacity. These contracts
total to approx. 47,500 Dth/day, with a termination date of 10/31/2008.

## Table 3
Table 3
NW Natural
Firm Storage Resources
| Max. Daily Rate | Max. Seasonal Level
Facility | (Dth/day) | (Dth) | Termination Date
Jackson Prairie:
SGS-2F | 46030 | 1120288 | 2004-10-31
TF-2 (redelivery service) | 32624 | 839046 | 2004-10-31
TF-2 (redelivery service) | 13406 | 281242 | 2008-03-31
Plymouth LNG:
LS-1 | 60100 | 478900 | 2004-10-31
TF-2 (redelivery service) | 60100 | 478900 | 2004-10-31
Total Firm Off-system Storage:
Withdrawal/Vaporization | 106130 | 1599188
TF-2 Redelivery | 106130 | 1599188
Firm On-System Storage Plants:
Mist (Bruer/Flora) | 100000 | 6500000 | n/a
Mist (Calvin Creek) | 50000 | 2000000 | n/a
Portland LNG Plant | 120000 | 600000 | n/a
Newport LNG Plant | 60000 | 1000000 | n/a
Total On-System Storage | 330000 | 10100000
Total Firm Storage Resource | 436130 | 11699188
Notes:
1. All of the above agreements continue year-to-year after termination at NW Natural's sole option.
2. On-system storage peak deliverability based on design criteria.

## Tables 4&5
Table 4
NW Natural
Other Resources: Recall Agreements and Mist Production
| Max. Daily Rate | Max. Annual Recall
Type | (Dth/day) | (days) | Termination Date
Recall Agreements:
PGE | 30000 | 30 | 2010-11-01
GP - Toledo | 7000 | 35 | 2000-10-31
Weyerhaeuser | 3000 | 40 | 2001-11-01
Weyerhaeuser | 5000 | 40 | 2001-01-01
James River - Halsey | 1000 | 15 | upon 1 year notice
IGI Resources | 20000 | 30 | 2001-11-30
Total Recall Resource | 66000
Mist Production:
Enerfin Resources | ≈ 3,000 | n/a | 2005-04-01
Notes:
1. There are a variety of terms and conditions surrounding the recall rights under each of the above agreements,
but all of them include supply delivered to NW Natural's system.
2. Mist production is currently flowing at roughly the figure shown above. Flows vary as new wells are added and
older wells deplete. NW Natural has a maximum obligation of 15,000 Dth/day under the Enerfin contract.
Table 5
NW Natural
Firm Resource Summary
Max. Daily Rate
Resource Type |  |  | (Dth/day)
Net Deliverability over Upstream Pipeline Capacity |  |  | 328744
Off-System Storage (Jackson Prairie and Plymouth) |  |  | 106130
On-System Storage (Mist, Portland LNG and Newport LNG) |  |  | 330000
Recallable Capacity and Supply Agreements |  |  | 66000
Nominal Mist Production Gas |  |  | 3000
Total Firm Resource |  |  | 833874