## DER Concepts
|  | Solar | 11
|  | Battery | 12
|  | Solar+Battery | 1
|  | Total | 24 | [9 empty] | i
[10 empty] | Suite |  |  | Market Potential
| DER # | Program Concept | Resource Type | Program Description | FOTM or BTM | Ownership | Customer-Facing? | Mechanism | Under Development, In Operation, or New? | 2 | 3 | 4 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
| 1 | 3rd Party Customer-Sited Distributed Battery PPA | Battery | 3rd Party installs/manages network of customer-sited batteries that provide backup power and RE integration for customers. 3rd Party will aggregate network of batteries to respond to dispatch signal from PSE to help integreate renewables and manage system or local peak. | BTM | 3rd Party | Yes | 3rd Party Offering | New | X |  |  | 6.8 | 7 | 7.2 | 7.4 | 7.4 | 7.6 | 7.6 | 7.8 | 7.8
| 2 | 3rd Party Utility-scale Distributed Battery PPA | Battery | 3rd Party installs/manges single/network of batteries to respond to dispatch signal from PSE to help increase power quality and/or resiliency, as well as manage system/local peak. Battery through All Source. | FOTM | 3rd Party | No | Portfolio Resource | New | X |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 5 | 5
| 3 | C&I Battery Install Incentive | Battery | PSE offers upfront incentive to commercial customer to install their own BESS, with terms for operating modes that lead to optimal load behavior. | BTM | Customer(s) | Yes | PSE Incentive | New |  | X | X | 0.4 | 0.6 | 0.8 | 1.2 | 1.6 | 2 | 2.4 | 2.8 | 3.4
| 4 | C&I Space Leasing for Batteries | Battery | PSE leases space from/at C&I customers to deploy BESS to improve power quality and/or resiliency and manage system/local peak. Backup power for host customer as additional integration. | FOTM | PSE | Yes | PSE Program | New | X |  | X | 3.6 | 7.2 | 7.2 | 7.2 | 14.4 | 14.4 | 28.8 | 36 | 36
| 5 | Multi-Family Unit Battery Program | Battery | PSE partners with MFU owner/developer to deploy battery program. MFU rentees benefit from back-up power and PSE uses batteries to help manage system/local peaks. | BTM | PSE or PPA | No | PSE Program / 3rd Party Offering | New |  | X | X | 0.5 | 0.75 | 0.75 | 0.75 | 1.75 | 1.75 | 3.25 | 4.25 | 4.25
| 6 | PSE Mobile Batteries | Battery | PSE deploys mobile batteries to support planned and (un-)planned outages, as well as to help manage system/local peak. Batteries can serve at distribution level. | FOTM | PSE | No | PSE Program | Under Development | X |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 7 | PSE Substation Batteries | Battery | PSE installs batteries at its substations that can help to integrate renewables, increase power quality and/or resiliency, and manage system or local peak. | FOTM | PSE | No | Portfolio Resource | Under Development (in progress on Bainbridge) | X |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8 | PSE Utility-Scale Distributed Battery Stations | Battery | PSE installs distributed batteries locally, communally, and/or in urban settings (i.e. outside of substations). Batteries help to improve power quality and/or resiliency, integrate renewables, or manage system/local peak. | FOTM | PSE | No | Portfolio Resource | Under Development | X |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9 | Residential Battery Install Incentive | Battery | PSE offers upfront incentive to residential customers to install their own BESS, with terms for operating modes that lead to optimal load behavior. | BTM | Customer(s) | Yes | PSE Incentive | New |  | X |  | 0.265 | 0.315 | 0.37 | 0.43 | 0.495 | 0.56 | 0.63 | 0.695 | 0.765
| 10 | Residential PSE Battery Leasing | Battery | PSE installs batteries in customer homes. Customers pay a monthly fee for backup power services; PSE uses battery to manage system/local peaks. | BTM | PSE | Yes | PSE Program | New |  | X | X | 1.12 | 1.145 | 1.165 | 1.185 | 1.2 | 1.215 | 1.23 | 1.245 | 1.26
| 11 | Residential PSE Battery Leasing - Low Income | Battery | PSE provides targeted deployment of batteries for low-income customers. Customers benefit from back-up power and PSE can use batteries to manage system/local peaks. | BTM | PSE | Yes | PSE Program | New |  |  | X | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11
| 12 | Net Metering (Existing) | Solar | Voluntary customer program to install roof-top solar and state-regulated mandate for compensation on generated energy imported to grid. | BTM | Customer(s) | Yes | PSE Program | In Operation |  |  |  | 13.87 | 15 | 17.5 | 10.7 | 0 | 0 | 0 | 0 | 0
| 13 | Net Metering (Successor) | Solar | Next iteration of voluntary customer program to install roof-top solar and state-regulated mandate for compensation, at a reduced rate from prior, on generated energy imported to grid. | BTM | Customer(s) | Yes | PSE Program | New |  |  |  | 0 | 0 | 0 | 6.8 | 18.2675 | 19.0814 | 19.8954 | 20.7094 | 21.5233
| 14 | PSE Community Solar | Solar | PSE offers customers the ability to subscribe to the output of solar panels deployed throughout the service territory. Customers pay a monthly fee and receive a monthly credit for generation. | FOTM | PSE or PPA | Yes | PSE Program | Under Development | X | X | X | 19 | 19 | 19 | 19 | 19 | 22.8 | 22.8 | 22.8 | 22.8
| 15 | PSE Community Solar - Low Income | Solar | Provides community solar access to low income customers by discounting their monthly subscription fee, resulting in cost savings. | FOTM | PSE or PPA | Yes | PSE Program | Under Development | X | X | X | 3.8 | 3.8 | 3.8 | 3.8 | 3.8 | 3.8 | 3.8 | 3.8 | 3.8
| 16 | 3rd Party Distributed Solar PPA (or Solar Lease) | Solar | 3rd party installs/provides roof-top solar panels to customers throughout service territory. PSE off-takes RE via PPA or net metering while the 3rd party is responsible for managing program and financing equipment. | FOTM | 3rd Party | Yes | 3rd Party Offering | New | X |  |  | 2.8 | 2.8 | 2.8 | 2.8 | 4.8 | 6.8 | 8.8 | 11.2 | 13.2
| 17 | C&I Roof-top Solar Incentive | Solar | PSE offers upfront incentive to commercial customers, discounting their upfront cost to install and own distributed solar generation throughout service territory. | BTM | Customer(s) | Yes | PSE Incentive | New |  | X |  | 5.219 | 5.219 | 5.219 | 5.219 | 7.061 | 8.596 | 10.131 | 11.666 | 13.201
| 18 | C&I Roof-top Solar Leasing | Solar | PSE offers to lease commercial customers' roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply grid. | FOTM | PSE or PPA | Yes | PSE Program | New | X |  | X | 8.4 | 12.8 | 17.2 | 21.6 | 21.6 | 21.6 | 21.6 | 21.6 | 21.6
| 19 | Multi-Family Solar Partnership | Solar | PSE facilitates installation of solar PV at MFU buildings by connecting with technology providers and/or billing support to share production across units. | BTM | Landlord or 3rd Party | Yes | PSE Program or PSE Rate | New |  | X | X | 0.083 | 0.083 | 0.083 | 0.083 | 0.083 | 0.166 | 0.249 | 0.249 | 0.332
| 20 | Multi-Family Roof-top Solar Incentive | Solar | PSE offers incentive to MFU building owners, discounting their upfront cost to install and own solar in PSE's service territory. | BTM | Landlord or 3rd Party | Yes | PSE Program or PSE Rate | New |  | X |  | 0.415 | 0.415 | 0.415 | 0.415 | 0.498 | 0.498 | 0.581 | 0.664 | 0.664
| 21 | PSE Customer-Sited Solar+Storage Offering | Solar+Battery | PSE enrolls customers through a monthly incentive program to host solar+storage systems with that can off-set customers' load from the grid in response to operating settings or dispatch signals from PSE | BTM | Customer(s) | Yes | PSE Program | New |  | X |  | 2.868 | 3.456 | 4.116 | 4.842 | 5.64 | 6.504 | 7.434 | 8.418 | 9.456
[11 empty] | X |  | 2.39 | 2.88 | 3.43 | 4.035 | 4.7 | 5.42 | 6.195 | 7.015 | 7.88
| 22 | Residential Roof-top Solar Leasing | Solar | PSE offers to lease residential customers' roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply grid. | FOTM | PSE or PPA | Yes | PSE Program | New |  |  | X | 0.648 | 0.978 | 1.38 | 1.788 | 2.466 | 3.276 | 4.182 | 5.286 | 6.678
| 23 | Residential Roof-top Solar Leasing - Low Income | Solar | PSE target's lease to low-income and/or impacted residential customers for access to roof-top space to install solar PV. Customer receives a monthly lease payment; PSE generates RE to supply grid. | FOTM | PSE or PPA | Yes | PSE Program | New |  |  | X | 0.09 | 0.138 | 0.198 | 0.252 | 0.348 | 0.462 | 0.594 | 0.75 | 0.948
| 24 | C&I Battery BYO | Battery | Tariff targeted to existing/new commercial battery owners that encourages optimal load behavior, charge/discharge, and/or PSE access that helps PSE to manage system/local peak. | BTM | Customer(s) | Yes | PSE Incentive | New |  | X |  | 0.2 | 0.4 | 0.4 | 0.6 | 0.8 | 1 | 1.2 | 1.4 | 1.8
i | All achievable market potential provided by Black and Veatch, refer to link for details:
https://team/sites/CleanEnergyStrategy/Shared%20Documents/DERs/Programs%20Actions/CEIP%20Final/BV_AppK_DER%20Program%20Concepts%20List_FINAL.xlsx

## Approach
Step # | Step Process for Selection | Tab Performed
1 | Rank all DER program concepts by capacity cost ($/W, as calculated by AURORA), from lowest to highest cost, and use as context for filtering/thresholds basis and selections in subsequent steps of approach | S6-Summary
2 | Filter by concepts' customer benefit indicator (CBI) score, threshold of greater than or equal to average, rounded down, unweighted CBI score | S6-Filter-Solar and S6-Filter-Battery for distributed solar and distributed battery concepts, respectively
3 | Rank concepts by societal cost test (SCT), from highest to lowest SCT
4 | Select concepts with prioritization for high prioritized CBI score, high SCT, and low cost
5 | Ensure a mix of utility- and customer-sited/owned DER concepts included in selection, subjective basis to ensure mix achieves Steps #1-4 and CETA's additional obligations for accessibility and equity | S6-Selection

## S6-Summary
Step | Detail
Note: | Reference tab, "Approach," developed with input of internal peer adivsory group per discussion on 6/28.
7/29: | Based on input and direction from EAG, adjustment to unweighted CBI applied to approach, as well as average, rounded down, score as threshold
1 | Rank all concepts, lowest to highest, by capcity cost ($/W per AURORA)
2 | Filter by resource type, "Solar" or "Battery" [Performed on tabs, "S6-Filter-Solar" and "S6-Filter Battery"]
3 | Filter by CBI score. The DER team established threshold of greater than, or equal, to the mean CBI score, rounded down, for all DER concepts [Performed on tabs, "S6-Filter-Solar" and "S6-Filter Battery"]
4 | Proceed to tabs, "S6-Filter-Solar" and "S6-Filter-Battery," for further steps to select solar and battery concepts for preferred portfolio
i - v | Unhide rows 11-19 below for comments:
i | Original market potential provided by Black & Veatch, refer to link below for Black & Veatch's cost and market potential report. Note, 2022 market potential applied across years 2023-2025 for all DER program concepts that are not recognized as "Must Take" for preferred portfolio due to enablement work and investments necessary by PSE prior to potential DER program concept inception and enrollment of customers.
https://team/sites/CleanEnergyStrategy/Shared%20Documents/DERs/Programs%20Actions/CEIP%20Final/Appendix%20K_BV%20DER%20Program%20Concepts%20List.xlsx
ii | Based on modeling and summary fo suites by the DER team and as discussed in CEIP, Chapter 4
iii | Based on PSE's benefit cost analysis ("BCA") modeling by the DER team
iv | Refer to final CBI scoring summary for details of scoring for each program concept:
https://team/sites/CleanEnergyStrategy/Shared%20Documents/DERs/Programs%20Actions/CEIP%20Final/Appendix%20D-3_DER%20CBI%20Scoring.xlsx
v | Basis for exclusion is prior identification as "Must Take" DER program concepts for the preferred portfolio
[7 empty] | i | [9 empty] | ii | iii | iv | v
DER # | Program Concept | Resource Type | FOTM or BTM | Ownership | Customer-Facing? | Mechanism | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2022-2025 Max Mkt Potential | AURORA $/Watt Cost | SCT | Unweighted All CBI Score: | Exclude | Basis/Notes
14 | PSE Community Solar | Solar | FOTM | PSE or PPA | Yes | PSE Program | 5.6 | 4.8 | 5.6 | 0 | 19 | 22.8 | 22.8 | 22.8 | 22.8 | 16 | -1.8382 | 0.27205 | 14 | X | Must take
24 | C&I Battery BYO | Battery | BTM | Customer(s) | Yes | PSE Incentive | 0 | 0.46667 | 0.46667 | 0.66667 | 0.8 | 1 | 1.2 | 1.4 | 1.8 | 1.6 | -0.52516 | 0.25759 | 13
2 | 3rd Party Utility-scale Distributed Battery PPA | Battery | FOTM | 3rd Party | No | Portfolio Resource | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 5 | 5 | 0 | 0 | 0 | 14
12 | Net Metering (Existing) | Solar | BTM | Customer(s) | Yes | PSE Program | 13.87 | 15 | 17.5 | 10.7 | 0 | 0 | 0 | 0 | 0 | 57.07 | 0 | 0.27592 | 0 | X | IRP defined; per CPA forecast
13 | Net Metering (Successor) | Solar | BTM | Customer(s) | Yes | PSE Program | 0 | 0 | 0 | 6.8 | 18.2675 | 19.0814 | 19.8954 | 20.7094 | 21.5233 | 6.8 | 0 | 0.27592 | 0 | X | IRP defined; per CPA forecast
17 | C&I Roof-top Solar Incentive | Solar | BTM | Customer(s) | Yes | PSE Incentive | 0 | 6.9587 | 6.9587 | 6.9587 | 7.061 | 8.596 | 10.131 | 11.666 | 13.201 | 20.876 | 0.4534 | 0.49574 | 16
25 | Multi-Family Community Solar | Solar | FOTM | PSE or PPA | Yes | PSE Program | 0 | 0 | 0 | 5.2 | 4.7 | 5.42 | 6.195 | 7.015 | 7.88 | 5.2 | 3.08 | 0.49128 | 16 |  | Concept added for purposes of preferred portfolio and increased emphasis on renewable energy concept availability for named communities. This concept shares CBI score with Community Solar - Low Income, but has unique AURORA $/w cost and SCT. As CBI score is identical to Community Solar program concept, not included as additional CBI score for determining average CBI score of all DER program concepts.
16 | 3rd Party Distributed Solar PPA (or Solar Lease) | Solar | FOTM | 3rd Party | Yes | 3rd Party Offering | 0 | 3.7333 | 3.7333 | 3.7333 | 4.8 | 6.8 | 8.8 | 11.2 | 13.2 | 11.2 | 4.6355 | 0.65399 | 15
7 | PSE Substation Batteries | Battery | FOTM | PSE | No | Portfolio Resource | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7125 | 0.46 | 12
3 | C&I Battery Install Incentive | Battery | BTM | Customer(s) | Yes | PSE Incentive | 0 | 0.73333 | 0.93333 | 1.3333 | 1.6 | 2 | 2.4 | 2.8 | 3.4 | 3 | 5.2237 | 0.17005 | 13
9 | Residential Battery Install Incentive | Battery | BTM | Customer(s) | Yes | PSE Incentive | 0 | 0.40333 | 0.45833 | 0.51833 | 0.495 | 0.56 | 0.63 | 0.695 | 0.765 | 1.38 | 6.3577 | 0.18697 | 15
6 | PSE Mobile Batteries | Battery | FOTM | PSE | No | PSE Program | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.3875 | 0.4123 | 12
21a | PSE Customer-Sited Solar+Storage Offering | Solar | BTM | Customer(s) | Yes | PSE Program | 0 | 4.412 | 5.072 | 5.798 | 5.64 | 6.504 | 7.434 | 8.418 | 9.456 | 15.282 | 6.4573 | 0.17517 | 19 |  | Concept split for each resource, but one CBI score used for purpose of filter
21b | PSE Customer-Sited Solar+Storage Offering | Battery | BTM | Customer(s) | Yes | PSE Program | 0 | 3.6767 | 4.2267 | 4.8317 | 4.7 | 5.42 | 6.195 | 7.015 | 7.88 | 12.735 | 6.4573 | 0.17517 | 19 |  | Concept split for each resource, but one CBI score used for purpose of filter
15 | PSE Community Solar - Low Income | Solar | FOTM | PSE or PPA | Yes | PSE Program | 1.4 | 1.2 | 1.4 | 0 | 3.8 | 3.8 | 3.8 | 3.8 | 3.8 | 4 | 7.0994 | 0.5071 | 16 | X | Must take
8 | PSE Utility-Scale Distributed Battery Stations | Battery | FOTM | PSE | No | Portfolio Resource | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.8682 | 0.3142 | 14
18 | C&I Roof-top Solar Leasing | Solar | FOTM | PSE or PPA | Yes | PSE Program | 0 | 15.6 | 20 | 24.4 | 21.6 | 21.6 | 21.6 | 21.6 | 21.6 | 60 | 8.964 | 0.37943 | 16
20 | Multi-Family Roof-top Solar Incentive | Solar | BTM | Landlord or 3rd Party | Yes | PSE Program or PSE Rate | 0 | 0.55333 | 0.55333 | 0.55333 | 0.498 | 0.498 | 0.581 | 0.664 | 0.664 | 1.66 | 9.2076 | 0.11734 | 16
1 | 3rd Party Customer-Sited Distributed Battery PPA | Battery | BTM | 3rd Party | Yes | 3rd Party Offering | 0 | 9.2667 | 9.4667 | 9.6667 | 7.4 | 7.6 | 7.6 | 7.8 | 7.8 | 28.4 | 13.1018 | 0.2816 | 16
10 | Residential PSE Battery Leasing | Battery | BTM | PSE | Yes | PSE Program | 0 | 1.5183 | 1.5383 | 1.5583 | 1.2 | 1.215 | 1.23 | 1.245 | 1.26 | 4.615 | 13.9208 | 0.177 | 19
5 | Multi-Family Unit Battery Program | Battery | BTM | PSE or PPA | No | PSE Program / 3rd Party Offering | 0 | 0.91667 | 0.91667 | 0.91667 | 1.75 | 1.75 | 3.25 | 4.25 | 4.25 | 2.75 | 14.1887 | 0.1842 | 17
11 | Residential PSE Battery Leasing - Low Income | Battery | BTM | PSE | Yes | PSE Program | 0 | 0.14667 | 0.14667 | 0.14667 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.44 | 16.1327 | 0.1946 | 20
22 | Residential Roof-top Solar Leasing | Solar | FOTM | PSE or PPA | Yes | PSE Program | 0 | 1.194 | 1.596 | 2.004 | 2.466 | 3.276 | 4.182 | 5.286 | 6.678 | 4.794 | 18.416 | 0.21122 | 16
19 | Multi-Family Solar Partnership | Solar | BTM | Landlord or 3rd Party | Yes | PSE Program or PSE Rate | 0 | 0.11067 | 0.11067 | 0.11067 | 0.083 | 0.166 | 0.249 | 0.249 | 0.332 | 0.332 | 18.5311 | 0.16559 | 16
23 | Residential Roof-top Solar Leasing - Low Income | Solar | FOTM | PSE or PPA | Yes | PSE Program | 0 | 0.168 | 0.228 | 0.282 | 0.348 | 0.462 | 0.594 | 0.75 | 0.948 | 0.678 | 22.4727 | 0.17596 | 17
4 | C&I Space Leasing for Batteries | Battery | FOTM | PSE | Yes | PSE Program | 0 | 8.4 | 8.4 | 8.4 | 14.4 | 14.4 | 28.8 | 36 | 36 | 25.2 | 26.335 | 0.2011 | 17
[7 empty] | i 2025: Total MW Capacity of Solar Concepts | 203.892
[7 empty] | i 2025: Total MW Capacity of Battery Concepts | 80.12

## S6-Filter-Solar
Step | Detail
1 | Refer to tabs, "Approach" and "S6-Summary," for overall selection approach/steps and prior steps taken to source the candidate solar concepts below for selection
2 | Adjusted market potential to remove any MWs in 2022, except for "must take" DER concepts. Basis for removal by PSE is need for investment in enabling platforms, processes, and resources prior to deployment of DER concepts.
3 | Exclude "must take" DER concepts from selection process since these concepts will already be included in the preferred portfolio
4 | Filter for "Solar" resource type to make selection of solar DER concepts
5 | Filter for CBI score greater than the average, rounded down, CBI score for all DER program concepts. Refer to tab, "CBI" for details of process.
6 | Rank all concepts, highest to lowest, by SCT
7 | Select solar concepts for preferred portfolio based on criteria established in tab, "Approach"
8 | Refer to columns, "Selected", and, "Basis for Selection," for documentation of DER team's selection
9 | Proceed to tab, "S6-Selection," for comprehensie selection of solar and battery concepts comprising the preferred portfolio
DER # | Program Concept | Resource Type | FOTM or BTM | Ownership | Customer-Facing? | Mechanism | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2022-2025 Max Mkt Potential | AURORA $/Watt Cost | SCT | Unweighted All CBI Score: | Exclude | Basis for Selection | Selected
12 | Net Metering (Existing) | Solar | BTM | Customer(s) | Yes | PSE Program | 13.87 | 15 | 17.5 | 10.7 | 0 | 0 | 0 | 0 | 0 | 57.07 | 0 | 0.27592 | 0 | X | IRP defined; per CPA forecast
13 | Net Metering (Successor) | Solar | BTM | Customer(s) | Yes | PSE Program | 0 | 0 | 0 | 6.8 | 18.2675 | 19.0814 | 19.8954 | 20.7094 | 21.5233 | 6.8 | 0 | 0.27592 | 0 | X | IRP defined; per CPA forecast
14 | PSE Community Solar | Solar | FOTM | PSE or PPA | Yes | PSE Program | 5.6 | 4.8 | 5.6 |  | 19 | 22.8 | 22.8 | 22.8 | 22.8 | 16 | -1.8382 | 0.27205 | 14 | X | Must take
15 | PSE Community Solar - Low Income | Solar | FOTM | PSE or PPA | Yes | PSE Program | 1.4 | 1.2 | 1.4 |  | 3.8 | 3.8 | 3.8 | 3.8 | 3.8 | 4 | 7.0994 | 0.5071 | 16 | X | Must take
17 | C&I Roof-top Solar Incentive | Solar | BTM | Customer(s) | Yes | PSE Incentive | 0 | 6.7997 | 6.7997 | 6.7997 | 7.061 | 8.596 | 10.131 | 11.666 | 13.201 | 20.399 | 0.4534 | 0.49574 | 16 |  | Lowest capacity cost, second highest SCT, and high CBI score. Large market potential to help fulfill renewable energy need. DER team anticipates low barrier to start-up and implementation that can support more customer-owned solar across non-residential customer base. | Yes
16 | 3rd Party Distributed Solar PPA (or Solar Lease) | Solar | FOTM | 3rd Party | Yes | 3rd Party Offering | 0 | 3.7003 | 3.7003 | 3.7003 | 4.8 | 6.8 | 8.8 | 11.2 | 13.2 | 11.101 | 4.6355 | 0.65399 | 15 |  | Third lowest capacity cost, highest SCT, and acceptable CBI score. Good market potential and approached by DER team as another option for C&I customers to access solar, as well as a varying approach to ownership model. | Yes
25 | Multi-Family Community Solar | Solar | FOTM | PSE or PPA | Yes | PSE Program | 0 | 0 | 0 | 5.2 | 4.7 | 5.42 | 6.195 | 7.015 | 7.88 | 5.2 | 3.08 | 0.49128 | 16 |  | Second lowest capacity cost, third highest SCT, and CBI score. PSE intent for increased access to renewable energy by named communities and multifamily unit residents is also addressed. | Yes
18 | C&I Roof-top Solar Leasing | Solar | FOTM | PSE or PPA | Yes | PSE Program | 0 | 15.6 | 20 | 24.4 | 21.6 | 21.6 | 21.6 | 21.6 | 21.6 | 60 | 8.964 | 0.37943 | 16 |  | Other concepts selected first based on better combination of criteria scoring, as well as variation of sited/owned model. Despite large market potential and foruth highest SCT, opted for other concepts to better optimize ownership models, named communities, and sufficient scale and options. | No
21a | PSE Customer-Sited Solar+Storage Offering | Solar | BTM | Customer(s) | Yes | PSE Program | 0 | 4.2 | 4.9 | 5.6 | 5.64 | 6.504 | 7.434 | 8.418 | 9.456 | 14.7 | 6.4573 | 0.17517 | 19 |  | Dually selected as storage concept. Highest CBI score and acceptable capacity cost and SCT. Noted by DER team for good market potential and diversifies customer options with a customer-sited/owned concept that offers both renewable energy and peak capacity contribution. | Yes
19 | Multi-Family Solar Partnership | Solar | BTM | Landlord or 3rd Party | Yes | PSE Program or PSE Rate | 0 | 0.11067 | 0.11067 | 0.11067 | 0.083 | 0.166 | 0.249 | 0.249 | 0.332 | 0.332 | 18.5311 | 0.16559 | 16 |  | Based on 7/6 presentation of preliminary selection of preferred portfolio, the DER team added selection of this concept for final preferred portfolio selection. Although noted for significantly low market potential, the DER team noted an acceptable combination of criteria scoring and acknowledged increasing access to particular customer class, MFU owners and tenants, that have historically had barrier to participation in DER deployment and ownership. Although noted for low market potential, the DER team will intend to explore options for implementation. | Yes
22 | Residential Roof-top Solar Leasing | Solar | FOTM | PSE or PPA | Yes | PSE Program | 0 | 1.3 | 1.616 | 1.944 | 2.466 | 3.276 | 4.182 | 5.286 | 6.678 | 4.86 | 18.416 | 0.21122 | 16 |  | Selected as alternate/complement to customer-sited solar concept, 'S+S Offering,' for increased access/equity/options for customers. Acceptable CBI score and SCT also noted. | Yes
23 | Residential Roof-top Solar Leasing - Low Income | Solar | FOTM | PSE or PPA | Yes | PSE Program | 0 | 0.178 | 0.228 | 0.272 | 0.348 | 0.462 | 0.594 | 0.75 | 0.948 | 0.678 | 22.4727 | 0.17596 | 17 |  | Selected as alternate/complement to customer-sited solar concept, 'S+S Offering,' for increased access/equity/options for customers. High CBI score and acceptable SCT also noted. income-eligible option is intended to increase classes of customers that can participate with PSE-owned model intended to lower barriers and incentivize targeted customers. | Yes
20 | Multi-Family Roof-top Solar Incentive | Solar | BTM | Landlord or 3rd Party | Yes | PSE Program or PSE Rate | 0 | 0.55333 | 0.55333 | 0.55333 | 0.498 | 0.498 | 0.581 | 0.664 | 0.664 | 1.66 | 9.2076 | 0.11734 | 16 |  | Based on 7/6 presentation of preliminary selection of preferred portfolio, the DER team added selection of this concept for final preferred portfolio selection. Although noted for low market potential, the DER team noted an acceptable combination of criteria scoring and acknowledged increasing access to particular customer class, MFU owners and tenants, that have historically had barrier to participation in DER deployment and ownership. | Yes
[7 empty] | 2025: Total MW Capacity Available for Selection: | 118.93

## S6-Filter-Battery
Step | Detail
1 | Refer to tabs, "Approach" and "S6-Summary," for overall selection approach/steps and prior steps taken to source the candidate solar concepts below for selection
2 | Adjusted market potential to remove any MWs in 2022, except for "must take" DER concepts. Basis for removal by PSE is need for investment in enabling platforms, processes, and resources prior to deployment of DER concepts.
3 | Exclude "must take" DER concepts from selection process since these concepts will already be included in the preferred portfolio
4 | Filter for "Battery" resource type to make selection of battery DER concepts
5 | Filter for CBI score greater than the average, rounded down, CBI score for all DER program concepts. Refer to tab, "CBI" for details of process.
6 | Rank all concepts, highest to lowest, by SCT
7 | Select battery concepts for preferred portfolio based on criteria established in tab, "Approach"
8 | Refer to columns, "Selected", and, "Basis for Selection," for documentation of DER team's selection
9 | Proceed to tab, "S6-Selection," for comprehensie selection of solar and battery concepts comprising the preferred portfolio
DER # | Program Concept | Resource Type | FOTM or BTM | Ownership | Customer-Facing? | Mechanism | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2022-2025 Max Mkt Potential | AURORA $/Watt Cost | SCT | Unweighted All CBI Score: | Exclude | Basis/Notes | Selected
24 | C&I Battery BYO | Battery | BTM | Customer(s) | Yes | PSE Incentive | 0 | 0.46667 | 0.46667 | 0.66667 | 0.8 | 1 | 1.2 | 1.4 | 1.8 | 1.6 | -0.52516 | 0.53243 | 13 |  | Low AURORA rank and highest SCT, but minimal market potential; therefore, the DER team opted for other concepts could effectively meet peak capacity contribution. | No
2 | 3rd Party Utility-scale Distributed Battery PPA | Battery | FOTM | 3rd Party | No | Portfolio Resource | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 5 | 5 | 0 | 0 | 0 | 14
1 | 3rd Party Customer-Sited Distributed Battery PPA | Battery | BTM | 3rd Party | Yes | 3rd Party Offering | 0 | 9.2667 | 9.4667 | 9.6667 | 7.4 | 7.6 | 7.6 | 7.8 | 7.8 | 28.4 | 13.1018 | 0.2816 | 16 |  | High cpacity cost outweighshighest SCT and acceptable CBI score. The DER team noted no benchmarks in the industry and cited potential challenge in implementation of concept and ownership structure, and therefore, reliance on third parties to fulfill peak capacity obligations. Therefore, the DER team opted for other concepts that could fulfill peak capacity contribution and provide variety of sited/owned models. | No
9 | Residential Battery Install Incentive | Battery | BTM | Customer(s) | Yes | PSE Incentive | 0 | 0.40333 | 0.45833 | 0.51833 | 0.495 | 0.56 | 0.63 | 0.695 | 0.765 | 1.38 | 6.3577 | 0.18697 | 15 |  | Lowest capacity cost and CBI score offset by low market potential so other concepts sought to better fulfill peak capacity contribution obligation, as well as increase accessibility of customer classes. | No
3 | C&I Battery Install Incentive | Battery | BTM | Customer(s) | Yes | PSE Incentive | 0 | 0.73333 | 0.93333 | 1.3333 | 1.6 | 2 | 2.4 | 2.8 | 3.4 | 3 | 5.2237 | 0.30572 | 13 |  | Similar to residential version of concept, despite moderate AURORA cost rank and CBI score, sought to better fulfill peak capacity contribution obligation, as well as increase accessibility of customer classes accessible to storage concepts. | No
6 | PSE Mobile Batteries | Battery | FOTM | PSE | No | PSE Program | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.3875 | 0.41915 | 12
7 | PSE Substation Batteries | Battery | FOTM | PSE | No | Portfolio Resource | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7125 | 0.46783 | 12
8 | PSE Utility-Scale Distributed Battery Stations | Battery | FOTM | PSE | No | Portfolio Resource | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.8682 | 0.31819 | 14
21b | PSE Customer-Sited Solar+Storage Offering | Battery | BTM | Customer(s) | Yes | PSE Program | 0 | 3.6767 | 4.2267 | 4.8317 | 4.7 | 5.42 | 6.195 | 7.015 | 7.88 | 12.735 | 6.4573 | 0.17517 | 19 |  | Dually selected as a solar concept. High CBI score and second lowest capacity cost with acceptable SCT. Customer-sited/owned model that provides access to renewables, back-up power, as well as peak capacity contribution for PSE. | Yes
4 | C&I Space Leasing for Batteries | Battery | FOTM | PSE | Yes | PSE Program | 0 | 8.4 | 8.4 | 8.4 | 14.4 | 14.4 | 28.8 | 36 | 36 | 25.2 | 26.335 | 0.2011 | 17 |  | Despite high capacity cost, DER team noted acceptable SCT and CBI scores, as well as high market potential to help satisfy peak capacity contribution obligation. Concept provides flexibility for broader storage deployment and incentives for C&I program participation. Through a PSE-owned approach, the DER team noted further flexibility in lowering barriers for access and increasing potential community access in local outage events. | Yes
11 | Residential PSE Battery Leasing - Low Income | Battery | BTM | PSE | Yes | PSE Program | 0 | 0.14667 | 0.14667 | 0.14667 | 0.11 | 0.11 | 0.11 | 0.11 | 0.11 | 0.44 | 16.1327 | 0.1946 | 20 |  | Selected as alternate/complement to customer-sited battery concept, 'S+S Offering,' in order to increase access/equity/options for customers. High CBI score and acceptable SCT also noted. Income-eligible option is intended to increase classes of customers that can participate with PSE-owned model intended to lower barrier of cost for customers by providnig option to lease. | Yes
5 | Multi-Family Unit Battery Program | Battery | BTM | PSE or PPA | No | PSE Program / 3rd Party Offering | 0 | 0.91667 | 0.91667 | 0.91667 | 1.75 | 1.75 | 3.25 | 4.25 | 4.25 | 2.75 | 14.1887 | 0.1842 | 17 |  | Based on 7/6 presentation of preliminary selection of preferred portfolio, similar solar concept was selected in order to broaden access of customer classes to DERs. The DER team noted that the battery concept has few industry benchmarks and therefore have tentatively opted for only the solar version of the concept. | No
10 | Residential PSE Battery Leasing | Battery | BTM | PSE | Yes | PSE Program | 0 | 1.5183 | 1.5383 | 1.5583 | 1.2 | 1.215 | 1.23 | 1.245 | 1.26 | 4.615 | 13.9208 | 0.177 | 19 |  | Selected as alternate/complement to customer-sited battery concept, 'S+S Offering,' in order to increase access/equity/options for customers. High CBI score and acceptable SCT also noted. | Yes
[7 empty] | 2025: Total MW Capacity Available for Selection: | 80.12

## S6-Selection
SOLAR
Selection # | Program Concept | Resource Type | FOTM or BTM | Ownership | Customer-Facing? | Mechanism | 2022 | 2023 | 2024 | 2025 | MW TOTAL | AURORA $/Watt Cost | SCT | Unweighted All CBI Score: | Notes
Must take | PSE Community Solar | Solar | FOTM | PSE or PPA | Yes | PSE Program | 5.6 | 4.8 | 5.6 | 0 | 16 | -1.8382 | 0.27205 | 14
Must take | PSE Community Solar - Low Income | Solar | FOTM | PSE or PPA | Yes | PSE Program | 1.4 | 1.2 | 1.4 | 0 | 4 | 7.0994 | 0.5071 | 16
1 | C&I Roof-top Solar Incentive | Solar | BTM | Customer(s) | Yes | PSE Incentive | 0 | 6.8 | 6.8 | 6.8 | 20.4 | 0.4534 | 0.49574 | 16
2 | 3rd Party Distributed Solar PPA (or Solar Lease) | Solar | FOTM | 3rd Party | Yes | 3rd Party Offering | 0 | 3.7 | 3.7 | 3.7 | 11.1 | 4.6355 | 0.65399 | 15
3 | PSE Customer-Sited Solar+Storage Offering | Solar | BTM | Customer(s) | Yes | PSE Program | 0 | 4.2 | 4.9 | 5.6 | 14.7 | 6.4573 | 0.17517 | 19
4 | Residential Roof-top Solar Leasing - Low Income | Solar | FOTM | PSE or PPA | Yes | PSE Program | 0 | 0.18 | 0.225 | 0.27 | 0.675 | 22.4727 | 0.17596 | 17
| Residential Roof-top Solar Leasing | Solar | FOTM | PSE or PPA | Yes | PSE Program | 0 | 1.296 | 1.62 | 1.944 | 4.86 | 18.416 | 0.21122 | 16
7 | Multi-Family Solar Partnership | Solar | BTM | Landlord or 3rd Party | Yes | PSE Program or PSE Rate | 0 | 0.11067 | 0.11067 | 0.11067 | 0.332 | 18.5311 | 0.16559 | 16 | Added to preliminary selection during 7/6 presentation/discussion. Added to increase accessibility for MFU customer classes that historically have had high barriers to access.
8 | Multi-Family Roof-top Solar Incentive | Solar | BTM | Landlord or 3rd Party | Yes | PSE Program or PSE Rate | 0 | 0.55333 | 0.55333 | 0.55333 | 1.66 | 9.2076 | 0.11734 | 16 | Added to preliminary selection during 7/6 presentation/discussion. Added to increase accessibility for MFU customer classes that historically have had high barriers to access.
9 | Multi-Family Community Solar | Solar | FOTM | PSE or PPA | Yes | PSE Program | 0 | 0 | 0 | 5.2 | 5.2 | 3.08 | 0.49128 | 16 | Based on EAG input, specific addition of targeted concept included uniquley for the preferred portfolio.
|  |  |  | Total Nameplate MW Selected: | [6 empty] | 78.927
BATTERY
Selection # | Program Concept | Resource Type | FOTM or BTM | Ownership | Customer-Facing? | Mechanism | 2022 | 2023 | 2024 | 2025 | MW TOTAL | AURORA $/Watt Cost | SCT | Unweighted All CBI Score: | Notes
3 | PSE Customer-Sited Solar+Storage Offering | Battery | BTM | Customer(s) | Yes | PSE Program |  | 3.5007 | 4.0007 | 5.0007 | 12.502 | 6.4573 | 0.17517 | 19
5 | C&I Space Leasing for Batteries | Battery | FOTM | PSE | Yes | PSE Program |  | 0 | 1.8 | 7.2 | 9 | 26.335 | 0.2011 | 17 | Zero/Reduce MWs in 2022-2024, relative to full market potential, for needed capacity and more practical scale of program roll-out by PSE.
6 | Residential PSE Battery Leasing - Low Income | Battery | BTM | PSE | Yes | PSE Program |  | 0.10067 | 0.10067 | 0.10067 | 0.302 | 16.1327 | 0.1946 | 20
| Residential PSE Battery Leasing | Battery | BTM | PSE | Yes | PSE Program |  | 1.2 | 1.3 | 1.3 | 3.8 | 13.9208 | 0.177 | 19 | Zero/Reduce MWs in 2023-2025, relative to full market potential, for needed capacity and more practical scale of program roll-out by PSE.
|  |  |  | Total Nameplate MW Selected: | [6 empty] | 25.604

## CBI
| Source: | https://team/sites/CleanEnergyStrategy/Shared%20Documents/DERs/Programs%20Actions/CEIP%20Final/Appendix%20D-3_DER%20CBI%20Scoring.xlsx
| i | All CBI scores without weighting to prioritized CBIs
| ii | All CBI scores with weighting to prioritized CBIs
| iii | Only score with prioritized CBIs
| iv | CBI score not included in determining average or median of all DER program concepts since shared CBI score between solar and battery component of concept, therefore only use CBI score once
| v | Round-down of average applied to increase DER program concept availability to meet renewable energy and peak capacity contribution
| P | Program concepts selected for preferred portfolio
| P | "Must take" DER program concepts for the preferred portfolio
|  |  |  | i | ii | iii | Program Concepts Available for Preferred Portfolio Selection per Threshold
| DER Concept # | DER Concept | Resource | Unweighted All CBI Score: | Weighted All CBI Score: | Prioritized CBI Score: | Median Unweighted CBI Score | Average Unweighted CBI Score | Median Weighted CBI Score | Average Weighted CBI Score | Median Prioritized CBI Score | Average Prioritized CBI Score | Suite 6 Preferred Portfolio
| 11 | Residential PSE Battery Leasing - Low Income | Battery | 20 | 31 | 22 | X | X | X | X | X | X | P
| 21 | PSE Customer-Sited Solar+Storage Offering | Solar+Battery | 19 | 30 | 22 | X | X | X | X | X | X | P
iv | 21 | PSE Customer-Sited Solar+Storage Offering | Solar+Battery | 19 | 30 | 22 | X | X | X | X | X | X | P
| 10 | Residential PSE Battery Leasing | Battery | 19 | 30 | 22 | X | X | X | X | X | X | P
| 4 | C&I Space Leasing for Batteries | Battery | 17 | 27 | 20 | X | X | X | X | X | X | P
| 23 | Residential Roof-top Solar Leasing - Low Income | Solar | 17 | 27 | 20 | X | X | X | X | X | X | P
| 5 | Multi-Family Unit Battery Program | Battery | 17 | 26 | 18 | X | X | X | X | X | X
| 22 | Residential Roof-top Solar Leasing | Solar | 16 | 26 | 20 | X | X | X | X | X | X
| 18 | C&I Roof-top Solar Leasing | Solar | 16 | 26 | 20 | X | X | X | X | X | X | P
| 19 | Multi-Family Solar Partnership | Solar | 16 | 25 | 18 | X | X | X | X | X | X | P
| 15 | PSE Community Solar - Low Income | Solar | 16 | 25 | 18 | X | X | X | X | X | X | P
| 17 | C&I Roof-top Solar Incentive | Solar | 16 | 26 | 20 | X | X | X | X | X | X
| 1 | 3rd Party Customer-Sited Distributed Battery PPA | Battery | 16 | 25 | 18 | X | X | X | X | X | X | P
| 20 | Multi-Family Roof-top Solar Incentive | Solar | 16 | 25 | 18 | X | X | X | X | X | X | P
| 9 | Residential Battery Install Incentive | Battery | 15 | 24 | 18 |  | X |  | X | X | X
| 16 | 3rd Party Distributed Solar PPA (or Solar Lease) | Solar | 15 | 24 | 18 |  | X |  | X | X | X | P
| 14 | PSE Community Solar | Solar | 14 | 22 | 16 | [6 empty] | P
| 2 | 3rd Party Utility-scale Distributed Battery PPA | Battery | 14 | 21 | 14
| 8 | PSE Utility-Scale Distributed Battery Stations | Battery | 14 | 21 | 14
| 24 | C&I Battery BYO | Battery | 13 | 21 | 16
| 3 | C&I Battery Install Incentive | Battery | 13 | 21 | 16
| 6 | PSE Mobile Batteries | Battery | 12 | 18 | 12
| 7 | PSE Substation Batteries | Battery | 12 | 18 | 12
| 12 | Net Metering (Existing) | Solar | 0 | 0 | 0 | [6 empty] | P
| 13 | Net Metering (Successor) | Solar | 0 | 0 | 0 | [6 empty] | P
|  |  | Total Concepts | 25 | 25 | 25
v |  |  | Average | 15.5909 | 24.5 | 17.8182
|  |  | Round-Down | 15 | 24 | 17
|  |  | Median | 16 | 25 | 18
|  |  | Available Concepts | 23 | 23 | 23 | 14 | 16 | 14 | 16 | 16 | 16