## FCR Read Me
Schedule 40
UE-170033 Electric Rate Design Work Paper
COMPLIANCE - TAX REFORM
Effective MAY 2018
Background | In order to caculate customer-specific rates, it is necessary to convert the distribution plant used by the customer into a levelized fixed charge rate (FCR). This spreadsheet shows what annual rate is necessary to recover the remaining value of the distribution facilities used to serve the customer
Inputs | Once the cost of capital and capital structure for the rate case has been determined, those numbers should be entered in the top of the tab LvlFCR.
Notes: | Based upon depreciation study, gross plant, and plant in service assume all facilities under the Schedule 40 distribution rate have an original life of 49 years for substation equipment and 35 years for OH/UG Feeders
Cost of Capital updated for Docket No. UE-170033 @ 7.60%

## Sch 40 FCR Table
Schedule 40 Fixed Charge Rates For Land and Depreciable Plant
Docket No. UE-170033 + Weighted Cost of Capital = 7.60% + 49 Year Substation Plant Life + 35 Year Feeder Plant Life
Schedule 40 Table
With FIT & Revenue sensitive together
Book Life | Real Property O&M, A&G and Capital Charge | FCR on Net Plant Value of Feeders | FCR on Net Plant Value of Substations
0 | 9.135% | 8.937% | 10.06%
1 |  | 8.939% | 9.999%
2 |  | 8.957% | 9.961%
3 |  | 8.982% | 9.926%
4 |  | 9.013% | 9.892%
5 |  | 9.052% | 9.857%
6 |  | 9.098% | 9.822%
7 |  | 9.151% | 9.784%
8 |  | 9.213% | 9.742%
9 |  | 9.286% | 9.699%
10 |  | 9.372% | 9.653%
11 |  | 9.472% | 9.617%
12 |  | 9.59% | 9.593%
13 |  | 9.728% | 9.579%
14 |  | 9.89% | 9.575%
15 |  | 10.08% | 9.583%
16 |  | 10.31% | 9.606%
17 |  | 10.58% | 9.646%
18 |  | 10.9% | 9.706%
19 |  | 11.29% | 9.789%
20 |  | 11.76% | 9.9%
21 |  | 12.3% | 10.01%
22 |  | 12.91% | 10.11%
23 |  | 13.65% | 10.22%
24 |  | 14.53% | 10.33%
25 |  | 15.62% | 10.46%
26 |  | 16.98% | 10.6%
27 |  | 18.72% | 10.75%
28 |  | 21.04% | 10.92%
29 |  | 24.24% | 11.1%
30 |  | 28.93% | 11.3%
31 |  | 36.41% | 11.53%
32 |  | 50.02% | 11.78%
33 |  | 81.52% | 12.06%
34 |  | 209.9% | 12.38%
35 |  |  | 12.74%
36 |  |  | 12.44%
37 |  |  | 12.07%
38 |  |  | 11.61%
39 |  |  | 12.21%
40 |  |  | 12.94%
41 |  |  | 13.85%
42 |  |  | 15.03%
43 |  |  | 15.07%
44 |  |  | 15.1%
45 |  |  | 15.14%
46 |  |  | 15.18%
47 |  |  | 15.23%
48 |  |  | 15.27%
49

## FCR Rates Feeder
Schedule 40 Fixed Charge Rates For Depreciable Plant
Docket No. UE-170033 + Weighted Cost of Capital = 7.60% + 35 Year Feeder Plant Life
Book Life | NPV Rev Requirements | Annualized | FCR on net Plant Value
0 | 108538.9862 | 8937.2583 | 8.937%
1 | 104794.3062 | 8683.985 | 8.939%
2 | 101215.4531 | 8445.4106 | 8.957%
3 | 97685.1483 | 8211.9384 | 8.982%
4 | 94197.5084 | 7983.1357 | 9.013%
5 | 90746.203 | 7758.5199 | 9.052%
6 | 87329.4199 | 7537.983 | 9.098%
7 | 83942.1242 | 7321.1325 | 9.151%
8 | 80578.8988 | 7107.5251 | 9.213%
9 | 77253.9121 | 6898.443 | 9.286%
10 | 73970.0704 | 6694.2143 | 9.372%
11 | 70730.5006 | 6495.2104 | 9.472%
12 | 67538.5675 | 6301.8548 | 9.59%
13 | 64397.8913 | 6114.6352 | 9.728%
14 | 61312.3677 | 5934.1187 | 9.89%
15 | 58286.1882 | 5760.9718 | 10.08%
16 | 55323.863 | 5595.9863 | 10.31%
17 | 52430.245 | 5440.1147 | 10.58%
18 | 49610.556 | 5294.5173 | 10.9%
19 | 46870.4145 | 5160.6278 | 11.29%
20 | 44215.8662 | 5040.2443 | 11.76%
21 | 41513.432 | 4919.0733 | 12.3%
22 | 38760.8572 | 4796.7415 | 12.91%
23 | 36006.7733 | 4679.3676 | 13.65%
24 | 33251.0656 | 4567.7056 | 14.53%
25 | 30493.6107 | 4462.7962 | 15.62%
26 | 27734.2757 | 4366.1275 | 16.98%
27 | 24972.9178 | 4279.9162 | 18.72%
28 | 22209.3833 | 4207.6286 | 21.04%
29 | 19443.5067 | 4155.0246 | 24.24%
30 | 16675.1101 | 4132.4533 | 28.93%
31 | 13904.0018 | 4160.5926 | 36.41%
32 | 11129.9759 | 4287.6676 | 50.02%
33 | 8352.8106 | 4658.3254 | 81.52%
34 | 5572.2672 | 5995.7595 | 209.9%
35

## FCR Rates Sub
Schedule 40 Fixed Charge Rates For Depreciable Plant
Docket No. UE-170033 + Weighted Cost of Capital = 7.60% + 49 Year Sub Plant Life
Book Life | NPV Rev Requirements | Annualized | FCR on Gross Plant Value | NBV | FCR on NBV | FCR ON 10 Year Terms | Annual | Substation NBV Based on 10 Year
0 | 107520.962 | 8403.6897 | 8.404% | 100000 | 8.404% | 68706.326 | 10055.2975 | 10.06%
1 |  |  |  | 97959.1837 | 8.579% | 66924.3731 | 9794.5054 | 9.999%
2 |  |  |  | 95918.3673 | 8.761% | 65285.3479 | 9554.6311 | 9.961%
3 |  |  |  | 93877.551 | 8.952% | 63670.2316 | 9318.2558 | 9.926%
4 |  |  |  | 91836.7347 | 9.151% | 62071.2683 | 9084.2446 | 9.892%
5 |  |  |  | 89795.9184 | 9.359% | 60480.1125 | 8851.376 | 9.857%
6 |  |  |  | 87755.102 | 9.576% | 58892.7839 | 8619.0675 | 9.822%
7 |  |  |  | 85714.2857 | 9.804% | 57301.9151 | 8386.241 | 9.784%
8 |  |  |  | 83673.4694 | 10.04% | 55699.5786 | 8151.736 | 9.742%
9 |  |  |  | 81632.6531 | 10.29% | 54097.242 | 7917.2311 | 9.699%
10 |  |  |  | 79591.8367 | 10.56% | 52494.9055 | 7682.7262 | 9.653%
11 |  |  |  | 77551.0204 | 10.84% | 50959.8598 | 7458.0695 | 9.617%
12 |  |  |  | 75510.2041 | 11.13% | 49496.5535 | 7243.9119 | 9.593%
13 |  |  |  | 73469.3878 | 11.44% | 48085.2296 | 7037.362 | 9.579%
14 |  |  |  | 71428.5714 | 11.77% | 46729.8389 | 6838.9981 | 9.575%
15 |  |  |  | 69387.7551 | 12.11% | 45434.6321 | 6649.4422 | 9.583%
16 |  |  |  | 67346.9388 | 12.48% | 44204.1834 | 6469.3638 | 9.606%
17 |  |  |  | 65306.1224 | 12.87% | 43043.4143 | 6299.4831 | 9.646%
18 |  |  |  | 63265.3061 | 13.28% | 41957.6205 | 6140.5751 | 9.706%
19 |  |  |  | 61224.4898 | 13.73% | 40952.5001 | 5993.4739 | 9.789%
20 |  |  |  | 59183.6735 | 14.2% | 40034.1843 | 5859.0767 | 9.9%
21 |  |  |  | 57142.8571 | 14.71% | 39069.286 | 5717.8621 | 10.01%
22 |  |  |  | 55102.0408 | 15.25% | 38055.6497 | 5569.5145 | 10.11%
23 |  |  |  | 53061.2245 | 15.84% | 37042.0135 | 5421.167 | 10.22%
24 |  |  |  | 51020.4082 | 16.47% | 36028.3772 | 5272.8194 | 10.33%
25 |  |  |  | 48979.5918 | 17.16% | 35014.7409 | 5124.4719 | 10.46%
26 |  |  |  | 46938.7755 | 17.9% | 34001.1047 | 4976.1244 | 10.6%
27 |  |  |  | 44897.9592 | 18.72% | 32987.4684 | 4827.7768 | 10.75%
28 |  |  |  | 42857.1429 | 19.61% | 31973.8321 | 4679.4293 | 10.92%
29 |  |  |  | 40816.3265 | 20.59% | 30960.1959 | 4531.0818 | 11.1%
30 |  |  |  | 38775.5102 | 21.67% | 29946.5596 | 4382.7342 | 11.3%
31 |  |  |  | 36734.6939 | 22.88% | 28932.9233 | 4234.3867 | 11.53%
32 |  |  |  | 34693.8776 | 24.22% | 27919.2871 | 4086.0391 | 11.78%
33 |  |  |  | 32653.0612 | 25.74% | 26905.6508 | 3937.6916 | 12.06%
34 |  |  |  | 30612.2449 | 27.45% | 25892.0145 | 3789.3441 | 12.38%
35 |  |  |  | 28571.4286 | 29.41% | 24878.3783 | 3640.9965 | 12.74%
36 |  |  |  | 26530.6122 | 31.68% | 22549.4239 | 3300.1498 | 12.44%
37 |  |  |  | 24489.7959 | 34.32% | 20191.8165 | 2955.1096 | 12.07%
38 |  |  |  | 22448.9796 | 37.43% | 17803.3785 | 2605.5573 | 11.61%
39 |  |  |  | 20408.1633 | 41.18% | 17020.3466 | 2490.9591 | 12.21%
40 |  |  |  | 18367.3469 | 45.75% | 16237.3147 | 2376.361 | 12.94%
41 |  |  |  | 16326.5306 | 51.47% | 15454.2829 | 2261.7628 | 13.85%
42 |  |  |  | 14285.7143 | 58.83% | 14671.251 | 2147.1646 | 15.03%
43 |  |  |  | 12244.898 | 68.63% | 12604.9877 | 1844.7632 | 15.07%
44 |  |  |  | 10204.0816 | 82.36% | 10530.0359 | 1541.0902 | 15.1%
45 |  |  |  | 8163.2653 | 102.9% | 8445.7353 | 1236.0489 | 15.14%
46 |  |  |  | 6122.449 | 137.3% | 6351.3755 | 929.5355 | 15.18%
47 |  |  |  | 4081.6327 | 205.9% | 4246.1918 | 621.438 | 15.23%
48 |  |  |  | 2040.8163 | 411.8% | 2129.3617 | 311.636 | 15.27%
49

## Lvl FCR Sub Equip
Schedule 40 Analysis | [12 empty] | ‚
For Substations and Feeder Lines at Primary Service Voltage | [7 empty] | CAPITAL STRUCTURE: |  |  |  |  | ‚
[8 empty] | L.T. Debt | 51.5% | 5.806% | 2.99%
[8 empty] | S.T. Debt | 0% | 0% | 0%
[8 empty] | ALL DEBT | 51.5% |  | 2.99% |  | ‚
[8 empty] | PREFERRED | 0% | 0% | 0% |  | ‚
|  | NPV Revenue Req. |  | 107520.962 |  |  |  | COMMON | 48.5% | 9.5% | 4.61% |  | ‚
|  | Annual Equivalent |  | 8403.6897 | [6 empty] | ----------- |  | ‚
|  | FCR |  | 8.4037 |  |  |  | COST OF CAPITAL |  |  | 7.6% |  | ‚
‚
|  | 1st YR MOS. | 12 |  |  |  | 0.05% | Insurance Rate |  |  |  |  | ‚
|  | BOOK VALUE | 100000 |  |  |  | 49 | Substation Book Life |  |  |  |  | ‚
|  | TAX BASIS | 100000 |  |  |  | 24.76% | Income Tax Rate + Revenue Sensitive Items = 1-Conv Factor |  |  |  |  | ‚
|  | DEPREC BASE | 100000 |  |  |  | 21% | Income Tax Rate
Year | Net Book Value | 20 Year MACRS | Net Investment | Tax Depreciation | Deferred Taxes | Debt Return | Equity Return | Book Depreciation | Property Insurance | Income Taxes | Revenue Requirement | NPV10 Years
1 | 100000 | 0.038 | 100000 | 3800 | 369.4286 | 2990 | 4610 | 2040.8163 | 50 | 1076.2597 | 11136.5046 | 68706.326
2 | 97959.1837 | 0.072 | 97589.7551 | 7200 | 1083.4286 | 2917.9337 | 4498.8877 | 2040.8163 | 48.9796 | 155.3753 | 10745.4212 | 66924.3731
3 | 95918.3673 | 0.067 | 94465.5102 | 6700 | 978.4286 | 2824.5188 | 4354.86 | 2040.8163 | 47.9592 | 237.6362 | 10484.219 | 65285.3479
4 | 93877.551 | 0.062 | 91446.2653 | 6200 | 873.4286 | 2734.2433 | 4215.6728 | 2040.8163 | 46.9388 | 321.4901 | 10232.5899 | 63670.2316
5 | 91836.7347 | 0.057 | 88532.0204 | 5700 | 768.4286 | 2647.1074 | 4081.3261 | 2040.8163 | 45.9184 | 406.937 | 9990.5339 | 62071.2683
6 | 89795.9184 | 0.053 | 85722.7755 | 5300 | 684.4286 | 2563.111 | 3951.82 | 2040.8163 | 44.898 | 467.9776 | 9753.0514 | 60480.1125
7 | 87755.102 | 0.049 | 82997.5306 | 4900 | 600.4286 | 2481.6262 | 3826.1862 | 2040.8163 | 43.8776 | 530.2926 | 9523.2274 | 58892.7839
8 | 85714.2857 | 0.045 | 80356.2857 | 4500 | 516.4286 | 2402.6529 | 3704.4248 | 2040.8163 | 42.8571 | 593.882 | 9301.0618 | 57301.9151
9 | 83673.4694 | 0.045 | 77799.0408 | 4500 | 516.4286 | 2326.1913 | 3586.5358 | 2040.8163 | 41.8367 | 554.7481 | 9066.5568 | 55699.5786
10 | 81632.6531 | 0.045 | 75241.7959 | 4500 | 516.4286 | 2249.7297 | 3468.6468 | 2040.8163 | 40.8163 | 515.6142 | 8832.0519 | 54097.242
11 | 79591.8367 | 0.045 | 72684.551 | 4500 | 516.4286 | 2173.2681 | 3350.7578 | 2040.8163 | 39.7959 | 476.4803 | 8597.547 | 52494.9055
12 | 77551.0204 | 0.045 | 70127.3061 | 4500 | 516.4286 | 2096.8065 | 3232.8688 | 2040.8163 | 38.7755 | 437.3464 | 8363.0421 | 50959.8598
13 | 75510.2041 | 0.045 | 67570.0612 | 4500 | 516.4286 | 2020.3448 | 3114.9798 | 2040.8163 | 37.7551 | 398.2126 | 8128.5372 | 49496.5535
14 | 73469.3878 | 0.045 | 65012.8163 | 4500 | 516.4286 | 1943.8832 | 2997.0908 | 2040.8163 | 36.7347 | 359.0787 | 7894.0323 | 48085.2296
15 | 71428.5714 | 0.045 | 62455.5714 | 4500 | 516.4286 | 1867.4216 | 2879.2018 | 2040.8163 | 35.7143 | 319.9448 | 7659.5274 | 46729.8389
16 | 69387.7551 | 0.045 | 59898.3265 | 4500 | 516.4286 | 1790.96 | 2761.3129 | 2040.8163 | 34.6939 | 280.8109 | 7425.0225 | 45434.6321
17 | 67346.9388 | 0.045 | 57341.0816 | 4500 | 516.4286 | 1714.4983 | 2643.4239 | 2040.8163 | 33.6735 | 241.677 | 7190.5176 | 44204.1834
18 | 65306.1224 | 0.045 | 54783.8367 | 4500 | 516.4286 | 1638.0367 | 2525.5349 | 2040.8163 | 32.6531 | 202.5431 | 6956.0127 | 43043.4143
19 | 63265.3061 | 0.045 | 52226.5918 | 4500 | 516.4286 | 1561.5751 | 2407.6459 | 2040.8163 | 31.6327 | 163.4092 | 6721.5078 | 41957.6205
20 | 61224.4898 | 0.045 | 49669.3469 | 4500 | 516.4286 | 1485.1135 | 2289.7569 | 2040.8163 | 30.6122 | 124.2753 | 6487.0028 | 40952.5001
21 | 59183.6735 | 0.017 | 47112.102 | 1700 | -71.5714 | 1408.6519 | 2171.8679 | 2040.8163 | 29.5918 | 813.1256 | 6392.4821 | 40034.1843
22 | 57142.8571 | 0 | 45142.8571 | 0 | -428.5714 | 1349.7714 | 2081.0857 | 2040.8163 | 28.5714 | 1224.9032 | 6296.5766 | 39069.286
23 | 55102.0408 | 0 | 43530.6122 | 0 | -428.5714 | 1301.5653 | 2006.7612 | 2040.8163 | 27.551 | 1200.1067 | 6148.2291 | 38055.6497
24 | 53061.2245 | 0 | 41918.3673 | 0 | -428.5714 | 1253.3592 | 1932.4367 | 2040.8163 | 26.5306 | 1175.3101 | 5999.8816 | 37042.0135
25 | 51020.4082 | 0 | 40306.1224 | 0 | -428.5714 | 1205.1531 | 1858.1122 | 2040.8163 | 25.5102 | 1150.5136 | 5851.534 | 36028.3772
26 | 48979.5918 | 0 | 38693.8776 | 0 | -428.5714 | 1156.9469 | 1783.7878 | 2040.8163 | 24.4898 | 1125.7171 | 5703.1865 | 35014.7409
27 | 46938.7755 | 0 | 37081.6327 | 0 | -428.5714 | 1108.7408 | 1709.4633 | 2040.8163 | 23.4694 | 1100.9206 | 5554.839 | 34001.1047
28 | 44897.9592 | 0 | 35469.3878 | 0 | -428.5714 | 1060.5347 | 1635.1388 | 2040.8163 | 22.449 | 1076.1241 | 5406.4914 | 32987.4684
29 | 42857.1429 | 0 | 33857.1429 | 0 | -428.5714 | 1012.3286 | 1560.8143 | 2040.8163 | 21.4286 | 1051.3276 | 5258.1439 | 31973.8321
30 | 40816.3265 | 0 | 32244.898 | 0 | -428.5714 | 964.1224 | 1486.4898 | 2040.8163 | 20.4082 | 1026.531 | 5109.7963 | 30960.1959
31 | 38775.5102 | 0 | 30632.6531 | 0 | -428.5714 | 915.9163 | 1412.1653 | 2040.8163 | 19.3878 | 1001.7345 | 4961.4488 | 29946.5596
32 | 36734.6939 | 0 | 29020.4082 | 0 | -428.5714 | 867.7102 | 1337.8408 | 2040.8163 | 18.3673 | 976.938 | 4813.1013 | 28932.9233
33 | 34693.8776 | 0 | 27408.1633 | 0 | -428.5714 | 819.5041 | 1263.5163 | 2040.8163 | 17.3469 | 952.1415 | 4664.7537 | 27919.2871
34 | 32653.0612 | 0 | 25795.9184 | 0 | -428.5714 | 771.298 | 1189.1918 | 2040.8163 | 16.3265 | 927.345 | 4516.4062 | 26905.6508
35 | 30612.2449 | 0 | 24183.6735 | 0 | -428.5714 | 723.0918 | 1114.8673 | 2040.8163 | 15.3061 | 902.5485 | 4368.0587 | 25892.0145
36 | 28571.4286 | 0 | 22571.4286 | 0 | -428.5714 | 674.8857 | 1040.5429 | 2040.8163 | 14.2857 | 877.7519 | 4219.7111 | 24878.3783
37 | 26530.6122 | 0 | 20959.1837 | 0 | -428.5714 | 626.6796 | 966.2184 | 2040.8163 | 13.2653 | 852.9554 | 4071.3636 | 22549.4239
38 | 24489.7959 | 0 | 19346.9388 | 0 | -428.5714 | 578.4735 | 891.8939 | 2040.8163 | 12.2449 | 828.1589 | 3923.0161 | 20191.8165
39 | 22448.9796 | 0 | 17734.6939 | 0 | -428.5714 | 530.2673 | 817.5694 | 2040.8163 | 11.2245 | 803.3624 | 3774.6685 | 17803.3785
40 | 20408.1633 | 0 | 16122.449 | 0 | -428.5714 | 482.0612 | 743.2449 | 2040.8163 | 10.2041 | 778.5659 | 3626.321 | 15381.7668
41 | 18367.3469 | 0 | 14510.2041 | 0 | -428.5714 | 433.8551 | 668.9204 | 2040.8163 | 9.1837 | 753.7694 | 3477.9734 | 12924.46
42 | 16326.5306 | 0 | 12897.9592 | 0 | -428.5714 | 385.649 | 594.5959 | 2040.8163 | 8.1633 | 728.9728 | 3329.6259 | 10428.7456
43 | 14285.7143 | 0 | 11285.7143 | 0 | -428.5714 | 337.4429 | 520.2714 | 2040.8163 | 7.1429 | 704.1763 | 3181.2784 | 7891.7043
44 | 12244.898 | 0 | 9673.4694 | 0 | -428.5714 | 289.2367 | 445.9469 | 2040.8163 | 6.1224 | 679.3798 | 3032.9308 | 5310.1955
45 | 10204.0816 | 0 | 8061.2245 | 0 | -428.5714 | 241.0306 | 371.6224 | 2040.8163 | 5.102 | 654.5833 | 2884.5833 | 2680.8395
46 | 8163.2653 | 0 | 6448.9796 | 0 | -428.5714 | 192.8245 | 297.298 | 2040.8163 | 4.0816 | 629.7868 | 2736.2358 | 2542.97
47 | 6122.449 | 0 | 4836.7347 | 0 | -428.5714 | 144.6184 | 222.9735 | 2040.8163 | 3.0612 | 604.9903 | 2587.8882 | 2405.1006
48 | 4081.6327 | 0 | 3224.4898 | 0 | -428.5714 | 96.4122 | 148.649 | 2040.8163 | 2.0408 | 580.1937 | 2439.5407 | 2267.2311
49 | 2040.8163 | 0 | 1612.2449 | 0 | -428.5714 | 48.2061 | 74.3245 | 2040.8163 | 1.0204 | 555.3972 | 2291.1932 | 2129.3617
50 | 5.2296e-11 | 0 | 8.5265e-11 | 0 | 0 | 2.5494e-12 | 3.9307e-12 | 0 | 2.6148e-14 | 1.3022e-12 | 7.8085e-12 | 7.257e-12
----------- |  | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | -----------
TOTAL |  | 1 |  | 100000 | -1.0118e-11 | 65409.3596 | 100848.5444 | 100000 | 1250 | 33601.3226 | 301109.2266
|  | PRESENT WORTH |  | 52196.2178 | 5477.8509 | 26914.3023 | 41496.6333 | 26111.2134 | 486.1104 | 7034.8516 | 107520.962

## Lvl FCR Feeder
Schedule 40 Analysis | [12 empty] | ‚
For Substations and Feeder Lines at Primary Service Voltage | [7 empty] | CAPITAL STRUCTURE |  |  |  |  | ‚
[8 empty] | L.T. Debt | 51.5% | 5.806% | 2.99%
[8 empty] | S.T. Debt | 0% | 0% | 0%
[8 empty] | ALL DEBT | 51.5% |  | 2.99% |  | ‚
[8 empty] | PREFERRED | 0% | 0% | 0% |  | ‚
|  | NPV Revenue Req. |  | 108324.2639 |  |  |  | COMMON | 48.5% | 9.5% | 4.61% |  | ‚
|  | Annual Equivalent |  | 8919.5777 | [6 empty] | ----------- |  | ‚
|  | FCR |  | 8.9196 |  |  |  | COST OF CAPITAL |  |  | 7.6% |  | ‚
‚
|  | 1st YR MOS. | 12 |  |  |  | 0.05% | Insurance Rate |  |  |  |  | ‚
|  | BOOK VALUE | 100000 |  |  |  | 35 | Feeder Book Life |  |  |  |  | ‚
|  | TAX BASIS | 100000 |  |  |  | 24.76% | Income Tax Rate + Revenue Sensitive Items |  |  |  |  | ‚
|  | DEPREC BASE | 100000 |  |  |  | 21% | Income Tax Rate
Year | Net Book Value | 20 Year MACRS | Net Investment | Tax Depreciation | Deferred Taxes | Debt Return | Equity Return | Book Depreciation | Property Insurance | Income Taxes | Revenue Requirement | NPV10 Years
1 | 100000 | 0.038 | 100000 | 3800 | 198 | 2990 | 4610 | 2857.1429 | 50 | 1288.5 | 11993.6429 | 72981.3142
2 | 97142.8571 | 0.072 | 96944.8571 | 7200 | 912 | 2898.6512 | 4469.1579 | 2857.1429 | 48.5714 | 357.697 | 11543.2204 | 70793.9068
3 | 94285.7143 | 0.067 | 93175.7143 | 6700 | 807 | 2785.9539 | 4295.4004 | 2857.1429 | 47.1429 | 430.0393 | 11222.6793 | 68749.4271
4 | 91428.5714 | 0.062 | 89511.5714 | 6200 | 702 | 2676.396 | 4126.4834 | 2857.1429 | 45.7143 | 503.9746 | 10911.7111 | 66728.8563
5 | 88571.4286 | 0.057 | 85952.4286 | 5700 | 597 | 2569.9776 | 3962.407 | 2857.1429 | 44.2857 | 579.5029 | 10610.316 | 64724.4385
6 | 85714.2857 | 0.053 | 82498.2857 | 5300 | 513 | 2466.6987 | 3803.171 | 2857.1429 | 42.8571 | 630.6248 | 10313.4946 | 62727.8281
7 | 82857.1429 | 0.049 | 79128.1429 | 4900 | 429 | 2365.9315 | 3647.8074 | 2857.1429 | 41.4286 | 683.0212 | 10024.3315 | 60735.0451
8 | 80000 | 0.045 | 75842 | 4500 | 345 | 2267.6758 | 3496.3162 | 2857.1429 | 40 | 736.692 | 9742.8269 | 58738.7218
9 | 77142.8571 | 0.045 | 72639.8571 | 4500 | 345 | 2171.9317 | 3348.6974 | 2857.1429 | 38.5714 | 687.6395 | 9448.983 | 56730.9308
10 | 74285.7143 | 0.045 | 69437.7143 | 4500 | 345 | 2076.1877 | 3201.0786 | 2857.1429 | 37.1429 | 638.587 | 9155.139 | 54723.1397
11 | 71428.5714 | 0.045 | 66235.5714 | 4500 | 345 | 1980.4436 | 3053.4598 | 2857.1429 | 35.7143 | 589.5346 | 8861.2951 | 52715.3487
12 | 68571.4286 | 0.045 | 63033.4286 | 4500 | 345 | 1884.6995 | 2905.8411 | 2857.1429 | 34.2857 | 540.4821 | 8567.4512 | 50774.8485
13 | 65714.2857 | 0.045 | 59831.2857 | 4500 | 345 | 1788.9554 | 2758.2223 | 2857.1429 | 32.8571 | 491.4296 | 8273.6073 | 48906.0877
14 | 62857.1429 | 0.045 | 56629.1429 | 4500 | 345 | 1693.2114 | 2610.6035 | 2857.1429 | 31.4286 | 442.3771 | 7979.7634 | 47089.3093
15 | 60000 | 0.045 | 53427 | 4500 | 345 | 1597.4673 | 2462.9847 | 2857.1429 | 30 | 393.3246 | 7685.9194 | 45328.464
16 | 57142.8571 | 0.045 | 50224.8571 | 4500 | 345 | 1501.7232 | 2315.3659 | 2857.1429 | 28.5714 | 344.2721 | 7392.0755 | 43627.8028
17 | 54285.7143 | 0.045 | 47022.7143 | 4500 | 345 | 1405.9792 | 2167.7471 | 2857.1429 | 27.1429 | 295.2196 | 7098.2316 | 41991.8995
18 | 51428.5714 | 0.045 | 43820.5714 | 4500 | 345 | 1310.2351 | 2020.1283 | 2857.1429 | 25.7143 | 246.1671 | 6804.3877 | 40425.676
19 | 48571.4286 | 0.045 | 40618.4286 | 4500 | 345 | 1214.491 | 1872.5096 | 2857.1429 | 24.2857 | 197.1146 | 6510.5437 | 38934.4276
20 | 45714.2857 | 0.045 | 37416.2857 | 4500 | 345 | 1118.7469 | 1724.8908 | 2857.1429 | 22.8571 | 148.0621 | 6216.6998 | 37523.8527
21 | 42857.1429 | 0.017 | 34214.1429 | 1700 | -243 | 1023.0029 | 1577.272 | 2857.1429 | 21.4286 | 826.9938 | 6062.8401 | 36200.0824
22 | 40000 | 0 | 31600 | 0 | -600 | 944.84 | 1456.76 | 2857.1429 | 20 | 1228.8527 | 5907.5956 | 34829.7296
23 | 37142.8571 | 0 | 29342.8571 | 0 | -600 | 877.3514 | 1352.7057 | 2857.1429 | 18.5714 | 1194.1376 | 5699.909 | 33410.6388
24 | 34285.7143 | 0 | 27085.7143 | 0 | -600 | 809.8629 | 1248.6514 | 2857.1429 | 17.1429 | 1159.4225 | 5492.2225 | 31991.548
25 | 31428.5714 | 0 | 24828.5714 | 0 | -600 | 742.3743 | 1144.5971 | 2857.1429 | 15.7143 | 1124.7074 | 5284.5359 | 30572.4573
26 | 28571.4286 | 0 | 22571.4286 | 0 | -600 | 674.8857 | 1040.5429 | 2857.1429 | 14.2857 | 1089.9922 | 5076.8494 | 29153.3665
27 | 25714.2857 | 0 | 20314.2857 | 0 | -600 | 607.3971 | 936.4886 | 2857.1429 | 12.8571 | 1055.2771 | 4869.1628 | 26292.173
28 | 22857.1429 | 0 | 18057.1429 | 0 | -600 | 539.9086 | 832.4343 | 2857.1429 | 11.4286 | 1020.562 | 4661.4763 | 23421.2153
29 | 20000 | 0 | 15800 | 0 | -600 | 472.42 | 728.38 | 2857.1429 | 10 | 985.8469 | 4453.7897 | 20539.7514
30 | 17142.8571 | 0 | 13542.8571 | 0 | -600 | 404.9314 | 624.3257 | 2857.1429 | 8.5714 | 951.1317 | 4246.1032 | 17646.9828
31 | 14285.7143 | 0 | 11285.7143 | 0 | -600 | 337.4429 | 520.2714 | 2857.1429 | 7.1429 | 916.4166 | 4038.4166 | 14742.0503
32 | 11428.5714 | 0 | 9028.5714 | 0 | -600 | 269.9543 | 416.2171 | 2857.1429 | 5.7143 | 881.7015 | 3830.7301 | 11824.0295
33 | 8571.4286 | 0 | 6771.4286 | 0 | -600 | 202.4657 | 312.1629 | 2857.1429 | 4.2857 | 846.9864 | 3623.0435 | 8891.9257
34 | 5714.2857 | 0 | 4514.2857 | 0 | -600 | 134.9771 | 208.1086 | 2857.1429 | 2.8571 | 812.2712 | 3415.357 | 5944.6685
35 | 2857.1429 | 0 | 2257.1429 | 0 | -600 | 67.4886 | 104.0543 | 2857.1429 | 1.4286 | 777.5561 | 3207.6704 | 5572.2672
36 | 3.9108e-11 | 0 | 3.0013e-11 | 0 | -600 | 8.974e-13 | 1.3836e-12 | 2857.1429 | 1.9554e-14 | 742.841 | 2999.9839 | 203649.1059
----------- |  | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | -----------
TOTAL |  | 1 |  | 100000 | -1.819e-12 | 48874.6596 | 75355.2444 | 100000 | 900 | 25096.1175 | 250226.0215
|  | PRESENT WORTH |  | 52196.2178 | 3674.4753 | 24245.2838 | 37381.5245 | 34698.7163 | 429.6137 | 7894.6502 | 108324.2639

## LvlFCR Land
Schedule 40 Analysis | [7 empty] | CAPITAL STRUCTURE |  |  |  | ‚
For Substations and Feeder Lines at Primary Service Voltage | [7 empty] | DEBT (LT) | 51.5% | 5.806% | 2.99% | ‚
[8 empty] | DEBT (ST) |  |  | 0% | ‚
[8 empty] | ALL DEBT | 51.5% |  | 2.99% | ‚
|  | NPV Revenue Req. |  | 116883.7554 |  |  |  | PREFERRED | 0% | 0% | 0% | ‚
|  | Annual Equivalent |  | 9135.4727 |  |  |  | COMMON | 48.5% | 9.5% | 4.61% | ‚
|  | FCR |  | 9.1355 |  | 0.091355 |  |  |  |  | ----------- | ‚
[8 empty] | COST OF CAPITAL |  |  | 7.6% | ‚
|  | 1st YR MOS. |  | 12 | [7 empty] | ‚
|  | BOOK VALUE |  | 100000 |  |  |  | 49 | Book Life |  |  | ‚
|  | TAX BASIS |  | 100000 |  |  |  | 24.76% | Income Tax Rate + Revenue Sensitive Items |  |  | ‚
|  | DEPREC BASE |  | 100000 |  |  |  | 21% | Income Tax Rate
Year | Net Book Value | 20 Year MACRS | Net Investment | Tax Depreciation | Deferred Taxes | Debt Return | Equity Return | Book Depreciation | Income Taxes | Revenue Requirement
1 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
2 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
3 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
4 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
5 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
6 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
7 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
8 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
9 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
10 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
11 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
12 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
13 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
14 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
15 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
16 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
17 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
18 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
19 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
20 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
21 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
22 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
23 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
24 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
25 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
26 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
27 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
28 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
29 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
30 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
31 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
32 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
33 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
34 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
35 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
36 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
37 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
38 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
39 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
40 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
41 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
42 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
43 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
44 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
45 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
46 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
47 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
48 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
49 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
50 | 100000 | 0 | 100000 | 0 | 0 | 2990 | 4610 | 0 | 1517.1822 | 9117.1822
----------- |  | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | -----------
TOTAL |  | 0% |  | 0 | 0 | 149500 | 230500 | 0 | 75859.1114 | 455859.1114
|  | PRESENT WORTH |  | 0 | 0 | 38332.2851 | 59100.948 | 0 | 19450.5223 | 116883.7554

## Sub & Feeder Depr Life
PUGET SOUND ENERGY - ELECTRIC (PER SETTLEMENT)
DEPRECIATION STUDY
FOR THE TWELVE MONTHS ENDED SEPTEMBER 30, 2016
2017 GENERAL RATE CASE
|  |  | CURRENT |  | CURRENT |  |  | PROPOSED | INCREASE
ACCOUNT |  | ACQUISITION | DEPRECIATION | CURRENT | RATE | PROPOSED | Diff % | DEPRECIATION | (DECREASE) | ACCOUNT |  | PROPOSED
NUMBER | DESCRIPTION | VALUE | EXPENSE | RATE | % | RATE | RATE | EXPENSE AMOUNT | AMOUNT | NUMBER | DESCRIPTION | RATE | Life
ELECTRIC PLANT
DISTRIBUTION PLANT
0
360.1 | EASEMENTS | 6192997.78 | 137458.87 | 2.24 | 2.24% | 1.13% | 50.43% | 69324.3878 | -68134.4822
361 | STRUCTURES AND IMPROVEMENTS | 7980826.73 | 144277.32 | 1.81 | 1.81% | 1.76% | 97.26% | 140328.1639 | -3949.1561
362 | STATION EQUIPMENT | 434912648.52 | 8235583.06 | 1.97 | 1.97% | 2.04% | 103.5% | 8527452.8255 | 291869.7655 | 362 | STATION EQUIPMENT | 2.04% | 49 | Years
363 | BATTERY STORAGE EQUIPMENT | 1194182.86 | 23908.84 | 5 | 5% | 4.992% | 99.85% | 23871.9439 | -36.8961
364 | POLES, TOWERS AND FIXTURES | 340904415.12 | 10261211.34 | 3.11 | 3.11% | 3.143% | 101.1% | 10369390.8986 | 108179.5586 | 364 | POLES, TOWERS AND FIXTURES | 3.143% | 32 | Years
|  |  | 11214.9 | 4.24 | 4.24% | 3.143% | 74.12% | 8312.7468 | -2902.1532
365 | OVERHEAD CONDUCTORS AND DEVICES | 409216186.51 | 11091701.54 | 2.83 | 2.83% | 3.74% | 132.2% | 14660079.8264 | 3568378.2864 | 365 | OVERHEAD CONDUCTORS AND DEVICES | 3.74% | 27 | Years
|  |  | 7476.6 | 4.24 | 4.24% | 3.74% | 88.22% | 6595.7302 | -880.8698
366 | UNDERGROUND CONDUIT | 672272622.88 | 14888909.97 | 2.26 | 2.26% | 1.772% | 78.41% | 11674006.6569 | -3214903.3131 | 366 | UNDERGROUND CONDUIT | 1.772% | 56 | Years
367 | UNDERGROUND CONDUCTORS AND DEVICES | 844856752.29 | 28926476.95 | 3.53 | 3.53% | 3.932% | 111.4% | 32221842.2871 | 3295365.3371 | 367 | UNDERGROUND CONDUCTORS AND DEVICES | 3.932% | 25 | Years
|  |  | 796615.7 | 4.24 | 4.24% | 3.932% | 92.74% | 738775.586 | -57840.114
368 | LINE TRANSFORMERS | 462673680.6 | 14908913.55 | 3.26 | 3.26% | 4.065% | 124.7% | 18588523.001 | 3679609.451 | 364-367 | Average Life of Feeders |  | 35 | Years
369 | SERVICES | 182057677.19 | 4214546.35 | 2.33 | 2.33% | 3.146% | 135% | 5690606.0408 | 1476059.6908
370 | METERS ** | 140665913.55 | 3156227.3 | 2.32 | 2.32% | 8.339% | 359.4% | 11345024.0878 | 8188796.7878
373 | STREET LIGHTING AND SIGNAL SYSTEMS | 53727968.48 | 1745428.26 | 3.34 | 3.34% | 4.751% | 142.2% | 2482698.2045 | 737269.9445
| TOTAL DISTRIBUTION PLANT | 3556655872.51 | 98549950.55 | 2.771% | 2.771% | 3.277% | 118.3% | 116546832.3873 | 17996881.8373

## 3.04 E
Page 3.04
PUGET SOUND ENERGY-ELECTRIC
CONVERSION FACTOR - ELECTRIC
FOR THE TWELVE MONTHS ENDED SEPTEMBER 30, 2016
LINE
NO. | DESCRIPTION |  | RATE
1 | BAD DEBTS |  | 0.007157
2 | ANNUAL FILING FEE |  | 0.002
3 | STATE UTILITY TAX - NET OF BAD DEBTS ( 3.8734% - ( LINE 1 * 3.8734%) ) | 3.873% | 0.038457
4
5 | SUM OF TAXES OTHER |  | 0.047614
6
7 | CONVERSION FACTOR EXCLUDING FEDERAL INCOME TAX ( 1 - LINE 5) |  | 0.95239
8 | FEDERAL INCOME TAX ( LINE 7 * 35%) | 21% | 0.2
9 | CONVERSION FACTOR INCL FEDERAL INCOME TAX ( LINE 5 + LINE 8 ) |  | 0.75238

## Pg 1 CofCap
PUGET SOUND ENERGY, INC.
Utility Capital Structure
Settlement Cost of Capital and Rate of Return
Requested For Rate Year January 2018 through December 2018
1 | (A) | (B) | (C) | (D) | (E)
2 | General Rate Case Request
3
4 |  |  |  | Cost | Cost of
5 | Description |  | Ratio | Rates | Capital
6
7 | Marginal Short-Term Debt Rate |  | 1% | 3.06% | 0.03%
8 | Commitment Fees |  |  |  | 0.02%
9 | Amortization of Short-Term Debt Issue Cost |  |  |  | 0.01%
10 | Weighted Short-Term Debt Rate |  |  |  | 0.06%
11 | Marginal Long-Term Debt Rate |  | 50.5% | 5.733% | 2.9%
12 | Amortization of Reacquired Debt |  |  |  | 0.03%
13 | Weighted Long-Term Debt Rate |  |  |  | 2.93%
14 | Total Debt |  | 51.5% | 5.806% | 2.99%
15 | Common Equity |  | 48.5% | 9.5% | 4.61%
16 | Total |  | 100% |  | 7.6%
Adapted from Exhibit No. BJL-04