## Run Desc
Complete | Run Sequence | Upgrade Scenario | Model | Input Change | Status
Running | 1 | ClarkFork BC | Clark Fork Only | Current | Complete
Not Start | 2 | NOX4 | Clark Fork Only | Switch NOX4 Curve to Old Curve | Complete
| 3 | NOX2 | Clark Fork Only | Switch NOX2 Curve to Old Curve | Complete
| 4 | NOX3 | Clark Fork Only | Switch NOX3 Curve to Old Curve | Complete
| 5 | NOX1 | Clark Fork Only | Switch NOX1 Curve to Old Curve | Complete
| 6 | CAB4 | Clark Fork Only | Switch CAB4 Curve to Old Curve | Complete
| 7 | CAB2 | Clark Fork Only | Switch CAB2 Curve to Old Curve | Complete
| 8 | CAB3 | Clark Fork Only | Switch CAB3 Curve to Old Curve | Complete
| 9 | LL_LF BC | LL-LF Only | Current | Complete
| 10 | LF4 | LL-LF Only | Switch LF4 Curve to Old Curve | Complete
| 11 | LL3 | LL-LF Only | Switch LL3 Curve to Old Curve | Complete
| 12 | NineMle BC | NM Only | Current | Complete
| 13 | NM2 | NM Only | Switch NM2 Curve to Old Curve | Complete
| 14 | NM1 | NM Only | Switch NM1 Curve to Old Curve | Complete

## Incremental Energy Summary
|  | Incremental MWh | [7 empty] | Incremental MWh
|  | Year | Cabinet Gorge #3 Upgrade | Cabinet Gorge #2 Upgrade | Cabinet Gorge #4 Upgrade | Noxon Rapids #1 Upgrade | Noxon Rapids #3 Upgrade | Noxon Rapids #2 Upgrade | Noxon Rapids #4 Upgrade | Year | Long Lake #3 Upgrade | Little Falls #4 Upgrade | Nine Mile #1 Upgrade | Nine Mile #2 Upgrade
Total (MWh) | 124282.1548 | 2019 | 13690.2843 | 12184.1479 | 6136.7244 | 23719.1912 | 25539.1762 | 15491.5458 | 11897.7323 | 2019 | 7240.908 | -55.6333 | 6608.1337 | 1829.9443
| 157658.3187 |  | 19534.4271 | 20504.7608 | 18144.0496 | 27032.1158 | 24078.9651 | 6724.8163 | 18851.3216 |  | 8209.2467 | 760.4138 | 8605.119 | 5213.0829
Cabinet Derating due to Coffer Dam Construction since July:
|  | HE5-HE17 | Limit Plant Generaton Output to 25MW
|  | The rest of Day | Limit Plant Generaton Output to 138MW

## Sheet1 (hidden)
Hist | 2019 | 2019 | 2019 | 2019 | 2019 | 2019 | 2019 | 2019 | 2019 | 2019 | 2019
| 2019-01-01 | 2019-01-31 | 2019-03-02 | 2019-04-02 | 2019-05-02 | 2019-06-02 | 2019-07-02 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01
PndCabLocalFlow | -88.95 | -100.85 | -84.31 | 940.59 | 2275.13 | 1585.51 | 239.11 | -9.41 | -36.11 | 48.23 | -321.36
PndLFLocalFlow | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PndLLLocalFlow | 4744.85 | 4750.93 | 5770.01 | 18503.9 | 12457.05 | 4880.42 | 2081.36 | 1579.12 | 2018.14 | 2991.65 | 3082.48
PndNoxLocalFlow | 12390.86 | 10782.07 | 9258.63 | 25505.5 | 45787.89 | 33001.78 | 14247.93 | 8350.75 | 10506.63 | 10247.85 | 9650.46
PndNoxLocalFlow_Previous | 12362.2581 | 10751.1429 | 9261.7419 | 24375.1333 | 92261.1613 | 58596.6333 | 22550.2258 | 9618.8387 | 7727.6333 | 9523.6452 | 10772.0667 | 13229.0968

## ClarkFork Upgrade
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Year | Month | ClarkForkBC | NOX4 | NOX2 | NOX3 | NOX1 | CAB4 | CAB2 | CAB3 | NOX4 Upgrade | NOX2 Upgrade | NOX3 Upgrade | NOX1 Upgrade | CAB4 Upgrade | CAB2 Upgrade | CAB3 Upgrade
2019 | 1 | 235.4417 | 234.374 | 233.8008 | 232.3636 | 230.5629 | 229.3628 | 229.1205 | 229.4052 | 1.0677 | 0.57318 | 1.4372 | 1.8007 | 1.2001 | 0.24231 | -0.28463 | 6.0366
2019 | 2 | 204.9264 | 204.224 | 203.4765 | 201.9788 | 200.816 | 199.1165 | 199.8421 | 199.8942 | 0.70241 | 0.74749 | 1.4977 | 1.1627 | 1.6996 | -0.72564 | -0.052066 | 5.0322
2019 | 3 | 185.3916 | 184.3309 | 183.5689 | 182.1426 | 180.8189 | 179.8814 | 179.334 | 179.2882 | 1.0607 | 0.76195 | 1.4263 | 1.3237 | 0.9375 | 0.54739 | 0.045767 | 6.1034
2019 | 4 | 451.3229 | 449.1022 | 447.3252 | 443.3491 | 440.2871 | 437.037 | 436.0028 | 433.1206 | 2.2207 | 1.7769 | 3.9762 | 3.0619 | 3.2501 | 1.0342 | 2.8822 | 18.2023
2019 | 5 | 739.5825 | 735.0615 | 733.2833 | 723.1761 | 715.7823 | 715.8416 | 707.3354 | 698.819 | 4.521 | 1.7782 | 10.1072 | 7.3938 | -0.059239 | 8.5061 | 8.5164 | 40.7635
2019 | 6 | 606.5134 | 603.9337 | 600.6489 | 593.9612 | 588.9893 | 588.838 | 583.7361 | 577.8895 | 2.5797 | 3.2848 | 6.6877 | 4.9719 | 0.1513 | 5.1019 | 5.8466 | 28.6239
2019 | 7 | 273.399 | 272.0757 | 270.8225 | 267.821 | 265.5476 | 265.3228 | 264.2373 | 263.3961 | 1.3232 | 1.2532 | 3.0015 | 2.2734 | 0.22476 | 1.0855 | 0.84116 | 10.0028
2019 | 8 | 158.5091 | 157.5192 | 156.2987 | 154.9574 | 153.2877 | 153.3163 | 152.3268 | 152.5243 | 0.98984 | 1.2205 | 1.3414 | 1.6697 | -0.028686 | 0.98952 | -0.19747 | 5.9848
2019 | 9 | 202.6879 | 201.6857 | 200.8985 | 198.0717 | 196.9211 | 196.8844 | 196.9752 | 195.7637 | 1.0022 | 0.7872 | 2.8268 | 1.1506 | 0.036662 | -0.090767 | 1.2116 | 6.9243
2019 | 10 | 194.6687 | 193.3399 | 193.3476 | 190.9772 | 189.5759 | 189.5252 | 189.5252 | 188.5175 | 1.3288 | -0.007735 | 2.3704 | 1.4013 | 0.050685 | 0 | 1.0077 | 6.1512
2019 | 11 | 184.7568 | 184.7568 | 179.856 | 179.856 | 178.2925 | 177.7657 | 177.7657 | 177.4275 | 0 | 4.9008 | 0 | 1.5635 | 0.52678 | 0 | 0.33822 | 7.3293
2019 | 12 | 186.5844 | 187.0825 | 182.9377 | 182.6249 | 177.9062 | 177.4892 | 177.4892 | 178.891 | -0.49805 | 4.1448 | 0.31277 | 4.7187 | 0.41699 | 0 | -1.4017 | 7.6935
[10 empty] | 1.2629 | 0.96489 | 2.0844 | 1.8373 | 1.7718 | 0.27457 | 0.64782

## LSpo Upgrade
|  | 1 | 2 | 3
Year | Month | LSpoBC | LF4 | LL3 | LF4 Upgrade | LL3 Upgrade
2019 | 1 | 58.2991 | 58.3126 | 58.2712 | -0.013514 | 0.027878 | 0.014364
2019 | 2 | 81.9676 | 81.9676 | 81.8435 | 0 | 0.12411 | 0.12411
2019 | 3 | 81.7977 | 81.7977 | 81.4374 | 0 | 0.36025 | 0.36025
2019 | 4 | 78.8439 | 78.8439 | 78.5791 | 0 | 0.26482 | 0.26482
2019 | 5 | 107.991 | 107.991 | 105.1843 | 0 | 2.8067 | 2.8067
2019 | 6 | 107.9968 | 107.9968 | 106.5838 | 0 | 1.413 | 1.413
2019 | 7 | 77.3406 | 77.2679 | 75.9583 | 0.072711 | 1.3823 | 1.455
2019 | 8 | 34.561 | 34.7156 | 34.6456 | -0.15458 | -0.084636 | -0.23921
2019 | 9 | 25.8185 | 25.7451 | 24.393 | 0.073393 | 1.4255 | 1.4989
2019 | 10 | 33.4067 | 33.5617 | 31.4562 | -0.15503 | 1.9505 | 1.7955
2019 | 11 | 51.7259 | 51.7787 | 51.5119 | -0.052822 | 0.21391 | 0.16109
2019 | 12 | 54.0322 | 53.8785 | 53.9975 | 0.15363 | 0.034697 | 0.18833

## NM_Upgrade
Year | Month | NM_BC | NM2 | NM1 | NM2 Upgrade | NM1 Upgrade
2019 | 1 | 11.2017 | 12.414 | 11.0468 | -1.2123 | 1.3672 | 0.15494
2019 | 2 | 20.1211 | 20.6004 | 20.3937 | -0.47928 | 0.2067 | -0.27258
2019 | 3 | 20.8975 | 20.9217 | 21.0252 | -0.024202 | -0.10352 | -0.12772
2019 | 4 | 21.8691 | 21.0342 | 20.0617 | 0.83498 | 0.97247 | 1.8074
2019 | 5 | 33.8 | 31.6471 | 28.9658 | 2.1529 | 2.6812 | 4.8342
2019 | 6 | 33.4275 | 31.3282 | 28.7092 | 2.0993 | 2.619 | 4.7184
2019 | 7 | 22.8781 | 22.8067 | 22.3201 | 0.071451 | 0.48663 | 0.55809
2019 | 8 | 8.6727 | 8.6954 | 8.6845 | -0.022699 | 0.010912 | -0.011787
2019 | 9 | 6.4285 | 6.4285 | 6.4285 | 0 | 0 | 0
2019 | 10 | 7.384 | 7.384 | 7.384 | 0 | 0 | 0
2019 | 11 | 10.0656 | 10.0353 | 10.0895 | 0.030306 | -0.054184 | -0.023878
2019 | 12 | 11.4157 | 12.3595 | 11.4937 | -0.94376 | 0.86577 | -0.077994