## Electric
Row # | ER | Business Case Project Name | Staff Through August 31, 2017 | Avista Rebuttal - Through October 31, 2017 | Total Project Amount As Filed for 2017 | Washington Electric Total Project Through December 31, 2017* | Capital Witness | Business Case Ref. | Testimony Ref.
1 | Column Grand Totals |  | 11242.025 | 79076.2995 | 209451.1689
2 | Section I: Projects Included by Staff
3 | 2470 | Dist Grid Modernization | 7153.319 | 9767.7844 | 9835.1591 | 10648973.7651 | Heather L. Rosentrater | HLR-6, pg. 1, 5-12 | HLR-1T, pg. 13, 15
4 | 5005 [1] | Information Technology Refresh Program | 3144.403 | 5126.8475 | 10318.8332 | 7337523.2787 | James M. Kensok | JMK-2, pg. 1, 10-14 | JMK-1T, pg. 11-12
5 | 2204 | Substation Rebuilds | 944.303 | 1245.4183 | 10413.6411 | 4711780.2848 | Heather L. Rosentrater | HLR-6, pg. 1, 43-48 | HLR-1T, pg. 13, 20-21
6 |  | Subtotal - Section I: | 11242.025 | 16140.0502 | 30567.6334
7 | Section II: Incremental Projects Included by Avista on Rebuttal
8 | 4152 | Little Falls Powerhouse Redevelopment |  | 6721.3128 | 6889.1123 | 7115692.8322 | Scott J. Kinney | SJK-4, pg. 1, 39-43 | SJK-1T, pg. 13, 14
9 | 2055 | Electric Distribution Minor Blanket |  | 5716.5516 | 5971.2737 | 7330348.1585 | Heather L. Rosentrater | HLR-6, pg. 1, 49-54 | HLR-1T, pg. 13, 20-21
10 | 5143 [1] | AU.com & AVANet Redevelopment |  | 5693.2979 | 4427.7229 | 5800234.6924 | James M. Kensok | JMK-2, pg. 1, 15-20 | JMK-1T, pg. 11, 13
11 | 2060 | Wood Pole Mgmt |  | 5593.7324 | 6960.51 | 7184132.41 | Heather L. Rosentrater | HLR-6, pg. 1, 21-28 | HLR-1T, pg. 13, 15-16
12 | 5006 [1] | Information Technology Expansion Program |  | 3994.7018 | 6788.7039 | 8751521.1671 | James M. Kensok | JMK-2, .pg. 1, 38-42 | JMK-1T, pg. 11-12
13 | 4116 | Colstrip Capital Additions |  | 3679.2694 | 6244.35 | 6255885.4011 | Scott J. Kinney | SJK-4, pg. 1, 100-102 | SJK-1T, pg. 13, 25
14 | 2423 | System Transmission:Rebuild Condition |  | 3014.0469 | 3039.2554 | 3014046.9152 | Heather L. Rosentrater | HLR-6, pg. 2, 104-106 | HLR-1T, pg. 32-33
15 | 7000 [1] | Transportation Equip |  | 2959.4496 | 3845.7571 | 4000573.273 | Heather L. Rosentrater | HLR-6, pg. 4, 376-389 | HLR-1T, pg. 52, 59
16 | 4172 | Kettle Falls Stator Rewind |  | 2557.2747 | 4151.5746 | 2557274.6583 | Scott J. Kinney | SJK-4, pg. 1, 27-32 | SJK-1T, pg. 13, 17
17 | 4148 | Regulating Hydro |  | 2489.3871 | 4029.8669 | 4260037.6388 | Scott J. Kinney | SJK-4, pg. 1, 95-99 | SJK-1T, pg. 13, 24
18 | 2057 | Transmission Minor Rebuild |  | 2484.8082 | 3225.3136 | 3047425.4417 | Heather L. Rosentrater | HLR-6, pg. 2, 101-103 | HLR-1T, pg. 32-34
19 | 2215 | Substation Asset Mgmt Capital Maintenance |  | 2413.6493 | 3997.2072 | 3338892.473 | Heather L. Rosentrater | HLR-6, pg. 2, 93-97 | HLR-1T, pg. 32-33
20 | 2051 | Electric Transmission Plant-Storm |  | 2284.1622 | 697.3296 | 2349892.2358 | Heather L. Rosentrater | HLR-6, pg. 2, 111-114 | HLR-1T, pg. 32, 35
21 | 2457 | Benton-Othello 115 Recond |  | 2176.9586 | 2629.2 | 2176958.6172 | Heather L. Rosentrater | HLR-6, | HLR-1T, pg. 32, 36-37
22 | 5121 [1] | Microwave Replacement with Fiber |  | 2172.3735 | 2591.727 | 4378812.0569 | James M. Kensok | JMK-2, pg. 1-5 | JMK-1T, pg. 11-12
23 | 4171 | Noxon Station Service |  | 1709.2702 | 1645.2449 | 1709270.1823 | Scott J. Kinney | SJK-4, pg. 1, 59-63 | SJK-1T, pg. 13, 20
24 | 7131 [1] | COF Long Term Restructuring Plan Phase 2 |  | 1521.0441 | 6668.5935 | 1994374.1401 | Heather L. Rosentrater | HLR-6, pg. 4, 307-326 | HLR-1T, pg. 52-53
25 | 4149 | Base Load Thermal |  | 1506.6769 | 1639.4483 | 1813060.1948 | Scott J. Kinney | SJK-4, pg. 1, 91-94 | SJK-1T, pg. 13, 23-24
26 | 7126 [1] | Long term Campus Re-Structuring Plan |  | 1472.344 | 1004.8664 | 1472344.0419 | Heather L. Rosentrater | HLR-6, pg. 4, 244-257 | HLR-1T, pg. 52-54
27 | 7006 [1] | Tools Lab & Shop Equipment |  | 956.2818 | 959.8053 | 956281.8338 | Heather L. Rosentrater | HLR-6, pg. 4, 297-303 | HLR-1T, pg. 52, 56
28 | 4182 | Purchase Certified Rebuilt Cat D10R Dozer |  | 478.2128 | 535.263 | 478212.7979 | Scott J. Kinney | SJK-4, pg. 1, 73-77 | SJK-1T, pg. 13, 22
29 | 5014 [1] | Security Systems |  | 450.5759 | 1858.0508 | -1698498.5207 | James M. Kensok | JMK-2, pg. 1, 34-37 | JMK-1T, pg. 11, 15-16
30 | 4140 | Nine Mile Redevelopment |  | 408.4009 | 6261.7681 | 8301481.9768 | Scott J. Kinney | SJK-4, pg. 1, 55-58 | SJK-1T, pg. 13, 19
31 | 5151 [1] | Customer Facing Technology |  | 382.0497 | 891.2568 | 1377163.2001 | James M. Kensok | JMK-2, pg. 1, 21-23 | JMK-1T, pg. 11, 13-14
32 | 5147 [1] | Project Atlas |  | 247.2423 | 2935.9597 | 3180684.1418 | James M. Kensok | JMK-2, pg. 1, 6-9 | JMK-1T, pg. 11, 13
33 | 7001 [1] | Structures & Improv |  | 82.8688 | 1453.2315 | 810120.5481 | Heather L. Rosentrater | HLR-6, pg. 4, 290-296 | HLR-1T, pg. 52, 55-56
34 | 7139 | Downtown Campus |  | 0 | 5147.563 | 6855021.1262 | Heather L. Rosentrater | HLR-6, pg. 1, 55-59 | HLR-1T, pg. 13, 21, 52-53
35 | 2564 | Devils Gap-Lind 115kV Transmission Rebuild Proj |  | -229.6941 | 3144.842 | 3363745.9289 | Heather L. Rosentrater | HLR-6, pg. 2, 141-143 | HLR-1T, pg. 32, 38
36 |  | Subtotal - Section II: | 0 | 62936.2493 | 99634.7974
37 | Section III: Remaing Projects from Original Filing not Included by Avista on Rebuttal
38 | 1000 | Electric Revenue Blanket |  |  | 10697.4714 | 14074519.7191 | Heather L. Rosentrater
39 | 6103 | Clark Fork Implement PME Agreement |  |  | 4794.0478 | 1744094.0264 | Scott J. Kinney
40 | 1003 | Distribution Line Transformers |  |  | 4509.6329 | 4932703.998 | Heather L. Rosentrater
41 | 2580 | South Region Transmission Voltage Control |  |  | 3768.0393 |  | Heather L. Rosentrater
42 | 2531 | Westside 230 kV Substation - Rebuild |  |  | 3658.2264 |  | Heather L. Rosentrater
43 | 2514 | Distribution - Spokane North & West |  |  | 3132.074 | 2713856.7546 | Heather L. Rosentrater
44 | 4175 | KFGS Reverse Osmosis System |  |  | 2964.6345 |  | Scott J. Kinney
45 | 2000 | Substation - Capital Spares |  |  | 2763.2235 | 349389.2611 | Heather L. Rosentrater
46 | 2556 | CDA-Pine Creek 115kV Transmission Line: Rebuild |  |  | 2691.6854 | 3051580.98 | Heather L. Rosentrater
47 | 2550 | Burke-Thompson A&B 115kV Transmission Rebuld Proj |  |  | 2609.82 | 3825643.752 | Heather L. Rosentrater
48 | 2058 | Spokane Electric Network Incr Capacity |  |  | 2437.9306 | 1317214.961 | Heather L. Rosentrater
49 | 2535 | TCOP Related Distribution Rebuilds |  |  | 1703.19 | 1700394.61 | Heather L. Rosentrater
50 | 2584 | Street Light Conversion to LED Fixtures |  |  | 1697.5092 | 1078418.79 | Heather L. Rosentrater
51 | 2532 | Noxon 230 kV Substation - Rebuild |  |  | 1645.9541 | 857193.442 | Heather L. Rosentrater
52 | 2577 | Benewah-Moscow 230kV - Structure Replacement |  |  | 1643.25 | 2050776.184 | Heather L. Rosentrater
53 | 7108 | WSDOT Highway Franchise Consolidation |  |  | 1593.8473 |  | Heather L. Rosentrater
54 | 2274 | New Substations |  |  | 1593.0495 |  | Heather L. Rosentrater
55 | 2059 | Failed Electric Dist Plant-Storm |  |  | 1497.7539 | 1226793.21 | Heather L. Rosentrater
56 | 1108 | Hallett & White Subst - Expand Sub; Add Capacity |  |  | 1373.3609 | 553278.0354 | Heather L. Rosentrater
57 | 2579 | Low Priority Ratings Mitigation |  |  | 1323.6337 | 792676.6798 | Heather L. Rosentrater
58 | 6107 | Spokane River Implementation (PM&E) |  |  | 1319.4869 | 957532.7334 | Scott J. Kinney
59 | 2581 | Medium Priority Ratings Mitigation |  |  | 1314.6 | 674079.653 | Heather L. Rosentrater
60 | 2056 | Distribution Line Relocations |  |  | 1246.4457 | 2073938.7722 | Heather L. Rosentrater
61 | 2474 | Beacon-Boulder #2 115: Capacity Upgrade |  |  | 1081.5552 | 1040234.7236 | Heather L. Rosentrater
62 | 2516 | Distribution - Pullman & Lewis Clark |  |  | 1025.7011 | 302877.25 | Heather L. Rosentrater
63 | 2599 | Grid Mod Automation |  |  | 996.6057 | 698570.5491 | Heather L. Rosentrater
64 | 7143 | Noxon and Clark Fork Living Facilty Remodel |  |  | 963.5761 | 563295.77 | Heather L. Rosentrater
65 | 1009 | Network Transformers & Network Protectors |  |  | 960 | 947167.51 | Heather L. Rosentrater
66 | 2557 | 9CE-Sunset 115kV Transmission Line: Rebuild |  |  | 943.0158 | 268210.1059 | Heather L. Rosentrater
67 | 4147 | Base Hydro |  |  | 920.8244 | 525179.2557 | Scott J. Kinney
68 | 2277 [1] | SCADA Upgrade |  |  | 867.3092 | 410371.247 | Heather L. Rosentrater
69 | 4174 | Gen DC Supplied System Upgrade |  |  | 801.5844 | 159889.0729 | Scott J. Kinney
70 | 7136 [1] | New Airport Hanger |  |  | 730.4139 |  | Heather L. Rosentrater
71 | 2310 | West Plains Transmission Reinforce |  |  | 653.5975 | 1039441.4421 | Heather L. Rosentrater
72 | 5142 | High Voltage Protection Upgrade |  |  | 640.0178 | 386767.9287 | James M. Kensok
73 | 1004 | Street Lt Minor Blanket |  |  | 565.2615 | 750725.615 | Heather L. Rosentrater
74 | 1005 | Area Light Minor Blanket |  |  | 408.5539 | 390331.796 | Heather L. Rosentrater
75 | 2301 | Tribal Permits and Settlements |  |  | 408.4552 | 59767.3741 | Heather L. Rosentrater
76 | 1002 | Electric Meters Minor Blanket |  |  | 377.5974 | 1173439.571 | Heather L. Rosentrater
77 | 7005 [1] | Stores Equip |  |  | 360.8716 | 311438.237 | Heather L. Rosentrater
78 | 2073 | Elec Meter Replacement Non Revenue |  |  | 333.0627 | 117376.846 | Heather L. Rosentrater
79 | 4150 | Peaking Generation |  |  | 328.65 | 328650.2103 | Scott J. Kinney
80 | 4180 | Automation Replacement |  |  | 328.65 | 131460 | Scott J. Kinney
81 | 5010 [1] | Enterprise Business Continuity |  |  | 323.8033 |  | James M. Kensok
82 | 2414 | Sys-Dist Reliability-Improve Worst Fdrs |  |  | 307.6776 | 485746.57 | Heather L. Rosentrater
83 | 7144 [1] | Ergonomic Equiptment |  |  | 299.8601 | 300789.9839 | Heather L. Rosentrater
84 | 5144 [1] | Mobility in the Field |  |  | 259.7532 | 127795.1062 | James M. Kensok
85 | 6000 | PCB Identification & Disposal |  |  | 257.7691 | 238945 | Heather L. Rosentrater
86 | 6001 | Hydro Generation Minor Blanket |  |  | 230.055 |  | Scott J. Kinney
87 | 4163 | CG HED Automation Replacement |  |  | 216.9875 |  | Scott J. Kinney
88 | 2214 | Colstrip Transmission Capital Additions |  |  | 213.7001 | 170294.155 | Heather L. Rosentrater
89 | 2522 | 10th & Stewart Dx Int |  |  | 182.5686 |  | Heather L. Rosentrater
90 | 2054 | Electric Underground Replacement |  |  | 167.8715 | 220937.53 | Heather L. Rosentrater
91 | 7132 | Dollar Rd Service Center Addition and Remodel |  |  | 156.085 |  | Heather L. Rosentrater
92 | 7003 [1] | Office Furniture |  |  | 150.7768 | 124809.4465 | Heather L. Rosentrater
93 | 2254 | System 115kV Air Switch Upgrade |  |  | 147.8925 | 114057.0951 | Heather L. Rosentrater
94 | 7207 [1] | Purchase Company Aircraft |  |  | 144.0129 | 177185.8251 | Heather L. Rosentrater
95 | 2237 | Metro FDR Upgrade |  |  | 109.9003 | 167199.63 | Heather L. Rosentrater
96 | 6100 | Clark Fork License/Compliance |  |  | 65.73 | 21072.4333 | Scott J. Kinney
97 | 4164 | Long Lake Plant Upgrades |  |  | 51.5482 |  | Scott J. Kinney
98 | 4178 | CG HED - Gantry Crane Replacement |  |  | 50.3666 |  | Scott J. Kinney
99 | 5106 [1] | Next Generation Radio System |  |  | 49.5866 | 155855.6875 | James M. Kensok
100 | 6101 | Forest Srvc Rqmts |  |  | 47.1257 | 71696 | Heather L. Rosentrater
101 | 2539 | Garden Springs 230-115 kV Substation |  |  | 36.5603 |  | Heather L. Rosentrater
102 | 7200 [1] | Appren Craft Train |  |  | 29.2166 | 9211.6687 | Heather L. Rosentrater
103 | 2278 | Distribution Device Management Program |  |  | 25.813 |  | Heather L. Rosentrater
104 | 7127 [1] | CNG Fleet Conversion |  |  | 25.3309 | 102649.2852 | Heather L. Rosentrater
105 | 2604 | Lind-Warden 115kV Transmission Line Rebuild |  |  | 17.1093 |  | Heather L. Rosentrater
106 | 7135 | Deer Park Service Center |  |  | 4.4551 |  | Heather L. Rosentrater
107 | 4161 | CG HED U#1 Refurbishment |  |  | 2.3873 | 31010.1783 | Scott J. Kinney
108 | 4176 | Post Falls Redevelopment |  |  | 0.6249 |  | Scott J. Kinney
109 |  | Subtotal - Section III: | 0 | 0 | 79248.7382 | 179997055.3031
| [1] | These projects are associated with both Electric and Natural Gas service.

## NaturalGas
Row # | ER | Business Case Project Name | Staff Through August 31, 2017 | Avista Rebuttal - Through October 31, 2017 | Total Project Amount As Filed for 2017 | Washington Electric Total Project Through December 31, 2017* | Capital Witness | Business Case Ref. | Testimony Ref.
1 | Column Grand Totals |  | 9907.459 | 20966.5821 | 44321.1039
2 | Section I: Projects Included By Staff
3 | 3008 | Aldyl -A Pipe Replacement | 6517.794 | 8323.9033 | 11257.7917 | 8619504.2697 | Heather L. Rosentrater | HLR-6, pg. 3, 192-198 | HLR-1T, pg. 42-43
4 | 3005 | Gas Distribution Non-Revenue Blanket | 1819.892 | 2551.7034 | 1739.3276 | 3126138.1925 | Heather L. Rosentrater | HLR-6, pg. 3, 185-189 | HLR-1T, pg. 42-43
5 | 5005 [1] | Information Technology Refresh Program | 941.107 | 1627.4427 | 2972.6573 | 2188190.1327 | James M. Kensok | JMK-2, pg. 1, 10-14 | JMK-1T, pg. 11-12
6 | 5006 [1] | Information Technology Expansion Program | 423.953 | 1112.5844 | 1955.695 | 2104130.1946 | James M. Kensok | JMK-2, pg. 1, 38-42 | JMK-1T, pg. 11-12
7 | 7131 [1] | COF Long Term Restructuring Plan Phase 2 | 204.713 | 455.2456 | 1921.0935 | 548651.7383 | Heather L. Rosentrater | HLR-6, pg. 4, 307-326 | HLR-1T, pg. 52-53
8 |  | Subtotal - Section I: | 9907.459 | 14070.8794 | 19846.565
9 | Section II: Incremental Projects Included by Avista on Rebuttal
10 | 7132 | Dollar Rd Service Center Addition and Remodel |  | 1937.2604 | 44.9651 | 1947260.42 | Heather L. Rosentrater | HLR-6, pg. 4, 258-268 | HLR-1T, pg. 52, 54
11 | 5143 [1] | AU.com & AVANet Redevelopment |  | 1703.9932 | 1275.5418 | 1735999.1919 | James M. Kensok | JMK-2, pg. 1, 15-20 | JMK-1T, pg. 11, 13
12 | 7201 | Jackson Prairie Storage |  | 745.7258 | 1094.6795 | 1053143.9698 | Heather L. Rosentrater | HLR-6, pg. 4, 390-392 | HLR-1T, pg. 59
13 | 5121 [1] | Microwave Replacement with Fiber |  | 649.7677 | 746.6267 | 1325166.0596 | James M. Kensok | JMK-2, pg. 1, 2-5 | JMK-1T, pg. 11-12
14 | 7000 [1] | Transportation Equip |  | 553.9104 | 1107.8886 | 553910.4053 | Heather L. Rosentrater | HLR-6, pg. 4, 376-389 | HLR-1T, pg. 52, 59
15 | 7006 [1] | Tools Lab & Shop Equipment |  | 517.7595 | 276.5014 | 517759.5287 | Heather L. Rosentrater | HLR-6, pg. 4, 297-303 | HLR-1T, pg. 52, 56
16 | 7126 [1] | Long term Campus Re-Structuring Plan |  | 440.3304 | 289.4827 | 440330.3791 | Heather L. Rosentrater | HLR-6, pg. 4, 244-257 | HLR-1T, pg. 52-54
17 | 5014 [1] | Security Systems |  | 134.867 | 535.2687 | 176202.7911 | James M. Kensok | JMK-2, pg. 1, 34-37 | JMK-1T, pg. 11, 15-16
18 | 5151 [1] | Customer Facing Technology |  | 114.3467 | 256.7539 | 412182.3218 | James M. Kensok | JMK-2, pg. 1, 21-23 | JMK-1T, pg. 11, 13-14
19 | 5147 [1] | Project Atlas |  | 73.9991 | 845.7935 | 951972.7033 | James M. Kensok | JMK-2, pg. 1, 6-9 | JMK-1T, pg. 11, 13
20 | 7001 [1] | Structures & Improv |  | 23.7423 | 418.648 | 200299.2422 | Heather L. Rosentrater | HLR-6, pg. 4, 290-296 | HLR-1T, pg. 52, 55-56
21 | 3237 | US2 N Spo Gas HP Reinforce(Kaiser Prop) |  | 0 | 342.0002 | 2342077 | Heather L. Rosentrater | HLR-6, pg. 3, 222-227 | HLR-1T, pg. 42, 47-48
22 |  | Subtotal - Section II: | 0 | 6895.7027 | 7234.1501
23 | Section III: Remaing Projects from Original Filing not Included by Avista on Rebuttal
24 | 1001 | Gas Revenue Blanket |  |  | 9203.5259 | 15533161.287 | Heather L. Rosentrater
25 | 3003 | Gas Replace-St&Hwy |  |  | 1513.3623 | 552224.8885 | Heather L. Rosentrater
26 | 7139 | Downtown Campus |  |  | 1411.346 |  | Heather L. Rosentrater
27 | 3007 | Isolated Steel Replacement |  |  | 1044.916 | 560622.16 | Heather L. Rosentrater
28 | 1050 | Gas Meters Minor Blanket |  |  | 699.2645 | 1263316.3876 | Heather L. Rosentrater
29 | 3004 | Cathodic Protection-Minor Blanket |  |  | 619.9783 | 418344.33 | Heather L. Rosentrater
30 | 3002 | Regulator Reliable - Blanket |  |  | 563.4036 | 436189.76 | Heather L. Rosentrater
31 | 3000 | Gas Reinforce-Minor Blanket |  |  | 454.55 | 418988.596 | Heather L. Rosentrater
32 | 3055 | Gas Meter Replacement Non Revenue |  |  | 391.661 | 910688.01 | Heather L. Rosentrater
33 | 1051 | Gas Regulators Minor Blanket |  |  | 273.6619 | 435686.275 | Heather L. Rosentrater
34 | 7136 [1] | New Airport Hanger |  |  | 210.4182 |  | Heather L. Rosentrater
35 | 3304 | NSC Greene St HP Gas Main |  |  | 112.9828 |  | Heather L. Rosentrater
36 | 1053 | Gas ERT Minor Blanket |  |  | 110.4691 | 483638.128 | Heather L. Rosentrater
37 | 7005 [1] | Stores Equip |  |  | 103.9602 | 91412.1921 | Heather L. Rosentrater
38 | 3006 | Overbuilt Pipe Replacement Blanket |  |  | 100 | 20254.05 | Heather L. Rosentrater
39 | 5010 [1] | Enterprise Business Continuity |  |  | 93.2815 | 160903.9221 | James M. Kensok
40 | 7144 [1] | Ergonomic Equipment |  |  | 86.3839 | 90025.8691 | Heather L. Rosentrater
41 | 5144 [1] | Mobility in the Field |  |  | 74.8299 | 38248.8318 | James M. Kensok
42 | 3117 | Gas Telemetry |  |  | 56.2499 | 69138.75 | Heather L. Rosentrater
43 | 7003 [1] | Office Furniture |  |  | 43.4359 | 37355.2295 | Heather L. Rosentrater
44 | 7207 [1] | Purchase Company Aircraft |  |  | 41.4873 | 53031.3799 | Heather L. Rosentrater
45 | 5106 [1] | Next Generation Radio System |  |  | 14.2849 | 46502.8967 | James M. Kensok
46 | 7200 [1] | Appren Craft Train |  |  | 8.4167 | 2757.0349 | Heather L. Rosentrater
47 | 7127 [1] | CNG Fleet Conversion |  |  | 7.2973 | 11151.3624 | Heather L. Rosentrater
48 | 7135 | Deer Park Service Center |  |  | 1.2215 |  | Heather L. Rosentrater
49 |  | Subtotal - Section III: | 0 | 0 | 17240.3887 | 49876559.881
| [1] | These projects are associated with both Electric and Natural Gas service. The balances included herein relate solely to the investment costs associated with Natural Gas service.