## Outline and Notes
2023 PSE Biennial CEIP Update - Appendix E
Version: October 1, 2023
Workbook Summary: | This workbook captures the forecasted costs outside of AURORA model for complying with CETA. It includes 6 categories of costs: 1. Energy Efficiency 2. Demand Response 3. DER Enabling and Grid Modernization Costs 4. Communications and Customer Education Costs 5. Monitoring and Reporting Costs 6. DER Solar and Storage
Tab Summary:
Tab Name | Tab Summary | Data Source
1. SCGHG Cost Comparison | Compares the incremental cost between tow portfolios. One portfolio uses the same methodology from the 2021 CEIP. The other one uses an updated metholology for incorporating the SCGHG per CEIP Order Condition 32 | AURORA portfolio modeling
2. Energy Efficiency | Estimates Costs of Energy Efficiency Portfolio based on forecast energy efficiency targets for 2024 & 2025 | Draft 2024 - 2025 Biennial Conservation Plan
3. Demand Response | Forecast costs for demand response programs | PSE Internal Forecast
4. Enablement and Grid Mod Bud | Shows budgets and allocations to incremental costs for DER enablers and Grid Modernization Costs | PSE Internal Forecast
5. DER Solar and Storage | Forecast costs for DER Solar and Storage products that are not captured in Aurora model | PSE Internal Forecast
6. Comm and Education Costs | Forecast costs for delivering Communication and customer education costs, including public participation | PSE Internal Forecast based on current vendor rates
7. Admin Costs | Forecast costs for administration, including measurement and reporting | PSE Internal Forecast

## 1. SCGHG Cost comparison
Incremental cost of portfolios
Per Order 08, Condition 32, PSE performed the projected incremental cost calculation for the limited purpose of complying with Condition 32 and shows the results calculated over a two-year period.
2024
Resource | 2023 Biennial with SCGHG Dispatch | 2023 Biennial CEIP | Difference in portfolio costs
Energy Efficiency | 21420003.9557 | 21420003.9557 | 0
Demand Response | 0 | 0 | 0
Energy Supply Portfolio | -14956 | -494338 | -479382
Total | 21405047.9557 | 20925665.9557 | -479382
2025
Resource | 2023 Biennial with SCGHG Dispatch | 2023 Biennial CEIP | Difference in portfolio costs
Energy Efficiency | 21420003.9557 | 21420003.9557 | 0
Demand Response | 0 | 0 | 0
Energy Supply Portfolio | -1078398.4985 | 83103.5767 | 1161502.0752
Total | 20341605.4571 | 21503107.5323 | 1161502.0752

## 2. Energy Efficiency
| Forecast Energy Efficiency Target Based On No-CETA Portfolio (MWh) |  | Forecast Energy Efficiency Target Based On With-CETA Portfolio (MWh) |  | Energy Efficiency Cost Based on No-CETA Portfolio ($) |  | Energy Efficiency Cost Based on With-CETA Portfolio ($) |  | Incremental Cost ($) |  | BCP Exhibit 1
| 2024 | 2025 | 2024 | 2025 | 2024 | 2025 | 2024 | 2025 | 2024 | 2025 | PSE Conservation Rider Savings Goals and Budgets
| 154965.359 | 154965.359 | 198810 | 198810 | [6 empty] | Program Name | MWh savings | Electric Budget | Budget $/MWh
Residential Energy Management | [10 empty] | Residential Energy Management
Low Income Weatherization | 1710.4204 | 1710.4204 | 2194.3529 | 2194.3529 | 8548980.5123 | 8548980.5123 | 10967759.6791 | 10967759.6791 | 2418779.1667 | 2418779.1667 | Low Income Weatherization | 4308 | 21532138 | 4998.175
Single Family Existing Subtotal | 53102.8361 | 53102.8361 | 68127.3216 | 68127.3216 | 17918748.8146 | 17918748.8146 | 22988534.1842 | 22988534.1842 | 5069785.3697 | 5069785.3697 | Single Family Existing Subtotal | 133749 | 45131577 | 337.4349
Single Family New Construction | 397.8276 | 397.8276 | 510.3857 | 510.3857 | 883415.8572 | 883415.8572 | 1133362.3704 | 1133362.3704 | 249946.5133 | 249946.5133 | Single Family New Construction | 1002 | 2225041 | 2220.5998
Moderate Income Residences | 0.00039703 | 0.00039703 | 0.00050937 | 0.00050937 | 0 | 0 | 0 | 0 | 0 | 0 | Moderate Income Residences | 0.001 | 175991 | 0
Multifamily Retrofit | 4377.6916 | 4377.6916 | 5616.2801 | 5616.2801 | 5263195.0351 | 5263195.0351 | 6752320.7248 | 6752320.7248 | 1489125.6897 | 1489125.6897 | Multifamily Retrofit | 11026 | 13256299 | 1202.2763
Multifamily New Construction | 3182.2237 | 3182.2237 | 4082.5762 | 4082.5762 | 2044834.584 | 2044834.584 | 2623383.4864 | 2623383.4864 | 578548.9023 | 578548.9023 | Multifamily New Construction | 8015 | 5150282 | 642.5804
Total, Residential Programs | 62770.9997 | 62770.9997 | 80530.9169 | 80530.9169 | 34659174.8032 | 34659174.8032 | 44465360.4448 | 44465360.4448 | 9806185.6417 | 9806185.6417 | Total, Residential Programs | 158100.001 | 87471328 | 553.2658
Business Energy Management | [10 empty] | Business Energy Management
Commercial / Industrial Retrofit | 34383.1027 | 34383.1027 | 44111.1788 | 44111.1788 | 17204248.4857 | 17204248.4857 | 22071878.9308 | 22071878.9308 | 4867630.4452 | 4867630.4452 | Commercial / Industrial Retrofit | 86600 | 43331980 | 500.3693
Commercial/Industrial New Construction | 2382.2011 | 2382.2011 | 3056.2018 | 3056.2018 | 1558920.348 | 1558920.348 | 1999988.6198 | 1999988.6198 | 441068.2718 | 441068.2718 | Commercial/Industrial New Construction | 6000 | 3926420 | 654.4033
Commercial Strategic Energy Management | 11708.1214 | 11708.1214 | 15020.7223 | 15020.7223 | 2248103.4375 | 2248103.4375 | 2884163.5796 | 2884163.5796 | 636060.1421 | 636060.1421 | Commercial Strategic Energy Management | 29489 | 5662251 | 192.0123
Large Power User - Self Directed Program - Subtotal | 4750.506 | 4750.506 | 6094.5757 | 6094.5757 | 3464900.3996 | 3464900.3996 | 4445231.1991 | 4445231.1991 | 980330.7996 | 980330.7996 | Large Power User - Self Directed Program - Subtotal | 11965 | 8726972 | 729.375
Commercial Rebates | 24797.1254 | 24797.1254 | 31813.0229 | 31813.0229 | 12714639.5136 | 12714639.5136 | 16312016.4318 | 16312016.4318 | 3597376.9181 | 3597376.9181 | Commercial Rebates | 62456 | 32024096 | 512.7465
Subtotal, Business Programs | 78021.0567 | 78021.0567 | 100095.7013 | 100095.7013 | 37190812.1843 | 37190812.1843 | 47713278.7611 | 47713278.7611 | 10522466.5767 | 10522466.5767 | Subtotal, Business Programs | 196510 | 93671719 | 476.6766
Pilots With Uncertain Savings | [10 empty] | Pilots With Uncertain Savings
Residential | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Residential
Commercial | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Commercial
Subtotal, Pilots | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Subtotal, Pilots | 0 | 0
Regional Efficiency Programs | [10 empty] | Regional Efficiency Programs
NW Energy Efficiency Alliance (NEEA) | 14173.3025 | 14173.3025 | 18183.3817 | 18183.3817 | 3857294.9785 | 3857294.9785 | 4948646.7158 | 4948646.7158 | 1091351.7373 | 1091351.7373 | NW Energy Efficiency Alliance (NEEA) | 35698 | 9715288 | 272.1522
Subtotal, Regional Programs | 14173.3025 | 14173.3025 | 18183.3817 | 18183.3817 | 3857294.9785 | 3857294.9785 | 4948646.7158 | 4948646.7158 | 1091351.7373 | 1091351.7373 | Subtotal, Regional Programs | 35698 | 9715288 | 272.1522
Grand Total | 154965.359 | 154965.359 | 198810 | 198810 | 75707281.966 | 75707281.966 | 97127285.9217 | 97127285.9217 | 21420003.9557 | 21420003.9557 | Grand Total | 390308.001 | 190858335
Forecast Energy Efficiency Target
| 2024 | 2025
No-CETA Energy Efficiency MWh | 99163.2498 | 295172.1123
BCP target | 198810 | 397620

## Incremental Cost Sum - test v2 (hidden)
Suite 1
2019 |  | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 |  | Total - 2022-2025 CEIP Period | Total - 2026-2029 CEIP Period | TOTAL through 2030
2127052953.75 | PSE 2019 Electric Sales to Customers (UE-200294 -2.01), escalated at 2.5% | 2180229.2776 | 2234735.0095 | 2290603.3848 | 2347868.4694 | 2406565.1811 | 2466729.3107 | 2528397.5434 | 2591607.482 | 2656397.6691 | 2722807.6108 | 2790877.8011
Added EE gross-up %, discounted by 50% for actual PSE Cost | bar: 2020 to 2030
| Electric Sales Grossed up by EE % | 2180229.2776 | 2234735.0095 | 2290603.3848 | 2347868.4694 | 2406565.1811 | 2466729.3107 | 2528397.5434 | 2591607.482 | 2656397.6691 | 2722807.6108 | 2790877.8011
|  |  | $ 000 | 2290.6034 | 2347.8685 | 2406.5652 | 2466.7293 | 2528.3975 | 2591.6075 | 2656.3977 | 2722.8076 | 2790.8778
| Estimated 2% Annual Increase ($000) |  |  | 44694.7002 | 92545.9636 | 142528.1865 | 194713.3364 | 249175.554 | 305991.2147 | 365238.9924 | 426999.9245 | 491357.479
| Estimated 2% Annual Increase ($) |  |  | 44694700.1907 | 92545963.5823 | 142528186.4765 | 194713336.4191 | 249175554.0159 | 305991214.7363 | 365238992.4122 | 426999924.4761 | 491357478.9866 |  | 474482186.6685 | 1347405685.6404 | 2313245351.2956
|  |  | $ 000 | 44694.7002 | 92545.9636 | 142528.1865 | 194713.3364 | 249175.554 | 305991.2147 | 365238.9924 | 426999.9245 | 491357.479
Suite 1
| Energy Efficiency Incremental Cost |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Demand Response Incremental Cost |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Generation Portfolio Incremental Cost |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Alternative Compliance Cost | 2030: 65674741.4331
| Enabling Costs - Distributed Resources |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Enabling Costs - Grid Modernization to support distributed resources
| Customer - Multilingual community engagement, Outreach, and communication |  |  | 6392432.5 | 9541537.5 | 9779112.5 | 10195182.5 | 10195182.5 | 10195182.5 | 10195182.5 | 10195182.5 | 10195182.5
| Administration |  |  | 1761850 | 1798396.25 | 1835856.1562 | 1874252.5602 | 1874252.5602 | 1874252.5602 | 1874252.5602 | 1874252.5602 | 1874252.5602
| Total Estimated Incremental Cost |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF!
|  |  | $ 000 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[14 empty] | #REF! | #REF! | #REF!
[14 empty] | #REF! | #REF! | #REF!
Suite 6
2019 |  | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 |  | Total - 2022-2025 CEIP Period | Total - 2026-2029 CEIP Period | TOTAL through 2030
2127052953.75 | PSE 2019 Electric Sales to Customers (UE-200294 -2.01), escalated at 2.5% | 2180229.2776 | 2234735.0095 | 2290603.3848 | 2347868.4694 | 2406565.1811 | 2466729.3107 | 2528397.5434 | 2591607.482 | 2656397.6691 | 2722807.6108 | 2790877.8011
| Added EE gross-up %, discounted by 50% for actual PSE Cost | 0.08323% | 0.2212% | 0.3628% | 0.5003% | 0.6343% | 0.7701% | 0.903% | 1.035% | 1.164% | 1.283% | 1.289%
| Electric Sales Grossed up by EE % | 2182043.8662 | 2239677.4421 | 2298914.3874 | 2359614.3037 | 2421830.9818 | 2485726.0423 | 2551227.9034 | 2618429.3182 | 2687308.2665 | 2757733.8056 | 2826859.9442
| Estimated 2% Annual Increase ($000) |  |  | 44793.5488 | 92881.7059 | 143175.9596 | 195753.9997 | 250693.6377 | 308076.0969 | 367983.7841 | 430498.1359 | 495645.2975
| Estimated 2% Annual Increase ($) |  |  | 44793548.8412 | 92881705.8924 | 143175959.646 | 195753999.6858 | 250693637.7477 | 308076096.867 | 367983784.1348 | 430498135.9296 | 495645297.5318 |  | 476605214.0654 | 1357251654.679 | 2329502166.2762
Suite 6
| Energy Efficiency Incremental Cost |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Demand Response Incremental Cost |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Generation Portfolio Incremental Cost |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Alternative Compliance Cost | 2030: 65674741.4331
| Enabling Costs - Distributed Resources |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Enabling Costs - Grid Modernization to support distributed resources
| Customer - Multilingual community engagement, Outreach, and communication |  |  | 6392432.5 | 9541537.5 | 9779112.5 | 10195182.5 | 10195182.5 | 10195182.5 | 10195182.5 | 10195182.5 | 10195182.5
| Administration |  |  | 1761850 | 1798396.25 | 1835856.1562 | 1874252.5602 | 1874252.5602 | 1874252.5602 | 1874252.5602 | 1874252.5602 | 1874252.5602
| Total Estimated Incremental Cost |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF!
|  |  | $ 000 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  | Difference | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF!
[14 empty] | #REF! | #REF! | #REF!
Suite 5
2019 |  | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 |  | Total - 2022-2025 CEIP Period | Total - 2026-2029 CEIP Period | TOTAL through 2030
2127052953.75 | PSE 2019 Electric Sales to Customers (UE-200294 -2.01), escalated at 2.5% | 2180229.2776 | 2234735.0095 | 2290603.3848 | 2347868.4694 | 2406565.1811 | 2466729.3107 | 2528397.5434 | 2591607.482 | 2656397.6691 | 2722807.6108 | 2790877.8011
| Added EE gross-up %, discounted by 50% for actual PSE Cost | 0.08323% | 0.2212% | 0.3628% | 0.5003% | 0.6343% | 0.7701% | 0.903% | 1.035% | 1.164% | 1.283% | 1.289%
| Electric Sales Grossed up by EE % | 2182043.8662 | 2239677.4421 | 2298914.3874 | 2359614.3037 | 2421830.9818 | 2485726.0423 | 2551227.9034 | 2618429.3182 | 2687308.2665 | 2757733.8056 | 2826859.9442
| Estimated 2% Annual Increase ($000) |  |  | 44793.5488 | 92881.7059 | 143175.9596 | 195753.9997 | 250693.6377 | 308076.0969 | 367983.7841 | 430498.1359 | 495645.2975
| Estimated 2% Annual Increase ($) |  |  | 44793548.8412 | 92881705.8924 | 143175959.646 | 195753999.6858 | 250693637.7477 | 308076096.867 | 367983784.1348 | 430498135.9296 | 495645297.5318 |  | 476605214.0654 | 1357251654.679 | 2329502166.2762
Suite 5
| Energy Efficiency Incremental Cost |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Demand Response Incremental Cost |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Generation Portfolio Incremental Cost |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Alternative Compliance Cost | 2030: 65674741.4331
| Enabling Costs - Distributed Resources |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Enabling Costs - Grid Modernization to support distributed resources
| Customer - Multilingual community engagement, Outreach, and communication |  |  | 6392432.5 | 9541537.5 | 9779112.5 | 10195182.5 | 10195182.5 | 10195182.5 | 10195182.5 | 10195182.5 | 10195182.5
| Administration |  |  | 1761850 | 1798396.25 | 1835856.1562 | 1874252.5602 | 1874252.5602 | 1874252.5602 | 1874252.5602 | 1874252.5602 | 1874252.5602
| Total Estimated Incremental Cost |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! |  | #REF! | #REF! | #REF!
|  |  | $ 000 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[14 empty] | #REF! | #REF! | #REF!
[14 empty] | #REF! | #REF! | #REF!
0
[14 empty] | CEIP Period 1 (2022-2025) | CEIP Period 2 (2026-2029) | Total Through 2030
[13 empty] | Total 2% Estimate | 476605.2141 | 1357251.6547 | 2329502.1663
[13 empty] | Suite 6 (Preferred) | #REF! | #REF! | #REF!
[13 empty] | comparison to 2% | #REF! | #REF! | #REF!
[13 empty] | Suite 5 (Maximum Customer Benefit) | #REF! | #REF! | #REF!
[13 empty] | comparison to 2% | #REF! | #REF! | #REF!
[13 empty] | Suite1 (Lowest Cost) | #REF! | #REF! | #REF!
[13 empty] | comparison to 2% | #REF! | #REF! | #REF!

## DER Resources (hidden)
Annual Costs (from Connor) - Suite 6 | [7 empty] | Annual Costs (from Connor) - Suite 5
CSA Estimate | [7 empty] | CSA Estimate
2021-04-30 | [7 empty] | 2021-04-30
|  | 2022 - 2025 CEIP Period | [7 empty] | 2022 - 2025 CEIP Period
|  | 2022 | 2023 | 2024 | 2025 | 2026 | Source |  |  | 2022 | 2023 | 2024 | 2025 | 2026 | Source
Capacity (MW) | [7 empty] | Capacity (MW)
Battery Energy Storage |  | 0 | 4.8 | 7.2 | 13.6 | 25 | BCA Output | Battery Energy Storage |  | 3.4634 | 4.0075 | 8.2032 | 9.4605 | 25 | BCA Output
Solar - Ground and Rooftop |  | 0 | 25.39 | 27.409 | 26.578 | 30 | BCA Output | Solar - Ground and Rooftop |  | 12.089 | 17.055 | 22.777 | 28.565 | 30 | BCA Output
Demand Response |  |  | 5 | 6 | 18 | 27 | 2021 IRP Preferred Portfolio | Demand Response |  |  | 5 | 6 | 18 | 27 | 2021 IRP Preferred Portfolio
Capital Costs ($ M) | [7 empty] | Capital Costs ($ M)
| $/kW | $ M | [6 empty] | $/kW | $ M
Battery Energy Storage | 1934 | 0.011086 | 2.4855 | 7.8145 | 20.177 | 48.35 | BCA Output | Battery Energy Storage | 1934 | 2.1319 | 3.5553 | 10.7239 | 16.5727 | 48.35 | BCA Output
Solar - Ground and Rooftop | 3590 | 0.10324 | 3.3507 | 6.4664 | 8.18 | 107.7 | BCA Output | Solar - Ground and Rooftop | 3590 | 3.6923 | 13.0883 | 24.1658 | 44.8768 | 107.7 | BCA Output
Demand Response | 500 | 0 | 2.5 | 3 | 9 | 13.5 | Estimate under review | Demand Response | 500 | 0 | 2.5 | 3 | 9 | 13.5 | Estimate under review
Total |  | 0.11433 | 8.3361 | 17.2808 | 37.357 | 169.55 |  | Total |  | 5.8243 | 19.1435 | 37.8897 | 70.4495 | 169.55
Additional Capex Costs ($ M) | [7 empty] | Additional Capex Costs ($ M)
Battery Energy Storage |  | 2 | 2 | 1 |  |  | Estimate to continue current beta testing program | Battery Energy Storage |  | 2 | 2 | 1 |  |  | Estimate to continue current beta testing program
Solar - Ground and Rooftop | [7 empty] | Solar - Ground and Rooftop
Demand Response |  | 2 | 2 |  |  |  | Beta Testing | Demand Response |  | 2 | 2 |  |  |  | Beta Testing
Contingency @ 20% |  | 0.82287 | 2.4672 | 3.6562 | 7.4714 | 33.91 |  | Contingency @ 20% |  | 1.9649 | 4.6287 | 7.7779 | 14.0899 | 33.91
TOTAL CAPITAL ESTIMATE |  | 4.9372 | 14.8034 | 21.937 | 44.8284 | 203.46 |  | TOTAL CAPITAL ESTIMATE |  | 11.7891 | 27.7722 | 46.6676 | 84.5394 | 203.46
Opex (Power Cost) Estimates | [7 empty] | Opex (Power Cost) Estimates
Resource Only Costs | [7 empty] | Resource Only Costs
| $/kW-year | $ M |  |  |  |  | Fixed / variable O&M associated with the resource |  | $/kW-year | $ M |  |  |  |  | Fixed / variable O&M associated with the resource
Battery Energy Storage | 31.93 | 0 | 0.14531 | 0.65758 | 2.2573 | 0.79825 | BCA Output | Battery Energy Storage | 31.93 | 0.11234 | 0.29691 | 0.99699 | 2.1642 | 0.79825 | BCA Output
Solar - Ground and Rooftop | 22.23 | 0 | 7.0527 | 11.5894 | 15.8903 | 0.6669 | BCA Output | Solar - Ground and Rooftop | 22.23 | 3.94 | 7.2505 | 11.1052 | 15.6586 | 0.6669 | BCA Output
Demand Response | 0 | 0 | 0 | 0 | 0 | 0 | Weighted Average of IRP Active DR Programs | Demand Response | 0 | 0 | 0 | 0 | 0 | 0 | Weighted Average of IRP Active DR Programs
Additional Opex Costs - Program Startup |  | $ M |  |  |  |  | Programmatic spending | Additional Opex Costs - Program Startup |  | $ M |  |  |  |  | Programmatic spending
Battery Energy Storage |  | 0.29412 | 0.61605 | 0.21 | 0 |  | Estimate | Battery Energy Storage |  | 0.42017 | 0.49 | 0.21 | 0 |  | Estimate
Solar - Ground and Rooftop |  | 2.5754 | 1.1037 | 0 | 0 |  | Estimate | Solar - Ground and Rooftop |  | 4.1791 | 0 | 0 | 0 |  | Estimate
Demand Response |  | 1 | 1 | 0.5 | 0.5 |  | Estimate | Demand Response |  | 1 | 1 | 0.5 | 0.5 |  | Estimate
TOTAL OPEX ESTIMATE |  | 3.8695 | 9.9178 | 12.9569 | 18.6476 | 1.4651 |  | TOTAL OPEX ESTIMATE |  | 9.6516 | 9.0374 | 12.8122 | 18.3227 | 1.4651
Exclusions Not Yet Estimated
Impacts on 24/7 Operations
Additional Customer Program Operations Costs for Fully Functional Programs (assumed to be included in Resource Only Costs)

## Supporting - Grid Mod (hidden)
| 2022 | 2023 | 2024 | 2025 | 2026
Allocated Grid Mod Total | 3692148 | 15757803 | 17691117 | 19154298 | 22419612 | 78714978

## Supporting - DERs (hidden)
From Shelly Hagerman, 7/9/21 | [6 empty] | INPUT | [5 empty] | CEIP DER Enablement Budget
CEIP Enablement Milestone | Swimlane | Existing CSA? | CSA | CSA Status | Notes / Source | Budget Owner | 2022 | 2023 | 2024 | 2025 | Total | Enablement Allocation % | 2022 | 2023 | 2024 | 2025 | Total
DER Enablement Milestones
Procurement & Vendor Management Strategy | Procurement | N/A |  |  | Incremental labor (see Incremental Staffing Needs) | Ben Farrow | 160807.5 | 0 | 55122.5 | 0 | 215930 | 100% | 160807.5 | 0 | 55122.5 | 0 | 215930
Capital | [6 empty] | 75000 | 0 | 0 | 0 | 75000 |  | 75000 | 0 | 0 | 0
Labor | [10 empty] | 0
Services | [6 empty] | 75000 |  |  |  | 75000
Materials | [10 empty] | 0
IT | [10 empty] | 0
Expense | [6 empty] | 85807.5 | 0 | 55122.5 | 0 | 140930 |  | 85807.5 | 0 | 55122.5 | 0 | 140930
Labor | [6 empty] | 85807.5 | 0 | 55122.5 | 0 | 140930
Services | [10 empty] | 0
IT | [10 empty] | 0
Market Engagement & Benchmarking | Procurement | N/A |  |  | No incremental expense needs if framework exists today. However, may involve vendors. | Will Einstein | 0 | 0 | 0 | 200000 | 200000 | 100% | 0 | 0 | 0 | 200000 | 200000
Capital | [6 empty] | 0 | 0 | 0 | 200000 | 200000 |  | 0 | 0 | 0 | 200000 | 200000
Labor | [10 empty] | 0
Services | [9 empty] | 200000 | 200000
Materials | [10 empty] | 0
IT | [10 empty] | 0
Expense | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [6 empty] | 0 | 0 | 0 | 0 | 0
Services | [10 empty] | 0
IT | [10 empty] | 0
Regulatory & Stakeholder Engagement Strategy | Strategy & Planning | N/A |  |  | No incremental headcount expected | Will Einstein | 0 | 0 | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 0 | 0
Capital | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [10 empty] | 0
Services | [10 empty] | 0
Materials | [10 empty] | 0
IT | [10 empty] | 0
Expense | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [6 empty] | 0 | 0 | 0 | 0 | 0
Services | [10 empty] | 0
IT | [10 empty] | 0
Portfolio Customer Care Strategy | Customer | N/A |  |  | Initial upfront strategy + potential incremental customer care FTE | Carol Wallace | 142154 | 258315 | 193511 | 193511 | 787491 | 100% | 142154 | 258315 | 193511 | 193511 | 787491
Capital | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [10 empty] | 0
Services | [10 empty] | 0
Materials | [10 empty] | 0
IT | [10 empty] | 0
Expense | [6 empty] | 142154 | 258315 | 193511 | 193511 | 787491 |  | 142154 | 258315 | 193511 | 193511 | 787491
Labor | [6 empty] | 142154 | 258315 | 193511 | 193511 | 787491
Services | [10 empty] | 0
IT | [10 empty] | 0
Portfolio Marketing Strategy | Customer | N/A |  |  | Any incremental labor need | Christina Donegan | 376495 | 185245 | 36711.5 | 36711.5 | 635163 | 100% | 376495 | 185245 | 36711.5 | 36711.5 | 635163
Capital | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [10 empty] | 0
Services | [10 empty] | 0
Materials | [10 empty] | 0
IT | [10 empty] | 0
Expense | [6 empty] | 376495 | 185245 | 36711.5 | 36711.5 | 635163 |  | 376495 | 185245 | 36711.5 | 36711.5 | 635163
Labor | [6 empty] | 301495 | 110245 | 36711.5 | 36711.5 | 485163
Services | [6 empty] | 75000 | 75000 |  |  | 150000
IT | [10 empty] | 0
DER Customer Experience Strategy | Customer | N/A |  |  | No incremental headcount expected | Will Einstein | 250000 | 0 | 0 | 0 | 250000 | 100% | 250000 | 0 | 0 | 0 | 250000
Capital | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [10 empty] | 0
Services | [10 empty] | 0
Materials | [10 empty] | 0
IT | [10 empty] | 0
Expense | [6 empty] | 250000 | 0 | 0 | 0 | 250000 |  | 250000 | 0 | 0 | 0 | 250000
Labor | [6 empty] | 0 | 0 | 0 | 0 | 0
Services | [6 empty] | 250000 |  |  |  | 250000
IT | [10 empty] | 0
Customer Relationship Management (CRM) Platform | Customer | No |  |  | SAP is developing cost prior to CSA. Get updates from next CSA update file | Theresa Burch | 1200000 | 3300000 | 0 | 0 | 4500000 | 100% | 1200000 | 3300000 | 0 | 0 | 4500000
Capital | [6 empty] | 1200000 | 3300000 | 0 | 0 | 4500000 |  | 1200000 | 3300000 | 0 | 0 | 4500000
Labor | [10 empty] | 0
Services | [6 empty] | 200000 | 300000 |  |  | 500000
Materials | [10 empty] | 0
IT | [6 empty] | 1000000 | 3000000 |  |  | 4000000
Expense | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [6 empty] | 0 | 0 | 0 | 0 | 0
Services | [10 empty] | 0
IT | [10 empty] | 0
Customer Enrollment & Education Portal | Customer | No |  |  | No incremental staff necessary; incremental GRC marketing spend | Carol Wallace | 0 | 900000 | 0 | 0 | 900000 | 100% | 0 | 900000 | 0 | 0 | 900000
Capital | [6 empty] | 0 | 900000 | 0 | 0 | 900000 |  | 0 | 900000 | 0 | 0 | 900000
Labor | [10 empty] | 0
Services | [7 empty] | 500000 |  |  | 500000
Materials | [10 empty] | 0
IT | [7 empty] | 400000 |  |  | 400000
Expense | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [6 empty] | 0 | 0 | 0 | 0 | 0
Services | [10 empty] | 0
IT | [10 empty] | 0
Customer Notification Platform | Customer | TBD |  |  | Existing notification platform exists; supposed to get in update | Carol Wallace | 811370 | 322740 | 122740 | 122740 | 1379590 | 100% | 811370 | 322740 | 122740 | 122740 | 1379590
Capital | [6 empty] | 750000 | 200000 | 0 | 0 | 950000 |  | 750000 | 200000 | 0 | 0 | 950000
Labor | [10 empty] | 0
Services | [6 empty] | 150000 |  |  |  | 150000
Materials | [10 empty] | 0
IT | [6 empty] | 600000 | 200000 |  |  | 800000
Expense | [6 empty] | 61370 | 122740 | 122740 | 122740 | 429590 |  | 61370 | 122740 | 122740 | 122740 | 429590
Labor | [6 empty] | 61370 | 122740 | 122740 | 122740 | 429590
Services | [10 empty] | 0
IT | [10 empty] | 0
Complex Billing Functionality | Customer | No |  |  | Supposed to get in update CSA file | Theresa Burch | 4044375 | 4244375 | 244375 | 244375 | 8777500 | 100% | 4044375 | 4244375 | 244375 | 244375 | 8777500
Capital | [6 empty] | 3800000 | 4000000 | 0 | 0 | 7800000 |  | 3800000 | 4000000 | 0 | 0 | 7800000
Labor | [10 empty] | 0
Services | [6 empty] | 300000 |  |  |  | 300000
Materials | [10 empty] | 0
IT | [6 empty] | 3500000 | 4000000 |  |  | 7500000
Expense | [6 empty] | 244375 | 244375 | 244375 | 244375 | 977500 |  | 244375 | 244375 | 244375 | 244375 | 977500
Labor | [6 empty] | 244375 | 244375 | 244375 | 244375 | 977500
Services | [10 empty] | 0
IT | [10 empty] | 0
Device Marketplace | Customer | N/A |  |  | Potentially expand EE platform; currently 3rd party application | Will Einstein | 0 | 0 | 950000 | 0 | 950000 | 100% | 0 | 0 | 950000 | 0 | 950000
Capital | [6 empty] | 0 | 0 | 950000 | 0 | 950000 |  | 0 | 0 | 950000 | 0 | 950000
Labor | [10 empty] | 0
Services | [8 empty] | 150000 |  | 150000
Materials | [10 empty] | 0
IT | [8 empty] | 800000 |  | 800000
Expense | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [6 empty] | 0 | 0 | 0 | 0 | 0
Services | [10 empty] | 0
IT | [10 empty] | 0
Marketing Platform | Customer | TBD |  |  | Supposed to get in update CSA file | Theresa Burch | 0 | 1150000 | 0 | 0 | 1150000 | 100% | 0 | 1150000 | 0 | 0 | 1150000
Capital | [6 empty] | 0 | 1150000 | 0 | 0 | 1150000 |  | 0 | 1150000 | 0 | 0 | 1150000
Labor | [10 empty] | 0
Services | [7 empty] | 150000 |  |  | 150000
Materials | [10 empty] | 0
IT | [7 empty] | 1000000 |  |  | 1000000
Expense | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [6 empty] | 0 | 0 | 0 | 0 | 0
Services | [10 empty] | 0
IT | [10 empty] | 0
Portfolio & Product Management Strategy | Strategy & Planning | N/A |  |  |  | Will Einstein | 75000 | 0 | 0 | 0 | 75000 | 100% | 75000 | 0 | 0 | 0 | 75000
Capital | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [10 empty] | 0
Services | [10 empty] | 0
Materials | [10 empty] | 0
IT | [10 empty] | 0
Expense | [6 empty] | 75000 | 0 | 0 | 0 | 75000 |  | 75000 | 0 | 0 | 0 | 75000
Labor | [6 empty] | 0 | 0 | 0 | 0 | 0
Services | [6 empty] | 75000 |  |  |  | 75000
IT | [10 empty] | 0
Innovation Project / Emerging Technology Process | Strategy & Planning | No |  |  | Was in last year's CSA possibly, but not funded right now | Ben Farrow | 0 | 122740 | 0 | 0 | 122740 | 100% | 0 | 122740 | 0 | 0 | 122740
Capital | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [10 empty] | 0
Services | [10 empty] | 0
Materials | [10 empty] | 0
IT | [10 empty] | 0
Expense | [6 empty] | 0 | 122740 | 0 | 0 | 122740 |  | 0 | 122740 | 0 | 0 | 122740
Labor | [6 empty] | 0 | 122740 | 0 | 0 | 122740
Services | [10 empty] | 0
IT | [10 empty] | 0
Asset Management Strategy & Planning | Operations | N/A |  |  |  | Cathy Koch | 290502.5 | 138252.5 | 97750 | 97750 | 624255 | 100% | 290502.5 | 138252.5 | 97750 | 97750 | 624255
Capital | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [10 empty] | 0
Services | [10 empty] | 0
Materials | [10 empty] | 0
IT | [10 empty] | 0
Expense | [6 empty] | 290502.5 | 138252.5 | 97750 | 97750 | 624255 |  | 290502.5 | 138252.5 | 97750 | 97750 | 624255
Labor | [6 empty] | 40502.5 | 138252.5 | 97750 | 97750 | 374255
Services | [6 empty] | 250000 |  |  |  | 250000
IT | [10 empty] | 0
Dispatch & Operations Strategy | Operations | N/A |  |  |  | Paul Wetherbee | 290502.5 | 138252.5 | 97750 | 97750 | 624255 | 100% | 290502.5 | 138252.5 | 97750 | 97750 | 624255
Capital | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [10 empty] | 0
Services | [10 empty] | 0
Materials | [10 empty] | 0
IT | [10 empty] | 0
Expense | [6 empty] | 290502.5 | 138252.5 | 97750 | 97750 | 624255 |  | 290502.5 | 138252.5 | 97750 | 97750 | 624255
Labor | [6 empty] | 40502.5 | 138252.5 | 97750 | 97750 | 374255
Services | [6 empty] | 250000 |  |  |  | 250000
IT | [10 empty] | 0
DER IT/OT Strategy | Operations | N/A |  |  |  | Brian Fellon | 290502.5 | 97750 | 97750 | 97750 | 583752.5 | 100% | 290502.5 | 97750 | 97750 | 97750 | 583752.5
Capital | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [10 empty] | 0
Services | [10 empty] | 0
Materials | [10 empty] | 0
IT | [10 empty] | 0
Expense | [6 empty] | 290502.5 | 97750 | 97750 | 97750 | 583752.5 |  | 290502.5 | 97750 | 97750 | 97750 | 583752.5
Labor | [6 empty] | 40502.5 | 97750 | 97750 | 97750 | 333752.5
Services | [6 empty] | 250000 |  |  |  | 250000
IT | [10 empty] | 0
Virtual Power Plant (VPP) | Operations | Yes |  |  |  | Elaine Markham | 5962737 | 1839763 | 0 | 0 | 7802500 | 100% | 5962737 | 1839763 | 0 | 0 | 7802500
Capital |  |  |  |  | Capital budget from CSA |  | 5962737 | 1839763 | 0 | 0 | 7802500 |  | 5962737 | 1839763 | 0 | 0 | 7802500
Labor | [10 empty] | 0
Services | [10 empty] | 0
Materials | [10 empty] | 0
IT | [10 empty] | 0
Expense | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [6 empty] | 0 | 0 | 0 | 0 | 0
Services | [10 empty] | 0
IT | [10 empty] | 0
Total Enablement | [6 empty] | 13894446 | 12697433 | 1895710 | 1090587.5 | 29578176.5 |  | 13894446 | 12697433 | 1895710 | 1090587.5 | 29578176.5
Capital | [6 empty] | 11787737 | 11389763 | 950000 | 200000 | 24327500 |  | 11787737 | 11389763 | 950000 | 200000 | 24327500
Expense | [6 empty] | 2106709 | 1307670 | 945710 | 890587.5 | 5250676.5 |  | 2106709 | 1307670 | 945710 | 890587.5 | 5250676.5
11787737
Grid Modernization
NWA Evaluation Tool & Methodology | Strategy & Planning | TBD |  |  | CSA Budget file notes: "very small tool to have its own CSA". Probably rolled into broader Grid Mod CSA. If including, figure out what allocation to use from larger Grid Mod CSA. May be zero. | Elaine Markham | 827571 | 685759.6667 | 685759.6667 | 685759.6667 | 2884850 | 100% | 827571 | 685759.6667 | 685759.6667 | 685759.6667 | 2884850
Capital | [6 empty] | 750000 | 0 | 0 | 0 | 750000 |  | 750000 | 0 | 0 | 0 | 750000
Labor | [10 empty] | 0
Services | [6 empty] | 750000 |  |  |  | 750000
Materials | [10 empty] | 0
IT | [10 empty] | 0
Expense | [6 empty] | 77571 | 685759.6667 | 685759.6667 | 685759.6667 | 2134850 |  | 77571 | 685759.6667 | 685759.6667 | 685759.6667 | 2134850
Labor | [6 empty] | 77571 | 269093 | 269093 | 269093 | 884850
Services | [6 empty] | 0 | 416666.6667 | 416666.6667 | 416666.6667 | 1250000
IT | [10 empty] | 0
Feeder-level Forecasting Tool | Strategy & Planning | Yes |  |  | Existing CSA, in-flight project. Can talk about it in narrative, but not include in enabling budget. May lump grid mod milestones. | Elaine Markham | 248900 | 248900 | 248900 | 0 | 746700 | 20% | 49780 | 49780 | 49780 | 0 | 149340
Capital |  |  |  |  | Capital budget from CSA |  | 248900 | 248900 | 248900 |  | 746700 |  | 49780 | 49780 | 49780 | 0 | 149340
Labor | [10 empty] | 0
Services | [10 empty] | 0
Materials | [10 empty] | 0
IT | [10 empty] | 0
Expense | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [6 empty] | 0 | 0 | 0 | 0 | 0
Services | [10 empty] | 0
IT | [10 empty] | 0
Hosting Capacity Analysis | Strategy & Planning | Yes |  |  |  | Elaine Markham | 3500000 | 30000 | 30000 | 30000 | 3590000 | 100% | 3500000 | 30000 | 30000 | 30000 | 3590000
Capital |  |  |  |  | Capital budget from CSA |  | 3500000 | 30000 | 30000 | 30000 | 3590000 |  | 3500000 | 30000 | 30000 | 30000 | 3590000
Labor | [10 empty] | 0
Services | [10 empty] | 0
Materials | [10 empty] | 0
IT | [10 empty] | 0
Expense | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [6 empty] | 0 | 0 | 0 | 0 | 0
Services | [10 empty] | 0
IT | [10 empty] | 0
Locational Pricing & Valuation Tool | Strategy & Planning | No |  |  | Jens may be the decision maker; do not have b-case for it. That will be developed next year |  | 0 | 0 | 1920218 | 220218 | 2140436 | 100% | 0 | 0 | 1920218 | 220218 | 2140436
Capital | [6 empty] | 0 | 0 | 1700000 | 0 | 1700000 |  | 0 | 0 | 1700000 | 0 | 1700000
Labor | [10 empty] | 0
Services | [8 empty] | 1500000 |  | 1500000
Materials | [10 empty] | 0
IT | [8 empty] | 200000 |  | 200000
Expense | [6 empty] | 0 | 0 | 220218 | 220218 | 440436 |  | 0 | 0 | 220218 | 220218 | 440436
Labor | [6 empty] | 0 | 0 | 220218 | 220218 | 440436
Services | [10 empty] | 0
IT | [10 empty] | 0
Advanced Distribution Management System (ADMS) | Operations | Yes |  |  |  | Cathy Koch | 6501177 | 945922 | 0 | 0 | 7447099 | 0% | 0 | 0 | 0 | 0 | 0
Capital |  |  |  |  | Capital budget from CSA |  | 6501177 | 945922 |  |  | 7447099 |  | 0 | 0 | 0 | 0 | 0
Labor | [10 empty] | 0
Services | [10 empty] | 0
Materials | [10 empty] | 0
IT | [10 empty] | 0
Expense | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [6 empty] | 0 | 0 | 0 | 0 | 0
Services | [10 empty] | 0
IT | [10 empty] | 0
Interconnection Portal Enhancements | Operations | TBD |  |  | determine whether included in hosting capacity CSA | Heather Mulligan | 0 | 0 | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 0 | 0
Capital | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [10 empty] | 0
Services | [10 empty] | 0
Materials | [10 empty] | 0
IT | [10 empty] | 0
Expense | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [6 empty] | 0 | 0 | 0 | 0 | 0
Services | [10 empty] | 0
IT | [10 empty] | 0
ADMS-integrated DER Management System (DERMS) | Operations | No |  |  | Have some prefunding for scoping and development but do not have funding for implementation. Prefunding from grid mod catch-all buckets | Elaine Markham | 0 | 0 | 475321 | 3566843 | 4042164 | 100% | 0 | 0 | 475321 | 3566843 | 4042164
Capital | [6 empty] | 0 | 0 | 475321 | 3566843 | 4042164 |  | 0 | 0 | 475321 | 3566843 | 4042164
Labor | [6 empty] | 0 | 0 | 175321 | 366843 | 542164
Services | [8 empty] | 300000 | 1700000 | 2000000
Materials | [10 empty] | 0
IT | [9 empty] | 1500000 | 1500000
Expense | [6 empty] | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
Labor | [10 empty] | 0
Services | [10 empty] | 0
IT | [10 empty] | 0
Summary of non-Grid Modernization Costs
Capital | [6 empty] | 5825000 | 9550000 | 950000 | 200000
Expense | [6 empty] | 2106709 | 1307670 | 945710 | 890587.5

## Supporting - Education (hidden)
Customer Education, Community Outreach, and EAG Support Totals
| 2022 | 2023 | 2024 | 2025 | 2026
CEIP Customer Education and Information | 5151692.5 | 8511297.5 | 8720832.5 | 9136902.5 | 9136902.5
Community Outreach | 960340 | 749840 | 749840 | 749840 | 749840
EAG Support | 280400 | 280400 | 308440 | 308440 | 308440
Total | 6392432.5 | 9541537.5 | 9779112.5 | 10195182.5 | 10195182.5
Source: 6/30/21 Spreadsheet Summary

## Supporting Administration (hidden)
Staffing | [5 empty] | 2022 | 2023 | 2024 | 2025 | 2026
|  |  | Unit Cost | Overhead | Escalation
| 1.5 | Management | 130000 | 69% | 2.5% | 329550 | 337788.75 | 346233.4688 | 354889.3055 | 363761.5381
| 3 | Analysts | 110000 | 69% | 2.5% | 557700 | 571642.5 | 585933.5625 | 600581.9016 | 615596.4491
| 1 | Program Management | 100000 | 69% | 2.5% | 169000 | 173225 | 177555.625 | 181994.5156 | 186544.3785
| 2 | Additional Resource Analytics | 120000 | 69% | 2.5% | 405600 | 415740 | 426133.5 | 436786.8375 | 447706.5084
Outside Services
|  | CBI Data Collection |  |  |  | 200000 | 200000 | 200000 | 200000 | 200000
|  | Report Development |  |  |  | 100000 | 100000 | 100000 | 100000 | 100000
Total | [5 empty] | 1761850 | 1798396.25 | 1835856.1562 | 1874252.5602 | 1913608.8742

## 3. Demand Response
Demand Response programs forecast - 2024 and 2025
Calendar Year | Rider Funding | Power Cost | Annual Portfolio Cost
2024 | $4,930,745 | $11,391,237 | $16,321,982
2025 | $5,300,945 | $16,618,635 | $21,919,580
These costs reflect current program forecasts for demand response. They do not reflect the costs assumed in AURORA modeling.

## 4. Enablement and Grid Mod Bud
| 2021 CEIP Budget |  |  | 2023 Biennial CEIP Update Budget
CEIP Enablement Milestone | 2024 | 2025 | Total | 2024 | 2025 | Total
DER Enablement Milestones
Procurement & Vendor Management Strategy | 382500 | 382500 | 765000 | 0 | 0 | 0
Capital | 0 | 0 |  | 0 | 0
Expense | 382500 | 382500 | 765000 | 0 | 0 | 0
Market Engagement & Benchmarking | 0 | 200000 | 200000 | 0 | 0 | 0
Capital | 0 | 0 | 0 | 0 | 0 | 0
Expense | 0 | 200000 | 200000 | 0 | 0 | 0
Regulatory & Interested Party Engagement Strategy | 0 | 0 | 0 | 0 | 0 | 0
Capital | 0 | 0 | 0 | 0 | 0 | 0
Expense | 0 | 0 | 0 | 0 | 0 | 0
Portfolio Customer Care Strategy | 162010 | 162010 | 324020 | 125000 | 0 | 125000
Capital | 0 | 0 | 0 | 0 | 0 | 0
Expense | 162010 | 162010 | 324020 | 125000 | 0 | 125000
Portfolio Marketing Strategy | 36711.5 | 36711.5 | 73423 | 162000 | 0 | 162000
Capital | 0 | 0 | 0 | 0 | 0 | 0
Expense | 36711.5 | 36711.5 | 73423 | 162000 | 0 | 162000
DER Customer Experience Strategy | 0 | 0 | 0 | 0 | 0 | 0
Capital | 0 | 0 | 0 | 0 | 0 | 0
Expense | 0 | 0 | 0 | 0 | 0 | 0
Customer Relationship Management (CRM) Platform | 1239000 | 225000 | 1464000 | 3167000 | 0 | 3167000
Capital | 1014000 | 0 | 1014000 | 3167000 | 0 | 3167000
Expense | 225000 | 225000 | 450000 | 0 | 0 | 0
Customer Enrollment & Education Portal | 0 | 0 | 0 | 5794913 | 6599778 | 12394691
Capital | 0 | 0 | 0 | 5492500 | 5500000 | 10992500
Expense | 0 | 0 | 0 | 302413 | 1099778 | 1402191
Customer Notification Platform | 522740 | 122740 | 645480 | 0 | 0 | 0
Capital | 400000 | 0 | 400000 | 0 | 0 | 0
Expense | 122740 | 122740 | 245480 | 0 | 0 | 0
Complex Billing Functionality | 5050000 | 50000 | 5100000 | 5198000 | 430000 | 5628000
Capital | 5000000 | 0 | 5000000 | 5198000 | 0 | 5198000
Expense | 50000 | 50000 | 100000 |  | 430000 | 430000
Device Marketplace | 400000 | 550000 | 950000 | 0 | 0 | 0
Capital | 400000 | 550000 | 950000 | 0 | 0 | 0
Expense | 0 | 0 | 0 | 0 | 0 | 0
Marketing Platform | 0 | 0 | 0 | 0 | 0 | 0
Capital | 0 | 0 | 0 | 0 | 0 | 0
Expense | 0 | 0 | 0 | 0 | 0 | 0
Portfolio & Product Management Strategy | 162010 | 162010 | 324020 | 0 | 0 | 0
Capital | 0 | 0 | 0 | 0 | 0 | 0
Expense | 162010 | 162010 | 324020 | 0 | 0 | 0
Innovation Project / Emerging Technology Process | 0 | 0 | 0 | 3876000 | 9111000 | 12987000
Capital | 0 | 0 | 0 | 3819000 | 9054000 | 12873000
Expense | 0 | 0 | 0 | 57000 | 57000 | 114000
Asset Management Strategy & Planning | 162010 | 162010 | 324020 | 402840 | 0 | 402840
Capital | 0 | 0 | 0 | 0 | 0 | 0
Expense | 162010 | 162010 | 324020 | 402840 | 0 | 402840
Dispatch & Operations Strategy | 775710 | 775710 | 1551420 | 691875 | 709172 | 1401047
Capital | 0 | 0 | 0 | 0 | 0 | 0
Expense | 775710 | 775710 | 1551420 | 691875 | 709172 | 1401047
DER IT/OT Strategy | 490960 | 490960 | 981920 | 0 | 0 | 0
Capital | 0 | 0 | 0 | 0 | 0 | 0
Expense | 490960 | 490960 | 981920 | 0 | 0 | 0
Virtual Power Plant (VPP) | 455260 | 455260 | 910520 | 0 | 0 | 0
Capital | 0 | 0 | 0 | 0 | 0 | 0
Expense | 455260 | 455260 | 910520 | 0 | 0 | 0
Data Lake And Analytics | 1130000 | 1640000 | 2770000 | 0 | 0 | 0
Capital | 1130000 | 1640000 | 2770000 | 0 | 0 | 0
Expense | 0 | 0 | 0 | 0 | 0 | 0
Feeder-level Forecasting Tool | 0 | 0 | 0 | 53000 | 53000 | 106000
Capital | 0 | 0 | 0 | 0 | 0 | 0
Expense | 0 | 0 | 0 | 53000 | 53000 | 106000
Hosting Capacity Analysis | 493447 | 493447 | 986894 | 0 | 0 | 0
Capital | 30000 | 30000 | 60000 | 0 | 0 | 0
Expense | 463447 | 463447 | 926894 | 0 | 0 | 0
Locational Pricing & Valuation Tool | 0 | 0 | 0 | 0 | 0 | 0
Capital | 0 | 0 | 0 | 0 | 0 | 0
Expense | 0 | 0 | 0 | 0 | 0 | 0
Advanced Distribution Management System (ADMS) | 0 | 0 | 0 | 4100000 | 4050000 | 8150000
Capital | 0 | 0 | 0 | 4100000 | 4050000 | 8150000
Expense | 0 | 0 | 0 | 0 | 0 | 0
ADMS-integrated DER Management System (DERMS) | 475000 | 3500000 | 3975000 | 0 | 475000 | 475000
Capital | 475000 | 3500000 | 3975000 | 0 | 475000 | 475000
Expense | 0 | 0 | 0 | 0 | 0 | 0
Total Enablement | 11937358.5 | 9408358.5 | 21345717 | 24082944 | 21956164 | 44998578
Capital | 8449000 | 5720000 | 14169000 | 21776500 | 19079000 | 40855500
Expense | 3488358.5 | 3688358.5 | 7176717 | 1794128 | 2348950 | 4143078
Labor Expense |  |  | 0 | 512316 | 528214 | 1040530
Grid Modernization
Substation SCADA | 14080000 | 14080000 | 28160000 | 0 | 0 | 0
Capital | 14080000 | 14080000 | 28160000 | 0 | 0 | 0
Expense | 0 | 0 | 0 | 0 | 0 | 0
Circuit Enablement - DER and Microgrids | 17500000 | 25000000 | 42500000 | 0 | 0 | 0
Capital | 17500000 | 25000000 | 42500000 | 0 | 0 | 0
Expense | 0 | 0 | 0 | 0 | 0 | 0
Resilience Enhancement | 7134225 | 7134225 | 14268450 | 0 | 0 | 0
Capital | 6667500 | 6667500 | 13335000 | 0 | 0 | 0
Expense | 466725 | 466725 | 933450 | 0 | 0 | 0
Grid Modernization - Core | 0 | 0 | 0 | 0 | 0 | 0
Capital | 0 | 0 | 0 | 0 | 0 | 0
Expense
Total Grid Modernization | 38714225 | 46214225 | 84928450 | 0 | 0 | 0
Capital | 38247500 | 45747500 | 83995000 | 0 | 0 | 0
Expense | 466725 | 466725 | 933450 | 0 | 0 | 0
Grand Total | 50651583.5 | 55622583.5 | 106274167 | 24082944 | 21956164 | 44998578
Updated estimated costs for 2024 and 2025 are provided in this 2023 Biennial Update.
Per Final Order 08, Condition 30, PSE removed costs related to DER enablement and grid modernization from the CETA portfolio costs in the Biennial Update, which are highlighted in green above. However, the following items will be recovered through Schedule 141CEI for 2023 and 2024: Hosting Capacity Analysis, Virtual Power Plant, Data Lake and Analytics, Circuit Enablement. Per GRC settlement, Substation SCADA and Resilience Enhancement will be recovered through general rates.

## 5. DER Solar and Storage
DER solar and storage
AURORA modeling cost output
Product | 2024 | 2025 | Total in 24-25
2023 DSS RFP Solar Offers | 138.92 | 4047.24 | 4186.16
New PSE Owned Community Solar | 2080.13 | 11626.96 | 13707.09
Existing PSE Owned Community Solar | 0 | 0 | 0
Solar Export Rate | 916.3957 | 2198.868 | 3115.2637
Residential Rent-to-Own | 0 | 591.4824 | 591.4824
Green Power Solar Grants | 832.4084 | 850.8874 | 1683.2958
DEA Solar Pilot | 155.3651 | 591.4824 | 746.8475
Total | 4123.2192 | 19906.9202 | 24030.1394
Product | 2024 | 2025 | Total in 24-25
2023 DSS RFP Storage Offers | 0 | 7712.735 | 7712.735
Total | 0 | 7712.735 | 7712.735

## 6. Comm and Education Costs
Customer Education and Engagement Projected Costs
Updated 10/23/23
Per Final Order 08, Condition 31, PSE has removed corporate marketing and promotional costs from the CEIP related costs. Appendix E reflects the updated detailed costs under Communication and Education with none of the line items related to marketing and promotional costs.
2021 CEIP Estimates | 2024 | 2025
General Education and Engagement | 8945833 | 9136903
Focused Education and Engagement | 969340 | 969340
Equity Advisory Group Support | 299900 | 299900
Total | 10215073 | 10406143
General Education and Engagement
Work | 2024 | 2025
Clean energy educational campaign, multilingual and named community audiences | 5480550 | 4125000
Multilingual transcreation and translation services for clean energy educational materials | 75000 | 50000
Interactive education design and/or curriculum development on clean energy | 2249999.32 | 1411272
Clean energy education community events, multilingual and named community audiences | 977024 | 526875.8
Clean energy awareness message testing and campaign performance measurement | 517909 | 300000
Educational video or digital content development | 100000 | 75000
Communications personnel | 1213454 | 1223374
Outreach personnel | 772975.27 | 795953
Outreach Peer to Peer Engagement Model Pilot(s) | 397603 | 360000
Community Listening, Facilitation, and Outreach Services, especially focused on tribal and community facing language access barriers | 223857.62 | 222226
Event fees and CBO stipends | 38000 | 20000
Total General Education and Engagement Estimate | 12046372.21 | 9109700.8
Focused Education and Engagement
Work | 2024 | 2025
Print and digital materials (production, printing, translation) | 113850 | 125235
Feedback and inquiry tracking (CRM and data management) | 75900 | 83490
Direct engagement (interviews, events, forums, stipends, etc.) | 189750 | 208725
Mailers and surveys | 167750 | 184525
Communications personnel | 391580 | 511413
Total Estimate | 938830 | 1113388
Equity Advisory Group Support
Work | 2024 | 2025
Facilitation and support | 376200 | 413820
Member stipends | 95150 | 104665
Miscellaneous (e.g., travel, meals) | 17820 | 19602
Communications personnel | 237913 | 307104
Total Estimate | 727083 | 845191
Total | 13712285.21 | 11068279.8

## 7. Admin
Administration Costs
2021 CEIP Estimate | 2024 | 2025
| 2162433 | 2216494
2023 Biennial CEIP | 2024 | 2025 | Details
Staffing | 2792537 | 2626886 | Internal Tracking, Preparation of External Reporting Evaluation of Baseline Measurements of Energy Indicators Evaluation of Non-Energy Indicators Data Monitoring for Customer Benefit Indicators Participation in Policy and Technical Forums
DER Empowerment Pilot | 300000 | 300000 | Startegic and focused engagement
Measurement Plan | 88000 | 88000 | Update based on additional indicators and data
Additional Customer Benefit Indicator Research | 156000 | 156000 | Assumes 2 comprehenzive research efforts
Energy Exemplar | 46242 | 46242 | Payment for AURORA modeling software
Total Estimate | 3382779 | 3217128