## Slide 1: WUTC Workshop Docket U-161024
Pacific Power Distribution Planning
March 10, 2017

## Slide 2: Pacific Power
Kevin Putnam, Director-Field Engineering and Area Planning
Scott Beyer, Director-Transmission Planning
Heide Caswell, Director-T&D Asset Performance

## Slide 3: Agenda
Electric T&D Planning
  Define
  Tools
  Process
  Solution Selection
  Examples/Experiences
    DER Screening Tool
    Energy Storage
    Simplified California DRP
Challenges
Moving Forward

## Slide 4: Electric T&D Planning-Define
Distribution Planning Study (5 year)
  Less than 35kV
  Distribution Substation Getaway to End of Feeder
Area Planning Study (10 year)
  Distribution Substations
  Sub-Transmission
  Transmission
Transmission Studies

## Slide 5: Electric T&D Planning-Tools
Transmission
  Production cost model (GRIDVIEW)
  Power flow model (PSS/E)
  SCADA
  PI Historian
Distribution
  Power flow model (CYME)
  CYME Gateway (Data)
  Reliability model (GREATER, FIRE)
  SCADA
  PI Historian
  DER Screening tool
Customer
  Production/load resource meters
  AMI meters (in certain jurisdictions)

## Slide 6: Electric T&D Planning
What drives the need?
  New Customer Uses
  Enhance system capacity
  Improve system reliability
  Perform work required by mandates
  Replace equipment/modernize grid

## Slide 7: Electric T&D Planning-Process

## Slide 8: Electric T&D Planning-Solutions
Improve Planning Information
Improve System Operation
Modernize the Energy Grid
Enhance System Capacity
Customer Solutions
Utilize Advanced Technology

## Slide 9: Electric T&D Planning-Screening
Pacific Power Smart Grid Report 9/1/2016
  DER Template Discussion (pages 14,15)
  Appendix E DER Template (pages 46-63)
    Solar
    Solar and Energy Storage
    DSM Alternative

## Slide 10: Electric T&D Planning-Storage
  Washington Clean Energy Fund 2 Discussion (page 17)
  Appendix G Washington Clean Energy Fund 2 Grant Application (pages 65-69)

## Slide 11: DRP Experience
California Simplified Distribution Resource Plan

## Slide 12: DRP Experience

## Slide 13: DRP Experience

## Slide 14: Planning Challenges in the Future
Traditional Planning Approach: required loose integration of scenarios against which plans are developed
Future Planning Approach: requires tight integration of scenarios against which plans are developed

## Slide 15: Challenges
Preserve the quality of service to our customers
Load Modeling
  Variability in our customers’ needs
  Changes in forecasting methods and data sources
  Interrelationship between energy sources and distribution planning decisions
  Distribution Power Flow software is in its formative state
Process and Policy
  Distribution models become more critical
  Technology rapidly evolving
  Addressing emerging issues
  Translating distribution into transmission planning
  Pricing structures drive certain technologies

## Slide 16: Moving Forward
Develop margins for distribution planning
Identification of relevant costs, risks, benefits
Maintain focus on industry developments
  Modeling tool developments in power flow software
  Greater data needs now and in the future
  Integration and interfaces between data sources and data uses is critical to ensure proper answers are developed
Distribution models and application become more critical
T&D Planning and the IRP
  Distinct and Separate Requirements