## Customer Analysis
Washington |  |  | 2012-09-17 | through | 2012-09-18
09/17/2012 to 09/17/2012 |  |  | Customer Analysis |  |  |  |  | Customers Restored by Intervals | [6 empty] | Major Event Only
PacifiCorp Major Events Report Customer Analysis | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | <= 5 min | > 5 min < 3 hrs | >= 3 hrs <= 24 hrs | > 24 hrs < 48 hrs | >= 48 hrs < 72 hrs | >= 72 hrs < 96 hrs | >= 96 hrs | % Sustained Customers Restored in 3 Hours PS4 | SAIDI | SAIFI | CAIDI
PacifiCorp | 24521 | 1% | 763390 | 25 | 1836200 | 1704 | 24477 | 44 | 0 | 0 | 0 | 0 | 99.82% | 0.42 | 0.01 | 31
Pacific Power | 24521 | 3% | 763390 | 25 | 779258 | 1704 | 24477 | 44 | 0 | 0 | 0 | 0 | 99.82% | 0.98 | 0.03 | 31
Washington | 24521 | 18% | 763390 | 25 | 134711 | 1704 | 24477 | 44 | 0 | 0 | 0 | 0 | 99.82% | 5.67 | 0.18 | 31
SUNNYSIDE | 10 | 0.0406% | 380.5 | 1 | 24630 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 100% | 0.015449 | 0.00040601 | 38.05
WALLA WALLA | 1 | 0.003525% | 57.317 | 1 | 28370 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 100% | 0.0020203 | 3.5248e-05 | 57.317
YAKIMA | 24510 | 30% | 762952.46 | 23 | 81709 | 1704 | 24466 | 44 | 0 | 0 | 0 | 0 | 99.82% | 9.3374 | 0.29997 | 31.1282
Customer Interrupted by Date
| 2012-09-17 | through | 2012-09-18 |  |  |  |  | Customers Restored by Intervals
Date | Sustained Customers Off | % Sustained Customers Off | CML | Number of Sustained Interruptions | Average Customer Count | <= 5 min | > 5 min < 3 hrs | >= 3 hrs <= 24 hrs | > 24 hrs < 48 hrs | >= 48 hrs < 72 hrs | >= 72 hrs < 96 hrs | >= 96 hrs | % Sustained Customers Restored in 3 Hours PS4
2012-09-17 | 24521 | 18% | 763390 | 25 | 134711 | 1704 | 24477 | 44 | 0 | 0 | 0 | 0 | 100%

## SSC by Op Area
Washington | Event |  | 2012-09-17 | through | 2012-09-18 |  | Month |  | 2012-09-01 | through | 2012-09-30 |  | YTD | FY2013 | 2012-01-01 | through | 2012-09-30
09/17/2012 to 09/17/2012 |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded
PacifiCorp Major Events Report SSC by Op Area | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PacifiCorp | 0.51 | 0.01 | 36 | 0.1 | 0 | 128.38 | 17.99 | 0.12 | 151.07 | 11.54 | 0.09 | 132.8 | 181.32 | 1.18 | 153.34 | 117.27 | 0.95 | 122.81
Pacific Power | 1 | 0.03 | 32 | 0.02 | 0 | 129.95 | 9.09 | 0.09 | 99.2 | 8.11 | 0.06 | 134.81 | 197.39 | 1.07 | 184.79 | 89.69 | 0.76 | 118.57
Washington | 5.6669 | 0.18203 | 31.1321 |  |  |  | 8.8995 | 0.20702 | 42.9885 | 3.2326 | 0.024994 | 129.3357 | 105.4529 | 0.71531 | 147.4228 | 67.0226 | 0.44994 | 148.9586
SUNNYSIDE | 0.015449 | 0.00040601 | 38.05 |  |  |  | 2.9624 | 0.016362 | 181.0513 | 2.9469 | 0.015956 | 184.69 | 69.1437 | 0.51815 | 133.4437 | 45.3237 | 0.43305 | 104.6618
WALLA WALLA | 0.0020203 | 3.5248e-05 | 57.317 |  |  |  | 4.3062 | 0.021502 | 200.2734 | 4.3042 | 0.021466 | 200.5082 | 126.5999 | 0.74032 | 171.006 | 125.2833 | 0.73345 | 170.8136
YAKIMA | 9.3374 | 0.29997 | 31.1282 |  |  |  | 12.2842 | 0.32891 | 37.3482 | 2.9468 | 0.028944 | 101.8101 | 109.058 | 0.76607 | 142.3599 | 53.3365 | 0.35661 | 149.5665

## SSC by State
Washington | Event |  | 2012-09-17 | through | 2012-09-18 |  | Month |  | 2012-09-01 | through | 2012-09-30 |  | YTD | FY2013 | 2012-01-01 | through | 2012-09-30
09/17/2012 to 09/17/2012 |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded |  |  | Major Events Included |  |  | Major Events Excluded
PacifiCorp Major Events Report SSC by State | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI | SAIDI | SAIFI | CAIDI
PacifiCorp | 0.51 | 0.01 | 36 | 0.1 | 0 | 128.38 | 17.99 | 0.12 | 151.07 | 11.54 | 0.09 | 132.8 | 181.32 | 1.18 | 153.34 | 117.27 | 0.95 | 122.81
Pacific Power | 1 | 0.03 | 32 | 0.02 | 0 | 129.95 | 9.09 | 0.09 | 99.2 | 8.11 | 0.06 | 134.81 | 197.39 | 1.07 | 184.79 | 89.69 | 0.76 | 118.57
Washington | 5.6669 | 0.18203 | 31.1321 |  |  |  | 8.8995 | 0.20702 | 42.9885 | 3.2326 | 0.024994 | 129.3357 | 105.4529 | 0.71531 | 147.4228 | 67.0226 | 0.44994 | 148.9586
SUNNYSIDE | 0.0028246 | 7.4233e-05 | 38.05 |  |  |  | 0.54163 | 0.0029916 | 181.0513 | 0.53881 | 0.0029174 | 184.69 | 12.6419 | 0.094736 | 133.4437 | 8.2868 | 0.079177 | 104.6618
WALLA WALLA | 0.00042548 | 7.4233e-06 | 57.317 |  |  |  | 0.90688 | 0.0045282 | 200.2734 | 0.90646 | 0.0045208 | 200.5082 | 26.6618 | 0.15591 | 171.006 | 26.3845 | 0.15446 | 170.8136
YAKIMA | 5.6636 | 0.18195 | 31.1282 |  |  |  | 7.451 | 0.1995 | 37.3482 | 1.7874 | 0.017556 | 101.8101 | 66.1491 | 0.46466 | 142.3599 | 32.3512 | 0.2163 | 149.5665