## 2019 Rate Calculation
Cascade Natural Gas Corp.
|  | Replacement Projects 1-1-19 to 10-31-19 |  |  | Actual costs thru
April with
[5 empty] | Estimtimated Cost | 2019-04-30
|  | Project | Location |  | May thru October | Actual Cost |  | TYPE OF PIPE TO BE REPLACED
1 | x | CRM RPL ANACORTES BARE STEEL | MT. VERNON |  | 2290780.27 | -570937.52 | BARE STEEL/PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
2 | x | CRM RPL LONGVIEW BARE STEEL | LONGVIEW |  | 1863038.61 | 44778.9 | BARE STEEL/PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
3 | x | CRM RPL; 12" STL HP, LONG/KELSO PH3 | LONGVIEW |  | 3547011.48 | 407231.2 | PRE-CNG PIPE - HIGH (RED) IN DIMP
4 | x | CRM SHELTON REPLACEMENT | ABERDEEN |  | 1877306.37 | 100180.59 | PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
5 | x | CRM RP 2" LYNDEN | BELLINGHAM |  | 118198.46 | 40989.42 | PRE-CNG STEEL PIPE
6 | x | CRM BELLINGHAM BRIDGE CROSSINGS RMV | BELLINGHAM |  | -7627.71 | -7627.71 | PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
7 | x | CRM KELSO GRADE ST BRIDGE RELOCATE | LONGVIEW |  | 291018.51 | 3002.68 | EXPOSED PIPE SUSCEPTIBLE TO CORROSION RISK - MODERATE (ORANGE)
8 | x | CRM RPL 8" MARCH POINT - 11C1144-1 | MT. VERNON |  | -173286.05 | -173286.05 | PRE-CODE TRANSMISSION MAIN, HISTORY OF CORROSION
9 | x | CRM 6,8" HP; MOSES LAKE; 16,495' | WENATCHEE |  | -887271.33 | -887271.33 | PRE-CNG PIPE
10 | x | ANACORTES CRM PHASE 2 | MT VERNON |  | 1469707.15 | 39617.27 | HIGH-MODERATE RISK IN DIMP
11 | x | CRM KELSO REPLACEMENT | LONGVIEW |  | 938524.27 | -420099.24 | BARE STEEL/PRE-CNG PIPE IDENTIFIED HIGH (RED) RISK IN DIMP
12 | x | CRM 2" STL BELLINGHAM | BELLIGHAM |  | 144816.91 | 181.42 | EARLY VINTAGE STEEL PIPE PRE-1970
13 | x | CRM RPL HP OTHELLO | WENATCHEE |  | 2478713.65 | 229.29 | EARLY VINTAGE STEEL PIPE PRE-1970
14 | x | CRM RP 8" BRIDGE CROSSING WALLA WALLA | WALLA WALLA |  | 228776.14 |  | EARLY VINTAGE STEEL PIPE (FISH)
15
16
17
18
19
20 |  | Total Estimated Replacement Cost |  |  | 14179706.73 | -1423011.08
[6 empty] | Schedule | Schedule | Schedule | Schedule | Schedule | Schedule
[6 empty] | 503 | 504 | 505 | 511 | 570 | 663
38 |  | Rate Base Allocation from UG-170929 Company COS |  |  | 279938461 | 139245995 | 64103014 | 7030783 | 5473765 | 806645 | 63278259
39 |  | Percentage |  |  | 100% | 49.74% | 22.9% | 2.512% | 1.955% | 0.2882% | 22.6%
40 |  | Total Investment |  | Ln 20 | 14179706.73
41 |  | Depreciation Expense - Rate 2.58% |  | Ln 40* 2.58% | 365836.4336 | 365836.4336
42 |  | Accumulated Depr. (Avg) |  | Ln 41 / 2 | 182918.2168
43 |  | Accum Tax depreciation |  | Ln 40 *3.75% | 531739.0024
44 |  | Deferred Tax |  | (Ln 43 - Ln 41) * .21 | 34839.5394
45 |  | Accum Def Tax (Avg) |  | Ln 44 / 2 | 17419.7697
46 |  | FIT |  | Ln 41* .21 |  | 76825.6511
47 |  | Interest Coordination Adj (Rate Base x Weighted Cost of Debt (2.70045%) x 21% FIT) |  |  |  | 79276.2313
48 |  | Rate Bate |  | Ln 20 - Ln 42 - Ln 45 | 13979368.7435
49 |  | Authorized ROR from UG-170929 |  |  | 7.31%
50 |  | NOI |  | ((Ln 48 * Ln 49) and (Ln 41 - Ln 46-Ln 47) | 1021891.8551 | 209734.5513
51 |  | Total NOI |  | Sum Ln 50 | 1231626.4064
52 |  | Conversion Factor in UG-170929 |  |  | 0.75499
53 |  | Revenue Requirement (Current Year Investment) |  | Ln 51 / Ln 52 | 1631314.8604
|  | 2018 and 2017 Current Revenue Requirement |  |  | 3348588.6014
54 |  | Total Revenue Requirement |  | Ln 53 | 4979903.4617
|  | Less UG-180512 Revenue Requirement |  |  | 3337532
|  | Increase in Revenue Requirement |  |  | 1642371.4617
55 |  | Allocation Rev Req to Schedules |  | Ln 54 * Ln 39 |  | 2477085.8926 | 1140346.4182 | 125072.5623 | 97374.3343 | 14349.6332 | 1125674.6212
56 |  | Weather Normalized 2018 Volumes (From UG-190210, Current General Rate Case) |  |  |  | 130085781 | 91852229 | 11994800 | 14055647 | 2201469 | 528910079
57 |  | Rate Charge |  | Ln 55 / Ln 56 |  | 0.019042 | 0.012415 | 0.010427 | 0.0069278 | 0.0065182 | 0.0021283
58 |  | 2018 Commission Basis Total Revenue |  |  |  | 224484640
59 |  | Percentage Increase in Revenue |  | Ln 54 / Ln 58 |  | 0.7316%

## 2018 Rate Calculation
Replacement Projects 11-1-16 to 10-31-17
Replacement Cost
| Project | Location | Included in UG-180512 |  |  | TYPE OF PIPE TO BE REPLACED
1 | CRM RPL ANACORTES BARE STEEL | MT. VERNON | 2531231.08 |  | BARE STEEL/PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
2 | CRM RPL LONGVIEW BARE STEEL | LONGVIEW | -830769.68 |  | BARE STEEL/PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
3 | CRM RPL; 12" STL HP, LONG/KELSO PH2 | LONGVIEW | 4510217.47 |  | PRE-CNG PIPE - HIGH (RED) IN DIMP
4 | CRM SHELTON REPLACEMENT | ABERDEEN | 2008907.94 |  | PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
5 | CRM RICHLAND 7" PRE-CNG | RICHLAND | 594792 |  | PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
6 | CRM BELLINGHAM BRIDGE CROSSINGS RMV | BELLINGHAM | -106471.58 |  | PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
7 | CRM KELSO GRADE ST BRIDGE RELOCATE | LONGVIEW |  |  | EXPOSED PIPE SUSCEPTIBLE TO CORROSION RISK - MODERATE (ORANGE)
8 | CRM RPL 8" MARCH POINT - 11C1144-1 | MT. VERNON | 2116449.25 |  | PRE-CODE TRANSMISSION MAIN, HISTORY OF CORROSION
9 | CRM 2" ST; LONG; COAL CR SLOUGH | LONGVIEW | 0 |  | EXPOSED PIPE SUSCEPTIBLE TO CORROSION RISK, POORLY SUPPRTED
| CRM 6,8" HP; MOSES LAKE; 16,495' | WENATCHEE | 3209457.02 |  | PRE-CNG PIPE
10 | ANACORTES CRM PHASE 1 | MT VERNON | 1646242.11 |  | HIGH-MODERATE RISK IN DIMP
11 | CRM KELSO REPLACEMENT | LONGVIEW | 2260359.55 |  | BARE STEEL/PRE-CNG PIPE IDENTIFIED HIGH (RED) RISK IN DIMP
12 | CRM RPL; 12" STL HP, KELSO PH1 | LONGVIEW | 1502776.03 |  | PRE-CNG PIPE - HIGH (RED) IN DIMP
13
14
15
16
17
18
19
20 | Replacement Cost Included in UG-180674 |  | 19443191.19
28 | Total Investment | Ln 25 | 19443191.19
29 | Depreciation Expense - Rate 2.58% | Ln 28* 2.58% | 501634.3327 | 501634.3327
30 | Accumulated Depr. (Avg) | Ln 29 / 2 + 1st yr depr | 752451.4991
31 | Accum Tax depreciation | See Calc Below | 1430921.6556
32 | Accum Deferred Tax (Avg) | (Ln 31 - Ln 30) * .21 | 142478.7329
33 | Interest Coordination Adj (Rate Base x Weighted Cost of Debt x FIT) |  |  | 105186.1677
34 | FIT | Ln 29 * .21 |  | 105343.2099
35 | Rate Bate |  | 18548260.9581
36 | Authorized ROR from UG-170929 |  | 7.31%
37 | NOI | (Ln 35 * Ln 36) and (Ln 29 - Ln 34 - Ln 33) | 1355877.876 | 291104.9551
38 | Total NOI | (Ln 35 * Ln 36) + (Ln 29 - Ln 34 - Ln 33) |  | 1646982.8311
39 | Conversion Factor from UG-170929 |  |  | 0.75499
40 | Revenue Requirement | Ln 21 / Ln 22 |  | 2181463.107
Accum
| Tax Depreciation | Year 1 | 3.75% | 729119.6696 | 729119.6696
|  | Year 2 | 7.219% | 1403603.972 | 701801.986
1430921.6556

## 2017 Rate Calculation
Replacement Projects 11-1-16 to 10-31-17
Replacement Cost
| Project | Location | Included in UG-170674 |  |  | TYPE OF PIPE TO BE REPLACED
1 | CRM RPL ANACORTES BARE STEEL | MT. VERNON | 2099611.38 |  | BARE STEEL/PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
2 | CRM RPL LONGVIEW BARE STEEL | LONGVIEW | 2698474.18 |  | BARE STEEL/PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
3 | CRM VANCE CREEK EXPOSURE REPLACE | ABERDEEN | 245721.33 |  | EXPOSED PIPE (CORROSION) IN ADDITION TO MODERATE (ORANGE) RISK IN DIMP
4 | CRM CAMP CREEK EXPOSURE REPLACEMENT | ABERDEEN | 246080.03 |  | EXPOSED PIPE (CORROSION) IN ADDITION TO MODERATE (ORANGE) RISK IN DIMP
5 | CRM 3" BURLINGTON HP LINE REPLACEMENT | MT. VERNON | 2115517.28 |  | PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
6 | CRM BELLINGHAM BRIDGE CROSSINGS RMV | BELLINGHAM | 153729.27 |  | PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
7 | CRM KELSO GRADE ST BRIDGE RELOCATE | LONGVIEW |  |  | EXPOSED PIPE SUSCEPTIBLE TO CORROSION RISK - MODERATE (ORANGE)
8 | 2 IN STEEL IP BORE BELFAIR PL | KENNEWICK | 181637.67 |  | MODERATE (ORANGE) RISK IN DIMP
9 | CRM 6" NOB HILL REPLACEMENT | YAKIMA | 125684.65 |  | IDENTIFIED HIGH (RED) RISK IN DIMP
| KENNEWICK RR CROSS NEAR KAMIAKIN | KENNEWICK | 202436.25 |  | MODERATE (ORANGE) RISK IN DIMP
10 | CRM RPL 12" Steel HP, Kelso | KELSO | 1769209.04 |  | HIGH (RED) RISK IN DIMP
11 | CRM Shelton Pipe Replacement | SHELTON | 90213.58 |  | PRE-CNG PIPE - IDENTIFIED HIGH (RED) RISK IN DIMP
12 | Vance Creek Replacement (#2) | ABERDEEN | 624724.73 |  | EXPOSED PIPE (CORROSION) IN ADDITION TO MODERATE (ORANGE) RISK IN DIMP
13 | CRM RPL 2" STL MN - Bellingham | BELLINGHAM | 86262.08 |  | IDENTIFIED MODERATE (ORANGE) RISK IN DIMP
14
15
16
17
18
19
20 | Replacement Cost Included in UG-170674 |  | 10639301.47
28 | Total Investment | Ln 25 | 10639301.47
29 | Depreciation Expense - Rate 2.58% | Ln 28* 2.58% | 274493.9779 | 274493.9779
30 | Accumulated Depr. (Avg) | Ln 29 / 2 + 1st yr depr+2nd yr depr | 686234.9448
31 | Accum Tax depreciation | See Calc Below | 1167024.9782
32 | Accum Deferred Tax (Avg) | (Ln 31 - Ln 30) * .21 | 100965.907
33 | Interest Coordination Adj (Rate Base x Weighted Cost of Debt x FIT) |  |  | 55870.7207
34 | FIT | Ln 29 * .21 |  | 57643.7354
35 | Rate Bate |  | 9852100.6182
36 | Authorized ROR from UG-170929 |  | 7.31%
37 | NOI | (Ln 35 * Ln 36) and (Ln 29 - Ln 34 - Ln 33) | 720188.5552 | 160979.5218
38 | Total NOI | (Ln 35 * Ln 36) + (Ln 29 - Ln 34 - Ln 33) |  | 881168.077
39 | Conversion Factor from UG-170929 |  |  | 0.75499
40 | Revenue Requirement | Ln 21 / Ln 22 |  | 1167125.4944
Accum
| Tax Depreciation | Year 1 | 3.75% | 398973.8051 | 398973.8051
|  | Year 2 | 7.219% | 768051.1731 | 768051.1731
|  | Year 3 | 6.77% | 720280.7095 | 360140.3548
1167024.9782