## Rate Summary
Verizon Northwest Inc.
Rate Summary - Multiplexing and Collocation
| MRC FIXED ALLOCATOR: | 24.75%
| Rate Element | NRC/MRC | Increment | Rate | Source
NRC Rate Elements
Multiplexing
1 | Service Connection - DS1 to DS0/VG | NRC | per order | N/A
2 | Service Connection - DS3 to DS1 | NRC | per order | 159.22
Virtual and Fiber Optic
1 | Engineering/Major Augment - Virtual | NRC | per occurrence | 557.81 | Virtual Engineering - New-PS
2 | Virtual Equipment Installation | NRC | per quarter rack | 3474.2482 | Virtual Equip Powered-PS
3 | Virtual Software Upgrades | NRC | per base unit | 96.0834 | Virtual Software-PS
4 | Virtual Card Installation | NRC | per card | 223.7313 | Virtual Card Install-PS
5 | Facility Cable-Category 5 Connectorized | NRC | per linear foot | 1.0979 | Cable-PS
6 | Fiber Optic Patchcord Pull | NRC | per cable run | 207.2 | Facility Pull-PS
7 | Fiber Optic Patchcord Termination | NRC | per termination | 1.12 | Facility Term-PS
8 | Fiber Optic Patchcord-24 Fiber (Connectorized) | NRC | per cable run | 834.35 | Cable-PS
Dedicated Transit Service - DSO
9 | Service Order-Semi-Mechanized | NRC | per order | 23.98 | DTS-SO-Semi-Mech-DS0-PS
10 | Service Order-Manual | NRC | per order | 41.72 | DTS-SO-Manual-DS0-PS
11 | Service Connection-CO Wiring | NRC | per circuit | 10.2652 | DTS-CO Wiring-DS0-PS
12 | Service Connection-Provisioning | NRC | per order | 54.34 | DTS-Svc Conn-Prov-DS0-PS
13 | Service Order-Disconnect-Semi-Mechanized | NRC | per order | 20.87 | DTS-SO-Disc-Semi-Mech-DSO-PS
14 | Service Order-Disconnect-Manual | NRC | per order | 37 | DTS-SO-Disc-Manual-DS0-PS
15 | Service Connection-Disconnect-Provisioning | NRC | per order | 44.75 | DTS-Svc Conn-Disc-Prov-DS0-PS
16 | Service Connection-Disconnect-CO Wiring | NRC | per circuit | 5.5413 | DTS-Svc Conn-CO Wiring-Disc-DS0-PS
Dedicated Transit Service - DS1/DS3
17 | Service Order-Semi-Mechanized | NRC | per order | 23.98 | DTS-SO-Semi-Mech-DS1+-PS
18 | Service Order-Manual | NRC | per order | 41.72 | DTS-SO-Manual-DS1+-PS
19 | Service Connection-CO Wiring - DS1 | NRC | per circuit | 21.713 | DTS-CO Wiring-DS1-PS
20 | Service Connection-CO Wiring - DS3 | NRC | per circuit | 62.887 | DTS-CO Wiring-DS3-PS
21 | Service Connection-Provisioning | NRC | per order | 70.48 | DTS-Svc Conn-Prov-DS1+-PS
22 | Service Order-Disconnect-Semi-Mechanized | NRC | per order | 22.12 | DTS-SO-Disc-Semi-Mech-DS1+-PS
23 | Service Order-Disconnect-Manual | NRC | per order | 38.25 | DTS-SO-Disc-Manual-DS1+-PS
24 | Service Connection-Disconnect-Provisioning | NRC | per order | 44.75 | DTS-Svc Conn-Disc-Prov-DS1+-PS
25 | Service Connection-Disconnect-CO Wiring | NRC | per circuit | 5.5413 | DTS-Svc Conn-CO Wiring-Disc-DS1+-PS
Dedicated Transit Service - Dark Fiber
26 | Service Order-Semi-Mechanized | NRC | per order | 44.38 | DTS-SO-Semi-Mech-Dark Fiber-PS
27 | Service Order-Manual | NRC | per order | 45.99 | DTS-SO-Manual-Dark Fiber-PS
28 | Service Connection-CO Wiring | NRC | per circuit | 62.9246 | DTS-CO Wiring-Dark Fiber-PS
29 | Service Connection-Provisioning | NRC | per order | 11.29 | DTS-Svc Conn-Prov-Dark Fiber-PS
30 | Service Order-Disconnect-Semi-Mechanized | NRC | per order | 21.56 | DTS-SO-Disc-Semi-Mech-Dark Fiber-PS
31 | Service Order-Disconnect-Manual | NRC | per order | 21.56 | DTS-SO-Disc-Manual-Dark Fiber-PS
32 | Service Connection-Disconnect-Provisioning | NRC | per order | 11.29 | DTS-Svc Conn-Disc-Prov-Dark Fiber-PS
33 | Service Connection-Disconnect-CO Wiring | NRC | per circuit | 5.5413 | DTS-Svc Conn-CO Wiring-Disc-Dark Fiber-PS
MRC Rate Elements
Virtual and Fiber Optic
34 | Virtual Equipment Maintenance | MRC | per quarter rack | 79.5724 | Virtual Equip Maint Powered-PS
35 | Facility Termination - Fiber Optic Patchcord | MRC | per connector | 0.88572 | Fac Term - Fiber Optic-PS
36 | Cable Duct Space - Fiber Optic Patchcord | MRC | per fiber strand | 0.38465 | Fiber Optic Duct Space-PS

## NFCost (hidden)
Verizon: EIS Cost Study - North Carolina |  |  | North Carolina
Summary of Costs |  |  | 14% | Single/Shared/ | [7 empty] | Miscellaneous |  | Virtual Advanced
|  | Fixed Allocator | 14% | Sublease Cage |  | Virtual |  | Cageless |  | Adjacent On-Site |  | Services |  | Data Services
|  | Cost Elements | Increm't | NRC | MRC | NRC | MRC | NRC | MRC | NRC | MRC | NRC | MRC | NRC | MRC
Non-recurring Costs
Engineering Costs
| New Collocation Site |  | per occ | 1267.635 |  | 523.6 |  | 1267.64 |  | 958 |  |  |  | 523.6
| Existing Collocation Site |  | per occ | 1071.725 |  |  |  | 1071.73
| Augment/Change Current Svc Arrangements |  | per occ | 199.415 |  |  |  | 199.42
Building Modification
Access Card Administration
|  | New/Replacement | per card | 19.56 |  |  |  | 19.56
|  | Change | per card | 2.68 |  |  |  | 2.68
Electrical
|  | Cage Grounding Bar | per bar | 1387.08
Overhead Superstructure
|  | Engineering Costs | per project | 33.82 |  |  |  | 33.82
|  | Installation | 1 lin ft | 13.31 |  |  |  | 13.31
|  | Travel Time | per project | 44.37 |  |  |  | 44.37
|  | Materials - Racking | 1 lin ft | 20.59 |  |  |  | 20.59
Cage Enclosure
Cage Fencing
|  | 100 and Over square feet Floor Space | 1 SF fencing | 7.66
|  | 75 - 99 square feet Floor Space | 1 SF fencing | 8.17
|  | 50 - 74 square feet Floor Space | 1 SF fencing | 9.02
|  | 25 - 49 square feet Floor Space | 1 SF fencing | 10.93
| Cage Gate |  | per gate | 471.53
Equipment Engineering and Installation
| OC3 |  | per system |  |  | 3584.32 | [7 empty] | 3584.32
| OC12 |  | per system |  |  | 3584.32 | [7 empty] | 3584.32
| OC24 |  | per system |  |  | 3584.32 | [7 empty] | 3584.32
| OC48 |  | per system |  |  | 3584.32 | [7 empty] | 3584.32
| NGDLC |  | per system |  |  | 6255.2 | [7 empty] | 6255.2
| Card Installation & Software - DS1/DS3 |  | per card |  |  | 179.65 | [7 empty] | 179.65
| Card Installation & Software - NGDLC |  | per card |  |  | 5.19 | [7 empty] | 5.19
DC Power Facility
|  | Termination | per pwr run | 66.56 |  | 66.56 |  | 66.56 | [5 empty] | 66.56
|  | Power Cable Pull - Labor | 1 lin ft | 11.09 |  | 11.09 |  | 11.09 | [5 empty] | 11.09
|  | Engineering Costs | per project | 33.82 |  | 33.82 |  | 33.82 | [5 empty] | 33.82
|  | Travel Time | per project | 44.37 |  | 44.37 |  | 44.37 | [5 empty] | 44.37
Fiber Cable Pull
| Engineering Costs |  | per project | 606.3 |  | 606.3 |  | 606.3 |  | 606.3 |  |  |  | 606.3
| Place Innerduct |  | 1 lin ft | 2.27 |  | 2.27 |  | 2.27 |  | 2.27 |  |  |  | 2.27
| Pull Cable |  | 1 lin ft | 0.93 |  | 0.93 |  | 0.93 |  | 0.93 |  |  |  | 0.93
| Cable Fire Retardant |  | per occ | 44.37 |  | 44.37 |  | 44.37 |  | 44.37 |  |  |  | 44.37
Non-recurring Costs
Metallic Cable Pull
| Engineering Costs |  | per project | [6 empty] | 606.3
| Pull Cable < 1.5" Dia. |  | 1 lin ft | [6 empty] | 1.05
| Pull Cable > 1.5" Dia. |  | 1 lin ft | [6 empty] | 1.05
| Cable Fire Retardant |  | per occ | [6 empty] | 44.37
Non-recurring Costs
Cable Splice
Metallic
|  | Engineering Costs | per project | [6 empty] | 30.32
|  | Splicing (greater than 200 pair) | per pair | [6 empty] | 1.38
|  | Splicing (200 pair or less) | per pair | [6 empty] | 1.38
Fiber
|  | Engineering Costs | per project | 30.32 |  | 30.32 |  | 30.32 |  | 30.32 |  |  |  | 30.32
|  | Splicing (48 fiber cable or less) | per fiber | 49.33 |  | 49.33 |  | 49.33 |  | 49.33 |  |  |  | 49.33
|  | Splicing (greater than 48 fiber cable) | per fiber | 41.54 |  | 41.54 |  | 41.54 |  | 41.54 |  |  |  | 41.54
Facility Pull
| Engineering Costs |  | per project | 33.82 |  | 33.82 |  | 33.82 |  | 33.82 |  |  |  | 33.82
Per DSO Cable
|  | Per Foot Pull (labor) | 1 lin ft | 1.11 |  | 1.11 |  | 1.11 |  | 1.11 |  |  |  | 1.11
|  | Per Termination (C) | per 100 pr | 4.44 |  | 4.44 |  | 4.44 |  | 4.44 |  |  |  | 4.44
|  | Per Termination (UC) | per 100 pr | [6 empty] | 44.37
|  | Travel Time | per project | 44.37 |  | 44.37 |  | 44.37 |  | 44.37 |  |  |  | 44.37
Per DS1 Cable
|  | Per Foot Pull (labor) | 1 lin ft | 1.11 |  | 1.11 |  | 1.11 |  | 1.11 |  |  |  | 1.11
|  | Per Termination (C) | per 28 pr | 1.11 |  | 1.11 |  | 1.11 |  | 1.11 |  |  |  | 1.11
|  | Per Termination (UC) | per 28 pr | [6 empty] | 33.28
|  | Travel Time | per project | 44.37 |  | 44.37 |  | 44.37 |  | 44.37 |  |  |  | 44.37
Per DS3 (coaxial)
|  | Per Foot Pull (labor) | 1 lin ft | 1.11 |  | 1.11 |  | 1.11 |  | 1.11 |  |  |  | 1.11
|  | Per Termination (Preconnectorized) | per term | 1.11 |  | 1.11 |  | 1.11 |  | 1.11 |  |  |  | 1.11
|  | Per Termination (Unconnectorized) | per term | 11.09 |  | 11.09 |  | 11.09 |  | 11.09 |  |  |  | 11.09
|  | Travel Time | per project | 44.37 |  | 44.37 |  | 44.37 |  | 44.37 |  |  |  | 44.37
Per Fiber Cable
|  | Per Foot Pull (labor) | 1 lin ft | 1.11 |  | 1.11 |  | 1.11 |  | 1.11 |  |  |  | 1.11
|  | Per Termination (48 fiber cable or less) | per fiber |  |  | 49.33 |  |  |  | 49.33 |  |  |  | 49.33
|  | Per Termination (greater than 48 fiber cable) | per fiber |  |  | 41.54 |  |  |  | 41.54 |  |  |  | 41.54
|  | Travel Time | per project | 44.37 |  | 44.37 |  | 44.37 |  | 44.37 |  |  |  | 44.37
Non-recurring Costs
Relay Rack
| Engineering Costs |  | per project |  |  |  |  | 67.64
| Equipment - Relay Rack |  | per rack |  |  |  |  | 253.98
| Installation - Relay Rack |  | per rack |  |  |  |  | 133.11
| Travel Time |  | per project |  |  |  |  | 44.37
| Optional - 10 Position Fuse Panel |  | per project |  |  |  |  | 350.94
Telecommunication Equipment Cabinet
| Engineering Costs |  | per project |  |  |  |  | 67.64
| Equipment - Cabinet |  | per cabinet |  |  |  |  | 2556.44
| Installation - Cabinet |  | per cabinet |  |  |  |  | 399.33
| Travel Time |  | per project |  |  |  |  | 88.74
Miscellaneous Services
BITS Timing
| Engineering Costs |  | per project | [8 empty] | 33.82
| Pull Shielded Cable |  | 1 lin ft | [8 empty] | 1.11
| Terminate Shielded Cable |  | per term | [8 empty] | 1.11
| Material Cost (orange shielded cable) |  | 1 lin ft | [8 empty] | 0.15
Premise Space Report
| Comprehensive Evaluation |  | per project | [8 empty] | 5411.2
| Limited Evaluation |  | per project | [8 empty] | 2164.48
| Annual Evaluation |  | per project | [8 empty] | 4328.96
Cable
Facility Cable
|  | DS-0 Cable (Connectorized) 100 pair | 100 ft | [8 empty] | 151.01
|  | DS-1 Cable (Connectorized) | 100 ft | [8 empty] | 158.74
|  | DS-3 Coax Cable | 1 lin ft | [8 empty] | 0.4
|  | Shielded Cable (Orange jacket) | 1 lin ft | [8 empty] | 0.15
|  | Category 5 Connectorized (per100 feet) | 100 ft | [8 empty] | 109.38
|  | Category 5 Connectorized (per150 feet) | 150 ft | [8 empty] | 159.4
|  | Category 5 Connectorized (per200 feet) | 200 ft | [8 empty] | 209.42
Power Cable
|  | Wire Power 1/0 | 1 lin ft | [8 empty] | 0.73
|  | Wire Power 2/0 | 1 lin ft | [8 empty] | 1.07
|  | Wire Power 3/0 | 1 lin ft | [8 empty] | 1.19
|  | Wire Power 4/0 | 1 lin ft | [8 empty] | 1.45
|  | Wire Power 350 MCM | 1 lin ft | [8 empty] | 2.49
|  | Wire Power 500 MCM | 1 lin ft | [8 empty] | 3.47
|  | Wire Power 750 MCM | 1 lin ft | [8 empty] | 5.35
Ground Cable
|  | Wire Ground #6 | 1 lin ft | [8 empty] | 0.14
Fiber Optic Patch Cord
|  | Fiber Optic Patch Cord-Dual Fiber (Connectorized) | 1 lin ft | [8 empty] | 0.37
Non-Recurring Costs
Optical Cross-Connect
| Engineering Costs |  | per project | [8 empty] | 33.82
| Fiber Optic Patch Cord Pull |  | 1 lin ft | [8 empty] | 1.11
| Fiber Optic Patch Cord Termination |  | per term | [8 empty] | 1.11
| Travel Time |  | per project | [8 empty] | 44.37
Advanced Data Services
Equipment Engineering and Installation
|  | ATM | per base unit | [10 empty] | 11579.6
|  | DSL | per base unit | [10 empty] | 4036.7
|  | Frame Relay | per base unit | [10 empty] | 10620.82
|  | Routers | per base unit | [10 empty] | 4480.4
|  | Splitters | per base unit | [10 empty] | 1872.22
|  | Fiber Distribution Panel | per base unit | [10 empty] | 0
|  | Travel Time | per project | [10 empty] | 44.37
Software Upgrades (per upgrade)
|  | ATM | per base unit | [10 empty] | 66.56
|  | DSL | per base unit | [10 empty] | 44.37
|  | Frame Relay | per base unit | [10 empty] | 66.56
|  | Routers | per base unit | [10 empty] | 44.37
|  | SMDS | per base unit | [10 empty] | 44.37
|  | Splitters | per base unit | [10 empty] | 0
|  | Fiber Distribution Panel | per base unit | [10 empty] | 0
|  | Travel Time | per project | [10 empty] | 44.37
Card Installation
|  | ATM | per card | [10 empty] | 224.02
|  | DSL | per card | [10 empty] | 161.9
|  | Frame Relay | per card | [10 empty] | 224.02
|  | Routers | per card | [10 empty] | 179.65
|  | SMDS | per card | [10 empty] | 179.65
|  | Splitters | per card | [10 empty] | 139.72
|  | Fiber Distribution Panel | per card | [10 empty] | 0
|  | Travel Time | per project | [10 empty] | 44.37
Monthly Recurring Costs
Cage Floor Space including Shared Access Area
| Floor Space |  | 1 sq ft |  | 2.02
Relay Rack Floor Space including Shared Access Area
| Floor Space |  | 1 lin ft | [5 empty] | 8.58
Cabinet Floor Space including Shared Access Area
| Floor Space |  | 1 lin ft | [5 empty] | 11.61
Cable Space
| Subduct Space |  | per subduct
|  | Manhole | per project |  | 3.04 |  | 3.04 |  | 3.04 |  | 3.04 |  |  |  | 3.04
|  | Subduct | 1 lin ft |  | 0.03 |  | 0.03 |  | 0.03 |  | 0.03 |  |  |  | 0.03
| Conduit Space - 4" Duct - Metallic Cable |  | per conduit
|  | Manhole | per project | [7 empty] | 5.52
|  | Conduit | 1 lin ft | [7 empty] | 0.03
DC Power Facility
|  | Power Supply | 40 amps |  | 316.46 |  | 316.46 |  | 316.46 | [5 empty] | 316.46
|  | Fuses and Fuse Panels (BDFB) | 40 amps |  | 41.81 |  | 41.81 |  | 41.81 | [5 empty] | 41.81
|  | Power Cable Pull - Labor | 40 amps |  | 57.2 |  | 57.2 |  | 57.2 | [5 empty] | 57.2
DC Power Utility |  |  | 40 amps |  | 87.22 |  | 87.22 |  | 87.22 | [5 empty] | 87.22
Facility Termination
| DSO Cable - Material |  | per 100 pr. |  | 2.35 |  | 2.35 |  | 2.35 |  | 2.35 |  |  |  | 2.35
| DS1 Cable - Material |  | per 28 |  | 9.67 |  | 9.67 |  | 9.67 |  | 9.67 |  |  |  | 9.67
| DS3 Cable - Material |  | per coaxial |  | 6.8 |  | 6.8 |  | 6.8 |  | 6.8 |  |  |  | 6.8
Building Modification
| Storage Security |  | per collo office |  | 47.18 |  |  |  | 47.18
Security Access
|  | Card Reader | per reader |  | 80.76 |  |  |  | 80.76
|  | Controller | per controller |  | 34.14 |  |  |  | 34.14
Site Modifications
|  | Demolition and site work | per request |  | 13.45 |  |  |  | 13.45
|  | Dust Partition | per request |  | 20.48 |  |  |  | 20.48
| HVAC - Minor (Heating, Ventilating,& Air Condit'g) |  | per occ |  | 17.13 |  |  |  | 17.13
| Environmental Conditioning |  | per 40 amps |  | 62.29 |  |  |  | 62.29 | [5 empty] | 0
Electrical
|  | Lighting | per unit |  | 9.28 |  |  |  | 9.28
|  | Electrical Outlet | per outlet |  | 8.35 |  |  |  | 8.35
|  | Floor Grounding Bar | per bar |  | 39.06 |  |  |  | 39.06
Monthly Recurring Costs
Cable Vault Splice
Metallic DSO Cable per 1200 pair
|  | Material | per splice | [7 empty] | 196.8
|  | Utilization Factor in Cable Vault | per cable | [7 empty] | 2.04
Metallic DSO Cable per 900 pair
|  | Material | per splice | [7 empty] | 143.32
|  | Utilization Factor in Cable Vault | per cable | [7 empty] | 2.85
Metallic DSO Cable per 600 pair
|  | Material | per splice | [7 empty] | 94.89
|  | Utilization Factor in Cable Vault | per cable | [7 empty] | 1.32
Metallic DS1 Cable
|  | Material | per splice | [7 empty] | 20.03
|  | Utilization Factor in Cable Vault | per cable | [7 empty] | 0.3
Fiber Cable - 48 fiber
|  | Material | per splice |  | 5.48 |  | 5.48 |  | 5.48 |  | 5.48 |  |  |  | 5.48
|  | Utilization Factor in Cable Vault | per subduct |  | 0.55 |  | 0.55 |  | 0.55 |  | 0.55 |  |  |  | 0.55
Fiber Cable - 96 fiber
|  | Material | per splice |  | 15.65 |  | 15.65 |  | 15.65 |  | 15.65 |  |  |  | 15.65
|  | Utilization Factor in Cable Vault | per subduct |  | 0.55 |  | 0.55 |  | 0.55 |  | 0.55 |  |  |  | 0.55
Cable Rack - Shared
Metallic DSO Cable
|  | Utilization Factor in Central Office | per LF |  | 0.01 |  | 0.01 |  | 0.01 |  | 0.01 |  |  |  | 0.01
Metallic DS1 Cable
|  | Utilization Factor in Central Office | per LF |  | 0.01 |  | 0.01 |  | 0.01 |  | 0.01 |  |  |  | 0.01
Fiber Cable
|  | Utilization Factor in Central Office | per LF innerduct |  | 0.01 |  | 0.01 |  | 0.01 |  | 0.01 |  |  |  | 0.01
Coaxial Cable
|  | Utilization Factor in Central Office | per LF |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0
Virtual Frame Space
| Virtual Frame Space (OC3-OC48) |  | per shelf |  |  |  | 2.19
| Virtual Frame Space (Adv Data Svcs) |  | per quarter rack | [11 empty] | 13.12
| Virtual Monitoring Equipment |  | per port |  |  |  | 3.49 | [7 empty] | 0
| Virtual Equipment Maintenance |  | per base unit |  |  |  | 74.83 | [7 empty] | 74.83
BITS Timing
| BITS Timing - Material and Labor |  | per port | [9 empty] | 6.33
Optical Cross-Connect
| Chassis, Relay Rack and Floor Space |  | per connector | [9 empty] | 0.63
| Fiber Duct System |  | per foot per conn. | [9 empty] | 0
Virtual Frame Space Maintenance
| Frame Space-Powered |  | per quarter rack | [11 empty] | 13.12
| Equipment Maintenance-Powered |  | per base unit | [11 empty] | 64.14
| Frame Space-Passive |  | per quarter rack | [11 empty] | 6.56
| Equipment Maintenance-Passive |  | per base unit | [11 empty] | 12.83