## Proposed Peak Credit
WUTC Docket No. UE-12____ Methodology Matrix
Avista Utilities Washington Jurisdiction
Electric Cost of Service Methodology
Line | Account | Functional Category | Classification | Allocation
Production Plant
1 | Thermal Production | P = Production | Demand/Energy by Peak Credit (34.20% Demand) | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
2 | Nuclear Production (Settlement Exchange) | P = Production | Demand/Energy by Peak Credit (34.20% Demand) | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
3 | Hydro Production | P = Production | Demand/Energy by Peak Credit (34.20% Demand) | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
4 | Other Production (Coyote Springs) | P = Production | Demand/Energy by Peak Credit (34.20% Demand) | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
5 | Other Production | P = Production | Demand/Energy by Peak Credit (34.20% Demand) | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
Transmission Plant
6 | All Transmission | T = Transmission | Demand/Energy by Peak Credit (34.20% Demand) | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
Distribution Plant
7 | 360 Land | D = Distribution | Demand | D08 Non-coincident Peak Demand Primary
8 | 361 Structures | D = Distribution | Demand | D03/D04/D05 Direct Assign Large / Non-coincident Peak Demand Excl DA
9 | 362 Station Equipment | D = Distribution | Demand | D03/D04/D05 Direct Assign Large / Non-coincident Peak Demand Excl DA
10 | 364 Poles Towers & Fixtures | D = Distribution | Demand | D03/D04/D06/D07 Primary NCP Excl DA / Secondary NCP / Direct Assign Lights / Direct Assign Large
11 | 365 Overhead Conductors & Devices | D = Distribution | Demand | D03/D04/D06 Primary NCP Excl DA / Secondary NCP / Direct Assign Large
12 | 366 Underground Conduit | D = Distribution | Demand | D03/D04/D06 Primary NCP Excl DA / Secondary NCP / Direct Assign Large
13 | 367 Underground Conductors & Devices | D = Distribution | Demand | D03/D04/D06 Primary NCP Excl DA / Secondary NCP / Direct Assign Large
14 | 368 Line Transformers | D = Distribution | Demand | D06 Non-coincident Peak Demand Secondary only
15 | 369 Services | D = Distribution | Customer | C02 Secondary Customers unweighted Excl Lighting
16 | 370 Meters | D = Distribution | Customer | C04 Customers weighted by Current Typical Meter Cost
17 | 373 Street and Area Lighting Systems | D = Distribution | Customer | C05 Direct Assignment to Street and Area Lights
General Plant
18 | All General | P/T/D | Demand/Energy/Customer as in related Labor or Plant | S22/S05/S21 Labor O&M Total, P/T/D Plant Total, Labor P/T/D O&M Subtotal
Intangible Plant
19 | 301 Organization | P/T/D/G | Demand/Energy/Customer as in related Plant | S06 Sum of Production, Transmission, Distribution, and General Plant
20 | 302 Franchises & Consents | P = Production | Demand/Energy by Peak Credit (34.20% Demand) | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
21 | 303 Misc Intangible Plant - Transmission Agreements | T = Transmission | Demand/Energy from Transmission Plant | S02 Sum of Transmission Plant
22 | 303 Misc Intangible Plant - Distribution Agreements | D = Distribution | Demand/Customer from Distribution Plant | S03 Sum of Distribution Plant
23 | 303 Misc Intangible Plant - Software | P/T/D/G | Demand/Energy/Customer as in related Plant | S06 Sum of Production, Transmission, Distribution, and General Plant
Reserve for Depreciation/Amortization
24 | Intangible | P/T/D/G | Follows Related Plant | S01/S02/S03/S06 Sum of Production / Transmission / Distribution Plant / P/T/D/G Total
25 | Production | P = Production | Follows Related Plant | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
26 | Transmission | T = Transmission | Follows Related Plant | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
27 | Distribution | D = Distribution | Follows Related Plant | D02/D03/D04/D05/D06/D07/D08/C02/C04/C05 - See Related Plant
28 | General | P/T/D | Demand/Energy/Customer as in related Labor or Plant | S22/S05/S21 Labor O&M Total, P/T/D Plant Total, Labor P/T/D O&M Subtotal
Other Rate Base
29 | 252 Customer Advances for Construction | D = Distribution | Customer | S13 Sum of Account 369 Services Plant
30 | 282/190 Accumulated Deferred Income Tax | P/T/D/O | Follows Related Plant | S01/S02/S03/S04 Sums of Production / Transmission / Distribution / General Plant
31 | Gain on Sale of General Office Building | P/T/D | Demand/Energy/Customer from Plant | S04 Sum of General Plant
32 | Hydro Relicensing Related Settlements | P = Production | Demand/Energy by Peak Credit (34.20% Demand) | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
33 | Lancaster Deferred Balance | P = Production | Demand/Energy by Peak Credit (34.20% Demand) | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
34 | Working Capital | P/T/D/G | Demand/Energy/Customer as in related Plant | S06 Sum of Production, Transmission, Distribution, and General Plant
Production O&M
35 | Thermal | P = Production | Demand/Energy by Peak Credit (34.20% Demand) | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
36 | Thermal Fuel (501) | P = Production | Demand/Energy by Peak Credit (34.20% Demand) | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
37 | Hydro | P = Production | Demand/Energy by Peak Credit (34.20% Demand) | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
38 | Water for Power (536) | P = Production | Demand/Energy by Peak Credit (34.20% Demand) | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
Demand/Energy by Peak Credit (34.20% Demand)
| Production O&M continued |  | Demand/Energy by Peak Credit (34.20% Demand)
1 | Other (Coyote Springs) | P = Production | Demand/Energy by Peak Credit (34.20% Demand) | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
2 | Other Fuel (547) | P = Production | Demand/Energy by Peak Credit (34.20% Demand) | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
3 | Other | P = Production | Demand/Energy by Peak Credit (34.20% Demand) | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
4 | Purchased Power and Other Expenses (555 and 557) | P = Production | Demand/Energy from Production Plant | S01 Sum of Production Plant
5 | System Control & Misc (556 ) | P = Production | Demand/Energy by Peak Credit (34.20% Demand) | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
Transmission O&M
6 | All Transmission | T = Transmission | Demand/Energy by Peak Credit (34.20% Demand) | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
Distribution O&M
7 | 580 OP Super & Engineering | D = Distribution | Demand/Customer from Other Dist Op Exp | S16 Sum of Other Distribution Operating Expenses
8 | 581 Load Dispatching | D = Distribution | Demand | D02 Non-coincident Peak Demand
9 | 582 Station Expenses | D = Distribution | Demand | S09 Sum of Account 362 Station Equipment
10 | 583 Overhead Lines | D = Distribution | Demand | S10 Sum of Accounts 364 and 365 Poles, Towers, Fixtures & Overhead Conductors
11 | 584 Underground Lines | D = Distribution | Demand | S11 Sum of Accounts 366 and 367 Underground Conduit & Underground Conductors
12 | 585 Street Lights | D = Distribution | Customer | S15 Sum of Account 373 Street Light and Signal Systems
13 | 586 Meters | D = Distribution | Customer | S14 Sum of Account 370 Meters
14 | 587 Customer Installations | D = Distribution | Customer | S13 Sum of Account 369 Services
15 | 588 Misc Operating Expense | D = Distribution | Demand/Customer from Other Dist Op Exp | S16 Sum of Other Distribution Operating Expenses
16 | 589 Rents | D = Distribution | Demand | D02 Non-coincident Peak Demand
17 | 590 MT Super & Engineering | D = Distribution | Demand/Customer from Other Dist Mt Exp | S17 Sum of Other Distribution Maintenance Expenses
18 | 591 MT of Structures | D = Distribution | Demand | S08 Sum of Account 361 Structures & Improvements
19 | 592 MT of Station Equipment | D = Distribution | Demand | S09 Sum of Account 362 Station Equipment
20 | 593 MT of Overhead Lines | D = Distribution | Demand | S10 Sum of Accounts 364 and 365 Poles, Towers, Fixtures & Overhead Conductors
21 | 594 MT of Underground Lines | D = Distribution | Demand | S11 Sum of Accounts 366 and 367 Underground Conduit & Underground Conductors
22 | 595 MT of Line Transformers | D = Distribution | Demand | S12 Sum of Account 368 Line Transformers
23 | 596 MT of Street Lights | D = Distribution | Customer | S15 Sum of Account 373 Street Light and Signal Systems
24 | 597 MT of Meters | D = Distribution | Customer | S14 Sum of Account 370 Meters
25 | 598 Misc Maintenance Expense | D = Distribution | Demand/Customer from Other Dist Mt Exp | S17 Sum of Other Distribution Maintenance Expenses
Customer Accounts Expenses
26 | 901 Supervision | C = Customer Relations | Customer | S18 Sum of Other Customer Accounts Expenses Excluding Uncollectibles
27 | 902 Meter Reading | C = Customer Relations | Customer | C03 Customers Weighted by Estimated Meter Reading Time
28 | 903 Customer Records & Collections | C = Customer Relations | Customer | C01 All Customers unweighted
29 | 904 Uncollectible Accounts | R = Revenue Conversion | Revenue | R01 Retail Sales Revenue
30 | 905 Misc Cust Accounts | C = Customer Relations | Customer | C01 All Customers unweighted
Customer Service & Info Expenses
31 | 907 Supervision | C = Customer Relations | Customer | C01 All Customers unweighted
32 | 908 Customer Assistance | C = Customer Relations | Customer | C01 All Customers unweighted
| 908 Weatherization Expenses | DSM | Demand/Energy from Production Plant | S01 Sum of Production Plant
| 908 Demand Side Management Tariff Rider Offset | DSM | Revenue | R02 Tariff Rider Revenue
33 | 909 Advertising | C = Customer Relations | Customer | C01 All Customers unweighted
34 | 910 Misc Cust Service & Info | C = Customer Relations | Customer | C01 All Customers unweighted
Sales Expenses
35 | 911 - 916 | C = Customer Relations | Energy | E02 Annual Generation Level Consumption
Admin & General Expenses
1 | 920 - 926 & 930 -935 Assigned to Production | P = Production | Demand/Energy from Production Plant | S01 Sum of Production Plant
2 | 920 - 926 & 930 -935 Assigned to Transmission | T = Transmission | Demand/Energy from Transmission Plant | S02 Sum of Transmission Plant
3 | 920 - 926 & 930 - 935 Assigned to Distribution | D = Distribution | Demand/Customer from Distribution Plant | S03 Sum of Distribution Plant
4 | 920 - 926 & 930 - 935 Assigned to Customer Relations | C = Customer Relations | Customer | C01 All Customers unweighted
5 | Other 920-923, 928-931 Salaries, supplies, etc | P/T/D | Demand/Energy/Customer from O&M Expenses | S19 Sum of expenses excluding Purch Power, Fuel, Wheeling, Uncollectibles, Tariff Rider
6 | 924 Property Insurance | P/T/D | Demand/Energy/Customer from Plant | S06 Sum of Production, Transmission, Distribution, and General Plant
7 | Other 925-926 Inj & Dam, Pensions & Benefits | P/T/D | Demand/Energy/Customer from Labor O&M Total | S22 Sum of Labor O&M Expenses
8 | 928 FERC Commission Fees | P = Production | Energy | E02 Annual Generation Level Consumption
9 | 927,928 Franchise Fees, WUTC Commission Fees | R = Revenue Conversion | Revenue | R01 Retail Sales Revenue
10 | 935 Maintenance of General Plant | P/T/D | Demand/Energy/Customer from Plant | S04 Sum of General Plant
Depreciation & Amortization Expense
11 | Intangible | P/T/D/G | Demand/Energy/Customer as in related Plant | S01/S02/S06 Sum of Production Plant / Sum of Transmission Plant / Sum of P/T/D/G Plant
12 | Production | P = Production | Demand/Energy as in related Plant | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
13 | Transmission | T = Transmission | Demand/Energy as in related Plant | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
14 | Distribution | D = Distribution | Demand/Customer as in related Plant | D02/D03/D04/D05/D06/D07/D08/C02/C04/C05 - See Related Plant
15 | General | P/T/D | Demand/Energy/Customer as in related Labor or Plant | S22/S05/S21 Labor O&M Total, P/T/D Plant Total, Labor P/T/D O&M Subtotal
Taxes
16 | Property Tax | P/T/D/O | Demand/Energy/Customer from Related Plant | S01/S02/S03/S04 Sums of Production / Transmission / Distribution / General Plant
17 | State kWh Generation Taxes | P = Production | Demand/Energy by Peak Credit (34.20% Demand) | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
18 | Misc Production Taxes | P = Production | Demand/Energy by Peak Credit (34.20% Demand) | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
19 | Misc Distribution Taxes | D = Distribution | Demand/Customer from Distribution Plant | S03 Sum of Distribution Plant
20 | Washington State Excise Tax | R = Revenue Conversion | Revenue | R01 Retail Sales Revenue
21 | Federal Income Taxes - Current and/or Deferred | R = Revenue Conversion | Revenue | R03 Revenue less Expenses Before Income Tax less Interest Expense
Other Income Related Items
22 | Deferred Transmission O&M | T = Transmission | Demand/Energy from Transmission Plant | S02 Sum of Transmission Plant
23 | Amortization of Gain on Sale of Misc Property | D = Distribution | Demand/Customer from Distribution Plant | S03 Sum of Distribution Plant
Operating Revenues
24 | Sales of Electricity- Retail | R = Revenue from Rates | Revenue | Input Pro Forma Revenue per Revenue Study
25 | Sales for Resale (447) | P = Production | Demand/Energy from Production Plant | S01 Sum of Production Plant
26 | Optional Renewable Revenue | P = Production | Demand/Energy from Production Plant | S01 Sum of Production Plant
27 | Special Contract (Standby) Revenue | P = Production | Demand | D01 Coincident Peak Demand
28 | Misc Service Revenue (451) | D = Distribution | Demand/Customer from Distribution Plant | S03 Sum of Distribution Plant
29 | Sales of Water & Water Power (453) | P = Production | Demand/Energy from Production Plant | S01 Sum of Production Plant
30 | Rent from Production Property (454) | P = Production | Demand/Energy from Production Plant | S01 Sum of Production Plant
31 | Rent from Transmission Property (454) | T = Transmission | Demand/Energy from Transmission Plant | S02 Sum of Transmission Plant
32 | Rent from Distribution Property (454) | D = Distribution | Demand/Customer from Distribution Plant | S03 Sum of Distribution Plant
33 | Other Electric Revenues - Generation (456) | P = Production | Demand/Energy from Production Plant | S01 Sum of Production Plant
34 | Other Electric Revenues - Wheeling (456) | T = Transmission | Demand/Energy from Transmission Plant | S02 Sum of Transmission Plant
35 | Other Electric Revenues - Energy Delivery (456) | D = Distribution | Demand/Customer from Distribution Plant | S03 Sum of Distribution Plant
Salaries & Wages (allocators)
Operation & Maintenance Expenses
36 | Production Total | P = Production | Demand/Energy from Production Plant | S01 Sum of Production Plant
37 | Transmission Total | T = Transmission | Demand/Energy from Transmission Plant | S02 Sum of Transmission Plant
38 | Distribution Total | D = Distribution | Demand/Customer from Distribution Plant | S03 Sum of Distribution Plant
39 | Customer Accounts Total | C = Customer Relations | Customer | S18 Sum of Other Customer Accounts Expenses Excluding Uncollectibles
40 | Customer Service Total | C = Customer Relations | Customer | C01 All Customers unweighted
41 | Sales Total | C = Customer Relations | Energy | E02 Annual Generation Level Consumption
42 | Admin & General Total | P/T/D | Demand/Energy/Customer from Related Plant | S05 Sum of Production, Transmission and Distribution Plant
Note on C49: Tara Knox: Improved process: Assigned to function based on the revenue requirement adjustment workpapers, formerly used pro forma plant in service balances to assign to function.
Note on E96: Tara Knox: Due to changeover in departments, the accounting for creating MV90 billing reports associated with handbills no longer charged to Acct 903, (now included in engineering overheads) remaining resource accounting amounts charged as common allocated which dilutes to the extent that direct assignment values became immaterial.

## Prior Peak Credit
WUTC Docket No. UE-09____ Methodology Matrix
Avista Utilities Washington Jurisdiction
Electric Cost of Service Methodology
Line | Account | Functional Category | Classification | Allocation
Production Plant
1 | Thermal Production | P = Production | Demand/Energy by Thermal Peak Credit | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
2 | Nuclear Production (Settlement Exchange) | P = Production | Energy | E02 Annual Generation Level Consumption
3 | Hydro Production | P = Production | Demand/Energy by Hydro Peak Credit | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
4 | Other Production (Coyote Springs) | P = Production | Demand/Energy by Thermal Peak Credit | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
5 | Other Production | P = Production | Demand | D01 Coincident Peak Demand
Transmission Plant
6 | All Transmission | T = Transmission | Demand/Energy by Trans Peak Credit | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
Distribution Plant
7 | 360 Land | D = Distribution | Demand | D08 Non-coincident Peak Demand Primary
8 | 361 Structures | D = Distribution | Demand | D03/D04/D05 Direct Assign Large / Non-coincident Peak Demand Excl DA
9 | 362 Station Equipment | D = Distribution | Demand | D03/D04/D05 Direct Assign Large / Non-coincident Peak Demand Excl DA
10 | 364 Poles Towers & Fixtures | D = Distribution | Demand | D03/D04/D06/D07 Primary NCP Excl DA / Secondary NCP / Direct Assign Lights / Direct Assign Large
11 | 365 Overhead Conductors & Devices | D = Distribution | Demand | D03/D04/D06 Primary NCP Excl DA / Secondary NCP / Direct Assign Large
12 | 366 Underground Conduit | D = Distribution | Demand | D03/D04/D06 Primary NCP Excl DA / Secondary NCP / Direct Assign Large
13 | 367 Underground Conductors & Devices | D = Distribution | Demand | D03/D04/D06 Primary NCP Excl DA / Secondary NCP / Direct Assign Large
14 | 368 Line Transformers | D = Distribution | Demand | D06 Non-coincident Peak Demand Secondary only
15 | 369 Services | D = Distribution | Customer | C02 Secondary Customers unweighted Excl Lighting
16 | 370 Meters | D = Distribution | Customer | C04 Customers weighted by Current Typical Meter Cost
17 | 373 Street and Area Lighting Systems | D = Distribution | Customer | C05 Direct Assignment to Street and Area Lights
General Plant
18 | All General | P/T/D | Demand/Energy/Customer as in related Labor or Plant | S22/S05/S21 Labor O&M Total, P/T/D Plant Total, Labor P/T/D O&M Subtotal
Intangible Plant
19 | 301 Organization | P/T/D/G | Demand/Energy/Customer as in related Plant | S06 Sum of Production, Transmission, Distribution, and General Plant
20 | 302 Franchises & Consents | P = Production | Demand/Energy by Hydro Peak Credit | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
21 | 303 Misc Intangible Plant - Transmission Agreements | T = Transmission | Demand/Energy by Trans Peak Credit | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
22 | 303 Misc Intangible Plant - Software | P/T/D/G | Demand/Energy/Customer as in related Plant | S06 Sum of Production, Transmission, Distribution, and General Plant
Reserve for Depreciation/Amortization
23 | Intangible | P/T/D/G | Follows Related Plant | S01/S02/S06 Sum of Production Plant / Sum of Transmission Plant / P/T/D/G Total
24 | Production | P = Production | Follows Related Plant | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
25 | Transmission | T = Transmission | Follows Related Plant | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
26 | Distribution | D = Distribution | Follows Related Plant | D02/D03/D04/D05/D06/D07/D08/C02/C04/C05 - See Related Plant
27 | General | P/T/D | Demand/Energy/Customer as in related Labor or Plant | S22/S05/S21 Labor O&M Total, P/T/D Plant Total, Labor P/T/D O&M Subtotal
Other Rate Base
28 | 252 Customer Advances for Construction | D = Distribution | Customer | S13 Sum of Account 369 Services Plant
29 | 282/190 Accumulated Deferred Income Tax | P/T/D/O | Follows Related Plant | S01/S02/S03/S04 Sums of Production / Transmission / Distribution / General Plant
30 | Gain on Sale of General Office Building | P/T/D | Demand/Energy/Customer from Plant | S04 Sum of General Plant
40 | Hydro Relicensing Related Settlements | P = Production | Demand/Energy by Hydro Peak Credit | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
Production O&M
41 | Thermal | P = Production | Demand/Energy by Thermal Peak Credit | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
42 | Thermal Fuel (501) | P = Production | Energy | E02 Annual Generation Level Consumption
43 | Hydro | P = Production | Demand/Energy by Hydro Peak Credit | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
44 | Water for Power (536) | P = Production | Energy | E02 Annual Generation Level Consumption
Production O&M continued
1 | Other (Coyote Springs) | P = Production | Demand/Energy by Thermal Peak Credit | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
2 | Other Fuel (547) | P = Production | Energy | E02 Annual Generation Level Consumption
3 | Other | P = Production | Demand | D01 Coincident Peak Demand
4 | Purchased Power and Other Expenses (555 and 557) | P = Production | Demand/Energy from Production Plant | S01 Sum of Production Plant
5 | System Control & Misc (556 ) | P = Production | Energy | E02 Annual Generation Level Consumption
Transmission O&M
6 | All Transmission | T = Transmission | Demand/Energy by Trans Peak Credit | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
Distribution O&M
7 | 580 OP Super & Engineering | D = Distribution | Demand/Customer from Other Dist Op Exp | S16 Sum of Other Distribution Operating Expenses
8 | 581 Load Dispatching | D = Distribution | Demand | D02 Non-coincident Peak Demand
9 | 582 Station Expenses | D = Distribution | Demand | S09 Sum of Account 362 Station Equipment
10 | 583 Overhead Lines | D = Distribution | Demand | S10 Sum of Accounts 364 and 365 Poles, Towers, Fixtures & Overhead Conductors
11 | 584 Underground Lines | D = Distribution | Demand | S11 Sum of Accounts 366 and 367 Underground Conduit & Underground Conductors
12 | 585 Street Lights | D = Distribution | Customer | S15 Sum of Account 373 Street Light and Signal Systems
13 | 586 Meters | D = Distribution | Customer | S14 Sum of Account 370 Meters
14 | 587 Customer Installations | D = Distribution | Customer | S13 Sum of Account 369 Services
15 | 588 Misc Operating Expense | D = Distribution | Demand/Customer from Other Dist Op Exp | S16 Sum of Other Distribution Operating Expenses
16 | 589 Rents | D = Distribution | Demand | D02 Non-coincident Peak Demand
17 | 590 MT Super & Engineering | D = Distribution | Demand/Customer from Other Dist Mt Exp | S17 Sum of Other Distribution Maintenance Expenses
18 | 591 MT of Structures | D = Distribution | Demand | S08 Sum of Account 361 Structures & Improvements
19 | 592 MT of Station Equipment | D = Distribution | Demand | S09 Sum of Account 362 Station Equipment
20 | 593 MT of Overhead Lines | D = Distribution | Demand | S10 Sum of Accounts 364 and 365 Poles, Towers, Fixtures & Overhead Conductors
21 | 594 MT of Underground Lines | D = Distribution | Demand | S11 Sum of Accounts 366 and 367 Underground Conduit & Underground Conductors
22 | 595 MT of Line Transformers | D = Distribution | Demand | S12 Sum of Account 368 Line Transformers
23 | 596 MT of Street Lights | D = Distribution | Customer | S15 Sum of Account 373 Street Light and Signal Systems
24 | 597 MT of Meters | D = Distribution | Customer | S14 Sum of Account 370 Meters
25 | 598 Misc Maintenance Expense | D = Distribution | Demand/Customer from Other Dist Mt Exp | S17 Sum of Other Distribution Maintenance Expenses
Customer Accounts Expenses
26 | 901 Supervision | C = Customer Relations | Customer | S18 Sum of Other Customer Accounts Expenses Excluding Uncollectibles
27 | 902 Meter Reading | C = Customer Relations | Customer | C03 Customers Weighted by Estimated Meter Reading Time
28 | 903 Customer Records & Collections | C = Customer Relations | Customer | C01 All Customers unweighted
29 | 904 Uncollectible Accounts | R = Revenue Conversion | Revenue | R01 Retail Sales Revenue
30 | 905 Misc Cust Accounts | C = Customer Relations | Customer | C01 All Customers unweighted
Customer Service & Info Expenses
31 | 907 Supervision | C = Customer Relations | Customer | C01 All Customers unweighted
32 | 908 Customer Assistance | C = Customer Relations | Customer | C01 All Customers unweighted
| 908 Weatherization Expenses | DSM | Demand/Energy from Production Plant | S01 Sum of Production Plant
| 908 Demand Side Management Tariff Rider Offset | DSM | Revenue | R02 Tariff Rider Revenue
33 | 909 Advertising | C = Customer Relations | Customer | C01 All Customers unweighted
34 | 910 Misc Cust Service & Info | C = Customer Relations | Customer | C01 All Customers unweighted
Sales Expenses
35 | 911 - 916 | C = Customer Relations | Energy | E02 Annual Generation Level Consumption
Admin & General Expenses
1 | 920 - 926 & 930 -935 Assigned to Production | P = Production | Demand/Energy from Production Plant | S01 Sum of Production Plant
2 | 920 - 926 & 930 -935 Assigned to Transmission | T = Transmission | Demand/Energy from Transmission Plant | S02 Sum of Transmission Plant
3 | 920 - 926 & 930 - 935 Assigned to Distribution | D = Distribution | Demand/Customer from Distribution Plant | S03 Sum of Distribution Plant
4 | 920 - 926 & 930 - 935 Assigned to Customer Relations | C = Customer Relations | Customer | C01 All Customers unweighted
5 | Other 920-923, 928-931 Salaries, supplies, etc | P/T/D | Demand/Energy/Customer from O&M Expenses | S19 Sum of expenses excluding Purch Power, Fuel, Wheeling, Uncollectibles, Tariff Rider
6 | 924 Property Insurance | P/T/D | Demand/Energy/Customer from Plant | S06 Sum of Production, Transmission, Distribution, and General Plant
7 | Other 925-926 Inj & Dam, Pensions & Benefits | P/T/D | Demand/Energy/Customer from Labor O&M Total | S22 Sum of Labor O&M Expenses
8 | 928 FERC Commission Fees | P = Production | Energy | E02 Annual Generation Level Consumption
9 | 927,928 Franchise Fees, WUTC Commission Fees | R = Revenue Conversion | Revenue | R01 Retail Sales Revenue
10 | 935 Maintenance of General Plant | P/T/D | Demand/Energy/Customer from Plant | S04 Sum of General Plant
Depreciation & Amortization Expense
11 | Intangible | P/T/D/G | Demand/Energy/Customer as in related Plant | S01/S02/S06 Sum of Production Plant / Sum of Transmission Plant / Sum of P/T/D/G Plant
12 | Production | P = Production | Demand/Energy as in related Plant | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
13 | Transmission | T = Transmission | Demand/Energy as in related Plant | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
14 | Distribution | D = Distribution | Demand/Customer as in related Plant | D02/D03/D04/D05/D06/D07/D08/C02/C04/C05 - See Related Plant
15 | General | P/T/D | Demand/Energy/Customer as in related Labor or Plant | S22/S05/S21 Labor O&M Total, P/T/D Plant Total, Labor P/T/D O&M Subtotal
Taxes
16 | Property Tax | P/T/D/O | Demand/Energy/Customer from Related Plant | S01/S02/S03/S04 Sums of Production / Transmission / Distribution / General Plant
17 | State kWh Generation Taxes | P = Production | Demand/Energy by Combo Peak Credits & Energy | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
18 | Misc Production Taxes | P = Production | Demand/Energy by Combo Peak Credits & Energy | D01/E02 Coincident Peak Demand/Annual Generation Level Consumption
19 | Misc Distribution Taxes | D = Distribution | Demand/Customer from Distribution Plant | S03 Sum of Distribution Plant
20 | Washington State Excise Tax | R = Revenue Conversion | Revenue | R01 Retail Sales Revenue
21 | Federal Income Taxes - Current and/or Deferred | R = Revenue Conversion | Revenue | R03 Revenue less Expenses Before Income Tax less Interest Expense
Other Income Related Items
22 | Deferred Transmission O&M | T = Transmission | Demand/Energy from Transmission Plant | S02 Sum of Transmission Plant
23 | Amortization of Gain on Sale of Misc Property | D = Distribution | Demand/Customer from Distribution Plant | S03 Sum of Distribution Plant
Operating Revenues
24 | Sales of Electricity- Retail | R = Revenue from Rates | Revenue | Input Pro Forma Revenue per Revenue Study
25 | Sales for Resale (447) | P = Production | Demand/Energy from Production Plant | S01 Sum of Production Plant
26 | Optional Renewable Revenue | P = Production | Demand/Energy from Production Plant | S01 Sum of Production Plant
27 | Special Contract (Standby) Revenue | P = Production | Demand | D01 Coincident Peak Demand
28 | Misc Service Revenue (451) | D = Distribution | Demand/Customer from Distribution Plant | S03 Sum of Distribution Plant
29 | Sales of Water & Water Power (453) | P = Production | Demand | D01 Coincident Peak Demand
30 | Rent from Production Property (454) | P = Production | Demand/Energy from Production Plant | S01 Sum of Production Plant
31 | Rent from Transmission Property (454) | T = Transmission | Demand/Energy from Transmission Plant | S02 Sum of Transmission Plant
32 | Rent from Distribution Property (454) | D = Distribution | Demand/Customer from Distribution Plant | S03 Sum of Distribution Plant
33 | Other Electric Revenues - Generation (456) | P = Production | Demand/Energy from Production Plant | S01 Sum of Production Plant
34 | Other Electric Revenues - Wheeling (456) | T = Transmission | Demand/Energy from Transmission Plant | S02 Sum of Transmission Plant
35 | Other Electric Revenues - Energy Delivery (456) | D = Distribution | Demand/Customer from Distribution Plant | S03 Sum of Distribution Plant
Salaries & Wages (allocators)
Operation & Maintenance Expenses
36 | Production Total | P = Production | Demand/Energy from Production Plant | S01 Sum of Production Plant
37 | Transmission Total | T = Transmission | Demand/Energy from Transmission Plant | S02 Sum of Transmission Plant
38 | Distribution Total | D = Distribution | Demand/Customer from Distribution Plant | S03 Sum of Distribution Plant
39 | Customer Accounts Total | C = Customer Relations | Customer | S18 Sum of Other Customer Accounts Expenses Excluding Uncollectibles
40 | Customer Service Total | C = Customer Relations | Customer | C01 All Customers unweighted
41 | Sales Total | C = Customer Relations | Energy | E02 Annual Generation Level Consumption
42 | Admin & General Total | P/T/D | Demand/Energy/Customer from Related Plant | S05 Sum of Production, Transmission and Distribution Plant
Note on C48: Tara Knox: Improved process: Assigned to function based on the revenue requirement adjustment workpapers, formerly used pro forma plant in service balances to assign to function.
Note on E93: Tara Knox: Due to changeover in departments, the accounting for creating MV90 billing reports associated with handbills no longer charged to Acct 903, (now included in engineering overheads) remaining resource accounting amounts charged as common allocated which dilutes to the extent that direct assignment values became immaterial.