Exhibit VI

Monthly Energy Need

The table below provides the company’s monthly energy needs for twenty years.  These values were updated since the Least Cost Plan Update of August, 2003 and are based on the load after conservation and PSE’s recent acquisition of the Frederickson #1 combined cycle project are considered.

| Energy (aMW) | January | February | March | April | May | June | July | August | September | October | November | December |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2004 | 376 | 265 | 124 | 0 | 43 | 0 | 0 | 0 | 198 | 109 | 9 | 226 |
| 2005 | 280 | 197 | 42 | 0 | 5 | 0 | 0 | 0 | 221 | 147 | 80 | 232 |
| 2006 | 322 | 226 | 185 | 40 | 67 | 0 | 0 | 0 | 233 | 156 | 102 | 257 |
| 2007 | 343 | 248 | 101 | 31 | 44 | 0 | 0 | 0 | 251 | 176 | 118 | 271 |
| 2008 | 355 | 198 | 112 | 0 | 58 | 0 | 0 | 0 | 262 | 191 | 132 | 286 |
| 2009 | 490 | 338 | 128 | 0 | 125 | 0 | 0 | 0 | 112 | 212 | 281 | 498 |
| 2010 | 563 | 409 | 215 | 0 | 186 | 0 | 0 | 0 | 166 | 273 | 361 | 589 |
| 2011 | 705 | 548 | 336 | 129 | 306 | 0 | 0 | 0 | 282 | 400 | 491 | 728 |
| 2012 | 1199 | 988 | 836 | 613 | 533 | 416 | 282 | 462 | 746 | 872 | 970 | 1205 |
| 2013 | 1375 | 1214 | 1009 | 782 | 699 | 589 | 448 | 628 | 916 | 1046 | 1144 | 1380 |
| 2014 | 1419 | 1257 | 1048 | 816 | 731 | 612 | 478 | 659 | 945 | 1075 | 1183 | 1424 |
| 2015 | 1471 | 1305 | 1094 | 858 | 769 | 657 | 515 | 697 | 981 | 1121 | 1230 | 1476 |
| 2016 | 1536 | 1314 | 1151 | 909 | 816 | 702 | 560 | 743 | 1029 | 1174 | 1288 | 1540 |
| 2017 | 1605 | 1432 | 1213 | 964 | 867 | 752 | 609 | 792 | 1079 | 1224 | 1458 | 1716 |
| 2018 | 1785 | 1604 | 1330 | 1075 | 920 | 795 | 659 | 843 | 1129 | 1277 | 1523 | 1788 |
| 2019 | 1859 | 1674 | 1395 | 1133 | 974 | 855 | 711 | 896 | 1182 | 1340 | 1590 | 1861 |
| 2020 | 1935 | 1697 | 1462 | 1193 | 1029 | 909 | 764 | 950 | 1236 | 1400 | 1658 | 1936 |
| 2021 | 2014 | 1821 | 1533 | 1256 | 1087 | 965 | 819 | 1007 | 1293 | 1457 | 1730 | 2015 |
| 2022 | 2101 | 1903 | 1610 | 1325 | 1151 | 1027 | 880 | 1069 | 1356 | 1530 | 1808 | 2102 |
| 2023 | 2191 | 1988 | 1689 | 1396 | 1216 | 1090 | 943 | 1133 | 1420 | 1596 | 1889 | 2190 |