## Cover Page
Collocation: Remote Terminal
WASHINGTON
November 2001
Study ID: 5932
QWEST CORPORATION
Policy and Law

## Table of Contents
Table of Contents
Page
I. Executive Summary |  | 3
| A. Purpose Scope, and Application | 3
| B. Description of Service | 3
| C. Study Methodology | 3
| D. Description of Long Run Incremental Costs | 4
| E. Study Assumptions | 4
F. LRIC Mapping
II. Rate Elements |  | 5
III. Work Papers |  | 6
| Study Summary | 6
| Inputs | 7
| Cost Summary | 9
| FDI Augment | 13
| DA Hotel Cabling | 14
| DA Hotel: Vendor A | 16
| DA Hotel: Vendor B | 18
| WCP Recurring | 20
| WCP Maintenance | 21
| WCP Non-Recurring | 22
| Input Configurations | 23

## Executive Summary
Executive Summary
A. PURPOSE, SCOPE, AND APPLICATION
The purpose of this study is to determine the expenses and recurring costs that will be incurred by
Qwest to provide Remote Terminal Collocation for customers.
This study develops Qwest average costs. Costs are based on a per unit basis depending upon
which element is being requested.
B. DESCRIPTION OF SERVICE
Cost Elements
C. STUDY METHODOLOGY
The costs were developed from material, engineering and installation labor costs
provided by Subject Matter Experts (SME's) in Central Office Engineering and Outside Plant
Engineering.
Monthly maintenance costs were developed by taking the element-specific expense and applying
the account code specific maintenance factor.
The investments/expenses from the above items were then entered into the WCP (Wholesale
Cost Program) model, developed and used within Qwest.
D. DESCRIPTION OF LONG RUN INCREMENTAL COSTS
Long Run Incremental Cost (LRIC) is the method Qwest uses to estimate
product and service costs. It provides a measurement of costs over a period of time long enough to
fully adjust to changes of output (including changes in the size of facilities, levels of investment, etc.)
in order to optimally accommodate this change. This methodology is forward looking in nature
(i.e. LRIC uses the latest technology costs or replacement costs.) Since LRIC is forward looking,
it does not measure historic investment decisions of the corporation.
The Qwest LRIC format disaggregates the cost results on a unitized basis into the components
shown below:
Total Service Long Run Incremental Cost (TSLRIC) --Total Service Long Run Incremental Cost is
the forward looking cost avoided (or added) by discontinuing (or offering) an entire service or group of
services in the most efficient manner, holding constant the production of all other services produced
by the firm. This cost is often referred to in economic terms as direct cost.
Shared Cost (SC)-- The cost associated with the provision of multiple services (service family).
This cost is not volume sensitive and is eliminated only if the entire service family is discontinued.
Total Service Long Run Incremental Costs plus Shared Costs (TSLRIC+SC)--The Total Service
Long Run Incremental Costs for a service plus the Shared Costs of a family of services.
Total Element Long Run Incremental Cost (TELRIC) -- Total Element Long Run Incremental
Cost, as defined by the Federal Communications Commission, is the sum of the forward looking
direct cost incurred in the production of a network element (as opposed to an entire service),
attributed costs considered as shared cost under TSLRIC terminology and selected administrative
costs considered as common under TSLRIC terminology.
Common Cost (CC)
For TSLRIC purposes, common costs are the current cost incurred for the benefit of the enterprise
as a whole. This cost does not vary with the provision of a service or a service family. These costs
are sometimes referred to as general overhead costs. The Common Cost added to the TSLRIC +
SC produces a Fully Allocated Cost (FAC) as required by Commission rules.
For TELRIC purposes, common costs are the current cost incurred for the benefit of the enterprise as
a whole, after those cost that vary with the provisioning of individual network elements are removed.
The costs removed from common for TELRIC purposes are included in the TELRIC itself. Total Long
Run Incremental Cost plus TELRIC common costs (TELRIC + CC) form the basis for pricing
Interconnection network elements. TELRIC + CC is the equivalent of fully allocated cost as the term
is applied to network elements.
Typically, the cost identified by these cost categories include capital costs for depreciation, return, and
income taxes. TSLRIC also includes ongoing operating costs for: administration expense, product
management expense, pre sales expense, and business fees.
E. STUDY ASSUMPTIONS
1. All cost are forward looking.
2. See "Inputs" worksheet for a summary of the assumptions.
- Space (per standard mounting unit; 1.75 vertical inches)
This non-recurring rate is associated with the cabinet space and includes the cost of the cabinet and all of the work and materials associated with placement of the cabinet. The recurring rate associated with the Space recovers the maintenance of the materials and equipment associated the cabinet along with a portion of the costs required for the power pedestal.
- Feeder Distribution Interface (FDI) Terminations (per 25 pair)
This non-recurring rate includes all costs associated with initial FDI upgrade work required to provide the terminations requested at the FDI. The recurring rate associated with the FDI recovers the maintenance of the cable between the FDI and the Remote Collocation cabinet, as well as, the maintenance of the terminations at the FDI. These charges will apply for both DS0 and DS1.
Remote Terminal Collocation offers space in available remote cabinets eliminating the distance constraints on DSL providers. The space rate element is unitized on a Standard Mounting Unit (SMU) level and includes access to AC/DC power, heat dissipation and terminations to the Feeder Distribution Interface (FDI). The FDI termination rate element is per 25-pairs and includes the termination blocks and cables.

## Rate Elements
Remote Terminal Collocation: Washington
Rate Summary* |  | NRC | RC
| Space (per Standard Mounting Unit) | 866.8854 | 0.52041
| FDI Terminations (per binder group (25-PR)) | 558.3846 | 0.29979
Power (see Collocation rates)
* Costs Not Included:
Shelf Cost
Element Management System (EMS)
Remote Test Access Unit
Technician time to re-jumper the FDI through DA Hotel.

## Study Summary
Study Name | Remote Terminal Collocation
Study Requester | Vicki Bishara
Type of Study | TELRIC
Study ID | 5932
Cost Factor Group | Interconnection
Study Applications
Completion Date | 2001-11-07 08:16
Cost Analyst | Tom Wilkinson
Study Review | Reviewer | Date
| Vicki Bishara | 2001-11-07 08:16
Models Used | Model | Version
| Wholesale Cost Program | 2.06
| Cost Factor Databases | 99WA02E
Cost Factors Used | Factor | Effective Date
| Capital Recovery | 01/01
| Maintenance | 01/01
| Ad Valorem | 01/01
| COE Land & Bldg | 01/01
| Directly Assigned Factors | 01/01
| Directly Attributable Factors | 01/01
| Common | 01/01
| Cost Of Money | 9.63%
Inflation
Major Cost Drivers

## Inputs
Study Information |  |  |  | Value
| Filing Month |  |  | November
| Filing Year |  |  | 2001
| State |  |  | WA
| State Full Name |  |  | WASHINGTON
| Run Date |  |  | 2001-11-07 08:16
| Factor Vintage |  |  | 99WA02E
| Study ID |  |  | 5932
Configuration Quantities |  |  |  | Value | Unit
Vendor 1 Cost
|  | Max Port Usage |  | 3 | Cards
|  | Additional Cabinet Cost: Pad Mounting Bracket |  | 136 | Dollars
|  | Additional Cabinet Cost: 2-Protector Blocks for DS1 Terms |  | 522 | Dollars
Between Cabinets
|  | Distance Between Cabinets (feet) |  | 35 | Feet
|  | Cable Length Between Cabinets (feet) |  | 50 | Feet
|  | Total Number Copper Pairs Between Cabinets |  | 400 | Pairs
|  | Total Number of DS1s Between Cabinets |  | 50 | Pairs
|  | Total Number of 4" Duct Between Cabinets {Copper} |  | 3 | Each
|  | Total Number of Set of 2, 2" Innerduct Between Cabinets {Fiber} |  | 1 | Set
FDI Specific:
|  | Number of Additional Termination Blocks |  | 8 | Each
|  | Number of Terminations per Block |  | 25 | Each
Weightings |  |  |  | Value | Source
|  | FDI Augment Utilization Fill Factor |  | 70%
|  | Weighting for Telephony |  | 50%
|  | Weighting for Packet Switching |  | 85%
|  |  | Weighting for Remote Terminal (Whole.) | 15%
|  |  | Weighting for Remote Terminal Collo w/Telephony | 25%
Architecture Weightings
|  |  | Vendor 1 Architecture | 88%
|  |  | Vendor 2 Architecture | 12%
|  | Percent of Time Power Ped Required |  | 90%
|  | Standard Mounting Unit |  | 1.75
|  |  | Cabinet Type 1 (23") | 23
|  |  | Cabinet Type 2 (40") | 40
|  |  | Space Utilization Factor | 33%
Collocation Model |  |  |  | Value
|  | Power Maint Expense Adj |  | 0.0023082 | G. Investment Factors
Factors |  |  |  | Value
| WCP Version |  |  | 2.06
| Cost of Money |  |  | 9.63%
| Capital Recovery |  |  | 01/01
| Maintenance |  |  | 01/01
| Ad Valorem |  |  | 01/01
Power
Sales Tax
Interest During Construction
| COE Land & Bldg |  |  | 01/01
| Directly Assigned Factors |  |  | 01/01
| Directly Attributable Factors |  |  | 01/01
| Common |  |  | 01/01
| Vintage |  |  | 99WA02E
Investment Loadings
| Power |  |  | 0.0422
| Sales Tax |  |  | 0.0829
| Interest During Construction |  |  | 0.0061
COE Land And Building Investment
| Building |  |  | 0.0679
| Land |  |  | 0.0028
Investment Based Monthly Direct Costs
| Depreciation |  |  | 0.090203
| Cost Of Money |  |  | 0.043242
| Income Tax Expense |  |  | 0.014796
| Maintenance |  |  | 0.010327
| Ad Valorem Tax |  |  | 0.003935
COE Land And Building Cost
| COE Building |  |  | 0.15082
| COE Land |  |  | 0.15307
Directly Assigned
| Product Management Expense |  |  | 0.053904
| Sales Expense |  |  | 0.013375
| Product Advertising Expense |  |  | 0
| Business Fees (Other Operating Taxes) |  |  | 0.042327
Directly Attributed
| Network Operations |  |  | 0
| Network Support Assets |  |  | 0
| General Support Assets |  |  | 0
| General Purpose Computers |  |  | 0
| Uncollectible |  |  | 0
| Accounting & Finance Expense |  |  | 0
| Human Resources Expense |  |  | 0
| Information Management Expense |  |  | 0
| Intangibles |  |  | 0
| State Prescribed Directly Attributed |  |  | 0.1962
Common
| Executive Expense |  |  | 0
| Planning Expense |  |  | 0
| External Relations Expense |  |  | 0
| Legal Expense |  |  | 0
| Other Procurement Expense |  |  | 0
| Research & Development Expense |  |  | 0
| Other General and Admin Expense |  |  | 0
| State Prescribed Common |  |  | 0.0405

## Cost Summary
Remote Terminal Collocation
JPR Assumption Summary
Configuration Quantities
Weightings
|  |  | FDI Augment Utilization Fill Factor |  |  |  | 70%
|  |  | Weighting for Packet Switching |  |  |  | 85%
|  |  |  | Weighting for Remote Terminal (Whole.) |  |  | 15%
[5 empty] | Weighting for Remote Terminal Collo w/Telephony |  | 25%
Architecture Weightings
|  |  |  | Vendor 1 Architecture |  |  | 88%
[5 empty] | Vendor 2 Architecture |  | 12%
|  |  | Percent of Time Power Ped Required |  |  |  | 90% |  | Conversion
|  |  | Standard Mounting Unit |  |  |  | 1.75 |  | SMUs
|  |  |  | Cabinet Type 1 (23") |  |  | 23 |  | 13
|  |  |  | Cabinet Type 2 (40") |  |  | 40 |  | 23
|  |  |  | Space Utilization Factor |  |  | 33%
Cost Summary
[7 empty] | Loaded Cost | Usage Weighting | SMU Quantity | Utilization Factor | Total
FDI Augment (per block - 25 terminations)
|  | Non-Recurring (per 25 terminations, 1 of 8 blocks) |  |  |  |  | 1988.4582 | 0.125 | n/a | 70% | 355.0818
|  | Recurring |  |  |  |  | 1.0676 | 0.125 | n/a | 70% | 0.19064
DA Cabling
|  | Non-Recurring (per 25-pair, 25 of 400-pair) |  |  |  |  | 2276.991 | 0.0625 | n/a | 70% | 203.3028
|  | Recurring |  |  |  |  | 1.2225 | 0.0625 | n/a | 70% | 0.10915
[12 empty] | NRC | RC
| Total FDI Terminations (per binder group (25-pair)) | [10 empty] | 558.3846 | 0.29979
DA Hotel Calculations
|  | DA Hotel: Vendor A |  |  |  |  | Loaded Cost | Usage Weighting | SMU Quantity | Utilization Factor | Total per SMU
|  |  | Total Non-Recurring |  |  |  | 3412.9042 | 88% | 13 | 33% | 700.0829
|  |  | Total Recurring |  |  |  | 2.1004 | 88% | 13 | 33% | 0.43085
DA Hotel: Vendor B
|  |  | Total Non-Recurring |  |  |  | 10550.2558 | 12% | 23 | 33% | 166.8025
|  |  | Total Recurring |  |  |  | 5.6643 | 12% | 23 | 33% | 0.089554
[12 empty] | NRC | RC
| Total Weighted DA Hotel (per Standard Mounting Unit (SMU)) | [10 empty] | 866.8854 | 0.52041
Configuration Summary
| FDI Augment | [5 empty] | FRC | RC | NRC |  | Cost | Wtg | Total Cost
|  | Total Weighted FDI Cost |  |  |  |  | 45 |  | x |  | 1436.1131 | 100% | 1436.1131
| DA Cabling | [5 empty] | FRC | RC | NRC |  | Cost | Wtg | Total Cost
|  | Total Weighted DA Hotel Cabling |  |  |  |  | 4/45 |  | x |  | 1644.4985 | 100% | 1644.4985
DA Hotel: Vendor A
|  | Material |  |  |  |  | FRC | RC | NRC |  | Cost | Wtg | Total Cost
|  |  | Cabinet: DA Overlay |  |  | X-DSLRT-xxxx-CARD_ADD-48PTS-CAB | 257 |  | x |  | 8875.9722 | 15% | 1331.3958
|  |  | Additional Cabinet Cost: Pad Mounting Bracket |  |  | {see assumptions} | 257 |  | x |  | 136 | 7.5% | 10.2
|  |  | Additional Cabinet Cost: 2-Protector Blocks for DS1 Terms |  |  | {see assumptions} | 45 |  | x |  | 522 | 50% | 261
|  |  | Installation: Generic Remote DSL Pad |  |  | C-ACTVTY-DLCRT-REMOTE-DSL-PAD | 4 |  | x |  | 1952.08 | 7.5% | 146.406
|  |  |  | Exempt Material |  | Exempt Material | 4 |  | x |  | 454.6567 | 7.5% | 34.0993
|  |  | Juicebox Power Pedestal 100-30 Pad |  |  | C-CMNSYS-ACPPED-100-30-PADMTD | 257 |  | x |  | 2028.3506 | 6.75% | 136.9137
|  |  |  | Juicebox Power Pedestal 100-30 Pad |  | C-CMNSYS-ACPPED-100-30-PADMTD | 257 | x |  |  | 2028.3506 | 0.75% | 15.2126
|  |  | Remote Ankor Frame for 52E |  |  | C-DSLRT-xxxx-ANK_FRAME | 257 |  | x |  | 147.228 | 7.5% | 11.0421
|  | Total Material Costs | [11 empty] | 1946.2695
Engineering
Engineering Costs Associated with:
|  |  | Cabinet: DA Overlay |  |  | X-DSLRT-xxxx-CARD_ADD-48PTS-CAB | 257 |  | x |  | 329.9463 | 7.5% | 24.746
|  |  | Installation: Generic Remote DSL Pad |  |  | C-ACTVTY-DLCRT-REMOTE-DSL-PAD | 4 |  | x |  | 106 | 7.5% | 7.95
|  |  | Juicebox Power Pedestal 100-30 Pad |  |  | C-CMNSYS-ACPPED-100-30-PADMTD | 257 |  | x |  | 53 | 6.75% | 3.5775
|  |  |  | Juicebox Power Pedestal 100-30 Pad |  | C-CMNSYS-ACPPED-100-30-PADMTD | 257 | x |  |  | 53 | 0.75% | 0.3975
|  |  | Commercial Power: Electrician Cnct AC to Cab (Cntrctr) |  |  | C-ACTVTY-COMPWR-ELECTICAL_CAB | 257 |  | x |  | 300 | 7.5% | 22.5
|  | Total Engineering Costs | [11 empty] | 59.171
|  | Splicing |  |  |  | C-ACTVTY-SETUP-SITE_SPLICE_C
|  |  | Splicing Costs Associated with: |  |  | C-ACTVTY-COPPER-SPLICE-BURIED
|  |  | Cabinet: DA Overlay (splice time) |  |  | X-DSLRT-xxxx-CARD_ADD-48PTS-CAB | 257 |  | x |  | 4.6153 | 7.5% | 0.34615
|  |  | Cabinet: DA Overlay |  |  | X-DSLRT-xxxx-CARD_ADD-48PTS-CAB | 257 |  | x |  | 119.26 | 7.5% | 8.9445
|  |  |  | Exempt Material |  | Exempt Material | 257 |  | x |  | 31.2062 | 7.5% | 2.3405
|  |  |  | Splice Setup: Site Setup for Splice Activity |  | C-ACTVTY-SETUP-SITE_SPLICE_C | 45 |  | x |  | 89 | 7.5% | 6.675
[5 empty] | Exempt Material | Exempt Material | 45 |  | x |  | 23.2882 | 7.5% | 1.7466
|  | Total Splicing Costs | [11 empty] | 20.0527
Installation
Installation Costs Associated with:
|  |  | Cabinet: DA Overlay |  |  | X-DSLRT-xxxx-CARD_ADD-48PTS-CAB | 257 |  | x |  | 26.1654 | 7.5% | 1.9624
|  |  |  | Installation Hourly Costs |  | QwestInstallation | 257 |  | x |  | 0 | 7.5% | 0
|  |  | Juicebox Power Pedestal 100-30 Pad {T&T} |  |  | C-CMNSYS-ACPPED-100-30-PADMTD | 257 |  | x |  | 42.03 | 6.75% | 2.837
|  |  |  | Juicebox Power Pedestal 100-30 Pad {T&T} |  | C-CMNSYS-ACPPED-100-30-PADMTD | 257 | x |  |  | 42.03 | 0.75% | 0.31522
|  |  | Commercial Power: Electrician Cnct AC to Cab (Cntrctr) |  |  | C-ACTVTY-COMPWR-ELECTICAL_CAB | 257 |  | x |  | 1700 | 7.5% | 127.5
|  |  | Remote Ankor Frame for 52E |  |  | C-DSLRT-xxxx-ANK_FRAME | 257 |  | x |  | 84.06 | 7.5% | 6.3045
|  |  | Placing Cabinet: Less than 1000 Pounds (Cntrctr) |  |  | C-ACTVTY-DLCRT-CAB-1000LBS | 257 |  | x |  | 334.6486 | 7.5% | 25.0986
|  |  | Placement: Power Pedestal (Cntrctr) |  |  | C-ACTVTY-DLCRT-POWER-PED | 257 |  | x |  | 75.5131 | 6.75% | 5.0971
|  | Total Installation Costs | [11 empty] | 169.1149
Right-Of-Way
|  |  | Right of Way for Privately Owned Locations |  |  | C-ACTVTY-ROW-PRIVATE | 45 |  | x |  | 3710 | 7.5% | 278.25
|  |  | Right of Way for Publicly Owned Locations |  |  | C-ACTVTY-ROW-PUBLIC | 45 |  | x |  | 106 | 7.5% | 7.95
|  | Total Right-Of-Way Costs | [11 empty] | 286.2
| Total Cost, DA Hotel: Vendor A | [12 empty] | 2480.8081
DA Hotel: Vendor A Weighted Expense by FRC
[7 empty] | FRC | Total
[7 empty] | 4C | 188.4553
[7 empty] | 45C | 555.6216
[7 empty] | 257C | 1720.8059
2464.8828
DA Hotel: Vendor A Weighted Investment by FRC
[7 empty] | FRC | Total
[7 empty] | 4C | 0
[7 empty] | 45C | 0
[7 empty] | 257C | 15.9254
15.9254
DA Hotel: Vendor B
|  | Material | [5 empty] | RC | NRC |  | Cost | Wtg | Total Cost
|  |  | Cost per USAM Shelf |  |  | C-DLCRT-xxxx-USAM-CAB-16_12S | 257 |  | x |  | 24086.5265 | 25% | 6021.6316
|  |  | Placement: Up to 6" Concrete to Forms for Cabinet Base |  |  | C-ACTVTY-CONCRET-BASE-CAST_IN_PL | 257 |  | x |  | 2695.44 | 12.5% | 336.93
|  |  | Juicebox Power Pedestal 100-30 Pad |  |  | C-CMNSYS-ACPPED-100-30-PADMTD | 257 |  | x |  | 2028.3506 | 12.5% | 253.5438
|  | Total Material Costs | [11 empty] | 6612.1055
Engineering
Engineering Costs Associated with:
|  |  | Cost per USAM Shelf |  |  | C-DLCRT-xxxx-USAM-CAB-16_12S | 257 |  | x |  | 530 | 12.5% | 66.25
|  |  | Juicebox Power Pedestal 100-30 Pad |  |  | C-CMNSYS-ACPPED-100-30-PADMTD | 257 |  | x |  | 53 | 12.5% | 6.625
|  |  | Commercial Power: Electrician Cnct AC to Cab (Cntrctr) |  |  | C-ACTVTY-COMPWR-ELECTICAL_CAB | 257 |  | x |  | 300 | 12.5% | 37.5
|  | Total Engineering Costs | [11 empty] | 110.375
|  | Splicing |  |  |  | C-ACTVTY-SETUP-SITE_SPLICE_C
|  |  | Splicing Costs Associated with: |  |  | C-ACTVTY-COPPER-SPLICE-BURIED
|  |  | Splicing: Copper Pairs for Buried Cable - Extra Splices |  |  | C-ACTVTY-COPPER-SPLICE-BURIED | 45 |  | x |  | 477.04 | 12.5% | 59.63
|  |  |  | Exempt Material |  | Exempt Material | 45 |  | x |  | 124.8248 | 12.5% | 15.6031
|  |  |  | Splice Setup: Site Setup for Splice Activity |  | C-ACTVTY-SETUP-SITE_SPLICE_C | 45 |  | x |  | 89 | 12.5% | 11.125
[5 empty] | Exempt Material | Exempt Material | 45 |  | x |  | 23.2882 | 12.5% | 2.911
|  |  | Trip Charge for Qwest to and from Urban Work Location |  |  | C-ACTVTY-SETUP-TRIP_CHG-USW-UR | 257 |  | x |  | 267 | 12.5% | 33.375
|  | Total Splicing Costs | [11 empty] | 122.6441
Installation
Installation Costs Associated with:
|  |  | Large Cabinet Equipped with 12 USAM Shelves {T&T} |  |  | C-DLCRT-xxxx-USAM-CAB-16_12S | 257 |  | x |  | 42.03 | 12.5% | 5.2538
|  |  | Juicebox Power Pedestal 100-30 Pad {T&T} |  |  | C-CMNSYS-ACPPED-100-30-PADMTD | 257 |  | x |  | 42.03 | 12.5% | 5.2538
|  |  | Commercial Power: Electrician Cnct AC to Cab (Cntrctr) |  |  | C-ACTVTY-COMPWR-ELECTICAL_CAB | 257 |  | x |  | 1700 | 12.5% | 212.5
|  |  | Placing Cabinet: Less than 1000 Pounds (Cntrctr) |  |  | C-ACTVTY-DLCRT-CAB+1000LBS | 257 |  | x |  | 334.6486 | 12.5% | 41.8311
|  |  | Placement: Ground Grid |  |  | C-ACTVTY-DLCRT-GROUND-GRID | 257 |  | x |  | 186 | 12.5% | 23.25
|  |  | Placement: Power Pedestal (Cntrctr) |  |  | C-ACTVTY-DLCRT-POWER-PED | 257 |  | x |  | 75.5131 | 12.5% | 9.4391
|  | Total Installation Costs | [11 empty] | 297.5277
Right-Of-Way
|  |  | Right of Way for Privately Owned Locations |  |  | C-ACTVTY-ROW-PRIVATE | 45 |  | x |  | 3710 | 12.5% | 463.75
|  |  | Right of Way for Publicly Owned Locations |  |  | C-ACTVTY-ROW-PUBLIC | 45 |  | x |  | 106 | 12.5% | 13.25
|  | Total Right-Of-Way Costs | [11 empty] | 477
| Total Cost, DA Hotel: Vendor B | [12 empty] | 7619.6523
DA Hotel: Vendor B Expense by FRC
[7 empty] | FRC | Total
[7 empty] | 45C | 566.2691
[7 empty] | 257C | 7053.3832
7619.6523

## Tot Cost - FDI Augment
FDI Augment
FDI Assumption Summary
| Configuration Quantities | [5 empty] | Amt | Unit
FDI Specific:
|  |  | Number of Additional Termination Blocks |  |  |  | 8 | Each
|  |  | Number of Terminations per Block |  |  |  | 25 | Each
Use Existing FDI
| Material | [5 empty] | FRC | Qty | Unit | Qty | Unit | Unit Cost | Amount
New Termination Blocks
|  |  | Block: SAI 25-Pair Block |  |  | C-XCON-SAI-PED-25PR_BLOCKS | 45 |  |  | 8 | Each | 117.11 | 936.88
|  | Total Material Costs | [11 empty] | 936.88
Engineering
Engineering Costs Associated with:
|  |  | Block: SAI 25-Pair Block |  |  | C-XCON-SAI-PED-25PR_BLOCKS | 45 | 8 | Each | 1 | Hour(s) | 53 | 424
|  | Total Engineering Costs | [11 empty] | 424
Splicing
|  | Splicing Costs Associated with: |  |  |  | C-ACTVTY-COPPER-SPLICE-BURIED
|  |  | Block: SAI 25-Pair Block {8*25=200} |  |  | C-XCON-SAI-PED-25PR_BLOCKS | 45 | 200 | Pair | 0.0067 | Hour(s) | 44.5 | 59.63
|  |  |  | Exempt Material {8*25=200} |  | Exempt Material | 45 | 200 | Pair | 0.0067 | Each | 11.6441 | 15.6031
|  | Total Splicing Costs | [11 empty] | 75.2331
FDI Total
| Total Cost, Use Existing FDI | [12 empty] | 1436.1131
FDI Augment Expense by FRC
[5 empty] | FRC |  | Total
[5 empty] | 45C |  | 1436.1131
1436.1131

## Tot Cost - DA Hotel Cabling
DA Hotel Cabling
{Cable placement for new DA Hotel & splicing at FDI only.}
DA Hotel Cabling Assumptions
| Configuration Quantities | [5 empty] | Amt | Unit
Between Cabinets
|  |  | Distance Between Cabinets (feet) |  |  |  | 35 | Feet
|  |  | Cable Length Between Cabinets (feet) |  |  |  | 50 | Feet
|  |  | Total Number Copper Pairs Between Cabinets |  |  |  | 400 | Pairs
|  |  | Total Number of DS1s Between Cabinets |  |  |  | 50 | Pairs
|  |  | Total Number of 4" Duct Between Cabinets {Copper} |  |  |  | 3 | Each
|  |  | Total Number of Set of 2, 2" Innerduct Between Cabinets {Fiber} |  |  |  | 1 | Set
DA Hotel Cabling Calculations
| Material | [5 empty] | FRC | Qty | Unit | Qty | Unit | Unit Cost | Amount
Cabling
|  |  | Copper Cable Buried: 24 Gauge, 400-Pair |  |  | C-COPPER-BURIED-24GA_400PR | 45 |  |  | 50 | Sheath Feet | 2.7521 | 137.605
|  |  | Copper Cable Buried: 24 Gauge, 50-Pair |  |  | C-COPPER-BURIED-24GA_50PR | 45 |  |  | 50 | Sheath Feet | 0.4438 | 22.19
|  |  | Conduit: 4" PVC-Type Conduit - 1 Duct Buried |  |  | C-STRCTR-CONDUIT-1_DUCT_BUR | 4 | 3 | Each | 35 | Feet | 0.8488 | 89.124
|  |  | Innerduct: 2, 1-1/4" Innerduct Buried |  |  | C-STRCTR-INRDUCT-BUR-2DUCT | 4 | 1 | Set | 35 | Feet | 0.7316 | 25.606
|  | Total Material Costs | [11 empty] | 274.525
Engineering
Engineering Costs Associated with:
|  |  | Design Work Package |  |  | 0 | 45 |  |  | 8 | Hour(s) | 53 | 424
|  |  | Copper Cable Buried: 24 Gauge, 400-Pair |  |  | C-COPPER-BURIED-24GA_400PR | 45 | 50 | Sheath Feet | 0.0112 | Hour(s) | 53 | 29.68
|  |  | Copper Cable Buried: 24 Gauge, 50-Pair |  |  | C-COPPER-BURIED-24GA_50PR | 45 | 50 | Sheath Feet | 0.0074 | Hour(s) | 53 | 19.61
|  |  | Conduit: 4" PVC-Type Conduit - 1 Duct Buried {3*35=105} |  |  | C-STRCTR-CONDUIT-1_DUCT_BUR | 4 | 105 | Sheath Feet | 0.0032 | Hour(s) | 53 | 17.808
|  |  | Innerduct: 2, 1-1/4" Innerduct Buried {1*35=35} |  |  | C-STRCTR-INRDUCT-BUR-2DUCT | 4 | 35 | Sheath Feet | 0.013 | Hour(s) | 53 | 24.115
|  | Total Engineering Costs | [11 empty] | 515.213
| Splicing |  |  |  |  | C-ACTVTY-SETUP-SITE_SPLICE_C
|  | Splicing Costs Associated with: |  |  |  | C-ACTVTY-COPPER-SPLICE-BURIED
|  |  | Copper Cable Buried: 24 Gauge, 400-Pair {2*400=800} |  |  | C-COPPER-BURIED-24GA_400PR | 45 | 800 | Pair | 0.0067 | Hour(s) | 44.5 | 238.52
|  |  |  | Exempt Material {2*400=800} |  | Exempt Material | 45 | 800 | Pair | 0.0067 | Each | 11.6441 | 62.4124
|  |  |  | Splice Setup: Site Setup for Splice Activity |  | C-ACTVTY-SETUP-SITE_SPLICE_C | 45 | 1 | Each | 2 | Hour(s) | 44.5 | 89
[5 empty] | Exempt Material | Exempt Material | 45 | 1 | Each | 2 | Each | 11.6441 | 23.2882
|  |  | Copper Cable Buried: 24 Gauge, 50-Pair {2*50=100} |  |  | C-COPPER-BURIED-24GA_50PR | 45 | 100 | Pair | 0.0067 | Hour(s) | 44.5 | 29.815
|  |  |  | Exempt Material {2*50=100} |  | Exempt Material | 45 | 100 | Pair | 0.0067 | Each | 11.6441 | 7.8015
|  |  |  | Splice Setup: Site Setup for Splice Activity |  | C-ACTVTY-SETUP-SITE_SPLICE_C | 45 | 1 | Each | 2 | Hour(s) | 44.5 | 89
[5 empty] | Exempt Material | Exempt Material | 45 | 1 | Each | 2 | Each | 11.6441 | 23.2882
|  | Total Splicing Costs | [11 empty] | 563.1253
Installation
Costs Associated with:
|  |  | Single Direct Buried Duct |  |  | C-ACTVTY-CONDUIT-ENC-DIRBUR_1DUC | 45 | 1 | Each | 35 | Feet | 3.0372 | 106.302
|  |  |  | Each Additional Duct Placed in Trench |  | C-ACTVTY-CONDUIT-TRENCH_ADDITION | 4 | 4 | Each | 35 | Feet | 0.3954 | 55.356
[5 empty] | Exempt Material {4*35=140} | Exempt Material | 4 | 140 | Each | 0.0079 | Each | 11.6441 | 12.8784
|  |  | Copper Cable Buried: 24 Gauge, 400-Pair |  |  | C-COPPER-BURIED-24GA_400PR | 45 | 2 | Each | 50 | Sheath Feet | 100
|  |  |  | Pulling Cable into Conduit (Line Costs) |  | C-ACTVTY-COPPER-PULL_CNDT | 45 | 2 | Each | 50 | Feet | 0.9012 | 90.12
[5 empty] | Line Hourly Costs | Installation | 45 | 100 | Each | 0.001 | Hour(s) | 48.55 | 4.855
[5 empty] | Exempt Material | Exempt Material | 45 | 100 | Each | 0.019 | Each | 11.6441 | 22.1238
|  | Total Installation Costs | [11 empty] | 291.6352
| Total Cost, DA Hotel Cabling | [12 empty] | 1644.4985
DA Hotel Cabling Expense by FRC
[5 empty] | FRC |  | Total
[5 empty] | 4C |  | 224.8874
[5 empty] | 45C |  | 1419.6111
1644.4985

## Tot Cost - Vendor A Hotel
DA Hotel: Vendor A
FDI Assumption Summary | [6 empty] | Amt | Unit
Configuration Quantities
Vendor 1 Cost
|  |  |  | Max Port Usage |  |  | 3 | Cards
|  |  |  | Additional Cabinet Cost: Pad Mounting Bracket |  |  | 136 | Dollars
|  |  |  | Additional Cabinet Cost: 2-Protector Blocks for DS1 Terms |  |  | 522 | Dollars
DA Hotel: Vendor A Calculations
| Material | [5 empty] | FRC | Qty | Unit | Qty | Unit | Unit Cost | Amount
DA Hotel
|  |  | Cabinet: DA Overlay |  |  | X-DSLRT-xxxx-CARD_ADD-48PTS-CAB | 257 |  |  | 3 | per Card | 2958.6574 | 8875.9722
|  |  | Additional Cabinet Cost: Pad Mounting Bracket |  |  | {see assumptions} | 257 |  |  | 1 | Each | 136 | 136
|  |  | Additional Cabinet Cost: 2-Protector Blocks for DS1 Terms |  |  | {see assumptions} | 45 |  |  | 1 | Each | 522 | 522
|  |  | Installation: Generic Remote DSL Pad |  |  | C-ACTVTY-DLCRT-REMOTE-DSL-PAD | 4 |  |  | 1 | Each | 1952.08 | 1952.08
|  |  |  | Exempt Material |  | Exempt Material | 4 | 1 | Each | 39.0461 | Each | 11.6441 | 454.6567
|  |  | Juicebox Power Pedestal 100-30 Pad |  |  | C-CMNSYS-ACPPED-100-30-PADMTD | 257 |  |  | 1 | Each | 2028.3506 | 2028.3506
|  |  | Remote Ankor Frame for 52E |  |  | C-DSLRT-xxxx-ANK_FRAME | 257 |  |  | 1 | Each | 147.228 | 147.228
|  | Total Material Costs | [11 empty] | 14116.2875
Engineering
Engineering Costs Associated with:
|  |  | Cabinet: DA Overlay |  |  | X-DSLRT-xxxx-CARD_ADD-48PTS-CAB | 257 | 3 | per Card | 2.0751 | Hour(s) | 53 | 329.9463
|  |  | Installation: Generic Remote DSL Pad |  |  | C-ACTVTY-DLCRT-REMOTE-DSL-PAD | 4 | 1 | Each | 2 | Hour(s) | 53 | 106
|  |  | Juicebox Power Pedestal 100-30 Pad |  |  | C-CMNSYS-ACPPED-100-30-PADMTD | 257 | 1 | Each | 1 | Hour(s) | 53 | 53
|  |  | Commercial Power: Electrician Cnct AC to Cab (Cntrctr) |  |  | C-ACTVTY-COMPWR-ELECTICAL_CAB | 257 |  |  | 1 | Each | 300 | 300
|  |  | Remote Ankor Frame for 52E |  |  | C-DSLRT-xxxx-ANK_FRAME | 257 | 1 | Each | 0 | Hour(s) | 53 | 0
|  | Total Engineering Costs | [11 empty] | 788.9463
| Splicing |  |  |  | {Cables placed & priced on DA Hotel Cabling tab.} | C-ACTVTY-SETUP-SITE_SPLICE_C
|  | Splicing Costs Associated with: |  |  |  | C-ACTVTY-COPPER-SPLICE-BURIED
|  |  | Cabinet: DA Overlay (splice time) |  |  | X-DSLRT-xxxx-CARD_ADD-48PTS-CAB | 257 | 3 | per Card | 0.034572 | Hour(s) | 44.5 | 4.6153
|  |  | Cabinet: DA Overlay |  |  | X-DSLRT-xxxx-CARD_ADD-48PTS-CAB | 257 | 400 | Pair | 0.0067 | Hour(s) | 44.5 | 119.26
|  |  |  | Exempt Material |  | Exempt Material | 257 | 400 | Pair | 0.0067 | Each | 11.6441 | 31.2062
|  |  |  | Splice Setup: Site Setup for Splice Activity |  | C-ACTVTY-SETUP-SITE_SPLICE_C | 45 | 1 | Each | 2 | Hour(s) | 44.5 | 89
[5 empty] | Exempt Material | Exempt Material | 45 | 1 | Each | 2 | Each | 11.6441 | 23.2882
|  | Total Splicing Costs | [11 empty] | 267.3697
Installation
Costs Associated with:
|  |  | Cabinet: DA Overlay {T&T} |  |  | X-DSLRT-xxxx-CARD_ADD-48PTS-CAB | 257 | 3 | per Card | 0.20751 | Hour(s) | 42.03 | 26.1654
|  |  |  | Installation Hourly Costs |  | QwestInstallation | 257 | 3 | per Card | 0 | Hour(s) | 42.03 | 0
|  |  | Juicebox Power Pedestal 100-30 Pad {T&T} |  |  | C-CMNSYS-ACPPED-100-30-PADMTD | 257 |  |  | 1 | Hour(s) | 42.03 | 42.03
|  |  | Commercial Power: Electrician Cnct AC to Cab (Cntrctr) |  |  | C-ACTVTY-COMPWR-ELECTICAL_CAB | 257 |  |  | 1 | Each | 1700 | 1700
|  |  | Remote Ankor Frame for 52E |  |  | C-DSLRT-xxxx-ANK_FRAME | 257 |  |  | 2 | Each | 42.03 | 84.06
|  |  | Placing Cabinet: Less than 1000 Pounds (Cntrctr) |  |  | C-ACTVTY-DLCRT-CAB-1000LBS | 257 |  |  | 1 | Each | 334.6486 | 334.6486
|  |  | Placement: Power Pedestal (Cntrctr) |  |  | C-ACTVTY-DLCRT-POWER-PED | 257 |  |  | 1 | Each | 75.5131 | 75.5131
|  | Total Installation Costs | [11 empty] | 2262.4171
Right-Of-Way
Costs Associated with:
|  |  | Right of Way for Privately Owned Locations |  |  | C-ACTVTY-ROW-PRIVATE | 45 |  |  | 3.5 | Each | 1060 | 3710
|  |  | Right of Way for Publicly Owned Locations |  |  | C-ACTVTY-ROW-PUBLIC | 45 |  |  | 1 | Each | 106 | 106
|  | Total Right-Of-Way Costs | [11 empty] | 3816
| Total Cost, DA Hotel: Vendor A | [12 empty] | 21251.0206
DA Hotel: Vendor A Costs by FRC
[5 empty] | FRC |  | Total
[5 empty] | 4C |  | 2512.7367
[5 empty] | 45C |  | 4450.2882
[5 empty] | 257 |  | 14287.9957
21251.0206

## Tot Cost - Vendor B Hotel
DA Hotel: Vendor B
DA Hotel: Vendor B Calculations
| Material | [5 empty] | FRC | Qty | Unit | Qty | Unit | Unit Cost | Amount
DA Hotel
|  |  | Large Cabinet Equipped with 12 USAM Shelves |  |  | C-DLCRT-xxxx-USAM-CAB-16_12S | 257 |  |  | 1 | Each | 34201.8365
|  |  | Large Cabinet Equipped with 8 USAM Shelves |  |  | C-DLCRT-xxxx-USAM-CAB-16_8S | 257 |  |  | -1 | Each | 30830.0665
|  |  |  | Cost per USAM Shelf |  |  | 257 |  |  | 1 |  |  | 24086.5265
|  |  | Placement: Up to 6" Concrete to Forms for Cabinet Base |  |  | C-ACTVTY-CONCRET-BASE-CAST_IN_PL | 257 |  |  | 160 | Square Feet | 16.8465 | 2695.44
|  |  | Juicebox Power Pedestal 100-30 Pad |  |  | C-CMNSYS-ACPPED-100-30-PADMTD | 257 |  |  | 1 | Each | 2028.3506 | 2028.3506
|  | Total Material Costs | [11 empty] | 28810.3171
Engineering
Engineering Costs Associated with:
|  |  | Large Cabinet Equipped with 12 USAM Shelves |  |  | C-DLCRT-xxxx-USAM-CAB-16_12S | 257 | 1 | Each | 10 | Hour(s) | 53 | 530
|  |  | Juicebox Power Pedestal 100-30 Pad |  |  | C-CMNSYS-ACPPED-100-30-PADMTD | 257 | 1 | Each | 1 | Hour(s) | 53 | 53
|  |  | Commercial Power: Electrician Cnct AC to Cab (Cntrctr) |  |  | C-ACTVTY-COMPWR-ELECTICAL_CAB | 257 |  |  | 1 | Each | 300 | 300
|  | Total Engineering Costs | [11 empty] | 883
| Splicing |  |  |  | {Cables placed & priced on DA Hotel Cabling tab.} | C-ACTVTY-SETUP-SITE_SPLICE_C
|  | Splicing Costs Associated with: |  |  |  | C-ACTVTY-COPPER-SPLICE-BURIED
|  |  | Splicing: Copper Pairs for Buried Cable - Extra Splices |  |  | C-ACTVTY-COPPER-SPLICE-BURIED | 45 | 1600 | Pair | 0.0067 | Hour(s) | 44.5 | 477.04
|  |  |  | Exempt Material |  | Exempt Material | 45 | 1600 | Pair | 0.0067 | Each | 11.6441 | 124.8248
|  |  |  | Splice Setup: Site Setup for Splice Activity |  | C-ACTVTY-SETUP-SITE_SPLICE_C | 45 | 1 | Each | 2 | Hour(s) | 44.5 | 89
[5 empty] | Exempt Material | Exempt Material | 45 | 1 | Each | 2 | Each | 11.6441 | 23.2882
|  |  | Trip Charge for Qwest to and from Urban Work Location |  |  | C-ACTVTY-SETUP-TRIP_CHG-USW-UR | 257 | 6 | Each | 1 | Hour(s) | 44.5 | 267
|  | Total Splicing Costs | [11 empty] | 981.153
Installation
Installation Costs Associated with:
|  |  | Large Cabinet Equipped with 12 USAM Shelves {T&T} |  |  | C-DLCRT-xxxx-USAM-CAB-16_12S | 257 | 1 | Each | 1 | Hour(s) | 42.03 | 42.03
|  |  | Juicebox Power Pedestal 100-30 Pad {T&T} |  |  | C-CMNSYS-ACPPED-100-30-PADMTD | 257 | 1 | Each | 1 | Hour(s) | 42.03 | 42.03
|  |  | Commercial Power: Electrician Cnct AC to Cab (Cntrctr) |  |  | C-ACTVTY-COMPWR-ELECTICAL_CAB | 257 |  |  | 1 | Each | 1700 | 1700
|  |  | Placing Cabinet: Less than 1000 Pounds (Cntrctr) |  |  | C-ACTVTY-DLCRT-CAB+1000LBS | 257 |  |  | 1 | Each | 334.6486 | 334.6486
|  |  | Placement: Ground Grid |  |  | C-ACTVTY-DLCRT-GROUND-GRID | 257 |  |  | 1 | Each | 186 | 186
|  |  | Placement: Power Pedestal (Cntrctr) |  |  | C-ACTVTY-DLCRT-POWER-PED | 257 |  |  | 1 | Each | 75.5131 | 75.5131
|  | Total Installation Costs | [11 empty] | 2380.2217
Right-Of-Way
Costs Associated with:
|  |  | Right of Way for Privately Owned Locations |  |  | C-ACTVTY-ROW-PRIVATE | 45 |  |  | 3.5 | Each | 1060 | 3710
|  |  | Right of Way for Publicly Owned Locations |  |  | C-ACTVTY-ROW-PUBLIC | 45 |  |  | 1 | Each | 106 | 106
|  | Total Right-Of-Way Costs | [11 empty] | 3816
| Total Cost, DA Hotel: Vendor B | [12 empty] | 36870.6918
DA Hotel: Vendor B Costs by FRC
[5 empty] | FRC |  | Total
[5 empty] | 45C |  | 4530.153
[5 empty] | 257C |  | 32340.5388
36870.6918

## WCP Recurring
WCP Recurring
|  | Vendor A DA Hotel | Rack Mtd Splitter | Bay Mtd Splitter
| Factor Value | Investment | Cost | Cost
257C Investment |  | 15.9254 | #REF! | #REF!
Investment Loadings
Power | 0.0422 | 0.67205
Interest During Construction | 0.0061 | 0.10124
Loaded Investment |  | 16.6986
COE Land And Building Investment
Building | 0.0679 | 1.1338
Land | 0.0028 | 0.046756
Investment With COE Land And Bldg |  | 17.8792
Investment Based Monthly Direct Costs
Depreciation | 0.090203 | 0.12552
Cost Of Money | 0.043242 | 0.060174
Income Tax Expense | 0.014796 | 0.020589
Maintenance | 0.010327 | 0.014371
Ad Valorem Tax | 0.003935 | 0.0054758
Investment Based Monthly Direct Costs |  | 0.22613
COE Land And Building Cost
COE Building | 0.15082 | 0.01425
COE Land | 0.15307 | 0.00059642
COE Land And Building Monthly Costs |  | 0.014846
Total Investment Based Monthly Costs |  | 0.24098
Directly Assigned
Product Management Expense | 0.053904 | 0.01299
Sales Expense | 0.013375 | 0.0032231
Product Advertising Expense | 0 | 0
Business Fees (Other Operating Taxes) | 0.042327 | 0.010886
Directly Assigned Costs |  | 0.027099
Total Direct Costs |  | 0.26808
Directly Attributed
Network Operations | 0 | 0
Network Support Assets | 0 | 0
General Support Assets | 0 | 0
General Purpose Computers | 0 | 0
Uncollectible | 0 | 0
Accounting & Finance Expense | 0 | 0
Human Resources Expense | 0 | 0
Information Management Expense | 0 | 0
Intangibles | 0 | 0
Directly Attributed Costs |  | 0
TELRIC |  | 0.26808
Common
Executive Expense | 0 | 0
Planning Expense | 0 | 0
External Relations Expense | 0 | 0
Legal Expense | 0 | 0
Other Procurement Expense | 0 | 0
Research & Development Expense | 0 | 0
Other General and Admin Expense | 0 | 0
Common Costs |  | 0
TELRIC + Common Costs |  | 0.26808

## WCP Maintenance
WCP Maintenance
|  | FDI Augment | DA Hotel Cabling | Vendor A DA Hotel | Vendor B DA Hotel
| Factor Value | Total | Total | Total | Total
Investment |  | 1436.1131 | 1644.4985 | 2464.8828 | 7619.6523
Investment Based Costs
Maintenance | 0.0080188 | 0.95965 | 1.0989 | 1.6471 | 5.0917
Directly Assigned
Product Management Expense | 0.053904 | 0.051729 | 0.059235 | 0.088786 | 0.27446
Sales Expense | 0.013375 | 0.012835 | 0.014698 | 0.02203 | 0.068101
Product Advertising Expense | 0 | 0 | 0 | 0 | 0
Business Fees (Other Operating Taxes) | 0.042327 | 0.043352 | 0.049643 | 0.074408 | 0.23002
Directly Assigned Costs |  | 0.10792 | 0.12358 | 0.18522 | 0.57258
Total Direct Costs |  | 1.0676 | 1.2225 | 1.8323 | 5.6643
Directly Attributed
Network Operations | 0 | 0 | 0 | 0 | 0
Network Support Assets | 0 | 0 | 0 | 0 | 0
General Support Assets | 0 | 0 | 0 | 0 | 0
General Purpose Computers | 0 | 0 | 0 | 0 | 0
Uncollectible | 0 | 0 | 0 | 0 | 0
Accounting & Finance Expense | 0 | 0 | 0 | 0 | 0
Human Resources Expense | 0 | 0 | 0 | 0 | 0
Information Management Expense | 0 | 0 | 0 | 0 | 0
Intangibles | 0 | 0 | 0 | 0 | 0
Directly Attributed Costs |  | 0 | 0 | 0 | 0
TELRIC |  | 1.0676 | 1.2225 | 1.8323 | 5.6643
Common
Executive Expense | 0 | 0 | 0 | 0 | 0
Planning Expense | 0 | 0 | 0 | 0 | 0
External Relations Expense | 0 | 0 | 0 | 0 | 0
Legal Expense | 0 | 0 | 0 | 0 | 0
Other Procurement Expense | 0 | 0 | 0 | 0 | 0
Research & Development Expense | 0 | 0 | 0 | 0 | 0
Other General and Admin Expense | 0 | 0 | 0 | 0 | 0
Common Costs |  | 0 | 0 | 0 | 0
TELRIC + Common Costs |  | 1.0676 | 1.2225 | 1.8323 | 5.6643

## WCP Non-Recurring
WCP Non-Recurring
|  | FDI Augment | DA Hotel Cabling | Vendor A DA Hotel | Vendor B DA Hotel
| Factor Value | Expense | Expense | Expense | Expense
Expense |  | 1436.1131 | 1644.4985 | 2464.8828 | 7619.6523
Directly Assigned
Product Management Expense | 0.053904 | 77.4122 | 88.645 | 132.867 | 410.7297
Sales Expense | 0.013375 | 19.208 | 21.9952 | 32.9678 | 101.9128
Product Advertising Expense | 0 | 0 | 0 | 0 | 0
Business Fees (Other Operating Taxes) | 0.042327 | 64.876 | 74.2898 | 111.3504 | 344.2156
Directly Assigned Costs |  | 161.4963 | 184.93 | 277.1852 | 856.8582
Total Direct Monthly Costs |  | 1597.6094 | 1829.4285 | 2742.068 | 8476.5105
Directly Attributed
Network Operations | 0 | 0 | 0 | 0 | 0
Network Support Assets | 0 | 0 | 0 | 0 | 0
General Support Assets | 0 | 0 | 0 | 0 | 0
General Purpose Computers | 0 | 0 | 0 | 0 | 0
Uncollectible | 0 | 0 | 0 | 0 | 0
Accounting & Finance Expense | 0 | 0 | 0 | 0 | 0
Human Resources Expense | 0 | 0 | 0 | 0 | 0
Information Management Expense | 0 | 0 | 0 | 0 | 0
Intangibles | 0 | 0 | 0 | 0 | 0
State Prescribed Directly Attributed | 0.1962 | 313.451 | 358.9339 | 537.9937 | 1663.0914
Directly Attributed Costs |  | 313.451 | 358.9339 | 537.9937 | 1663.0914
TELRIC |  | 1911.0603 | 2188.3623 | 3280.0617 | 10139.6019
Common
Executive Expense | 0 | 0 | 0 | 0 | 0
Planning Expense | 0 | 0 | 0 | 0 | 0
External Relations Expense | 0 | 0 | 0 | 0 | 0
Legal Expense | 0 | 0 | 0 | 0 | 0
Other Procurement Expense | 0 | 0 | 0 | 0 | 0
Research & Development Expense | 0 | 0 | 0 | 0 | 0
Other General and Admin Expense | 0 | 0 | 0 | 0 | 0
State Prescribed Common | 0.0405 | 77.3979 | 88.6287 | 132.8425 | 410.6539
Common Costs |  | 77.3979 | 88.6287 | 132.8425 | 410.6539
TELRIC + Common Costs |  | 1988.4582 | 2276.991 | 3412.9042 | 10550.2558

## Input - Configurations
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
[6 empty] | Material Costs | [5 empty] | Qwest Labor Costs |  |  |  |  | Contract Labor Costs
Configuration Package ID | Title | Unit of | FRC | Suffix | Ntwk Cost | Supplier | BRI | Sales | Shipping | Total | Softwr | Line | Splice | Install | Engrg | T&T | Install | Engineer | Exempt Material | Total
|  | Measure |  |  | per Unit | Contract | Load | Tax |  | Mat. Cost | RTU | 48.55 | 44.5 | 42.03 | 53 | 42.03 |  |  | 11.6441
C-ACTVTY-COMPWR-ELECTICAL_CAB | Commercial Power: Electrician Cnct AC to Cab (Cntrctr) | Each | 257 | C | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1700 | 300 | 0 | 2000
C-ACTVTY-CONCRET-BASE-CAST_IN_PL | Placement: Up to 6" Concrete to Forms for Cabinet Base | Square Feet | 257 | C | 16.8465 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16.8465 | 0 | 0 | 16.8465
C-ACTVTY-CONDUIT-ENC-DIRBUR_1DUC | Single Direct Buried Duct | Feet | 45 | C | 3.0372 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0372 | 0 | 0 | 3.0372
C-ACTVTY-CONDUIT-TRENCH_ADDITION | Each Additional Duct Placed in Trench | Feet | 4 | C | 0.4875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.3954 | 0 | 0.0079 | 0.48739
C-ACTVTY-COPPER-PULL_CNDT | Pulling Cable into Conduit | Feet | 45 | C | 1.1713 | 0 | 0 | 0 | 0 | 0 | 0 | 0.001 | 0 | 0 | 0 | 0 | 0.9012 | 0 | 0.019 | 1.171
C-ACTVTY-COPPER-SPLICE-BURIED | Splicing: Copper Pairs for Buried Cable - Extra Splices | Pair | 45 | C | 0.3762 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.0067 | 0 | 0 | 0 | 0 | 0 | 0.0067 | 0.37617
C-ACTVTY-DLCRT-CAB+1000LBS | Placing Cabinet: 1000 Pounds or More | Each | 257 | C | 446.1651 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 446.1651 | 0 | 0 | 446.1651
C-ACTVTY-DLCRT-CAB-1000LBS | Placing Cabinet: Less than 1000 Pounds (Cntrctr) | Each | 257 | C | 334.6486 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 334.6486 | 0 | 0 | 334.6486
C-ACTVTY-DLCRT-GROUND-GRID | Placement: Ground Grid | Each | 257 | C | 186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 186 | 0 | 0 | 186
C-ACTVTY-DLCRT-POWER-PED | Placement: Power Pedestal (Cntrctr) | Each | 257 | C | 75.5131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75.5131 | 0 | 0 | 75.5131
C-ACTVTY-DLCRT-REMOTE-DSL-PAD | Installation: Generic Remote DSL Pad | Each | 4 | C | 2406.6932 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1952.08 | 0 | 39.0461 | 2512.7367
C-ACTVTY-ROW-PRIVATE | Right of Way for Privately Owned Locations | Each | 45 | C | 1060 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20 | 0 | 0 | 0 | 0 | 1060
C-ACTVTY-ROW-PUBLIC | Right of Way for Publicly Owned Locations | Each | 45 | C | 106 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 106
C-ACTVTY-SETUP-SITE_SPLICE_C | Splice Setup: Site Setup for Splice Activity | Each | 45 | C | 112.2887 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 2 | 112.2882
C-ACTVTY-SETUP-TRIP_CHG-USW-UR | Trip Charge for Qwest to and from Urban Work Location | Each | 257 | C | 44.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 44.5
C-CMNSYS-ACPPED-100-30-PADMTD | Juicebox Power Pedestal 100-30 Pad | Each | 257 | C | 2070.3806 | 1837.2 | 0.9186 | 110.232 | 80 | 2028.3506 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 2123.3806
C-COPPER-BURIED-24GA_400PR | Copper Cable Buried: 24 Gauge, 400-Pair | Sheath Feet | 45 | C | 3.3457 | 2.35 | 0.2611 | 0.141 | 0 | 2.7521 | 0 | 0 | 0 | 0 | 0.0112 | 0 | 0 | 0 | 0 | 3.3457
C-COPPER-BURIED-24GA_50PR | Copper Cable Buried: 24 Gauge, 50-Pair | Sheath Feet | 45 | C | 0.4438 | 0.379 | 0.0421 | 0.0227 | 0 | 0.4438 | 0 | 0 | 0 | 0 | 0.0074 | 0 | 0 | 0 | 0 | 0.836
C-DLCRT-xxxx-USAM-CAB-16_12S | Large Cabinet Equipped with 12 USAM Shelves | Each | 257 | C | 34250.8686 | 31684.9 | 15.8425 | 1901.094 | 600 | 34201.8365 | 0 | 0 | 0 | 0.1666 | 10 | 1 | 0 | 0 | 0 | 34780.8687
C-DLCRT-xxxx-USAM-CAB-16_8S | Large Cabinet Equipped with 8 USAM Shelves | Each | 257 | C | 30879.0986 | 28584.9 | 14.2925 | 1715.094 | 515.78 | 30830.0665 | 0 | 0 | 0 | 0.1666 | 10 | 1 | 0 | 0 | 0 | 31409.0987
C-DSLRT-xxxx-ANK_FRAME | Remote Ankor Frame for 52E | Each | 257 | C | 258.288 | 136 | 0.068 | 8.16 | 3 | 147.228 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 231.288
C-DSLRT-xxxx-CARD_ADD-48PTS | Card: Card Package | Each | 257 | C | 14425.788 | 13416 | 6.708 | 804.96 | 30 | 14257.668 | 0 | 0 | 0.2499 | 1 | 1 | 3 | 0 | 0 | 0 | 14489.9086
C-STRCTR-CONDUIT-1_DUCT_BUR | Conduit: 4" PVC-Type Conduit - 1 Duct Buried | Feet | 4 | C | 1.0184 | 0.763 | 0 | 0.0458 | 0.04 | 0.8488 | 0 | 0 | 0 | 0 | 0.0032 | 0 | 0 | 0 | 0 | 1.0184
C-STRCTR-INRDUCT-BUR-2DUCT | Innerduct: 2, 1-1/4" Innerduct Buried | Feet | 4 | C | 1.4206 | 0.536 | 0.1564 | 0.0322 | 0.007 | 0.7316 | 0 | 0 | 0 | 0 | 0.013 | 0 | 0 | 0 | 0 | 1.4206
C-XCON-SAI-PED-25PR_BLOCKS | Block: SAI 25-Pair Block | Each | 45 | C | 117.11 | 100 | 11.11 | 6 | 0 | 117.11 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 170.11
Engineering | Engineering Hourly Costs | Hour(s) |  | C | 53 | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a)
Exempt Material | Exempt Material | Each |  | C | 11.6441 | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a)
Installation | Line Hourly Costs | Hour(s) |  | C | 48.55 | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a)
QwestInstallation | Installation Hourly Costs | Hour(s) |  | C | 42.03 | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a)
Splicing | Splicing Hourly Costs | Hour(s) |  | C | 44.5 | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a)
T&T | Test and Turnup | Hour(s) |  | C | 42.03 | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a) | (n/a)
X-DSLRT-xxxx-CARD_ADD-48PTS-CAB | Cabinet: DA Overlay | per Card | 257 | C | (n/a) | 2784 | 1.392 | 167.04 | 6.2254 | 2958.6574 | 0 | 0 | 0.034572 | 0 | 2.0751 | 0.20751 | 0 | 0 | 0 | 3078.8997
Configuration Column Lookup Table
Range Name: Config_Col_Lookup
[21 empty] | Range Name | Column Number | Description
[21 empty] | BRI | 8 | BRI Loading
[21 empty] | Config_Pkg | 1 | Configuration Package ID
[21 empty] | Config_Title | 2 | Title
[21 empty] | Cont_Engineer_Cost | 19 | Engineer
[21 empty] | Cont_Install_Cost | 18 | Install
[21 empty] | Cost | 6 | Cost
[21 empty] | Engineer_Hours | 16 | Engineer
[21 empty] | ExemptMaterial_Hours | 20 | ExemptMaterial
[21 empty] | FRC | 4 | FRC
[21 empty] | Install_Hours | 15 | Install
[21 empty] | Line_Hours | 13 | Line
[21 empty] | RTU_Cost | 12 | Software RTU
[21 empty] | Shipping_Cost | 10 | Shipping
[21 empty] | Splice_Hours | 14 | Splice
[21 empty] | Suffix | 5 | Suffix
[21 empty] | Supplier | 7 | Supplier
[21 empty] | T&T_Hours | 17 | T&T
[21 empty] | Tax_Cost | 9 | Sales Tax
[21 empty] | Tot_Mat_Cost | 11 | Total Material Cost
[21 empty] | Unit | 3 | Unit of Measure