| PROPOSED RULE MAKING (RCW 34.05.320) |  |  |  | CR-102 (7/10/97) Do NOT use for expedites adoption |  |
| --- | --- | --- | --- | --- | --- |
| Agency: WASHINGTON UTILITIES AND TRANSPORTATION COMMISSION |  |  |  |  Original Notice  Supplemental Notice to WSR ___________  Continuance of WSR __________________ |  |
| X Preproprosal Statement of Inquiry was filed as WSR 99-19-155; or  Expedited Adoption--Proposed Rule Making notice was filed as WSR____________________; or  Proposal is exempt under RCW 34.05.310(4). |  |  |  |  |  |
| (a) Title of rule: (Describe Subject) Chapter 480-100 WAC Electric Companies, New Sections WAC 480-100-388 Electric service reliability definitions. WAC 480-100-393 Electric service reliability monitoring and reporting plans. WAC 480-100-398 Electric service reliability reports. Commission Docket UE-991168. |  |  |  |  |  |
| Purpose: The objective of these rules is to generate and make available to the Commission accurate and meaningful information about the reliability of electricity service to customers of electric utilities regulated by the Commission. These rules will allow the Commission to track trends in electric service reliability and to identify areas of special reliability concern, and will assist the Commission in its assessments of the adequacy of electric service provided to customers. |  |  |  |  |  |
| (b) Statutory authority for adoption: RCW 80.01.040 General powers and duties of commission. |  |  | Statute being implemented: |  |  |
| (c) Summary: See section (j) below: Reasons supporting proposal: |  |  |  |  |  |
| (d) Name of Agency Personnel Responsible for: Office Location Telephone 1. Drafting Mark Anderson 1300 S. Evergreen Park Drive SW, Olympia, WA 98504 360-664-1311 |  |  |  |  |  |
| 2. Implementation Carole J. Washburn, Secretary, 1300 S. Evergreen Park Drive SW, Olympia, WA 98504 360-664-1174 |  |  |  |  |  |
| 3. Enforcement Carole J. Washburn, Secretary, 1300 S. Evergreen Park Drive SW, Olympia, WA 98504 360-664-1174 |  |  |  |  |  |
| (e) Name of proponent (person or organization)  Private  Public Washington Utilities and Transportation Commission X Governmental |  |  |  |  |  |
| (f) Agency comments or recommendations, if any, as to statutory language, implementation, enforcement, and fiscal matters: NONE |  |  |  |  |  |
| (g) Is rule necessary because of: Federal Law?  Yes X No If yes, ATTACH COPY OF TEXT Federal Court Decision?  Yes X No Citation: State Court Decision?  Yes X No |  |  |  |  |  |
|  | (h) HEARING LOCATION: Commission Hearing Room 206 2nd Floor, Chandler Plaza Building 1300 So. Evergreen Park Dr. SW Olympia, WA 98504-7250 Date: March 14, 2001 Time: 9:30 a.m. Assistance for persons with disabilities: Contact Pat Valentine by March 1, 2001 TDD (360 ) 586-8203 or (360 )664-1133 |  | Submit written comments to: Carole J. Washburn, Secretary, P.O. Box 47250, Olympia, WA 98504-7250 or E-mail to <records@wutc.wa.gov>. Please include Docket No. UE-991168 in your communication. FAX (360 )753-2629 By (date) February 28, 2001 |  |  |
|  |  |  | DATE OF INTENDED ADOPTION: March 14, 2001 |  |  |
|  |  |  | CODE REVISER USE ONLY Filed with the Code Reviser February 7, 2001 10:30 a.m. WSR No. 01-04-081 |  |  |
|  | NAME (TYPE OR PRINT) Carole J. Washburn |  |  |  |  |
|  | SIGNATURE |  |  |  |  |
|  | TITLE Secretary | DATE 2/07/01 |  |  |  |

(COMPLETE REVERSE SIDE)

(j) Short explanation of rule, its purpose, and anticipated effects: New Rules Added to Chapter 480-100 WAC. The objective of these rules is to generate and make available to the Commission accurate and meaningful information about the reliability of electric service to customers of electric utilities regulated by the Commission. Declining service quality in other regulated industries, and the Commission’s concerns that changes in the electric utility industry should not result in unreliable service triggered the development of these rules. These rules will allow the Commission to track trends in electric service reliability and to identify areas of special reliability concern, and will assist the Commission in its assessments of the adequacy of electric service provided to customers. These rules primarily address interruptions to electric service, and establish two key requirements for electric utilities, which must: - file a Reliability Monitoring and Reporting Plan with the Commission, and - make an annual Reliability Report to the Commission. Reliability Monitoring and Reporting Plans will articulate what aspects of interruptions to service each utility will monitor and report to the Commission. The rules set some specific requirements, for example, utilities must monitor and report on the reliability of their systems as a whole, yet must also identify areas of special reliability concern. The rules give significant discretion to utilities for defining and selecting reliability problems to monitor and report on. However, their plans must be reviewed for acceptance by the Commission. Annual Reliability Reports will be made by each utility on interruptions to service, in a manner consistent with the monitoring and reporting plans filed with the Commission under the rule. Does proposal change existing rules?  YES X NO If yes, describe changes: (k) Has a small business economic impact statement been prepared under chapter 19.85 RCW? Yes. Attach copy of small business economic impact statement. A copy of the statement may be obtained by writing to: telephoning: ( ) faxing: ( )  No. Explain why no statement was prepared. Commission Staff contacted companies seeking data regarding whether the proposed rules would impose increased costs. The responses indicate that affected companies have not identified such increased costs. The Commission analyzed the rules to identify those that impose requirements that are new or differ from current requirements. The Commission analysis identified only minor costs. (l) Does RCW 34.05.328 apply to this rule adoption?  YES X NO Please explain: The Commission is not an agency to which RCW 34.05.328 applies.