2010

Qualifying Storm Events

March 16, 2010

# Table of Contents

Table of Contents	2

Event Description	3

Date of event	3

Event Type	3

Service Areas Affected	3

Number of Customers Affected	3

Summary of System Impacts	3

Mobilization Summary	3

Major Event Day – Qualification	5

Qualified Events - 2010	5

Current Event – Calculation Detail	5

Cumulative list of events that have qualified	5

Event Restoration – Cost Summary	6

Restoration Cost Detail by Qualifying Event	6

YTD Storm Restoration Cost Detail – Through March 16, 2010	6

Detail Documents	7

Restoration Cost Detail – Current Event	8

IEEE-1366 - Detailed List of Distribution Circuits with Outages	9

Terms, Codes and Definitions Used on Detail Reports	12

Media Coverage	14

# Event Description

### Date of event

March 16, 2010

### Event Type

Wind storm.

### Service Areas Affected

This weather event affected primarily Kitsap County.

### Number of Customers Affected

Approximately 42,500 customers were without power over the course of this outage event.

### Summary of System Impacts

| Total Number of Outages | 151 |
| --- | --- |
| Distribution Circuits Totally Out | 8 |
| Distribution Circuits Partially Out | 143 |

| Transmission Circuits Affected | 6 |
| --- | --- |
| Substations Totally Off-line | 1 |

### Mobilization Summary

#### Operating Bases

| Base | Date Opened | Time Opened | Date Closed | Time Closed |
| --- | --- | --- | --- | --- |
| Kitsap | 03/16/2010 | 14:45 | 03/17/2010 | 15:15 |

#### Emergency Operations Center

| EOC | Date Opened | Time Opened | Date Closed | Time Closed |
| --- | --- | --- | --- | --- |
|  | -- | -- | -- | -- |

# Major Event Day – Qualification

### IEEE 1366 Method

IEEE 1366 was established to present a set of terms and definitions which can be used to foster uniformity in the development of distribution service reliability indices, to identify factors which affect the indices, and to aid in consistent reporting practices among utilities.  Also, it provides guidance for new personnel in the reliability area, and tools for internal as well as external comparisons.  The Major Event Day definition was created as part of IEEE 1366 to allow for consistent calculation of reliability metrics between utilities, and enable more valid comparisons with other utility reliability metrics.

IEEE Major Event Day Calculation (2.5 BETA METHOD) A threshold on daily SAIDI is computed once a year, following year end. Assemble the 5 most recent years of historical values of SAIDI/day. Discard any days in the data set that has a SAIDI/day of zero. Find the natural logarithm of each value in the data set. Compute the average Alpha and the standard deviation (Beta) of the natural logarithms computed in step 3. Compute the threshold Tmed where Tmed = exp (Alpha + 2.5 * Beta) Any day in the next year with SAIDI > Tmed is a major event day.

Puget Sound Energy’s Major Event Threshold for 2010: 7.21 Minutes

# Qualified Events - 2010

### Current Event – Calculation Detail

| Event Date | Total Customer Minutes | Average Customer Count | Daily SAIDI – Customer Minutes /Customer Count |
| --- | --- | --- | --- |
| 03/16/2010 | 11,471,932 | 1,081,677 | 10.61 |

### Cumulative list of events that have qualified

| Date(s) | T-med Score | O&M – Deferrable Accumulation |
| --- | --- | --- |
| 01/17/2010 | 29.25 | $862,417 |
| 03/16/2010 | 10.61 | $481,430 |

# Event Restoration – Cost Summary

### Restoration Cost Detail by Qualifying Event

| Date | Qualified Events Deferred Account | Capital | C&D Costs Recoverable from Direct Billings (Costs Not Yet Billed) | O&M – Not Deferrable | O&M – Deferrable Accumulation | Total O&M | Total |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 01/17/2010 | $0 | $50,785 | $0 | $79,959 | $862,417 | $942,376 | $993,161 |
| 03/16/2010 | $0 | $110,581 | $0 | $43,339 | $481,430 | $524,769 | $635,349 |

### YTD Storm Restoration Cost Detail – Through March 16, 2010

| Qualified Events Deferred Account | Capital | C&D Costs Recoverable from Direct Billings (Costs Not Yet Billed) | O&M – Not Deferrable | O&M Deferrable Accumulation | Total O&M | Total |
| --- | --- | --- | --- | --- | --- | --- |
| 03/16/2010 | $161,365 | $0 | $123,297 | $1,343,847 | $1,467,144 | $1,628,510 |

# Detail Documents

### Restoration Cost Detail – Current Event

### Detailed List of Distribution Circuits with Outages

### Terms, Codes & Definitions Used on Detail Reports

### Newsprint Media Coverage

### Restoration Cost Detail – Current Event

|  |  |  | Puget Sound Energy |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | March 16, 2010 Storm Damage Repair Costs |  |  |  |
|  |  | Qualifying Events Deferred Account | Capital | C&D Recoverable from Direct Billings (Costs Not Yet Billed) | O&M - Not Deferrable | O&M - Deferrable Accumulation | Total O&M | Total |  |
|  | Labor |  |  |  |  |  |  |  |  |
|  | ST |  | $ 667 |  |  | $ (12,465) | ($12,465) | ($11,798) |  |
|  | OT |  | $ 755 |  |  | $ 39,725 | $39,725 | $40,479 |  |
|  | Total Labor | $0 | $ 1,422 | $0 | $0 | $ 27,259 | $27,259 | $28,681 |  |
|  | Labor OH |  | $ 739 |  |  | $ 201 | $201 | $940 |  |
|  | Materials |  | $ 19,333 |  |  | $ 34,387 | $34,387 | $53,720 |  |
|  | Contractors |  | $ 82,776 |  |  | $ 384,555 | $384,555 | $467,332 |  |
|  | Other Direct Charges |  |  |  |  | $ 2,447 | $2,447 | $2,447 |  |
|  | Fleet |  | $ 409 |  |  | $ 13,039.28 | $13,039 | $13,448 |  |
|  | Other Assessments |  | $ 5,901 |  | $ 43,339 | $ 19,541 | $ 62,880 | $ 68,780.47 |  |
|  | Deferred Expenses |  |  |  |  | $0 | $0 | $ - |  |
|  |  | $0 | $110,581 | $0 | $43,339 | $ 481,430 | $524,769 | $635,349 |  |

### IEEE-1366 - Detailed List of Distribution Circuits with Outages

| NUMBER | DATE | TIME | CKT | MPG | CAUSE | EQT | CUST.OUT | CUST.MIN |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| E734001379 | 3/16/2010 | 5:47:00 | PIP-25 | EBI | EF | UPC | 92 | 15,640 |
| E483131607 | 3/16/2010 | 8:00:00 | ALG-15 | EAA | SO | OPO | 6 | 3,132 |
| E480690990 | 3/16/2010 | 8:32:00 | NLM-15 | EAC | SO | UPC | 3 | 45 |
| E693810084 | 3/16/2010 | 8:53:00 | BAR-17 | ECC | BA | OTF | 5 | 205 |
| E319071509 | 3/16/2010 | 9:03:00 | LLS-17 | EAA | EF | USV | 1 | 267 |
| 10934585 | 3/16/2010 | 9:11:00 | PRI-13 | ECC | AO | OSV | 1 | 102 |
| E296048916 | 3/16/2010 | 9:22:00 | LLT-16 | EBD | EF | OTF | 2 | 122 |
| E798612348 | 3/16/2010 | 9:31:00 | SOO-25 | EBI | EF | OTF | 2 | 88 |
| E044494974 | 3/16/2010 | 10:29:00 | WAY-16 | EBD | SO | OFC | 23 | 276 |
| E996967104 | 3/16/2010 | 11:00:00 | WAY-15 | EBD | SO | OTR | 5 | 900 |
| E718181746 | 3/16/2010 | 11:00:00 | BRE-21 | ECE | SO | OCO | 61 | 7,320 |
| E636254107 | 3/16/2010 | 11:47:00 | PAT-13 | ECC | BA | OFU | 26 | 1,820 |
| E066053148 | 3/16/2010 | 11:54:00 | MVW-17 | EBJ | SO | USE | 1 | 162 |
| E392640702 | 3/16/2010 | 12:26:00 | KEN-12 | EAA | EF | UPC | 9 | 3,023 |
| 10933926 | 3/16/2010 | 12:35:00 | HOU-23 | EBE | EF | USE | 4 | 296 |
| E935854027 | 3/16/2010 | 12:59:00 | FRA-13 | ECD | TV | OCR | 533 | 192,946 |
| E551643214 | 3/16/2010 | 13:00:00 | WAY-15 | EBD | SO | OPO | 3 | 540 |
| E343285336 | 3/16/2010 | 13:01:00 | SEQ-22 | EBJ | PO | USV | 2 | 238 |
| E801088590 | 3/16/2010 | 13:11:00 | TLN-0065 | ECD | TV | OCO | 5,823 | 471,663 |
| E388634378 | 3/16/2010 | 13:16:00 | SIN-24 | ECD | TV | OCO | 5 | 1,420 |
| E598293999 | 3/16/2010 | 13:18:00 | MAN-15 | ECD | TV | OFU | 1 | 243 |
| E418472644 | 3/16/2010 | 13:22:00 | SIN-25 | ECD | TV | OCO | 1 | 308 |
| E445427663 | 3/16/2010 | 13:23:00 | PMA-13 | ECE | TV | OFU | 160 | 58,560 |
| E227600963 | 3/16/2010 | 13:28:00 | VAS-12 | EBL | TV | OFU | 58 | 7,192 |
| E723666426 | 3/16/2010 | 13:30:00 | WIN-12 | ECE | TV | OCO | 19 | 9,671 |
| E049295261 | 3/16/2010 | 13:31:00 | CHR-22 | ECE | TV | OCO | 57 | 42,294 |
| 10938463 | 3/16/2010 | 13:31:00 | CHR-23 | ECE | TV | OCO | 121 | 89,782 |
| 10938615 | 3/16/2010 | 13:32:00 | PMA-12 | ECE | TV | OCO | 41 | 36,203 |
| E188435322 | 3/16/2010 | 13:32:00 | WIN-15 | ECE | TV | OCO | 85 | 43,945 |
| E670614425 | 3/16/2010 | 13:32:00 | MIL-23 | ECE | TV | OCO | 2,032 | 1,846,208 |
| E847519922 | 3/16/2010 | 13:32:00 | PMA-15 | ECE | TV | OCO | 84 | 74,172 |
| E448804292 | 3/16/2010 | 13:33:00 | KAP-16 | ECA | EF | OTF | 1 | 68 |
| E770331174 | 3/16/2010 | 13:33:00 | SKE-23 | ECE | TV | OCO | 643 | 261,701 |
| E944049078 | 3/16/2010 | 13:34:00 | RPT-17 | ECD | TV | OHR | 956 | 134,796 |
| E496335936 | 3/16/2010 | 13:35:00 | KIN-21 | ECE | TV | OCO | 1,094 | 331,482 |
| E049627102 | 3/16/2010 | 13:35:00 | FRA-12 | ECD | TV | OCO | 1,075 | 223,600 |
| 10938616 | 3/16/2010 | 13:36:00 | POU-15 | ECE | TV | OCO | 76 | 46,588 |
| E585937890 | 3/16/2010 | 13:36:00 | PGA-12 | ECE | TV | OCO | 149 | 91,337 |
| E740027131 | 3/16/2010 | 13:37:00 | KIN-24 | ECE | TV | OCR | 1,484 | 1,219,848 |
| E737723325 | 3/16/2010 | 13:37:00 | MIL-17 | ECE | TV | OCR | 1,699 | 1,318,424 |
| 10938612 | 3/16/2010 | 13:38:00 | KIN-22 | ECE | TV | OCO | 8 | 6,536 |
| E678110037 | 3/16/2010 | 13:38:00 | KIN-22 | ECE | TV | OCO | 418 | 338,806 |
| E549078163 | 3/16/2010 | 13:39:00 | PGA-13 | ECE | TV | OCO | 1,154 | 791,644 |
| E176173752 | 3/16/2010 | 13:39:00 | MUR-15 | ECE | TV | OCO | 604 | 450,596 |
| E310767625 | 3/16/2010 | 13:39:00 | BON-17 | ECA | EF | USV | 1 | 137 |
| E160776075 | 3/16/2010 | 13:39:00 | MIL-22 | ECE | TV | OCO | 95 | 99,180 |
| E319799948 | 3/16/2010 | 13:39:00 | KIN-23 | ECE | TV | OCO | 52 | 51,792 |
| E528195679 | 3/16/2010 | 13:39:00 | MUR-13 | ECE | TV | OPI | 382 | 482,466 |
| 10938465 | 3/16/2010 | 13:39:00 | TLN-0089 | ECE | TV | OCO | 2,092 | 169,158 |
| E328924777 | 3/16/2010 | 13:39:00 | TLN-0192 | ECE | TV | OCO | 14,030 | 1,058,160 |
| 10938614 | 3/16/2010 | 13:39:00 | KIN-23 | ECE | TV | OCO | 27 | 26,892 |
| E557451177 | 3/16/2010 | 13:40:00 | SHE-16 | ECE | TV | OCO | 990 | 270,270 |
| E930702050 | 3/16/2010 | 13:41:00 | SKE-26 | ECE | TV | OCO | 546 | 258,804 |
| E966938838 | 3/16/2010 | 13:42:00 | POU-15 | ECE | TV | OSV | 1 | 747 |
| E770776436 | 3/16/2010 | 13:43:00 | MAN-12 | ECD | TV | OFU | 28 | 4,676 |
| E753420766 | 3/16/2010 | 13:46:00 | POU-13 | ECE | TV | OCO | 55 | 13,970 |
| E392044509 | 3/16/2010 | 13:54:00 | PGA-13 | ECD | TV | OCO | 3 | 2,013 |
| E280823240 | 3/16/2010 | 13:58:00 | LGY-16 | EAD | TV | OCO | 72 | 9,467 |
| E485596130 | 3/16/2010 | 14:02:00 | CHR-25 | ECE | TV | OCO | 208 | 120,496 |
| 10938464 | 3/16/2010 | 14:09:00 | TLN-0192 | ECE | TV | OCO | 2,983 | 32,813 |
| E590433982 | 3/16/2010 | 14:09:00 | SWD-12 | ECE | TV | OCO | 550 | 98,450 |
| E092622602 | 3/16/2010 | 14:09:00 | SWD-14 | ECE | TV | OFU | 48 | 7,326 |
| E111421560 | 3/16/2010 | 14:09:00 | SWD-11 | ECE | TV | OFU | 24 | 3,664 |
| E254970100 | 3/16/2010 | 14:13:00 | SWD-13 | ECE | TV | OCO | 30 | 4,429 |
| E314750882 | 3/16/2010 | 14:14:00 | SIL-16 | ECD | TV | OFU | 2 | 1,558 |
| E850964073 | 3/16/2010 | 14:40:00 | FLD-13 | EAD | TV | OCO | 125 | 9,235 |
| E586218124 | 3/16/2010 | 14:41:00 | SME-13 | EBE | EF | UTF | 6 | 840 |
| E911443636 | 3/16/2010 | 14:45:00 | TRA-22 | ECE | TV | OCO | 9 | 4,950 |
| E618944280 | 3/16/2010 | 15:03:00 | SKE-22 | ECE | TV | OCO | 17 | 12,954 |
| E307659984 | 3/16/2010 | 15:03:00 | CEK-14 | ECE | TV | OFU | 4 | 1,188 |
| E848693733 | 3/16/2010 | 15:12:00 | KNM-26 | EBD | TV | OSV | 2 | 156 |
| E403426541 | 3/16/2010 | 15:23:00 | FNW-13 | ECD | TV | OCO | 2 | 584 |
| E490007683 | 3/16/2010 | 15:29:00 | FNW-17 | ECD | TV | OTF | 1 | 247 |
| E340156463 | 3/16/2010 | 15:35:00 | BRS-24 | EAC | TV | OCO | 2 | 264 |
| E386605980 | 3/16/2010 | 16:29:00 | IRO-13 | ECF | TV | OSV | 4 | 1,628 |
| E231497448 | 3/16/2010 | 16:40:00 | SIL-15 | ECE | TV | OCO | 3 | 1,662 |
| E774351513 | 3/16/2010 | 16:41:00 | SWD-13 | ECE | TV | OCO | 36 | 18,288 |
| E961396336 | 3/16/2010 | 16:43:00 | TOL-15 | EBD | TV | OCO | 147 | 11,907 |
| E619818588 | 3/16/2010 | 17:01:00 | CHI-12 | ECD | TV | OFU | 10 | 950 |
| E292089043 | 3/16/2010 | 17:11:00 | MIL-23 | ECE | TV | OCO | 2 | 2,858 |
| E939545555 | 3/16/2010 | 17:14:00 | STA-16 | EBJ | EF | OTF | 5 | 357 |
| E358276035 | 3/16/2010 | 17:39:00 | WIN-13 | ECE | TV | OCO | 356 | 156,996 |
| E911595233 | 3/16/2010 | 18:03:00 | ENU-18 | EBI | BA | OFU | 3 | 167 |
| E381040108 | 3/16/2010 | 18:19:00 | SWD-11 | ECE | TV | OCO | 10 | 4,050 |
| E817435598 | 3/16/2010 | 18:30:00 | LGY-16 | EAD | EO | OFU | 20 | 3,570 |
| E261467454 | 3/16/2010 | 18:54:00 | CHR-23 | ECE | TV | OCO | 1 | 609 |
| 10933836 | 3/16/2010 | 18:55:00 | NUG-25 | EAA | EF | OSV | 1 | 42 |
| E149126400 | 3/16/2010 | 19:20:00 | BHL-16 | ECE | TV | OTF | 3 | 291 |
| E035145815 | 3/16/2010 | 19:42:00 | PMA-13 | ECE | TV | OCO | 30 | 14,640 |
| E835094904 | 3/16/2010 | 19:45:00 | MUR-15 | ECD | TV | OCO | 17 | 9,010 |
| 10933828 | 3/16/2010 | 20:22:00 | LGY-16 | EAD | TV | OSV | 1 | 93 |
| E842977185 | 3/16/2010 | 20:53:00 | PMA-16 | ECE | TV | OCO | 39 | 26,481 |
| E164216686 | 3/16/2010 | 20:58:00 | SKE-23 | ECE | TV | OCO | 643 | 126,671 |
| E165776937 | 3/16/2010 | 21:14:00 | SME-13 | EBE | EF | USV | 1 | 377 |
| 10933822 | 3/16/2010 | 21:16:00 | WOB-27 | EAA | TV | OSV | 1 | 77 |
| E939427330 | 3/16/2010 | 21:25:00 | PMA-15 | ECE | TV | OTR | 82 | 47,806 |
| 10933827 | 3/16/2010 | 21:51:00 | LGY-16 | EAD | TV | OFU | 25 | 1,150 |
| E502595526 | 3/16/2010 | 21:51:00 | WIN-15 | ECE | TV | OSW | 7 | 3,108 |
| E079095673 | 3/16/2010 | 22:35:00 | LAT-16 | EBJ | EF | USV | 1 | 189 |
| E950777919 | 3/16/2010 | 22:58:00 | KIN-21 | ECE | TV | OCO | 77 | 167,860 |

### Terms, Codes and Definitions Used on Detail Reports

| Notification | [Notification Number] A number assigned by SAP, identifying the outage record |
| --- | --- |
| Date | The date of the outage |
| Time | The time of the outage |
| Circuit | [Reference Circuit] The circuit identifier for the affected circuit |

| Area | [Maintenance Planner Group] A code representing the energy, region and service center |
| --- | --- |
| EAA – Bellingham | EBJ – South King |
| EAB – Lynden | EBK – Southwest King |
| EAC – Skagit | EBL – Vashon |
| EAD – Whidbey | ECA – Puyallup |
| EBD – Redmond | ECC – Olympia |
| EBE – Factoria | ECD – Port Orchard |
| EBF – Snoqualmie | ECE – Poulsbo |
| EBI – Enumclaw | ECF – Port Townsend |

| Cause | Cause of Outage |
| --- | --- |
| AO – Accident Other | EF – Equipment Failure |
| BA – Bird or Animal | EO – Electrical Overload |
| CP – Car Pole | FI – Faulty Installation |
| CR – Customer Request | TF – Tree Off Right-of-Way |
| DU – Dig-up Underground | TO – Tree On Right-of-Way |
| TV – Trees/Vegetation | SO – Scheduled Outage |
| UN – Unknown |  |

| Equipment | Affected by, or involved in the outage |
| --- | --- |
| OCN – Connector | OSW – Overhead Switch |
| OCO – Overhead Conductor | OTF – Overhead Transformer Fuse |
| OCR – Crossarm | OTR – Overhead Transformer |
| OFC – Overhead Cut-out | OUP – OH to UG Primary |
| OFS – Overhead Fire Signal | OUS – OH to UG Secondary Service |
| OFU – Fuse Link/OH Line Fuse | SBF – High-side Bank Fuse |
| OGS – Span Guy | SCB – Power Circuit Breaker |
| OHR – Overhead Recloser | UOT – Underground Outdoor Term |
| OIN – Insulator | UPC – Underground Primary Cable |
| OJU- Jump Wire | UPT – Padmount Transformer |
| OPI – Overhead Pin Insulator | USV – Underground Service |
| OPO – Pole | UTC – Underground Terminal Fuse |
| OSV – Overhead Service | UTR – Submersible Transformer |
| ORE – Regulator |  |

#### Codes, Definitions – Continued

| CUST OUT | [Customer Out] The number of customers without power for any given outage record |
| --- | --- |
| CUST MIN | [Customer Minutes] The total number of minutes customers were without power for any given record |

### Media Coverage

# Windstorm Topples Trees, Causes Power Outages

Posted: 2:46 pm PDT March 16,2010Updated: 3:54 pm PDT March 16,2010

SEATTLE -- High winds closed the Hood Canal Bridge Tuesday afternoon and are causing power outages and downed trees.

A wind advisory is in effect until 6 p.m. for the Puget Sound area. Sustained wind speeds of 20 to 30 mph are expected, with gusts up to 45 mph. This advisory affects Jefferson, King, Kitsap, Mason, Pierce, and Snohomish counties.

For the coast, sustained winds of 30 mph with gusts up to 55 mph are forecast. Some gusting winds may appear inland with a possibility of thunderstorms and hail with winds at 22 to 25 mph sustained and 50 mph gusts, the National Weather Service said.

In addition, a gale warning is in effect until 9 p.m. for coastal waters and the west entrance to the Strait of Juan de Fuca, the National Weather Service said.

A gale warning means winds could reach 34 to 47 knots.

"It is highly recommended that mariners without the proper experience seek safe harbor prior to the onset of gale conditions," the Weather Service said in the warning.

A downed tree cut power to homes in Lake Forest Park and Shoreline. There are also outages in the Seattle neighborhoods of Georgetown, West Seattle and Greenwood. The Seattle City Light Web site said 9,000 customers were without power.

In the Edmonds area, the Snohomish County PUD said a substation was out after a tree blew into a power line. The outage affects 9,000 customers.

Video from Chopper 7 showed downed power lines and a toppled tree in the Phinney Ridge area at Palentine Avenue North and North 57th Street.

The Weather Service said the strongest winds will occur late Tuesday afternoon and will slowly diminish tonight.

A wind advisory is issued when sustained winds of 30 to 39 mph or gusts of 45 to 57 mph are likely.

The Hood Canal Bridge reopened shortly before 3:30 p.m.

High winds bring down trees in Puget Sound area

by www.king5.com

Credit: Justine Bennette 
High winds in Western Wash. toppled trees and caused power outages. A tree fell on a house in Edmonds, Wash.

Posted on March 16, 2010 at 2:28 PM - Updated today at 3:36 PM

******

SEATTLE - High winds have knocked out power in several locations on the Kitsap Peninsula and forced the closure of the Hood Canal Bridge.

The Department of Transportation closed the bridge at 1:31 p.m. and reopened it at about 3:30 p.m.

The Kitsap Sun reports that power lines and trees are down across Kitsap County and power outages are being reported on Bainbridge Island, downtown Poulsbo, in Hansville, and in Bremerton near Oyster Bay Road and Kitsap Way.

Seattle City Light also reports power outages in Shoreline, Lake Forest Park and Georgetown.

The first in Shoreline and Lake Forest Park affected about 2,800 homes and businesses. Its general boundaries were NE 201 Street on the north, NE 165th Street on the south, 49th Place NE on the east and Corliss Avenue W on the west.

The second outage affected about 660 homes and businesses in Georgetown. Its general boundaries were S Dakota Street on the north, S Holden Street on the south, 16th Avenue S on the east and 2nd Avenue S on the west.

Causes for the Seattle outages and estimates for the restoration of service were not immediately available.

In Snohomish County, about 11,000 customers were without power, mainly in Lynnwood and Edmonds.

A high wind advisory is in effect for the greater Seattle area until 6 p.m. today. Southwest winds of 20-30 mph are expected, with gusts to 45 mph.

Credit: Justine Bennette

Hood Canal Bridge, Credit: WSDOT

### KOMO News - Seattle, Washington

## Gusty winds cause problems across Western Washington

by Scott Sistek

Originally printed at http://www.komonews.com/news/local/87857392.html

SEATTLE -- Spring is just a few days away, but winter is not going down without a fight.

A surge of wind following the passage of a cold front Tuesday afternoon caused both traffic and marine issues across Western Washington.

Gusts registering 60 mph forced the closure of the Hood Canal Bridge for two hours, as wind-whipped waves blasted across the roadway. The bridge reopened just before 3:30.

Up in Snohomish County, we're getting reports of power outages in Edmonds and isolated trees down.

In King County, Seattle City Light says 9,000 people lost power due to tree branches into power lines, primarily in Shoreline, Lake Forest Park, Georgetown, West Seattle and Greenwood.

We also received reports of power lines down in spots across Kitsap County. The Kitsap Sun reports power outages on Bainbridge Island, Poulsbo, Hansville and parts of Bremerton, and also has reports of trees down in spots across the county.

Closer to Seattle, a large sailboat sailing in Elliott Bay off West Seattle's Beach Drive ran aground when the winds picked up, requiring assistance from the Coast Guard. Crews eventually freed the boat from the rocks and were towing it back to shore.

The weather station at the Alki Beach Lighthouse recorded just a gust of 9 mph at 1 p.m., but that suddenly surged to 48 mph at 2 p.m. They reached 52 mph at 3 p.m.

Other wind gusts around the area as of 3 p.m. were 53 mph in Hansville, 46 mph in Everett, 39 mph in Bellingham, 33 mph in Tacoma and 32 mph in Seattle.

A Wind Advisory is in effect until 6 p.m. for the greater Puget Sound area for possible gusts to 45 mph and then winds will taper off later in the evening.

Updated 07:06 p.m., March 16, 2010

Trees knocked down, power knocked out across Kitsap

By Brynn Grimley

BREMERTON — A windstorm swept across the Kitsap Peninsula on Tuesday, knocking out power to all of Bainbridge Island and several other communities and closing the Hood Canal bridge for two hours.

Puget Sound Energy crews restored power to most of Bainbridge Island by late afternoon and expected to have service elsewhere restored by Tuesday evening, according to PSE spokeswoman Dorothy Bracken. Bainbridge and Kingston were hardest-hit, she said.

Power on Bainbridge was knocked out after a tree damaged a power line feeding into three substations. Power was restored to most customers as soon as the line was repaired, Bracken said.

By late afternoon, PSE crews had restored power to thousands. Officials weren’t certain exactly how many people were without power Tuesday because damage assessments were still under way, but Bracken estimated that more than 10,000 customers were effected.

Strong winds hit the region just before 1:30 p.m., prompting state transportation officials to close the Hood Canal bridge and sending fire authorities and road crews scrambling to clean up debris from fallen trees and downed power lines.

Johnny Burg, a meteorologist with the National Weather Service, said the winds were tied to a low pressure system sitting over the Queen Charlotte Islands in British Columbia, Canada. A cold front tied to the system pushed through the region, resulting in the strong winds. The windstorm only lasted about two hours.

Bremerton National Airport registered sustained winds at 20 to 28 miles per hour, with gusts reaching 32 to 35 mph.

The Hood Canal bridge closes to traffic and opens its draw span when winds of 45 mph or more are sustained for 15 minutes. The wind was reportedly sending waves across the bridge and transportation crews registered 35 mph winds for 15 minutes before deciding to close the bridge to traffic. The span remained in place during the closure.

Tuesday, March 16 2010, 4:59 PM

High winds cause power outage throughout Kitsap County

By BAINBRIDGE REVIEW
Bainbridge Island Review Staff

Winds topping 40 miles per hour knocked out power across Kitsap County Tuesday.

At approximately 1:30 p.m. state officials elected to close the Hood Canal Bridge as a result of the winds. The bridge was reopened after 3 p.m.

On Bainbridge, traffic lights on State Route 305 and other areas throughout the island were out. Power was lost at numerous businesses, and branches and downed trees could be seen on roads.

"I was working in the woods and I saw a branch fly out of there like a lawn dart and I was out of there," said Erik Sherwin, an employee of the Bainbridge Islan  d Metropolitan Parks and Recreation District.

Representatives from Puget Sound Electric said employees were assessing the situation and had no further information.

Police and fire officials said no one was hurt in the storm.

Johnny Burg, a meteorologist at the Seattle National Weather Service office said the winds stayed around 30 mph with gusts in the high 40s. He said the worst of it is most likely over.

"A cold front came through and brought a surge of wind. It should be starting to calm down," he said at 3 p.m. Tuesday.

Joy Goldenberg, a spokeswoman for Washington State Ferries, said the storm didn't affect any of the ferry runs.

Trees went down all over Bainbridge, including a sizable Douglas Fir that took out several power lines on Miller Road. For several hours the road was closed in both directions. The fir was surrounded by several other dead trees that would be vulnerable in high wind situations.

Tuesday, March 16, 2010

## High winds sweeping through North Kitsap

High winds are wreaking havoc on the North End this afternoon. Winds picked up about 1 p.m., causing power outages from Poulsbo to Kingston.

While Power was restored in parts of Poulsbo at about 2:30 p.m., Bainbridge Island was still dark, as was all of Bond Road between Poulsbo and Kingston.

Puget Sound Energy is assessing the damage and is unable to say how many customers are currenlty without power or when it will be restored.

Power was flickering at the North Kitsap School District offices, as well as at some of the schools, Spokeswoman Robyn Chastain said.

Afterschool activities at Poulsbo Middle School have been canceled for Tuesday.

Because there were so many downed trees blocking roadways, some school busses had to find alternate routes, Chastain said. Parents can expect children who ride the busses to be dropped off at their regular bus stops.

High winds also forced the closure of the Hood Canal Bridge this afternoon, according to a statement from the Washington State Department of Transportation.

Indianola resident Rohn Rutledge said about eight large trees have fallen in his neighborhood, which has been without power for a couple hours.

Rutledge, who owns the Main Street Ale House in Kingston, said he sent his employees home after the business lost power early Tuesday afternoon. Several other businesses also closed because of the power outage, he said.

"It's much worse than in Poulsbo. We're getting the brunt of it," Rutledge said. "This is the worst I've seen in 13 years since I moved here from Seattle."

# Text boxes

A dead Douglas Fir from the Grand Forest fell onto power lines along Miller Road near Tolo Road Tuesday afternoon. The tree has not been removed and traffic is being rerouted as of 5 p.m.