## LED Calculation
PacifiCorp
State of Washington - 2013
Calculation of Company LED Light Rates
Line | Description | Units | Light-Emitting Diode |  |  |  |  | High Pressure Sodium Vapor
|  |  | 4071 | 6203 | 12950 | 16778 |  | 9500 | 16000 | 27500 | 50000
|  |  | 48 | 71 | 135 | 183 |  | 100 | 150 | 250 | 400
| Annual Energy | KWH | 200.481 | 279.101 | 530.685 | 719.373 |  | 459.927 | 672.201 | 1198.955 | 1839.708
| Generation Cost | $/KWH | 0.035945 | 0.035945 | 0.035945 | 0.035945 |  | 0.035945 | 0.035945 | 0.035945 | 0.035945
| Transmission Cost | $/KWH | 0.0088474 | 0.0088474 | 0.0088474 | 0.0088474 |  | 0.0088474 | 0.0088474 | 0.0088474 | 0.0088474
| Distribution Cost (subs, primary lines, xfmrs) | $/KWH | 0.0072085 | 0.0072085 | 0.0072085 | 0.0072085 |  | 0.0072085 | 0.0072085 | 0.0072085 | 0.0072085
| Generation Cost | $/month | 0.60053 | 0.83603 | 1.5896 | 2.1548 |  | 1.3777 | 2.0135 | 3.5914 | 5.5108
| Transmission Cost | $/month | 0.14781 | 0.20578 | 0.39126 | 0.53038 |  | 0.3391 | 0.4956 | 0.88397 | 1.3564
| Distribution Cost (subs, primary lines, xfmrs) | $/month | 0.12043 | 0.16766 | 0.31878 | 0.43213 |  | 0.27628 | 0.40379 | 0.72022 | 1.1051
| Fixture Maintenance | $/month | 6.0208 | 6.6427 | 8.0387 | 8.6656 |  | 7.5794 | 8.1016 | 8.6346 | 8.977
| Cost (energy & maint.) excluding installation | $/month | 6.8896 | 7.8521 | 10.3384 | 11.7829 |  | 9.5725 | 11.0146 | 13.8302 | 16.9493
| Installation Cost (Existing Distribution Pole) | $/month | 7.2969 | 7.4754 | 10.0403 | 14.9509 |  | 6.0145 | 6.1362 | 6.5177 | 10.7952
(1) | Total Cost (energy, maint., installation) | $/month | 14.1865 | 15.3276 | 20.3787 | 26.7338 |  | 15.5869 | 17.1508 | 20.3479 | 27.7444
| Proposed LED Prices | $/month | 9.238 | 11.5912 | 18.8185 | 23.8966 | Current Schedule 51 HPSV Prices | 10.15 | 12.97 | 18.79 | 24.8
Following based on 4167 burn rate:
| Annual Energy | KWH | 200 | 296 | 563 | 763 |  | 417 | 625 | 1042 | 1667
| Monthly | KWH | 16.6667 | 24.6667 | 46.9167 | 63.5833 |  | 34.75 | 52.0833 | 86.8333 | 138.9167
| Current Tariff - monthly usage | KWH | N/A | N/A | N/A | N/A |  | 44 | 64 | 115 | 176
| Generation Cost | $/month | 0.59909 | 0.88665 | 1.6864 | 2.2855 |  | 1.2491 | 1.8722 | 3.1213 | 4.9934
| Transmission Cost | $/month | 0.14746 | 0.21824 | 0.41509 | 0.56255 |  | 0.30745 | 0.4608 | 0.76825 | 1.229
| Distribution Cost (subs, primary lines, xfmrs) | $/month | 0.12014 | 0.17781 | 0.3382 | 0.45834 |  | 0.25049 | 0.37544 | 0.62593 | 1.0014
| Fixture Maintenance | $/month | 6.0208 | 6.6427 | 8.0387 | 8.6656 |  | 7.5794 | 8.1016 | 8.6346 | 8.977
| Cost (energy & maint.) excluding installation | $/month | 6.8875 | 7.9253 | 10.4784 | 11.972 |  | 9.3865 | 10.81 | 13.15 | 16.2008
| Installation Cost | $/month | 7.2969 | 7.4754 | 10.0403 | 14.9509 |  | 6.0145 | 6.1362 | 6.5177 | 10.7952
| Total Cost (energy, maint., installation) | $/month | 14.1844 | 15.4008 | 20.5188 | 26.9229 |  | 15.4009 | 16.9462 | 19.6677 | 26.996
| Current Schedule 51 HPSV Prices | $/month | 9.3483 | 11.7872 | 19.6031 | 24.7328 |  | 10.15 | 12.97 | 18.79 | 24.8

## Maintenance Assumptions
PacifiCorp
Streetlighting COS Study
Line | Descriptions |  |  | Light Type | HP Sodium Vapor |  |  |  | LED
No. |  |  |  | Lumen | 9500 | 16000 | 27500 | 50000 | 4071 | 6203 | 12950 | 16778
|  |  |  | Watts | 100 | 150 | 250 | 400 | 48 | 71 | 135 | 183
|  | Hours | Rate
10 | Replace Lamp
11 | Material Cost
12 | Labor | 0.8
13 | Total Cost |  |  |  | 150 | 150 | 153 | 151
14 | Annual Frequency |  |  |  | 0.164 | 0.16417 | 0.16417 | 0.16417
15 | Annual Cost |  |  |  | 24.6 | 24.625 | 25.1175 | 24.7892
16
17
18 | Replace Glass Ware (Refractor)
19 | Material Cost
20 | Labor | 0.8
21 | Total Cost |  |  |  | 162 | 162 | 162 | 162
22 | Annual Frequency |  |  |  | 0.011 | 0.011 | 0.011 | 0.011
23 | Annual Cost |  |  |  | 1.782 | 1.782 | 1.782 | 1.782
24
25
26 | Replace Photo Cell
27 | Material Cost
28 | Labor | 0.61
29 | Total Cost |  |  |  | 111 | 111 | 111 | 111 | 136 | 136 | 136 | 136
30 | Annual Frequency |  |  |  | 0.1 | 0.1 | 0.1 | 0.1 | 0.05 | 0.05 | 0.05 | 0.05
31 | Annual Cost |  |  |  | 11.1 | 11.1 | 11.1 | 11.1 | 6.8 | 6.8 | 6.8 | 6.8
32
33
34 | Replace Ballast
35 | Material Cost
36 | Labor | 1.4
37 | Total Cost
38 | Annual Frequency
39 | Annual Cost
40
41 | Replace Starting Aid
42 | Material Cost
43 | Labor | 0.8
44 | Total Cost |  |  |  | 163 | 163 | 163 | 163
45 | Annual Frequency |  |  |  | 0.002 | 0.002 | 0.002 | 0.002
46 | Annual Cost |  |  |  | 0.326 | 0.326 | 0.326 | 0.326
47
48
49 | Replace Pole (wood)
50 | Material Cost
51 | Labor | 8.81
52 | Total Cost |  |  |  | 1901 | 1901 | 2114 | 2426 | 1901 | 1901 | 2114 | 2426
53 | Annual Frequency |  |  |  | 0.009 | 0.0086579 | 0.009 | 0.009 | 0.009 | 0.009 | 0.009 | 0.009
54 | Annual Cost |  |  |  | 17.109 | 16.4587 | 19.026 | 21.834 | 17.109 | 17.109 | 19.026 | 21.834
55
56 | Replace Pole and arm (metal)
57 | Material Cost
58 | Labor | 6.42
59 | Total Cost |  |  |  | 1620 | 1620 | 2227 | 2548 | 1620 | 1620 | 2227 | 2548
60 | Annual Frequency |  |  |  | 0.0048421 | 0.0048421 | 0.0048421 | 0.0048421 | 0.0048421 | 0.0048421 | 0.0048421 | 0.0048421
61 | Annual Cost |  |  |  | 7.8442 | 7.8442 | 10.7834 | 12.3377 | 7.8442 | 7.8442 | 10.7834 | 12.3377
62
63 | Replace Fiberglass Pole
64 | Material Cost
65 | Labor | 6.25
66 | Total Cost |  |  |  | 1542 | 2565 | 2455 | 2455 | 1542 | 2565 | 2455 | 2455
67 | Annual Frequency |  |  |  | 0.0063947 | 0.0063947 | 0.0063947 | 0.0063947 | 0.0063947 | 0.0063947 | 0.0063947 | 0.0063947
68 | Annual Cost |  |  |  | 9.8607 | 16.4025 | 15.6991 | 15.6991 | 9.8607 | 16.4025 | 15.6991 | 15.6991
69
70 | Replace Mast Arm
71 | Material Cost
72 | Labor | 2.49
73 | Total Cost |  |  |  | 781 | 781 | 781 | 781 | 781 | 781 | 781 | 781
74 | Annual Frequency |  |  |  | 0.015053 | 0.015053 | 0.015053 | 0.015053 | 0.015053 | 0.015053 | 0.015053 | 0.015053
75 | Annual Cost |  |  |  | 11.7561 | 11.7561 | 11.7561 | 11.7561 | 11.7561 | 11.7561 | 11.7561 | 11.7561
76
77
78 | Replace Luminaire
79 | Material Cost
80 | Labor | 1.13
81 | Total Cost |  |  |  | 263 | 277 | 321 | 324 | 472 | 495 | 810 | 889
82 | Annual Frequency |  |  |  | 0.025 | 0.025 | 0.025 | 0.025 | 0.04 | 0.04 | 0.04 | 0.04
83 | Annual Cost |  |  |  | 6.575 | 6.925 | 8.025 | 8.1 | 18.88 | 19.8 | 32.4 | 35.56
84
85 | Total Maintenance |  |  |  | 90.953 | 97.2195 | 103.6151 | 107.724 | 72.25 | 79.7118 | 96.4646 | 103.9869
Source:
Columns (F)-(BC) Material costs - RCMS (vendor quotes on decorative glassware); Glassware replacement time from CLS work order history
Columns (F)-(BC) Annual Frequency from Custom Lighting Services work order history and industry standards; pole annual frequency based upon life expectency
Columns (D) 2012 Journeyman Labor Rates
Note: 1. Ballasts will not be replaced in most Functional lights; the luminaire will be replaced due to cost 2. Starting aids are not required in MH fixtures above 100W 3. Starting aids take the same time to replace as lamps 4. 30 minute round trip travel 5. 1 man crew except pole replacements 6. Ballast trays are used in decorative lights
7. Non-Decorative Pole and arm replacement annual frequency is tied to parity of supporting pole types as follows:
| % lights are on Distribution poles= | 24.3%
| % lights on wood= | 32.9%
| % lights on metal poles= | 18.4%
| % on fiberglass poles= | 24.3%

## Installation Cost existing pole
|  | HPS | LED | HPS | LED | HPS | LED | HPS | LED
Lumens |  | 9500 | 4071 | 16000 | 6203 | 27500 | 12950 | 50000 | 16778
Watts |  | 100 | 48 | 150 | 71 | 250 | 135 | 400 | 183
Cost on Existing Distribution pole |  | 741 | 899 | 756 | 921 | 803 | 1237 | 1330 | 1842
Distribution Annual Cost @ | 9.74% | 72.1734 | 87.5626 | 73.6344 | 89.7054 | 78.2122 | 120.4838 | 129.542 | 179.4108
Monthly Cost |  | 6.0145 | 7.2969 | 6.1362 | 7.4754 | 6.5177 | 10.0403 | 10.7952 | 14.9509
Differential |  |  | 1.2824 |  | 1.3392 |  | 3.5226 |  | 4.1557

## Installation Cost replace pole
| HPS | LED | HPS | LED | HPS | LED | HPS | LED
| 9500 | 4071 | 16000 | 6203 | 27500 | 12950 | 50000 | 16778
| 100 | 48 | 150 | 71 | 250 | 135 | 400 | 183
Luminaire-only cost comparison* | 52 | 242 | 61 | 262 | 98.75 | 542 | 96.25 | 612
Type of installation
Existing Distribution pole | 741 | 899 | 756 | 921 | 803 | 1237 | 1330 | 1842
Dedicated Wood Pole | 1526 | 1684 | 1727 | 1892 | 1774 | 2208 | 2180 | 2692
Metal pole | 1554 | 1711 | 1655 | 1821 | 2280 | 2714 | 2465 | 2977
Fiberglass pole | 1680 | 1838 | 1695 | 1860 | 2073 | 2507 | 2146 | 2658
Apply Parity
Existing Distribution pole | 180.063 | 218.457 | 183.708 | 223.803 | 195.129 | 300.591 | 323.19 | 447.606 | This section applies a parity for
Dedicated Wood Pole | 502.054 | 554.036 | 568.183 | 622.468 | 583.646 | 726.432 | 717.22 | 885.668 | non-decorative installations in
Metal pole | 285.936 | 314.824 | 304.52 | 335.064 | 419.52 | 499.376 | 453.56 | 547.768 | order to create a weighted cost
Fiberglass pole | 408.24 | 446.634 | 411.885 | 451.98 | 503.739 | 609.201 | 521.478 | 645.894 | for each size.
Corrected Price | 1376.293 | 1533.951 | 1468.296 | 1633.315 | 1702.034 | 2135.6 | 2015.448 | 2526.936
Historic Parity for Installations
% lights are on Distribution poles= | 24.3%
% lights on wood= | 32.9%
% lights on metal poles= | 18.4%
% on fiberglass poles= | 24.3%
Total | 99.9%
* - LEDs come with a long life photocell
costs determined using RCMS w.o.#5695433
Note on A20: Daren Dixon: From contract Custom Lighting Services database, which contains 50% of Pacificorp's luminaires

## Unit Costs-earned
Unit Costs @ Earned ROR
PacifiCorp
Cost Of Service By Rate Schedule
State of Washington
12 Months Ending June 2012
WCA Method - (100 Summer, 100 Winter Hours) - 38%D / 62%E
6.67% Actual Return on Rate Base
|  | Washington |  | Small General | Large General | Large General | Large General | Agricultural | Street & Area
| Description | Jurisdiction | Residential | Service | Service <1,000 kW | Service >1,000 kW | Dedicated Facilities | Pumping | Lighting
|  | Normalized | Schedule 16 | Schedule 24 | Schedule 36 | Schedule 48T | Schedule 48T | Schedule 40 | Sch. 15,51-54,57
14 | UNITS
15 | Billing KW | 19104106.1716 | 13034017.5126 | 2526803.3719 | 2323118.6894 | 810142.8188 | 36636 | 336751.7788 | 36636
16 | Annual KWH | 3998877844 | 1601807791 | 537395792 | 860704393 | 358354770 | 473928141 | 153555066 | 13131891
17 | Average Customers | 132377.5088 | 104296.9778 | 18646.7917 | 1044.4944 | 57.9116 | 1 | 5260 | 3070.3333
18
CP Load Factor
19
20 | GTDRM TOTAL | 100% | 46.02% | 13.67% | 19.79% | 7.742% | 8.846% | 3.664% | 0.266%
21 | Revenue Requirement | 303227595.8644 | 139550018.9031 | 41437960.7613 | 60023472.9243 | 23476127.1242 | 26822232.5548 | 11111212.8393 | 806570.7573
22 | Per Billing KW | 15.8724 | 10.7066 | 16.3994 | 25.8375 | 28.9778 | 732.1278 | 32.9953 | 22.0158
23 | Per KWH | 0.075828 | 0.08712 | 0.077109 | 0.069738 | 0.065511 | 0.056596 | 0.07236 | 0.061421
24 | Per Customer | 2290.6278 | 1338.0064 | 2222.2569 | 57466.5315 | 405378.5524 | 26822232.5548 | 2112.3979 | 262.6981
25
26 | GENERATION-TOTAL | 100% | 42.39% | 13.5% | 21.4% | 8.457% | 10.45% | 3.563% | 0.2376%
27 | Revenue Requirement | 198682206.4776 | 84228142.7452 | 26818354.4994 | 42522924.7344 | 16801716.2826 | 20760889.745 | 7078146.6037 | 472031.8672
28 | Per Billing KW | 10.4 | 6.4622 | 10.6136 | 18.3042 | 20.7392 | 566.68 | 21.0189 | 12.8844
29 | Per KWH | 0.049684 | 0.052583 | 0.049904 | 0.049405 | 0.046886 | 0.043806 | 0.046095 | 0.035945
30 | Per Customer | 1500.8759 | 807.5799 | 1438.2289 | 40711.4896 | 290126.876 | 20760889.745 | 1345.6552 | 153.7396
31
32 | GENERATION-DEMAND | 100% | 43.72% | 13.51% | 21.28% | 8.157% | 9.758% | 3.389% | 0.1844%
33 | Revenue Requirement | 75499238.4615 | 33011619.8451 | 10196493.8443 | 16067662.5439 | 6158651.6992 | 7367203.249 | 2558423.3526 | 139183.9274
34 | Per Billing KW | 3.952 | 2.5327 | 4.0353 | 6.9164 | 7.6019 | 201.0919 | 7.5974 | 3.7991
35 | Per KWH | 0.01888 | 0.020609 | 0.018974 | 0.018668 | 0.017186 | 0.015545 | 0.016661 | 0.010599
36 | Per Customer | 570.3328 | 316.5156 | 546.823 | 15383.1958 | 106345.7059 | 7367203.249 | 486.3923 | 45.3319
37
38 | GENERATION-ENERGY | 100% | 41.58% | 13.49% | 21.48% | 8.64% | 10.87% | 3.669% | 0.2702%
39 | Revenue Requirement | 123182968.0161 | 51216522.9001 | 16621860.6551 | 26455262.1905 | 10643064.5834 | 13393686.496 | 4519723.2512 | 332847.9398
40 | Per Billing KW | 6.448 | 3.9295 | 6.5782 | 11.3878 | 13.1373 | 365.5881 | 13.4215 | 9.0853
41 | Per KWH | 0.030804 | 0.031974 | 0.03093 | 0.030737 | 0.0297 | 0.028261 | 0.029434 | 0.025347
42 | Per Customer | 930.543 | 491.0643 | 891.4059 | 25328.2938 | 183781.1701 | 13393686.496 | 859.263 | 108.4078
43
44 | TRANSMISSION-TOTAL | 100% | 42.43% | 13.51% | 21.39% | 8.448% | 10.43% | 3.565% | 0.2395%
45 | Revenue Requirement | 48517818.6128 | 20583715.5825 | 6553023.9886 | 10375894.6773 | 4098777.3868 | 5060800.8139 | 1729423.3288 | 116182.8349
46 | Per Billing KW | 2.5397 | 1.5792 | 2.5934 | 4.4664 | 5.0593 | 138.1374 | 5.1356 | 3.1713
47 | Per KWH | 0.012133 | 0.01285 | 0.012194 | 0.012055 | 0.011438 | 0.010678 | 0.011263 | 0.0088474
48 | Per Customer | 366.511 | 197.3568 | 351.429 | 9933.8917 | 70776.429 | 5060800.8139 | 328.7877 | 37.8405
49
50 | TRANSMISSION-DEMAND | 100% | 43.12% | 13.51% | 21.32% | 8.291% | 10.07% | 3.473% | 0.2115%
51 | Revenue Requirement | 18436770.6693 | 7950789.4989 | 2490857.4177 | 3931154.1739 | 1528529.2115 | 1856116.241 | 640332.6252 | 38991.5011
52 | Per Billing KW | 0.96507 | 0.61 | 0.98577 | 1.6922 | 1.8867 | 50.6637 | 1.9015 | 1.0643
53 | Per KWH | 0.0046105 | 0.0049636 | 0.0046351 | 0.0045674 | 0.0042654 | 0.0039165 | 0.0041701 | 0.0029692
54 | Per Customer | 139.2742 | 76.2322 | 133.581 | 3763.6908 | 26394.1729 | 1856116.241 | 121.7362 | 12.6994
55
56 | TRANSMISSION-ENERGY | 100% | 42% | 13.5% | 21.42% | 8.544% | 10.65% | 3.621% | 0.2566%
57 | Revenue Requirement | 30081047.9435 | 12632926.0836 | 4062166.5709 | 6444740.5034 | 2570248.1753 | 3204684.5729 | 1089090.7036 | 77191.3337
58 | Per Billing KW | 1.5746 | 0.96923 | 1.6076 | 2.7742 | 3.1726 | 87.4736 | 3.2341 | 2.107
59 | Per KWH | 0.0075224 | 0.0078867 | 0.007559 | 0.0074878 | 0.0071724 | 0.006762 | 0.0070925 | 0.0058782
60 | Per Customer | 227.2368 | 121.1246 | 217.848 | 6170.2008 | 44382.256 | 3204684.5729 | 207.0515 | 25.141
61
62 | DISTRIBUTION-TOTAL | 100% | 60.1% | 15.03% | 13.98% | 4.992% | 1.146% | 4.524% | 0.2293%
63 | Revenue Requirement | 42826123.5835 | 25740274.4792 | 6436534.8778 | 5985454.9929 | 2137680.6641 | 490578.6541 | 1937382.4564 | 98217.4589
64 | Per Billing KW | 2.2417 | 1.9749 | 2.5473 | 2.5765 | 2.6386 | 13.3906 | 5.7531 | 2.6809
65 | Per KWH | 0.01071 | 0.01607 | 0.011977 | 0.0069541 | 0.0059653 | 0.0010351 | 0.012617 | 0.0074793
66 | Per Customer | 323.5151 | 246.7979 | 345.1819 | 5730.4804 | 36912.8131 | 490578.6541 | 368.3237 | 31.9892
67
68 | DISTRIBUTION-SUBSTATION | 100% | 51.41% | 13.42% | 17.74% | 6.769% | 4.514% | 5.815% | 0.3278%
69 | Revenue Requirement | 5865769.2645 | 3015807.54 | 787086.5986 | 1040700.7178 | 397036.8171 | 264795.885 | 341112.3209 | 19229.3851
70 | Per Billing KW | 0.30704 | 0.23138 | 0.31149 | 0.44798 | 0.49008 | 7.2278 | 1.0129 | 0.52488
71 | Per KWH | 0.0014669 | 0.0018828 | 0.0014646 | 0.0012091 | 0.0011079 | 0.00055873 | 0.0022214 | 0.0014643
72 | Per Customer | 44.3109 | 28.9156 | 42.2103 | 996.3679 | 6855.9098 | 264795.885 | 64.8503 | 6.263
73
74 | DISTRIBUTION- P & C | 100% | 59.34% | 15.09% | 14.46% | 5.448% | 0.7384% | 4.671% | 0.2594%
75 | Revenue Requirement | 22573948.3407 | 13395555.4609 | 3405416.6472 | 3263490.9092 | 1229900.4063 | 166676.6124 | 1054353.254 | 58555.0507
76 | Per Billing KW | 1.1816 | 1.0277 | 1.3477 | 1.4048 | 1.5181 | 4.5495 | 3.131 | 1.5983
77 | Per KWH | 0.0056451 | 0.0083628 | 0.0063369 | 0.0037917 | 0.0034321 | 0.00035169 | 0.0068663 | 0.004459
78 | Per Customer | 170.5271 | 128.4367 | 182.6275 | 3124.4694 | 21237.5424 | 166676.6124 | 200.4474 | 19.0712
79
80 | DISTRIBUTION-TRANSFORMER | 100% | 61.19% | 14.05% | 14.79% | 4.681% | 0.2942% | 4.786% | 0.2134%
81 | Revenue Requirement | 7909732.0564 | 4839727.9069 | 1111583.7167 | 1169507.7441 | 370228.4272 | 23274.2194 | 378533.8503 | 16876.1918
82 | Per Billing KW | 0.41403 | 0.37132 | 0.43992 | 0.50342 | 0.45699 | 0.63528 | 1.1241 | 0.46065
83 | Per KWH | 0.001978 | 0.0030214 | 0.0020685 | 0.0013588 | 0.0010331 | 4.9109e-05 | 0.0024651 | 0.0012851
84 | Per Customer | 59.7513 | 46.4033 | 59.6126 | 1119.6879 | 6392.9908 | 23274.2194 | 71.9646 | 5.4965
85
86 | DISTRIBUTION-METER | 100% | 67.36% | 15.96% | 8.425% | 1.777% | 1.009% | 5.44% | 0.03166%
87 | Revenue Requirement | 2295342.8217 | 1546191.9646 | 366229.3995 | 193386.8718 | 40797.3496 | 23152.7602 | 124857.7964 | 726.6795
88 | Per Billing KW | 0.12015 | 0.11863 | 0.14494 | 0.083245 | 0.050358 | 0.63197 | 0.37077 | 0.019835
89 | Per KWH | 0.000574 | 0.00096528 | 0.00068149 | 0.00022468 | 0.00011385 | 4.8853e-05 | 0.00081311 | 5.5337e-05
90 | Per Customer | 17.3394 | 14.8249 | 19.6403 | 185.1488 | 704.4761 | 23152.7602 | 23.7372 | 0.23668
91
92 | DISTRIBUTION-SERVICE | 100% | 70.38% | 18.32% | 7.614% | 2.385% | 0.3032% | 0.9214% | 0.06769%
93 | Revenue Requirement | 4181331.1003 | 2942991.6068 | 766218.5158 | 318368.7499 | 99717.6639 | 12679.1772 | 38525.2348 | 2830.1518
94 | Per Billing KW | 0.21887 | 0.22579 | 0.30324 | 0.13704 | 0.12309 | 0.34609 | 0.1144 | 0.077251
95 | Per KWH | 0.0010456 | 0.0018373 | 0.0014258 | 0.00036989 | 0.00027827 | 2.6753e-05 | 0.00025089 | 0.00021552
96 | Per Customer | 31.5864 | 28.2174 | 41.0912 | 304.8066 | 1721.894 | 12679.1772 | 7.3242 | 0.92177
97
98 | RETAIL-TOTAL | 100% | 82.71% | 11.38% | 1.46% | 0.5109% | 0.4896% | 2.206% | 1.235%
99 | Revenue Requirement | 8350814.649 | 6907309.4287 | 950677.6845 | 121918.9104 | 42660.6174 | 40882.6231 | 184191.3483 | 103174.0367
100 | Per Billing KW | 0.43712 | 0.52994 | 0.37624 | 0.052481 | 0.052658 | 1.1159 | 0.54696 | 2.8162
101 | Per KWH | 0.0020883 | 0.0043122 | 0.001769 | 0.00014165 | 0.00011905 | 8.6263e-05 | 0.0011995 | 0.0078568
102 | Per Customer | 63.0833 | 66.2273 | 50.9834 | 116.7253 | 736.6504 | 40882.6231 | 35.0174 | 33.6035
103
104 | MISC - Total | 100% | 43.1% | 14.01% | 20.97% | 8.149% | 9.671% | 3.754% | 0.3497%
105 | Revenue Requirement | 4850632.5416 | 2090576.6675 | 679369.711 | 1017279.6093 | 395292.1733 | 469080.7187 | 182069.1021 | 16964.5597
106 | Per Billing KW | 0.25391 | 0.16039 | 0.26887 | 0.43789 | 0.48793 | 12.8038 | 0.54066 | 0.46306
107 | Per KWH | 0.001213 | 0.0013051 | 0.0012642 | 0.0011819 | 0.0011031 | 0.00098977 | 0.0011857 | 0.0012919
108 | Per Customer | 36.6424 | 20.0445 | 36.4336 | 973.9445 | 6825.7838 | 469080.7187 | 34.6139 | 5.5253
109
110 | Classification Revenue Requirement
111 | Generation - Demand | 75499238.4615 | 33011619.8451 | 10196493.8443 | 16067662.5439 | 6158651.6992 | 7367203.249 | 2558423.3526 | 139183.9274
112 | Transmission - Demand | 18436770.6693 | 7950789.4989 | 2490857.4177 | 3931154.1739 | 1528529.2115 | 1856116.241 | 640332.6252 | 38991.5011
113 | Distribution - Substation | 5865769.2645 | 3015807.54 | 787086.5986 | 1040700.7178 | 397036.8171 | 264795.885 | 341112.3209 | 19229.3851
114 | Demand - TOTAL Revenue Requirement | 99801778.3952 | 43978216.884 | 13474437.8606 | 21039517.4356 | 8084217.7278 | 9488115.375 | 3539868.2986 | 197404.8136
115
116 | Generation - Energy | 123182968.0161 | 51216522.9001 | 16621860.6551 | 26455262.1905 | 10643064.5834 | 13393686.496 | 4519723.2512 | 332847.9398
117 | Transmission - Energy | 30081047.9435 | 12632926.0836 | 4062166.5709 | 6444740.5034 | 2570248.1753 | 3204684.5729 | 1089090.7036 | 77191.3337
118 | Misc - Total | 4850632.5416 | 2090576.6675 | 679369.711 | 1017279.6093 | 395292.1733 | 469080.7187 | 182069.1021 | 16964.5597
119 | Energy - TOTAL Revenue Requirement | 158114648.5011 | 65940025.6512 | 21363396.937 | 33917282.3032 | 13608604.932 | 17067451.7876 | 5790883.0569 | 427003.8332
120
121 | Distribution - Meter | 2295342.8217 | 1546191.9646 | 366229.3995 | 193386.8718 | 40797.3496 | 23152.7602 | 124857.7964 | 726.6795
122 | Distribution - Service | 4181331.1003 | 2942991.6068 | 766218.5158 | 318368.7499 | 99717.6639 | 12679.1772 | 38525.2348 | 2830.1518
123 | Retail Total | 8350814.649 | 6907309.4287 | 950677.6845 | 121918.9104 | 42660.6174 | 40882.6231 | 184191.3483 | 103174.0367
124 | Customer - TOTAL Revenue Requirement | 14827488.571 | 11396493.0001 | 2083125.5998 | 633674.5322 | 183175.6309 | 76714.5605 | 347574.3795 | 106730.868
125
126 | Distribution - P&C | 22573948.3407 | 13395555.4609 | 3405416.6472 | 3263490.9092 | 1229900.4063 | 166676.6124 | 1054353.254 | 58555.0507
127 | Distribution - Transformer | 7909732.0564 | 4839727.9069 | 1111583.7167 | 1169507.7441 | 370228.4272 | 23274.2194 | 378533.8503 | 16876.1918
128 | Load Size - TOTAL Revenue Requirement | 30483680.397 | 18235283.3678 | 4517000.3639 | 4432998.6533 | 1600128.8335 | 189950.8318 | 1432887.1043 | 75431.2425
129
130 | Total Classification Revenue Requirement
131 | GTDRM Revenue Requirement | 303227595.8644 | 139550018.9031 | 41437960.7613 | 60023472.9243 | 23476127.1242 | 26822232.5548 | 11111212.8393 | 806570.7573
132 | Check | 303227595.8644 | 139550018.9031 | 41437960.7613 | 60023472.9243 | 23476127.1242 | 26822232.5548 | 11111212.8393 | 806570.7573
133 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
134 | UNITS
135 | Billing KW
136 | Annual KWH | 19104106.1716 | 13034017.5126 | 2526803.3719 | 2323118.6894 | 810142.8188 | 36636 | 336751.7788 | 36636
137 | Average Customers | 3998877844 | 1601807791 | 537395792 | 860704393 | 358354770 | 473928141 | 153555066 | 13131891
138 | Load Factor | 132377.5088 | 104296.9778 | 18646.7917 | 1044.4944 | 57.9116 | 1 | 5260 | 3070.3333
139 |  | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
140 | 100% Cost Based Rates
141 | Demand Charge
142 | Energy Charge | 5.2241 | 3.3741 | 5.3326 | 9.0566 | 9.9788 | 258.9834 | 10.5118 | 5.3883
143 | Customer Charge | 0.03954 | 0.041166 | 0.039754 | 0.039406 | 0.037975 | 0.036013 | 0.037712 | 0.032517
144 | Load Size Charge | 9.3341 | 9.1058 | 9.3096 | 50.5567 | 263.585 | 6392.88 | 5.5066 | 2.8968
145 |  | 1.5957 | 1.3991 | 1.7876 | 1.9082 | 1.9751 | 5.1848 | 4.255 | 2.0589
146 | Check
147 | Demand Revenue Requirement
148 | Energy Revenue Requirement | 99801778.3952 | 43978216.884 | 13474437.8606 | 21039517.4356 | 8084217.7278 | 9488115.375 | 3539868.2986 | 197404.8136
149 | Customer Revenue Requirement | 158114648.5011 | 65940025.6512 | 21363396.937 | 33917282.3032 | 13608604.932 | 17067451.7876 | 5790883.0569 | 427003.8332
150 | Load Size Revenue Requirement | 14827488.571 | 11396493.0001 | 2083125.5998 | 633674.5322 | 183175.6309 | 76714.5605 | 347574.3795 | 106730.868
151 | Total Revenue Requirement | 30483680.397 | 18235283.3678 | 4517000.3639 | 4432998.6533 | 1600128.8335 | 189950.8318 | 1432887.1043 | 75431.2425
|  | 303227595.8644 | 139550018.9031 | 41437960.7613 | 60023472.9243 | 23476127.1242 | 26822232.5548 | 11111212.8393 | 806570.7573
Note on B7: Indicated the actual ROR based on current revenues.