## Estimate Form
Quistorff
#3612 Single Service for 12311 64th Street Court NW
*** Construction Materials ***
Item | Description | Quant./Units | Unit | Unit Cost | Total
1 | Single Service for 12311 64th Street Court NW | 1 | LS | 900 | 900
2 |  |  |  |  | 0
3 |  |  |  |  | 0
4 |  |  |  |  | 0
5 |  |  |  |  | 0
6 |  |  |  |  | 0
7 |  |  |  |  | 0
8 |  |  |  |  | 0
9 |  |  |  |  | 0
10 |  |  |  |  | 0
11 |  | Sub-Total |  |  | 900
12 |  | Contingency |  | 20% | 180
13 |  | Sales Tax |  | 8.6% | 92.88
14 |  | SUB Total - Materials |  |  | 1172.88
15 |  | Rounded Up Value |  |  | 1200
*** Construction Labor ***
Item | Description | Quant./Units | Unit | Unit Cost | Total
16 | Backhoe & Operator | 12 | HRS | 125 | 1500
17 | Two Servicemen & Truck | 16 | HRS | 160 | 2560
18 |  |  |  |  | 0
19 |  |  |  |  | 0
20 |  |  |  |  | 0
21 |  |  |  |  | 0
22 | WWSC Engineering | 1 | LS | 0 | 0
23 |  |  |  |  | 0
24 |  |  |  |  | 0
25 |  | SUB TOTAL |  |  | 4060
26 |  | Contingency |  | 20% | 812
27 |  | Sub-Total - Construction Labor |  |  | 4872
28 |  | Rounded Up Value |  |  | 4900
*** Outside Contractor ***
Item | Description | Quant./Units | Unit | Unit Cost | Total
29 | County Permits (Encroachment) | 1 | LS |  | 280
30 | DOH Review Fees | 1 | LS |  | 0
31 | Hydrogeologist | 1 | LS
32 | Geotechnical Engineer | 1 | LS
33 | Engineering Consultant | 1 | LS
34 | Land Cost | 1 | LS
35 | Additional Insurance | 1 | LS
36 | Bonding | 1 | LS
37 | Underground Contractor | 1 | LS |  | 0
38 | Paveing Contractor - Pavement Restoration | 55 | SY | 32 | 1760
39
40
41 |  | SUB TOTAL |  |  | 2040
42 |  | Contingency |  | 25% | 510
43 |  | Sub-Total - Outside Contractor |  |  | 2550
44 |  | Rounded Up Value |  |  | 2600
|  | Projected Funds Required = |  |  | 8700 | LF | #DIV/0! | $/LF
Assumptions:
1) This document is intended to forecast approximate construction costs based upon current information and similar projects, and is not
intended to accurately represent actual design or construction components or prices.
2) Totals are rounded to nearest $100

## Materials Worksheet
Edit Header then remove this note
Unit
| Task | Quantity |  | Cost | Total
Marina Heights Lane
| 4" HDPE Pipe including valves, fittings & Bedding | 925 | EA | 72 | 66600
0
0
0
0
0
0
0
0
0
0
|  |  |  | Sub-Total | 66600
|  |  |  | Rounded Value | 66600
Assembly Items Listed Below
Chemical Feed Pump Assembly
| Pulsafeeder Series E+ LPB4-KTC1-XXX 12 gpd Chem Pump | 1 | EA | 624.88 | 624.88
| 30-gallon linear Polyethlene Solution Tub w/ Cover | 1 | EA | 205.36 | 205.36
| Flow Indicator - Puslafeeder #U7012309 | 1 | EA | 30.4 | 30.4
| Suction Strainer for 3/8" Poly Tubing | 1 | EA | 11.95 | 11.95
| 3/8"x1/4" Polyethylene Tubing | 30 | LF | 0.247 | 7.41
| Injection Back Pressure valve Assembly - Pulsafeeder #J61026 | 2 | EA | 157.04 | 314.08
| KOP Kit - Pulsafeeder #K4KTC1 | 2 | EA | 69.64 | 139.28
| 8"x1" Tapping Saddle | 1 | EA | 69.7 | 69.7
| 1" PVC Pipe | 18 | LF | 0.41 | 7.38
| 1"x1" Tee SLxSL | 1 | EA | 0.64 | 0.64
| 1" Ball Valve | 2 | EA | 14.76 | 29.52
| 1" 90º Elbow | 4 | EA | 0.44 | 1.76
| 2"x1" TEE SLxSL | 1 | EA | 3.42 | 3.42
| 1"x1/2" Bushing | 1 | EA | 0.54 | 0.54
| 1/2" PVC Pipe | 8 | LF | 0.27 | 2.16
| 1/2" Ball Valve | 1 | EA | 6.48 | 6.48
| 1/2"x1/4" Bushing | 1 | EA | 0.38 | 0.38
| N.C. Well Pump Aux, Contact | 1 | EA | 17.4 | 17.4
| Duplex Outlet | 1 | EA | 0.91 | 0.91
| Shielded 2-Conductor Telemtry Cable | 30 | LF | 0.456 | 13.68
| NEMA 1 Enclosure | 1 | EA | 40.82 | 40.82
| Potter & Brumfield 8-pin Relay | 2 | EA | 124 | 248
| Breaker - 110VAC 15A | 1 | EA | 3.52 | 3.52
| Eye Wash Station | 1 | EA | 342 | 342
| Protective Apron | 1 | EA | 24.95 | 24.95
| Eye Protection Shields | 1 | EA | 9.45 | 9.45
0
|  |  |  | Sub-Total | 2156.07
|  |  | 8.6% | WSST | 185.422
|  |  |  | Total | 2341.492
|  |  |  | Rounded Value | 2400
Hydrant Assembly
60600033 | 6" Dry-Barrel Hydrant | 1 | EA | 2329.0926 | 2329.0926
60500031 | 5" Storz Adaptor | 1 | EA | 196.2197 | 196.2197
60600081 | 18" Valve Box Riser /w Lid | 1 | EA | 59.6304 | 59.6304
60600082 | CI Valve Box Bottom Section | 1 | EA | 36.188 | 36.188
30600194 | 6"x6" Tee, MJxFLG | 1 | EA | 153.933 | 153.933
30600141 | 6" Ductile Iron Pipe Cl 50 | 12 | LF | 20.5264 | 246.3162
30600028 | 6" MEGALUG PK/KIT (DI) | 2 | EA | 57.3401 | 114.6801
30800029 | 8" MEGALUG PK/KIT (PVC) | 2 | EA | 90.779 | 181.558
30600030 | 6" FLG BOLT & GSKT KIT | 2 | EA | 17.199 | 34.398
40600285 | 6" MJ x FLG GATE VALVE | 1 | EA | 693.6833 | 693.6833
| GRAVEL 1 1/4 minus | 0.5 | CY | 17 | 8.5
125004816 | Support Blocks | 6 | EA | 2.4823 | 14.8941
0
|  |  |  | Sub-Total | 4069.0933
|  |  |  | Rounded Value | 4100
| Single Service | [5 empty] | Double Service
30400181 | 4 x 1 TAPPING SADDLE | 1 | EA | 50.7 | 50.7 | 30800181 | 8 x 1 TAPPING SADDLE | 1 | EA | 69.7 | 69.7
40101255 | 1" CORP STOP x PAC JT-NO LEAD | 1 | EA | 93.1523 | 93.1523 | 40101255 | 1" CORP STOP x PAC JT-NO LEAD | 1 | EA | 92 | 92
60100012 | 1" CL 200 POLY PIPE | 160 | LF | 0.68736 | 109.9775 | 60100012 | 1" CL 200 POLY PIPE | 30 | LF | 0.72 | 21.6
51400155 | LOCATOR WIRE, # 14 | 160 | LF | 0.18239 | 29.1824 | 51400155 | LOCATOR WIRE, # 14 | 30 | LF | 0.3 | 9
80034090 | 3/4" BRASS 90 ELBOW | 1 | EA | 6.553 | 6.553 | 80034090 | 3/4" BRASS 90 ELBOW | 2 | EA | 6 | 12
80034134 | 3/4" x 12" BRASS NIPPLE | 1 | EA | 20.0789 | 20.0789 | 80034134 | 3/4" x 12" BRASS NIPPLE | 2 | EA | 21 | 42
40034220 | 3/4" ANGLE STOP VALVE-NO LEAD | 1 | EA | 41.3098 | 41.3098 | 40034220 | 3/4" ANGLE STOP VALVE-NO LEAD | 2 | EA | 41 | 82
100034060 | RES METER BOX w/lid, STANDARD | 2 | EA | 44.3539 | 88.7078 | 100034060 | RES METER BOX w/lid, STANDARD | 2 | EA | 45 | 90
100058258 | 5/8"x3/4" MTR, BODY ONLY, COMP | 1 | EA | 49.0945 | 49.0945 | 100058258 | 5/8"x3/4" MTR, BODY ONLY, COMP | 2 | EA | 49 | 98
100058158 | 5/8"x3/4" METER w/HRE REG+ERT | 1 | EA | 216.0539 | 216.0539 | 100058158 | 5/8"x3/4" METER w/HRE REG+ERT | 2 | EA | 216 | 432
40100300 | 1" PRESS REGULATING VALVE-NO L | 1 | EA | 120.99 | 120.99 | [5 empty] | 0
|  |  |  | Sub-Total | 825.8001 |  |  |  |  | Sub-Total | 948.3
|  |  |  | Rounded Value | 900 |  |  |  |  | Rounded Value | 1000
2" Blowoff
40200282 | 2" THREADED GATE AWWA | 1 | EA | 358 | 358
30800183 | 8 x 2 TAPPING SADDLE | 1 | EA | 142 | 142
60600081 | 18" VALVE BOX RISER w/LID | 1 | EA | 61 | 61
60600082 | VALVE BOX BOTTOM CI | 1 | EA | 38 | 38
20200130 | 2 x 6 GALV NIPPLE | 4 | EA | 6.85 | 27.4
20200140 | 2" GALVANIZED PIPE | 6 | LF | 4.27 | 25.62
20200090 | 2" GALV 90 ELBOW | 4 | EA | 9.65 | 38.6
10200020 | 2" PVC ADAPTOR FIP | 2 | EA | 2.16 | 4.32
10200141 | 2" PVC PIPE, CL 200 | 20 | LF | 0.96 | 19.2
125001000 | BEDDING SAND | 2.5 | CY | 5.5 | 13.75
|  |  |  | Sub-Total | 727.89
|  |  |  | Rounded Value | 800
2" Air/Vac Assembly
40200282 | 2" THREADED GATE AWWA | 1 | EA | 455.584 | 455.584
30800183 | 8 x 2 TAPPING SADDLE | 1 | EA | 140.7511 | 140.7511
60600081 | 18" VALVE BOX RISER w/LID | 1 | EA | 59.6304 | 59.6304
60600082 | VALVE BOX BOTTOM CI | 1 | EA | 36.188 | 36.188
20200130 | 2 x 6 GALV NIPPLE | 7 | EA | 5.5762 | 39.0333
40200312 | 2" AIR/VAC VALVE, ARI #D-040 | 1 | EA | 446.7299 | 446.7299
20200140 | 2" GALVANIZED PIPE | 7 | LF | 4.1744 | 29.221
20200090 | 2" GALV 90 ELBOW | 4 | EA | 9.5686 | 38.2746
10200020 | 2" PVC ADAPTOR FIP | 2 | EA | 2.1077 | 4.2154
20200180 | 2" GALV 180 ELBOW | 1 | EA | 87.9828 | 87.9828
40200271 | 2" ENVIRO STRAINER-NO LEAD | 1 | EA | 49.7683 | 49.7683
20200060 | 2" GALV CAP | 1 | EA | 4.5698 | 4.5698
20200191 | 2" GALV REDUCING TEE | 2 | EA | 13.8392 | 27.6783
40034220 | 3/4" ANGLE STOP VALVE-NO LEAD | 1 | EA | 41.3098 | 41.3098
20034135 | 3/4 x 18 GALV NIPPLE | 2 | EA | 8.5882 | 17.1764
20034130 | 3/4 x 6 GALV NIPPLE | 1 | EA | 2.3422 | 2.3422
20034090 | 3/4" GALV 90 ELBOW | 1 | EA | 1.7755 | 1.7755
100102070 | EXTRA LG METER BOX LID, STD | 1 | EA | 253.188 | 253.188
20112130 | 1 1/2 x 6 GALV NIPPLE | 3 | EA | 4.7619 | 14.2857
20112090 | 1-1/2" GALV 90 ELBOW | 1 | EA | 6.4831 | 6.4831
20112200 | 1-1/2" GALV UNION | 1 | EA | 12.7644 | 12.7644
60600083 | CONCRETE VALVE BOX MARKER | 1 | EA | 12.7644 | 12.7644
10200141 | 2" PVC PIPE, CL 200 | 20 | LF | 0.91177 | 18.2353
125004816 | BLOCKS 2/8 4/8 4/16 - AVG | 3 | EA | 2.4823 | 7.447
|  |  |  | Sub-Total | 1807.3987
|  |  |  | Rounded Value | 1900

## Projected Eng Hrs
Edit Header then remove this note
Employee
Task | Hours | Classification | Rate | Total
Facility Design
Project Setup |  | Engineer | 125 | 0
Develop Base Drawings from Available Contour Info |  | Engineer | 125 | 0
Design & Draft Watermain Construction Documents |  | Engineer | 125 | 0
Sub-Total | 0 |  |  | 0
Revisions per Peer Review Comments
P.E. Peer Review |  | Principle Eng | 0 | 0
Revisions to Construction Documents per Peer Review Comments |  | Engineer | 125 | 0
Coping & Re-Submittal of Project Report & Construction Documents |  | Clerical | 75 | 0
Sub-Total | 0 |  |  | 0
Construction
Pre-Construction Conference with Engineering & Contractor |  | Engineer | 125 | 0
Construction Inspection by Operations |  | Engineer | 125 | 0
Sub-Total | 0 |  |  | 0
Record Documents
As-Built Drawings & Testing Validations along with Project Certification Document Preparation |  | Engineer | 125 | 0
P.E. Project Certification |  | Principle Eng | 0 | 0
Updating Base Maps & Site Piping |  | Engineer | 125 | 0
Coping, Binding & Submittal of Project Certification to File & Rosario |  | Clerical | 75 | 0
Sub Total | 0 |  |  | 0
Projected Total Hours | 0 |  |  | 0
|  |  |  | 0 | Rounded Value

## Hyd Model Const
Task | Hours | Rate | Total
Hydraulic Model Construction
Data Collection of Preston's Source Facilities & Distribution System | 1
Distribution Pipes set-up in ACAD for importing into a GIS Shape File | 2
Distribution Pipes conversion ACAD to GIS Shape File | 1
Distribution Pipes - Import GIS Shape File, Create Junctions (Nodes) in Preston's Model | 1
Junction (Node) elevation assignment | 1
Preston Industrial Source of Supply Construction in the Model | 4
Load Model with Preston Industrial Park ERU's | 1
Calc Preston's Peak Day Diurnal Curve & Assign to Junctions w/ ERU's Loaded | 4
Run & Perform QA/QC checks & make any necessary refinements | 4
Sub-Total | 11 |  | 0
Hydraulic Model Scenario & Report
Setup & Run Hydraulic Model Scenario for MDD & PHD Meeting DOH Requirements | 2
Setup & Run Hydraulic Model Scenario for Fire Flow Analysis | 2
Prepare Hydraulic Model Narrative (Report) for DOH Submittal | 4
P.E. Peer Review | 1
Edit Project Report per Peer Review | 1
Final P.E. Peer Review for submittal | 0.5
Coping, Binding & of Project Report for DOH Submittal | 1
Sub-Total | 11.5 |  | 0
Sub-Total | 22.5 | 95 | 2137.5
Department of Health Office of Drinking Water Review Fee |  |  | 811
Projected Total Fees: |  |  | 2948.5
Notes:
1) This document is intended to forecast approximate Engineering fees based upon current information and similar projects, with
billing on an hourly basis. Final project fees could vary from the projected fees shown.

## Consolidation Records Migration
Engineering Staff Hours to Consolidate Sea Cliff Records into Pecock Hill
Empolyee
Task | Hours | Classification
Update System History | 0.25 | Engineer
Site Facility Address Update | 0.25 | Clerical
Source of Supply Inventory drawing | 4 | Engineer
Update Connection Summary | 4 | Clerical
Document Draw Records Consolidation | 0.5 | Clerical
Sattin System Customer Migration to Aspinwall | 1 | Clerical
System's Owned & Managed List Update | 0.5 | Clerical
CMP Revisions for consolidated System - Site Selection & rotation | 1 | Engineer
CMP Revisions for consolidated System - CMP Map Update | 2 | Engineer
Coliform Monitoring Schedule Updated - WQ | 0.25 | Clerical
Chemical Contaminants Monitoring Schedule Update - WQ | 0.25 | Clerical
Nitrate Monitoring Schedule Update - WQ | 0.25 | Clerical
Lead & Cooper Schedule Update - WQ | 0.5 | Clerical
WQ Records Merge | 0.25 | Clerical
Wellhead Meter Reading Forms merge | 0.5 | Clerical
Wellhead Protection Records Merge | 1 | Engineer
Sanitary Survey Action Items merge | 2 | Clerical
Total | 18.5