## 1 Reliability
| SAIDI - No MED | SAIFI - No MED
| Average Length of Outages (minutes) | Average Number of Outages
2004 | 126 | 1.01
2005 | 108 | 0.97
2005 | 143 | 1.29
2007 | 132 | 1.14
2008 | 159 | 1.4
2009 | 193 | 1.52
2010 | 146 | 1.23
2011 | 118 | 1.08
2012 | 138 | 1.14
2013 | 138 | 1.05
2014 | 139 | 1.11
2015 | 163 | 1.05
2016 | 133 | 0.86
2017 | 183 | 1.2
2018 | 0.81 | 2.11
2019 | 0.94 | 2.28
Average National SAIDI and SAIFI for 2015
From: https://www.eia.gov/electricity/data/eia861/ (Download latest year and select Reliability_<current year>)
Raw Data Source: \\c01d60\c01d60\COMMON\Asset Management\Reliability Data from Jill\Reliability Data 2018 - JAN.xlsm "SQM" tab
DATA FROM: UE-170338 Avista REVISED 2016 Service Quality and Electric Reliability Report 5-11-17
| SAIDI - No MED | SAIFI - No MED
| Average Length of Outages (minutes) | Average Number of Outages |  |  | Numbers from Larry La Bolle 1/16/2020:
2004 | 126 | 1.01 |  |  |  | SAIFI* | SAIDI*
2005 | 108 | 0.97 |  |  | Year | Average Number of Outages | Average Duration of Outages
2005 | 143 | 1.29 |  |  | 2012 | 1.14 | 2.3
2007 | 132 | 1.14 |  |  | 2013 | 1.0481 | 2.3682
2008 | 159 | 1.4 |  |  | 2014 | 1.1121 | 2.3246
2009 | 193 | 1.52 |  |  | 2015 | 1.0567 | 2.811
2010 | 146 | 1.23 |  |  | 2016 | 0.86301 | 2.215
2011 | 118 | 1.08 |  |  | 2017 | 1.1979 | 3.056
2012 | 138 | 1.14 |  |  | 2018 | 0.81017 | 2.1054
2013 | 138 | 1.05 |  |  | 2019 | 0.94 | 2.28
2014 | 139 | 1.11
2015 | 163 | 1.05 |  |  |  | *SAIFI is number of outages per customer for all customers served.
2016 | 133 | 0.86 |  |  |  | **SAIDI is outage time per customer for all customers served (in Hours).
2017 | 183 | 1.2
Average National SAIDI and SAIFI for 2015 | [9 empty] | 3.3728
From: https://www.eia.gov/electricity/data/eia861/ (Download latest year and select Reliability_<current year>)
National Average: | 2015 | 2016
SAIDI with MED | 243.7241 | 314.2593
SAIDI without MED | 131.9638 | 128.616
SAIFI with MED | 1.9551 | 1.6569
SAIFI without MED | 1.5185 | 1.2989
Reliability Measure | Spokane | Colville
System Number of Outages (SAIFI) | 0.62 | 3.62
System Duration of Outages (SAIDI) | 55 Minutes | 843 Minutes
From \\c01m570\c01m570\Distribution\Data Sources\Copy of Reliability Data 2017.xlsm "SPO" tab and "West" tab
Figure 1
CAIDI - No MED
DATA 2005-2-13 FROM: UE-170338 Avista REVISED 2016 Service Quality and Electric Reliability Report 5-11-17 http://www.publicpower.org/files/PDFs/2015DSReliabilityAndOperationsReport_FINAL.pdf |  |  | SAIFI - No MED |  | Ave. Outage Duration (CAIDI) | Nat'l CAIDI Ave |  |  | MAIFI - No MED
|  |  | Average Number of Outages (SAIFI) | Nat'l SAIFI Ave | 112 | 65.91 |  | Nat'l MAIFI Ave | Ave. Number Momentary Outages
| SAIDI - No MED |  | 0.97 | 1.6 | 111 | 77.985 |  |  | 3.38
| Average Length of Outages (SAIDI) | Nat'l SAIDI Ave | 1.29 | 2.89 | 116 | 90.06 |  |  | 4.59
2005 | 108 | 54.03 | 1.14 | 4.18 | 113 | 88.405 |  |  | 4.22
2005 | 143 | 61.915 | 1.4 | 2.53 | 127 | 86.75 |  |  | 4.22
2007 | 132 | 69.8 | 1.52 | 0.88 | 118 | 80.305 |  |  | 4.23
2008 | 159 | 69.39 | 1.23 | 0.845 | 108 | 73.86 |  |  | 2.93
2009 | 193 | 68.98 | 1.08 | 0.81 | 121 | 85.165 |  |  | 2.42
2010 | 146 | 57.67 | 1.14 | 0.96 | 132 | 96.47 |  |  | 2.63
2011 | 118 | 46.36 | 1.05 | 1.11 | 125 | 87.635 |  |  | 2.26
2012 | 138 | 52.425 | 1.11 | 1.01 | 156 | 78.8 |  |  | 2.2
2013 | 138 | 58.49 | 1.05 | 0.91 | 154 |  |  |  | 2.11
2014 | 139 | 60.51 | 0.86 | [5 empty] | 1.88
2015 | 163 | 62.53
2016 | 133
* Red numbers were averaged as the survey was every other year
SAIDI
SAIFI

## 2 3 4 Summary
AVISTA CAPITAL BUDGET | 2020 | 2021 | 2022 | 2023 | 2024
Customer Requested | 60181711 | 51134379 | 49859819 | 49734401 | 50362596
Mandatory & Compliance | 91410119 | 89600960 | 73515726 | 57761343 | 58005327
Failed Plant & Operations | 20877880 | 18398000 | 16028200 | 14868000 | 14868000
Customer Service Quality & Reliability | 53112537 | 43039745 | 41682500 | 42540000 | 15850000
Performance & Capacity | 63815596 | 80225608 | 75481254 | 88396578 | 96050245
Asset Condition | 115602157 | 122601308 | 148432501 | 151699678 | 169863832
Total Budget | 405000000 | 405000000 | 405000000 | 405000000 | 405000000
AVISTA CAPITAL BUDGET | 2020 | 2021 | 2022 | 2023 | 2024 | Five Year Total | %
Customer Requested | 60181711 | 51134379 | 49859819 | 49734401 | 50362596 | 261272906 | 0.12902
Mandatory & Compliance | 91410119 | 89600960 | 73515726 | 57761343 | 58005327 | 370293475 | 0.18286
Failed Plant & Operations | 20877880 | 18398000 | 16028200 | 14868000 | 14868000 | 85040080 | 0.041995 |  |  | 39
Asset Condition | 115602157 | 122601308 | 148432501 | 151699678 | 169863832 | 708199476 | 0.34973
Customer Service Quality & Reliability | 53112537 | 43039745 | 41682500 | 42540000 | 15850000 | 196224782 | 0.096901
Performance & Capacity | 63815596 | 80225608 | 75481254 | 88396578 | 96050245 | 403969281 | 0.19949
Total Budget | 405000000 | 405000000 | 405000000 | 405000000 | 405000000 | 2025000000 |  |  | 61
|  | 2020 | 2021 | 2022 | 2023 | 2024 | Five Year Total | %
Environmental | Environmental | 24136627 | 18223068 | 6096910 | 5282698 | 5094679 | 58833982 | 0.029054
Enterprise Technology | ET | 42594463 | 52905275 | 59687121 | 57584578 | 54836578 | 267608015 | 0.13215
Gas | Gas | 46193892 | 47608892 | 49549816 | 45988645 | 45355648 | 234696893 | 0.1159
Generation | Generation | 51451805 | 53933675 | 54488738 | 61201000 | 61199000 | 282274218 | 0.13939
Growth | Growth | 57956711 | 51134379 | 49859819 | 49734401 | 50362596 | 259047906 | 0.12792
Other | Other | 28942845 | 36023346 | 33761476 | 38885258 | 53946179 | 191559104 | 0.094597
Transmission & Distribution | T&D | 153723657 | 145171365 | 151556120 | 146323420 | 134205320 | 730979882 | 0.36098
| Total Budget | 405000000 | 405000000 | 405000000 | 405000000 | 405000000 | 2025000000
| 371318373 | 375726932 | 387853090 | 388667302 | 389105321
| 2020 | 2021 | 2022 | 2023 | 2024
Customer Requested | 60181711 | 51134379 | 49859819 | 49734401 | 50362596
Mandatory & Compliance | 91410119 | 89600960 | 73515726 | 57761343 | 58005327
Failed Plant & Operations | 20877880 | 18398000 | 16028200 | 14868000 | 14868000
Customer Service Quality & Reliability | 53112537 | 43039745 | 41682500 | 42540000 | 15850000
Performance & Capacity | 63815596 | 80225608 | 75481254 | 88396578 | 96050245
Asset Condition | 115602157 | 122601308 | 148432501 | 151699678 | 169863832
| 405000000 | 405000000 | 405000000 | 405000000 | 405000000
| 2020 | 2021 | 2022 | 2023 | 2024
Environmental | 24136627 | 18223068 | 6096910 | 5282698 | 5094679
ET | 42594463 | 52905275 | 59687121 | 57584578 | 54836578
Gas | 46193892 | 47608892 | 49549816 | 45988645 | 45355648
Generation | 51451805 | 53933675 | 54488738 | 61201000 | 61199000
Growth | 57956711 | 51134379 | 49859819 | 49734401 | 50362596
Other | 28942845 | 36023346 | 33761476 | 38885258 | 53946179
T&D | 153723657 | 145171365 | 151556120 | 146323420 | 134205320
| 405000000 | 405000000 | 405000000 | 405000000 | 405000000

## 5 Customer Growth
| Total WA-ID Electric | Total WA-ID-OR Gas | Total All Hookups | Data acquired from Grant Forsthe |  | 0
1999 | 4306
2000 | 3976
2001 | 4307 |  |  | ACTUAL
2002 | 4145 |  |  | Electric Average (2009-2019): | 4085.4545
2003 | 5044 |  |  | Gas Average (2009-2019): | 4941.6364
2004 | 5832
2005 | 7418 |  |  | FORECAST
2006 | 7107 |  |  | Electric Average (2020-2025): | 4635.6104
2007 | 6764 |  |  | Gas Average (2020-2025): | 5790.4776
2008 | 4493
2009 | 3350 | 3592 | 6942
2010 | 2455 | 3048 | 5503
2011 | 2693 | 2924 | 5617
2012 | 3263 | 3230 | 6493
2013 | 4362 | 4030 | 8392
2014 | 4782 | 4855 | 9637
2015 | 4041 | 5134 | 9175
2016 | 4587 | 6431 | 11018
2017 | 4706 | 7279 | 11985
2018 | 5554 | 7474 | 13028
2019 | 5147 | 6361 | 11508
2020 Forecast | 5054.6248 | 6772.8479 | 11827.4728
2021 Forecast | 4648.817 | 5796.6184 | 10445.4354
2022 Forecast | 4545.6135 | 5623.9645 | 10169.578
2023 Forecast | 4535.2488 | 5570.8411 | 10106.09
2024 Forecast | 4513.57 | 5523.7217 | 10037.2917
2025 Forecast | 4515.7881 | 5454.8719 | 9970.66

## Customer Requested
Customer Requested Business Cases
Function | Customer Requested Business Cases | 2020 | 2021 | 2022 | 2023 | 2024
Growth | New Revenue - Growth | 57956711 | 51134379 | 49859819 | 49734401 | 50362596
T&D | Rattlesnake Flat Wind Farm Project 115kV Integration Project | 2225000 | 0 | 0 | 0 | 0
| Total | 60181711 | 51134379 | 49859819 | 49734401 | 50362596

## 6 Mandatory
Mandatory and Compliance Business Cases (Part 1 of 2)
Function | Mandatory & Compliance Business Cases | 2020 | 2021 | 2022 | 2023 | 2024 | 5 Year Total | 5 Year Average | Function | Customer Service Quality & Reliability Business Cases | 5 Year Total | 5 Year Average
Environmental | Cabinet Gorge Dam Fishway | 19500000 | 12500000 | 160000 | 0 | 0 | 32160000 | 6432000 | Generation | Automation Replacement | 3055000 | 611000
Environmental | Clark Fork Settlement Agreement | 3068027 | 4418068 | 5119610 | 4222698 | 4277379 | 21105782 | 4221156.4 | Other | Enterprise Business Continuity | 2055000 | 411000
Environmental | Environmental Compliance | 450000 | 450000 | 450000 | 450000 | 450000 | 2250000 | 450000 | Other | Enterprise Security | 11880000 | 2376000
Environmental | Hydro Safety Minor Blanket | 50000 | 50000 | 50000 | 50000 | 50000 | 250000 | 50000 | Other | Facilities and Storage Location Security | 1800000 | 360000
Environmental | Spokane River License Implementation | 1068600 | 805000 | 317300 | 560000 | 317300 | 3068200 | 613640 | Other | Generation, Substation & Gas Location Security | 1990000 | 398000
ET | High Voltage Protection (HVP) Refresh | 800000 | 800000 | 200000 | 200000 | 0 | 2000000 | 400000 | Other | Telecommunication & Network Distribution Location Security | 800000 | 160000
Gas | Gas Cathodic Protection Program | 715000 | 715000 | 715000 | 700000 | 700000 | 3545000 | 709000 | T&D | Idaho AMI | 82500000 | 16500000
Gas | Gas Facility Replacement Program (GFRP) Aldyl A Pipe Replacement | 23318892 | 24043892 | 24624816 | 25218645 | 25825648 | 123031893 | 24606378.6 | T&D | Washington Advanced Metering Infrastructure Project | 38649782 | 7729956.4
Gas | Gas Isolated Steel Replacement Program | 1400000 | 1400000 | 1600000 | 1600000 | 1600000 | 7600000 | 1520000
Gas | Gas Overbuilt Pipe Replacement Program | 400000 | 400000 | 400000 | 250000 | 0 | 1450000 | 290000
Gas | Gas PMC Program | 1400000 | 1200000 | 1300000 | 1300000 | 1300000 | 6500000 | 1300000
Gas | Gas Replacement Street and Highway Program | 3000000 | 3000000 | 3000000 | 3000000 | 3000000 | 15000000 | 3000000
Generation | Long Lake Stability Enhancement | 880000 | 1455000 | 12260000 | 11300000 | 0 | 25895000 | 5179000
Generation | Monroe Street Abandoned Penstock Stabilization | 0 | 150000 | 750000 | 0 | 0 | 900000 | 180000
Other | Apprentice/Craft Training | 48600 | 54000 | 54000 | 60000 | 60000 | 276600 | 55320
Other | Tribal Permits & Settlements | 250000 | 250000 | 250000 | 250000 | 250000 | 1250000 | 250000
Other | WSDOT Franchises | 225000 | 225000 | 225000 | 225000 | 225000 | 1125000 | 225000
Other | CIP 14 v1 - High Impact Assets | 1000000 | 500000 | 0 | 0 | 0 | 1500000 | 300000
Mandatory and Compliance Business Cases (Part 2 of 2)
Function | Mandatory & Compliance Business Cases | 2020 | 2021 | 2022 | 2023 | 2024 | 346000 | 69200
T&D | Clearwater Wind Generation Interconnection | 346000 | 0 | 0 | 0 | 0 | 2870000 | 574000
T&D | Colstrip Transmission | 370000 | 485000 | 590000 | 1075000 | 350000 | 19700000 | 3940000
T&D | Ninth & Central 230kV Station & Transmission | 0 | 0 | 3200000 | 1500000 | 15000000 | 9400000 | 1880000
T&D | Protection System Upgrade for PRC-002 | 5600000 | 2600000 | 1200000 | 0 | 0 | 10000000 | 2000000
T&D | Saddle Mountain 230/115kV Station (New) Integration Project Phase 1 | 10000000 | 0 | 0 | 0 | 0 | 16500000 | 3300000
T&D | Saddle Mountain 230/115kV Station (New) Integration Project Phase 2 | 500000 | 16000000 | 0 | 0 | 0 | 6800000 | 1360000
T&D | Spokane Valley Transmission Reinforcement Project | 3900000 | 2900000 | 0 | 0 | 0 | 7550000 | 1510000
T&D | Transmission Construction - Compliance | 2850000 | 3500000 | 0 | 1200000 | 0 | 6500000 | 1300000
T&D | Transmission NERC Low-Risk Priority Lines Mitigation | 2800000 | 2700000 | 1000000 | 0 | 0 | 8650000 | 1730000
T&D | West Plains New 230kV Substation | 0 | 0 | 8650000 | 0 | 0 | 10800000 | 2160000
T&D | Westside 230/115kV Station "Brownfield Rebuild" Project | 3500000 | 4500000 | 2800000 | 0 | 0 | 14770000 | 2954000
T&D | Elec Relocation and Replacement Program | 2470000 | 3000000 | 3100000 | 3100000 | 3100000 | 7500000 | 1500000
T&D | Joint Use | 1500000 | 1500000 | 1500000 | 1500000 | 1500000 | 370293475 | 74058695
| Total | 91410119 | 89600960 | 73515726 | 57761343 | 58005327
|  | Row Labels | Sum of 5 Year Total
|  | Environmental | 58833982 |  | Environmental | 58833982
|  | ET | 2000000 |  | Enterprise Technology | 2000000
|  | Gas | 157126893 |  | Gas | 157126893
|  | Generation | 26795000 |  | Generation | 26795000
|  | Other | 4151600 |  | Other | 4151600
|  | T&D | 121386000 |  | Transmission & Distribution | 121386000
|  | Grand Total | 370293475

## 7 Failed Plant
Failed Plant & Operations Business Cases
Function | Failed Plant Business Cases | 2020 | 2021 | 2022 | 2023 | 2024 | 5 Year Total | 5 Year Average
ET | Technology Failed Assets | 306200 | 618000 | 556200 | 618000 | 618000 | 2716400 | 543280
Gas | Gas Non-Revenue Program | 8000000 | 8000000 | 8000000 | 8000000 | 8000000 | 40000000 | 8000000
Generation | Base Load Thermal Program | 2042280 | 2790000 | 2790000 | 3100000 | 3100000 | 13822280 | 2764456
Generation | CS2 Single Phase Transformer | 7000000 | 4000000 | 1600000 | 0 | 0 | 12600000 | 2520000
Generation | Peaking Generation Business Case | 329400 | 450000 | 450000 | 500000 | 500000 | 2229400 | 445880
T&D | Electric Storm | 3000000 | 2340000 | 2432000 | 2450000 | 2450000 | 12672000 | 2534400
T&D | Meter Minor Blanket | 200000 | 200000 | 200000 | 200000 | 200000 | 1000000 | 200000
| Total | 20877880 | 18398000 | 16028200 | 14868000 | 14868000 | 85040080 | 17008016
Note: $750,000 asset condition work moved from Electric Storm to Transmission - Minor Rebuild (Jeremiah)
|  | Row Labels | Sum of 5 Year Total
|  | ET | 2716400 |  | Enterprise Technology | 2716400
|  | Gas | 40000000 |  | Natural Gas | 40000000
|  | Generation | 28651680 |  | Generation | 28651680
|  | T&D | 13672000 |  | Transmission & Distribution | 13672000
|  | Grand Total | 85040080

## 8 Asset Condition
Asset Condition Business Cases (Part 1 of 2)
Function | Asset Condition Business Cases | 2020 | 2021 | 2022 | 2023 | 2024 | 5 Year Total | 5 Year Average
ET | Atlas | 2100000 | 1800000 | 1800000 | 0 | 0 | 5700000 | 1140000
ET | Energy Delivery Modernization | 450000 | 450000 | 1225000 | 1225000 | 1225000 | 4575000 | 915000
ET | Outage Management System & Advanced Distribution Management System | 0 | 0 | 6500000 | 5000000 | 5000000 | 16500000 | 3300000
Gas | Gas Deteriorated Steel Pipe Replacement | 1000000 | 1000000 | 1000000 | 1000000 | 1000000 | 5000000 | 1000000
Gas | Gas ERT Replacement Program | 200000 | 200000 | 210000 | 220000 | 230000 | 1060000 | 212000
Gas | Gas Regulator Station Replacement Program | 800000 | 1000000 | 1000000 | 1000000 | 1000000 | 4800000 | 960000 | )
Generation | Base Load Hydro | 756960 | 1034100 | 1034100 | 1149000 | 1149000 | 5123160 | 1024632
Generation | Cabinet Gorge Automation | 500000 | 0 | 0 | 0 | 0 | 500000 | 100000
Generation | Cabinet Gorge Control Room Replacement | 0 | 0 | 0 | 160000 | 1235000 | 1395000 | 279000
Generation | Cabinet Gorge Gantry Crane Runway Modernization | 500000 | 0 | 0 | 0 | 0 | 500000 | 100000
Generation | Cabinet Gorge HVAC Replacement | 0 | 0 | 0 | 550000 | 0 | 550000 | 110000
Generation | Cabinet Gorge Spillgate Replacement | 0 | 0 | 0 | 1000000 | 2500000 | 3500000 | 700000
Generation | Cabinet Gorge Station Service | 2800000 | 750000 | 500000 | 0 | 0 | 4050000 | 810000 | #NAME?
Generation | Cabinet Gorge Stop Log Replacement | 0 | 1000000 | 0 | 0 | 0 | 1000000 | 200000
Generation | Cabinet Gorge Unit 1 Governor Upgrade |  | 0 | 0 | 560000 | 0 | 560000 | 140000
Generation | Cabinet Gorge Unit 2 Field Pole Refurb | 0 | 0 | 0 | 0 | 1500000 | 1500000 | 300000
Generation | Cabinet Gorge Unit 3 Protection & Control Upgrade | 1800000 | 750000 | 0 | 0 | 0 | 2550000 | 510000
Generation | Cabinet Gorge Unit 4 Protection & Control Upgrade | 600000 | 2000000 | 0 | 0 | 0 | 2600000 | 520000
Generation | Cabinet Gorge Warehouse Replacement | 0 | 0 | 130000 | 2025000 | 0 | 2155000 | 431000
Generation | Colstrip 3&4 Capital Projects | 12500000 | 9400000 | 3034000 | 4000000 | 8000000 | 36934000 | 7386800
Generation | Generation DC Supplied System Update | 840000 | 840000 | 900000 | 840000 | 900000 | 4320000 | 864000
Generation | Generation Masonry Building Rehabilitation | 0 | 1000000 | 1000000 | 1000000 | 1000000 | 4000000 | 800000
Generation | HMI Control Software | 2230625 | 1961875 | 1195938 | 0 | 0 | 5388438 | 1077687.6
Generation | Kettle Falls Fuel Yard Equip Replacement | 9000000 | 7000000 | 2400000 | 0 | 0 | 18400000 | 3680000
Generation | Little Falls Intake Gate Replacement | 0 | 300000 | 2200000 | 2000000 | 0 | 4500000 | 900000
Generation | Little Falls Plant Upgrade | 2100000 | 0 | 0 | 0 | 0 | 2100000 | 420000
Asset Condition Business Cases (Part 2 of 2)
Function | Asset Condition Business Cases | 2020 | 2021 | 2022 | 2023 | 2024
Generation | Little Falls Spillway Flashboard Replacement | 0 | 0 | 0 | 0 | 1000000 | 1000000 | 200000
Generation | Long Lake Plant Upgrade | 1500000 | 4500000 | 11500000 | 11500000 | 11500000 | 40500000 | 8100000
Generation | Long Lake Emergency Generator | 0 | 75000 | 650000 | 0 | 0 | 725000 | 145000
Generation | Monroe Street Generator Excitation Replacement | 0 | 93000 | 650000 | 182000 | 0 | 925000 | 185000
Generation | Nine Mile Powerhouse Crane Rehab | 0 | 0 | 0 | 750000 | 750000 | 1500000 | 300000
Generation | Nine Mile Unit 3 Mechanical Overhaul | 0 | 0 | 0 | 0 | 2000000 | 2000000 | 400000
Generation | Nine Mile Units 3 & 4 Control Upgrade | 0 | 0 | 0 | 0 | 1000000 | 1000000 | 200000
Generation | Noxon Rapids Generator Step-Up Bank C Replacement | 0 | 0 | 0 | 1005000 | 2406000 | 3411000 | 682200
Generation | Noxon Rapids Spillgate Refurbishment | 500000 | 6430000 | 5930000 | 5930000 | 4759000 | 23549000 | 4709800
Generation | Post Falls HED Redevelopment Program | 0 | 0 | 0 | 0 | 2000000 | 2000000 | 400000
Generation | Post Falls Landing and Crane Pad Development | 190000 | 3110000 | 0 | 0 | 0 | 3300000 | 660000
Generation | Post Falls North Channel Spillway Rehabilitation | 500000 | 0 | 1500000 | 9500000 | 10000000 | 21500000 | 4300000
Generation | Regulating Hydro | 2137540 | 3179700 | 3179700 | 3500000 | 3500000 | 15496940 | 3099388
Generation | Upper Falls Trash Rake Replacement | 0 | 0 | 0 | 0 | 450000 | 450000 | 90000
Other | New Pullman Service Center | 0 | 0 | 5000000 | 7000000 | 0 | 12000000 | 2400000
Other | Service Building Basement Renovation | 3000000 | 0 | 0 | 0 | 0 | 3000000 | 600000
Other | Structures and Improvements/Furniture | 2000000 | 2200000 | 2500000 | 2750000 | 2750000 | 12200000 | 2440000
Other | Capital Tools & Stores | 1782000 | 1980000 | 1980000 | 2000000 | 2000000 | 9742000 | 1948400
Other | Fleet Services Capital Plan | 6237000 | 6237000 | 6237000 | 6237000 | 6237000 | 31185000 | 6237000
Other | Telematics 2025 | 0 | 1100000 | 675000 | 612500 | 0 | 2387500 | 477500
Other | Offset to Budget | -329588 | -403487 | 4892643 | 1680758 | 16192512 | 22032838 | 4406567.6
T&D | SCADA - SOO and BuCC | 2100000 | 920000 | 700000 | 700000 | 700000 | 5120000 | 1024000
T&D | Substation - Station Rebuilds Program | 18750000 | 18250000 | 24950000 | 25050000 | 25125000 | 112125000 | 22425000
T&D | Transmission - Minor Rebuild | 1659120 | 2409120 | 2409120 | 2593420 | 2593420 | 11664200 | 2332840
T&D | Transmission Major Rebuild | 7550000 | 7500000 | 14000000 | 10000000 | 10000000 | 49050000 | 9810000
T&D | Distribution Grid Modernization | 8000000 | 10000000 | 12000000 | 12200000 | 13000000 | 55200000 | 11040000
T&D | Distribution Minor Rebuild | 8768500 | 10000000 | 10000000 | 10000000 | 10000000 | 48768500 | 9753700
T&D | Distribution Transformer Change Out | 541000 | 600000 | 0 | 0 | 0 | 1141000 | 228200
T&D | Downtown Network - Asset Condition | 1539000 | 1600000 | 2800000 | 2800000 | 2800000 | 11539000 | 2307800
T&D | LED Change-Out Program | 500000 | 585000 | 500000 | 500000 | 500000 | 2585000 | 517000
T&D | Primary URD Cable Replacement | 0 | 750000 | 750000 | 750000 | 750000 | 3000000 | 600000
T&D | Wood Pole Management | 10500000 | 11000000 | 11500000 | 12730000 | 13111900 | 58841900 | 11768380
| Total | 115602157 | 122601308 | 148432501 | 151699678 | 169863832 | 708199476 | 141667895.2
Notes: Offset to Budget $1,080,000 plant work expected to move to O&M in mid-2021 (Webster, Jeremiah)
and $1,036,800 moved from Coyote LTSA to offset, plant work expected to move to O&M in mid-2021 (Jeremiah)
Transmission Minor Rebuild $750,000 yearly in asset condition work moved from Electric Storm to Transmission - Minor Rebuild (Jeremiah)
|  | Row Labels | Sum of 5 Year Total
|  | ET | 26775000 |  | Enterprise Technology | 26775000
|  | Gas | 10860000 |  | Natural Gas | 10860000
|  | Generation | 218982538 |  | Generation | 218982538
|  | Other | 92547338 |  | Other | 92547338
|  | T&D | 359034600 |  | Transmission & Distribution | 359034600
|  | Grand Total | 708199476

## 9 Service Quality
Service Quality and Reliability Business Cases
Function | Customer Service Quality & Reliability Business Cases | 2020 | 2021 | 2022 | 2023 | 2024 | 5 Year Total | 5 Year Average
Generation | Automation Replacement | 585000 | 585000 | 585000 | 650000 | 650000 | 3055000 | 611000
Other | Enterprise Business Continuity | 345000 | 405000 | 405000 | 450000 | 450000 | 2055000 | 411000
Other | Enterprise Security | 2160000 | 2160000 | 2160000 | 2700000 | 2700000 | 11880000 | 2376000
Other | Facilities and Storage Location Security | 280000 | 340000 | 340000 | 340000 | 500000 | 1800000 | 360000
Other | Generation, Substation & Gas Location Security | 330000 | 330000 | 330000 | 500000 | 500000 | 1990000 | 398000
Other | Telecommunication & Network Distribution Location Security | 75000 | 112500 | 112500 | 250000 | 250000 | 800000 | 160000
ET | Customer Facing Technology Program | 7245000 | 9050000 | 9050000 | 9050000 | 8800000 | 8800000 | 8639000
ET | Customer Transactional Systems | 2300000 | 2000000 | 2000000 | 2000000 | 2000000 | 2000000 | 2060000
T&D | Idaho AMI | 2500000 | 26700000 | 26700000 | 26600000 | 0 | 82500000 | 16500000
T&D | Washington Advanced Metering Infrastructure Project | 37292537 | 1357245 | 0 | 0 | 0 | 38649782 | 7729956.4
| Total | 53112537 | 43039745 | 41682500 | 42540000 | 15850000 | 196224782 | 39244956.4
|  | Row Labels | Sum of 5 Year Total
|  | Generation | 3055000 |  | Generation | 3055000
|  | Other | 18525000 |  | Other | 18525000
|  | T&D | 121149782 |  | Transmission & Distribution | 121149782
|  | ET | 10800000 |  | ET | 10800000
|  | Grand Total | 153529782
Function | Customer Service Quality & Reliability Business Cases | 5 Year Total | 5 Year Average
Generation | Automation Replacement | 3055000 | 611000
Other | Enterprise Business Continuity | 2055000 | 411000
Other | Enterprise Security | 11880000 | 2376000
Other | Facilities and Storage Location Security | 1800000 | 360000
Other | Generation, Substation & Gas Location Security | 1990000 | 398000
Other | Telecommunication & Network Distribution Location Security | 800000 | 160000
T&D | Idaho AMI | 82500000 | 16500000
T&D | Washington Advanced Metering Infrastructure Project | 38649782 | 7729956.4
| Total | 142729782 | 28545956.4

## 10 Perf & Capacity
[7 empty] | 5 Year Total | 5 Year Average
Performance and Capacity Business Cases | [6 empty] | 2200000 | 440000
Function | Performance & Capacity Business Cases | 2020 | 2021 | 2022 | 2023 | 2024 | 8960000 | 1792000
ET | Basic Workplace Technology Delivery | 440000 | 440000 | 440000 | 440000 | 440000 | 12288971 | 2457794.2
ET | Data Center Compute and Storage Systems | 1692000 | 2192000 | 1692000 | 1692000 | 1692000 | 21700000 | 4340000
ET | Digital Grid Network Expansion | 2053302 | 2296379 | 2772216 | 2583537 | 2583537 | 12500000 | 2500000
ET | Endpoint Compute and Productivity | 3780000 | 4480000 | 4480000 | 4480000 | 4480000 | 7968000 | 1593600
ET | Energy Delivery Operational Efficiency & Shared Services | 2575000 | 2575000 | 2450000 | 2450000 | 2450000 | 34887353 | 6977470.6
ET | Energy Resources Modernization & Operational Efficiency | 1100000 | 1634000 | 1634000 | 1800000 | 1800000 | 12256082 | 2451216.4
ET | Enterprise & Control Network | 6521561 | 7432896 | 6932896 | 7000000 | 7000000 | 8348000 | 1669600
ET | Enterprise Communication Systems | 2020000 | 2520000 | 2020000 | 2848041 | 2848041 | 4700000 | 940000
ET | Enterprise Data Science | 1368000 | 1820000 | 1520000 | 1820000 | 1820000 | 9968400 | 1993680
ET | Environmental Control & Monitoring | 900000 | 900000 | 900000 | 1000000 | 1000000 | 1290000 | 258000
ET | ET Modernization & Operational Efficiency - Technology | 1664400 | 1752000 | 1752000 | 2400000 | 2400000 | 9500000 | 1900000
ET | Facilities Driven Technology | 150000 | 270000 | 270000 | 300000 | 300000 | 6250000 | 1250000
ET | Fiber Network Lease Replacement | 1000000 | 3000000 | 3000000 | 2500000 | 0 | 6066000 | 1213200
ET | Financial & Accounting Technology | 750000 | 1450000 | 1350000 | 1350000 | 1350000 | 21759809 | 4351961.8
ET | Human Resources Technology | 600000 | 1425000 | 1493000 | 1218000 | 1330000 | 1979000 | 395800
ET | Land Mobile Radio & Real Time Communication Systems | 2500000 | 3500000 | 5249809 | 5260000 | 5250000
ET | Legal & Compliance Technology | 279000 | 500000 | 400000 | 350000 | 450000
Gas | Airway Heights HP Reinforcement | 50000 | 1950000 | 0 | 0 | 0 | 2000000 | 400000
Gas | Cheney HP Reinforcement | 4710000 | 3100000 | 0 | 0 | 0 | 7810000 | 1562000
Gas | Pullman HP Reinforcement Project | 0 | 0 | 100000 | 2400000 | 0 | 2500000 | 500000 | 32
Gas | Reinforcement Program | 1000000 | 1300000 | 1500000 | 1000000 | 1000000 | 5800000 | 1160000 | 68
Gas | Schweitzer Mtn Rd HP Reinforcement | 0 | 0 | 0 | 100000 | 1500000 | 1600000 | 320000 | 34
Gas | Telemetry Program | 200000 | 200000 | 200000 | 200000 | 200000 | 1000000 | 200000 | 32
Gas | Warden HP Reinforcement | 0 | 100000 | 5900000 | 0 | 0 | 6000000 | 1200000 | 28
Generation | Cabinet Gorge 15 kV Bus Replacement | 0 | 0 | 0 | 0 | 1200000 | 1200000 | 240000 | 34
Generation | Coyote Springs LTSA | 2160000 | 1080000 | 0 | 0 | 0 | 3240000 | 648000 | 228
Generation | Upper Falls and Monroe Street Permanent Backup Generator | 0 | 0 | 0 | 0 | 100000 | 100000 | 20000
Generation | Upper Falls Unit Upgrade | 0 | 0 | 250000 | 0 | 0 | 250000 | 50000
Other | Central 24 HR Operations Facility | 0 | 0 | 0 | 10000000 | 9000000 | 19000000 | 3800000
Other | Corporate and Craft Training | 0 | 9000000 | 4000000 | 0 | 0 | 13000000 | 2600000
Other | Corporate Campus Exterior | 0 | 0 | 0 | 0 | 2000000 | 2000000 | 400000
Other | Sandpoint Service Center | 0 | 0 | 0 | 1500000 | 8500000 | 10000000 | 2000000 |  | 99.9977
Other | Energy Imbalance Market | 9157500 | 9180000 | 2262000 | 0 | 0 | 20599500 | 4119900
Other | Gas Operator Qualification Compliance | 54000 | 60000 | 60000 | 60000 | 60000 | 294000 | 58800
Other | Jackson Prairie Joint Project | 2328333 | 2293333 | 2278333 | 2270000 | 2271667 | 11441666 | 2288333.2
T&D | Cabinet Gorge Bus Isolating Breakers | 100000 | 1500000 | 0 | 0 | 0 | 1600000 | 320000
T&D | Segment Reconductor and FDR Tie | 6000000 | 6000000 | 6000000 | 6000000 | 6000000 | 30000000 | 6000000
T&D | Substation New Capacity Program | 7650000 | 5150000 | 13050000 | 13000000 | 13000000 | 51850000 | 10370000
T&D | Transmission New Construction | 0 | 0 | 400000 | 11250000 | 12900000 | 24550000 | 4910000
T&D | Downtown Network Performance & Capacity | 1012500 | 1125000 | 1125000 | 1125000 | 1125000 | 5512500 | 1102500
| Total | 63815596 | 80225608 | 75481254 | 88396578 | 96050245 | 392809281 | 78561856.2
Notes: Coyote Springs LTSA: 1,080,000, plant work expected to move to O&M in mid-2021 (Webster, Jeremiah)
|  | Row Labels | Sum of 5 Year Total
|  | ET | 182621615 |  | Enterprise Technology | 182621615
|  | Gas | 26710000 |  | Natural Gas | 26710000
|  | Generation | 4790000 |  | Generation | 4790000
|  | Other | 76335166 |  | Other | 76335166
|  | T&D | 113512500 |  | Transmission & Distribution | 113512500
|  | Grand Total | 403969281

## Business Case Requests
2020 - 2024 Capital Plan -- 2020 Board Approved
as of 12/20/2019
|  | Guidance |  | 405000000 | 405000000 | 405000000 | 405000000 | 405000000
|  | Sum |  | 405000000 | 405000000 | 405000000 | 405000000 | 405000000
|  | Variance to Guidance, (over)/under |  | 0 | 0 | 0 | 0 | 0
0 | Function | Business Case | Primary Driver | 2020 Approved | 2021 Approved | 2022 Approved | 2023 Approved | 2024 Approved
1 | Environmental | Cabinet Gorge Dam Fishway | Mandatory & Compliance | 19500000 | 12500000 | 160000 | 0 | 0
2 | Environmental | Clark Fork Settlement Agreement | Mandatory & Compliance | 3068027 | 4418068 | 5119610 | 4222698 | 4277379
3 | Environmental | Environmental Compliance | Mandatory & Compliance | 450000 | 450000 | 450000 | 450000 | 450000
4 | Environmental | Hydro Safety Minor Blanket | Mandatory & Compliance | 50000 | 50000 | 50000 | 50000 | 50000
5 | Environmental | Spokane River License Implementation | Mandatory & Compliance | 1068600 | 805000 | 317300 | 560000 | 317300
6 | ET | Atlas | Asset Condition | 2100000 | 1800000 | 1800000 | 0 | 0
7 | ET | Basic Workplace Technology Delivery | Performance & Capacity | 440000 | 440000 | 440000 | 440000 | 440000
| ET | Customer Facing Technology Program | Customer Service Quality & Reliability | 7245000 | 9050000 | 9050000 | 9050000 | 8800000
| ET | Customer Transactional Systems | Customer Service Quality & Reliability | 2300000 | 2000000 | 2000000 | 2000000 | 2000000
#REF! | ET | Data Center Compute and Storage Systems | Performance & Capacity | 1692000 | 2192000 | 1692000 | 1692000 | 1692000
#REF! | ET | Digital Grid Network Expansion | Performance & Capacity | 2053302 | 2296379 | 2772216 | 2583537 | 2583537
#REF! | ET | Endpoint Compute and Productivity Systems | Performance & Capacity | 3780000 | 4480000 | 4480000 | 4480000 | 4480000
#REF! | ET | Energy Delivery Modernization | Asset Condition | 450000 | 450000 | 1225000 | 1225000 | 1225000
#REF! | ET | Energy Delivery Operational Efficiency & Shared Services | Performance & Capacity | 2575000 | 2575000 | 2450000 | 2450000 | 2450000
#REF! | ET | Energy Resources Modernization & Operational Efficiency | Performance & Capacity | 1100000 | 1634000 | 1634000 | 1800000 | 1800000
#REF! | ET | Enterprise & Control Network Infrastructure | Performance & Capacity | 6521561 | 7432896 | 6932896 | 7000000 | 7000000
#REF! | ET | Enterprise Communication Systems | Performance & Capacity | 2020000 | 2520000 | 2020000 | 2848041 | 2848041
#REF! | ET | Enterprise Data Science | Performance & Capacity | 1368000 | 1820000 | 1520000 | 1820000 | 1820000
#REF! | ET | Environmental Control & Monitoring Systems | Performance & Capacity | 900000 | 900000 | 900000 | 1000000 | 1000000
#REF! | ET | ET Modernization & Operational Efficiency - Technology | Performance & Capacity | 1664400 | 1752000 | 1752000 | 2400000 | 2400000
#REF! | ET | Facilities Driven Technology Improvements | Performance & Capacity | 150000 | 270000 | 270000 | 300000 | 300000
#REF! | ET | Fiber Network Lease Service Replacement | Performance & Capacity | 1000000 | 3000000 | 3000000 | 2500000 | 0
#REF! | ET | Financial & Accounting Technology | Performance & Capacity | 750000 | 1450000 | 1350000 | 1350000 | 1350000
#REF! | ET | High Voltage Protection (HVP) Refresh | Mandatory & Compliance | 800000 | 800000 | 200000 | 200000 | 0
#REF! | ET | Human Resources Technology | Performance & Capacity | 600000 | 1425000 | 1493000 | 1218000 | 1330000
#REF! | ET | Land Mobile Radio & Real Time Communication Systems | Performance & Capacity | 2500000 | 3500000 | 5249809 | 5260000 | 5250000
#REF! | ET | Legal & Compliance Technology | Performance & Capacity | 279000 | 500000 | 400000 | 350000 | 450000
#REF! | ET | Outage Management System & Advanced Distribution Management System (OMS & ADMS) | Asset Condition | 0 | 0 | 6500000 | 5000000 | 5000000
#REF! | ET | Technology Failed Assets | Failed Plant & Operations | 306200 | 618000 | 556200 | 618000 | 618000
#REF! | Gas | Gas Airway Heights HP Reinforcement Project | Performance & Capacity | 50000 | 1950000 | 0 | 0 | 0
#REF! | Gas | Gas Cathodic Protection Program | Mandatory & Compliance | 715000 | 715000 | 715000 | 700000 | 700000
#REF! | Gas | Gas Cheney HP Reinforcement | Performance & Capacity | 4710000 | 3100000 | 0 | 0 | 0
#REF! | Gas | Gas Deteriorated Steel Pipe Replacement Program | Asset Condition | 1000000 | 1000000 | 1000000 | 1000000 | 1000000
#REF! | Gas | Gas ERT Replacement Program | Asset Condition | 200000 | 200000 | 210000 | 220000 | 230000
#REF! | Gas | Gas Facility Replacement Program (GFRP) Aldyl A Pipe Replacement | Mandatory & Compliance | 23318892 | 24043892 | 24624816 | 25218645 | 25825648
#REF! | Gas | Gas Isolated Steel Replacement Program | Mandatory & Compliance | 1400000 | 1400000 | 1600000 | 1600000 | 1600000
#REF! | Gas | Gas Non-Revenue Program | Failed Plant & Operations | 8000000 | 8000000 | 8000000 | 8000000 | 8000000
#REF! | Gas | Gas Overbuilt Pipe Replacement Program | Mandatory & Compliance | 400000 | 400000 | 400000 | 250000 | 0
#REF! | Gas | Gas PMC Program | Mandatory & Compliance | 1400000 | 1200000 | 1300000 | 1300000 | 1300000
#REF! | Gas | Gas Pullman HP Reinforcement Project | Performance & Capacity | 0 | 0 | 100000 | 2400000 | 0
#REF! | Gas | Gas Regulator Station Replacement Program | Asset Condition | 800000 | 1000000 | 1000000 | 1000000 | 1000000
#REF! | Gas | Gas Reinforcement Program | Performance & Capacity | 1000000 | 1300000 | 1500000 | 1000000 | 1000000
#REF! | Gas | Gas Replacement Street and Highway Program | Mandatory & Compliance | 3000000 | 3000000 | 3000000 | 3000000 | 3000000
#REF! | Gas | Gas Schweitzer Mtn Rd HP Reinforcement | Performance & Capacity | 0 | 0 | 0 | 100000 | 1500000
#REF! | Gas | Gas Telemetry Program | Performance & Capacity | 200000 | 200000 | 200000 | 200000 | 200000
#REF! | Gas | Gas Warden HP Reinforcement | Performance & Capacity | 0 | 100000 | 5900000 | 0 | 0
#REF! | Generation | Automation Replacement | Customer Service Quality & Reliability | 585000 | 585000 | 585000 | 650000 | 650000
#REF! | Generation | Base Load Hydro | Asset Condition | 756960 | 1034100 | 1034100 | 1149000 | 1149000
#REF! | Generation | Base Load Thermal Program | Failed Plant & Operations | 2042280 | 2790000 | 2790000 | 3100000 | 3100000
#REF! | Generation | Cabinet Gorge 15 kV Bus Replacement | Performance & Capacity | 0 | 0 | 0 | 0 | 1200000
#REF! | Generation | Cabinet Gorge Automation | Asset Condition | 500000 | 0 | 0 | 0 | 0
#REF! | Generation | Cabinet Gorge Control Room Replacement | Asset Condition | 0 | 0 | 0 | 160000 | 1235000
#REF! | Generation | Cabinet Gorge Gantry Crane Runway Modernization | Asset Condition | 500000 | 0 | 0 | 0 | 0
#REF! | Generation | Cabinet Gorge HVAC Replacement | Asset Condition | 0 | 0 | 0 | 550000 | 0
#REF! | Generation | Cabinet Gorge Spillgate Replacement | Asset Condition | 0 | 0 | 0 | 1000000 | 2500000
#REF! | Generation | Cabinet Gorge Station Service | Asset Condition | 2800000 | 750000 | 500000 | 0 | 0
#REF! | Generation | Cabinet Gorge Stop Log Replacement | Asset Condition | 0 | 1000000 | 0 | 0 | 0
#REF! | Generation | Cabinet Gorge Unit 1 Governor Upgrade | Asset Condition | 0 | 0 | 0 | 560000 | 0
#REF! | Generation | Cabinet Gorge Unit 2 Field Pole Refurbishment | Asset Condition | 0 | 0 | 0 | 0 | 1500000
#REF! | Generation | Cabinet Gorge Unit 3 Protection & Control Upgrade | Asset Condition | 1800000 | 750000 | 0 | 0 | 0
#REF! | Generation | Cabinet Gorge Unit 4 Protection & Control Upgrade | Asset Condition | 600000 | 2000000 | 0 | 0 | 0
#REF! | Generation | Cabinet Gorge Warehouse Replacement | Asset Condition | 0 | 0 | 130000 | 2025000 | 0
#REF! | Generation | Colstrip 3&4 Capital Projects | Asset Condition | 12500000 | 9400000 | 3034000 | 4000000 | 8000000
#REF! | Generation | Coyote Springs LTSA | Performance & Capacity | 2160000 | 1080000 | 0 | 0 | 0
#REF! | Generation | CS2 Single Phase Transformer | Failed Plant & Operations | 7000000 | 4000000 | 1600000 | 0 | 0
#REF! | Generation | Generation DC Supplied System Update | Asset Condition | 840000 | 840000 | 900000 | 840000 | 900000
#REF! | Generation | Generation Masonry Building Rehabilitation | Asset Condition | 0 | 1000000 | 1000000 | 1000000 | 1000000
#REF! | Generation | HMI Control Software | Asset Condition | 2230625 | 1961875 | 1195938 | 0 | 0
#REF! | Generation | KF_Fuel Yard Equipment Replacement | Asset Condition | 9000000 | 7000000 | 2400000 | 0 | 0
#REF! | Generation | Little Falls Intake Gate Replacement | Asset Condition | 0 | 300000 | 2200000 | 2000000 | 0
#REF! | Generation | Little Falls Plant Upgrade | Asset Condition | 2100000 | 0 | 0 | 0 | 0
#REF! | Generation | Little Falls Spillway Flashboard Replacement | Asset Condition | 0 | 0 | 0 | 0 | 1000000
#REF! | Generation | Long Lake Plant Upgrade | Asset Condition | 1500000 | 4500000 | 11500000 | 11500000 | 11500000
#REF! | Generation | Long Lake Replace Plant Emergency Generator | Asset Condition | 0 | 75000 | 650000 | 0 | 0
#REF! | Generation | Long Lake Stability Enhancement | Mandatory & Compliance | 880000 | 1455000 | 12260000 | 11300000 | 0
#REF! | Generation | Monroe Street Abandoned Penstock Stabilization | Mandatory & Compliance | 0 | 150000 | 750000 | 0 | 0
#REF! | Generation | Monroe Street Generator Excitation Replacement | Asset Condition | 0 | 93000 | 650000 | 182000 | 0
#REF! | Generation | Nine Mile Powerhouse Crane Rehab | Asset Condition | 0 | 0 | 0 | 750000 | 750000
#REF! | Generation | Nine Mile Unit 3 Mechanical Overhaul | Asset Condition | 0 | 0 | 0 | 0 | 2000000
#REF! | Generation | Nine Mile Units 3 & 4 Control Upgrade | Asset Condition | 0 | 0 | 0 | 0 | 1000000
#REF! | Generation | Noxon Rapids Generator Step-Up Bank C Replacement | Asset Condition | 0 | 0 | 0 | 1005000 | 2406000
#REF! | Generation | Noxon Rapids Spillgate Refurbishment | Asset Condition | 500000 | 6430000 | 5930000 | 5930000 | 4759000
#REF! | Generation | Peaking Generation Business Case | Failed Plant & Operations | 329400 | 450000 | 450000 | 500000 | 500000
#REF! | Generation | Post Falls HED Redevelopment Program | Asset Condition | 0 | 0 | 0 | 0 | 2000000
#REF! | Generation | Post Falls Landing and Crane Pad Development | Asset Condition | 190000 | 3110000 | 0 | 0 | 0
#REF! | Generation | Post Falls North Channel Spillway Rehabilitation | Asset Condition | 500000 | 0 | 1500000 | 9500000 | 10000000
#REF! | Generation | Regulating Hydro | Asset Condition | 2137540 | 3179700 | 3179700 | 3500000 | 3500000
#REF! | Generation | Upper Falls and Monroe Street Permanent Backup Generator | Performance & Capacity | 0 | 0 | 0 | 0 | 100000
#REF! | Generation | Upper Falls Trash Rake Replacement | Asset Condition | 0 | 0 | 0 | 0 | 450000
#REF! | Generation | Upper Falls Unit Upgrade | Performance & Capacity | 0 | 0 | 250000 | 0 | 0
#REF! | Growth | New Revenue - Growth | Customer Requested | 57956711 | 51134379 | 49859819 | 49734401 | 50362596
#REF! | Other | Central 24 HR Operations Facility | Performance & Capacity | 0 | 0 | 0 | 10000000 | 9000000
#REF! | Other | Corporate and Craft Training | Performance & Capacity | 0 | 9000000 | 4000000 | 0 | 0
#REF! | Other | Corporate Campus Exterior Wellness-Safety | Performance & Capacity | 0 | 0 | 0 | 0 | 2000000
#REF! | Other | New Pullman Service Center | Asset Condition | 0 | 0 | 5000000 | 7000000 | 0
#REF! | Other | Sandpoint Service Center | Performance & Capacity | 0 | 0 | 0 | 1500000 | 8500000
#REF! | Other | Service Building Basement Renovation | Asset Condition | 3000000 | 0 | 0 | 0 | 0
#REF! | Other | Structures and Improvements/Furniture | Asset Condition | 2000000 | 2200000 | 2500000 | 2750000 | 2750000
#REF! | Other | Apprentice/Craft Training | Mandatory & Compliance | 48600 | 54000 | 54000 | 60000 | 60000
#REF! | Other | Capital Tools & Stores | Asset Condition | 1782000 | 1980000 | 1980000 | 2000000 | 2000000
#REF! | Other | Energy Imbalance Market | Performance & Capacity | 9157500 | 9180000 | 2262000 | 0 | 0
#REF! | Other | Fleet Services Capital Plan | Asset Condition | 6237000 | 6237000 | 6237000 | 6237000 | 6237000
#REF! | Other | Gas Operator Qualification Compliance | Performance & Capacity | 54000 | 60000 | 60000 | 60000 | 60000
#REF! | Other | Jackson Prairie Joint Project | Performance & Capacity | 2328333 | 2293333 | 2278333 | 2270000 | 2271667
#REF! | Other | Telematics 2025 | Asset Condition | 0 | 1100000 | 675000 | 612500 | 0
#REF! | Other | Tribal Permits & Settlements | Mandatory & Compliance | 250000 | 250000 | 250000 | 250000 | 250000
#REF! | Other | Offset to Budget | Asset Condition | -329588 | -403487 | 4892643 | 1680758 | 16192512
#REF! | Other | WSDOT Franchises | Mandatory & Compliance | 225000 | 225000 | 225000 | 225000 | 225000
#REF! | Other | CIP 14 v1 - High Impact Assets | Mandatory & Compliance | 1000000 | 500000 | 0 | 0 | 0
#REF! | Other | Enterprise Business Continuity | Customer Service Quality & Reliability | 345000 | 405000 | 405000 | 450000 | 450000
#REF! | Other | Enterprise Security | Customer Service Quality & Reliability | 2160000 | 2160000 | 2160000 | 2700000 | 2700000
#REF! | Other | Facilities and Storage Location Security | Customer Service Quality & Reliability | 280000 | 340000 | 340000 | 340000 | 500000
#REF! | Other | Generation, Substation & Gas Location Security | Customer Service Quality & Reliability | 330000 | 330000 | 330000 | 500000 | 500000
#REF! | Other | Telecommunication & Network Distribution location Security | Customer Service Quality & Reliability | 75000 | 112500 | 112500 | 250000 | 250000
#REF! | T&D | Idaho AMI | Customer Service Quality & Reliability | 2500000 | 26700000 | 26700000 | 26600000 | 0
#REF! | T&D | Washington Advanced Metering Infrastructure Project | Customer Service Quality & Reliability | 37292537 | 1357245 | 0 | 0 | 0
#REF! | T&D | Cabinet Gorge 230kV Add Bus Isolating Breakers | Performance & Capacity | 100000 | 1500000 | 0 | 0 | 0
#REF! | T&D | Clearwater Wind Generation Interconnection | Mandatory & Compliance | 346000 | 0 | 0 | 0 | 0
#REF! | T&D | Colstrip Transmission | Mandatory & Compliance | 370000 | 485000 | 590000 | 1075000 | 350000
#REF! | T&D | Ninth & Central 230kV Station & Transmission | Mandatory & Compliance | 0 | 0 | 3200000 | 1500000 | 15000000
#REF! | T&D | Protection System Upgrade for PRC-002 | Mandatory & Compliance | 5600000 | 2600000 | 1200000 | 0 | 0
#REF! | T&D | Rattlesnake Flat Wind Farm Project 115kV Integration Project | Customer Requested | 2225000 | 0 | 0 | 0 | 0
#REF! | T&D | Saddle Mountain 230/115kV Station (New) Integration Project Phase 1 | Mandatory & Compliance | 10000000 | 0 | 0 | 0 | 0
#REF! | T&D | Saddle Mountain 230/115kV Station (New) Integration Project Phase 2 | Mandatory & Compliance | 500000 | 16000000 | 0 | 0 | 0
#REF! | T&D | SCADA - SOO and BuCC | Asset Condition | 2100000 | 920000 | 700000 | 700000 | 700000
#REF! | T&D | Segment Reconductor and FDR Tie | Performance & Capacity | 6000000 | 6000000 | 6000000 | 6000000 | 6000000
#REF! | T&D | Spokane Valley Transmission Reinforcement Project | Mandatory & Compliance | 3900000 | 2900000 | 0 | 0 | 0
#REF! | T&D | Substation - New Distribution Station Capacity Program | Performance & Capacity | 7650000 | 5150000 | 13050000 | 13000000 | 13000000
#REF! | T&D | Substation - Station Rebuilds Program | Asset Condition | 18750000 | 18250000 | 24950000 | 25050000 | 25125000
#REF! | T&D | Transmission - Minor Rebuild | Asset Condition | 1659120 | 2409120 | 2409120 | 2593420 | 2593420
#REF! | T&D | Transmission Construction - Compliance | Mandatory & Compliance | 2850000 | 3500000 | 0 | 1200000 | 0
#REF! | T&D | Transmission Major Rebuild - Asset Condition | Asset Condition | 7550000 | 7500000 | 14000000 | 10000000 | 10000000
#REF! | T&D | Transmission NERC Low-Risk Priority Lines Mitigation | Mandatory & Compliance | 2800000 | 2700000 | 1000000 | 0 | 0
#REF! | T&D | Transmission New Construction - Performance & Capacity | Performance & Capacity | 0 | 0 | 400000 | 11250000 | 12900000
#REF! | T&D | West Plains New 230kV Substation | Mandatory & Compliance | 0 | 0 | 8650000 | 0 | 0
#REF! | T&D | Westside 230/115kV Station "Brownfield Rebuild" Project | Mandatory & Compliance | 3500000 | 4500000 | 2800000 | 0 | 0
#REF! | T&D | Distribution Grid Modernization | Asset Condition | 8000000 | 10000000 | 12000000 | 12200000 | 13000000
#REF! | T&D | Distribution Minor Rebuild | Asset Condition | 8768500 | 10000000 | 10000000 | 10000000 | 10000000
#REF! | T&D | Distribution Transformer Change Out Program | Asset Condition | 541000 | 600000 | 0 | 0 | 0
#REF! | T&D | Downtown Network - Asset Condition | Asset Condition | 1539000 | 1600000 | 2800000 | 2800000 | 2800000
#REF! | T&D | Downtown Network - Performance & Capacity | Performance & Capacity | 1012500 | 1125000 | 1125000 | 1125000 | 1125000
#REF! | T&D | Elec Relocation and Replacement Program | Mandatory & Compliance | 2470000 | 3000000 | 3100000 | 3100000 | 3100000
#REF! | T&D | Electric Storm | Failed Plant & Operations | 3000000 | 2340000 | 2432000 | 2450000 | 2450000
#REF! | T&D | Joint Use | Mandatory & Compliance | 1500000 | 1500000 | 1500000 | 1500000 | 1500000
#REF! | T&D | LED Change-Out Program | Asset Condition | 500000 | 585000 | 500000 | 500000 | 500000
#REF! | T&D | Meter Minor Blanket | Failed Plant & Operations | 200000 | 200000 | 200000 | 200000 | 200000
#REF! | T&D | Primary URD Cable Replacement | Asset Condition | 0 | 750000 | 750000 | 750000 | 750000
#REF! | T&D | Wood Pole Management | Asset Condition | 10500000 | 11000000 | 11500000 | 12730000 | 13111900
405000000
Note on F71: Webster, Jeremiah: 1,080,000, plant work expected to move to O&M in mid-2021
Note on G71: Webster, Jeremiah: 1,036,800 moved from Coyote LTSA to offset, plant work expected to move to O&M in mid-2021
Note on C104: Webster, Jeremiah: FKA Gas Meter Shop conversion
Note on F114: Webster, Jeremiah: 1,080,000, plant work expected to move to O&M in mid-2021
Note on G114: Webster, Jeremiah: 1,036,800 moved from Coyote LTSA to offset, plant work expected to move to O&M in mid-2021
Note on F137: Webster, Jeremiah: 750,000 asset condition work moved from Electric Storm to Transmission - Minor Rebuild
Note on G137: Webster, Jeremiah: 750,000 asset condition work moved from Electric Storm to Transmission - Minor Rebuild
Note on H137: Webster, Jeremiah: 750,000 asset condition work moved from Electric Storm to Transmission - Minor Rebuild
Note on I137: Webster, Jeremiah: 750,000 asset condition work moved from Electric Storm to Transmission - Minor Rebuild
Note on F150: Webster, Jeremiah: 750,000 asset condition work moved from Electric Storm to Transmission - Minor Rebuild
Note on G150: Webster, Jeremiah: 750,000 asset condition work moved from Electric Storm to Transmission - Minor Rebuild
Note on H150: Webster, Jeremiah: 750,000 asset condition work moved from Electric Storm to Transmission - Minor Rebuild
Note on I150: Webster, Jeremiah: 750,000 asset condition work moved from Electric Storm to Transmission - Minor Rebuild