## REDACTED
REDACTED VERSION
Note:
References to 2014 PCORC Compliance Filing pertain to
2016 Power Costs Update Filing in Docket UE-161135.

## Assumptions
Various Assumptions:
| 449 Customer Load |  | Per Chelsey Neil, OASIS 449 customer load is 303 MW at 12.31.15.
| Calculation for BAL-002-WECC-2 MW Reserve Requirement |  | Effective October 1, 2014 (see link below), requires Contingency Reserves (Operating Reserve - Spinning plus Operating Reserve - Supplemental) of 3 percent Load plus 3 percent Generating Assets in Balancing Authority. The greater of either: • The amount of Contingency Reserve equal to the loss of the most severe single contingency; • The amount of Contingency Reserve equal to the sum of three percent of hourly integrated Load plus three percent of hourly integrated generation.
http://www.nerc.com/files/BAL-002-WECC-2.pdf
Sheets in this spreadsheet
| Peak Summary |  | Summary of Peaking Calculation & Costs.
| Peaking & Exch Calc |  | Top section lays out all of PSE's total resource capacities at peak demand temperature (23 degrees) and compares peak demand forecast. The peak demand forecast is "Normal Peak" (from Load Forecasting F2015 forecast) plus 12.1% reserve margin. Amount of Demand above PSE resource capacites is the System Short. We'll purchase power at a premium of $0.05 for a typically modest cost. Section below compares PSE's Mid-C capacities against our Mid-C transmission rights. If transmission rights are less than PSE's Mid-C resource capacities there's a Mid-C Transmission Short. This amount plus the above System Short, is transmission that needs to be purchased. The section at the end pulls in the cost from both calcs.
| Reserve Req |  | Summary of calculation to determine WECC BAL-002 Contingency Reserves.
| Mid-C |  | PSE Mid Columbia projects available capacity forecast per Hydro group, B. Mueller.
| 3Rd Party Loads & Gen |  | Per Chesley Neil, Tx group.
| 4.10.14 Peak ST Contracts |  | ST On-Peak Hedges at cut off date, September 30, 2016, with delivery locations.
| Dec Peak Need - 15IRP |  | 2015 IRP's calculation of BPA Loss Return MWs which will be returned to BPA at the MidC hub.
| Bakers |  | Upper and Lower Baker peak megawatt contribution per hydro group, B. Mueller.
| F2015 Peak |  | Per Load Forecasting Group's F2016 Load Forecast files.
| CT Calc |  | Per CT Calculation current file 10.1.16
| RMC45_Peaking_Deals |  | Winter 2017/2018 peaking transactions
Peak Load
Planning margin. PSE incorporates a 12.1% planning margin.
Capacity Assumptions
| Snoqualmie |  | Since the Snoqualmie Falls project is a run of the river project, assume capacity is equal to average monthly generation.
| Bakers |  | Bakers reflect current modeled capacities available under a peaking scenario
| Frederickson 1&2 |  | Peaking capacity assumed at 23 degrees F per CT Calculation.
Fredonia 1 & 2
Fredonia 3 & 4
Whitehorn 2&3
| Hopkins Ridge |  | Consistent with the 2015 IRP, assume 12% of wind capacity available.
Lower Snake River
Wild Horse
Klondike PPA
| Peak ST Hedges |  | Short term contracts at 9.30.16. All fixed deals as trade floor will convert fin to phy when it's near term. On Peak Spot is per AURORA model output.
BPA Short Term Transmission Rate effective October 2019
Days | 0.07 | $/kW/day | PTP: Short Term (firm & nonfirm) for Days 1-5
1 - 5 | 0.015 | $/kW/day | AS 1: Scheduling, System Control and Dispatch:Short Term (firm & nonfirm PTP Service) for Days 1-5
| 0.085 | $/kW/day | Days 1-5
Days | 0.05 | $/kW/day | PTP: Short Term (firm & nonfirm) for Days 6 through month end
6 thru | 0.01 | $/kW/day | AS 1: Scheduling, System Control and Dispatch:Short Term (firm & nonfirm PTP Service) for Day 6 and beyond
mo end | 0.06 | $/kW/day | Days 6-month end
| 0.342 | $/MWh | Operating Reserves - Spinning = $11.40/MWh = 9.95*3%

## Peaking & Exch Calc (R)
| 2019 GRC Proposed |  |  |  | 2017 GRC Settlement |  |  |  | Difference
| Rate Year Winter Months |  |  |  | Rate Year Winter Months |  |  |  | Winter Months
| 2021-01-01 | 2021-02-01 | 2020-11-01 | 2020-12-01 | 2018-01-01 | 2018-02-01 | 2018-11-01 | 2018-12-01 | Jan | Feb | Nov | Dec
Calculation for BAL-002-WECC-2 MW Reserve Requirement
PSE Load - Gross of DSR | 5100 | 4925 | 4886 | 5182 | 4706 | 4571 | 4809 | 5232 | 394 | 354 | 77 | -50
Demand Side Resources (Conservation) | -328 | -331 | -222 | -246 | -152 | -148 | -228 | -242 | -176 | -183 | 6 | -4
Demand Response - included in DSR, so need to add back |  |  |  | 12 |  |  |  | 12 | 0 | 0 | 0 | 0
Pt. Roberts - PSE does not carry CR | -8 | -8 | -8 | -8 | -8 | -8 | -8 | -8 | 0 | 0 | 0 | 0
Third Party Load in PSE BA (includes 449) | 617 | 617 | 617 | 617 | 434.2 | 426.37 | 420.92 | 444.91 | 182.8 | 190.63 | 196.08 | 172.09
Subtotal PSE Load subject to Contingency Reserve | 5381 | 5203 | 5273 | 5557 | 4980.2 | 4841.37 | 4993.92 | 5438.91 | 400.8 | 361.63 | 279.08 | 118.09
PSE Generators in PSE BA or Pseudo-Tied (3% reserve requ) | 3103.2092 | 3089.0065 | 3180.6136 | 3120.381 | 3509.7086 | 3494.6794 | 3535.542 | 3482.6631 | -406.4994 | -405.6729 | -354.9283 | -362.2821
Third Party Generation | 241 | 241 | 241 | 241 | 229.4 | 229.4 | 229.4 | 229.4 | 11.6 | 11.6 | 11.6 | 11.6
Subtotal PSE Reserve Requirement | 3344.2092 | 3330.0065 | 3421.6136 | 3361.381 | 3739.1086 | 3724.0794 | 3764.942 | 3712.0631 | -394.8994 | -394.0729 | -343.3283 | -350.6821
Total PSE Load and Generation Requiring PSE to Provide Reserves | 8725.2092 | 8533.0065 | 8694.6136 | 8918.381 | 8719.3086 | 8565.4494 | 8758.862 | 9150.9731 | 5.9006 | -32.4429 | -64.2483 | -232.5921
Spinning Reserve Requirement (1.5% reserve requ.) | 130.8781 | 127.9951 | 130.4192 | 133.7757 | 130.7896 | 128.4817 | 131.3829 | 137.2646 | 0.088509 | -0.48664 | -0.96372 | -3.4889
Supplemental Reserve Requirement (1.5% reserve requ.) | 130.8781 | 127.9951 | 130.4192 | 133.7757 | 130.7896 | 128.4817 | 131.3829 | 137.2646 | 0.088509 | -0.48664 | -0.96372 | -3.4889
Total Bal-002-WECC-1 Reserve Requirement | 261.7563 | 255.9902 | 260.8384 | 267.5514 | 261.5793 | 256.9635 | 262.7659 | 274.5292 | 0.17702 | -0.97329 | -1.9274 | -6.9778
Load and Generation:
Load Requirement
Spinning Reserve Requirement (1.5% reserve requ.) | 80.715 | 78.045 | 79.095 | 83.355 | 74.703 | 72.6205 | 74.9088 | 81.5837 | 6.012 | 5.4245 | 4.1862 | 1.7714
Supplemental Reserve Requirement (1.5% reserve requ.) | 80.715 | 78.045 | 79.095 | 83.355 | 74.703 | 72.6205 | 74.9088 | 81.5837 | 6.012 | 5.4245 | 4.1862 | 1.7714
Bal-002 WECC-1 Reserve Requirement for Load | 161.43 | 156.09 | 158.19 | 166.71 | 149.406 | 145.2411 | 149.8176 | 163.1673 | 12.024 | 10.8489 | 8.3724 | 3.5427
Generation Requirement
Spinning Reserve Requirement (1.5% reserve requ.) | 50.1631 | 49.9501 | 51.3242 | 50.4207 | 56.0866 | 55.8612 | 56.4741 | 55.6809 | -5.9235 | -5.9111 | -5.1499 | -5.2602
Supplemental Reserve Requirement (1.5% reserve requ.) | 50.1631 | 49.9501 | 51.3242 | 50.4207 | 56.0866 | 55.8612 | 56.4741 | 55.6809 | -5.9235 | -5.9111 | -5.1499 | -5.2602
Bal-002 WECC-1 Reserve Requirement for Generation | 100.3263 | 99.9002 | 102.6484 | 100.8414 | 112.1733 | 111.7224 | 112.9483 | 111.3619 | -11.847 | -11.8222 | -10.2998 | -10.5205
Onpeak hours | 400 | 384 | 384 | 416 | 432 | 384 | 416 | 416 | -32 | 0 | -32 | 0
Normal Peak | 5100 | 4925 | 4886 | 5182 | 4706 | 4571 | 4809 | 5232 | 394 | 354 | 77 | -50
BPA loss Return at MidC | -71.307 | -71.307 | -71.307 | -71.307 | -71.0454 | -71.0454 | -71.0454 | -71.0454 | -0.2616 | -0.2616 | -0.2616 | -0.2616
Normal Peak w/o DSM less BPA Loss Return at MidC | 5028.693 | 4853.693 | 4814.693 | 5110.693 | 4634.9546 | 4499.9546 | 4737.9546 | 5160.9546 | 393.7384 | 353.7384 | 76.7384 | -50.2616
Planning Margin: 12.1% | 608.4719 | 587.2969 | 582.5779 | 618.3939 | 560.8295 | 544.4945 | 573.2925 | 624.4755 | 47.6423 | 42.8023 | 9.2853 | -6.0817
Add Back BPA Loss Return at MidC | 71.307 | 71.307 | 71.307 | 71.307 | 71.0454 | 71.0454 | 71.0454 | 71.0454 | 0.2616 | 0.2616 | 0.2616 | 0.2616
Less Additional Demand Side Resources | -328 | -331 | -222 | -246 | -152 | -148 | -228 | -242 | -176 | -183 | 6 | -4
Plus 449 Customers | 309 | 309 | 309 | 309 | 303 | 303 | 303 | 303 | 6 | 6 | 6 | 6
Normal Peak + 12.1% Plan Margin (MW) | 5689.4719 | 5490.2969 | 5555.5779 | 5863.3939 | 5417.8295 | 5270.4945 | 5457.2925 | 5917.4755 | 271.6423 | 219.8023 | 98.2853 | -54.0817
System Short - PSE Availability VS Peak Demand (MW)
Westside Hydro | [8 empty] | 0 | 0 | 0 | 0
Uppwer Baker - Assume 1 hour peak | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Lower Baker - Assume 1 hour peak | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Snoqualmie | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Sub-total Westside Hydro | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Mid-Columbia Projects | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wells Colville | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Rocky Reach | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Rock Island | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Wanapum | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Priest Rapids | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Sub-total Mid-Columbia | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
PSE Resources Thermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Colstrip 1&2 | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Colstrip 3&4 | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Encogen | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Whitehorn 2&3 | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Fred1 | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Frederickson 1&2 | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Fredonia 1 & 2 | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Fredonia 3 & 4 | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Ferndale | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Sumas | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Goldendale | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Mint Farm | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Sub-total Thermal | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Wind (12% of capacity) | [8 empty] | 0 | 0 | 0 | 0
Hopkins Ridge (BPA BA) | 18.792 | 18.792 | 18.792 | 18.792 | 18.792 | 18.792 | 18.792 | 18.792 | 0 | 0 | 0 | 0
Wild Horse and WR | 32.712 | 32.712 | 32.712 | 32.712 | 32.712 | 32.712 | 32.712 | 32.712 | 0 | 0 | 0 | 0
Klondike (BPA BA) | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 0 | 0 | 0 | 0
LSR (BPA BA) | 41.124 | 41.124 | 41.124 | 41.124 | 41.124 | 41.124 | 41.124 | 41.124 | 0 | 0 | 0 | 0
Sub-total Wind | 98.628 | 98.628 | 98.628 | 98.628 | 98.628 | 98.628 | 98.628 | 98.628 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Contracts | [8 empty] | 0 | 0 | 0 | 0
XXXXXXXXXXXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Canadian EA | -24.5066 | -23.564 | -29.5167 | -25.7892 | -12.9111 | -12.9111 | -14.4838 | -11.3269 | -11.5954 | -10.6529 | -15.0328 | -14.4622
PG&E Exchange | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 0 | 0 | 0 | 0
QF Koma Kulshan Hydro | 3.3798 | 2.2837 | 5.8621 | 3.6902 | 3.183 | 2.122 | 5.5172 | 3.7135 | 0.19681 | 0.16171 | 0.3449 | -0.023346
QF Twin Falls | 10.5545 | 9.181 | 9.8176 | 10.1889 | 10.179 | 9.2394 | 9.396 | 9.8658 | 0.3755 | -0.058434 | 0.42163 | 0.32306
QF Weeks Falls | 1.7373 | 1.5016 | 1.8343 | 1.8161 | 1.661 | 1.51 | 1.7516 | 1.7516 | 0.076254 | -0.0084164 | 0.082664 | 0.064495
Sch. 91 - Total | 21.0508 | 21.1037 | 21.6875 | 19.7667 | 13.9303 | 12.8329 | 14.2199 | 12.8634 | 7.1206 | 8.2708 | 7.4676 | 6.9033
WNP-3 BPA Exch Power | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bal-002-WECC-1 Supplemental Reserve Requirement | -130.8781 | -127.9951 | -130.4192 | -133.7757 | -130.7896 | -128.4817 | -131.3829 | -137.2646 | -0.088509 | 0.48664 | 0.96372 | 3.4889
Bal-002-WECC-1 Supplemental Reserve Requirement | -130.8781 | -127.9951 | -130.4192 | -133.7757 | -130.7896 | -128.4817 | -131.3829 | -137.2646 | -0.088509 | 0.48664 | 0.96372 | 3.4889
Regulation Balancing | -123 | -123 | -123 | -123 | -123 | -123 | -123 | -123 | 0 | 0 | 0 | 0
XXXXXXXXXXXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Centralia PPA | 395.2 | 380 | 395.8333 | 394.6154 | 380 | 380 | 380 | 380 | 15.2 | 0 | 15.8333 | 14.6154
Skookumchuck PPA | 70.7776 | 73.7267 | 73.7267 | 68.0554
Lund Hill PPA | 20.3405 | 21.188 | 21.188 | 19.5582 | 0 | 0 | 0 | 0 | 20.3405 | 21.188 | 21.188 | 19.5582
449 Customer | 309 | 309 | 309 | 309 | 303 | 303 | 303 | 303 | 6 | 6 | 6 | 6
Microsoft | 67 | 67 | 67 | 67
Peaking ST Contracts | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
On Peak Net Purch. less BC/West. | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
AURORA On-Peak Purchases | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Sub-total Contracts | 2019.7305 | 1964.3585 | 1724.2179 | 1770.7454 | 1348.0911 | 1064.1905 | 831.0912 | 1329.9366 | 671.6394 | 900.168 | 893.1267 | 440.8088
Total PSE Existing Resources MW (Capacity Avail.) | 5188.8558 | 5119.281 | 4970.7476 | 4957.0424 | 4923.7158 | 4624.7859 | 4432.5492 | 4878.5157 | 265.14 | 494.495 | 538.1984 | 78.5267
Normal Peak + 12.1% Plan Margin (MW) | 5689.4719 | 5490.2969 | 5555.5779 | 5863.3939 | 5417.8295 | 5270.4945 | 5457.2925 | 5917.4755 | 271.6423 | 219.8023 | 98.2853 | -54.0817
1. System (Short) / Long -TIE TO PWR SUPPLY | -500.6161 | -371.0159 | -584.8303 | -906.3514 | -494.1138 | -645.7086 | -1024.7434 | -1038.9598 | -6.5023 | 274.6927 | 439.9131 | 132.6084
XXXXXXXXXXXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
[9 empty] | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0
Available Mid C Transmission Analysis | [8 empty] | 0 | 0 | 0 | 0
Capacity Requirement | [8 empty] | 0 | 0 | 0 | 0
PSE Mid-C Contract Capacity | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Spinning Reserve Requirement | -130.8781 | -127.9951 | -130.4192 | -133.7757 | -130.7896 | -128.4817 | -131.3829 | -137.2646 | -0.088509 | 0.48664 | 0.96372 | 3.4889
Regulation | -123 | -123 | -123 | -123 | -123 | -123 | -123 | -123 | 0 | 0 | 0 | 0
Canadian Entitlement Return | -24.5066 | -23.564 | -29.5167 | -25.7892 | -12.9111 | -12.9111 | -14.4838 | -11.3269 | -11.5954 | -10.6529 | -15.0328 | -14.4622
Short Term Purchase - PSE | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Short Term Purchase - AURORA | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Short Term Purchase - AURORA - at Westside | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Wild Horse Generation | 32.712 | 32.712 | 32.712 | 32.712 | 32.712 | 32.712 | 32.712 | 32.712 | 0 | 0 | 0 | 0
Schedule 449 Customers | 309 | 309 | 309 | 309 | 300 | 300 | 300 | 300 | 9 | 9 | 9 | 9
Microsoft | 67 | 67 | 67 | 67 | 0 | 0 | 0 | 0 | 67 | 67 | 67 | 67
Total PSE Mid-C Capacity Need | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Transmission Limits
Available Mid-C Transmission | [8 empty] | 0 | 0 | 0 | 0
BPA Mid-C IR (Douglas Wells) | 266 | 266 | 266 | 266 | 266 | 266 | 0 | 0 | 0 | 0 | 266 | 266
Rock Island to Beverly Park (non BPA) | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 0 | 0 | 0 | 0
Rocky Reach to White River (non BPA) | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 0 | 0 | 0 | 0
BPA Mid-C PTP for winter peaking | 1825 | 1825 | 1825 | 1825 | 1709 | 1709 | 1975 | 1975 | 116 | 116 | -150 | -150
Total Mid-C Transmission Rights | 2541 | 2541 | 2541 | 2541 | 2425 | 2425 | 2425 | 2425 | 116 | 116 | 116 | 116
2. Transm. Limit (Short)/Long - TIE TO PWR SUPPLY | 711.4478 | 754.2859 | 905.1851 | 903.5576 | 1096.3454 | 1377.665 | 1481.2776 | 1025.7581 | -384.8976 | -623.379 | -576.0925 | -122.2005
(Short) / Long at MidC | -500.6161 | -371.0159 | -584.8303 | -906.3514 | -494.1138 | -645.7086 | -1024.7434 | -1038.9598 | -6.5023 | 274.6927 | 439.9131 | 132.6084
Total (Short) / Long Transmission | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
[9 empty] | 0 | 0 | 0 | 0
Transmission to purchase | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
BPA Charge kw/day | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
plus Op Reserves per MWh of 0.34 |  |  | Winter $$= | XXXX |  |  | Winter $$= | XXXX |  |  |  | XXXX
Cost Summary (in 000's)
Estimated premium for Peak MidC Index | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Left to FERC Price cap of $1000/MWh assumed for Max1-hour peak | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Est cost for Deficit MW w/ onpeak Calls | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
$3.0 Est. cost for Westside delivered power | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Transmission ST Purchases | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
TOTAL Capacity & Exchange Cost (in $000's) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
|  |  | Total Winter Peaking Costs $ (1,000s) = | XXXX |  |  | Total Winter Peaking Costs $ (1,000s) = | XXXX |  |  |  | XXXX
Note on B7: Paul Nichols: DR from Appendix N: Electrical Analysis of the 2015 IRP; only applies to December.
Note on F131: Paul Nichols: Cheaper to purchase on Westside - This value is not included in costs.
-----Original Message-----
From: Philipps, Christine A
Sent: Thursday, February 27, 2003 4:50 PM
To: Monardi, Marino G; Ryan, Julia M; Mills, David E; Aladin, Salman; Elsea, Jim; Chandler, Kacee
Subject: Winter Peaking Product Prices
Nov 03-Feb 04, 100 MW physical or financial calls, Mid-C delivery, $65 and $75 strike
Quotes gathered 2/27
Constellation Physical Calls
$10.00/MWh $65.00 strike may only be interested in 50MW
$8.00/MWh $75.00 strike may only be interested in 50MW
J. Aron Financial
$13.26/MWh $65.00 strike 100 MW
$11.75/MWh $75.00 strike 100 MW
Morgan Stanley Financial
$13.00/MWh $65.00 strike 100MW
$11.00/MWh $75.00 strike 100 MW
Awaiting Coral, BP, TransAlta, Deutsche Bank
GRC 04 Approach:(impact on 05-06 winter peaking)
1. Use net of market pur&sales(aMW) from Aurora 1.19.04 run as indictive number of peak firm purchases for KW3000 does not include 2006 position.
2. Use Christine's option quotes updated in Feb to estimate the remaining cap calculations.
-----Original Message-----
From: Spellman, John
Sent: Friday, April 30, 2004 2:47 PM
To: Zhang, Yuxiao -Michelle
Cc: Chandler, Kacee R; Aladin, Salman; Jacobs, Josh
Subject: RE: Winter option pricing
Michelle:
Morgan Stanley gave a quote of $6.00. For Nov-Feb.
Avista thought somewhere close to $10.50 for Nov-Feb
Spellman(5.6.04) - Dec 04- Feb 05moragn's quote is $6.50/mwhr
Spellman(5.6.04) - Avista quote is $9.50 physical
$65. strike
Shaded information is designated as confidential per WAC 480-07-160
-----Original Message-----
From: Philipps, Christine A
Sent: Thursday, February 27, 2003 4:50 PM
To: Monardi, Marino G; Ryan, Julia M; Mills, David E; Aladin, Salman; Elsea, Jim; Chandler, Kacee
Subject: Winter Peaking Product Prices
Nov 03-Feb 04, 100 MW physical or financial calls, Mid-C delivery, $65 and $75 strike
Quotes gathered 2/27
Constellation Physical Calls
$10.00/MWh $65.00 strike may only be interested in 50MW
$8.00/MWh $75.00 strike may only be interested in 50MW
J. Aron Financial
$13.26/MWh $65.00 strike 100 MW
$11.75/MWh $75.00 strike 100 MW
Morgan Stanley Financial
$13.00/MWh $65.00 strike 100MW
$11.00/MWh $75.00 strike 100 MW
Awaiting Coral, BP, TransAlta, Deutsche Bank
GRC 04 Approach:(impact on 05-06 winter peaking)
1. Use net of market pur&sales(aMW) from Aurora 1.19.04 run as indictive number of peak firm purchases for KW3000 does not include 2006 position.
2. Use Christine's option quotes updated in Feb to estimate the remaining cap calculations.
-----Original Message-----
From: Spellman, John
Sent: Friday, April 30, 2004 2:47 PM
To: Zhang, Yuxiao -Michelle
Cc: Chandler, Kacee R; Aladin, Salman; Jacobs, Josh
Subject: RE: Winter option pricing
Michelle:
Morgan Stanley gave a quote of $6.00. For Nov-Feb.
Avista thought somewhere close to $10.50 for Nov-Feb
Spellman(5.6.04) - Dec 04- Feb 05moragn's quote is $6.50/mwhr
Spellman(5.6.04) - Avista quote is $9.50 physical
$65. strike
Redacted Version

## F2018 Peak
F2018 Final Electric Load Forecast
Peaks (MW)
|  |  | Net of Conservation | Gross of Conservation
Year | Month | Date | Normal Peak (23 Degrees) | Normal Peak (23 Degrees)
2021 | 1 | 2021-01-01 | 4772 | 5100
2021 | 2 | 2021-02-01 | 4594 | 4925
2021 | 3 | 2021-03-01 | 3946 | 4256
2021 | 4 | 2021-04-01 | 3497 | 3793
2020 | 5 | 2020-05-01 | 3270 | 3474
2020 | 6 | 2020-06-01 | 2838 | 3062
2020 | 7 | 2020-07-01 | 3470 | 3691
2020 | 8 | 2020-08-01 | 3496 | 3722
2020 | 9 | 2020-09-01 | 3054 | 3283
2020 | 10 | 2020-10-01 | 3587 | 3795
2020 | 11 | 2020-11-01 | 4664 | 4886
2020 | 12 | 2020-12-01 | 4936 | 5182

## Bakers (R)
Baker Project peaking capacity by month
based on FERC license Article 106 Aquatics Table 1 constraints
summary of 200 scenarios with starting reservoir elevations varied according to historical actual elevations
Updated 10/6/2016
Upper Baker | [12 empty] | Lower Baker | [12 empty] | Baker River Project Total
January | Hour 1 | Hour 2 | Hour 3 | Hour 4 | Hour 5 | Hour 6 | Hour 7 | Hour 8 | Hour 9 | Hour 10 | Hour 11 | Hour 12 | January | Hour 1 | Hour 2 | Hour 3 | Hour 4 | Hour 5 | Hour 6 | Hour 7 | Hour 8 | Hour 9 | Hour 10 | Hour 11 | Hour 12 | January | Hour 1 | Hour 2 | Hour 3 | Hour 4 | Hour 5 | Hour 6 | Hour 7 | Hour 8 | Hour 9 | Hour 10 | Hour 11 | Hour 12
Max (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Max (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Max (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Average (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Average (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Average (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Min (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Min (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Min (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
February | Hour 1 | Hour 2 | Hour 3 | Hour 4 | Hour 5 | Hour 6 | Hour 7 | Hour 8 | Hour 9 | Hour 10 | Hour 11 | Hour 12 | February | Hour 1 | Hour 2 | Hour 3 | Hour 4 | Hour 5 | Hour 6 | Hour 7 | Hour 8 | Hour 9 | Hour 10 | Hour 11 | Hour 12 | February | Hour 1 | Hour 2 | Hour 3 | Hour 4 | Hour 5 | Hour 6 | Hour 7 | Hour 8 | Hour 9 | Hour 10 | Hour 11 | Hour 12
Max (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Max (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Max (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Average (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Average (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Average (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Min (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Min (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Min (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
November | Hour 1 | Hour 2 | Hour 3 | Hour 4 | Hour 5 | Hour 6 | Hour 7 | Hour 8 | Hour 9 | Hour 10 | Hour 11 | Hour 12 | November | Hour 1 | Hour 2 | Hour 3 | Hour 4 | Hour 5 | Hour 6 | Hour 7 | Hour 8 | Hour 9 | Hour 10 | Hour 11 | Hour 12 | November | Hour 1 | Hour 2 | Hour 3 | Hour 4 | Hour 5 | Hour 6 | Hour 7 | Hour 8 | Hour 9 | Hour 10 | Hour 11 | Hour 12
Max (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Max (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Max (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Average (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Average (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Average (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Min (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Min (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Min (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
December | Hour 1 | Hour 2 | Hour 3 | Hour 4 | Hour 5 | Hour 6 | Hour 7 | Hour 8 | Hour 9 | Hour 10 | Hour 11 | Hour 12 | December | Hour 1 | Hour 2 | Hour 3 | Hour 4 | Hour 5 | Hour 6 | Hour 7 | Hour 8 | Hour 9 | Hour 10 | Hour 11 | Hour 12 | December | Hour 1 | Hour 2 | Hour 3 | Hour 4 | Hour 5 | Hour 6 | Hour 7 | Hour 8 | Hour 9 | Hour 10 | Hour 11 | Hour 12
Max (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Max (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Max (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Average (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Average (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Average (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Min (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Min (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Min (MW) | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX
Redacted Version
Redacted Version

## Mid-C (R)
PSE Mid Columbia projects available capacity forecast
Updated October 12, 2016
2020 / 2021
| January | February | November | December
Wells full capacity | 775 | 775 | 775 | 775
Planned outages | XXXX | XXXX | XXXX | XXXX
Net encroachments | XXXX | XXXX | XXXX | XXXX
Head and transformer losses | XXXX | XXXX | XXXX | XXXX
Canadian Entitlement obligation | XXXX | XXXX | XXXX | XXXX
Available capacity | XXXX | XXXX | XXXX | XXXX
PSE share | 7.939% | 7.939% | 21.47% | 11.54% | <-- For November and December, ties to Wells PPA assumptions
PSE Wells capacity | XXXX | XXXX | XXXX | XXXX
Rocky Reach full capacity | 1279.65 | 1279.65 | 1279.65 | 1279.65
Planned outages | XXXX | XXXX | XXXX | XXXX
Net encroachments | XXXX | XXXX | XXXX | XXXX
Head and transformer losses | XXXX | XXXX | XXXX | XXXX
Canadian Entitlement obligation | XXXX | XXXX | XXXX | XXXX
Available capacity | XXXX | XXXX | XXXX | XXXX
PSE share | 25% | 25% | 25% | 25%
PSE Rocky Reach capacity | XXXX | XXXX | XXXX | XXXX
Rock Island full capacity | 622.725 | 622.725 | 622.725 | 622.725
Planned outages | XXXX | XXXX | XXXX | XXXX
Net encroachments | XXXX | XXXX | XXXX | XXXX
Head and transformer losses | XXXX | XXXX | XXXX | XXXX
Canadian Entitlement obligation | XXXX | XXXX | XXXX | XXXX
Available capacity | XXXX | XXXX | XXXX | XXXX
PSE share | 25% | 25% | 25% | 25%
PSE Rock Island capacity | XXXX | XXXX | XXXX | XXXX
Wanapum full capacity | 1038 | 1038 | 1038 | 1038
Planned outages | XXXX | XXXX | XXXX | XXXX
Net encroachments | XXXX | XXXX | XXXX | XXXX
Head and transformer losses | XXXX | XXXX | XXXX | XXXX
Canadian Entitlement obligation | XXXX | XXXX | XXXX | XXXX
Available capacity | XXXX | XXXX | XXXX | XXXX
PSE share | 0.64% | 0.64% | 0.64% | 0.64%
PSE Wanapum capacity | XXXX | XXXX | XXXX | XXXX
Priest Rapids full capacity | 955.6 | 955.6 | 955.6 | 955.6
Planned outages | XXXX | XXXX | XXXX | XXXX
Net encroachments | XXXX | XXXX | XXXX | XXXX
Head and transformer losses | XXXX | XXXX | XXXX | XXXX
Canadian Entitlement obligation | XXXX | XXXX | XXXX | XXXX
Available capacity | XXXX | XXXX | XXXX | XXXX
PSE share | 0.64% | 0.64% | 0.64% | 0.64%
PSE Priest Rapids capacity | XXXX | XXXX | XXXX | XXXX
TOTAL PSE MID C CAPACITY | XXXX | XXXX | XXXX | XXXX
PSE Canadian Entitlement Obligation for Peak Planning | 3.8938 | 3.8938 | 9.264 | 5.2662
Redacted Version

## Snoqualmie(R)
Updated on October 6, 2016; provided by Brennan Mueller
| 2021 | 2021 | 2020 | 2020
| Jan | Feb | Nov | Dec
Snoqualmie total (aMW) | XXXX | XXXX | XXXX | XXXX
Redacted Version

## CT_CALC (R)
CT Calc | Version 4.20
Thermal plant dispatch tool
Issue Date: | 2016-10-01 |  |  | Regional Temperature | 23 | deg F
Goldendale
|  | SIMPLE CYCLE UNITS | [8 empty] | COMBINED CYCLE UNITS | [9 empty] | COAL |  |  | Mint Farm
|  | Fredonia |  |  |  |  | Frederickson |  | Whitehorn |  | Encogen |  |  | Goldendale | Mint Farm | Sumas | Freddy1 | Ferndale |  |  | Colstrip 1-2 | Colstrip 3-4
| Temperature | 23 |  |  |  |  | 23 |  | 23 |  |  | 23 |  | 23 | 23 | 23 | 23 | 23 | 23 | Temperature | XXXX | XXXX | ISO Temp
| # Hrs Shutdown | [12 empty] | XXXX | XXXX | XXXX |  | XXXX | XXXX | # Hrs Shutdown |  |  |  | Single Peak
| # Hrs Baseload | XXXX |  |  |  |  | XXXX |  | XXXX |  | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX |  | XXXX | XXXX | # Hrs Baseload |  |  |  | Dbl Peak
|  | 1 | 2 | 3 | 4 |  | 1 | 2 | 2 | 3 | 1 unit | 2 units | 3 units | 1 | 1 | 1 | 1 | 1 unit | 2 units |  | 2 units | 2 units
| Fuel Type | gas | gas | gas | gas |  | gas | gas | gas | gas | gas | gas | gas | gas | gas | gas | gas | gas | gas | Fuel Type | Coal | Coal | Fuel Type
| Delivered gas price | [18 empty] | Delivered gas price | XXXX | XXXX | Delivered Coal Price
| CT HR | XXXX | XXXX | XXXX | XXXX |  | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | CT HR | XXXX | XXXX | Heat Rate
| VOM | XXXX | XXXX | XXXX | XXXX |  | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | VOM | XXXX | XXXX | VOM
| Total MW Output | XXXX | XXXX | XXXX | XXXX |  | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | Total MW Output | XXXX | XXXX | Total MW Output
| Delivered HR | [18 empty] | Delivered HR | XXXX | XXXX | Delivered HR
| Duct Firing HR | XXXX | XXXX | XXXX | XXXX |  | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX |  | XXXX |  | XXXX | Duct Firing HR
| MW Output | XXXX | XXXX | XXXX | XXXX |  | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX |  | XXXX |  | XXXX | MW Output
[14 empty] | XXXX | XXXX | XXXX | XXXX |  | XXXX
| Turn Down Output | [9 empty] | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX |  | XXXX | XXXX | Turn Down Output | XXXX | XXXX | Minimum Output
[11 empty] | XXXX | XXXX | XXXX | XXXX | XXXX | XXXX |  |  |  | Cycling Delivered Heat Rate
Redacted Version

## Peak_ST_Hedges (R)
Powersimm_379715_01.31.19 (Reporter)
All Books,All Delivery Dates,All Traders,All Counterparties,All Demand Profile,All Buys/Sales,Both Phy-Fin,Both Fixed-Float,Power,Statistic Description,All Delivery Regions,Forward Regions,Curve Date,Forward Curve,Initiated By,FAS Tracking,Contract $
Both Fixed-Float
|  |  | All Buys/Sales | [8 empty] | Not applicable | [8 empty] | Purchase | [8 empty] | Sale
|  |  | Both Phy-Fin |  |  | Financial |  |  | Physical |  |  | Both Phy-Fin |  |  | Financial |  |  | Physical |  |  | Both Phy-Fin |  |  | Financial |  |  | Physical |  |  | Both Phy-Fin |  |  | Financial |  |  | Physical
|  |  | PSEE.GFG.Hedges | PSEE.Open.Hedges | RMC6 | PSEE.GFG.Hedges | PSEE.Open.Hedges | RMC6 | PSEE.GFG.Hedges | PSEE.Open.Hedges | RMC6 | PSEE.GFG.Hedges | PSEE.Open.Hedges | RMC6 | PSEE.GFG.Hedges | PSEE.Open.Hedges | RMC6 | PSEE.GFG.Hedges | PSEE.Open.Hedges | RMC6 | PSEE.GFG.Hedges | PSEE.Open.Hedges | RMC6 | PSEE.GFG.Hedges | PSEE.Open.Hedges | RMC6 | PSEE.GFG.Hedges | PSEE.Open.Hedges | RMC6 | PSEE.GFG.Hedges | PSEE.Open.Hedges | RMC6 | PSEE.GFG.Hedges | PSEE.Open.Hedges | RMC6 | PSEE.GFG.Hedges | PSEE.Open.Hedges | RMC6
2018/Jan | MidC | Contract $ | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | MWh | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | Contract $ / MWh | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | MW | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
2018/Feb | MidC | Contract $ | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | MWh | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | Contract $ / MWh | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | MW | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
2018/Nov | MidC | Contract $ | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | MWh | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | Contract $ / MWh | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | MW | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
2018/Dec | MidC | Contract $ | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | MWh | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | Contract $ / MWh | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | MW | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  |  | Purchase.Financial.PSEE.GFG.Hedges | Purchase.Financial.PSEE.Open.Hedges | Purchase.Financial.RMC6 | Purchase.Physical.PSEE.GFG.Hedges | Purchase.Physical.PSEE.Open.Hedges | Purchase.Physical.RMC6 | Sale.Financial.PSEE.GFG.Hedges | Sale.Financial.PSEE.Open.Hedges | Sale.Financial.RMC6 | Sale.Physical.PSEE.GFG.Hedges | Sale.Physical.PSEE.Open.Hedges | Sale.Physical.RMC6
|  | 2021/Jan.Contract $ | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | 2021/Jan.MWh | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | 2021/Jan.Contract $ / MWh | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | 2021/Jan.MW | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | 2021/Feb.Contract $ | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | 2021/Feb.MWh | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | 2021/Feb.Contract $ / MWh | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | 2021/Feb.MW | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | 2020/Nov.Contract $ | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | 2020/Nov.MWh | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | 2020/Nov.Contract $ / MWh | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | 2020/Nov.MW | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | 2020/Dec.Contract $ | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | 2020/Dec.MWh | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | 2020/Dec.Contract $ / MWh | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
|  | 2020/Dec.MW | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX | XXXXX
Redacted Version
Redacted Version
Redacted Version
Redacted Version

## Dec Peak Need - 17IRP (R)
| Resources Using BPA Transmission - Peak Planning | 2018-12-01
3 | BPA from Mid-C | XXXX
4 | Colstrip | XXXX
5 | Fredrickson CC + Duct Firing | XXXX
6 | Goldendale + Duct Firing | XXXX
7 | Mint Farm + Duct Firing | XXXX
8 | Hopkins Ridge | XXXX
9 | Lower Snake River Phase 1 | XXXX
10 | PG&E Exchange In | XXXX
11 | PG&E Exchange Out | XXXX
12 | WNP-3 BPA Exch Power | XXXX
13 | Transalta - Centralia coal transition | XXXX
14 | Total | XXXX
15
16 | BPA Loss Return | XXXX
Redacted Version