## Future Cost Est tab
FUTURE COST ESTIMATE
The following page represents the most current future cost estimates
for PSE's Environmental Remediation Sites

## UST update
PUGET SOUND ENERGY UST REMEDIAL COST ESTIMATES
(Updated Dec 2017)
PSE Facility/Location | Site Status | Proposed Remedial Action | Estimated Cost of Proposed Remedial Action ($)
Whidbey Service Center Oak Harbor, WA | USTs and majority of contaminated soil removed in 1999. Small volume of contaminated soil remains beneath building | VCP Program and GW Monitoring (New Wells) Soil excavation when building(s) is removed | 30000
Tenino Service Center Tenino, WA | USTs and majority of contaminated soil removed in 1991. Remaining small volume of contaminated soil removed Q4 2009. | Groundwater monitoring completed in 2012. Well abandonment to be completed in the future. Remedial excavation completed in Q4 2009. | 0
Poulsbo Service Center Poulsbo, WA | 6,000 gal. Gas & Diesel USTs | Natural Attenuation Soil excavation when building is removed. | 20000
Olympia Service Center (Post-EPRI Diesel Remediation) Olympia, WA | Diesel UST removed. Contaminated soil and ground water remains after EPRI air sparging program. Gas Spill Nov 99 | Natural Attenuation and GW Monitoring (Existing Wells) Soil excavation when building(s) is removed | 258000
North Operating Base Seattle, WA | USTs removed in 1999. Diesel- contaminated soil remains beneath fuel island. | Site Characterization and GW Monitoring (New Wells) Soil excavation when fuel island is removed | 100000
Whitehorn Combustion Turbine | Leaking false start USTs discovered. Contaminated soil and groundwater is present. | Site Characterization and Groundwater Monitoring Three false start tanks removed and one decommissioned in-place in 2012. Accessible contaminated soil was removed. Contaminated soil remains adjacent to buildings at two locations. Soil excavation to be completed if buildings are removed in the future. | 96000
PSE Facility/Location | Site Status | Proposed Remedial Action | Estimated Cost of Proposed Remedial Action ($)
Green Mtn. Micro Wave Bremerton, WA | One UST | None | 0
Rattlesnake Mtn. Micro Wave Issaquah, WA | One UST | None | 0
Baker River Lower Concrete, WA | 2,500 gal. Gas and Diesel USTs | None | 0
Baker River Upper Concrete, WA | 1,000 gal. Gas and Diesel USTs | None | 0
Bellingham Service Center Bellingham, WA | 10,000 gal. Gas and Diesel USTs removed Feb. 2016. No known USTs remain at site. | None | 0
Factoria Service Center Bellevue, WA | 10,000 gal. Gas and Diesel USTs | None | 0
Kittitas Service Center Thorp, WA | 5,000 gal. Gas and Diesel USTs | None | 0
Cost Estimate Totals: |  |  | 504000
Notes
1 Unless noted, remedial costs do not include demolition of facilities and buildings to access contaminated soil.
2 Unless noted, groundwater monitoring estimate assumes three years of monitoring/sampling.
3 All estimated costs should be considered conceptual. They are not based on a detailed scope of service or design.