## Sheet1
PACIFICORP
TRANSFORMER COST STUDY
REGRESSION INPUT SCREEN |  |  |  | January to
TOTAL STATES |  |  |  | December 2019
[5 empty] | AVERAGE | Assumptions to determine Cost
|  | Phase | Mount | Installed | Installed | Type | CU | Description | RCMS WO | Version | Travel Time (RT) | Crew Type | Added Labor Variables | Crew Size
LINE NO. | KVA | 3 Ph.=1 | Pad=1 | Quantity | Cost | [7 empty] | (HS, HW, etc)
1 | 10 | 0 | 0 | 849 | 2790 | 1ph, OH | EL202DAEJC | 10kva: OH, 1ph, 7.2 v No tap, 4/0 pri & neut, normal grnd | 6761363 | 1 | 60 min | LINE | None | 3 man
2 | 25 | 0 | 0 | 2537 | 2984 | 1ph, OH | EL202DCEJC | 25kva: OH, 1ph, 7.2 v No tap, 4/0 pri & neut, normal grnd | 6761363 | 2 | 60 min | LINE | None | 3 man
3 | 25 | 0 | 1 | 1060 | 4017 | 1ph, UG | GH111DABYB | 25kva: UG, 1ph, 7.2kv No tap, 4 position, cust supplied padvault, Looped | 6761363 | 3 | 60 min | LINE | None | 3 man
4 | 30 | 1 | 0 |  | 6388 | 3ph, OH | EL232SGEJC | 10kva (3)-480v: 12.5kv Down tap, 4/0 pri & neut, grnd assmbly-normal | 6761363 | 4 | 60 min | LINE | None | 3 man
5 | 45 | 1 | 0 |  | NA | 3ph, OH | NA | 15kva(3)-480v: 12.5kv Down tap, 4/0 pri & neut, grnd assmbly-normal
6 | 50 | 0 | 0 | 1508 | 3467 | 1ph, OH | EL202DEEJC | 50kva: OH, 1ph, 7.2 v No tap, 4/0 pri & neut, normal grnd | 6761363 | 5 | 60 min | LINE | None | 3 man
7 | 50 | 0 | 1 | 1786 | 4298 | 1ph, UG | GH111DBBYB | 50kva: UG, 1ph, 7.2kv No tap, 4 position, cust supplied padvault, Looped | 6761363 | 6 | 60 min | LINE | None | 3 man
8 | 75 | 0 | 0 | 342 | 4150 | 1ph, OH | EL202DFEJC | 75kva: OH, 1ph, 7.2 v No tap, 4/0 pri & neut, normal grnd | 6761363 | 7 | 60 min | LINE | None | 3 man
9 | 75 | 1 | 0 |  | 7093 | 3ph, OH | EL232SIEJC | 25kva (3)-480v: 12.5kv Down tap, 4/0 pri & neut, grnd assmbly-normal | 6761363 | 8 | 60 min | LINE | None | 3 man
10 | 75 | 0 | 1 | 2028 | 4774 | 1ph, UG | GH111DCBYB | 75 kva: UG, 1ph, 7.2kv No tap, 4 position, cust supplied padvault, Looped | 6761363 | 9 | 60 min | LINE | None | 3 man
11 | 75 | 1 | 1 | 211 | 10800 | 3ph, UG | GH401CAAAA | 75kva-208v: 12.5kv, Looped 1/0, grnd asmbly- PV | 6761363 | 0 | 60 min | LINE | None | 3 man
12 | 100 | 0 | 0 | 118 | 5045 | 1ph, OH | EL202DGEJC | 100kva: OH, 1ph, 7.2 v No tap, 4/0 pri & neut, normal grnd | 6761363 | Z | 60 min | LINE | None | 3 man
13 | 100 | 0 | 1 | 379 | 5310 | 1ph, UG | GH111DDBYB | 100kva: UG, 1ph, 7.2kv No tap, 4 position, cust supplied padvault, Looped | 6761363 | Y | 60 min | LINE | None | 3 man
14 | 150 | 1 | 0 |  | 8875 | 3ph, OH | EL232SKEJC | 50kva (3)-480v: 12.5kv Down tap, 4/0 pri & neut, grnd assmbly-normal | 6761363 | X | 60 min | LINE | None | 3 man
15 | 150 | 1 | 1 | 227 | 12167 | 3ph, UG | GH401CEAAA | 150kva-208v: 12.5kv, Looped 1/0, grnd asmbly- PV | 6761363 | W | 60 min | LINE | None | 3 man
16 | 167 | 0 | 1 | 29 | 6501 | 1ph, UG | GH111DEBYB | 167kva: UG, 1ph, 7.2kv No tap, 4 position, cust supplied padvault, Looped | 6761363 | V | 60 min | LINE | None | 3 man
17 | 225 | 1 | 1 | 86 | 15577 | 3ph, UG | GH401CHAAA | 225kva-208v: 12.5kv, Looped 1/0, grnd asmbly- PV | 6761363 | U | 60 min | LINE | None | 3 man
18 | 225 | 1 | 0 |  | 10278 | 3ph, OH | EL232SLEJC | 75kva (3)-480v: 12.5kv Down tap, 4/0 pri & neut, grnd assmbly-normal | 6761363 | T | 60 min | LINE | None | 3 man
19 | 300 | 1 | 1 | 158 | 14242 | 3ph, UG | GH401CIAAA | 300kva-208v: 12.5kv, Looped 1/0, grnd asmbly- PV | 6761363 | S | 60 min | LINE | None | 3 man
20 | 300 | 1 | 0 |  | 12100 | 3ph, OH | EL232SMEJC | 100kva (3)-480v: 12.5kv Down tap, 4/0 pri & neut, grnd assmbly-normal | 6761363 | R | 60 min | LINE | None | 3 man
21 | 500 | 1 | 1 | 175 | 17527 | 3ph, UG | GH401CKAAA | 500kva-208v: 12.5kv, Looped 1/0, grnd asmbly- PV | 6761363 | Q | 60 min | LINE | None | 3 man
22 | 500 | 1 | 0 | 3 | 20358 | 3ph, OH | EL232SNEJC | 167kva(3)-480v: 12.5kv Down tap, 4/0 pri & neut, grnd assmbly-normal | 6761363 | P | 60 min | LINE | None | 3 man
23 | 750 | 1 | 1 | 65 | 20301 | 3ph, UG | GH401CMBAA | 750kva-480v: 12.5kv, Looped 1/0, grnd asmbly- PV | 6761363 | O | 60 min | LINE | None | 3 man
24 | 1000 | 1 | 1 | 32 | 22842 | 3ph, UG | GH401COBAA | 1000kva-480v: 12.5kv, Looped 1/0, grnd asmbly- PV | 6761363 | N | 60 min | LINE | None | 3 man
25 | 1500 | 1 | 1 | 40 | 27957 | 3ph, UG | GH401CQBAA | 1500kva-480v: 12.5kv, Looped 1/0, grnd asmbly- PV | 6761363 | M | 60 min | LINE | None | 3 man
26 | 2500 | 1 | 1 | 20 | 46007 | 3ph, UG | GH401CUBAA | 2500kva-480v: 12.5kv, Looped 1/0, grnd asmbly- PV | 6761363 | L | 60 min | LINE | None | 3 man
Assumption: The number of 3ph bank is 1/3 of the total 1ph polemount transformers.
|  | 0 | 0 | single phase pole
|  | 0 | 1 | single phase pad
|  | 1 | 0 | three phase pole
|  | 1 | 1 | threee phase pad
Note on N10: Ford, Charles: LINE = Avg Pcorp Jrnman Lnmn Activity Rate PLINE = PP Jrnman Lnmn Activity Rate RLINE = RMP Jrnman Lnmn Activity Rate
Note on P8: Ford, Charles: minimal impact. Affects travel hours calculation only.