## LF Calc
Avista Utilities
Electric Cost Study
Twelve Months Ended December 31, 2018
2018 System Load Factor
[5 empty] | Exclude | Retail
| Average MW | Peak MW |  | Total Monthly | Sales for | Monthly
| Energy | Demand | hours | Energy | Resale w losses | Energy
2018-01-01 | 1145.7957 | 1499 | 744 | 1383994 | 531522 | 852472
2018-02-01 | 1167.4449 | 1555 | 672 | 1163482 | 378959 | 784523
2018-03-01 | 1068.1709 | 1329 | 743 | 1290125 | 496474 | 793651
2018-04-01 | 977.8722 | 1239 | 720 | 1282430 | 578362 | 704068
2018-05-01 | 923.6358 | 1245 | 744 | 976609 | 289424 | 687185
2018-06-01 | 936.3264 | 1298 | 720 | 1009910 | 335755 | 674155
2018-07-01 | 1070.957 | 1610 | 744 | 1062566 | 265774 | 796792
2018-08-01 | 1083.4435 | 1716 | 744 | 1034193 | 228111 | 806082
2018-09-01 | 918.6944 | 1251 | 720 | 803969 | 142509 | 661460
2018-10-01 | 946.879 | 1207 | 744 | 813994 | 109516 | 704478
2018-11-01 | 1063.8835 | 1332 | 721 | 1017857 | 250797 | 767060
2018-12-01 | 1156.1492 | 1469 | 744 | 1030469 | 170294 | 860175
Annual Total | 1037.9111 | 1716 | 8760 | 12869598 | 3777497 | 9092101
| 60.48% | 39.52%
Source: FERC FORM 1 page 401b

## 928 Reg Fees
AVISTA UTILITIES
Commission Fee Analysis
Washington Electric Cost Study
Twelve Months Ended December 31, 2018 |  |  | Adjustment
Column Ref
Account 928 Pro Forma Total |  | 4131
Revenue Based Fees |  | 1085 | E-RE | 2.04
| Weather Normalization | 5 | E-WN | 2.1
| Eliminate Adder Schedules | -60 | E-EAS | 2.11
| Eliminate Deferred Power Costs | 5 | E-EWPC | 2.15
| Revenue Normalization | 8 | E-PREV | 3.01
Adjusted Revenue Based Fees |  | 1043
FERC Fees (Production Related) |  | 1738 | E-RE | 2.04
Miscellaneous Regulatory Expense |  | 1350
AVISTA UTILITIES
Property Insurance Functionalization
Washington Electric Cost Study
Twelve Months Ended September 30, 2015
Tangible Plant in Service per Cost of Service Model
| Production | 958839
| Transmission | 454215
| Distribution | 1001348
| General | 240775
| Total = S06 Allocator | 2655177
now auto-linked in model

## 902 and 903
AVISTA UTILITIES | [5 empty] | Transaction Analysis Selection: Accounting Period : 201801 to 201812 , Gl Ferc Account : 902000
Direct Assignment to Handbilled Customers
Washington Electric Cost Study | [5 empty] | Accounting Period:<All> | Ferc Acct:902000 | Task Number:902010 | Project Number:09800711 | Service:CD | Jurisdiction:AN
Twelve Months Ended December 31, 2018
[10 empty] | Transaction Amount | Electric Amt SUM | Gas North Amt SUM | Gas South Amt SUM
[6 empty] | ORGANIZATION_DESC | Employee Job Title | Project Description | Expenditure Category
|  | Meter Reading |  | Billing (Customer Records & Collections) |  | D09 - Scada | Analyst Metering Automation | Meter Reading Expense - 098 | Labor | 50026.22 | 30456.95 | 19569.27
|  | Account 902 |  | Account 903 |  |  | Engr Principal | Meter Reading Expense - 098 | Labor | 141.26 | 86 | 55.26
ROO Account Total |  | 2833917 |  | 6837992 |  | Z08 - Electric Meter Shop | Analyst Business I | Meter Reading Expense - 098 | Labor | 26046.63 | 15857.8 | 10188.83
Handbilling Costs |  | 86120.8628 | 0.030389 | 2971.4759 | 0.00043455 |  | Analyst Business System | Meter Reading Expense - 098 | Labor | 3229.23 | 1966.02 | 1263.21
|  | 2747796.1372 | 0.96961 | 6835020.5241 | 0.99957 |  | Engineer | Meter Reading Expense - 098 | Labor | 50359.29 | 30659.77 | 19699.52
[7 empty] | Engr Sr | Meter Reading Expense - 098 | Labor | 896.92 | 546.06 | 350.86
[7 empty] | (blank) | Meter Reading Expense - 098 | Employee Expenses | 290.96 | 177.15 | 113.81
[9 empty] | Voucher | -2400 | -1461.17 | -938.83
Account 903 Handbill Calc | [5 empty] | Z87 - Benefits Loaders | (blank) | Meter Reading Expense - 098 | Overhead | 95056.33 | 57872.18 | 37184.15
| Approximately 2 days per month at approximately $48 per hour (loaded labor) |  |  |  |  | Z89 - Payroll Accrual | (blank) | Meter Reading Expense - 098 | Labor | -1009.09 | -614.36 | -394.73
| 8640 |  |  |  |  | Z90 - Incentive Compensation | (blank) | Meter Reading Expense - 098 | Overhead | 16808.6 | 10233.38 | 6575.22
| Electric | WA | ID |  |  | Grand Total |  |  |  | 239446.35 | 145779.78 | 93666.57
| 52.4% | 65.64% | 34.36%
| 4526.9286 | 2971.4759 | 1555.4527
| Gas | WA | ID | OR |  |  | Per Melanie Hayes approximately 90% of Project No. 09800711 Task 9020110 is to provide data for handbilled accounts.
| 33.67% | 66.3% | 33.7% | 0.1394
| 2908.6578 | 1928.4692 | 980.1886 | 1204.4136 | [6 empty] | WA Allocation | ID Allocation
[10 empty] | Note 2 | 65.64% | 34.36%
[9 empty] | 90% of Electric Amount | 131201.802 | 86120.8628 | 45080.9392
Transaction Analysis Selection: Accounting Period : 201801 to 201812 , Gl Ferc Account : 903000
[6 empty] | Accounting Period:<All> | Ferc Acct:903000 | Task Number:903300 | Project Number:09900710 | Service:CD | Jurisdiction:AA
[10 empty] | Transaction Amount | Electric Amt SUM | Gas North Amt SUM | Gas South Amt SUM | Transaction Qty SUM
[6 empty] | ORGANIZATION_DESC | Task Name | Expenditure Category | Employee Job Title
[6 empty] | D50 - Meter Reading OSM | Billing Expense | Labor | Mtrdr 3 | 61.28 | 32.11 | 20.63 | 8.54 | 1
[6 empty] | E53 - Con. Ctr-Lewiston Billing | Billing Expense | Labor | CSR Billing Spec - 11 | 458133.51 | 240039.05 | 154230.77 | 63863.69 | 17504.25
[9 empty] | CSR Billing Spec - 8 | 39343.87 | 20614.22 | 13245.11 | 5484.54 | 1795
[9 empty] | CSR Flex II - 11 | 33080.84 | 17332.68 | 11136.69 | 4611.47 | 1217
[9 empty] | CSR Flex II - 8 | 21835.68 | 11440.8 | 7351.02 | 3043.86 | 930.5
[9 empty] | Team Leader - 4 | 53764.61 | 28169.96 | 18099.86 | 7494.79 | 1784
[6 empty] | F50 - Contact Ctr-Spokane Credit | Billing Expense | Contractor | (blank) | 6528 | 3420.36 | 2197.68 | 909.96
[8 empty] | Labor | CSR Universal - 11 | 31432.91 | 16469.27 | 10581.89 | 4381.75 | 1192.5
[6 empty] | N50 - Director of Customer Service | Billing Expense | Material | (blank) | 100 | 52.4 | 33.67 | 13.93 | 500
[6 empty] | S51 - Supply Chain Loadings | Billing Expense | Overhead | (blank) | 9 | 4.72 | 3.02 | 1.26
[6 empty] | Z09 - Postage Centralization | Billing Expense | Voucher | (blank) | 21346 | 11184.23 | 7186.13 | 2975.64
[6 empty] | Z87 - Benefits Loaders | Billing Expense | Overhead | (blank) | 466886.88 | 244625.49 | 157177.49 | 65083.9
[6 empty] | Z89 - Payroll Accrual | Billing Expense | Labor | (blank) | 3253.73 | 1704.79 | 1095.37 | 453.57 | 104.7
[6 empty] | Z90 - Incentive Compensation | Billing Expense | Overhead | (blank) | 86499.93 | 45321.64 | 29120.22 | 12058.07
[6 empty] | Grand Total |  |  |  | 1222276.24 | 640411.72 | 411479.55 | 170384.97 | 25028.95
[11 empty] | 0.52395 | 0.33665 | 0.1394
[9 empty] | Labor | 637652.7
[9 empty] | Average Benefits Loading Rate | 0.7322
[9 empty] | Handbill Specialist Loaded Labor | 861728.4242 |  |  |  | 19299.25
[9 empty] | Average Loaded Labor $/Hour | 44.6509
Note on P21: Joe Miller: Need to re-evaluate during years where a load study takes place
Note on C22: Joe Miller: Note 2

## Primary-Secondary
AVISTA UTILITIES | [10 empty] | Primary Circuit Miles |  | 2018-12-01
Primary Secondary Distribution Plant Analysis
Washington Electric Cost Study | [11 empty] | Values
Twelve Months Ended December 31, 2018 | [10 empty] | State | Sum of OH_CIRCUIT_MILES | Sum of UG_CIRCUIT_MILES
[11 empty] | WA | 5030.26 | 2643.96
Distribution Line Miles |  | Distribution Conductor Length Line Miles |  |  |  |  | Distribution Circuit Length Line Miles |  |  |  | ID | 2480.69 | 1582.12
|  | Primary | Secondary | Services | Total |  | Primary | Secondary | Services | Total | MT | 36.27 | 31.87
[11 empty] | Grand Total | 7547.22 | 4257.95
| Washington | 14624.18 | 71.2598 | 3589.0646 | 18284.5045 |  | 5030.26 | 48.5307 | 3159.3293 | 8238.12
| Idaho | 7332.01 | 43.4966 | 1634.8941 | 9010.4008 |  | 2480.69 | 31.2049 | 1425.6948 | 3937.5897
| Montana | 116.03 | 0.012907 | 0.48342 | 116.5263 |  | 36.27 | 0.012907 | 0.44439 | 36.7273
| Total Electric Overhead Line Miles | 22072.22 | 114.7694 | 5224.4421 | 27411.4315 |  | 7547.22 | 79.7485 | 4585.4685 | 12212.437
| Washington | 3415.79 | 827.6459 | 781.9502 | 5025.3861 |  | 2643.96 | 769.2364 | 671.1868 | 4084.3832 | Primary Conductor Miles |  | 2018-12-31
| Idaho | 2051.07 | 604.1658 | 478.7974 | 3134.0332 |  | 1582.12 | 561.5531 | 401.8082 | 2545.4813
| Montana | 49.06 | 0.35019 | 0.075463 | 49.4857 |  | 31.87 | 0.3243 | 0.043658 | 32.238 |  | Values
| Total Electric Underground Line Miles | 5515.92 | 1432.1619 | 1260.8231 | 8208.905 |  | 4257.95 | 1331.1138 | 1073.0387 | 6662.1025 | State | Sum of OH_CONDUCTOR_MILES | Sum of UG_CONDUCTOR_MILES
[11 empty] | WA | 14624.18 | 3415.79
[7 empty] | Direct Assignment |  |  |  | ID | 7332.01 | 2051.07
|  |  |  | Primary | Secondary |  | Adj Prim | Sch 25 | St. Lights | Adj Sec | MT | 116.03 | 49.06
Account 364 | Poles, Towers, & Fixtures |  |  | 98.95% | 1.046% | [5 empty] | Grand Total | 22072.22 | 5515.92
Circuit Miles | Washington Only |  |  | 99.04% | 0.9556% |  | 94.21% | 4.33% | 0.51% | 0.9507%
| Idaho Only |  |  | 99.41% | 0.5897%
Account 365 | Overhead Conductors & Devices |  |  | 99.48% | 0.5173% | [5 empty] | Secondary Circuit Miles |  | 2019-01-14
Conductor Miles | Washington Only |  |  | 99.52% | 0.4849% |  | 95.09% | 4.43% |  | 0.48% | Circuit Miles
| Idaho Only |  |  | 99.41% | 0.5897% | [5 empty] | Sum of Conductor Miles | Column Labels
Account 366 | Underground Conduit |  |  | 76.18% | 23.82% | [5 empty] | Row Labels | District | Service | Grand Total
Circuit Miles | Washington Only |  |  | 77.46% | 22.54% |  | 73.05% | 4.41% |  | 22.54% | OH Service | 79.7485 | 4585.4685 | 4665.217
| Idaho Only |  |  | 73.8% | 26.2% | [5 empty] | ID | 31.2049 | 1425.6948 | 1456.8997
Account 367 | Underground Conductors & Devices |  |  | 79.39% | 20.61% | [5 empty] | MT | 0.012907 | 0.44439 | 0.45729
Conductor Miles | Washington Only |  |  | 80.5% | 19.5% |  | 75.67% | 4.83% |  | 19.5% | WA | 48.5307 | 3159.3293 | 3207.86
| Idaho Only |  |  | 77.25% | 22.75% | [5 empty] | UG Service | 1331.1138 | 1073.0387 | 2404.1525
Account 369 | Services |  |  |  |  | 100% |  |  |  |  | ID | 561.5531 | 401.8082 | 963.3613
[11 empty] | MT | 0.3243 | 0.043658 | 0.36796
[11 empty] | WA | 769.2364 | 671.1868 | 1440.4232
[11 empty] | Grand Total | 1410.8623 | 5658.5072 | 7069.3695
[11 empty] | Secondary Conductor Miles |  | 2019-01-14
Wire Miles
[11 empty] | Sum of Conductor Miles | Column Labels
[11 empty] | Row Labels | District | Service | Grand Total
[11 empty] | OH Service | 114.7694 | 5224.4421 | 5339.2115
[11 empty] | ID | 43.4966 | 1634.8941 | 1678.3908
[11 empty] | MT | 0.012907 | 0.48342 | 0.49633
[11 empty] | WA | 71.2598 | 3589.0646 | 3660.3245
[11 empty] | UG Service | 1432.1619 | 1260.8231 | 2692.985
[11 empty] | ID | 604.1658 | 478.7974 | 1082.9632
[11 empty] | MT | 0.35019 | 0.075463 | 0.42566
[11 empty] | WA | 827.6459 | 781.9502 | 1609.5961
[11 empty] | Grand Total | 1546.9313 | 6485.2652 | 8032.1965
Note on H20: Joe Miller: input into assign

## DA Sch 25
AVISTA UTILITIES
Distribution Account 364, 365, 366, 367 Schedule 25 Direct Assignment
Washington Electric Cost Study
Twelve Months Ended December 31, 2018
Load Ratio Share
WASHINGTON | Prim Circuit | Prim Conductor | Prim UG Circuit | Prim UG Conductor | SCHEDULE 25 | ACCOUNT 364 | ACCOUNT365 | ACCOUNT 366 | ACCOUNT 367
SUBSTATION | Line Miles | Line Miles | Line Miles | Line Miles | PERCENTAGE | DIRECT ASSIGN | DIRECT ASSIGN | DIRECT ASSIGN | DIRECT ASSIGN
HALLET & WHITE SUBSTA | 0.14 | 0.46 | 1.33 | 3.27 | 41.68% | 0.06 | 0.19 | 0.55 | 1.36
KETTLE FALLS SUBSTATION | 90.03 | 252.37 | 68.57 | 68.19 | 23.34% | 21.02 | 58.91 | 16.01 | 15.92
GREENWOOD SUBSTA | 75.57 | 204.27 | 51.33 | 52.84 | 14.13% | 10.68 | 28.87 | 7.25 | 7.47
FORT WRIGHT 115 KV SUBSTA | 51.82 | 154.47 | 12.4 | 19.76 | 6.17% | 3.2 | 9.53 | 0.77 | 1.22
College & Walnut | 51.88 | 163.88 | 9.91 | 18.7 | 5.821% | 3.02 | 9.54 | 0.58 | 1.09
Ross Park | 68.88 | 200.35 | 6.89 | 14 | 8.832% | 6.08 | 17.69 | 0.61 | 1.24
SPOKANE INDUSTRIAL PARK SUBSTA | 33.05 | 110.99 | 15.02 | 24.08 | 7.435% | 2.46 | 8.25 | 1.12 | 1.79
EAST FARMS SUBSTA | 51.34 | 143.89 | 29.92 | 40.94 | 18.92% | 9.72 | 27.23 | 5.66 | 7.75
INLAND EMPIRE PAPER SUBSTA | 0 | 0 | 0 | 0 | 100% | 0 | 0 | 0 | 0
Othello | 11.88 | 37.71 | 3.96 | 7.2 | 25% | 2.97 | 9.43 | 0.99 | 1.8
Othello | 11.88 | 37.71 | 3.96 | 7.2 | 25% | 2.97 | 9.43 | 0.99 | 1.8
THIRD & HATCH SUBSTA | 69.66 | 220.11 | 16.46 | 31.34 | 8.445% | 5.88 | 18.59 | 1.39 | 2.65
College & Walnut | 51.88 | 163.88 | 9.91 | 18.7 | 4.27% | 2.22 | 7 | 0.42 | 0.8
SPOKANE INDUSTRIAL PARK SUBSTA | 33.05 | 110.99 | 15.02 | 24.08 | 20% | 6.61 | 22.2 | 3 | 4.82
AIRWAY HEIGHTS SUBSTA | 77.2 | 248.84 | 47.38 | 81.76 | 9.797% | 7.56 | 24.38 | 4.64 | 8.01
Colville | 311.6 | 894.53 | 172.4 | 192.04 | 20% | 62.32 | 178.91 | 34.48 | 38.41
TURNER 115 KV SUBSTATION (PULLMAN) | 66.61 | 206.8 | 60.19 | 94.15 | 16.67% | 11.1 | 34.47 | 10.03 | 15.69
SOUTH PULLMAN SUBSTA | 35.55 | 113.74 | 30.23 | 52.44 | 20% | 7.11 | 22.75 | 6.05 | 10.49
WSU EAST CAMPUS SUBSTA | 0 | 0 | 0 | 0 | 50% | 0 | 0 | 0 | 0
TERRE VIEW 115/13 KV SUB | 4.04 | 12.67 | 21.85 | 41.72 | 50% | 2.02 | 6.34 | 10.93 | 20.86
SOUTH PULLMAN SUBSTA | 35.55 | 113.74 | 30.23 | 52.44 | 20% | 7.11 | 22.75 | 6.05 | 10.49
WSU EAST CAMPUS SUBSTA | 0 | 0 | 0 | 0 | 50% | 0 | 0 | 0 | 0
PULLMAN WSU SUBSTA | 0 | 0 | 0 | 0 | 50% | 0 | 0 | 0 | 0
TURNER 115 KV SUBSTATION (PULLMAN) | 66.61 | 206.8 | 60.19 | 94.15 | 16.67% | 11.1 | 34.47 | 10.03 | 15.69
SOUTH PULLMAN SUBSTA | 35.55 | 113.74 | 30.23 | 52.44 | 20% | 7.11 | 22.75 | 6.05 | 10.49
PULLMAN WSU SUBSTA | 0 | 0 | 0 | 0 | 50% | 0 | 0 | 0 | 0
HALLET & WHITE SUBSTA | 0.14 | 0.46 | 1.33 | 3.27 | 8.317% | 0.01 | 0.04 | 0.11 | 0.27
ARDEN SUBSTA | 56.62 | 153.85 | 45.41 | 49.64 | 50% | 28.31 | 76.93 | 22.71 | 24.82
Load Ratio Share of Line Miles | 1290.53 | 3866.25 | 744.12 | 1044.35 |  | 220.64 | 650.65 | 150.42 | 204.93
Total Washington Primary Line Miles | [5 empty] | 5030.26 | 14624.18 | 2643.96 | 3415.79
Proportionate Share of Primary Plant | [5 empty] | 4.39% | 4.45% | 5.69% | 6%

## area lights
AVISTA UTILITIES
Street and Area Light Distribution Plant Analysis
Washington Electric Cost Study
Twelve Months Ended December 31, 2018
|  | St & Area Light |  | Estimated |  | Total
|  | Wood Poles | Avg Unit Cost | Investment | % of Acct | Acct 364
Account 364 for Wood Poles |  | 3051 | 962.204 | 2935684.404 | 0.51% | 570816000
45 Year Average Life
Unit Costs | 962.204 |  |  | Adjust Primary/Secondary for
| 30 Foot Pole | Year |  | Direct Assignment of Dedicated Poles
1 | 2161.98 | 2018 |  |  | 1-Direct Assignment ratio
2 | 2099.48 | 2017 |  | Account 364 Primary |  | Adjusted
3 | 2079.03 | 2016 |  | 99.04% | 99.49% | 98.54%
4 | 2025.96 | 2015
5 | 2075.19 | 2014 |  | Account 364 Secondary |  | Adjusted
6 | 1864.58 | 2013 |  | 0.9556% | 99.49% | 0.9507%
7 | 1746.98 | 2012
8 | 1583.33 | 2011
9 | 1854.56 | 2010 | Area Lights with dedicated wood poles
10 | 1675.7 | 2009 | Assembly Code | Sch 47 Area lts | Sch 48 Area lts | Total Area Lts
11 | 1551.8 | 2008
12 | 1441.16 | 2007 | HPD | 672 | 198 | 870
13 | 1335.96 | 2006 | HPE | 318 | 266 | 584
14 | 1369.17 | 2005 | HPG | 49 | 5 | 54
15 | 1488.4 | 2004 | MVD | 37 | 101 | 138
16 | 1363.64 | 2003 | MVE | 55 | 56 | 111
17 | 1299.84 | 2002 | MVF | 143 | 17 | 160
18 | 1253.89 | 2001 | PA | 53 | 2 | 55
19 | 1162.53 | 2000 | PB | 0 | 0 | 0
20 | 1001.25 | 1999 | HPEL | 292 | 297 | 589
21 | 946.3 | 1998 | HPDL | 357 | 59 | 416
22 | 942.18 | 1997 | HANL | 5 | 0 | 5
23 | 893.49 | 1996 | HPGL | 69 | 0 | 69
24 | 839.53 | 1995 | Total Wood Poles | 2050 | 1001 | 3051
25 | 467.04 | 1994
26 | 449.64 | 1993
27 | 446.13 | 1992
28 | 422.3 | 1991
29 | 442.51 | 1990
30 | 399.79 | 1989
31 | 482.97 | 1988
32 | 410.12 | 1987
33 | 368.91 | 1986
34 | 407.18 | 1985
35 | 393.04 | 1984
36 | 381.07 | 1983
37 | 354.9 | 1982
38 | 338.9 | 1981
39 | 278.75 | 1980
40 | 243.02 | 1979
41 | 220.59 | 1978
42 | 206.02 | 1977
43 | 193.79 | 1976
44 | 180.59 | 1975
45 | 155.99 | 1974
Note on G8: Pro Forma total WA account 364.
Note on B11: gzhkw6: No longer installing 30 foot poles. Use retirement cost for 35 foot pole beginning in 2010
Note on B12: tlk: per Jason Boni
Note on B13: tlk: per Jason Boni
Note on B14: tlk: per Jason Boni
Note on B16: tlk: per Jason Boni 2014 value is $2075.19

## Substations
| AVISTA UTILITIES | [9 empty] | Substation Ending Balances Plant Accounts 361 and 362 Accounting Period : 201812 , Gl Jurisdiction : WA
Distribution Substation Direct Assignment
| Washington Electric Cost Study | [9 empty] | Accounting Period:201812 | Gl Jurisdiction:WA
Twelve Months Ended December 31, 2018
[13 empty] | Plant Acct | 361000 | 362000 | Total
| WASHINGTON | 2018-12-31 | 2018-12-31 | SCHEDULE 25 | ACCOUNT 361 | ACCOUNT 362 | [7 empty] | Ending Balance SUM | Ending Balance SUM
| SUBSTATION | ACCOUNT 361 | ACCOUNT 362 | PERCENTAGE | DIRECT ASSIGN | DIRECT ASSIGN |  |  |  | Facility Id | Facility Id Desc | Plant Ledger Location
[10 empty] | SUN | SUNSET SUBSTA | 028 |  | 88950.67 | 2275415.72 | 2364366.39
| AIRWAY HEIGHTS SUBSTA | 333517.93 | 1093179.37 | 9.797% | 32675 | 107100 |  |  |  | 00 | UNSPECIFIED - Washington | 028 |  | 0 | 0 | 0
| ARDEN SUBSTA | 9899.61 | 223041.91 | [6 empty] | 3HT | THIRD & HATCH SUBSTA | 028 |  | 733217.5 | 2396528.53 | 3129746.03
[10 empty] | 4HE | FOURTH & HERALD | 028 |  | 0 |  | 0
| COLLEGE & WALNT SUBSTA 115kV | 1699509.35 | 1471375.79 | [6 empty] | 9CE | NINTH & CENTRAL SW STA | 028 |  | 812999.9 | 1843369.67 | 2656369.57
| COLLEGE & WALNT ELEC REG STA 13kV | 50747.39 | 437640.59 | [6 empty] | ADD | ADDY 115 SUBSTA | 028 |  | 30745.17 | 453278.28 | 484023.45
| College & Walnut | 1750256.74 | 1909016.38 | 10.09% | 176619 | 192640 |  |  |  | AIR | AIRWAY HEIGHTS SUBSTA | 028 |  | 333517.93 | 1093179.37 | 1426697.3
[10 empty] | AMIWA | ADVANCED METERING INFRASTRUCTURE - WA (GEN PLT) | 028 |  | 10964.91 |  | 10964.91
| COLVILLE 115 KVSUBSTA | 96281.09 | 1315066.95 | [6 empty] | APW | APPLEWAY SUBSTA (WA) NOT CORRECT STATE FOR APW | 038 |  |  | 0 | 0
| COLVILLE RADIO SUB | 0 | 303.04 | [6 empty] | ARD | ARDEN SUBSTA | 028 |  | 9899.61 | 223041.91 | 232941.52
| COLVILLE STEPDWN | 0 | 23086.63 | [6 empty] | AVD | AVONDALE SUBSTA (WA) NOT CORRECT STATE FOR AVONDALE | 038 |  |  | 0 | 0
| Colville | 96281.09 | 1338456.62 | 20% | 19256 | 267691 |  |  |  | BEA | BEACON SUBSTA | 028 |  | 80369.33 | 2421570.79 | 2501940.12
[10 empty] | BER | BERGMAN, MARVIN ELEC TAP | 028 |  |  | 2104.83 | 2104.83
| EAST FARMS SUBSTA | 168778.79 | 773287.28 | 18.92% | 31940 | 146340 |  |  |  | BKR | BARKER RD SUBSTA | 028 |  | 131478.53 | 702236.59 | 833715.12
| FORT WRIGHT 115 KV SUBSTA | 41159.68 | 856006.58 | 6.17% | 2539 | 52812 |  |  |  | BLD | BOULDER PARK 230/115kV SUBSTATION | 028 |  |  | 0 | 0
| GREENWOOD SUBSTA | 18838.83 | 468586.06 | 14.13% | 2662 | 66224 |  |  |  | BNZ | BONANZA STEPDWN | 028 |  |  | 6629.7 | 6629.7
| HALLET & WHITE SUBSTA | 688151 | 1931400.52 | 41.68% | 286843 | 805069 |  |  |  | BRK | BROOKS RD STEPDWN | 028 |  |  | 1992.6 | 1992.6
| INLAND EMPIRE PAPER SUBSTA | 18235.46 | 224997.32 | 100% | 18235 | 224997 |  |  |  | BRU | BRUCE CR STEPDWN | 028 |  |  | 1012.69 | 1012.69
[10 empty] | BSD | BATEMAN STEPDOWN BK | 028 |  |  | 4202.54 | 4202.54
| KETTLE FALLS SUBSTATION | 382.07 | 159030.62 | 23.34% | 89 | 37123 |  |  |  | C&W | COLLEGE & WALNT SUBSTA 115kV | 028 |  | 1699509.35 | 1471375.79 | 3170885.14
[10 empty] | C&WR | COLLEGE & WALNT ELEC REG STA 13kV | 028 |  | 50747.39 | 437640.59 | 488387.98
| OTHELLO 115 KV SUBSTA | 28371.28 | 943956.23 | [6 empty] | CED | CEDONIA STEPDWN | 028 |  |  | 11339.09 | 11339.09
| OTHELLO SW STA | 0 | 0 | [6 empty] | CFD | CRITCHFIELD 115/13 KV SUB | 028 |  | 988620.17 | 726195.37 | 1714815.54
| Othello | 28371.28 | 943956.23 | 50% | 14186 | 471978 |  |  |  | CHE | CHESTER SUBSTA | 028 |  | 21625.22 | 674515.28 | 696140.5
[10 empty] | CHF | CHEF REDDY FOODS SUBSTA | 028 |  |  | 4126.41 | 4126.41
| TURNER 115 KV SUBSTATION (PULLMAN) | 1995837.65 | 1324357.49 | 33.33% | 665279 | 441452 |  |  |  | CHINA | CHINA BEND STEPDWN | 028 |  |  | 1150.79 | 1150.79
| PULLMAN WSU SUBSTA | 97 | 497543.62 | 100% | 97 | 497544 |  |  |  | CHW | CHEWELAH 115 SUBSTA | 028 |  | 129539.37 | 1041429.24 | 1170968.61
[10 empty] | CHWREG | CHEWELAH NO REG ELEC | 028 |  |  | 3433.14 | 3433.14
| ROSS PARK 115 KV SUBSTA | 1509031.26 | 1104527.92 | [6 empty] | CLG | CLUGSTON CR STEPDWN | 028 |  |  | 3034.7 | 3034.7
| ROSS PARK 13 KV SUBSTA | 0 | 0 | [6 empty] | CLKDIS | CLARKSTON DISPOSAL SUBSTA | 028 |  |  | 580.15 | 580.15
| Ross Park | 1509031.26 | 1104527.92 | 8.832% | 133278 | 97552 |  |  |  | CLKLK1 | CLARK LAKE STEPDWN | 028 |  |  | 2474.41 | 2474.41
[10 empty] | CLKLK2 | CLARK LAKE STEPDWN | 028 |  |  | 1533.99 | 1533.99
| SOUTH PULLMAN SUBSTA | 293035.81 | 1367428.73 | 60% | 175821 | 820457 |  |  |  | CLV | COLVILLE 115 KVSUBSTA | 028 |  | 96281.09 | 1315066.95 | 1411348.04
| SPOKANE INDUSTRIAL PARK SUBSTA | 63289.86 | 751837.39 | 27.44% | 17364 | 206268 |  |  |  | CLVRAD | COLVILLE RADIO SUB | 028 |  |  | 303.04 | 303.04
| THIRD & HATCH SUBSTA | 733217.5 | 2396528.53 | 8.445% | 61917 | 202376 |  |  |  | CLVSD1 | COLVILLE STEPDWN | 028 |  |  | 2703.21 | 2703.21
| TERRE VIEW 115/13 KV SUB | 451940.93 | 982296.14 | 50% | 225970 | 491148 |  |  |  | CLVSD2 | COLVILLE STEPDWN | 028 |  |  | 1838.67 | 1838.67
| WSU EAST CAMPUS SUBSTA | 153.82 | 166191.15 | 100% | 154 | 166191 |  |  |  | CLVSD3 | COLVILLE STEPDWN | 028 |  |  | 16215.41 | 16215.41
| IEP SPARE TRANSFORMER | 0 | 233018.13 | 100% | 0 | 233018 |  |  |  | CLVSD4 | COLVILLE STEPDWN | 028 |  |  | 2329.34 | 2329.34
[5 empty] | 1864924 | 5527980 | 7392904 |  |  | COB | COLBERT SUBSTA | 028 |  | 61020.56 | 408125.47 | 469146.03
[10 empty] | DAMTRW | DEMAND AMMETERS-WASHINGTON | 028 |  |  | 6530.43 | 6530.43
[5 empty] | Account 361 | Account 362 | Total |  | ROO EB | DCR | DRY CREEK 230/115kV SUBSTA | 028 |  |  | 0 | 0
| Total WA Ending Balance 12/18 of Accounts |  |  |  | 27406930.08 | 92651714.9111 | 120058644.9911 | 0.008918 | 27406930 | DEE | DEER PARK BPA OWNED SUBSTA, 115kV ONLY | 028 |  | 0 | 0 | 0
| Less: Directly Assigned Plant |  |  |  | -1864924 | -5527980 | -7392904 |  | 92651715 | DEP | DEER PARK SUBSTA, 115/13kV (WE BOUGHT FROM BPA) | 028 |  | 83515.95 | 348685.65 | 432201.6
| Assignment Demand NCP-2 |  |  |  | 25542006.08 | 87123734.9111 | 112665740.9911 |  | 0.088918 | DGP | DEVILS GAP 115kV SW STA | 028 |  |  | 0 | 0
[10 empty] | DIA | DIAMOND SUBSTA | 028 |  | 8074.36 | 177547.59 | 185621.95
|  |  |  | 12ME 12.2018 Peak KVA | [5 empty] | DIASD1 | DIAMOND-STEPTOE STEPDOWN 1 | 028 |  |  | 1436.25 | 1436.25
| Customer | Substation |  |  | Peak mo. | Ded. Feeders? | fraction | Capacity | % of Capacity | DIASD2 | DIAMOND-STEPTOE STEPDOWN 2 | 028 |  |  | 2947.02 | 2947.02
1 | 2317650000 | HALLET & WHITE SUBSTA |  | 12189 | Apr | 1&22 share 1 of 2 | 41.68% |  | 41.68% | DIASD3 | DIAMOND-STEPTOE STEPDOWN 3 | 028 |  |  | 1473.51 | 1473.51
2 | 8927100000 | KETTLE FALLS SUBSTATION |  | 5228.836 | Feb |  |  | 22400 | 23.34% | DIASD4 | DIAMOND-STEPTOE STEPDOWN 4 | 028 |  |  | 2947.02 | 2947.02
3 | 9927100000 | GREENWOOD SUBSTA |  | 3165.724 | Feb |  |  | 22400 | 14.13% | DIEG | DIESEL GENERATOR | 028 |  |  | 14882.1 | 14882.1
4 | 8972300000 | FORT WRIGHT 115 KV SUBSTA |  | 2763.986 | Aug |  |  | 44800 | 6.17% | DIVREG | DIVISION ST ELEC REG STA | 028 |  | 2104.45 | 4121.71 | 6226.16
5 | 0082300000 | College & Walnut |  | 3911.697 | Jul |  |  | 67200 | 5.821% | DOL | DOLEMITE QUARRY SUBSTA | 028 |  |  | 0 | 0
6 | 1423850000 | Ross Park |  | 5334.552 | Aug |  |  | 60400 | 8.832% | DRY | DRY GULCH 115/13kV SUBSTA | 028 |  |  | 375254.22 | 375254.22
7 | 0177400000 | SPOKANE INDUSTRIAL PARK SUBSTA |  | 3649.725 | Jul |  |  | 49087 | 7.435% | DTNET | DOWNTOWN NETWORK OPERATIONS-STRUCTURE | 028 |  | 7213571.07 |  | 7213571.07
8 | 8649170000 | EAST FARMS SUBSTA |  | 4239.071 | Jul |  |  | 22400 | 18.92% | DTW | DOWNTOWN WEST 115-13KV SUBSTATION | 028 |  | 636685.75 |  | 636685.75
9 | 0166400000 | INLAND EMPIRE PAPER SUBSTA |  | 63189 | Mar | yes | 100% |  | 100% | DTWLND-D | - DOWNTOWN WEST LAND - SUB & DOWNTOWN NETWORK - DIST | 028 |  | 237144.1 |  | 237144.1
10 | 4258610000 | Othello |  | 9557.949 | Sep | 1 of 4 | 25% |  | 25% | DUMSD | DUMAS STEPDWN | 028 |  |  | 2104.84 | 2104.84
11 | 9066400000 | Othello |  | 9377.531 | May | 1 of 4 | 25% |  | 25% | DUNSD | DUNN RON STEPDOWN | 028 |  |  | 2097.71 | 2097.71
12 | 0037100000 | THIRD & HATCH SUBSTA |  | 8512.119 | Aug |  |  | 100800 | 8.445% | DVP | DAVENPORT SUBSTA | 028 |  | 1485.29 | 160153.67 | 161638.96
13 | 1082300000 | College & Walnut |  | 2869.488 | Aug |  |  | 67200 | 4.27% | ECHSD | ECHO STEPDOWN | 028 |  |  | 1150.79 | 1150.79
14 | 0078160000 | SPOKANE INDUSTRIAL PARK SUBSTA |  | 6413.485 | Oct | 1 of 5 | 20% |  | 20% | ECL | EAST COLFAX SW STA | 028 |  | 68939.57 | 397861.19 | 466800.76
15 | 2261550000 | AIRWAY HEIGHTS SUBSTA |  | 3950.198 | Jul |  |  | 40320 | 9.797% | EFM | EAST FARMS SUBSTA | 028 |  | 168778.79 | 773287.28 | 942066.07
16 | 2478200000 | Colville |  | 4899.011 | Feb | 1 of 5 | 20% |  | 20% | ENLCSD | ENDICOTT-LACROSSE SUBSTA | 028 |  |  | 6792.74 | 6792.74
17 | 3731710000 | TURNER 115 KV SUBSTATION (PULLMAN) |  | 4640.64 | Feb | 1 of 6 | 16.67% |  | 16.67% | EVNS | EVANS LO COLVILLE SUBSTA | 028 |  |  | 1398.58 | 1398.58
18 | 6037100000 | SOUTH PULLMAN SUBSTA |  | 10983 | Aug | 1 of 5 | 20% |  | 20% | EWN | EWAN SUBSTA | 028 |  | 5529.19 | 223388.83 | 228918.02
18 | 6037100000 | WSU EAST CAMPUS SUBSTA |  | 10983 | Aug | 1 of 2 | 50% |  | 50% | EWSH | EASTERN WA HOSPITAL SUBSTA | 028 |  |  | 0 | 0
18 | 6037100000 | TERRE VIEW 115/13 KV SUB |  | 10983 | Aug | 1 of 2 | 50% |  | 50% | F&C | FRANCIS & CEDAR SUBSTA | 028 |  | 1156581.74 | 1748360.08 | 2904941.82
19 | 6100220000 | SOUTH PULLMAN SUBSTA |  | 5915 | Dec | 1 of 5 | 20% |  | 20% | FOR | FORD SUBSTA | 028 |  | 4429.36 | 203803.91 | 208233.27
19 | 6100220000 | WSU EAST CAMPUS SUBSTA |  | 5915 | Dec | 1 of 2 | 50% |  | 50% | FRTCY | FRTLND COYOTE STEPDOWN | 028 |  |  | 2237.04 | 2237.04
20 | 5037100000 No PVD | PULLMAN WSU SUBSTA |  | 5437 | Dec | 1 of 2 | 50% |  | 50% | FRTMG | FRTLND MUDGET STEPDOWN | 028 |  |  | 6772.02 | 6772.02
20 | 5037100000 No PVD | TURNER 115 KV SUBSTATION (PULLMAN) |  | 5437 | Dec | 1 of 6 | 16.67% |  | 16.67% | FRTSD | FRUITLAND STEPDWN | 028 |  |  | 15596.46 | 15596.46
21 | 7037100000 No PVD | SOUTH PULLMAN SUBSTA |  | 7163 | Aug | 1 of 5 | 20% |  | 20% | FWT | FORT WRIGHT 115 KV SUBSTA | 028 |  | 41159.68 | 856006.58 | 897166.26
21 | 7037100000 No PVD | PULLMAN WSU SUBSTA |  | 7163 | Aug | 1 of 2 | 50% |  | 50% | GAR | GARFIELD SUBSTA | 028 |  | 4686.05 | 188021.51 | 192707.56
22 | 2317650000 No PVD | HALLET & WHITE SUBSTA |  | 2432 | Apr | 1&22 share 1 of 2 | 8.317% |  | 8.317% | GDN | GARDEN SPRINGS 115kV SW STA | 028 |  |  | 0 | 0
23 | 7600430000 | ARDEN SUBSTA |  | 4002 | Jan | 1 of 2 | 50% |  | 50% | GEI | GEIGER SUBSTA | 028 |  |  | 692.27 | 692.27
[10 empty] | GEIPMP | GEIGER PUMP SUBSTA | 028 |  | 1322.62 | 4500.9 | 5823.52
[10 empty] | GIF | GIFFORD SUBSTA | 028 |  | 487834.76 | 1548926.65 | 2036761.41
[10 empty] | GIFSD1 | GIFFORD STEPDOWN 1 | 028 |  |  | 1200.98 | 1200.98
[10 empty] | GIFSD2 | GIFFORD STEPDOWN 2 | 028 |  |  | 1533.99 | 1533.99
[10 empty] | GIFSD3 | GIFFORD STEPDOWN 3 | 028 |  |  | 16641.15 | 16641.15
[10 empty] | GILSD | GILLETTE CR STEPDN | 028 |  |  | 2104.85 | 2104.85
[10 empty] | GLN | GLENROSE SUBSTA | 028 |  | 326169.53 | 462037.47 | 788207
[10 empty] | GRA | GREENACRES SUBSTA | 028 |  | 275173.23 | 1196293.59 | 1471466.82
[10 empty] | GRN | GREENWOOD SUBSTA | 028 |  | 18838.83 | 468586.06 | 487424.89
[10 empty] | H&W | HALLET & WHITE SUBSTA | 028 |  | 688151 | 1931400.52 | 2619551.52
[10 empty] | HAR | HARRINGTON SUBSTA | 028 |  | 474047.75 | 711156.55 | 1185204.3
[10 empty] | HARM | HERB ARMSTRONG SUBSTA | 028 |  |  | 817.65 | 817.65
[10 empty] | HIL115 | HILLYARD 115 KV SUB, NE SPOKANE, WA | 028 |  | 32824.44 |  | 32824.44
[10 empty] | HOU | HOUSE RANCH STEPDOWN | 028 |  |  | 12905.62 | 12905.62
[10 empty] | HUNSD1 | HUNTERS STEPDOWN | 028 |  |  | 15193.12 | 15193.12
[10 empty] | HUNSD2 | HUNTERS STPDN FRUITLAND | 028 |  |  | 13687.66 | 13687.66
[10 empty] | IEP | INLAND EMPIRE PAPER SUBSTA | 028 |  | 18235.46 | 224997.32 | 243232.78
[10 empty] | IGSD1 | INCHELIUM-GIFFORDN SD 1 | 028 |  |  | 34532.47 | 34532.47
[10 empty] | IGSD2 | INCHELIUM-GIFFORD SD 2 | 028 |  |  | 26153.43 | 26153.43
[10 empty] | INT | INDIAN TRAIL SUBSTATION | 028 |  | 7061.71 | 788491.62 | 795553.33
[10 empty] | JST | JACK STEWART TRAING | 028 |  | 198846.84 | 246660.4 | 445507.24
[10 empty] | KET | KETTLE FALLS SUBSTATION | 028 |  | 382.07 | 159030.62 | 159412.69
[10 empty] | KFG | KETTLE FALLS GS (WA) | 212 |  | 137701.81 | 444702.7 | 582404.51
[10 empty] | KHLSD1 | KELLY HILL STEPDOWN E13609 | 028 |  |  | 6363.45 | 6363.45
[10 empty] | KHLSD2 | KELLY HILL STEPDWON E13612 | 028 |  |  | 1955.49 | 1955.49
[10 empty] | KHLSD3 | KELLY HILL STEPDOWN E13621 | 028 |  |  | 2118.36 | 2118.36
[10 empty] | L&R | LEE & REYNOLDS SUBSTA | 028 |  | 113538.56 | 753247.69 | 866786.25
[10 empty] | L&S | LYONS & STANDARD SUBSTA | 028 |  | 271917.84 | 1454148 | 1726065.84
[10 empty] | LAT | LATAH JCT SUB | 028 |  | 167440.71 | 277660.48 | 445101.19
[10 empty] | LEO | LEON JCT SUBSTA | 028 |  | 3783.39 | 348548.09 | 352331.48
[10 empty] | LF | LITTLE FALLS HED | 202 |  |  | 10359.02 | 10359.02
[10 empty] | LIB | LIBERTY LAKE SUBSTA | 028 |  | 27607.94 | 680292.43 | 707900.37
[10 empty] | LIN | LIND SUBSTA | 028 |  | 136387.63 | 384840.68 | 521228.31
[10 empty] | LLS | LONG LAKE 115 KV SW SUBSTA | 028 |  | 0 | 0 | 0
[10 empty] | LOO | LOON LAKE SUBSTA | 028 |  | 26906.59 | 228598.96 | 255505.55
[10 empty] | LTLFLS | LITTLE FALLS SUB | 028 |  | 23896.08 | 224623.47 | 248519.55
[10 empty] | MBL | MARBLE FLATS-NRTHPT STEPDOWN | 028 |  |  | 10015.24 | 10015.24
[10 empty] | MCF | MCFARLANE 115/13 kV SUBSTATION (AIRWAY HEIGHTS) | 028 |  | 7305.36 |  | 7305.36
[10 empty] | MEA | MEAD SUBSTA | 028 |  | 85360.38 | 537991.86 | 623352.24
[10 empty] | MET | METALLURGICAL CHIP SUBSTA | 028 |  | 0 | 0 | 0
[10 empty] | MGO | MARENGO SUBSTA | 028 |  | 1737.94 | 131671.24 | 133409.18
[10 empty] | MIL | MILLWOOD SUBSTA | 028 |  | 879216.06 | 1642014.41 | 2521230.47
[10 empty] | MLN | MILAN SUBSTA | 028 |  | 143821.86 | 1209325.84 | 1353147.7
[10 empty] | MO1 | MOBILE/PORTABLE SUBSTA #1 | 028 |  |  | 416246.4 | 416246.4
[10 empty] | MO2 | MOBILE/PORTABLE SUBSTA # 2 | 028 |  |  | 0 | 0
[10 empty] | MOD | MODERN ELEC LOCUST SUBSTA | 028 |  |  | 4259.33 | 4259.33
[10 empty] | MTR | METRO SUBSTA | 028 |  | 290164.35 | 1141131.49 | 1431295.84
[10 empty] | NE | NORTHEAST SUBSTA | 028 |  | 139428.28 | 1881943.98 | 2021372.26
[10 empty] | NW | NORTHWEST SUBSTA | 028 |  | 42922.48 | 949804.94 | 992727.42
[10 empty] | ODS | ODESSA SUBSTA | 028 |  | 33646.9 | 80610.89 | 114257.79
[10 empty] | OMSD | ORIENT MILL STEPDN | 028 |  |  | 4174.86 | 4174.86
[10 empty] | ONSD1 | ONION CR DOLOMITE STEPDOWN | 028 |  |  | 2744.38 | 2744.38
[10 empty] | ONSD2 | ONION CR STEPDOWN | 028 |  |  | 1263.19 | 1263.19
[10 empty] | ONSD3 | ONION CR SUE TRAIL STEPDOWN | 028 |  |  | 2118.35 | 2118.35
[10 empty] | ONSD4 | ONION CR. HASTINGS STEPDOWN | 028 |  |  | 1792.8 | 1792.8
[10 empty] | OPT | OPPORTUNITY SUBSTA | 028 |  | 130359.28 | 878553.86 | 1008913.14
[10 empty] | ORI | ORIN SUBSTA | 028 |  | 38117.92 | 488085.93 | 526203.85
[10 empty] | OSS | OTHELLO 115kV SW STA | 028 |  |  | 0 | 0
[10 empty] | OTH | OTHELLO 115 KV SUBSTA | 028 |  | 28371.28 | 943956.23 | 972327.51
[10 empty] | OTI | OTIS ORCHARD 115kV SW STA | 028 |  |  | 0 | 0
[10 empty] | PAL | PALOUSE SUB | 028 |  | 8172.88 | 323575.14 | 331748.02
[10 empty] | PDL | POUND LANE SUBSTA | 028 |  | 125650.63 | 607858.73 | 733509.36
[10 empty] | POGAR | POST STREET GARAGE-STRUCT & IMP (ED.WA) | 028 |  | 0 |  | 0
[10 empty] | PST | POST ST SUBSTA | 028 |  | 1702952.94 | 6737169.51 | 8440122.45
[10 empty] | PSTREG | POST ST REG STA | 028 |  | 378.97 | 10561.12 | 10940.09
[10 empty] | RAY | RAY & HARTSON SUBSTA | 028 |  |  | 0 | 0
[10 empty] | RDN | REARDAN 115 KV SUBSTA | 028 |  | 63838.9 | 210951.8 | 274790.7
[10 empty] | RIT | RITZVILLE SUBSTA | 028 |  | 163833.69 | 620393.04 | 784226.73
[10 empty] | ROK | ROCKFORD SUBSTA | 028 |  | 126761.58 | 261059.14 | 387820.72
[10 empty] | ROS | ROSS PARK 115 KV SUBSTA | 028 |  | 1509031.26 | 1104527.92 | 2613559.18
[10 empty] | ROS13 | ROSS PARK 13 KV SUBSTA | 028 |  |  | 0 | 0
[10 empty] | ROX | ROXBORO SUBSTA | 028 |  | 10869.72 | 413230.83 | 424100.55
[10 empty] | RSA | ROSALIA SUBSTA | 028 |  | 64514.83 | 519539.6 | 584054.43
[10 empty] | RTZ | RITZVILLE BPA SUBSTA | 028 |  |  | 10658.24 | 10658.24
[10 empty] | SAF | SAFEWAY WHSE SUBSTA | 028 |  | 0 | 0 | 0
[10 empty] | SE | SOUTHEAST SUBSTA | 028 |  | 58501.51 | 890212.75 | 948714.26
[10 empty] | SHH | SACRED HEART HOSP SUBSTA | 028 |  |  | 6330.5 | 6330.5
[10 empty] | SHN | SHAWNEE 230/115kV SUBSTA | 028 |  |  | 0 | 0
[10 empty] | SIP | SPOKANE INDUSTRIAL PARK SUBSTA | 028 |  | 63289.86 | 751837.39 | 815127.25
[10 empty] | SLK | SILVER LAKE SUBSTA | 028 |  | 104063.56 | 378895.78 | 482959.34
[10 empty] | SOT | SOUTH OTHELLO SUBSTA | 028 |  | 34312.89 | 624703.5 | 659016.39
[10 empty] | SPA | SPANGLE SUBSTA | 028 |  | 4645 | 220343.6 | 224988.6
[10 empty] | SPI | SPIRIT SUBSTA | 028 |  | 112174.34 | 542739.62 | 654913.96
[10 empty] | SPKSEW | SPOKANE SEWAGESUBSTA | 028 |  |  | 7450 | 7450
[10 empty] | SPL | SPIRIT LAKE SUBSTA (WA) NOT CORRECT STATE FOR SPL | 038 |  |  | 0 | 0
[10 empty] | SPR | SPRAGUE SUBSTA | 028 |  | 142157.34 | 152334.6 | 294491.94
[10 empty] | SPU | SOUTH PULLMAN SUBSTA | 028 |  | 293035.81 | 1367428.73 | 1660464.54
[10 empty] | SSH | SUNSHINE MINE SUBSTA (WA) NOT CORRECT STATE FOR SSH | 038 |  |  | 0 | 0
[10 empty] | STJ | ST. JOHN SUBSTA | 028 |  | 7866.01 | 151886.62 | 159752.63
[10 empty] | STR | STRATFORD 115kV SW STA | 028 |  |  | 0 | 0
[10 empty] | SUBCON | Substation Container (no specific substation) | 098 |  | 7438.63 |  | 7438.63
[10 empty] | THN | ORNTON 230 KV, SWITCHING STATION | 028 |  |  | 0 | 0
[10 empty] | THRSD | THORNTON STEPDOWN | 028 |  |  | 3019.79 | 3019.79
[10 empty] | TKO | TEKOA SUBSTA | 028 |  | 61978.62 | 316370.72 | 378349.34
[10 empty] | TRFSPK | SPOKANE POWER TRANSFORMERS | 028 |  |  | 23125252.36 | 23125252.36
[10 empty] | TUR | TURNER 115 KV SUBSTATION (PULLMAN) | 028 |  | 1995837.65 | 1324357.49 | 3320195.14
[10 empty] | TVW | TERRE VIEW 115/13 KV SUB | 028 |  | 451940.93 | 982296.14 | 1434237.07
[10 empty] | UPR | SPOKANE CITY UPRIVER DAM HED | 028 |  |  | 49489.84 | 49489.84
[10 empty] | VAA | VAAGEN BRO LUMBER SUBSTA | 028 |  |  | 10199.84 | 10199.84
[10 empty] | VAL | VALLEY SUBSTA | 028 |  | 1834.08 | 352545.3 | 354379.38
[10 empty] | WAK | WAIKIKI SUBSTA | 028 |  | 72330.9 | 1089706.71 | 1162037.61
[10 empty] | WAR | WARDEN 115kV SW STA | 028 |  |  | 0 | 0
[10 empty] | WAS | WASHTUCNA SUBSTA | 028 |  | 44466.93 | 169638.07 | 214105
[10 empty] | WES | WESTSIDE 230/115kV SUBSTA | 028 |  |  | 0 | 0
[10 empty] | WIL | WILBUR SUBSTA | 028 |  | 4106.87 | 440135.21 | 444242.08
[10 empty] | WILSD1 | WELLPINIT STEPDOWN 7812 | 028 |  |  | 22460.7 | 22460.7
[10 empty] | WILSD2 | WELLPINIT STEPDOWN 12174 | 028 |  |  | 7307.8 | 7307.8
[10 empty] | WKSD | WILBUR-KENNEDY STEPDOWN | 028 |  |  | 506.71 | 506.71
[10 empty] | WLR | WILLIAMS LK. RD STEPDOWN | 028 |  |  | 5511.9 | 5511.9
[10 empty] | WSE | WSU EAST CAMPUS SUBSTA | 028 |  | 153.82 | 166191.15 | 166344.97
[10 empty] | WSU | PULLMAN WSU SUBSTA | 028 |  | 97 | 497543.62 | 497640.62
[10 empty] | ZIG | ZIEGLER STEPDOWN | 028 |  |  | 1576.82 | 1576.82
[10 empty] | Total |  |  |  | 27406930.08 | 90565340.25 | 117972270.33
Substation Ending Balances Plant Accounts 361 and 362 Accounting Period : 201812 , Gl Jurisdiction : AN
[10 empty] | Accounting Period:201612 | Gl Jurisdiction:AN
[13 empty] | Plant Acct | WA Allocation | 362000 | Total
[14 empty] | 67.77% | Ending Balance SUM
[10 empty] | Facility Id | Facility Id Desc | Plant Ledger Location
[10 empty] | BEAST | - BEACON SUB MATERIAL STORAGE YARD(AN) | 028 |  |  | 70929.37 | 70929.37
[10 empty] | CHE | CHESTER SUBSTA (AN) | 028 |  |  | 10631.06 | 10631.06
[10 empty] | F&C | FRANCIS & CEDAR SUBSTA (AN) | 028 |  |  | 17777.19 | 17777.19
[10 empty] | GDN | GARDEN SPRINGS 115kV SW STA (AN) | 028 |  |  | 34781.32 | 34781.32
[10 empty] | GRV | GRANGEVILLE SUBSA (AN) | 038 |  |  | 22026.4 | 22026.4
[10 empty] | HOL | HOLBROOK SUBSTA (AN) | 038 |  |  | 109366.05 | 109366.05
[10 empty] | MO2 | BILE/PORTABLE SUBSTA # 2 (AN)/ 098 | 098 |  |  | 1972197.61 | 1972197.61
[10 empty] | MO3 | MOBILE/PORTABLE SUBSTA # 3 (AN) | 098 |  |  | 836827.54 | 836827.54
[10 empty] | SUBBAT | Mobile Substation Battery and Trailer | 098 |  |  | 4256.16 | 4256.16
[10 empty] | Total |  |  |  | 2086374.6611 | 3078792.7 | 3078792.7
Note on P204: Joe Miller: From ROO Note 3