## ELECTRIC COST OF SERVICE

A cost of service study is an engineering-economic study, which apportions the revenue, expenses, and rate base associated with providing electric service to designated groups of customers.  It indicates whether the revenue provided by the customers recovers the cost to serve those customers.  The study results are used as a guide in determining the appropriate rate spread among the groups of customers.

As shown in the flow chart below, there are three basic steps involved in a cost of service study: functionalization, classification, and allocation.

First, the expenses and rate base associated with the electric system under study are assigned to functional categories.  The uniform system of accounts provides the basic segregation into production, transmission, and distribution.  Traditionally, customer accounting, customer information, and sales expenses are included in the distribution function, and administrative and general expenses and general plant rate base are allocated to all functions.  In this study I have created a separate functional category for common costs.  Administrative and general costs that cannot be directly assigned to the other functions have been placed in this category.

Second, the expenses and rate base items which cannot be directly assigned to customer groups are classified into three primary cost components:  energy, demand and customer related.  Energy-related costs are allocated based on each rate schedule’s share of commodity consumption.  Demand-related (capacity) costs are allocated to rate schedules on the basis of each schedule’s contribution to peak demand.  Customer-related items are allocated to rate schedules based on the number of customers within each schedule.  The number of customers may be weighted by appropriate factors such as relative cost of metering equipment.  In addition to these three cost components, any revenue related expense is allocated based on the proportion of revenues by rate schedule.

The final step is allocation of the costs to the various rate schedules utilizing the allocation factors selected for each specific cost item.  These factors are derived from usage and customer information associated with the test period results of operations.

BASE CASE COST OF SERVICE STUDY

Production and Transmission Classification (Peak Credit)

This study utilizes a Peak Credit methodology to classify production and transmission costs into demand and energy classifications.  The Peak Credit method acknowledges that all energy production costs contain both capacity and energy components as they provide energy throughout the year as well as capacity during system peaks.  Likewise, the transmission system is built not only for peak use, but also for everyday delivery of energy.  The peak credit ratio (the proportion of total production cost that is capacity related) is determined using the electric system load factor inherent in the test year.  The share of production costs attributable to demand is one minus the load factor (average MW divided by peak MW) which is 37.65% for the 12-months ended December 2016 test year.  The same classification ratio is applied to all production and transmission costs.

Production and Transmission Allocation

Production and transmission demand-related costs are allocated to the customer classes by class contribution to the average of the twelve monthly system coincident peak loads.  Although the Company is usually a winter peaking utility, it experiences high summer peaks and careful management of capacity requirements is required throughout the year.  The use of the average of twelve monthly peaks recognizes that customer capacity needs are not limited to the heating season.

Energy-related costs are allocated to class by pro forma annual kilowatt-hour sales adjusted for losses to reflect generation level consumption.

Distribution Facilities Classification (Basic Customer)

The Basic Customer method considers only services and meters and directly assigned Street Lighting apparatus (FERC Accounts 369, 370, and 373 respectively) to be customer-related distribution plant.  All other distribution plant is then considered demand related.  The basic customer method has been adopted historically for both electric and natural gas cost of service in the State of Washington.

Customer Relations Distribution Cost Classification

Customer service, customer information and sales expenses are the core of the customer relations functional unit which is included with the distribution cost category.  For the most part they are classified as customer related.  Exceptions are sales expenses which are classified as energy related and uncollectible accounts expense which is considered separately as a revenue conversion item.

Distribution Cost Allocation

Distribution demand-related costs which cannot be directly assigned are allocated to customer class by the average of the twelve monthly non-coincident peaks for each class.  Distribution facilities that serve only secondary voltage customers are allocated by non-coincident peak excluding all primary and transmission voltage customers.  This includes line transformers, services, and secondary voltage overhead or underground conductors and devices.  The costs of specific substations and related primary voltage distribution facilities are directly assigned to Extra Large General Service customers based on their load ratio share of the substation capacity from which they receive service.  The remaining primary voltage overhead or underground conductors and devices are allocated by non-coincident peak for all customers except those that received direct assignment (Schedule 25).

Most customer costs are allocated by average number of customers.  Weighted customer allocators have been developed using typical current cost of meters, estimated meter reading time, and direct assignment of billing costs for hand-billed customers.  Street and Area Light customers (Schedules 41 – 48) are excluded from metering and meter reading expenses as their service is not metered.

Administrative and General Costs

Administrative and general costs which are directly associated with production, transmission, distribution, or customer relations functions are directly assigned to those functions and allocated to customer class by the relevant plant or number of customers.  The remaining administrative and general costs are considered common costs, and have been left in their own functional category.  These common costs are allocated to rate classes using the same methodology approved for Puget Sound Power and Light (now Puget Sound Energy) in Docket No. UE-920499.

Common plant items are allocated to rate classes by either PTD plant; PTD labor expense; or total labor expense.  Most common administrative and general expenses are allocated to rate class by non-resource operating and maintenance expenses.  Property insurance expense is allocated by plant totals.  Injuries & damages and pensions & benefits expenses are allocated by operating and maintenance labor expense totals.  Working capital is allocated by tangible plant in service (production, transmission, distribution, general plant).

Revenue Conversion Items

In this study, state excise tax, uncollectible accounts and commission fees have been classified as revenue-related and are allocated by pro forma revenue.  These items vary with revenue and are included in the calculation of the revenue conversion factor.  Income tax expense items are allocated to schedules by net income before income tax adjusted by interest expense.

For the functional summaries on pages 2 and 3 of the cost of service study, these items are then assigned to component cost categories.  The revenue-related expense items have been reduced to a percent of all other costs and loaded onto each cost category by that ratio.  Similarly, income tax items have been reduced to a percent of net income before tax then assigned to cost categories by relative rate base (as is net income).

The following matrix outlines the methodology applied in the Company Base Case cost of service study.

The sum of production transmission and distribution assignments determined within the calculation model.

The sum of operating and maintenance expenses before administrative and general expenses excluding resource items (purchased power, fuel, and wheeling expense) assignments as determined within the calculation model.  Revenue-related items (uncollectible accounts expense and commission fees) are also excluded to avoid circular reference issues.