## 5-2019
PacifiCorp
Summary of Average Installed Costs
For Meters and Associated Equipment
|  | NON-RF |  | RF |  | Bi-Directional
| Load Class | Standard | Costs without Travel Time | Standard | Costs without Travel Time | Standard | Costs without Travel Time
Residential
| Small Load | DM221N | 92 | DM221A | 108 | DM221O | 167
| All Electric House | DM221P | 136 | DM221E | 145 | DM221O | 167
0 - 10 kW
| kW = 0, 1 Phase (sec) | DM221N | 92 | DM221A | 109 | DM221O | 167
KWH Meter
| kW = 0, 3 Phase (sec) | DM241A | 231 |  |  | DM241A | 231
KWH Meter
| kW > 1, 1 Phase | DM221O | 167 | DM221B | 220 | DM221O | 167
Demand Meter
| kW > 1, 3 Phase | DM241F | 251 | DM241B | 258 | DM241F | 251
Demand Meter
11 - 100 kW
| 1 Phase | DM221R | 209 | DM221B | 220 | DM221R | 209
| 3 Phase W/O KVAR | na | KVARs are required
rsec
| 3 Phase With KVAR | DM241F | 251
100 - 300 kW
| 1 Phase (sec) | DM231GBB | 1041
| 3 Phase W/O KVAR (sec) | DM271AEC | 1409
| 3 Phase With KVAR (sec) | DM271AEC | 1409
300 kW - 1000 kW
| 1 Phase (sec) | DM231GFE | 1211
| 3 Phase W/O KVAR (sec) | DM271AEC | 1409
| 3 Phase With KVAR (sec) | DM271AEC | 1409
1000 kW and Over
| 3 Phase Secondary Volt | DM271AEG | 1788
Primary Metering
| 13.8 kV 3-wire | DM101ACBA | 8706
| 12.47 kV 4-wire Wye | DM121ACJAD | 11232
| 24.9 kV 4-wire Wye | DM121BFIAD | 16544
| 35 kV 4-wire Wye | DM131BBAH | 22612