## Sheet1
PacifiCorp
State of Washington
Classification of Fixed Generation Costs
Washington Pumped Storage, 1,200 MW X 16,800 MWh
1 | Fixed Cost per kW-year1 | 179.48
2 | Cost per MWh to Charge2 | 27.13
3 | Hours of Operation | 12
4 | Storage Efficiency2 | 79%
5 | Total Cost of Charging | 0.4121 | Line 2 / 1000 / Line 4 X Line 3
6 | Total Cost 1 kW-year, 12 Hours | 179.8921 | Line 1 + Line 5
3.6 MW Turbine 43.6% Capacity Factor WY, 2020 (100% PTC)
7 | Fixed Cost per kW-year3 | 118.59
8 | Average Output Requirement @ 53.6% Load Factor4 | 5553.84 | 8,760 X 63.4%
9 | Output @ 43.6% Capacity Factor3 | 3819.36 | 8,760 X 43.6%
10 | Total kW Capacity Required | 1.4541 | Line 8 / Line 9
11 | Total Fixed Costs | 172.4451 | Line 7 X Line 10
12 | Demand Related Cost @ 19% Capacity Contribution5 | 49.5875 | Line 10 X 19% X Line 1
13 | Total Energy Related Cost | 122.8576 | Line 11 - Line 12
14 | Demand Component | 59.42% | Line 6 / (Line 6 + Line 13)
15 | Energy Component | 40.58% | 100% - Line 14
Footnotes -
1 - See page 7 of the Supply-Side Resource Table for PacifiCorp's 2019 Integrated Resource Plan dated November 1, 2018.
2 - See page 14 of the Supply-Side Resource Table for PacifiCorp's 2019 Integrated Resource Plan dated November 1, 2018.
3 - See page 6 of the Supply-Side Resource Table for PacifiCorp's 2019 Integrated Resource Plan dated November 1, 2018.
4 - 53.6% is the load factor for the West Control Area for the 12 month period ended June 2019.
5 - See page 88 of the presentation made at PacifiCorp's Integrated Resource Plan public input meeting held on September 27-28, 2018.