Exhibit No. ___T (YKGM-1T)

Docket No. UE-050684

Witness: Yohannes K.G. Mariam

BEFORE THE WASHINGTON UTILITIES AND TRANSPORTATION COMMISSION

| WASHINGTON UTILITIES AND TRANSPORTATION COMMISSION, Complainant, v. PACIFICORP, d/b/a Pacific Power & Light Company, Respondent. | DOCKET NO. UE-050684 |
| --- | --- |

TESTIMONY OF

YOHANNES K.G. MARIAM

STAFF OF

WASHINGTON UTILITIES AND

TRANSPORTATION COMMISSION

##### RE: PACIFICORP GENERAL RATE CASE

November 3, 2005

### TABLE OF CONTENTS

I.	INTRODUCTION 	1

II.	SCOPE OF TESTIMONY 	2

III.	SUMMARY OF TESTIMONY 	2

IV.	DISCUSSION 	3

### A.	The Need For a Temperature Normalization Adjustment 	3

B.	The Basic Calculation of a Temperature Normalization

Adjustment 	4

### C.	Staff’s Temperature Normalization Adjustment 	8

1.	Staff’s method 	8

2.	Statistical tests showing the reliability of Staff’s data 	9

3.	The power cost offset 	12

### D.	Comparison of Staff and Company Temperature

### Normalization Adjustments 	17

### E.	Critique of PacifiCorp’s Temperature Normalization

### Adjustment 	22

### Normal temperature data 	22

### Calculation of heating degree days (HDD),

### Cooling degree days (CDD), and base points 	23

### The vintage and quantity of the data PacifiCorp used, and its applicability to Washington 	27

### Statistical support for the Company’s adjustment 	29

V. 	CONCLUSIONS AND RECOMMENDATIONS 	32

LIST OF EXHIBITS

Exhibit No. ___ (YKGM-2):  “Qualifications and Experience of Yohannes K.G. Mariam”

Exhibit No. ___ (YKGM-3):  Weather Normalization Adjustments

Table 1:	Statistical Estimation Results of Weather Sensitivity Coefficients Using Autoregressive Procedure (Staff's Analytical Result);

Table 2:	Average Difference Between Estimated & Actual use per Customer (1995-2004);

Table 3:	Monthly Weather Sensitive Electricity Adjustment By Rate Schedule for Walla Walla;

Table 4a:	Summary of Unbilled Weather Sensitive Consumption for Walla

Walla;

Table 4b:	Test Year Unbilled Heating and Cooling Degree Days for Walla Walla;

Table 5:	Monthly Weather Sensitive Electricity Adjustment by Rate Schedule for Sunnyside;

Table 6a:	Summary of Unbilled Weather Sensitive Consumption for Sunnyside;

Table 6b:	Test Year Unbilled Heating and Cooling Degree Days for Sunnyside;

Table 7:	Monthly Weather Sensitive Electricity Adjustment by rate schedule for Yakima;

Table 8a:	Summary of Unbilled Weather Sensitive Consumption for Yakima;

Table 8b:	Test Year Unbilled Heating and Cooling Degree Days for Yakima;

Table 9a. Staff's Volume and Revenue Impacts of Temperature Normalization Adjustment

Table 9b:	PacifiCorp’s Volume and Revenue Impacts of Temperature Normalization Adjustment; and

Table 10:	Comparison between Staff’s and PacifiCorp’s Adjustment

Exhibit No. ___ (YKGM-4):  PacifiCorp’s Response to Staff Data Request No. 260

Exhibit No. ___ (YKGM-5):  Comparison of Selected Socioeconomic Characteristics of Utah and Washington

Exhibit No. ___ (YKGM-6):  PacifiCorp’s Response to Staff Data Request No. 100

Exhibit No. ___ (YKGM-7):  PacifiCorp’s Responses to Staff Data Request No. 203, Docket No. UE-032065

### I.	INTRODUCTION

### Q.	Please state your name and business address.

A.	My name is Yohannes K.G. Mariam.  My business address is 1300 S. Evergreen Park Drive S.W., P.O. Box 47250, Olympia, WA  98504.  My email address is ymariam@wutc.wa.gov.

# Q.	By whom are you employed and in what capacity?

A.	I am employed by the Washington Utilities and Transportation Commission as Regulatory Analyst (Economist).

Q.	How long have you been employed by the Commission?

A.	I have been employed by the Commission since September 1999.

Q.	Have you prepared an exhibit that states your educational and professional background?

A.	Yes.  My Exhibit No. ___ (YKGM-2), entitled “Qualifications and Experience of Yohannes K.G. Mariam,” summarizes my qualifications.

II.	SCOPE OF TESTIMONY

Q.	What is the scope of your testimony?

A.	I present Staff’s recommendation regarding PacifiCorp’s proposed temperature normalization adjustment, including the impact on the Company’s proforma revenue requirement.

The temperature normalization adjustment is also called the “weather normalization” adjustment.  In my testimony, both terms refer to the same issue: adjusting test year electricity usage based on the difference between normal temperature and test year average temperature.

III.	SUMMARY OF TESTIMONY

Q.	Please summarize your testimony.

A.	Staff’s temperature normalization adjustment reduces PacifiCorp’s revenue requirements by $1.485 million.

Staff’s adjustment increases PacifiCorp’s test year normalized electricity consumption by 43,629 MWh, as shown in my Exhibit No. ___ (YKGM-3), Table 9a.  This results in a pro forma revenue increase of $2.215 million, as shown in the same table.  The cost of these additional MWH increases the Company’s pro forma operating expenses by $698,000.  After adjusting for accounting adjustments such as taxes, the Staff weather normalization adjustment increases PacifiCorp’s Net Operating Income (NOI) by $881,000.

Staff Witness Thomas Schooley is responsible for incorporating the impact of this adjustment on the Company’s net operating income, revenue requirements, and rates.

I also explain that the Commission should reject PacifiCorp’s temperature normalization adjustment because the Company cannot show it is supported by reliable data, current data, or data applicable to Washington.  The Commission should also order PacifiCorp to acquire and maintain appropriate data, model and statistical results regarding weather normalization data.  My specific recommendations in this regard are found in Section V.

IV.	DISCUSSION

### A.	The Need For a Temperature Normalization Adjustment

Q. 	Why is a temperature normalization adjustment necessary?

A. 	The Commission sets rates based on normal temperatures.  In Washington, PacifiCorp’s customers use electricity for space heating and air conditioning.  Consequently, temperature greatly impacts usage of electricity by residential, commercial and industrial class.  This impact is reflected in the Company’s total revenues.

To take a simple example, assume a utility had no air conditioning load, just heating load.  If the test year was warmer than normal, customers would heat less, and the test year revenues recorded by the utility would be lower than normal.  Conversely, if the test year was colder than normal, customers would heat more, and the test year revenues recorded by the utility would be higher than normal.  In either case, a temperature normalization adjustment is necessary in order to determine the proper level of revenue based on normal temperature conditions.

B.	The Basic Calculation of a Temperature Normalization Adjustment

Q.	What parameters are required in order to compute temperature normalized electricity consumption for the test year?

A.	Four parameters are needed to compute electricity temperature normalized consumption for the test year.  These are normal temperature, variations from normal temperature using unbilled heating and cooling degree days, temperature sensitivity coefficients and test year number of customers.

Q.	How is normal temperature determined?

A.	Normal temperature is determined from data published by the National Oceanographic and Atmospheric Administration (NOAA).  NOAA computes normal heating and cooling degree days at various locations, including locations in PacifiCorp’s service area in Washington.

NOAA relies on standards established by the World Metrological Organization (WMO), of which the United States is a member.  The WMO develops weather normals based on 30 years of observations.  The WMO has set the end of a decade as the proper term for a 30-year period from which to calculate climatic conditions.  The average value of a meteorological variable such as precipitation or temperature over the 30 years is defined as a “climatological normal,” or “climate normal.”

Thus, NOAA computes 30-year climate normals every ten years.  The premises behind the development of normals every ten year are: (1) there would be adequate temperature data to capture trends; and (2) climate normals calculated every 10 years would smooth out the year-to-year variations.

NOAA provides normal temperatures for the three largest cities in PacifiCorp’s service territory: Yakima, Walla Walla and Sunnyside, for the period 1971-2000.  This data is shown in my Exhibit No. ___(YKGM-3), Tables 4b, 6b, and 8b.

NOAA implements a relatively robust method to remove or minimize the effects of missing data, errors in recording data, changes in instrumentation, observation practices, observation time, temperature abnormalities, and so on, in order to derive normal temperature.

Q.	How are variations from normal calculated?

A.	Variations from normal are computed using heating degree-days (“HDD”) and cooling degree days (“CDD”).

In normalizing test year electricity consumption, the temperature of each day of the test year is compared to the normal temperature for that day.  The difference, or variation between normal and actual test year temperature, is called unbilled heating or cooling degree days.

One heating degree day, or 1 HDD, is a day when the average daily temperature was one degree below 65 degrees Fahrenheit (650F).  Conversely, one cooling degree day, or CDD, is a day when the average daily temperature was 660F: one degree above 650F.  A zero degree day is a day when the temperature was 650F.  In other words, a heating degree day measures the difference between average temperature for the day and 65 degrees Fahrenheit.

650F is an internationally accepted average outside temperature that would result in an indoor bodily comfortable temperature.  When the outside temperature is below 650, the indoor temperature needs to be increased by space heating.

Q.	How are temperature sensitivity coefficients and test year customers used in the calculation of the adjustment?

A.	Temperature sensitivity coefficients or factors are developed by applying appropriate statistical methods to the heating and cooling degree day information.  These coefficients are multiplied by unbilled heating and cooling degree days and the number of customers.  The result is temperature normalized electricity consumption for the test year.

### C.	Staff’s Temperature Normalization Adjustment

1.	Staff’s method

Q.	Please explain Staff’s weather normalization method.

A.	In Staff’s weather normalization method:

(1) 	Staff used Company-provided monthly temperature and retail sales data for the period 1995-2004, and calculated electrical use per customer;

(2)	Staff used 650F as the “base” or “cut-off” temperature to calculate test year heating and cooling degree days for each month;

(3)	Staff obtained 1971-2000 normal heating and cooling degree days from NOAA for PacifiCorp’s service area (Yakima, Sunnyside, and Walla Walla).  See my Exhibit No. ___ (YKGM-3), Tables 4b, 6b, &8b;

- Staff incorporated non-weather related variables (e.g., holidays, seasons, month and year) that may affect use per customer;

- Staff implemented an “Autoregressive Moving Average” (ARMA) statistical procedure to estimate the impact of temperature on use per customer relating to the development of temperature (heating and cooling) sensitivity coefficients.  See my Exhibit No. ___ (YKGM-3), Tables 1, 3, 4a, 5, 6a, 7, & 8a;

- Staff obtained monthly total number of customers in the test year;

- Staff multiplied the weather sensitivity coefficients by the number of customers and unbilled heating and cooling degree days.  The results are monthly temperature normalized test year electricity consumption.  See my Exhibit No.__(YKGM-3), Tables 3, 4a, 5, 6a, 7, & 8a;  and

- Staff multiplied the temperature normalized test year electricity consumption by the energy rates to estimate the pro forma revenue impact of Staff’s temperature adjustment procedure.

2.	Statistical tests showing the reliability of Staff’s data

Q.	Did Staff conduct any testing to assure the reliability of its data?

A.	Yes.  For example, Staff applied the coefficients it developed to test year usage, to derive estimated use per customer.  Staff then compared this estimated use per customer to the actual use per customer for the period 1995-2004.

The results are presented in my Exhibit No. ___ (YKGM-3), Table 2.  Table 2 shows that the average difference between the estimated and actual use per customer is 0.39%.  This level of accuracy, based on monthly retail sales data, reflects a robust analysis.

The 95% confidence level for the estimated use per customer data showed that the average margin of error is 2.68%.  This means that the average difference between estimated and actual use per customer obtained from Staff’s analysis is about seven (2.68%/0.39%= 7) times less than what would be obtained under a 95% confidence level.  Exhibit No. ___ (YKGM-2), Table 2.

Therefore, Staff’s procedure closely approximates actual use per customer and is accurate in capturing the impact of changes in temperature on use per customer.

Q.	What other statistical tests did Staff use to test the reliability of the data  used in Staff’s adjustment?

A.	In calculating weather sensitivity coefficients, Staff corrected for serial correlation using the Autoregressive Moving Average (ARMA) statistical procedure.

Q.	Please describe serial correlation, and explain the importance of correcting for serial correlation in the weather normalization adjustment.

A.	Serial correlation, also called autocorrelation, refers to the relatively higher degree of association between components of two observations (often adjacent or consecutive time periods) that cannot be explained by variables included in the analysis (also called error or residual terms).

The statistical measure that determines the existence of serial correlation is called the “Durbin-Watson” or “D-W” statistic.  In general, if the value of the D-W statistic is close to 2.00, then there is no problem with serial correlation.  For a sample size 100, a D-W statistic that lies between 1.57 and 2.20 implies that there is no problem of serial correlation.

It is important to correct for serial correlation because otherwise, one could be led to conclude that the statistical estimates are more precise than they really are.  This could result in consistently under-estimating or over-estimating future values of the same variables.  That is, the estimated level of electricity usage for the next one, two, three, or five years could be significantly higher or lower compared with results obtained from a model that makes a correction for these kinds of correlations.

Therefore, in order to improve the reliability of estimates of weather sensitive electricity usage, it is necessary to correct correlations between residuals of adjacent observations.

Q.	How does Staff’s weather normalization adjustment correct for serial correlation?

A.	As I indicated earlier, Staff implemented the Autoregressive Moving Average (ARMA) procedure to estimate the weather sensitivity coefficients.  As my Exhibit No. ___ (YKGM-3), Table 1, shows, the D-W statistics are close to 2.00.  Consequently, there is no serial correlation problem in Staff’s data.

3.	The power cost offset

Q.	What is the amount of additional power costs associated with the additional MWh reflected in Staff’s Weather Normalization Adjustment?

A.	The additional power costs are $698,000.

Q.	How did you calculate that $698,000 figure?

A.	That figure was calculated using PacifiCorp’s system wide net power cost of about $895 million, divided by the Company’s net system load of 57 million MWh, for an average energy cost of $16/MWh.  I multiplied $16/MWH times Staff’s additional 43,629 MWhs from its weather normalization analysis, resulting in a power cost increase of $698,000.

Q.	Is that a precise calculation?

A.	No.  But, it is the best calculation possible under the circumstances.  A more precise calculation would be made by performing a weather normalization calculation for all PacifiCorp’s jurisdictions, not just Washington.  However, that was not possible.

Q.	Did Staff request PacifiCorp to calculate the power cost and revenue impact of Staff’s weather normalization adjustment?

A.	Yes.  Staff requested that information in Staff Data Request No. 260.  The Company’s Response is contained in my Exhibit No. ___ (YKGM-4).

Q.	Is the data the Company provided in that response useful?

A.	No.  There are three reasons why the information supplied by the Company is not useful:

(1)	PacifiCorp improperly added Staff’s normalized test year volumes to normalized system-wide test year volume in the Company’s calculation of production factor;

(2)	PacifiCorp erred in using the system generation (SG) factor to calculate the power cost impact of Staff’s weather normalization adjustment; and

(3)	PacifiCorp cannot show the information in the Company’s Response is reliable, accurate and statistically valid because it is based on an RTI study from the 1980’s that has the same deficiencies.

Q.	Please describe the production factor and how it is used in this rate proceeding.

A.	Staff Witness Mr. Schooley provides an explanation in his testimony regarding the determination PacifiCorp’s production factor.  As he explains, the production factor is applied to the pro forma power costs and generation-related rate base to bring the projected costs of the rate year back to the test year level of electricity consumption.

The production factor is the ratio of test year normalized megawatt hours (MWH) to rate year MWH.

Q.	Why was it improper for PacifiCorp to add Staff’s normalized Washington test year load to system-wide rate year load in computing the production factor in the Company’s Response to Staff Data Request No. 260?

A.	PacifiCorp derived the system-wide rate year load using a method different than the method Staff used to calculate Washington’s normalized test year load.  Because the loads were not calculated in a consistent manner, it is not appropriate to simply add them together.

To be consistent, PacifiCorp should have computed system-wide normalized test year loads using the same method Staff used in its weather normalization adjustment for Washington.  PacifiCorp did not use a consistent method, so the results in its Response are erroneous.

Q.	Why was it improper for PacifiCorp to use the SG factor to calculate the power cost impact of Staff’s weather normalization adjustment?

A.	The Company’s System Generation (SG) factor is based on the same flawed method for calculating weather normalized loads as the Company used in its weather normalization adjustment.  Therefore, it is not appropriate to use that factor in the Company’s Response to Staff Data Request No. 260.

The Company’s SG factor is a weighted average of the System Capacity (SC) factor, which is a measure of peak load responsibility, and the System Energy (SE) factor, which is a measure of annual use.  The SG factor weights the SC factor 75 percent and the SE factor 25 percent (i.e., SGWA=0.75*SCWA+0.25*SEWA).

The SE factor PacifiCorp used in developing the SG factor is the ratio of each jurisdiction's temperature adjusted energy to system total temperature adjusted energy.  The Company calculates these temperature adjusted energy figures using the same temperature normalization method the Company uses in its weather normalization adjustment.  As I explain later in my testimony, the Company’s method is flawed.

Q.	Why was it improper for PacifiCorp to use the RTI study in preparing its Response?

A.	As I explain in more detail later in my testimony, Staff cannot verify the reliability or accuracy of the data, methods, and statistical results of the RTI study PacifiCorp used in developing the Company’s weather normalization adjustment.  Because the Company also relied on the RTI study to prepare its Response to Staff Data Request No. 260, the Company cannot show that its Response is reliable, accurate or statistically valid.

Q.	Is Staff’s cost calculation conservative in the Company’s favor or the ratepayers’ favor?

A.	It is conservative in the Company’s favor because the power cost I used was based on aggregate total Company figures.  Staff’s calculation of the power cost impact due to weather normalization adjustment is in the Company’s favor because it imputes a somewhat higher power cost compared to Staff’s power supply and cost allocation analysis.

Q.	In future PacifiCorp rate cases, does the Staff intend to apply the temperature normalization method it used in this case?

A.	Not necessarily.  Staff’s method is applicable in this rate proceeding, but the methods, data, and relevant information can and should be improved.  In Section V of this testimony, I provide a list of specific recommendations designed to develop improved data.  If the Commission orders PacifiCorp to comply with those conditions, and if PacifiCorp complies, the temperature normalization analysis in future cases will be improved.

### D.	Comparison of Staff and Company Temperature Normalization Adjustments

Q.	What temperature normalization adjustment does PacifiCorp offer in this case?

A.	PacifiCorp is offering Adjustment 3.1, entitled “Weather Normalization.”  The Company’s adjustment reduces test year revenue by $2,698,406, as shown in Mr. Wrigley’s Exhibit No. ___ (PMW-3), page 3.0, column 3.1.

Q.	What is the difference in MWh and revenues between the Staff and Company Weather Normalization Adjustments?

A.	Staff’s weather normalization method results in increases actual test year electricity consumption by 43,629MWh.  This results in an increase to test year revenues of $2.215 million.  These figures are shown in the “Total” column of my Exhibit No. ___ (YKGM-3), Table 9a.

PacifiCorp’s adjustment, on the other hand, reduces actual test year electricity consumption by 51,081 MWh.  This results in a pro forma reduction in test year revenues of $2.698 million.  These figures are shown in the “Total” column of my Exhibit No. ___ (YKGM-3), Table 9b.

Consequently, Staff and Company adjustments differ by 94,710MWh and $4.913 million in revenue, as shown on my Exhibit No. ___ (YKGM-3), Table 10.

Q.	What is the difference in revenue requirement between Staff and Company Weather Normalization Adjustments?

A.	Staff’s adjustment reduces revenue requirements by $1.485 million.  The Company’s adjustment increases revenue requirements by $2.823 million.  Accordingly, the Staff and Company adjustments differ by $4.3 million at the revenue requirement level.

Staff determined its revenue requirement figure by taking the $2.215 million in additional revenue determined by Staff, subtracting the additional power costs of $698,000, and deducting the revenue-related costs and taxes, resulting in an NOI increase of $881,000.  The net effect reduces revenue requirements by $1.485 million.

The Company’s adjustment decreases revenues by $2.698 million in the test year.  The Company’s Adjustment 3.1 shows no change in power cost due to temperature normalization, because PacifiCorp subsumes that power cost change in its Net Power Cost Adjustment 5.1.  In addition, Company Adjustment 3.1 does not include any effects on revenue-related costs and taxes.

Accordingly, for comparison purposes, Staff calculated a power cost reduction of $817,000 associated with the Company’s weather normalization adjustment.  This figure was calculated on the same basis as Staff’s power cost.  After reflecting revenue-related costs of about $119,000, the Company’s adjustment decreases NOI by $1.093 million, for a revenue requirement deficiency of $1.843 million.

As I mentioned earlier, Staff Witness Mr. Schooley is responsible for the calculations of the impact of Staff’s weather normalization adjustment on the Company’s net income and revenue requirements.

Q.	What are the significant differences between Staff and Company calculations?

A.	There are three major differences.  First, Staff used 1971-2000 normal temperature data from NOAA.  PacifiCorp used 1961-1990 data.

Second, Staff used 650F as the “base” temperature from which to compute degree days, rather than the four temperature ranges PacifiCorp used.

Finally, Staff used monthly retail sales data from PacifiCorp’s Washington service area, and implemented an Autoregressive Moving Average (ARMA) estimation method to determine temperature sensitivity coefficients, a method that removes the impact of serial correlation.  PacifiCorp used hourly data from 1983 and 1984 from its Utah service area, and the Company cannot document the statistical method it used to determine temperature sensitivity coefficients.

Q.	Please describe in more detail how the Company’s calculated its Weather Normalization adjustment, compared to Staff’s.

A.	PacifiCorp’s adjustment was calculated as follows:

(1)	PacifiCorp used “normal” temperature data from NOAA for the period 1961-1990, rather than the more current NOAA data for the period 1971-2000 that Staff used;

(2)	PacifiCorp computed degree days using four ranges of temperature as its “base” or “cut-off” temperatures, rather then the 65°F base temperature Staff used;

(3)	PacifiCorp calculated test year unbilled degree days as the difference between test year actual temperature and the four base points described under (2) above;

(4)	PacifiCorp calculated unbilled electricity usage by multiplying updated coefficients based on the model developed by a consultant’s study from the 1980’s, times the test year unbilled degree days and number of customers in each rate schedule.  PacifiCorp’s coefficients were based on the four base points.  Staff developed coefficients based on variations of test year temperature from the 650F base point and monthly retail electrical usage; and

(5)	PacifiCorp multiplied the unbilled electric usage from Item 4 by the energy rate to arrive at unbilled sales revenue, which resulted in PacifiCorp’s Weather Normalization Adjustment 3.1.

Q.	Has the Commission approved the sorts of data and assumptions PacifiCorp used in its adjustment?

A.	No.  In this case, PacifiCorp is using the same sorts of data and assumptions that it used in its weather normalization adjustment in Docket No. UE-032065.  However, that case was settled, and the Commission did not approve the Company’s adjustment in that docket.

E.	Critique of PacifiCorp’s Weather Normalization Adjustment

Q.	Is the Company’s temperature normalization adjustment appropriate?

A.	No.  There are several problems with the Company’s adjustment: 1) The Company used outdated normal temperature data; 2) The Company’s provided insufficient support for its calculation of HDD and CDD to develop four base temperature ranges; 3) The Company’s study is unreliable because it used data that is over 20 years old, and the data was collected for only two years, which is also insufficient; and finally, 4) The Company cannot provide sufficient statistical support for its adjustment.

1.	Normal temperature data

Q.	Did the Company use appropriate data for normal temperature?

A.	No.  PacifiCorp should have used the most recent data available.  As I described earlier, NOAA’s most recent release of normal temperature data is for the period 1971-2000.  PacifiCorp used normal temperature data for the period 1961-1990.  Staff’s adjustment uses more current data.

2.	Calculation of heating degree days (HDD), cooling degree

days (CDD), and base points

Q. 	Please describe how PacifiCorp calculated HDD and CDD.

A.	PacifiCorp calculated HDD and CDD as the difference between actual test year temperature and one of four different “cut-off” or “base”  temperatures.

Q.	What temperature ranges did the Company use for its base temperatures?

A.	The Company used the following four temperature ranges:

(1)	Heating degree days-winter (HDD) = 55-average daily temperature, if temperature is  55;

(2)	Heating degree days-shoulder (HDDSH)= 65-average daily temperature, if 55 < Temp  65;

(3)	Cooling degree days-Shoulder (CDDSH) = 68-Average daily temperature, if 65 < Temp < 68; and

(4)	Cooling degree days summer (CDD) = Average daily temperature - 68, if Temp  68.

Q.	Why did the Company use four temperature ranges?

A.	PacifiCorp contends that the traditional definition of degree-days based on 65°F does not necessarily match its customers’ use of electric heating and cooling equipment.  The Company’s contention also implies that the impact of temperature on retail sales varies for different ranges of temperature.

Q.	What is the basis for the Company’s contention?

A.	The Company’s contention is based on a study conducted in the 1980’s by a PacifiCorp consultant, Research Triangle Institute (RTI).  PacifiCorp retained RTI to develop a weather normalization adjustment procedure.

RTI used hourly load data from Utah.  The data was collected in 1983 and 1984, so the data is now more than 20 years old.

RTI made graphical analyses of changes in electricity usage per customer associated with changes in temperature.  RTI plotted electricity usage per customer against average hourly and daily temperature.  Based on the shape of the curve, RTI identified four ranges of temperature.

From this, RTI concluded that the transition from heating to cooling points is not linear.  Subsequently, RTI proposed a transition period between cooling and heating degree-days, called “shoulder months.”  Therefore, in addition to the conventional heating and cooling degree-days, RTI developed cut-off points for the shoulder months.  RTI also computed shoulder heating and cooling degree days.

Graphical analysis of temperature and use per customer relationships led RTI to implement regression analysis using different temperature points.  RTI used the results of the regression and graphical analysis as the basis for the final determination of the four cut-off or base temperatures.

Q.	Please explain the problems with PacifiCorp’s HDD and CDD calculations and the base temperature ranges.

A.	The most significant problem is that the Company cannot prove the validity of its numbers.  As I explain later, Staff asked PacifiCorp to supply the data, model and statistical results used in the RTI study, but PacifiCorp was unable to provide that information.

While it is plausible that electricity usage might not change within a specific temperature range, PacifiCorp needs to supply accurate and reliable hourly or daily usage data in order for Staff to confirm that such a relationship actually exists.  PacifiCorp has not shown the data it relies on is accurate and reliable.

Q.	Are there other problems with the Company’s four base temperature ranges?

A.	Yes.  The determination of a base temperature range requires a detailed study that takes into account the following factors:

- Structure of the house (windows, doors, square foot, etc.) and year built;

- Number and composition of household members (by age group);

- Humidity, radiant temperature, cloud cover, and wind observations; and

- Types or kinds of electric appliances and magnitude of reject heat or heat releases.

Data on these and related factors should be collected over a period of at least three years to assure an adequate number of observations, and to determine trends in the data.

The findings from these kinds of detailed studies may be aggregated to a class of customers, provided that the sample studied represents that class of customers.

The Company’s study contains none of these details.  Moreover, as I discussed earlier, the data supporting the Company’s study was collected over only two years, which is not sufficient.  Without a reliable study, the Commission should not accept PacifiCorp’s base temperature ranges.  In other words, until PacifiCorp provides the Commission with empirical proof to establish a different base temperature, the Commission should retain the single point 65°F base temperature.

3.	The vintage and quantity of the data PacifiCorp used, and its applicability to Washington

Q.	Assuming the Company properly calculated HDD, CDD and base temperature, would that data be acceptable?

A.	No, for several reasons.  First, PacifiCorp has presented no evidence that the hourly or daily usage data used in the RTI study is accurate for present purposes.  The RTI study data is now more than 20 years ago.  It cannot be assumed that the relationships found 20 years ago still exist today.  Usage patterns, customer characteristics, temperature and other relevant factors change over time.  Consequently, the models and estimated coefficients PacifiCorp is using that were derived from data in the 1980’s might not reflect the true sensitivity of electricity usage to changes in temperature in the test year.

In addition, the RTI study used only two years of data.  Not only can Staff not determine the representativeness of the sample used in the study, but Staff cannot determine whether or not the two years of data captured by RTI adequately captured year to year variability.

Finally, the RTI study PacifiCorp relies upon applied to Utah, and it used Utah data.  Utah is a jurisdiction that exhibits very different temperature, customer behavior and socioeconomic characteristics compared to Washington.  Consequently, even if the accuracy of PacifiCorp’s data could be verified, there is no reason to believe the study results should apply to Washington.

Q.	Have you prepared an exhibit showing some of the different socioeconomic characteristics of Washington compared to Utah?

A.	Yes.  Please refer to my Exhibit No. ___ (YKGM-5), entitled “Comparison of Selected Socioeconomic Characteristics of Washington and Utah.”  In that exhibit, I present various statistics from 2000 census survey and 2004 population estimate applicable to Washington and Utah.  There are significant differences in average size of household, age of population and other behavioral factors that can affect electrical usage.  Accordingly, it is not apparent that a Utah-based study, conducted over 20 years ago, is applicable to Washington today.

4.	Statistical support for the Company’s adjustment

Q.	What statistical results did PacifiCorp provide in support of its weather normalization adjustment?

A.	PacifiCorp provided an output that contains estimates related to the four base temperature ranges used in the Company's weather normalization adjustment.

Q.	Was this information useful?

A.	No.  These estimates alone do not provide any useful information.  For example, from this information, it is not possible to evaluate: (1) the method of estimation; (2) the plausibility of variables included in the model; or (3) the indicators regarding the fitness of the model.  Consequently, I cannot confirm the robustness of the model PacifiCorp used.

Q.	Did Staff request the Company to provide that information?

A.	Yes.  Staff requested this information in Staff Data Request No. 100.

Q.	What was the Company’s Response to that Data Request?

A.	The Company stated in part: “The coefficients used for weather normalization are developed periodically.  However, the specific data used for and equations resulting from their development are no longer available in the Company’s records.”  The Company’s complete response to this data request is my Exhibit No. ___ (YKGM-6).

Q.	Based on what the Company has provided, can Staff confirm the propriety of the statistical method PacifiCorp used in its weather normalization adjustment?

A.	No.  As I mentioned, PacifiCorp could not even provide Staff with documentation on how RTI selected the statistical model used in its weather normalization adjustment.  There is no basis for Staff to agree or disagree with the statistical method PacifiCorp used.  Consequently, the Company has supplied insufficient justification for its Weather Normalization Adjustment.

Finally, because PacifiCorp has not supplied the data, model and detailed output of the statistical analysis employed, Staff cannot confirm the validity of the non-weather related variables included in the study, such as income and price.

Q.	Earlier, in your explanation of Staff’s adjustment, you explained how Staff corrected for the impact of serial correlation on the estimation of weather sensitivity coefficients.  Did the Company appropriately evaluate the impacts of serial correlation in its adjustment?

A.	I do not know.  The Company was unable to supply the information necessary for me to make that assessment.

Q. 	Is the Company’s inability to provide Staff the data Staff needs to analyze the Company’s method new to this case?

A.	No.  Staff asked for the same sort of information in the Company’s last general rate case, Docket No. UE-032065.  My Exhibit No. ___ (YKGM-7) is the Company’s Response to Staff Data Request No. 203 in that Docket.  That exhibit shows PacifiCorp could not provide the necessary information in that docket either.

Q.	Was the Company able to provide Staff the original RTI study the Company is relying on in this proceeding?

A.	No.  As shown in Exhibit No. ___ (YKGM-7), page 1, the Company did not retain the RTI study.

V.	CONCLUSIONS AND RECOMMENDATIONS

Q.	Why should the Commission adopt Staff’s temperature normalization adjustment and reject the Company’s?

A.	Staff’s adjustment uses the most current Washington use per customer and normal temperature data available to develop weather sensitivity coefficients.  Staff also used data, model and statistical results that are verifiable, robust and statistically supported.

By contrast, PacifiCorp’s adjustment used 20 year old Utah-based data, and normal temperature data that are also outdated.  Moreover, the Company has not shown that its data, model and statistical results are verifiable, robust, statistically supported, or even applicable to Washington.

Q.	What does Staff recommend for future PacifiCorp rate cases?

A.	For future rate cases, the Commission should order the Company to implement the following changes to its temperature normalization procedure:

(1)	PacifiCorp should develop daily electricity usage data by rate schedule for 10 years, including the test year.

Because the Company used billing cycle data to develop calendar-month usage that matches temperature records, it would not be difficult to develop daily usage data.

(2)	PacifiCorp should use 650F for the base temperature, which is the balance point temperature adopted by NOAA, WMO, and other national and international organizations.

NOAA’s method accounts for the impact of factors that may influence normal temperature observed over several years.  These include adjustments for missing data, for time of observation bias, instruments used, abnormal temperature, and so on.  The objective of these adjustments is to ensure that the impacts of external factors on temperature are taken into account, and that the data become homogenous and representative.  Therefore, this methodology produces a better gauge of temperature norms.  PacifiCorp should continue to use 65-degree base temperature and normal temperature from the most recent 30-year data until NOAA, WMO, and other national and international organizations agree to change them.

(3)	PacifiCorp should attempt to collect data on variables, such as income, price, family size, and attributes of housing that may affect use per customer; and

- PacifiCorp should document, update and retain all statistical estimation procedures that it uses to develop the weather normalization adjustments, and it should justify the choice of empirical models and estimation procedures.

PacifiCorp needs to implement these changes to improve the accuracy of its estimates of temperature sensitive heating and cooling loads, so that PacifiCorp’s revenue requirements and prices properly reflect the impact of changes in temperature.

- Does this conclude your testimony?

A.	Yes.

World Meteorological Organization, 1984:  Technical Regulations, Vol. I. WMO Publication No. 49, Geneva, Switzerland.

In this testimony, the terms “base,” or “cut-off” temperature are used interchangeably.  They refer to the choice of temperature value(s) from which departures are calculated to determine HDD and CDD.  Commission Staff uses 650F as the base or cut-off temperature.

See Mr. Schooley’s Exhibit No. ___ (TES-3) at 20.

$16/MWh x (51,081 MWh) = ($817,296).  Numbers in brackets are negative.

($2,698,000) +$817,000 +$119,000+669,000 = ($1,093,000).

($1,093,000) / 0.59305 = -$1,843,000 revenue requirement deficiency.