Errata, 2007 Integrated Resource Plan

Page 61, Chapter Highlights, first bullet: The expected system-wide average load growth per year from 2007 through 2016 should be 2.4 percent, rather than 2.5 percent.

Page 61, Chapter Highlights, second bullet: The western system average annual peak growth rate should be 1.2 percent, not 0.8 percent.

Page 148, first bullet: The PVRR difference between the 15% PRM portfolio and the higher-cost 18% PRM portfolio is $377 million, not $6.9 billion. The PVRR difference between the 12% PRM portfolio and the higher-cost 15% PRM portfolio is $206 million, not $6.3 billion. (CAF01 was mistakenly used as the basis of comparison rather than CAF11.)

Page 183, Table 7.31: The east-side front office transaction megawatt amount for 2016 is missing a digit. The value should be “1,209” rather than “ ,209”.

Page 190, second paragraph: Referring to Table 7.39, Portfolio RA16 has the lowest overall risk when averaging risk measures across the CO2 cost adder cases, and not RA13. This error is due to the text not being updated after a table data update.

Page 95 and 96, Tables 5.2 and 5.3: Under the Variable Costs headings of Tables 5.3 and 5.4, the column reporting “Fuel/Other” was mistakenly hidden. The corrected tables are shown below.

Page 161, Table 7.17: The front office transaction annual average for portfolio RA11, for the period 2012 through 2016, should be 982 MW rather than 1,009 MW. The front office transaction annual average for portfolio RA12, for the period 2012 through 2016, should be 886 MW rather than 863 MW.  Additionally, the Utah IGCC plant should be 508 MW rather than 497 MW.

Appendix C, Table C.5, Page 102: The annual megawatts of front office transactions are incorrect for SAS16. The correct values are shown below.

| Scenario | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SAS16 | - | 683 | 613 | 1,080 | 1,334 | 1,372 | 782 | 413 | 413 | 649 |

Appendix C, Page 103, Table C.6: Gas addition values reported for CAF01 to CAF15 and SAS01 through SAS04 are incorrect. The affected table rows and corrected values are included below in “Table C.6 – Gas Additions, Including Combined Heat and Power“.

Table 5.3 – Total Resource Cost for East Side Supply-Side Resource Options

(2006 Dollars)

Table 5.3 – Total Resource Cost for West Side Supply-Side Resource Options

(2006 Dollars)

Table C.6 – Gas Additions, Including Combined Heat and Power

(Corrected rows only)

| Scenario | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CAF01 | - | - | - | - | - | 25 | 25 | 25 | 25 | 25 |
| CAF02 | - | - | - | - | - | - | - | - | - | - |
| CAF03 | - | - | 25 | 25 | 25 | 1,059 | 1,059 | 1,059 | 1,059 | 1,059 |
| CAF04 | - | - | - | - | - | 1,150 | 1,275 | 1,823 | 1,823 | 1,823 |
| CAF05 | - | - | - | - | - | 125 | 125 | 125 | 125 | 125 |
| CAF06 | - | - | 25 | 25 | 25 | 2,140 | 2,742 | 3,134 | 3,566 | 3,923 |
| CAF07 | - | - | - | - | - | 100 | 100 | 100 | 100 | 100 |
| CAF08 | - | - | - | - | - | 1,175 | 1,175 | 1,175 | 1,175 | 1,275 |
| CAF09 | - | - | - | - | - | - | - | - | - | - |
| CAF10 | - | - | - | - | - | 1,150 | 1,150 | 1,150 | 1,150 | 1,225 |
| CAF11 | - | - | - | - | - | 734 | 759 | 759 | 759 | 759 |
| CAF12 | - | - | - | - | - | 50 | 50 | 50 | 50 | 50 |
| CAF13 | - | - | - | - | 302 | 1,628 | 1,628 | 1,628 | 1,628 | 1,628 |
| CAF14 | - | - | - | - | - | 25 | 25 | 25 | 25 | 25 |
| CAF15 | - | - | 25 | 25 | 327 | 1,211 | 1,211 | 1,211 | 1,211 | 1,211 |
| SAS01 | - | - | - | - | - | 125 | 125 | 125 | 125 | 125 |
| SAS02 | - | - | - | - | 634 | 634 | 734 | 734 | 734 | 734 |
| SAS03 | - | - | - | - | - | 125 | 125 | 125 | 125 | 125 |
| SAS04 | - | - | - | - | - | 125 | 125 | 125 | 125 | 125 |