AMENDATORY SECTION (Amending Docket No. UE-990473, General Order No. R-482, filed 5/3/01, effective 6/3/01)

WAC 480-100-163  Service entrance facilities.  (1) An electric utility may require customers to:

(a) Provide service entrance facilities at the easiest access point to the utility's distribution system; and

(b) Comply with reasonable requirements to keep those facilities free from tampering or interference.

(2) In order to permit the required clearances, utilities may require their customers to provide a structurally sound point of attachment for the utility's service conductors pursuant to the National ((Electric)) Electrical Code.  Information about the National ((Electric)) Electrical Code regarding the version adopted and where to obtain it is set out in WAC 480-100-999 Adoption by reference.