0001

1                 BEFORE THE WASHINGTON STATE

UTILITIES AND TRANSPORTATION COMMISSION

2   WASHINGTON UTILITIES AND      )

TRANSPORTATION COMMISSION,    )  DOCKET NO. PG-041624

3                                 )

Complainant,  )  Volume I

4                                 )  Pages 1 to 30

vs.                 )

5                                 )

PUGET SOUND ENERGY,           )

6                                 )

Respondent.   )

7   ______________________________)

8              A hearing in the above matter was held on

September 15, 2004, from 3:00 p.m to 3:40 p.m., at 1300

9   South Evergreen Park Drive Southwest, Room 206, Olympia,

Washington, before Administrative Law Judge ANN RENDAHL

10   and Chairwoman MARILYN SHOWALTER and Commissioner

PATRICK J. OSHIE.

11

The parties were present as follows:

12

THE COMMISSION, by DONALD T. TROTTER,

13   Assistant Attorney General, 1400 South Evergreen Park

Drive Southwest, P.O. Box 40128, Olympia, Washington

14   98504-0128, Telephone (360) 664-1189, Fax (360)

586-5522, E-mail dtrotter@wutc.wa.gov.

15

PUGET SOUND ENERGY, by JAMES E. WILLIAMS,

16   Attorney at Law, Perkins Coie LLP, 1201 Third Avenue,

Suite 4800, Seattle, Washington 98101-3099, Telephone

17   (206) 359-3543, Fax (206) 583-8500, E-mail

jwilliams@perkinscoie.com.

18

CITY OF BELLEVUE, by LORI M. RIORDAN, Deputy

19   City Attorney, City Attorney's Office, City of Bellevue,

11511 Main Street, P.O. Box 90012, Bellevue, Washington

20   98009-9012, Telephone (425) 452-6829, Fax (425)

452-7256, E-mail lriordan@ci.bellevue.wa.us.

21

22

23

24   Joan E. Kinn, CCR, RPR

25   Court Reporter

0002

1   --------------------------------------------------------

2                    INDEX OF EXAMINATION

3   --------------------------------------------------------

4   WITNESS:                                          PAGE:

5             STEPHEN P. REYNOLDS

6   Witness Statement                                  13

7

8          WITNESS PANEL - KIM WEST, KUANG-SHI CHU,

9                SUE MCLAIN, and JAMES P. HOGAN

10   Examination by Chairwoman Showalter                18

11   Examination by Commissioner Oshie                  29

12   Examination by Chairwoman Showalter                22

13   Examination by Judge Rendahl                       25

14   Examination by Chairwoman Showalter                28

15

16

17

18

19

20

21

22

23

24

25

0003

1   --------------------------------------------------------

2                      INDEX OF EXHIBITS

3   --------------------------------------------------------

4

5   EXHIBIT:                     MARKED:           ADMITTED:

6             KIM WEST

7      1                          17                  17

8             KUANG-SHI CHU

9      2                          17                  17

10

11

12

13

14

15

16

17

18

19

20

21

22

23

24

25

0004

1                    P R O C E E D I N G S

2              CHAIRWOMAN SHOWALTER:  Good afternoon.  This

3   is an emergency adjudication before the Washington

4   Utilities and Transportation Commission.  The docket is

5   PG-041624.  It is a complaint by the Commission against

6   Puget Sound Energy arising out of the circumstances of

7   the explosion on September 2nd at a house in Bellevue,

8   Washington.  I'm Marilyn Showalter, I'm the Chair of the

9   Commission.  With me is Commissioner Pat Oshie and also

10   Administrative Law Judge Ann Rendahl.  Commissioner

11   Hemstad will not be at the hearing today.

12              The purpose of an emergency adjudication is

13   to determine whether there is an immediate danger to the

14   public health, safety, or welfare, whether certain

15   actions are necessary to prevent or avoid that danger,

16   and in particular to ensure that the causes of the

17   September 2nd explosion have not led to other unsafe

18   conditions in the vicinity.

19              Because this is an adjudication,

20   Administrative Law Judge Rendahl will preside, so at

21   this point I will turn it over to her.

22              JUDGE RENDAHL:  Good afternoon.  After we

23   take the appearances of the parties and others that are

24   appearing today, I will make a brief statement about the

25   reasons that we're appearing here today for this

0005

1   hearing, and then we'll address a joint stipulation or

2   joint submission that's been submitted by Commission

3   Staff and Puget Sound Energy and hear from attorneys

4   representing PSE, Staff, and other parties or others

5   concerning that joint submission.  And I understand that

6   Staff and PSE have persons available to answer questions

7   or appear as witnesses this afternoon if need be to

8   answer questions concerning the submission and the

9   events surrounding the September 2nd explosion.

10              Just a preliminary, I would appreciate it if

11   everyone would turn off their cell phones during this

12   hearing or turn them to vibrate and to refrain from

13   holding side conversations during the hearing so that we

14   can keep noise in the hearing room to a minimum.  And

15   for those who are participating in the hearing, if you

16   could speak directly into the microphone.  When the red

17   button is up, it is on, and when it is down, it is

18   muted.  And for those who are listening on the

19   Commission's bridge line, if you could identify yourself

20   when you speak, then we'll know who is speaking.

21              Before we go any farther, let's take

22   appearances, and so we will need you to state your name,

23   the party you represent, your full address, telephone

24   number, fax number, and E-mail so we can get a full

25   record for our list of parties, master service list.  So

0006

1   let's begin with Commission Staff.

2              MR. TROTTER:  For the Commission, my name is

3   Donald T. Trotter, I'm an Assistant Attorney General.

4   My address is 1400 South Evergreen Park Drive Southwest,

5   P.O. Box 40128, Olympia, Washington 98504-0128.  My

6   phone number is (360) 664-1189, fax is (360) 586-5522,

7   and my E-mail is dtrotter@wutc.wa.gov.

8              JUDGE RENDAHL:  And for Puget Sound Energy.

9              MR. WILLIAMS:  This is James Williams

10   representing Puget Sound Energy.  I'm with the Perkins

11   Coie firm in Seattle.  My address is 1201 Third Avenue,

12   40th Floor, Seattle, Washington 98101-3099.  Phone is

13   (206) 359-3543, fax is area code (206) 583-8500, E-mail

14   is jwilliams, that's W-I-L-L-I-A-M-S, @perkinscoie.com.

15              JUDGE RENDAHL:  Thank you.

16              Is anyone else appearing for PSE this

17   afternoon?

18              MR. WILLIAMS:  Yes, we have company

19   representatives here to answer questions.

20              JUDGE RENDAHL:  Okay, thank you very much.

21              And is there any other person in the hearing

22   room wishing to state an appearance?

23              MS. RIORDAN:  Thank you, I am Lori Riordan,

24   that's R-I-O-R-D-A-N.  I'm appearing on behalf of the

25   City of Bellevue, which has filed a petition to

0007

1   intervene in these proceedings.  My address is 11511

2   Main Street, Post Office Box 90012, Bellevue, Washington

3   98009-9012.  Telephone is (425) 452-6829, fax is (425)

4   452-7256, and my E-mail address is

5   lriordan@ci.bellevue.wa.us.

6              JUDGE RENDAHL:  Thank you.

7              MR. WILLIAMS:  Your Honor, there is one other

8   thing I would mention, the CEO of the company is here,

9   Mr. Reynolds, as well.

10              JUDGE RENDAHL:  Okay, thank you very much.

11              The Commission has received the City of

12   Bellevue's petition for intervention.  Does any party

13   object to this petition for intervention?

14              MR. WILLIAMS:  No.

15              JUDGE RENDAHL:  Hearing no objection, it

16   shall be granted, so the City of Bellevue is a party to

17   the proceeding.

18              Now I will note that I did receive a copy of

19   the motion because it was faxed to the Commission's

20   Secretary.  If the City has not yet filed the petition

21   with our records center, if you could please do so

22   either by mail today or fax and send a copy by E-mail to

23   records@wutc.wa.gov, that would be very helpful.

24              Now the Commission filed a complaint against

25   PSE on September 13th which alleges certain facts

0008

1   concerning the September 2nd, 2004, explosion.  The

2   complaint alleges that a hole in the service line to the

3   house allowed natural gas to leak out of the service

4   line into the house and that the leak in the service

5   pipe to the house was caused by corrosion.  The

6   complaint further alleges that a corrosion control

7   device known as a rectifier was incorrectly configured

8   in such a way to promote, not reduce, corrosion of steel

9   natural gas service lines serving the area in Bellevue

10   where the explosion occurred.

11              Consistent with the complaint, the Commission

12   issued a notice of emergency adjudication on September

13   13th initiating this emergency hearing.  The Commission

14   seeks to clarify a statement in the first paragraph of

15   the notice.  The notice states, and I quote:

16              The complaint alleges that PSE

17              incorrectly installed a VASC Park

18              Rectifier that caused the September 2nd,

19              2004, explosion at the house located at

20              16645 Southeast 26th Place, Bellevue,

21              Washington.

22              The notice should have read:

23              The complaint alleges that corrosion in

24              the service line caused the September

25              2nd, 2004, explosion at the house

0009

1              located at 16645 Southeast 26th Place,

2              Bellevue, Washington, and that the

3              incorrect configuration of a VASC Park

4              Rectifier may have caused a dangerous

5              condition which may present an immediate

6              danger to the public health, safety, and

7              welfare.

8              With that, is there anything else we need to

9   discuss before hearing from the parties concerning the

10   agreed submission?

11              Mr. Trotter, would you like to start.

12              MR. TROTTER:  Surely, Your Honor, thank you.

13   PSE and Commission Staff filed about an hour and a half

14   ago an agreed submission which you should have before

15   you.  The City of Bellevue is not a signatory.  By the

16   same token, they were not involved in the discussions.

17   I think one of the purposes behind this was to make this

18   hearing go as efficiently as possible and to get to a

19   just result on an emergency basis.

20              I would just explain briefly that the

21   Statement of Facts, Section II in this submission is

22   almost verbatim the fact statement in the complaint.

23   Any changes are completely immaterial.  There is a

24   section Roman Numeral III called Other Matters.  3.1

25   clarifies what Your Honor just clarified regarding the

0010

1   rectifier.  3.2 addresses privileges and other related

2   issues.  And then Section IV is the action that PSE and

3   Staff agree is appropriate.  All of this, of course, is

4   subject to your review and approval and consideration.

5   But Section IV is the same as the emergency remedies

6   listed in the complaint as items 1 through 9 with two

7   exceptions.

8              The first relates to in the submission on

9   page 4, item (b), 4.1(b), that corresponds to item 2 in

10   the complaint.  And our witnesses can describe in detail

11   why this was changed, but this deals with what types of

12   actions PSE will take in response to leaks that are

13   found.  The complaint had a ten day turn around, and

14   this tightens that up and adds some features regarding

15   the call before you dig law and so on, but the witnesses

16   may be able to address that in more detail and why item

17   (b) is reasonable.

18              The second is item (h), which again

19   corresponds with item 8 in the complaint, Paragraph 29,

20   Item 8 in the complaint, and I believe the only change

21   is the last sentence, which makes clear that the next

22   leak survey of the mains and lines in the area needs to

23   occur on or before October 4th, but that the inspection,

24   the leak survey, excuse me, that they did immediately

25   following the explosion doesn't count, that there will

0011

1   be an additional one between now and October 4th to have

2   a 30 day cycle going.  It's our understanding the

3   company did do a leak survey of the homes in the area

4   immediately after the explosion.  So those are the two

5   changes.

6              There is one other, the complaint alleged

7   there were 2,400 homes served by the rectifier in

8   question, and you will note here that it's been changed

9   to 2,600 based on updated and more accurate information.

10              So I believe that's the long and the short of

11   it.  It is here for your consideration, and we intend to

12   present Ms. Kim West and Mr. Kuang Chu to answer

13   questions.  I also have some photographs if you're

14   interested, we can make you -- give you a brief

15   presentation on the physical evidence near the house

16   that was found to show you graphically the hole and what

17   likely transpired.

18              So we're at your disposal in terms of what

19   type of presentation you require at this time.

20              JUDGE RENDAHL:  Okay, at this point I would

21   like to hear from PSE and also from the City of

22   Bellevue, and then we'll consider what else we need in

23   this proceeding.

24              Mr. Williams.

25              MR. WILLIAMS:  Thank you, Your Honor.  At

0012

1   this time I would actually like to have Mr. Reynolds

2   come forward, I think it's appropriate for him to make a

3   few comments to the Commission, he would like to address

4   you.

5              JUDGE RENDAHL:  All right, and we will be

6   swearing him in as a witness in the proceeding?

7              MR. WILLIAMS:  No, he's not here to answer

8   questions, he wants to make just a general statement on

9   behalf of the company.

10              CHAIRWOMAN SHOWALTER:  This is an

11   adjudication, and the lawyers can make appearances, but

12   other people are witnesses.  And it will be necessary if

13   Mr. Reynolds would like to make a statement to be sworn

14   in, and I'm sure he will be truthful.

15              MR. WILLIAMS:  Yes.

16              MR. REYNOLDS:  I'm happy to be sworn in.

17              JUDGE RENDAHL:  Okay, if you would just check

18   and make sure the red button is up on your microphone.

19              Would you please state your full name and

20   address for the record.

21              MR. REYNOLDS:  My name is Stephen P.

22   Reynolds, Bellevue, Washington.

23              JUDGE RENDAHL:  And would you raise your

24   right hand, please.

25              (Witness Stephen P. Reynolds was sworn.)

0013

1              JUDGE RENDAHL:  Please go ahead.

2

3   Whereupon,

4                    STEPHEN P. REYNOLDS,

5   having been first duly sworn, was called as a witness

6   herein and was examined and testified as follows:

7

8              MR. REYNOLDS:  Thank you, Your Honor and

9   Commissioners and City of Bellevue and Commission Staff.

10   Just a few comments from me.  One, I want to speak from

11   the standpoint of the CEO of the company and on behalf

12   of the board of directors to make it abundantly clear to

13   all parties that as a utility, safety is our number one

14   priority.  In addition to safety, it's concerns about

15   anxiety to our customers associated with the quality of

16   service we provide.  We are absolutely committed to and

17   believe we have an impeccable level with regard to

18   safety, and we're committed to try to immediately to

19   work with all parties involved, determine causes and

20   remedies associated with this unfortunate incident.  And

21   from that standpoint, we are prepared to move as rapidly

22   and quickly as we can, and I applaud the settlement

23   today as an example of something that will allow all

24   parties to expeditiously move to provide whatever

25   appropriate remedies are necessary.

0014

1              Thank you.

2              JUDGE RENDAHL:  Thank you.

3              Is there any party, Staff or the City, that

4   has questions for Mr. Reynolds?

5              Commissioners?

6              CHAIRWOMAN SHOWALTER:  Not at this time.

7              We would like to hear from the City of

8   Bellevue as to your view of the proposed agreement.

9              MS. RIORDAN:  Thank you.  I just had a chance

10   to look at it as I came in the door because it was being

11   prepared while we were in transit on the way down here,

12   but I have spoken with Mr. Trotter about it, I have

13   looked at it, it does look quite similar to the

14   complaint.  And if you have an opportunity to read the

15   City's petition on intervention, we are not seeking to

16   raise any new issues, and we are in agreement with the

17   remedies proposed by your Staff and in fact are pleased

18   with the amendments that are basically proposed here in

19   this agreed submission.  So the City is prepared to

20   support this.

21              JUDGE RENDAHL:  Well, let's be off the record

22   for a moment while we determine how we wish to proceed

23   further in this proceeding.  We will be off the record

24   for a moment.

25              (Discussion on the Bench.)

0015

1              JUDGE RENDAHL:  We would like to bring

2   forward witnesses from Staff and the Company, because

3   the Commissioners do have a few questions that they

4   would like to have answered.  So if the Staff witnesses

5   could come forward to the table, we will have you state

6   your names into the record and swear you in as

7   witnesses, and the Commissioners will ask questions as a

8   panel of the Company and Staff witnesses, so please come

9   forward.

10              MR. TROTTER:  Your Honor, I do have their

11   qualifications in exhibit form.  I would be happy to

12   pass those out so the record will show.  Rather than

13   orally go through the qualifications of each witness, I

14   would offer the exhibits.

15              JUDGE RENDAHL:  All right, I would also -- I

16   guess I have a question if PSE, Bellevue, and Staff

17   would like the agreed submission to be considered a

18   pleading or an exhibit in this emergency adjudication?

19              MR. TROTTER:  I have no preference, Your

20   Honor.

21              MR. WILLIAMS:  Whatever is easiest for you,

22   Your Honor.

23              JUDGE RENDAHL:  I think as a pleading it's

24   sufficient.  It's in the nature of a settlement, so I

25   think that's sufficient.

0016

1              Is there any objection to the qualifications

2   of the Staff witnesses being admitted?

3              MR. WILLIAMS:  No objection, Your Honor.

4              JUDGE RENDAHL:  All right.

5              Mr. Trotter, if you can provide a copy to the

6   City and to the Company, that would be helpful.  And for

7   purposes of marking, I will mark, let's see, let's have

8   the Staff witnesses identify themselves first, beginning

9   with you, Ms. West.

10              MS. WEST:  My name is Kim West, and I work at

11   1300 South Evergreen Park Drive Southwest, Olympia,

12   Washington, that's 98504-7250.

13              JUDGE RENDAHL:  Okay, I think that's

14   sufficient.

15              And the other Staff witness.

16              MR. TROTTER:  Could I just ask the witnesses

17   to make sure the microphone is right up close, thanks.

18              MR. CHU:  My name is Kuang Chu.

19              JUDGE RENDAHL:  And if you can spell that,

20   please, for the record.

21              MR. CHU:  K-U-A-N-G, actually my full name is

22   Kuang-Shi, S-H-I, and C-H-U is my last name.

23              JUDGE RENDAHL:  Wonderful, thank you.

24              MR. CHU:  I work at 1300 South Evergreen Park

25   Drive Southwest, Olympia, Washington 98504-7250.

0017

1              JUDGE RENDAHL:  Okay, thank you.

2              So for purposes of marking, we'll mark

3   Ms. West's qualifications as Exhibit 1 and Mr. Chu's

4   qualifications as Exhibit 2.

5              And is there any objection to admitting those

6   into the record?

7              MR. WILLIAMS:  No objection, Your Honor.

8              MS. RIORDAN:  No objection.

9              JUDGE RENDAHL:  All right, they will be

10   admitted.

11              And for purposes of identifying the company's

12   witnesses, Mr. Williams, who do you have here?

13              MR. WILLIAMS:  We have with us Ms. Sue McLain

14   to act as the Company's primary witness.  We also have

15   Jim Hogan here if necessary, but we want most of the

16   questions to be directed to Ms. McLain.

17              JUDGE RENDAHL:  All right.  And Ms. McLain,

18   if you could state your name, spell it, and state your

19   address for the record, please.

20              MS. MCLAIN:  Sue McLain, M-C capital L-A-I-N,

21   Senior Vice President Operations, Puget Sound Energy,

22   address is P.O. Box 97034, Mail Stop PSE-12W, Bellevue,

23   Washington 98009-9734, phone number (425) 462-3696.

24              JUDGE RENDAHL:  Thank you.

25              And Mr. Hogan.

0018

1              MR. HOGAN:  My name is James P. Hogan, I am

2   the Manager of Standards and Compliance for Puget Sound

3   Energy.  My work address is P.O. Box 90868, Mail Stop

4   XRD-LL, Bellevue, Washington 98009.  My phone number is

5   (425) 462-3957, my fax is (425) 462-3770.

6              JUDGE RENDAHL:  Thank you.

7              And Ms. West, Mr. Chu, Ms. McLain, and

8   Mr. Hogan, if you would please raise your right hand.

9              (Witnesses Kim West, Kuang-Shi Chu, Sue

10              McLain, and James P. Hogan were sworn.)

11              JUDGE RENDAHL:  Okay, I understand there are

12   a few questions for these witnesses.

13

14   Whereupon,

15          KIM WEST, KUANG-SHI CHU, SUE MCLAIN, and

16                        JAMES P. HOGAN

17   having been first duly sworn, were called as witnesses

18   herein and were examined and testified as follows:

19

20                    E X A M I N A T I O N

21   BY CHAIRWOMAN SHOWALTER:

22        Q.    I have one question, I think maybe,

23   Ms. McLain, you're the best person to answer, but the

24   agreed action calls for the company to develop a

25   communications plan within ten days, and I recognize you

0019

1   may not have developed a plan completely, but it calls

2   for the company to alert affected customers that there

3   may be a problem.  How are you planning to alert them,

4   is this by mail, by door to door, by a hanger on the

5   door?

6        A.    (Ms. McLain)  We anticipate working with both

7   the City of Bellevue and with Commission Staff in order

8   to determine the best methodology.  We are open to a

9   variety of routes, whether it is door to door, via

10   telephone, community meetings, written materials as

11   well, and so we are open to any and all methods of

12   communication.

13        Q.    So you haven't settled on a way or a set of

14   ways yet?

15        A.    (Ms. McLain)  No, we have a variety of ways,

16   and we are willing to implement all or a portion of

17   those in the best interests of the other parties as

18   well.

19              CHAIRWOMAN SHOWALTER:  Thank you.

20              COMMISSIONER OSHIE:  Thank you, Madam Chair.

21

22                    E X A M I N A T I O N

23   BY COMMISSIONER OSHIE:

24        Q.    Just a couple questions, one to follow on the

25   Chair's question, Ms. McLain, and a bit of a background,

0020

1   how big of an area, geographic area, are we talking

2   about that's affected by this agreement?  There's 2,600

3   homes, but is it just ball park a square mile or five

4   or?

5        A.    (Ms. McLain)  It's fairly densely populated,

6   however the rectifier does provide service or covers a

7   portion of the system that is several miles.  I would

8   anticipate it's approximately a four or five mile by

9   four or five mile stretch.

10        Q.    Thank you.

11        A.    (Ms. McLain)  And we do -- I do have some

12   boundaries, but I'm afraid I don't have the exact square

13   mileage.

14        Q.    Well, that's fine for this hearing, I just

15   really wanted to get a feel for the size of the area

16   that we're talking about that's affected by this action.

17              I have a question, and it's really for the

18   panel, and it has to do with the intention of the

19   parties in Section 4.1(b) or Paragraph 4.1(b) of the

20   agreed submission, that's found on page 4.  And in

21   Paragraph (b), it is the third sentence, and I will read

22   it just so that I'm clear and you're clear as to what it

23   is that I'm asking, and the sentence reads:

24              In the event that the source of a C Leak

25              can not be located via excavation, PSE

0021

1              will consult with Commission Staff on

2              next steps.

3              And that was, it's not necessarily ambiguous

4   as to what the parties mean by in the event that they

5   run into a C Leak that can not be located via

6   excavation, but what wasn't clear to me is really what

7   the circumstances were that the parties were envisioning

8   in which a leak wouldn't be detected via excavation.

9   What are we really talking about here?

10        A.    (Ms. McLain)  I would be happy to address

11   that.  Leaks are classified, and a C Leak is a very,

12   very small amount of gas that is released and detected.

13   And in some cases, the porousness of the soil itself, if

14   perhaps it's a dry day you may observe a reading of gas

15   in the atmosphere, if it were to rain and tomorrow we

16   were to go out we may not be able to detect any gas

17   whatsoever.  So what we were trying to identify is when

18   we observe a C Leak, and now we have begun the

19   excavation process, we have exposed the pipe in the area

20   that we believe the leak to be in, in some cases we may

21   not be able to find that leak in the portion of the

22   excavation, we will begin to travel and excavate further

23   up the line for many feet, and we will continue that

24   process.  But if we are unable to locate the leak

25   itself, and again a very low level C Leak, we will

0022

1   consult with Staff on the appropriate next steps, should

2   we continue searching or what actions are appropriate.

3        Q.    Does Staff have anything to add to

4   Ms. McLain's answer?

5        A.    (Ms. West)  No.

6        Q.    Do you see this as an unusual circumstance?

7   At least it was my impression from the agreement the way

8   that it's drafted that --

9        A.    (Ms. McLain)  We anticipate that it will be a

10   very rare occurrence, but there are times at least that

11   we may not be able to locate, and we wanted to make

12   certain that if we were unable to locate the source of

13   the leak that we would be able to consult with Staff on

14   the appropriate next steps.

15              COMMISSIONER OSHIE:  Thank you very much.

16

17                    E X A M I N A T I O N

18   BY CHAIRWOMAN SHOWALTER:

19        Q.    I'm still thinking a little bit about this

20   notification plan, and I trust particularly since it

21   will be developed with our Staff it will be good for

22   that time, that's ten days from now.  Can you give me

23   some idea of the kinds of publicity that this event has

24   already received.  And my concern is, if there is a

25   dangerous situation, what do people know today?

0023

1   Obviously if there is a smell of gas, that's one big

2   signal, but can -- I know there have been newspaper

3   articles, and maybe the City of Bellevue can add to

4   this, but are there -- is it likely that people in the

5   neighborhood already know of this event or not?

6        A.    (Ms. McLain)  Yes, let me describe some of

7   the steps that we have already taken.  We have

8   immediately around the surrounding neighborhood, very

9   close proximity to the event, we had customer service

10   representatives going out door to door and talking with

11   customers the weekend following, well, the day and the

12   weekend following the event.

13              We also have technology within our company

14   where we were able to take a geographical area and phone

15   numbers for customers within that geographical area, we

16   were able to make an outbound calling statement to those

17   customers describing what had transpired and the steps

18   the company was taking.  This was to approximately 600,

19   700 customers again in that immediate area.

20              We have used that system on several occasions

21   to keep customers notified of the steps that were taken,

22   additionally to advise them of a community meeting that

23   was held in conjunction with the City of Bellevue

24   representatives, and also Staff members were also

25   present and participated.

0024

1              Yesterday we expanded the scope of that

2   outbound calling system to advise customers, the full

3   2,600 or approximately 2,600 customers, of the status of

4   the situation, and we expect to use that system to help

5   in -- to help expand our communication efforts.  So, for

6   example, if we have additional community meetings, we

7   can use that as a tool to notify the customers in that

8   specific area.

9        Q.    And how many people attended the community

10   meeting?

11        A.    (Ms. McLain)  I believe there was

12   approximately 80 attendees.

13        Q.    I think maybe you could also help me

14   understand, what is the nature of the physical testing

15   that you are doing, without getting overly technical?

16        A.    (Ms. McLain)  The physical testing of the

17   service or the pipeline, pipe itself?

18        Q.    Of the pipe itself.  In other words, how are

19   -- describe for me how you're going about determining

20   whether there are any other leaks.

21        A.    (Ms. McLain)  The -- what we have done to

22   date is perform a full leak survey of that area.  We

23   have a third party contractor that is hired to perform

24   that survey work.  A vehicle attached with or that is

25   fitted with devices that can detect gas across the

0025

1   entire front bumper of that vehicle basically would

2   drive the route of the main, the main pipeline.  It

3   travels at speeds between three and five miles per hour,

4   and it can detect the -- if there is a gas -- any gas in

5   the atmosphere.

6              If gas is -- if a signal is received that gas

7   is present, the operator stops the vehicle, gets out of

8   the vehicle, and uses a hand-held device to locate the

9   source of the leak.

10              Additionally, each service going to a home is

11   hand walked or has been hand walked with a hand-held

12   device again to detect any natural gas levels.

13              CHAIRWOMAN SHOWALTER:  Thank you.

14

15                    E X A M I N A T I O N

16   BY JUDGE RENDAHL:

17        Q.    I have a few questions, and the first one is

18   based on the complaint and the facts set forth in

19   Section II of the agreed submission, my understanding is

20   that there is a concern that there might be a dangerous

21   condition facing the public in Bellevue, and that's why

22   we're having this hearing today.  I just wanted to make

23   sure that, in fact, there is a concern that requires us

24   to have this hearing today.  If any of the witnesses can

25   speak to that issue in a sense confirming the facts in

0026

1   the complaint and the agreed submission that justify

2   emergency relief here today.

3        A.    (Mr. Chu)  This is Staff from the pipeline

4   safety section, Kuang Chu.  There is a concern about the

5   safety of the people in that area because of this fire

6   incident, and we believe that additional precautionary

7   measures must be taken at the moment to ensure the

8   safety of the people living in that area, and that's why

9   we've got these action items that we want PSE to take in

10   this order.  So yes, we have concern about safety of the

11   people.

12        Q.    Okay, thank you.

13              And for the company?

14        A.    (Ms. McLain)  We believe that the steps

15   outlined here are appropriate given the issue and want

16   to make certain and explore every avenue and research

17   and investigate the cause.

18        Q.    Okay.

19              And my other question is, can you point to me

20   the actions, the portions of the agreed action in

21   Section 4, 4.1 of the agreed submission, that focus on

22   the issue of whether there is a danger posed by the

23   incorrect configuration of the rectifier, what aspects

24   of the agreed action are intended to address that

25   question?

0027

1        A.    (Ms. McLain)  I believe it's in item (e) in

2   terms of the records relating to the installation and

3   maintenance of the rectifier, and item (h) in terms of

4   the additional leak surveys that would be conducted in

5   terms of are we seeing any additional anomalies or any

6   anomaly at all, and in item (i) as well.

7        Q.    And how would the company determine the

8   condition of the coating; would that require excavation?

9        A.    (Ms. McLain)  Well, there is some technology

10   that we are -- that we are researching to see if it is a

11   viable candidate to be used in this situation, and I

12   believe that that is our -- that is why we have that

13   last sentence that, in this area, that PSE will work

14   with Commission Staff to determine the parameters.

15   There is some equipment that is typically used on

16   transmission pipeline sensing equipment that we don't

17   know if it will apply and work on a distribution system,

18   but we want to make that inquiry and look at

19   organizations that may be able to assist us in

20   performing that work.

21        Q.    Okay, thank you.

22              Anything further from Staff?

23        A.    (Ms. West)  In our experience, whenever the

24   situation where rectifier leads are reversed, it not

25   only prevent the pipeline, steel pipeline systems to not

0028

1   be protected, it may actually accelerate corrosion in

2   some areas, and that's where our concern is.  As

3   representatives of PSE have mentioned, that one way to

4   detect that is to go back and do leak surveys on the

5   system so we know that the system is working.

6              JUDGE RENDAHL:  Okay.

7

8                    E X A M I N A T I O N

9   BY CHAIRWOMAN SHOWALTER:

10        Q.    I think in that regard, we haven't dwelt on

11   one paragraph of the agreement, which says:

12              At this time, the Commission Staff

13              believes insufficient information is

14              available to conclude that there is a

15              causal link between the configuration of

16              the rectifier and the corrosion that

17              caused the explosion.

18              And the purpose I gather of the procedures

19   that are outlined in the rest of the agreement is to

20   gather sufficient information to determine what the

21   actual cause was, but that the purpose of this hearing

22   is simply to survey and make sure there is not an

23   emergency, and if there is one, or that is an emergency

24   condition, and if there is one to fix it.  The getting

25   to the bottom of everything comes a little later.

0029

1        A.    (Ms. West)  That's true.

2              JUDGE RENDAHL:  Are there any further

3   questions?

4              Any cross of any witnesses by the attorneys

5   here?

6              All right, well, let's be off the record for

7   a moment while we consult.  We will be off the record.

8              (Discussion on the Bench.)

9              CHAIRWOMAN SHOWALTER:  The Commission has

10   deliberated, and you can expect a written order shortly,

11   but I do want to inform the hearing room that the

12   Commission is persuaded by the agreed submission that

13   there may be grounds to believe an emergency exists,

14   that the steps in the agreement that are outlined there

15   we do approve as the steps necessary to determine

16   whether there is a dangerous situation, if so, what to

17   do about it.  We also approve of the reporting

18   requirements that the Staff and this Commission and the

19   public will be kept informed of the steps taken.

20              We want to applaud the parties for their

21   ability to come to an agreement so quickly to address

22   the situation, because the less time spent arguing about

23   how to come to an agreement, the more time you can spend

24   addressing the on the ground conditions, and that's the

25   underlying concern.

0030

1              So you can expect a written order to this

2   effect a little more formally probably by tomorrow.

3              JUDGE RENDAHL:  Or Friday.

4              CHAIRWOMAN SHOWALTER:  Or Friday.

5              JUDGE RENDAHL:  We would hope for tomorrow,

6   but one never knows how quickly we can move.  We'll work

7   for tomorrow.

8              CHAIRWOMAN SHOWALTER:  All right.

9              JUDGE RENDAHL:  Is there anything further we

10   need to address this afternoon?

11              All right, hearing nothing, this hearing,

12   this emergency hearing will be adjourned.  Thank you all

13   for appearing today on short notice, and an order will

14   be issued tomorrow.

15              All right, let's be off the record.

16              (Hearing adjourned at 3:40 p.m.)

17

18

19

20

21

22

23

24

25