## (2)(a)(i) One Time (all)
PUGET SOUND ENERGY 2017 RPS REPORT | [6 empty] | Attachment 5
One Time Calculation of Incremental Cost for Each (All) Eligible Resource(s)
480-109-210(2)(a)(i) Utility must make a one-time calculation of incremental cost for each eligible resource at the time of acquisition or, for historic acquisitions, the best information available at the time of acquistion
Formula One Time Calculation of Incremental Cost: Energy-Levelized Incremental Cost: [Levelized Cost Eligible Renewable Resource – Levelized Cost Alternative] Capacity-Levelized Incremental Cost: [Levelized Cost Eligible Renewable Resource – Levelized Cost Alternative] Energy + Capacity = Incremental Cost
Resource | ENERGY | $ | Energy | Capacity | Capacity | $ | $
| Levelized Cost Eligible Renewable Resource ($/REC/MWh) | Total Annual Cost ($) | Levelized Cost Alternative ($/MWh) | Levelized Cost Alternative ($/kW-yr) | Total Alternative Cost ($) | Incremental Cost ($) | Washington Share
Baker River Project - Lower Baker Unit 3 | 78.5388 | 8600000 | 7.92 | 120.012 | 9290000 | -690000 | -690000
Snoqualmie Falls - Snoqualmie Falls Units 1-4 | 112.6917 | 3850000 | 2.44 | 64.824 | 3180000 | 670000 | 670000
Wild Horse - Wild Horse | 54.3404 | 34940000 | 26.53 | 281.196 | 29740000 | 5200000 | 5200000
Hopkins Ridge - Hopkins Ridge | 40.2006 | 18770000 | 19.26 | 149.796 | 20970000 | -2200000 | -2200000
Wild Horse - Wild Horse - Phase II | 109.0454 | 10030000 | 5.09 | 70.956 | 5900000 | 4130000 | 4130000
Hopkins Ridge - Hopkins Ridge Phase II | 60.8828 | 1280000 | 1.19 | 14.892 | 1360000 | -80000 | -80000
Lower Snake River - Dodge Junction - LSR-Dodge Junction | 78.633 | 39330000 | 48.51 | 148.044 | 27960000 | 11370000 | 11370000
Lower Snake River - Phalen Gulch - LSR-Phalen Gulch | 78.6467 | 31280000 | 48.51 | 148.044 | 22230000 | 9050000 | 9050000
Klondike III - Klondike Wind Power III LLC | 65.1319 | 10270000 | 8.98 | 81.468 | 9910000 | 360000 | 360000
[6 empty] | 0 | 0
[6 empty] | 0 | 0
Total Renewable Resource Cost |  | 158350000 |  |  | 130540000 | 27810000 | 27810000
Note 1: WAC 480-109-210 (2) (G): Legacy resources. Any eligible resource that the utility acquired prior to March 31, 1999, is deemed to have an incremental cost of zero. |  |  |  |  | Washington Share: | 100%
[5 empty] | ALL RESOURCES TOTAL INCREMENTAL COST = ENERGY + CAPACITY | 27810000
Note: Levelized cost of eligible renewable resource should include integration costs, where applicable.

## (2)(a)(ii)Annual-2017, estimate
PUGET SOUND ENERGY 2017 RPS REPORT | [5 empty] | Attachment 5
2017 Estimated Data: Annual Calculation of Revenue Requirement Ratio
480-109-210(2)(a)(ii) Utility must annually calculate its revenue requirement ratio for 1) All Resources 2) Required Resources Target Year
Formula Annual Calculation of Incremental Cost (Revenue Requirement Ratio): 1) Total Incremental Cost All* Resources: {[sum of incremental costs of All* eligible resources + cost of unbundled RECs] - [revenue RECs]} / annual revenue requirement *required because of excess generation, Avista needs to report 2 incremental costs 2) Total Incremental Cost Required Resources for Target Year: {[sum of incremental costs of Target Year* eligible resources used for target year compliance + cost of unbundled RECs] - [revenue RECs]} / annual revenue requirement
Resource--Washington Only | ALL AVAILABLE RESOURCES ESTIMATED |  |  | TARGET YEAR: FORCAST SUBJECT TO CHANGE
| sum of incremental costs of all eligible resources | RECs purchased | Revenue from REC sales/Note 1 | sum of incremental costs of all eligible resources | RECs purchased | Revenue from REC sales/Note 1
Baker River Project - Lower Baker Unit 3 | -690000 |  |  | -690000
Snoqualmie Falls - Snoqualmie Falls Units 1-4 | 670000 |  |  | 670000
Wild Horse - Wild Horse | 5200000 |  |  | 5200000
Hopkins Ridge - Hopkins Ridge | -2200000 |  |  | -2200000
Wild Horse - Wild Horse - Phase II | 4130000 |  |  | 4130000
Hopkins Ridge - Hopkins Ridge Phase II | -80000 |  |  | -80000
Lower Snake River - Dodge Junction - LSR-Dodge Junction | 11370000 |  |  | 11370000
Lower Snake River - Phalen Gulch - LSR-Phalen Gulch | 9050000 |  |  | 9050000
Klondike III - Klondike Wind Power III LLC | 360000 |  |  | 360000
| 0 |  |  |  |  | 0
| 0 |  |  | 0
| 0 |  |  | 0
| 0 |  |  | 0 |  | 0
Total | 27810000 | 0 | 0 | 27810000 | 0 | 0
Total WA Only Resources | 27810000 | 0 | 0 | 27810000 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0
Total WA Share of Costs | 27810000 | 0 | 0 | 27810000 | 0 | 0
Annual Revenue Requirement (most recent rate case) |  |  | 2003605158.7247 |  |  | 2003605158.7247
| CALCULATION 1 (Note 2): |  | 29139373.62 | CALCULATION 2 (Note 2): |  | 29139373.62
| 1.454% |  |  | 1.454%
NOTES
Note 1: Benefit of REC sales during 2012 to 2016 period were considered and included in original one time calcuation of incremental costs, therefore would not be appropriate to include
again in annual costs. Additionally, no vintage 2016 RECS sold.
Note 2: To calculate revenue requirements all costs/revenues are multiplied by 1.047802 to account for Washington's share Excise Tax, Uncollectibles and Commission Fees.

## (2)(a)(iii)(A) and (B)
PUGET SOUND ENERGY 2017 RPS REPORT |  |  |  |  | Attachment 5
(iii)(A) & (B) Annual Reporting Summary Data: 2017
2017 | Utility must (A) report its total incremental cost as a dollar amount and in dollars per megawatt-hour of renewable energy generated by all eligible renewable resources in the calcualtion (a)(i) of this subsection; and (B) multiply the dollars per megawatt-hour cost calculated in (a)(iii)(A) of this subsection by the number of megawatt-hours needed for target year compliance.
| (A) |  |  | (B)
Resource | Total Incremental Cost (as dollar $ amt.) | MWh | Total Incremental Cost ($/MWh) | Number of Megawatt-hours Needed for Target Year Compliance | Total Incremental Cost ($/MWh) Multiplied by Number of Megawatt-hours Needed for Target Year Compliance
Baker River Project - Lower Baker Unit 3 | -690000 | 109500 | -6.3014 | 93789 | -590999.1781
Snoqualmie Falls - Snoqualmie Falls Units 1-4 | 670000 | 34164 | 19.6113 | 20497 | 401972.5442
Wild Horse - Wild Horse | 5200000 | 642984 | 8.0873 | 150000 | 1213093.9495
Hopkins Ridge - Hopkins Ridge | -2200000 | 466908 | -4.7118 | 398058 | -1875589.1953
Wild Horse - Wild Horse - Phase II ** | 4130000 | 91980 | 44.9011 | 108686 | 4880117.1994
Hopkins Ridge - Hopkins Ridge Phase II | -80000 | 21024 | -3.8052 | 19184 | -72998.4779
Lower Snake River - Dodge Junction - LSR-Dodge Junction** | 11370000 | 500172 | 22.7322 | 500734 | 11382775.4852
Lower Snake River - Phalen Gulch - LSR-Phalen Gulch** | 9050000 | 397728 | 22.7542 | 367953 | 8372492.3817
Klondike III - Klondike Wind Power III LLC | 360000 | 157680 | 2.2831 |  | 0
Apprenticeship Credits for Eligible Resources |  |  |  | 195474.6 | 0
**Note--These facilities qualify for apprenticeship credits therefore requiring less MWh for compliance