## Sheet1
Estimated Installation Costs of Sections of Shirona Water System by Date.
1978 Shirona Distribution
| Item | Number | Length/Size | Cost /Feet or per Unit | Installed Cost
| 6"PVC inc. tees & fittings |  | 5460' | $45/ft. | 245700
| 4"PVC inc. tees & fittings |  | 500' | $30/ft. | 15000
| 2" inc. tees & fittings |  | 290' | $15/ft. | 4350
| Fire Hydrants | 3 |  | $3500 ea | 10500
| Pumphouse Construction | 1 | 336 sq. ft. | $45/sq. ft. | 15120
| Pressure Pumps | 2 |  | $3,000 ea. | 6000
| Well #1 | 1 |  |  | 15000
| Pressure Tank | 1 | 48" X 96" |  | 12000
| Electrical Service | 1 |  |  | 3000
| Storage Tank | 1 | 40,000 gal. |  | 30000
| Brine Treatment System | 1 |  |  | 10000
|  |  |  | Total Cost | 366670
1993 Well #2 Install, Pump House Upgrade
| Item | Number | Length/Size | Cost /Feet or per Unit | Installed Cost
| 2" Water Meter | 2 |  | 1500 | 3000
| New 6" Pipeing in Equipment Room |  | 15' | $30/ft | 450
| New Pressure Pumps | 3 |  | $3500/ea | 10500
| New 3" Valves | 6 |  | $75/ea | 450
| Install Well #2 | 1 |  |  | 15000
| Install Well Enclosure | 1 |  |  | 250
|  |  |  | Total Cost | 29650
1995 Wellman Place Waterline Extension
| Item | Number | Length/Size | Cost /Feet or per Unit | Installed Cost
| 8" PVC inc. tees & fittings |  | 3290 ft. | $55 /Sq. Ft. | 180950
| Fire Hydrants | 2 |  | $3500 ea. | 7000
| 2" PVC inc. tees & fittings |  | 565 ft. | $15/ft | 8475
|  |  |  | Total Cost | 196425
1997 Ozone Treatment System Installation
| Item | Number | Length/Size | Cost /Feet or per Unit | Installed Cost
| Installed New Ozone System | 1 |  |  | 51000
|  |  |  | Total Cost | 51000
1997 Cathwood Watermain Extension
| Item | Number | Length/Size | Cost /Feet or per Unit | Installed Cost
| 6" PVC inc. tees & fittings |  | 1742 | $45/ft | 78390
| 2" PVC inc. tees & fittings |  | 510 | $15/ft. | 7650
| Fire Hydrants | 3 |  | $3500/ea. | 10500
|  |  |  | Total Cost | 96540
2006 Waldron Short Plat Watermain Extension
| Item | Number | Length/Size | Cost /Feet or per Unit | Installed Cost
| 2" PVC inc. tees & fittings |  | 680 | $15/ft | 10200
|  |  |  | Total Cost | 10200
2007 Kelley/Mindrum 8" Extension
| Item | Number | Length/Size | Cost /Feet or per Unit | Installed Cost
| 8" PVC inc. tees & fittings |  | 585 ft. | $55/ft | 32175
|  |  |  | Total Cost | 32175
|  |  |  | Grand Total | 782660
0