## TOTAL FIRST YEAR
Program Year: | CASCADE NATURAL GAS CORPORATION
2020-01-01 | COMMERCIAL Program Participant Cost Effectiveness
|  |  | TOTAL |  |  |  | TOTAL | MEASURE | TOTAL | SOCIETAL | PARTICIPANT | NET |  | DISCOUNTED | PROGRAM |  | CALCULATED | REBATES BASED |  | LOADED | BENEFIT | TOTAL | LOADED | BENEFIT
|  |  | MEASURE | ANNUAL THERM |  | UNITS | ANNUAL THERM | INCREM | INCREM | NEBS | NEBS | INSTALLED |  | THERM | DELIVERY | PROGRAM | REBATE | ON CAPPED | UTILITY | UC | COST | RESOURCE | TRC | COST
MEASURE | DESCRIPTION | EFFICIENCY TYPE FOR QUALIFICATION | COUNT | SAVINGS/UNIT | UNITS | INSTALLED | SAVINGS | COST | COST |  |  | COST | LIFE | SAVINGS | & ADMIN | REBATE | COST | INCENTIVES | COST |  | RATIO | COST |  | RATIO
Standard Measures
Boiler | High-Efficiency-Condensing Boiler | Minimum 90% Thermal Efficiency and 300 kBtu/hr input | 38 | 1.5 | /kBtu/hr in | 41267 | 61900.5 | 8.89 | 366863.63 | 2.9522 | 1.0334 | 202391.5992 | 20 | 810104.0733 | 133673.0723 | 6 | 247602 | 0 | 0.30564 | 0.47065 | 1.6494 | 0.24983 | 0.41484 | 1.6634
Boiler Steam Trap | Steam Trap fitted to Steam Boiler | Minimum 300 kBtu input and steam pressures at 7psig or greater | 0 | 136.9 | /unit | 0 | 0 | 315 | 0 | 155.4236 | 50.0852 | 0 | 7 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
Boiler Vent Damper | Boiler Vent Damper | Minimum 1,000 kBtu/hr input | 0 | 270 | /unit | 0 | 0 | 1.5 | 0 | 408.241 | 138.2357 | 0 | 12 | 0 | 0 | 1000 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
Clothes Washer | Commercial Gas Washer | 1.8 MEF | 0 | 90 | /unit | 0 | 0 | 200 | 0 | 123.3938 | 41.1571 | 0 | 10 | 0 | 0 | 180 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
Convection Oven (Grocery) | Energy Star | >= 44% Cooking Efficiency,<= 13,000 Btu/hr Idle Rate | 0 | 368 | /oven | 0 | 0 | 900 | 0 | 556.4174 | 188.4102 | 0 | 12 | 0 | 0 | 800 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
Convection Oven (Lodging) | Energy Star | >= 44% Cooking Efficiency,<= 13,000 Btu/hr Idle Rate | 1 | 219 | /oven | 2 | 438 | 900 | 1800 | 331.1288 | 112.1245 | 913.4933 | 12 | 4009.9795 | 945.8535 | 800 | 1600 | 0 | 0.399 | 0.63488 | 1.1067 | 0.2278 | 0.46368 | 1.3776
Convection Oven (Restaurant) | Energy Star | >= 44% Cooking Efficiency,<= 13,000 Btu/hr Idle Rate | 4 | 649 | /oven | 4 | 2596 | 900 | 3600 | 981.2904 | 332.2777 | 0 | 12 | 23766.9104 | 5606.0177 | 800 | 3200 | 0 | 0.13464 | 0.37052 | 1.8963 | 0 | 0.23587 | -
Convection Oven (School) | Energy Star | >= 44% Cooking Efficiency,<= 13,000 Btu/hr Idle Rate | 0 | 141 | /oven | 0 | 0 | 900 | 0 | 213.1925 | 72.1898 | 0 | 12 | 0 | 0 | 800 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
DCV | Demand Control Ventilation | Meet JUARC Guidelines for DCV RTUs in 5-20 ton | 20 | 13 | /ton | 132.5 | 1722.5 | 55 | 7287.5 | 17.8236 | 5.9449 | 4138.1781 | 10 | 13676.6886 | 3719.7093 | 20 | 2650 | 0 | 0.19376 | 0.46573 | 1.4704 | 0.30257 | 0.57455 | 1.0835
DHW Recirculation Controls | Schedule Control for Continuous Operation DHW Recirculation Pump | Add time clock or other schedule control for continuous operation DHW recirculation pump | 0 | 72 | /controller | 0 | 0 | 300 | 0 | 122.5299 | 42.1642 | 0 | 15 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
DHW Recirculation Controls | Schedule Control for Continuous Operation DHW Recirculation Pump | Add time clock or other schedule control for continuous operation DHW recirculation pump | 0 | 72 | /controller | 0 | 0 | 300 | 0 | 122.5299 | 42.1642 | 0 | 15 | 0 | 0 | 200 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
Domestic Hot Water Tanks - Condensing | Condensing Tank | Minimum 91% AFUE or 91% Thermal Efficiency | 39 | 0.79 | /kBtu/hr in | 8323 | 6575.17 | 6.06 | 50437.38 | 1.3444 | 0.46263 | 35397.2186 | 15 | 70955.3906 | 14198.9673 | 2.5 | 20807.5 | 0 | 0.29325 | 0.49336 | 1.5048 | 0.49887 | 0.69898 | 0.94412
Double Rack Oven | FSTC Qualified | >=50% Cooking Efficiency, <=35,000 Btu/hr Idle Rate | 0 | 1806 | /unit | 0 | 0 | 6200 | 0 | 2730.6787 | 924.6435 | 0 | 12 | 0 | 0 | 2500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
Energy Saver Kit A | Low Flow Kitchen Pre Rinse Spray Valve and Bath Aerators | PRSV <=1 gpm / Aerators <=.75 gpm | 89 | 89 | /kit | 91 | 8099 | 119 | 10829 | 85.4607 | 26.5162 | 639.1049 | 5 | 35623.8828 | 17489.6521 | 0 | 10829 | 0 | 0.30398 | 0.79493 | 0.74616 | 0.01794 | 0.50889 | 1.0842
Energy Saver Kit A - 30 therms | Low Flow Kitchen Pre Rinse Spray Valve and Bath Aerators | PRSV <=1 gpm / Aerators <=.75 gpm | 218 | 30 | /kit | 218 | 6540 | 119 | 25942 | 28.807 | 8.938 | 17713.5873 | 5 | 28766.5383 | 14123.0183 | 0 | 25942 | 0 | 0.90181 | 1.3928 | 0.42588 | 0.61577 | 1.1067 | 0.49856
Energy Saver Kit A - 59 therms | Low Flow Kitchen Pre Rinse Spray Valve and Bath Aerators | PRSV <=1 gpm / Aerators <=.75 gpm | 15 | 59 | /kit | 15 | 885 | 119 | 1785 | 56.6537 | 17.5782 | 671.5221 | 5 | 3892.7196 | 1911.1424 | 0 | 1785 | 0 | 0.45855 | 0.9495 | 0.62469 | 0.17251 | 0.66346 | 0.83164
Energy Saver Kit B | Low Flow Showerheads | Showerhead <= 1.85 gpm | 26 | 35 | /kit | 514 | 17990 | 44 | 22616 | 47.9865 | 16.0055 | 0 | 10 | 142841.0031 | 38849.0977 | 0 | 22616 | 0 | 0.15833 | 0.4303 | 1.5914 | 0 | 0.27197 | -
Fryer (Grocery) | Energy Star | >=50% Cooking Efficiency | 0 | 388 | /fryer | 0 | 0 | 1400 | 0 | 586.6574 | 198.6499 | 0 | 12 | 0 | 0 | 750 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
Fryer (Lodging) | Energy Star | >=50% Cooking Efficiency | 0 | 231 | /fryer | 0 | 0 | 1400 | 0 | 349.2729 | 118.2683 | 0 | 12 | 0 | 0 | 750 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
Fryer (Restaurant) | Energy Star | >=50% Cooking Efficiency | 23 | 685 | /fryer | 35 | 23975 | 1400 | 49000 | 1035.7225 | 350.7092 | 474.8902 | 12 | 219496.0233 | 51773.6029 | 750 | 26250 | 0 | 0.11959 | 0.35547 | 1.9766 | 0.0021635 | 0.23804 | 2.6834
Fryer (School) | Energy Star | >=50% Cooking Efficiency | 0 | 149 | /fryer | 0 | 0 | 1400 | 0 | 225.2886 | 76.2856 | 0 | 12 | 0 | 0 | 750 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
Gas Conveyor Oven | FSTC Qualified Gas Fired Conveyor Oven | >=42% Baking Efficiency | 2 | 77 | /oven | 4 | 308 | 1800 | 7200 | 135.5031 | 46.8241 | 6470.6913 | 16 | 3477.6941 | 665.1207 | 450 | 1800 | 0 | 0.51758 | 0.70884 | 1.0577 | 1.8606 | 2.0519 | 0.3248
Griddle (Grocery) | Energy Star | >=38% Cooking Efficiency,<= 2650 Btu/hr-sq ft Idle Rate | 0 | 155 | /griddle | 0 | 0 | 1048 | 0 | 234.3606 | 79.3576 | 0 | 12 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
Griddle (Lodging) | Energy Star | >=38% Cooking Efficiency,<= 2650 Btu/hr-sq ft Idle Rate | 0 | 92 | /griddle | 0 | 0 | 1048 | 0 | 139.1043 | 47.1025 | 0 | 12 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
Griddle (Restaurant) | Energy Star | >=38% Cooking Efficiency,<= 2650 Btu/hr-sq ft Idle Rate | 1 | 273 | /griddle | 1 | 273 | 1048 | 1048 | 412.777 | 139.7717 | 495.4513 | 12 | 2499.3708 | 589.5388 | 500 | 500 | 0 | 0.20005 | 0.43593 | 1.6118 | 0.19823 | 0.43411 | 1.4714
Griddle (School) | Energy Star | >=38% Cooking Efficiency,<= 2650 Btu/hr-sq ft Idle Rate | 0 | 59 | /griddle | 0 | 0 | 1048 | 0 | 89.2082 | 30.2071 | 0 | 12 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
HVAC Unit Heater - Condensing | High Efficiency Condensing | Minimum 92% AFUE | 0 | 1.1 | /kBtu/hr in | 0 | 0 | 5.23 | 0 | 2.0553 | 0.71529 | 0 | 18 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
HVAC Unit Heater - Non-Condensing | High-Efficiency-Non-Condensing Unit Heater with Electronic Ignition | Minimum 86% AFUE | 0 | 0.61 | /kBtu/hr in | 0 | 0 | 3.26 | 0 | 1.1398 | 0.39666 | 0 | 18 | 0 | 0 | 1.5 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
Insulation - Attic - Tier 1 - Min R-30 | Attic Insulation | Tier 1 / Minimum R-30 | 5 | 0.31 | /sq.ft. | 53909 | 16711.79 | 1.35 | 72777.15 | 0.7301 | 0.26011 | 19395.577 | 30 | 274472.5997 | 36088.825 | 2 | 107818 | 0 | 0.39282 | 0.5243 | 1.6653 | 0.070665 | 0.20215 | 3.6759
Insulation - Attic - Tier 2 - Min R-45 | Attic Insulation | Tier 2 / Minimum R-45 | 6 | 0.32 | /sq.ft. | 16610 | 5315.2 | 1.63 | 27074.3 | 0.75365 | 0.2685 | 10096.2422 | 30 | 87296.2598 | 11478.0836 | 2.5 | 41525 | -9065.72 | 0.47568 | 0.60716 | 1.438 | 0.11565 | 0.24714 | 3.0067
Insulation - Floor | Floor Insulation | Equal to or greater than R-30 Post and equal to or less than R-11 Pre | 1 | 0.056 | /sq. ft. | 2280 | 127.68 | 1.08 | 2462.4 | 0.15099 | 0.054397 | 1994.1264 | 45 | 2472.3579 | 275.7228 | 0.75 | 1710 | 0 | 0.69165 | 0.80317 | 0.92204 | 0.80657 | 0.91809 | 0.68649
Insulation - Pipe - 1.5" | 1.5" Thick Pipe Insulation | Retrofit for T>140F<=200F | 0 | 6 | /LF | 0 | 0 | 8 | 0 | 11.8087 | 4.1335 | 0 | 20 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
Insulation - Pipe - 2.5" | 2.5" Thick Pipe Insulation | Retrofit for T>200F | 0 | 12 | /LF | 0 | 0 | 18 | 0 | 23.6174 | 8.2671 | 0 | 20 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
Insulation - Roof - Tier 1 - Min R-21 | Roof Insulation | Tier 1 / Minimum R-21 | 1 | 0.35 | /sq.ft. | 11968 | 4188.8 | 1.83 | 21901.44 | 0.82431 | 0.29368 | 8521.3812 | 30 | 68796.3902 | 9045.642 | 2 | 23936 | 0 | 0.34793 | 0.47941 | 1.8212 | 0.12386 | 0.25535 | 2.91
Insulation - Roof - Tier 2 - Min R-30 | Roof Insulation | Tier 2 / Minimum R-30 | 5 | 0.36 | /sq.ft. | 96020 | 34567.2 | 2.15 | 206443 | 0.84786 | 0.30207 | 96026.85 | 30 | 567727.8884 | 74647.2779 | 2.5 | 240050 | 0 | 0.42283 | 0.55431 | 1.5751 | 0.16914 | 0.30063 | 2.4718
Insulation - Wall - Tier 1 - Min R-11 | Wall Insulation | Tier 1 / Minimum R-11 | 3 | 0.16 | /sq.ft. | 15011.5 | 2401.84 | 1.5 | 22517.25 | 0.37683 | 0.13425 | 14845.1815 | 30 | 39447.5558 | 5186.7325 | 1.25 | 18764.375 | 0.005 | 0.47568 | 0.60716 | 1.438 | 0.37633 | 0.50781 | 1.4633
Insulation - Wall - Tier 2 - Min R-19 | Wall Insulation | Tier 2 / Minimum R-19 | 6 | 0.19 | /sq. ft. | 16750 | 3182.5 | 1.7 | 28475 | 0.44748 | 0.15942 | 18309.3112 | 30 | 52269.0297 | 6872.5544 | 1.5 | 25125 | -135.7 | 0.48069 | 0.61217 | 1.4263 | 0.35029 | 0.48177 | 1.5424
Low Temp Door Dishwasher | Energy Star | <=.6kW Idle Rate, <= 1.18 gal/rack | 2 | 448 | /unit | 2 | 896 | 1800 | 3600 | 677.3777 | 229.3689 | 1786.5068 | 12 | 8203.0631 | 1934.8967 | 800 | 1600 | 0 | 0.19505 | 0.43092 | 1.6305 | 0.21779 | 0.45366 | 1.408
Low Temp Multi Tank Dishwasher | Energy Star | <=2kW Idle Rate, <=.50 gal/rack | 0 | 645 | /unit | 0 | 0 | 4000 | 0 | 1269.4341 | 444.3559 | 0 | 20 | 0 | 0 | 2500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
Motion Faucet Controls | Motion Controlled Faucet | <= 1.8 gpm, Watersense Certified | 2 | 136 | /faucet | 83 | 11288 | 315 | 26145 | 130.5916 | 40.5191 | 11942.8101 | 5 | 49650.8691 | 24376.2432 | 105 | 8715 | 0 | 0.17553 | 0.66648 | 0.88997 | 0.24054 | 0.73149 | 0.7543
Ozone Injection Laundry | Venturi Injection or Bubble Diffusion Ozone Injection Laundry | Minimum 125 lb Total Washer/Extractor Capacity and Pre Approved by CNG | 0 | 1049 | /system | 0 | 0 | 8283 | 0 | 1438.2237 | 479.7088 | 0 | 10 | 0 | 0 | 2500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
Radiant Heating | Direct-fired Radiant Heating | None | 14 | 4.33 | /kBtu/hr in | 1430 | 6191.9 | 21 | 30030 | 8.0904 | 2.8156 | 14434.3055 | 18 | 75715.2143 | 13371.3023 | 15 | 21450 | 0 | 0.2833 | 0.4599 | 1.6604 | 0.19064 | 0.36724 | 1.8483
Steamer - 3 Pan | Connectionless Estar or CEE Qualified | >=38% Cooking Efficiency,<= 2083 Btu/hr /pan Idle Rate | 0 | 535 | /unit | 0 | 0 | 2600 | 0 | 808.922 | 273.9115 | 0 | 12 | 0 | 0 | 850 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
Steamer - 6 Pan | Connectionless Estar or CEE Qualified | >=38% Cooking Efficiency,<= 2083 Btu/hr /pan Idle Rate | 0 | 912 | /unit | 0 | 0 | 3200 | 0 | 1378.9474 | 466.9296 | 0 | 12 | 0 | 0 | 1200 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
Tankless Water Heater | Energy Star | Minimum .87 Energy Factor | 5 | 22 | /gpm | 103.1 | 2268.2 | 137.9 | 14217.49 | 41.1061 | 14.3058 | 8504.5175 | 18 | 27735.7918 | 4898.1392 | 120 | 12372 | 0 | 0.44607 | 0.62267 | 1.2264 | 0.30663 | 0.48323 | 1.4047
Tankless Water Heater - Tier 2 | Energy Star | Minimum .93 Energy Factor | 29 | 38 | /gpm | 218.73 | 8311.74 | 52.8 | 11548.944 | 74.7884 | 26.1791 | 0 | 20 | 108777.3836 | 17949.0605 | 150 | 32809.5 | 0 | 0.30162 | 0.46663 | 1.6636 | 0 | 0.16501 | -
Warm-Air Furnace | High-Efficiency Condensing Furnace | Minimum 91% AFUE | 66 | 1.1 | /kBtu/hr in | 5139.8 | 5653.78 | 6.72 | 34539.456 | 2.0553 | 0.71529 | 20299.1379 | 18 | 69135.0255 | 12209.2413 | 5 | 25699 | 0 | 0.37172 | 0.54832 | 1.3926 | 0.29362 | 0.47022 | 1.4435
Windows | Single pane to .27 or less (not LoadMAP's .50 to .22) per sq ft | 0.27 or less U | 14 | 1.1 | /sq. ft. | 1988.2 | 2187.02 | 24.31 | 48333.142 | 2.9658 | 1.0685 | 40312.1224 | 45 | 42348.811 | 4722.8323 | 5 | 9941 | 0 | 0.23474 | 0.34626 | 2.1387 | 0.95191 | 1.0634 | 0.59267
Bonus - Insulation Bundle A | Insulation Bundle A | Two Insulation Measures, min. 1000 sq. ft.+ | 6 | 0 | /unit | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 3000 | 0 | 0 | 0 | #N/A | 0 | 0 | -
Bonus - Kitchen Bundle B (2 - measures) | Foodservice Bundle B | Any 2 Kitchen equipment measures | 0 | 0 | /unit | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
Bonus - Kitchen Bundle B (2 - measures) | Foodservice Bundle B | Any 2 Kitchen equipment measures | 6 | 0 | /unit | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 300 | 1800 | 0 | 0 | 0 | #N/A | 0 | 0 | -
Bonus - Kitchen Bundle C (3 or more measures) | Foodservice Bundle C | Any 3 Kitchen equipment measures | 0 | 0 | /unit | 0 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 300 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
Bonus - Kitchen Bundle C (3 or more measures) | Foodservice Bundle C | Any 3 Kitchen equipment measures | 3 | 0 | /unit | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 1500 | 0 | 0 | 0 | #N/A | 0 | 0 | -
Custom Measures
007897-C-LODGING FACILITY |  | Custom Other - Laundrey Ozone Injection System | 1 | 4678 | /unit | 1 | 4678 | 17295 | 17295 | 6413.7373 | 2139.2541 | 8742.0086 | 10 | 37143.4248 | 48836.8438 | 2582 | 2582 |  | 0.069514 | 1.3843 | 0.49468 | 0.23536 | 1.5502 | 0.4016
008011-C-ELEMENTARY SCHOOL |  | Custom Other - Combi Ovens | 1 | 497 | /unit | 1 | 497 | 9000 | 9000 | 751.4658 | 254.4561 | 7994.078 | 12 | 4550.1365 | 5188.5232 | 636 | 636 |  | 0.13978 | 1.2801 | 0.54889 | 1.7569 | 2.8972 | 0.22047
007857-C-SCHOOL DISTRICT ZONE 1 |  | Custom DDC Controls - Custom DDC Controls | 1 | 11758 | /unit | 1 | 11758 | 153200 | 153200 | 20009.8136 | 6885.6458 | 126304.5406 | 15 | 126885.462 | 122749.8096 | 20929 | 20929 |  | 0.16494 | 1.1324 | 0.65563 | 0.99542 | 1.9628 | 0.33621
008286-C-SCHOOL DISTRICT ZONE 2 |  | Custom Heat Recovery - AHU Heat Recovery | 1 | 1467 | /unit | 1 | 1467 | 9500 | 9500 | 2496.5467 | 859.0953 | 6144.358 | 15 | 15831.0064 | 15315.0171 | 3368 | 3368 |  | 0.21275 | 1.1802 | 0.62908 | 0.38812 | 1.3555 | 0.48683
008011-C-ELEMENTARY SCHOOL |  | Custom Hood System M/U Air Reduction - CaptiveAire Hood MUA DCV Control | 1 | 814 | /unit | 1 | 814 | 2493 | 2493 | 1385.2686 | 476.6895 | 631.0418 | 15 | 8784.2121 | 8497.9031 | 1869 | 1869 |  | 0.21277 | 1.1802 | 0.62906 | 0.071838 | 1.0392 | 0.635
008011-C-ELEMENTARY SCHOOL |  | Custom Other - ERV Units | 1 | 2134 | /unit | 1 | 2134 | 18000 | 18000 | 3631.6501 | 1249.6996 | 13118.6503 | 15 | 23028.8804 | 22278.2866 | 4900 | 4900 |  | 0.21278 | 1.1802 | 0.62906 | 0.56966 | 1.5371 | 0.42933
008001-C-SCHOOL DISTRICT |  | Custom Other - Custom Air Handling Units | 1 | 1070 | /unit | 1 | 1070 | 20000 | 20000 | 1820.9305 | 626.6067 | 17552.4629 | 15 | 11546.8145 | 11170.4623 | 2457 | 2457 |  | 0.21279 | 1.1802 | 0.62905 | 1.5201 | 2.4875 | 0.26529
008304-C-MIDDLE SCHOOL |  | Custom DDC Controls - HVAC Control Optimization | 1 | 2745 | /unit | 1 | 2745 | 16279 | 16279 | 4671.4525 | 1607.5096 | 10000.0379 | 15 | 29622.4352 | 28656.9338 | 4884 | 4884 |  | 0.16488 | 1.1323 | 0.65567 | 0.33758 | 1.305 | 0.50569
008339-C-SCHOOL DIST 2 |  | Custom Other - DOAS units | 1 | 7004 | /unit | 1 | 7004 | 64000 | 64000 | 11919.4365 | 4101.6383 | 47978.9252 | 15 | 75583.0733 | 73119.5498 | 16081 | 16081 |  | 0.21276 | 1.1802 | 0.62907 | 0.63478 | 1.6022 | 0.41188
007926-C-PUBLISHER |  | Custom Insulation - Crawl Space Insulation | 1 | 184 | /unit | 1 | 184 | 3220 | 3220 | 433.3515 | 154.3898 | 2632.2587 | 30 | 3021.9957 | 1920.9019 | 905 | 905 |  | 0.29947 | 0.93511 | 0.9337 | 0.87103 | 1.5067 | 0.49319
TOTAL PROGRAM |  |  | 645 |  |  |  | 266944.82 |  | 1411460.082 |  |  | 776872.1681 | 18.6911 | 3169155.9551 | 844335.578 |  | 1002007.375 | 992805.96 | 0.31327 | 0.57969 | 1.35 | 0.24514 | 0.51156 | 1.3667
Nominal interest rate (post tax cost of cap.) | 8.76% | [6 empty] | non-energy | 634587.9139
Inflation rate | 2%
Long term real discount rate | 4.43%
Total 2020 Program Admin.
844335.578
Custom Admin.
337734.2312
Prescriptive Admin.
506601.3468
766935
Note on Z3: Robert Cuti: Uses Column 5 in APP 2885 table to make B/C Ratio calc

## APP 2885
CASCADE NATURAL GAS CORPORATION
2018 INTEGRATED RESOURCE PLAN
PORTFOLIO COST APPENDIX 1 TABLE H
45 YEAR RESOURCE SUMMARY COSTS - MELDED COST PER THERM
|  | IRP ANNUAL |  | RESOURCE | PV OF | NON | PORTFOLIO COSTS
|  | PORTFOLIO | NOMINAL | PORTFOLIO | RESOURCE | ENERGY | WITH | COST-
|  | COST PER | COST PER | COST - % | PORTFOLIO | BENEFIT | CONSERVATION | EFFECTIVENESS
| YEAR | THERM (PV)* | THERM | CHANGE | COST/THERM |  | CREDIT | LIMIT
2018 | 1 | 0.31556 | 0.32954 |  | 0.31556 | 5% | 0.33134 | 0.34602
2019 | 2 | 0.50434 | 0.55001 |  | 0.8199 | 5% | 0.8609 | 0.45926
2020 | 3 | 0.49228 | 0.56065 |  | 1.3122 | 5% | 1.3778 | 0.50054
2021 | 4 | 0.56318 | 0.6698 |  | 1.8754 | 5% | 1.9691 | 0.54798
2022 | 5 | 0.5516 | 0.6851 |  | 2.427 | 7.5% | 2.609 | 0.59315
2023 | 6 | 0.54312 | 0.70445 |  | 2.9701 | 7.5% | 3.1928 | 0.61762
2024 | 7 | 0.51762 | 0.70111 |  | 3.4877 | 7.5% | 3.7493 | 0.63463
2025 | 8 | 0.50786 | 0.71836 |  | 3.9956 | 7.5% | 4.2952 | 0.64934
2026 | 9 | 0.47789 | 0.70593 |  | 4.4734 | 7.5% | 4.809 | 0.65951
2027 | 10 | 0.46959 | 0.72439 |  | 4.943 | 10.0% | 5.4373 | 0.6848
2028 | 11 | 0.45767 | 0.73727 |  | 5.4007 | 10% | 5.9408 | 0.69395
2029 | 12 | 0.44718 | 0.75229 |  | 5.8479 | 10% | 6.4327 | 0.70262
2030 | 13 | 0.43436 | 0.7631 |  | 6.2822 | 10% | 6.9105 | 0.71063
2031 | 14 | 0.42443 | 0.77868 |  | 6.7067 | 10% | 7.3773 | 0.71838
2032 | 15 | 0.41475 | 0.79464 |  | 7.1214 | 12.5% | 8.0116 | 0.74241
2033 | 16 | 0.4037 | 0.80772 |  | 7.5251 | 12.5% | 8.4658 | 0.74977
2034 | 17 | 0.39196 | 0.81898 |  | 7.9171 | 12.5% | 8.9067 | 0.75674
2035 | 18 | 0.38302 | 0.83575 |  | 8.3001 | 12.5% | 9.3376 | 0.76362
2036 | 19 | 0.37016 | 0.84348 |  | 8.6703 | 12.5% | 9.7541 | 0.77004
2037 | 20 | 0.3604 | 0.85761 |  | 9.0307 | 12.5% | 10.1595 | 0.77629
2038 | 21 | 0.35201 | 0.87476 |  | 9.3827 | 15% | 10.7901 | 0.79988
2039 | 22 | 0.34382 | 0.89226 |  | 9.7265 | 15% | 11.1855 | 0.80616
2040 | 23 | 0.33582 | 0.9101 |  | 10.0623 | 15% | 11.5717 | 0.81239
2041 | 24 | 0.32801 | 0.92831 |  | 10.3903 | 15% | 11.9489 | 0.81857
2042 | 25 | 0.32038 | 0.94687 |  | 10.7107 | 15% | 12.3173 | 0.82469
2043 | 26 | 0.31292 | 0.96581 |  | 11.0236 | 17.5% | 12.9528 | 0.84883
2044 | 27 | 0.30564 | 0.98513 |  | 11.3293 | 17.5% | 13.3119 | 0.85498
2045 | 28 | 0.29853 | 1.0048 |  | 11.6278 | 17.5% | 13.6627 | 0.86108
2046 | 29 | 0.29158 | 1.0249 |  | 11.9194 | 17.5% | 14.0053 | 0.86712
2047 | 30 | 0.2848 | 1.0454 |  | 12.2042 | 17.5% | 14.3399 | 0.87311
Cascade's Long Term Real Discount Rate: |  |  |  | 4.17%
|  | IRP Discount Rate = |  | 7.631%
|  | Revised Discount Rate= |  | 7.631%
|  | Years 21-45 Escalation = |  | 2.6% | (EIA Inflation Rate)