## Exhibit No. ___(WJE-10)
Stage I- Review of All Source RFP Bid Costs
|  |  | ASM Resource Project Cost |  |  | ASM Cost to Serve Load (2)
|  |  | Levelized 20-yr $/MWh |  |  | Levelized 20-yr $/MWh |  |  | Levelized 5-yr $/MWh
|  | # Offers | Low | High | Avg(1) | Low | High | Avg(1) | Low | High | Avg(1)
1 | Natural Gas Ownership | 10 | 60 | 85 | 69 | 55 | 82 | 60 | #REF! | #REF! | #REF!
8 | Natural Gas Ownership and PPA | 6 | 63 | 79 | 68 | 55 | 70 | 60 | #REF! | #REF! | #REF!
2 | Wind | 23 | 44 | 96 | 56 | 46 | 91 | 57 | #REF! | #REF! | #REF!
3 | Wood Waste | 4 | 46 | 65 | 58 | 45 | 60 | 55 | #REF! | #REF! | #REF!
4 | Geothermal | 2 | 67 | 78 | 73 | 61 | 70 | 65 | #REF! | #REF! | #REF!
5 | PPA(*) Gas | 13 | 52 | 99 | 66 | 52 | 63 | 57 | #REF! | #REF! | #REF!
6 | PPA(*) existing Coal (3) | 4 | 42 | 70 | 56 | 51 | 65 | 57 | #REF! | #REF! | #REF!
7 | PPA(*) new Hydro (4) | 1 | 64 | 64 | 64 | 53 | 53 | 53 | #REF! | #REF! | #REF!
9 | Heat Recovery | 2 | 47 | 66 | 56 | 47 | 63 | 55 | #REF! | #REF! | #REF!
10 | Coal Ownership | 1 | 53 | 53 | 53 | 49 | 49 | 49 | #REF! | #REF! | #REF!
| Total | 66 | 42 | 99 | 61.9 | 45 | 91 | 56.8
(1) If only one bid evaluated so far, then that bid put in the average column
(2) Assumes PSE retail load shape and volume of load equal to plant capacity times availability.
(3) For first 10 years cost to serve load is $48, remaining 10 years at market
(4) Project cost is higher because energy of PPA supplied during 6x16 on-peak hours
(*) All PPAs included imputed debt cost assuming S&P risk factor of 30%