Naches Operation Cost vs. Purchased Power

## Comparison of 30-Year Levelized Energy Cost

(Present Value Dollars in Thousands)

| # Scenario | Expected Future Cost Continued Operation | Sell & Purchase Market Energy #### Medium Case | Net Benefit or (Cost) |
| --- | --- | --- | --- |
| Base Case – Assume 27,393 Mwh generation & expenditures based on historical past | $21,713 | $15,862 | $5,851 |
| Alternative 1 - Assume 27,393 Mwh generation & expenditures less than base case | $15,541 | $15,862 | ($321) |
| Alternative 2 - Assume 26,919 Mwh generation, $1 million FERC relicensing & expenditures based on historical past | $23,959 | $15,579 | $8,380 |
| Alternative 3 - Assume 26,919 Mwh generation, $1 million FERC relicensing & expenditures less than base case | $17,601 | $15,579 | $2,022 |