## TOTAL FIRST YEAR
| Program Year: | CASCADE NATURAL GAS CORPORATION
| 2019-01-01 | COMMERCIAL Program Participant Cost Effectiveness
|  |  |  | TOTAL |  |  |  | TOTAL | MEASURE | TOTAL | SOCIETAL | PARTICIPANT | NET |  | DISCOUNTED | PROGRAM |  | TOTAL | OFFSET FOR |  | LOADED | BENEFIT | TOTAL | LOADED | BENEFIT
|  |  |  | MEASURE | ANNUAL THERM |  | UNITS | ANNUAL THERM | INCREM | INCREM | NEBS | NEBS | INSTALLED |  | THERM | DELIVERY | PROGRAM | REBATES | CAPPED | UTILITY | UC | COST | RESOURCE | TRC | COST
MEASURE CODE | MEASURE | DESCRIPTION | EFFICIENCY TYPE FOR QUALIFICATION | COUNT | SAVINGS/UNIT | UNITS | INSTALLED | SAVINGS | COST | COST |  |  | COST | LIFE | SAVINGS | & ADMIN | REBATE | COST | INCENTIVES | COST |  | RATIO | COST |  | RATIO
Standard Measures
COMBOILERS | Boiler | High-Efficiency-Condensing Boiler | Minimum 90% Thermal Efficiency and 300 kBtu/hr input | 25 | 1.5 | /kBtu/hr in | 35775 | 53662.5 | 8.89 | 318039.75 | 2.9522 | 1.0334 | 175456.4049 | 20 | 702291.7397 | 154693.046 | 4 | 143100 | 0 | 0.20376 | 0.42403 | 2.3502 | 0.24983 | 0.4701 | 2.2657
COMBOILERS2-19-19 | Boiler - Tariff Update | High-Efficiency-Condensing Boiler | Minimum 90% Thermal Efficiency and 300 kBtu/hr input | 13 | 1.5 | /kBtu/hr in | 17850 | 26775 | 8.89 | 158686.5 | 2.9522 | 1.0334 | 87544.2859 | 20 | 350409.715 | 77184.3709 | 6 | 107100 | 0 | 0.30564 | 0.52591 | 1.8949 | 0.24983 | 0.4701 | 2.2657
COMBOILSTP-NT | Boiler Steam Trap | Steam Trap fitted to Steam Boiler | Minimum 300 kBtu input and steam pressures at 7psig or greater | 0 | 136.9 | /unit | 0 | 0 | 315 | 0 | 155.4236 | 50.0852 | 0 | 7 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMBOILVTD | Boiler Vent Damper | Boiler Vent Damper | Minimum 1,000 kBtu/hr input | 0 | 270 | /unit | 0 | 0 | 1.5 | 0 | 408.241 | 138.2357 | 0 | 12 | 0 | 0 | 1000 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSBNDLA2-19-19 | Bonus - Kitchen Bundle B (2 - measures) - Tariff Update | Foodservice Bundle B | Any 2 Kitchen equipment measures | 0 | 0 | /unit | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 300 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSBNDLB2-19-19 | Bonus - Kitchen Bundle C (3 or more measures) - Tariff Update | Foodservice Bundle C | Any 3 Kitchen equipment measures | 0 | 0 | /unit | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMCLOTHES | Clothes Washer | Commercial Gas Washer | 1.8 MEF | 0 | 90 | /unit | 0 | 0 | 200 | 0 | 123.3938 | 41.1571 | 0 | 10 | 0 | 0 | 180 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSOVENGROC-7-17 | Convection Oven (Grocery) | Energy Star | >= 44% Cooking Efficiency,<= 13,000 Btu/hr Idle Rate | 0 | 368 | /oven | 0 | 0 | 900 | 0 | 556.4174 | 188.4102 | 0 | 12 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSOVENGROC2-19-19 | Convection Oven (Grocery) - Tariff Update | Energy Star | >= 44% Cooking Efficiency,<= 13,000 Btu/hr Idle Rate | 0 | 368 | /oven | 0 | 0 | 900 | 0 | 556.4174 | 188.4102 | 0 | 12 | 0 | 0 | 800 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSOVENLODGE-7-17 | Convection Oven (Lodging) | Energy Star | >= 44% Cooking Efficiency,<= 13,000 Btu/hr Idle Rate | 0 | 219 | /oven | 0 | 0 | 900 | 0 | 331.1288 | 112.1245 | 0 | 12 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSOVENLODGE2-19-19 | Convection Oven (Lodging) - Tariff Update | Energy Star | >= 44% Cooking Efficiency,<= 13,000 Btu/hr Idle Rate | 0 | 219 | /oven | 0 | 0 | 900 | 0 | 331.1288 | 112.1245 | 0 | 12 | 0 | 0 | 800 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSOVENREST-7-17 | Convection Oven (Restaurant) | Energy Star | >= 44% Cooking Efficiency,<= 13,000 Btu/hr Idle Rate | 2 | 649 | /oven | 2 | 1298 | 900 | 1800 | 981.2904 | 332.2777 | 0 | 12 | 11883.4552 | 3741.7484 | 500 | 1000 | 0 | 0.084151 | 0.39902 | 1.943 | 0 | 0.31487 | -
COMFSOVENREST2-19-19 | Convection Oven (Restaurant) - Tariff Update | Energy Star | >= 44% Cooking Efficiency,<= 13,000 Btu/hr Idle Rate | 0 | 649 | /oven | 0 | 0 | 900 | 0 | 981.2904 | 332.2777 | 0 | 12 | 0 | 0 | 800 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSOVENSCHO-7-17 | Convection Oven (School) | Energy Star | >= 44% Cooking Efficiency,<= 13,000 Btu/hr Idle Rate | 0 | 141 | /oven | 0 | 0 | 900 | 0 | 213.1925 | 72.1898 | 0 | 12 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSOVENSCHO2-19-19 | Convection Oven (School) - Tariff Update | Energy Star | >= 44% Cooking Efficiency,<= 13,000 Btu/hr Idle Rate | 0 | 141 | /oven | 0 | 0 | 900 | 0 | 213.1925 | 72.1898 | 0 | 12 | 0 | 0 | 800 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMDCV-7-17 | DCV | Demand Control Ventilation | Meet JUARC Guidelines for DCV RTUs in 5-20 ton | 9 | 13 | /ton | 181.5 | 2359.5 | 55 | 9982.5 | 17.8236 | 5.9449 | 5668.5233 | 10 | 18734.4829 | 6801.7376 | 20 | 3630 | 0 | 0.19376 | 0.55682 | 1.3186 | 0.30257 | 0.66563 | 1.1899
COMDHWRCTR | DHW Recirculation Controls | Schedule Control for Continuous Operation DHW Recirculation Pump | Add time clock or other schedule control for continuous operation DHW recirculation pump | 0 | 72 | /controller | 0 | 0 | 300 | 0 | 122.5299 | 42.1642 | 0 | 15 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMDHWRCTR2-19-19 | DHW Recirculation Controls - Tariff Update | Schedule Control for Continuous Operation DHW Recirculation Pump | Add time clock or other schedule control for continuous operation DHW recirculation pump | 0 | 72 | /controller | 0 | 0 | 300 | 0 | 122.5299 | 42.1642 | 0 | 15 | 0 | 0 | 200 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMDHWTSCT | Domestic Hot Water Tanks - Condensing | Condensing Tank | Minimum 91% AFUE or 91% Thermal Efficiency | 37 | 0.79 | /kBtu/hr in | 7493.98 | 5920.2442 | 6.06 | 45413.5188 | 1.3444 | 0.46263 | 31871.4464 | 15 | 63887.8143 | 17066.3053 | 2.5 | 18734.95 | 0.01 | 0.29325 | 0.56038 | 1.5417 | 0.49887 | 0.766 | 1.204
COMFSDOVEN | Double Rack Oven | FSTC Qualified | >=50% Cooking Efficiency, <=35,000 Btu/hr Idle Rate | 1 | 1806 | /unit | 1 | 1806 | 6200 | 6200 | 2730.6787 | 924.6435 | 2544.6779 | 12 | 16534.299 | 5206.1615 | 2000 | 2000 | 0 | 0.12096 | 0.43583 | 1.7789 | 0.1539 | 0.46877 | 1.7977
COMFSDOVEN2-19-19 | Double Rack Oven - Tariff Update | FSTC Qualified | >=50% Cooking Efficiency, <=35,000 Btu/hr Idle Rate | 0 | 1806 | /unit | 0 | 0 | 6200 | 0 | 2730.6787 | 924.6435 | 0 | 12 | 0 | 0 | 2500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMESVKTA2-19-19 | Energy Saver Kit A - Tariff Update | Low Flow Kitchen Pre Rinse Spray Valve and Bath Aerators | PRSV <=1 gpm / Aerators <=.75 gpm | 0 | 89 | /kit | 0 | 0 | 119 | 0 | 85.4607 | -96.6433 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMESVKTB | Energy Saver Kit B | Low Flow Showerheads | Showerhead <= 1.85 gpm | 4 | 28 | /kit | 124 | 3472 | 44 | 5456 | 38.3892 | -15.7797 | 2652.417 | 10 | 27567.7578 | 10008.7446 | 0 | 176 | 0 | 0.0063843 | 0.36944 | 1.9874 | 0.096214 | 0.45927 | 1.7246
COMESVKTB2-19-19 | Energy Saver Kit B - Tariff Update | Low Flow Showerheads | Showerhead <= 1.85 gpm | 13 | 35 | /kit | 541 | 18935 | 44 | 23804 | 47.9865 | -12.5785 | 4648.3014 | 10 | 150344.3243 | 54583.98 | 0 | 572 | 0 | 0.0038046 | 0.36686 | 2.0014 | 0.030918 | 0.39398 | 2.0104
COMFSFRYERGROC | Fryer (Grocery) | Energy Star | >=50% Cooking Efficiency | 0 | 388 | /fryer | 0 | 0 | 1400 | 0 | 586.6574 | 198.6499 | 0 | 12 | 0 | 0 | 600 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSFRYERGROC2-19-19 | Fryer (Grocery) - Tariff Update | Energy Star | >=50% Cooking Efficiency | 0 | 388 | /fryer | 0 | 0 | 1400 | 0 | 586.6574 | 198.6499 | 0 | 12 | 0 | 0 | 750 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSFRYERLODGE | Fryer (Lodging) | Energy Star | >=50% Cooking Efficiency | 0 | 231 | /fryer | 0 | 0 | 1400 | 0 | 349.2729 | 118.2683 | 0 | 12 | 0 | 0 | 600 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSFRYERLODGE2-19-19 | Fryer (Lodging) - Tariff Update | Energy Star | >=50% Cooking Efficiency | 0 | 231 | /fryer | 0 | 0 | 1400 | 0 | 349.2729 | 118.2683 | 0 | 12 | 0 | 0 | 750 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSFRYERREST | Fryer (Restaurant) | Energy Star | >=50% Cooking Efficiency | 11 | 685 | /fryer | 27 | 18495 | 1400 | 37800 | 1035.7225 | 350.7092 | 366.3439 | 12 | 169325.5037 | 53315.5907 | 600 | 16200 | 0 | 0.095674 | 0.41054 | 1.8885 | 0.0021635 | 0.31703 | 2.6581
COMFSFRYERREST2-19-19 | Fryer (Restaurant) - Tariff Update | Energy Star | >=50% Cooking Efficiency | 7 | 685 | /fryer | 7 | 4795 | 1400 | 9800 | 1035.7225 | 350.7092 | 94.978 | 12 | 43899.2047 | 13822.5605 | 750 | 5250 | 0 | 0.11959 | 0.43446 | 1.7845 | 0.0021635 | 0.31703 | 2.6581
COMFSFRYERSCHO | Fryer (School) | Energy Star | >=50% Cooking Efficiency | 0 | 149 | /fryer | 0 | 0 | 1400 | 0 | 225.2886 | 76.2856 | 0 | 12 | 0 | 0 | 600 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSFRYERSCHO2-19-19 | Fryer (School) - Tariff Update | Energy Star | >=50% Cooking Efficiency | 0 | 149 | /fryer | 0 | 0 | 1400 | 0 | 225.2886 | 76.2856 | 0 | 12 | 0 | 0 | 750 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSCVROVEN | Gas Conveyor Oven | FSTC Qualified Gas Fired Conveyor Oven | >=42% Baking Efficiency | 1 | 77 | /oven | 2 | 154 | 1800 | 3600 | 135.5031 | 46.8241 | 3235.3456 | 16 | 1738.847 | 443.9363 | 600 | 1200 | 0 | 0.69011 | 0.94542 | 0.94009 | 1.8606 | 2.1159 | 0.44895
COMFSCVROVEN2-19-19 | Gas Conveyor Oven - Tariff Update | FSTC Qualified Gas Fired Conveyor Oven | >=42% Baking Efficiency | 0 | 77 | /oven | 0 | 0 | 1800 | 0 | 135.5031 | 46.8241 | 0 | 16 | 0 | 0 | 450 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSGRIDGROC-7-17 | Griddle (Grocery) | Energy Star | >=38% Cooking Efficiency,<= 2650 Btu/hr-sq ft Idle Rate | 0 | 155 | /griddle | 0 | 0 | 1048 | 0 | 234.3606 | 79.3576 | 0 | 12 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSGRIDLODGE-7-17 | Griddle (Lodging) | Energy Star | >=38% Cooking Efficiency,<= 2650 Btu/hr-sq ft Idle Rate | 0 | 92 | /griddle | 0 | 0 | 1048 | 0 | 139.1043 | 47.1025 | 0 | 12 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSGRIDREST-7-17 | Griddle (Restaurant) | Energy Star | >=38% Cooking Efficiency,<= 2650 Btu/hr-sq ft Idle Rate | 2 | 273 | /griddle | 2 | 546 | 1048 | 2096 | 412.777 | 139.7717 | 990.9026 | 12 | 4998.7416 | 1573.9558 | 500 | 1000 | 0 | 0.20005 | 0.51492 | 1.5057 | 0.19823 | 0.5131 | 1.6424
COMFSGRIDSCHO-7-17 | Griddle (School) | Energy Star | >=38% Cooking Efficiency,<= 2650 Btu/hr-sq ft Idle Rate | 0 | 59 | /griddle | 0 | 0 | 1048 | 0 | 89.2082 | 30.2071 | 0 | 12 | 0 | 0 | 500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMHVACCON | HVAC Unit Heater - Condensing | High Efficiency Condensing | Minimum 92% AFUE | 0 | 1.1 | /kBtu/hr in | 0 | 0 | 5.23 | 0 | 2.0553 | 0.71529 | 0 | 18 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMHVACCON2-19-19 | HVAC Unit Heater - Condensing - Tariff Update | High Efficiency Condensing | Minimum 92% AFUE | 0 | 1.1 | /kBtu/hr in | 0 | 0 | 5.23 | 0 | 2.0553 | 0.71529 | 0 | 18 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMHVACNCU | HVAC Unit Heater - Non-Condensing | High-Efficiency-Non-Condensing Unit Heater with Electronic Ignition | Minimum 86% AFUE | 0 | 0.61 | /kBtu/hr in | 0 | 0 | 3.26 | 0 | 1.1398 | 0.39666 | 0 | 18 | 0 | 0 | 1.5 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMIAT1-7-17 | Insulation - Attic - Tier 1 - Min R-30 | Attic Insulation | Tier 1 / Minimum R-30 | 2 | 0.31 | /sq.ft. | 6263 | 1941.53 | 1.35 | 8455.05 | 0.7301 | 0.26011 | 2253.325 | 30 | 31887.475 | 5596.8542 | 1.1 | 6889.3 | 0 | 0.21605 | 0.39157 | 3.4301 | 0.070665 | 0.24618 | 5.716
COMIAT12-19-19 | Insulation - Attic - Tier 1 - Min R-30 - Tariff Update | Attic Insulation | Tier 1 / Minimum R-30 | 8 | 0.31 | /sq.ft. | 32952 | 10215.12 | 1.35 | 44485.2 | 0.7301 | 0.26011 | 11855.5909 | 30 | 167772.0066 | 29447.1564 | 2 | 65904 | -2775.41 | 0.39282 | 0.56834 | 2.3633 | 0.070665 | 0.24618 | 5.716
COMIAT2-7-17 | Insulation - Attic - Tier 2 - Min R-45 | Attic Insulation | Tier 2 / Minimum R-45 | 0 | 0.32 | /sq.ft. | 0 | 0 | 1.63 | 0 | 0.75365 | 0.2685 | 0 | 30 | 0 | 0 | 1.25 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMIAT22-19-19 | Insulation - Attic - Tier 2 - Min R-45 - Tariff Update | Attic Insulation | Tier 2 / Minimum R-45 | 1 | 0.32 | /sq.ft. | 1500 | 480 | 1.63 | 2445 | 0.75365 | 0.2685 | 911.7618 | 30 | 7883.4672 | 1383.6974 | 2.5 | 3750 | -750 | 0.47568 | 0.6512 | 2.0626 | 0.11565 | 0.29117 | 4.8328
COMFLOORINS2-19-19 | Insulation - Floor - Tariff Update | Floor Insulation | Equal to or greater than R-30 Post and equal to or less than R-11 Pre | 0 | 0.056 | /sq. ft. | 0 | 0 |  | 0 | 0.15099 | 0.054397 | 0 | 45 | 0 | 0 | 0.75 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMPIPINS1.5-7-17 | Insulation - Pipe - 1.5" | 1.5" Thick Pipe Insulation | Retrofit for T>140F<=200F | 0 | 6 | /LF | 0 | 0 | 8 | 0 | 11.8087 | 4.1335 | 0 | 20 | 0 | 0 | 4.5 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMPIPINS1.52-19-19 | Insulation - Pipe - 1.5" - Tariff Update | 1.5" Thick Pipe Insulation | Retrofit for T>140F<=200F | 0 | 6 | /LF | 0 | 0 | 8 | 0 | 11.8087 | 4.1335 | 0 | 20 | 0 | 0 | 15 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMPIPINS2.5-7-17 | Insulation - Pipe - 2.5" | 2.5" Thick Pipe Insulation | Retrofit for T>200F | 0 | 12 | /LF | 0 | 0 | 18 | 0 | 23.6174 | 8.2671 | 0 | 20 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMPIPINS2.52-19-19 | Insulation - Pipe - 2.5" - Tariff Update | 2.5" Thick Pipe Insulation | Retrofit for T>200F | 0 | 12 | /LF | 0 | 0 | 18 | 0 | 23.6174 | 8.2671 | 0 | 20 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMIRT1-7-17 | Insulation - Roof - Tier 1 - Min R-21 | Roof Insulation | Tier 1 / Minimum R-21 | 1 | 0.35 | /sq.ft. | 1450 | 507.5 | 1.83 | 2653.5 | 0.82431 | 0.29368 | 1032.42 | 30 | 8335.1241 | 1462.9717 | 1.35 | 1957.5 | 0 | 0.23485 | 0.41037 | 3.273 | 0.12386 | 0.29938 | 4.7003
COMIRT12-19-19 | Insulation - Roof - Tier 1 - Min R-21 - Tariff Update | Roof Insulation | Tier 1 / Minimum R-21 | 0 | 0.35 | /sq.ft. | 0 | 0 | 1.83 | 0 | 0.82431 | 0.29368 | 0 | 30 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMIRT2-7-17 | Insulation - Roof - Tier 2 - Min R-30 | Roof Insulation | Tier 2 / Minimum R-30 | 2 | 0.36 | /sq.ft. | 9432 | 3395.52 | 2.15 | 20278.8 | 0.84786 | 0.30207 | 9432.6729 | 30 | 55767.6468 | 9788.2755 | 1.6 | 15091.2 | 0 | 0.27061 | 0.44613 | 3.0106 | 0.16914 | 0.34466 | 4.0828
COMIRT22-19-19 | Insulation - Roof - Tier 2 - Min R-30 - Tariff Update | Roof Insulation | Tier 2 / Minimum R-30 | 4 | 0.36 | /sq.ft. | 85547 | 30796.92 | 2.15 | 183926.05 | 0.84786 | 0.30207 | 85553.1028 | 30 | 505805.2246 | 88778.3715 | 2.5 | 213867.5 | 0 | 0.42283 | 0.59834 | 2.2447 | 0.16914 | 0.34466 | 4.0828
COMIWT1-7-17 | Insulation - Wall - Tier 1 - Min R-11 | Wall Insulation | Tier 1 / Minimum R-11 | 1 | 0.16 | /sq.ft. | 1280 | 204.8 | 1.5 | 1920 | 0.37683 | 0.13425 | 1265.8184 | 30 | 3363.6127 | 590.3776 | 1.1 | 1408 | 0 | 0.4186 | 0.59412 | 2.2607 | 0.37633 | 0.55185 | 2.55
COMIWT12-19-19 | Insulation - Wall - Tier 1 - Min R-11 - Tariff Update | Wall Insulation | Tier 1 / Minimum R-11 | 2 | 0.16 | /sq.ft. | 3219 | 515.04 | 1.5 | 4828.5 | 0.37683 | 0.13425 | 3183.3354 | 30 | 8458.9603 | 1484.7073 | 1.25 | 4023.75 | 0 | 0.47568 | 0.6512 | 2.0626 | 0.37633 | 0.55185 | 2.55
COMIWT2-7-17 | Insulation - Wall - Tier 2 - Min R-19 | Wall Insulation | Tier 2 / Minimum R-19 | 1 | 0.19 | /sq. ft. | 540 | 102.6 | 1.7 | 918 | 0.44748 | 0.15942 | 590.2703 | 30 | 1685.0911 | 295.7653 | 1.25 | 675 | 0 | 0.40057 | 0.57609 | 2.3315 | 0.35029 | 0.52581 | 2.6762
COMIWT22-19-19 | Insulation - Wall - Tier 2 - Min R-19 - Tariff Update | Wall Insulation | Tier 2 / Minimum R-19 | 4 | 0.19 | /sq. ft. | 27381 | 5202.39 | 1.7 | 46547.7 | 0.44748 | 0.15942 | 29929.9851 | 30 | 85443.4808 | 14996.9449 | 1.5 | 41071.5 | -5315 | 0.48069 | 0.65621 | 2.0468 | 0.35029 | 0.52581 | 2.6762
COMFSDISDL-7-17 | Low Temp Door Dishwasher | Energy Star | <=.6kW Idle Rate, <= 1.18 gal/rack | 7 | 448 | /unit | 8 | 3584 | 1800 | 14400 | 677.3777 | 229.3689 | 7146.0274 | 12 | 32812.2522 | 10331.6073 | 800 | 6400 | 0 | 0.19505 | 0.50992 | 1.5204 | 0.21779 | 0.53266 | 1.5821
COMFSDISML-7-17 | Low Temp Multi Tank Dishwasher | Energy Star | <=2kW Idle Rate, <=.50 gal/rack | 0 | 645 | /unit | 0 | 0 | 4000 | 0 | 1269.4341 | 444.3559 | 0 | 20 | 0 | 0 | 2000 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMFSDISML2-19-19 | Low Temp Multi Tank Dishwasher - Tariff Update | Energy Star | <=2kW Idle Rate, <=.50 gal/rack | 0 | 645 | /unit | 0 | 0 | 4000 | 0 | 1269.4341 | 444.3559 | 0 | 20 | 0 | 0 | 2500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMMTNFCTR | Motion Faucet Controls | Motion Controlled Faucet | <= 1.8 gpm, Watersense Certified | 3 | 136 | /faucet | 116 | 15776 | 315 | 36540 | 130.5916 | 40.5191 | 16691.1563 | 5 | 69391.5761 | 45477.5214 | 105 | 12180 | 0 | 0.17553 | 0.8309 | 0.75878 | 0.24054 | 0.89591 | 0.73222
COMOZNLNDRY | Ozone Injection Laundry | Venturi Injection or Bubble Diffusion Ozone Injection Laundry | Minimum 125 lb Total Washer/Extractor Capacity and Pre Approved by CNG | 0 | 1049 | /system | 0 | 0 | 8283 | 0 | 1438.2237 | 479.7088 | 0 | 10 | 0 | 0 | 2500 | 0 | 0 | 0 | 0 | - | 0 | 0 | -
COMRADIANT-7-17 | Radiant Heating | Direct-fired Radiant Heating | None | 3 | 4.33 | /kBtu/hr in | 225 | 974.25 | 21 | 4725 | 8.0904 | 2.8156 | 2271.132 | 18 | 11913.233 | 2808.4733 | 10 | 2250 | 0 | 0.18887 | 0.42461 | 2.2193 | 0.19064 | 0.42638 | 2.3611
COMRADIANT2-19-19 | Radiant Heating - Tariff Update | Direct-fired Radiant Heating | None | 7 | 4.33 | /kBtu/hr in | 500 | 2165 | 21 | 10500 | 8.0904 | 2.8156 | 5046.96 | 18 | 26473.8512 | 6241.0518 | 15 | 7500 | -2408 | 0.2833 | 0.51904 | 1.8155 | 0.19064 | 0.42638 | 2.3611
COMFSSTM3P-NT | Steamer - 3 Pan | Connectionless Estar or CEE Qualified | >=38% Cooking Efficiency,<= 2083 Btu/hr /pan Idle Rate | 1 | 535 | /unit | 1 | 535 | 2600 | 2600 | 808.922 | 273.9115 | 1517.1665 | 12 | 4898.0343 | 1542.2461 | 850 | 850 | 0 | 0.17354 | 0.48841 | 1.5874 | 0.30975 | 0.62462 | 1.3492
COMFSSTM6P | Steamer - 6 Pan | Connectionless Estar or CEE Qualified | >=38% Cooking Efficiency,<= 2083 Btu/hr /pan Idle Rate | 2 | 912 | /unit | 2 | 1824 | 3200 | 6400 | 1378.9474 | 466.9296 | 2708.2461 | 12 | 16699.0927 | 5258.0501 | 1200 | 2400 | 0 | 0.14372 | 0.45859 | 1.6906 | 0.16218 | 0.47705 | 1.7665
COMTANKLESS | Tankless Water Heater | Energy Star | Minimum .82 Energy Factor | 17 | 35 | /gpm | 137.2 | 4802 | 137.9 | 18919.88 | 65.3961 | 22.7593 | 6824.9616 | 18 | 58719.3687 | 13842.7395 | 60 | 8232 | 0 | 0.14019 | 0.37594 | 2.5066 | 0.11623 | 0.35197 | 2.8603
COMTANKLESST12-19-19 | Tankless Water Heater - Tariff Update | Energy Star | Minimum .87 Energy Factor | 1 | 22 | /gpm | 40.1 | 882.2 | 137.9 | 5529.79 | 41.1061 | 14.3058 | 3307.7706 | 18 | 10787.6358 | 2543.1205 | 120 | 4812 | 0 | 0.44607 | 0.68181 | 1.3821 | 0.30663 | 0.54237 | 1.8562
COMTANKLESST22-19-19 | Tankless Water Heater - Tier 2 - Tariff Update | Energy Star | Minimum .93 Energy Factor | 5 | 38 | /gpm | 67.8 | 2576.4 | 52.8 | 3579.84 | 74.7884 | 26.1791 | 0 | 20 | 33717.8558 | 7426.9958 | 150 | 10170 | 0 | 0.30162 | 0.52189 | 1.9095 | 0 | 0.22027 | -
COMFURNACE | Warm-Air Furnace | High-Efficiency Condensing Furnace | Minimum 91% AFUE | 24 | 1.1 | /kBtu/hr in | 2278 | 2505.8 | 6.72 | 15308.16 | 2.0553 | 0.71529 | 8996.7384 | 18 | 30641.1899 | 7223.477 | 3 | 6834 | 0 | 0.22303 | 0.45878 | 2.054 | 0.29362 | 0.52936 | 1.9018
COMFURNACE2-19-19 | Warm-Air Furnace - Tariff Update | High-Efficiency Condensing Furnace | Minimum 91% AFUE | 30 | 1.1 | /kBtu/hr in | 2761 | 3037.1 | 6.72 | 18553.92 | 2.0553 | 0.71529 | 10904.2997 | 18 | 37137.9831 | 8755.0571 | 5 | 13805 | 0 | 0.37172 | 0.60747 | 1.5512 | 0.29362 | 0.52936 | 1.9018
COMWINDOWS2-19-19 | Windows - Tariff Update | Single pane to .27 or less (not LoadMAP's .50 to .22) per sq ft | 0.27 or less U | 7 | 1.1 | /sq. ft. | 309 | 339.9 | 24.31 | 7511.79 | 2.9658 | 1.0685 | 6265.1875 | 45 | 6581.7235 | 979.8307 | 5 | 1545 | 0 | 0.23474 | 0.38361 | 2.9697 | 0.95191 | 1.1008 | 1.0843
COMESVKTA | Energy Saver Kit A | Low Flow Kitchen Pre Rinse Spray Valve and Bath Aerators | PRSV <=1 gpm / Aerators <=.75 gpm | 2 | 109 | /kit | 2 | 218 | 119 | 238 | 104.6653 | -90.6846 | 210.0386 | 5 | 958.8846 | 628.4292 | 0 | 238 | 0 | 0.24821 | 0.90358 | 0.69775 | 0.21904 | 0.87442 | 0.75022
COMINSBNDL-7-17 | Bonus - Insulation Bundle A | Insulation Bundle A | Two Insulation Measures, min. 1000 sq. ft.+ | 7 | 0 | /unit | 7 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 3500 | 0 | 0 | 0 | #N/A | 0 | 0 | -
COMFSBNDLA-7-17 | Bonus - Kitchen Bundle B (2 - measures) | Foodservice Bundle B | Any 2 Kitchen equipment measures | 3 | 0 | /unit | 3 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 150 | 450 | 0 | 0 | 0 | #N/A | 0 | 0 | -
COMFSBNDLB-7-17 | Bonus - Kitchen Bundle C (3 or more measures) | Foodservice Bundle C | Any 3 Kitchen equipment measures | 4 | 0 | /unit | 4 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 300 | 1200 | 0 | 0 | 0 | #N/A | 0 | 0 | -
Custom Measures
| 007773-C-High School | Custom Boilers | Custom Boilers | 1 | 2800 | /unit | 1 | 2800 | 24000 | 24000 | 5510.7218 | 1928.9869 | 16560.2913 | 20 | 36644.1532 | 8089.6649 | 4000 | 4000 |  | 0.10916 | 0.32992 | 3.0205 | 0.45192 | 0.67268 | 1.5834
| 007773-C-High School | Custom Boilers | Custom Boilers | 1 | 2800 | /unit | 1 | 2800 | 24000 | 24000 | 5510.7218 | 1928.9869 | 16560.2913 | 20 | 36644.1532 | 8089.6649 | 4000 | 4000 |  | 0.10916 | 0.32992 | 3.0205 | 0.45192 | 0.67268 | 1.5834
| 007773-C-High School | Custom Boilers | Custom Boilers | 1 | 2800 | /unit | 1 | 2800 | 24000 | 24000 | 5510.7218 | 1928.9869 | 16560.2913 | 20 | 36644.1532 | 8089.6649 | 4000 | 4000 |  | 0.10916 | 0.32992 | 3.0205 | 0.45192 | 0.67268 | 1.5834
| 007777-C-Junior High School | Custom Boilers | Custom Boilers | 1 | 2800 | /unit | 1 | 2800 | 16000 | 16000 | 5510.7218 | 1928.9869 | 8560.2913 | 20 | 36644.1532 | 8089.6649 | 4000 | 4000 |  | 0.10916 | 0.32992 | 3.0205 | 0.23361 | 0.45437 | 2.3442
| 007777-C-Junior High School | Custom Boilers | Custom Boilers | 1 | 2800 | /unit | 1 | 2800 | 16000 | 16000 | 5510.7218 | 1928.9869 | 8560.2913 | 20 | 36644.1532 | 8089.6649 | 4000 | 4000 |  | 0.10916 | 0.32992 | 3.0205 | 0.23361 | 0.45437 | 2.3442
| 007844-C-Farm | Custom Boilers | Install Central Condensing Hot Water Boiler Plant | 1 | 91980 | /unit | 1 | 91980 | 94900 | 94900 | 181027.2102 | 63367.2195 | 0 | 20 | 1203760.4327 | 265745.4925 | 94900 | 94900 |  | 0.078836 | 0.2996 | 3.3262 | 0 | 0.22076 | 4.8248
| 007834-C-SCHOOL DISTRICT | Custom Boilers | Boilers | 1 | 9600 | /unit | 1 | 9600 | 24000 | 24000 | 18893.9032 | 6613.6694 | 0 | 20 | 125637.0967 | 27735.994 | 24000 | 24000 |  | 0.19103 | 0.41179 | 2.42 | 0 | 0.22076 | 4.8248
| 007718-C-Restaurant | Custom Hood System M/U Air Reduction |  | 1 | 1024 | /unit | 1 | 1024 | 2460 | 2460 | 1913.3034 | 665.8712 | 0 | 18 | 12521.5813 | 2958.506 | 738 | 738 |  | 0.058938 | 0.29521 | 3.1921 | 0 | 0.23627 | 4.2609
| 007781-C-Community Center | Custom Heat Recovery | Poolroom make up AHU w heat recovery | 1 | 16114 | /unit | 1 | 16114 | 171885 | 171885 | 27422.8726 | 9436.579 | 135025.5484 | 15 | 173892.8673 | 46556.0216 | 36998 | 36998 |  | 0.21276 | 0.48049 | 1.798 | 0.77649 | 1.0442 | 0.88322
| 007733-C-Specialties Store | Custom Other |  | 1 | 2200 | /unit | 1 | 2200 | 10045 | 10045 | 3326.4081 | 1126.3652 | 5592.2266 | 12 | 20141.4495 | 6356.1653 | 3014 | 3014 |  | 0.14964 | 0.46522 | 1.6665 | 0.27765 | 0.59322 | 1.4206
| 007828-C-Grocery Store | Custom Other | Medium Temp Case Doors | 1 | 14040 | /unit | 1 | 14040 | 97208 | 97208 | 21228.5319 | 7188.2581 | 68791.21 | 12 | 128539.0685 | 40563.8912 | 17971 | 17971 |  | 0.13981 | 0.45539 | 1.7025 | 0.53518 | 0.85075 | 0.99056
| 007781-C-Community Center | Custom Other | Condensing pool boiler and HX loop | 1 | 4419 | /unit | 1 | 4419 | 127128 | 127128 | 8697.0998 | 3044.3547 | 115386.5455 | 20 | 57832.3261 | 12767.2247 | 16898 | 16898 |  | 0.29219 | 0.51295 | 1.9428 | 1.9952 | 2.216 | 0.48066
| TOTAL PROGRAM |  |  | 272 |  |  |  | 384176.3142 |  | 1715568.4488 |  |  | 924568.5813 | 18.7505 | 4684296.2434 | 1108457.4792 |  | 951485.7 | 940237.3 | 0.20312 | 0.43976 | 2.149 | 0.19738 | 0.43401 | 2.3263
| Nominal interest rate (post tax cost of cap.) | 4.43%
| Inflation rate | 2%
| Long term real discount rate | 4.43%
Total 2019 Program Admin.
1107829.05
Custom Admin.
443131.62
Prescriptive Admin.
664697.43
Note on AA5: Robert Cuti: Uses Column 5 in APP 2885 table to make B/C Ratio calc
Note on T27: Bashour, Margaret A (US): Rounding error on project #7697

## APP 2885
CASCADE NATURAL GAS CORPORATION
2018 INTEGRATED RESOURCE PLAN
PORTFOLIO COST APPENDIX 1 TABLE H
45 YEAR RESOURCE SUMMARY COSTS - MELDED COST PER THERM
|  | IRP ANNUAL |  | RESOURCE | PV OF | NON | PORTFOLIO COSTS
|  | PORTFOLIO | NOMINAL | PORTFOLIO | RESOURCE | ENERGY | WITH | COST-
|  | COST PER | COST PER | COST - % | PORTFOLIO | BENEFIT | CONSERVATION | EFFECTIVENESS
| YEAR | THERM (PV)* | THERM | CHANGE | COST/THERM |  | CREDIT | LIMIT
2019 | 1 | 0.31556 | 0.31556 |  | 0.5245 | 5% | 0.55073 | 0.57512
2020 | 2 | 0.50434 | 0.52668 |  | 1.0512 | 5% | 1.0942 | 0.58372
2021 | 3 | 0.49228 | 0.53686 |  | 1.588 | 5% | 1.6325 | 0.59309
2022 | 4 | 0.56318 | 0.64139 |  | 2.2294 | 5% | 2.1652 | 0.60255
2023 | 5 | 0.5516 | 0.65604 |  | 2.8855 | 7.5% | 2.7732 | 0.63047
2024 | 6 | 0.54312 | 0.67456 |  | 3.56 | 7.5% | 3.3508 | 0.64818
2025 | 7 | 0.51762 | 0.67136 |  | 4.2314 | 7.5% | 3.9211 | 0.66371
2026 | 8 | 0.50786 | 0.68789 |  | 4.9193 | 7.5% | 4.5103 | 0.68185
2027 | 9 | 0.47789 | 0.67598 |  | 5.5953 | 7.5% | 5.1028 | 0.6998
2028 | 10 | 0.46959 | 0.69366 |  | 6.2889 | 10% | 5.8298 | 0.73423
2029 | 11 | 0.45767 | 0.706 |  | 6.9949 | 10% | 6.4518 | 0.75365
2030 | 12 | 0.44718 | 0.72037 |  | 7.7153 | 10% | 7.0981 | 0.77531
2031 | 13 | 0.43436 | 0.73073 |  | 8.446 | 10% | 7.7465 | 0.79661
2032 | 14 | 0.42443 | 0.74565 |  | 9.1917 | 10% | 8.4206 | 0.81996
2033 | 15 | 0.41475 | 0.76093 |  | 9.9526 | 12.5% | 9.3232 | 0.86395
2034 | 16 | 0.4037 | 0.77346 |  | 10.7261 | 12.5% | 10.0353 | 0.88877
2035 | 17 | 0.39196 | 0.78424 |  | 11.5103 | 12.5% | 10.7783 | 0.91576
2036 | 18 | 0.38302 | 0.80029 |  | 12.3106 | 12.5% | 11.5229 | 0.94233
2037 | 19 | 0.37016 | 0.8077 |  | 13.1183 | 12.5% | 12.2774 | 0.96924
2038 | 20 | 0.3604 | 0.82123 |  | 13.9395 | 12.5% | 13.0419 | 0.99654
2039 | 21 | 0.35201 | 0.83765 |  | 14.7772 | 15% | 14.1211 | 1.0468
2040 | 22 | 0.34382 | 0.85441 |  | 15.6316 | 15% | 14.9183 | 1.0752
2041 | 23 | 0.33582 | 0.8715 |  | 16.5031 | 15% | 15.7235 | 1.1039
2042 | 24 | 0.32801 | 0.88893 |  | 17.392 | 15% | 16.5368 | 1.1329
2043 | 25 | 0.32038 | 0.9067 |  | 18.2987 | 15% | 17.3582 | 1.1622
2044 | 26 | 0.31292 | 0.92484 |  | 19.2235 | 17.5% | 18.5832 | 1.2178
2045 | 27 | 0.30564 | 0.94334 |  | 20.1669 | 17.5% | 19.4394 | 1.2485
2046 | 28 | 0.29853 | 0.9622 |  | 21.1291 | 17.5% | 20.3041 | 1.2796
2047 | 29 | 0.29158 | 0.98145 |  | 22.1105 | 17.5% | 21.1774 | 1.3112
2048 | 30 | 0.2848 | 1.0011 |  | 23.1116 | 17.5% | 22.0595 | 1.3431
Cascade's Long Term Real Discount Rate: |  |  |  | 4.43%
|  | IRP Discount Rate = |  | 4.43%
|  | Revised Discount Rate= |  | 0%
|  | Years 21-45 Escalation = |  | 2% | (EIA Inflation Rate)