NEW SECTION

WAC 480-75-002  Application of rules.  These rules shall apply to pipeline facilities and the transportation of gasoline, oil, petroleum, or hazardous liquids.  The purpose of the rules is to provide minimum safety standards and reporting requirements for the transportation of gasoline, oil, petroleum, and hazardous liquids by pipeline.  These rules shall apply to the design, construction, operation, maintenance, and safety of pipeline facilities used in gathering, carrying, or transporting gasoline, oil, petroleum, or hazardous liquids in this state, except those pipeline facilities exclusively under federal jurisdiction as prescribed by the Pipeline Safety Law, 49 U.S.C. Section 60101.

[]

NEW SECTION

WAC 480-75-005  Compliance with federal standards.   Operators of pipeline facilities transporting gasoline, oil, petroleum, or hazardous liquids in this state shall design, construct, maintain, and operate pipeline facilities in compliance with the provisions of 49 CFR, Parts 195 and 199, in effect on (the date this rule is adopted), except that any specific provisions in this chapter control in the event of inconsistency between this chapter and the referenced federal rules.  The incorporation of 49 CFR, Part 195, Subpart B, Reporting Accidents and Safety-Related Conditions, is revised as follows:

1.	Include "Washington Utilities and Transportation Commission" where "Administrator, Office of Pipeline Safety, Research and Special Programs Administration, or Department of Transportation" appear.

2.	Include "Washington Utilities and Transportation Commission Pipeline Safety Section, at its office at 1300 S. Evergreen Park Drive SW, P.O. Box 47250, Olympia, Washington, 98504-7250," where telephone or addresses appear for the "Information Officer, Information Resources Manager, or Office of Pipeline Safety."

49 CFR, Parts 195 and 199, are available for public inspection at the commission branch of the Washington state library, located in the Olympia office of the commission.  Copies are also available from the Government Printing Office Bookstore, Seattle, Washington.

[]

NEW SECTION

WAC 480-75-230  Modification/waivers.  If a gasoline, oil, petroleum, or hazardous liquids pipeline company determines that an undue hardship or an unsafe condition may result from the application of any rule in this chapter, application may be made to the commission for a waiver of the rule.  Every request for a waiver shall be accompanied by full and complete justification for such requested deviation.  The petitioning company shall describe how it will meet the requirements of this chapter in the absence of the waived rule, which may include proposed amendments to this chapter.  Requests for waiver will be written, properly documented, and submitted to the commission.  A company shall concurrently submit to the commission all petitions for waiver of any pipeline safety rule filed with the federal government or other governmental authority.

[]