## Slide 1: Cascade Natural Gas Corporation Integrated Resource Plan Technical Advisory Group Meeting #1
June 16th, 2016
Seattle International Airport Conference Center

## Slide 2: Agenda
Introductions
About Cascade Natural Gas
  IRP Timeline
  2014 IRP issues
Cascade’s Demand Study Overview
  Key Points
  Inputs and Data Sources
  Assumption
  Scenarios
Cascade Natural Gas Forecast Model
  Demand Data
  Growth Data
  Weather Data
  Regression Analysis changes
  Scenarios
  HDD Analysis
  Demand Forecast
  Peak Day
Summary
Next Steps

## Slide 3
Prior to 1955, natural gas was virtually unheard-of in the Pacific Northwest. Seeing an opportunity, Lester Pettit, Spencer Clark, and Stewart Matthews led a group of associates to form a company that would rise to the challenge. Cascade Natural Gas Corporation was incorporated January 2, 1953.
In July 2007, Cascade was acquired by MDU Resources headquartered in Bismarck, ND.
  Founded in 1924 as an electric utility in eastern Montana.
  Core businesses are construction, utilities, pipeline, and refinery.
  Approximately 8,600 employees, operating in 48 states.
  Operates four utilities across eight states:
    Montana-Dakota Utilities Co.
    Great Plains Natural Gas Co.
    Cascade Natural Gas Corporation
    Intermountain Gas Co.
A LITTLE HISTORY LESSON…

## Slide 4: AND TODAY WE ARE …
Cascade Natural Gas Corp. serves 276,000 customers in 96 communities – 68 of which are in Washington and 28 in Oregon. Cascade's service areas are concentrated in western and south central Washington and south central and eastern Oregon.
Today, Cascade serves a diverse service territory covering more than 32,000 square miles and 700 highway miles from one end of the system to the other. Interstate pipelines transmit Cascade's natural gas from production areas in the Rocky Mountains and western Canada.

## Slide 5
IRP GUIDELINES AND CONTENT
WASHINGTON
IRP Guidelines under WUTC WAC 480-90-238
CASCADE’S BASIC PHILOSOPHY
Primary purpose of Cascade’s long-term resource planning process has been, and continues to be, to inform and guide the Company’s resource acquisition process, consistent with state regulatory requirements.
Input and feedback from the Company’s Technical Advisory Group (TAG) is an important resource to help ensure that CNGC’s IRP is developed from a broader perspective than Cascade could have on its own.
In response to the issues identified with the 2014 IRP, Cascade has strengthened its commitment to securing and supporting the appropriate internal and external resources necessary to work with all stakeholders to produce a 2016 Integrated Resource Plan that meets the requirements of Washington Administrative Code 480-90-238.

## Slide 7
IRP TIMELINE
Date | Process Element | Location (Subject to change)
Thursday, June 09, 2016 | TAG 1 slides distributed to stakeholders | 
Thursday, June 16, 2016 | TAG 1: Process, Key Assumptions, IRP Team, Timeline, Latest Economic Indicators, Price Forecast and Demand Forecast, Plan for dealing with issues raised in 2014 IRP | 
Thursday, July 14, 2016 | TAG 2 slides distributed to stakeholders | 
Tuesday, July 19, 2016 | TAG 2: Drilling down into segments of demand forecast, Current Supply Resources, Transport Issues, Alternative Resources, Update on 2 Year Plan | Seattle Airport Conference Center
Friday, August 12, 2016 | TAG 3 slides distributed to stakeholders | 
Thursday, August 18, 2016 | TAG 3: Conservation, Distribution System Planning, Planned Scenarios and Sensitivities | Seattle Airport Conference Center
Thursday, September 08, 2016 | TAG 4 slides distributed to stakeholders | 
Thursday, September 15, 2016 | TAG 4: Preliminary Resource Integration Results, Avoided Costs, Proposed new 2 year Plan | Seattle Airport Conference Center
Tuesday, October 04, 2016 | TAG 5: Final Integration Results, finalization of plan components | Seattle Airport Conference Center
Monday, October 17, 2016 | Draft of 2016 IRP distributed | Kennewick, WebEx
Monday, November 07, 2016 | Comments due on draft from all stakeholders | 
Thursday, November 17, 2016 | TAG 6, if needed | Seattle Airport Conference Center
Wednesday, November 23, 2016 | Final IRP goes to press | 
Thursday, December 01, 2016 | Executive Summary Presentation to Senior Management | Kennewick, WebEx
Thursday, December 15, 2016 | IRP filing in Washington | 

## Slide 8
CNGC’S 2016 IRP TAG PARTICIPANTS
    INTERNAL CASCADE IRP TEAM
      Resource Planning group
      Other Gas Supply members
      Regulatory Affairs
      Operations/Engineering
      Conservation, Energy Efficiency
      Finance/Accounting
      Information Technology
    MEMBERS OF THE WUTC STAFF
    PUBLIC COUNSEL OF WASHINGTON
    NORTHWEST GAS ASSOCIATION
    NORTHWEST INDUSTRIAL GAS USERS
    REGIONAL LDCS
    REGIONAL PIPELINES
    MEMBERS OF THE PUBLIC

## Slide 9
ISSUES WITH 2014 IRP
The lack of clear explanation of the timing of resource needs and how capacity deficits at specific city gates would be met (WAC 480-90-238(3)(g))
The lack of detailed load forecast information by class and state (WAC 480-90-238 (3)(a))
Insufficient analysis and explanation of conservation potential (WAC 480-90-238 (3)(b))
The lack of a description of the company’s stakeholder engagement process (WAC-480-90-238(5))
Unclear explanation of the company’s risk management rationale and hedging strategy (WAC 480-90-238(3)(f)).
In addition to the above-listed rule requirements, the commission also identified a general lack of organization and presentation that made the plan difficult to read and understand.

## Slide 10
RESOLVING THE 2014 ISSUES WITH THE 2016 IRP
The lack of clear explanation of the timing of resource needs and how capacity deficits at specific city gates would be met (WAC 480-90-238(3)(g))
  CASCADE WILL WORK WITH STAKEHOLDERS TO CLEARLY IDENTIFY BY TAG 5 THE SPECIFIC TIMING, POTENTIAL EXCEPTIONS, AND METHOD OF DEALING WITH UPSTREAM PIPELINE CAPACITY DEFICITS AT DEMAND AREAS.
The lack of detailed load forecast information by class and state (WAC 480-90-238 (3)(a))
  BY COMPLETION OF TAG 2, CASCADE WILL WORK WITH STAKEHOLDERS TO DEFINE THE SPECIFIC EXPECTATIONS FOR THIS ISSUE.
Insufficient analysis and explanation of conservation potential (WAC 480-90-238 (3)(b))
  CASCADE WILL WORK WITH STAKEHOLDERS DURING THE 2016 IRP PROCESS TO IDENTIFY STAFF’S SPECIFIC CONCERNS REGARDING THE INSUFFICIENT ANALYSIS AND EXPLANATION OF CONSERVATION POTENTIAL.

## Slide 11
RESOLVING THE 2014 ISSUES WITH THE 2016 IRP
The lack of a description of the company’s stakeholder engagement process (WAC-480-90-238(5))
  WITH THE PUBLICATION OF THE DRAFT 2016 IRP, CASCADE WILL PROVIDE AN IMPROVED DESCRIPTION OF THE STAKEHOLDER PARTICIPATION PROCESS THROUGH INCLUSION OF TAG MEETING PRESENTATIONS, MINUTES AND RESPONSEs TO COMMENTS.
Unclear explanation of the company’s risk management rationale and hedging strategy (WAC 480-90-238(3)(f))
  CASCADE IS CURRENTLY PARTICIPATING IN WUTC’S HEDGING DOCKET UG-132019. THROUGHOUT THIS PROCESS CASCADE HAS PROVIDED COMMENTS AND EXPLANATIONS OF OUR RISK MANAGEMENT EFFORTS. WE WILL CONTINUE TO PARTICIPATE IN UG-132019 AND WILL PROVIDE OUR 2016 IRP RISK MANAGEMENT GUIDANCE BY TAG 4.
In addition to the above-listed rule requirements, the commission also identified a general lack of organization and presentation that made the plan difficult to read and understand
  CASCADE IS COMMITTED TO WORKING ON AN IMPROVED NARRATIVE TAKING INTO ACCOUNT COMMENTS MADE BY STAKEHOLDERS IN REFERENCE TO THE 2014 IRP. THE NARRATIVE IN THE DRAFT 2016 WILL BE A SIGNIFICANT IMPROVEMENT.

## Slide 12: CASCADE DEMAND STUDY
High Level overview of the 20 Year demand forecast

## Slide 13: Overview
The Cascade demand forecast developed for the IRP is a forecast of customers, core natural gas demand, and core peak demand for the next 20 years.
Cascade’s core load consists of approximately 53% residential and 47% commercial and industrial.
Data Aggregation
Historical Weather
Historical Demand
Linear Regression Analysis
Demand vs Weather
Non-Weather Dependent Demand Analysis
Growth
W&P Pop/Eco Growth
Forecast
Monthly Demand Forecast
Annual Peak Demand Day Forecast
Growth Scenarios
Annual Premise Count Projection
Weather Scenarios

## Slide 14: Overview
Forecast demand at the CityGate and CityGate Loop level.
CityGate Loops are a group of CityGates that service a similar area that are forecasted together due to pipeline operations.
CNGC forecast model is flexible giving Cascade the ability to:
  Update input data (gas demand and weather)
  Modify assumptions
  Modify CityGates and loops to be forecasted
  Run several scenarios

## Slide 15: Key Points
Cascade’s demand is principally weather and customer driven; the colder the weather or greater the customer count, the greater the demand.
This forecast uses 30 years of recent weather history as the “normal” temperatures.
Forecasted under various weather and growth scenarios – average year, cold year, warm year, extreme cold day, high growth, low growth, etc.
Analyze weather and demand for each of 55 CityGates and CityGate Loops that serve Core customers.
Growth factors are applied to each of the 20 years in the forecast for each CityGate.
  Heating demand does not appreciatively start until average temps dip below 60° F, therefore a 60° F threshold is used.

## Slide 16: Input Data
Historical Demand
  Pipeline actuals
  Gas Management System (GMS)
  Customer Care and Billing (CC&B)
Weather
  Schneider Electric
Population and Economic
  Woods & Poole
  Acquiring local market intelligence
Customer Count
  CC&B

## Slide 17: Key Assumptions
  Seven weather locations effectively cover Cascade’s service territory.
  Using population growth assumes 1% increase in population translates to a 1% increase in residential customer count.
  Using employment growth assumes 1% increase in employment translates to a 1% increase in commercial and industrial customer count.

## Slide 18: Forecast Scenarios
Base case regression correlation of weather to demand by citygate and loops.
Sensitivity capability for cold and warm weather.
Sensitivity for low and high customer growth.

## Slide 19: Non-Weather dependent demand
Demand that is not influenced by weather.
Typically caused by a customer who ramps up production based on the time of season.
Demand is removed prior to running the demand vs. weather analysis.
After the HDD and customer information is input in the regression to come up with the forecast the non-weather dependent demand is added back in.

## Slide 20: Moxee (Beauchene)

## Slide 21: Moxee (Beauchene)

## Slide 22: Moxee (Beauchene)

## Slide 23: Moxee (Beauchene)

## Slide 24: Forecast Results

## Slide 25: Cascade Natural Gas Forecast Model

## Slide 26: Demand Data
Historical core monthly demand by CityGate was primarily drawn from:
  Pipeline actuals from Electronic Bulletin Board (EBB)
  Cascade’s own Gas Management System (GMS)
Also examined CC&B (Customer Care and Billing) for data verification and premise count information.
Analyzing demand data from 2004 to 2015.

## Slide 27: Growth Data
Woods & Poole State Profile data is used for customer forecast.
Population data is used for the Residential Customers.
Commercial and Industrial growth factors used Farm, Construction, and Manufacturing earnings in previous model.
New model uses: Farm Employment, Forestry, Fishing, Related Activities & Other, Mining Employment, Utilities Employment, Construction Employment, Manufacturing Employment, Wholesale Trade Employment, Retail Trade Employment, Transportation & Warehousing Employment, Information Employment, Arts, Entertainment, & Recreation Employment, Finance & Insurance Employment, Real Estate, Rental & Leasing Employment, Professional & Technical Services Employment, Administrative & Waste Services Employment, Educational Services Employment, Health Care & Social Assistance Employment, Federal Civilian Government Employment, State & Local Government Employment, and Federal Military Government Employment

## Slide 28: Growth Data cont’d
To project the natural gas demand forward, growth factors for each year are applied to gas demand predicted after assuming a weather scenario (average, cold, mild).
Cascade uses regional (county) economic demographics data formulated by Woods and Poole to derive a projected customer growth by town and year or local economic growth information if available.
Woods and Poole Employment, Income, Population, and Housing demographics were reviewed. Cascade derived Population and Economic growth factors formulated from Woods and Poole’s forecasted Population and Employment growth.
  Growth factors derived from W&P can manually be replaced by Cascade derived growth figures based on such factors as customer growth, engineering estimates, and internal customer projections.

## Slide 29: Residential Growth
Cascade uses population growth data formulated by Woods and Poole to derive a projected residential customer growth by CityGate and year.
Woods and Poole population growth forecast is provided by county and year and directly assigned to a CityGate. Cascade assumes a 1% growth in population translates to a 1% increase in customer growth.

## Slide 30: Residential Growth Formulas

## Slide 31: Commercial and Industrial Growth
To create an economic growth figure, Woods and Poole’s employment factors were combined for each county and year (2015-2050) to produce a total employment number.
The sum of all raw earning growth figures assigned to a CityGate was used to calculate the Economic Growth by year for each CityGate.

## Slide 32: Commercial and Industrial Growth formulas

## Slide 33: Cumulative Impacts
Growth factors are primarily cumulative, growth in one year impacts growth in subsequent years.
Forecast model allows for non cumulative impacts that modify demand at a specified CityGate and time period.
Normal demand resumes after non cumulative impact event is over.

## Slide 34: Growth Scenarios
Forecast assumes three different growth scenarios.
  Base case assumes expected growth with figures primarily from growth factors derived from W&P population and economic employment forecast.
  High growth scenario assumes high economic and population growth and boosts growth by a given percentage (50%).
  Low growth scenario assumes low economic and population growth and decreases growth by a given percentage (50%).

## Slide 35: Growth Tab

## Slide 36: Weather Data
Define weather in terms of HDDs (Heating Degree Day).
30 years of weather data for seven weather stations was used to make weather scenarios.
Weather data is from Schneider Electric.
Assign a weather station to each CityGate or CityGate Loop.

## Slide 37: Weather Stations
The seven weather stations are shown on the map.
Cascade’s customer base is shaded in aqua.
Each CityGate and loop is assigned to a weather station.

## Slide 38: Weather Scenario
The average scenario forecast assumes weather (HDD) for 12 months of the year from the 30 year average.
Average weather scenario is the base case forecast.
Same demand equations were used to forecast the peak demand day for each citygate.

## Slide 39: Weather Scenarios
For weather scenarios, system wide HDDs are used by giving appropriate weight to the weather stations that have greater impact on system wide demand.
To determine the high case HDD weather scenario, the six coldest years were selected (20% of the coldest years out of 30). These years have the highest yearly total of HDDs.
To determine the low case HDD weather scenario, the six warmest years were selected (20% of the warmest years out of 30). These years have the lowest yearly total of HDDs.

## Slide 40: Normal Weather 1986-2015
Weather Scenarios

## Slide 41: Linear Regression Analysis for previous model

## Slide 42: Linear Regression Analysis for new model

## Slide 43: Tariff Allocation

## Slide 44: Linear Regression Analysis for new model

## Slide 45: Previous Linear Regression Analysis
Weather is the input variable and gas demand is the output:
Where b is demand/HDD and C is the constant baseload demand.

## Slide 46: New Linear Regression Analysis
Weather and Customers are the input variables and gas demand is the output:
Where b is demand/HDD/Customer and C is the constant baseload demand/Customer.
Goal is to predict demand at each CityGate/loop based on given weather (HDD) and customer.
Perform a linear regression or best fit analysis of monthly gas demand versus monthly HDDs and customers at each citygate for the past 12 years of data.

## Slide 47: Linear Regression Analysis for new model

## Slide 48: Goodness of fit
  In the previous model if the R2 was below the 80% threshold, we would use previous year’s demand with growth applied as the forecast.
  Using the previous year’s demand is a type of forecasting. This is called the naïve forecast.

## Slide 49: Goodness of fit
  In the new model, both the linear forecast and the naïve forecast method were analyzed.
  The naïve method is a method of using the previous year’s demand as the current year’s demand. (Ex. January 2015 forecast would use January 2014 actuals).
  If the correlation for the naïve model is higher than the correlation for the linear regression, then the naïve method is used.
  If the correlation for the naïve model is lower than the correlation for the linear regression, then the linear regression is used.

## Slide 50: Heating Degree Day (HDD)
Heating degree day is used as the unit of measure for weather in the linear regression analysis .
Heating degree day is calculated by:
  Determine average high and low temperature for a given day.
  Daily average is subtracted from an HDD threshold (for example 60°F).
  If this produces a negative number, a value of zero is assigned.
Example:
  Daily high temperature = 60°F; Daily low temperature = 50°F
  Calculate average  55°F
  Subtract from HDD threshold (we will use 60): 60-55 = 5
  This example day has 5 HDD

## Slide 51: 65 vs 60 HDD Threshold
The historical threshold for calculating HDD has been 65°F .
It was determined that lowering the threshold to 60°F produces better results for Cascade’s service territory.
The graph shows that heating demand does not begin to increase until an HDD of five if the traditional 65°F is utilized.

## Slide 52: Acme Therms/HDD with 60 degree reference temperature

## Slide 53: Final Demand Forecast
The Monthly Demand Forecast by year, month, rate schedule and CityGate was based upon:
  The calculated forecast for weather dependent load plus the most recent year’s (2015) non weather dependent core load with applied growth factors.
  Core load was forecasted by CityGate by rate schedule.

## Slide 54: Demand Forecast

## Slide 55: Demand Forecast

## Slide 56: Peak Day Forecast
3 Peak Day Scenarios:
  Average Peak Day
  Max Peak Day
  CityGate Peak Day
HDD weighting
  To determine the peak day HDDs Cascade had to weight each HDD based on weather location.
    Held customer count to the December 2015 actual and used the coefficient b in the linear regressions.
    The amount of demand at each weather location based on an increase in 1 HDD determined how each weather location should be weighted.

## Slide 57: System Weighted HDD

## Slide 58: Average Peak Day Forecast
The Average Peak Day Forecast ensures that Cascade can plan for the expected peak day during a year.
  Using the weighted HDDs, Cascade found the coldest day in each of the most recent 30 years (1986-2015).
  Using those HDDs, Cascade averaged each day for each weather location to come up with 7 HDDs.
  Those HDDs were then applied to the regressions to come up with an average peak day forecast.

## Slide 59: Max Peak Day Forecast
The Max Peak Day Forecast allows Cascade to plan for the coldest day in the past 30 years with today’s usage rates and customer counts.
  Using the weighted HDDs, Cascade found the coldest day from the past 30 years (This is December 21st, 1990).
  The HDDs for each weather location from this day were used in the regressions to come up with the Max Peak Day Forecast.

## Slide 60: CityGate Peak Day Forecast
The CityGate Peak Day Forecast allows Cascade to plan for the coldest day in the past 30 years at each individual weather location.
  Using weather location HDDs, Cascade found the coldest HDD in the past 30 years for each individual weather location.
  The HDDs for each weather location were used in the regressions to come up with the CityGate Peak Day Forecast.

## Slide 61: Max and CityGate Peak HDDs

## Slide 62: Average Peak Demand Day Forecast

## Slide 63: Max Peak Demand Day Forecast

## Slide 64: CityGate Peak Demand Day Forecast

## Slide 65: Summary
Cascade acknowledges 2014 IRP issues and plans to resolve those in the 2016 IRP.
Demand Forecast Model
  Methodology
  Assumptions
  Scenarios
  Results

## Slide 66
Questions/Next Steps
Review Plans for TAG 2 Discussion
  Update on any Action items.
  Drill down further into the 20 year forecast, select CityGates and customer segments.
  Current and Potential Supply Resources.
  Next TAG is Tuesday, July 19th at SeaTac International Airport Conference Center.