Puget Sound Energy

Service Quality Program Filing

2010 PSE Semi-Annual Performance Report

Filed July 30, 2010

###### TABLE OF CONTENTS

Introduction	1

Background	2

PSE SQI Performance	4

Service Guarantees	5

Exhibit A - Monthly SQI Performance

Attachment A - Major Event and Localized Emergency Event Days (Affected Local Areas Only)

Attachment B - Major Event and Localized Emergency Event Days (Non-Affected Local Areas Only)

Exhibit B - Customer Service Guarantee Performance Detail

Exhibit C - Customer Awareness of Customer Service Guarantee

## Introduction

This report presents Puget Sound Energy, Inc.’s performance of ten Service Quality Indices (“SQIs”) and the results of Customer and Restoration Service Guarantees for the semi-annual reporting period of January 1, 2010, through June 30, 2010.  Specifically, it includes the following information to meet the SQI filing requirements:

- Monthly performance for each of the ten service quality indices by category of customer satisfaction, customer services, and operations services (attached as Exhibit A)

- Number of missed appointments and missed commitments under Customer Service Guarantee and amount of guarantee payments to customers by service type (attached as Exhibit B)

There is no penalty assessment associated with the semi-annual SQI filing.

## Background

Puget Sound Energy, Inc.’s (“PSE’s” or “the Company’s”) Service Quality Program (the “Program”) includes a Service Guarantee component and a Service Quality Index (“SQI”) component.  The Program was originally implemented pursuant to Docket Nos. UE-951270 and UE-960195, the dockets merging Washington Natural Gas Company and Puget Sound Power & Light Company.  The purpose of the Program is to “provide a specific mechanism to assure customers that they will not experience deterioration in quality of service”.  The Washington Utilities and Transportation Commission (the “WUTC” or the “Commission”) approved the Program on July 31, 1997.  On November 16, 1997, PSE, the combined entity of the two companies, filed its first SQI filing for the reporting period of April 1997 through September 1997 and has been filing semi-annual reports and annual reports thereafter.

The Program has been extended twice as part of PSE’s general rate case settlement agreements with certain amendments and additional conditions in consolidated Docket Nos. UE-011570 and UG-011571 and in consolidated Docket Nos. UE-072300 and UG-072301.  Besides the two continuances of the entire Program, Docket No. UE-031946 revised the reporting mechanic pertaining to SQI No. 11 - Electric Safety Response Time.

On October 18, 2008, the Commission approved further revisions in consolidated Docket Nos. UE-072300 and UG-072301.  The SQI and Service Guarantee related modifications were set forth in Appendix D: Partial Settlement Stipulation of Service Quality, Meter and Billing Performance, and Low-Income Bill Assistance (the “Stipulation”); in Order 12 of the consolidated Dockets.  Starting on January 1, 2009, the beginning of the 2009 SQI program year, the following changes became effective, among other terms in the Stipulation:

- Reorganization of SQI customer report card by category of service, which are customer satisfaction, customer services, and operations services

- Increase in the maximum total annual SQI penalty amount to $15 million from $10 million

- Doubling of the otherwise applicable penalty amount if an individual SQI performance benchmark is not met in two or more consecutive years starting in 2009 and the years after 2009

- New process of returning SQI penalty amount to customers

- Establishment of Restoration Service Guarantee, electric Schedule 131

- Elimination of SQI No. 1 - Overall Customer Satisfaction

- Decreasing of SQI No. 2 - WUTC Complaint Ratio benchmark to 0.40 from 0.50 per 1,000 customers

- Addendum of certain information-only reporting requirements concerning SQI No. 5 - Customer Access Center Answering Performance and SQI No. 7 - Gas Safety Response Time

- Renaming of SQI No. 10 to “Appointments Kept” from “Missed Appointments”

In addition to Order 12, in Order 14 of the same consolidated dockets, the Commission granted PSE’s application for amendment to the SQI No. 9 – Disconnection Ratio benchmark from 0.030 to 0.038 disconnections per customer for non-payment of amounts due when WUTC disconnection policy would permit service curtailment.

This semi-annual report contains information and performance calculations that meet all the requirements and standards established in the original 1997 merger dockets and reflect all the subsequent amendments and additional conditions approved by the WUTC in the aforementioned 2001, 2003, and 2007 dockets.

## PSE SQI Performance

PSE’s preliminary semi-annual performance on the ten SQIs for the reporting period of January 1, 2010, through June 30, 2010, is summarized in the following table.  There is no penalty assessment associated with the semi-annual SQI filing.

| Category of Service | Index No. | Description | Preliminary Semi-Annual Performance |  |
| --- | --- | --- | --- | --- |
| Customer Satisfaction | SQI No. 6 | Customer Access Center Transaction Satisfaction | 96% | Satisfied |
|  | SQI No. 8 | Field Service Operations Transactions Customer Satisfaction | 97% | Satisfied |
|  | SQI No. 2 | WUTC Complaint Ratio | 0.16 | per 1,000 Customers |
| Customer Services | SQI No. 5 | Customer Access Center Answering Performance | 76% | Answered in 30 Seconds |
|  | SQI No. 9 | Disconnection Ratio | 0.021 | Disconnections per Customer |
| Operations Services | SQI No. 4 | SAIFI | 0.420 | Interruptions per Customer |
|  | SQI No. 3 | SAIDI | 63 | Minutes per Customer |
|  | SQI No. 11 | Electric Safety Response Time | 47 | Minutes |
|  | SQI No. 7 | Gas Safety Response Time | 32 | Minutes |
|  | SQI No. 10 | Kept Appointments | 100% | of Appointments |

The monthly results for each index are reported in Exhibit A.  Attachments A and B to Exhibit A detail the days on which a major event or a localized emergency event occurred that resulted in suspension of SQI No. 11 - Electric Safety Response Time during the reporting period.

## Service Guarantees

In addition to the ten service-quality measures that track PSE’s performance in providing utility services to customers, PSE’s SQI program also includes two service guarantees, Customer Service Guarantee and Restoration Service Guarantee.

Under Customer Service Guarantee, customers can receive a $50 credit on their PSE bill if PSE doesn’t keep an appointment to install new service, reconnect existing service, or inspect natural gas equipment.  Exhibit B shows the numbers of missed appointments and missed commitments subject to Customer Service Guarantee and amount of guarantee payments to customers by service type.  Exhibit C provides a summary of customer awareness of Customer Service Guarantee.

Restoration Service Guarantee provides customers a $50 credit, after PSE’s review, if their electric service is out for 120 consecutive hours or longer.  In the first half of 2010, there was no outage event that extended for 120 consecutive hours and there was no customer applied for the credit.

Puget Sound Energy

Service Quality Program Filing

2010 PSE Semi-Annual Performance Report

## Exhibit A - Monthly SQI Performance

Puget Sound Energy

Service Quality Program Filing

2010 PSE Semi-Annual Performance Report

Exhibit A - Monthly SQI Performance

## Attachment A - Major Event and Localized Emergency Event Days (Affected Local Areas Only)

Puget Sound Energy

Service Quality Program Filing

2010 PSE Semi-Annual Performance Report

Exhibit A - Monthly SQI Performance

## Attachment B - Major Event and Localized Emergency Event Days (Non-Affected Local Areas Only)

Puget Sound Energy

Service Quality Program Filing

2010 PSE Semi-Annual Performance Report

## Exhibit B - Customer Service Guarantee Performance Detail

Definition of the categories

Total Appointments (Excludes Canceled): the total of Total Missed and Total Kept

Missed Approved: appointments missed due to PSE reasons and customers are paid the $50 Service Guarantee payment for each missed approved appointment.

Missed Denied: appointments missed due to customer reasons or due to major events

Missed Open: appointments not yet reviewed by PSE for the $50 Service Guarantee payment

Total Missed: the total number of Missed Approved, Missed Denied, and Missed Open

Manual Kept: adjusted missed appointments resulting from the review by the PSE personnel

System Kept: appointments in which PSE arrived at the customer site as promised

Total Kept: the total number of Manual Kept and System Kept

Canceled: appointments canceled by either customers or PSE

Service Guarantee Payments: the total of the $50 Service Guarantee payments made to customers

Puget Sound Energy

Service Quality Program Filing

2010 PSE Semi-Annual Performance Report

## Exhibit C - Customer Awareness of Customer Service Guarantee

Docket Nos. UE-951270 and UE-960195, page 11 of Stipulation, Appendix “A” to Fourteenth Supplemental Order Accepting Stipulation; Approving merger

Starting 2010, calls abandoned within 30 seconds will be excluded from the calculation of daily call results used in the SQI No. 5 monthly performance determination.  The change was proposed in PSE’s 2009 SQI annual report and agreed to by WUTC staff and Public Counsel via their e-mails to PSE on April 1, 2010.  Also in 2010, PSE changed its customer call routing system from Aspect to Cisco as part of the legacy system was aging and no longer supported by Aspect.  The switch was completed on May 24, 2010.  PSE is still evaluating the impact of transition and a detailed analysis will be available in the annual filing.

A major event includes the days when 5% or more of PSE electric customers experience an electric service outage and the additional days until when those customers have their service restored.  These days are excluded from the calculations of SQI No. 3 - SAIDI, SQI No. 5 - SAIFI, and SQI No. 11 - Electric Safety Response Time performance.

A localized emergency event includes the days when all available electric first responders in a pre-defined area have been deployed to response to electric emergencies in that area.