## Table 1
Table 1
Loads and Resources
2015 through 2024
| 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
aMW
Net Load | 2306.1627 | 2302.0247 | 2307.999 | 2310.1694 | 2315.5446 | 2313.1794 | 2313.0636 | 2316.8251 | 2324.1158 | 2330.434
Long Term Sales | 180.0818 | 179.3579 | 179.8493 | 179.8493 | 179.8493 | 179.3579 | 179.8493 | 179.8493 | 179.8493 | 179.3579
Short Term Firm Sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Requirements | 2486.2446 | 2481.3826 | 2487.8483 | 2490.0187 | 2495.3939 | 2492.5373 | 2492.9129 | 2496.6744 | 2503.9651 | 2509.7919
Long Term Purchases | 290.4253 | 166.3504 | 61.3656 | 52.7933 | 24.4137 | 24.6313 | 24.4138 | 15.9036 | 22.2641 | 9.9918
Short Term Firm Purchase | 40.5936 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Thermal Generation | 2022.3381 | 2020.0858 | 2017.2413 | 2017.3153 | 2017.2819 | 2017.5396 | 2017.2655 | 2014.4767 | 2011.8314 | 2012.0659
Other Generation | 550.9185 | 550.6991 | 549.2022 | 550.4842 | 550.57 | 551.4595 | 478.7423 | 478.6895 | 477.6356 | 479.2109
Reserves | -72.9616 | -79.4063 | -79.7455 | -82.6179 | -86.547 | -88.2445 | -100.9517 | -103.4934 | -104.3919 | -102.6959
Total Resources after Reserves | 2831.314 | 2657.729 | 2548.0636 | 2537.9749 | 2505.7187 | 2505.3859 | 2419.4699 | 2405.5764 | 2407.3392 | 2398.5728
Surplus / (Deficit) | 345.0694 | 176.3463 | 60.2153 | 47.9562 | 10.3247 | 12.8486 | -73.443 | -91.098 | -96.626 | -111.2191
Percent Surplus / (Deficit) | 13.88% | 7.107% | 2.42% | 1.926% | 0.4138% | 0.5155% | -2.946% | -3.649% | -3.859% | -4.431%
Peak (July)
Net Load | 3343.265 | 3346.7926 | 3353.4327 | 3359.5946 | 3362.6886 | 3365.2259 | 3369.238 | 3376.1366 | 3385.1366 | 3394.2867
Long Term Sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Short Term Firm Sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Requirements | 3343.265 | 3346.7926 | 3353.4327 | 3359.5946 | 3362.6886 | 3365.2259 | 3369.238 | 3376.1366 | 3385.1366 | 3394.2867
Long Term Purchases | 321.0996 | 51.4456 | 58.7103 | 55.1652 | 9.9895 | 13.116 | 10.1869 | 18.2415 | 19.4908 | 9.7173
Short Term Firm Purchase | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Thermal Generation | 2034.3216 | 2032.0237 | 2029.3094 | 2029.3094 | 2029.3094 | 2029.3094 | 2029.3094 | 2026.5016 | 2023.6937 | 2023.6937
Other Generation | 978.5236 | 961.9671 | 979.4323 | 973.2679 | 971.1904 | 969.3394 | 797.7268 | 792.2196 | 809.6779 | 801.4429
Reserves | -182.8745 | -180.9442 | -168.4379 | -167.8289 | -167.939 | -163.8537 | -162.0043 | -172.1224 | -172.31 | -172.6515
Total Resources after Reserves | 3151.0703 | 2864.4922 | 2899.0141 | 2889.9136 | 2842.5504 | 2847.9112 | 2675.2188 | 2664.8403 | 2680.5524 | 2662.2024
Surplus / (Deficit) | -192.1947 | -482.3004 | -454.4187 | -469.6811 | -520.1383 | -517.3147 | -694.0191 | -711.2963 | -704.5842 | -732.0843
Percent Surplus / (Deficit) | -5.749% | -14.41% | -13.55% | -13.98% | -15.47% | -15.37% | -20.6% | -21.07% | -20.81% | -21.57%
Peak (January)
Net Load | 3662.2468 | 3650.5818 | 3654.8152 | 3659.5908 | 3667.3999 | 3667.2388 | 3668.5801 | 3676.4585 | 3685.9812 | 3697.4778
Long Term Sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Short Term Firm Sales | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Requirements | 3662.2468 | 3650.5818 | 3654.8152 | 3659.5908 | 3667.3999 | 3667.2388 | 3668.5801 | 3676.4585 | 3685.9812 | 3697.4778
Long Term Purchases | 354.8946 | 315.3057 | 76.1977 | 70.2524 | 39.7132 | 45.0621 | 39.0733 | -7.5845 | 33.5439 | 19.8253
Short Term Firm Purchase | 175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Thermal Generation | 2105.0846 | 2101.8087 | 2099.0009 | 2099.0009 | 2099.0009 | 2099.0009 | 2099.0009 | 2096.193 | 2093.3851 | 2093.3851
Other Generation | 1103.8198 | 1096.055 | 1098.8174 | 1086.5787 | 1098.0356 | 1103.6271 | 923.3788 | 918.3235 | 923.978 | 913.9024
Reserves | -200.203 | -199.5821 | -186.2272 | -188.9387 | -188.3919 | -187.046 | -181.7236 | -187.5208 | -187.5963 | -188.0843
Total Resources after Reserves | 3538.5959 | 3313.5873 | 3087.7888 | 3066.8932 | 3048.3578 | 3060.6441 | 2879.7293 | 2819.4112 | 2863.3108 | 2839.0285
Surplus / (Deficit) | -123.6508 | -336.9945 | -567.0265 | -592.6975 | -619.0421 | -606.5947 | -788.8508 | -857.0473 | -822.6705 | -858.4493
Percent Surplus / (Deficit) | -3.376% | -9.231% | -15.51% | -16.2% | -16.88% | -16.54% | -21.5% | -23.31% | -22.32% | -23.22%
month offset | 0 | 13 | 26 | 39 | 52 | 65 | 78 | 91 | 104 | 117

## Table 2
Table 2
Avoided Energy - $/MWH
Year | Winter Season |  |  |  | Summer Season | [5 empty] | Winter Season
| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
GRID Production Cost Model Study
2015 | 38.2585 | 35.6835 | 32.0887 | 26.4522 | 23.1263 | 21.0326 | 31.4973 | 36.1628 | 36.0186 | 34.1251 | 35.5544 | 39.6853
2016 | 39.9854 | 36.8984 | 34.0444 | 27.4549 | 23.9004 | 22.3088 | 31.249 | 39.7152 | 39.1852 | 36.0231 | 37.8612 | 41.8699
2017 | 42.3633 | 39.2067 | 36.3033 | 29.0885 | 26.0099 | 24.1325 | 33.358 | 42.0962 | 41.5409 | 38.3668 | 40.1963 | 44.0295
2018 | 45.2109 | 41.9035 | 38.9091 | 31.7819 | 28.6948 | 26.815 | 36.2359 | 44.8047 | 44.0195 | 41.1755 | 42.9145 | 46.7098
2019 | 47.8127 | 44.4937 | 41.3546 | 34.6765 | 31.2503 | 29.006 | 39.215 | 47.3882 | 46.5765 | 43.8143 | 45.4826 | 49.252
2020 | 50.2016 | 46.9047 | 43.7371 | 37.0401 | 33.2557 | 31.776 | 41.621 | 49.445 | 49.22 | 46.2536 | 49.7514 | 51.8605
2021 | 51.8857 | 49.0122 | 43.3418 | 39.036 | 34.3312 | 36.5069 | 46.3633 | 52.059 | 50.0932 | 48.1212 | 54.615 | 54.3415
2022 | 53.7239 | 51.1895 | 42.8335 | 41.1165 | 36.1871 | 41.3448 | 50.8141 | 55.2052 | 51.0441 | 50.1682 | 56.3262 | 57.6972
2023 | 54.9904 | 52.2488 | 43.4018 | 43.6623 | 38.8619 | 42.943 | 53.7981 | 57.8998 | 53.0072 | 53.6026 | 60.1462 | 60.9856
2024 | 60.6606 | 57.3797 | 46.1805 | 45.5837 | 39.2539 | 41.7522 | 54.9574 | 61.3527 | 55.2078 | 55.1432 | 61.5302 | 63.5234
Annual Seasonal Average
Year | Winter Season Feb: Winter Season; Summer Season Jun: Summer Season; Summer Season Oct: Annual Average
2015 | Winter Season Mar: 34.64; Summer Season Jul: 30.35; Winter Season Nov: 32.48
2016 | Winter Season Mar: 36.39; Summer Season Jul: 32.08; Winter Season Nov: 34.12
2017 | Winter Season Mar: 38.56; Summer Season Jul: 34.27; Winter Season Nov: 36.4
2018 | Winter Season Mar: 41.27; Summer Season Jul: 36.97; Winter Season Nov: 39.1
2019 | Winter Season Mar: 43.88; Summer Season Jul: 39.56; Winter Season Nov: 41.7
2020 | Winter Season Mar: 46.61; Summer Season Jul: 41.94; Winter Season Nov: 44.14
2021 | Winter Season Mar: 48.72; Summer Season Jul: 44.59; Winter Season Nov: 46.64
2022 | Winter Season Mar: 50.49; Summer Season Jul: 47.47; Winter Season Nov: 48.97
2023 | Winter Season Mar: 52.59; Summer Season Jul: 50.04; Winter Season Nov: 51.3
2024 | Winter Season Mar: 55.82; Summer Season Jul: 51.31; Winter Season Nov: 53.39
Source: | Winter Season Jan: GRID Production Cost Computer Model Study - Dated 2014, December 2
Days | 31 | 28 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
Leap Year | 31 | 29 | 31 | 30 | 31 | 30 | 31 | 31 | 30 | 31 | 30 | 31
184

## Tables 3 to 6
Table 3 |  |  |  |  | Table 4 |  |  |  |  | Table 5 | [5 empty] | Table 6
Capitalized Energy Costs |  |  |  |  | Total Avoided Energy Cost |  |  |  |  | Total Avoided Cost | [5 empty] | Illustrative Base Load - On- & Off Peak- Avoided Cost Prices (1)
| Combined | Simple |  | Capitalized |  |  |  | Capitalized | Total |  | Avoided Firm | Total | Total Avoided Costs |  |  |  | Avoided Firm | Capacity Cost | Total | On-Peak | Off-Peak
Year | Cycle CT | Cycle CT | Capitalized | Energy Costs | Year | Gas Fuel Costs | Energy Cost | Energy Costs | Avoided | Year | Capacity | Avoided | At Stated Capacity Factor |  |  | Year | Capacity | Allocated to | Avoided | 4,993 Hours | 3,767 Hours
| Fixed Costs | Fixed Costs | Energy Costs | 52.3% CF |  | Delivered |  | 52.3% CF | Energy Cost |  | Costs | Energy Cost | 75% | 85% | 95% |  | Costs | On-Peak Hours | Energy Cost | (3) | (2)
| ($/kW-yr) | ($/kW-yr) | ($/kW-yr) | ($/MWH) |  | ($/MMBtu) | ($/MWH) | ($/MWH) | ($/MWH) |  | ($/kW-yr) | ($/MWH) | ($/MWH) | ($/MWH) | ($/MWH) |  | ($/kW-yr) | ($/MWH) | ($/MWH) | ($/MWH) | ($/MWH)
| (a) | (b) | (c) | (d) |  | (a) | (b) | (c) | (d) |  | (a) | (b) | (c) | (d) | (e) |  | (a) | (b) | (c) | (d) | (e)
|  |  | ((a) - (b)) | (c)/(8.760 x 52.3%) |  |  | (a) x 6.550 |  | (b) + (c) |  |  |  | (b)+(a)/(8.76 x 0.75) | (b)+((a)/(8.76 x 0.85) | (b)+((a)/(8.76 x 0.95) |  |  | (a) /(8.76 x 91.8% x 57%) |  | (b) + (c) | (b)
Avoided Resource |  | Fixed Cost x 3 Months |  |  | Avoided Resource |  |  |  |  | Avoided Resource | [5 empty] | Avoided Resource
2015 |  | 29.95 |  |  | 2015 |  |  |  | 32.48 | 2015 | 29.95 | 32.48 | 37.04 | 36.5 | 36.08 | 2015 | 29.95 | 6.53 | 32.48 | 39.01 | 32.48
2016 |  | 30.4 |  |  | 2016 |  |  |  | 34.12 | 2016 | 30.4 | 34.12 | 38.75 | 38.2 | 37.77 | 2016 | 30.4 | 6.63 | 34.12 | 40.75 | 34.12
2017 |  | 30.9475 |  |  | 2017 |  |  |  | 36.4 | 2017 | 30.9475 | 36.4 | 41.11 | 40.56 | 40.12 | 2017 | 30.9475 | 6.75 | 36.4 | 43.15 | 36.4
2018 |  | 31.535 |  |  | 2018 |  |  |  | 39.1 | 2018 | 31.535 | 39.1 | 43.9 | 43.34 | 42.89 | 2018 | 31.535 | 6.88 | 39.1 | 45.98 | 39.1
2019 |  | 32.105 |  |  | 2019 |  |  |  | 41.7 | 2019 | 32.105 | 41.7 | 46.59 | 46.01 | 45.56 | 2019 | 32.105 | 7 | 41.7 | 48.7 | 41.7
2020 |  | 32.7125 |  |  | 2020 |  |  |  | 44.14 | 2020 | 32.7125 | 44.14 | 49.12 | 48.53 | 48.07 | 2020 | 32.7125 | 7.14 | 44.14 | 51.28 | 44.14
CCCT Proxy Resource |  | Fixed Cost |  |  | CCCT Proxy Resource |  |  |  |  | CCCT Proxy Resource | [5 empty] | CCCT Proxy Resource
2021 | 133.64 | 133.48 | 0.16 | 3.4923e-05 | 2021 | 5.16 | 33.798 | 3.4923e-05 | 33.798 | 2021 | 133.48 | 33.798 | 54.11 | 51.72 | 49.84 | 2021 | 133.48 | 29.12 | 33.798 | 62.918 | 33.798
2022 | 136.34 | 136.15 | 0.19 | 4.1471e-05 | 2022 | 5.6 | 36.68 | 4.1471e-05 | 36.68 | 2022 | 136.15 | 36.68 | 57.4 | 54.97 | 53.04 | 2022 | 136.15 | 29.7 | 36.68 | 66.38 | 36.68
2023 | 139.08 | 138.88 | 0.2 | 4.3654e-05 | 2023 | 5.8 | 37.99 | 4.3654e-05 | 37.99 | 2023 | 138.88 | 37.99 | 59.13 | 56.64 | 54.68 | 2023 | 138.88 | 30.3 | 37.99 | 68.29 | 37.99
2024 | 142 | 141.8 | 0.2 | 4.3654e-05 | 2024 | 6.01 | 39.3655 | 4.3654e-05 | 39.3655 | 2024 | 141.8 | 39.3655 | 60.95 | 58.41 | 56.4 | 2024 | 141.8 | 30.94 | 39.3655 | 70.3055 | 39.3655
Columns |  |  |  |  | Columns |  |  |  |  | Columns | [5 empty] | Columns
(a) | Table 8 Column (f) - Table 8 Page 2 |  |  |  | (a) | Table 8 Page 2 Column (g) |  |  |  | (a) | Table 3 Column (b) |  |  |  |  | (a) | Table 3 Column (b)
(b) | Table 8 Column (f) - Table 8 Page 1 |  |  |  | (b) | Table 8 Page 2 Column (i) Heat rate 6.550 MMBtu/MWh |  |  |  | (b) | Table 4 Column (d) |  |  |  |  | (b) | Table 8 91.8% is the on-peak capacity factor of the Proxy Resource
(d) | 52.3% CCCT Energy Weighted Capacity Factor - Table 8 Page 3 |  |  |  | (c) | Table 3 Column (d) | [9 empty] | (c) | Table 4 Column (d)
[5 empty] | (d) | For 2021-2024 - Table 2 | [9 empty] | Notes
[16 empty] | (1) | Total Avoided Costs at Stated Capacity Factor are provided for illustrative purposes
and are not used for QF pricing.
[16 empty] | (2) | Off-Peak is the average annual energy only cost including capitalized energy
[16 empty] | (3) | On-Peak is average annual energy plus capacity costs

## Tables 7
Table 7
Comparison between Proposed and Current Avoided Costs
Total Avoided Costs with Capacity Costs included at 85.0% Capacity Factor
Year | Proposed (1) | Current | Difference
| Avoided Costs | Avoided Costs
| ($/MWH) | ($/MWH) | ($/MWH)
| (a) | (b) | (c)
(a) - (b)
2015 | 36.5 | 35.9262 | 0.57382
2016 | 38.2 | 37.7443 | 0.45566
2017 | 40.56 | 39.7435 | 0.8165
2018 | 43.34 | 41.6537 | 1.6863
2019 | 46.01 | 44.5059 | 1.5041
2020 | 48.53 | 47.6431 | 0.88692
2021 | 51.72 | 50.4813 | 1.2387
2022 | 54.97 | 57.6259 | -2.6559
2023 | 56.64 | 62.0622 | -5.4222
2024 | 58.41
9 Year (2015 to 2023) Levelized Prices (Nominal) @ 6.882% Discount Rate (2) |  |  |  | Discount Rate - 2013 IRP Update Page 39
$/MWH | 45.1137 | 44.9901 | 0.12356 | 6.882%
Columns
(a) | Table 5 Column (d)
(b) | Avoided Costs Approved by the Commission January 30, 2014
Note: | (1) Avoided costs are presented at expected levels. Actual prices received
by QFs will depend upon actual generation levels.
(2) Discount Rate - 2013 IRP Update Discount Rate

## Table 8
Table 8
Total Cost of Displaceable Resources
Page 1 of 3
Year | Estimated Capital Cost | Fixed Capital Cost at Real Levelized Rate | Fixed O&M | Variable O&M | Total O&M at Expected CF | Total Resource Fixed Costs
| $/kW | $/kW-yr | $/kW-yr | $/MWH | $/kW-yr | $/kW-yr
| (a) | (b) | (c) | (d) | (e) | (f)
SCCT Frame "F"x1 - West Side Options (1500')
2012 | 698.5165 | 55.56 | 41.29 | 9.39 | 58.56 | 114.12
2013 |  | 56.34 | 41.87 | 9.52 | 59.38 | 115.72
2014 |  | 57.3 | 42.58 | 9.68 | 60.39 | 117.69
2015 |  | 58.33 | 43.35 | 9.85 | 61.47 | 119.8
2016 |  | 59.2 | 44 | 10 | 62.4 | 121.6
2017 |  | 60.27 | 44.79 | 10.18 | 63.52 | 123.79
2018 |  | 61.42 | 45.64 | 10.37 | 64.72 | 126.14
2019 |  | 62.53 | 46.46 | 10.56 | 65.89 | 128.42
2020 |  | 63.72 | 47.34 | 10.76 | 67.13 | 130.85
2021 |  | 64.99 | 48.29 | 10.98 | 68.49 | 133.48
2022 |  | 66.29 | 49.26 | 11.2 | 69.86 | 136.15
2023 |  | 67.62 | 50.25 | 11.42 | 71.26 | 138.88
2024 |  | 69.04 | 51.31 | 11.66 | 72.76 | 141.8
Source: (a)(c)(d) |  | Plant Costs - 2013 IRP - Table 6.1 & 6.2
| (b) | = (a) x 0.07954 Payment Factor
| (e) | = (d) x (8.76 x 21% ) + (c)
| (f) | = (b) + (e)
SCCT Frame "F"x1 - West Side Options (1500')
| 197 | MW Plant capacity
| 698.5165 | Plant capacity cost - in $/kW
| 8.08 | Fixed O&M & Capitalized O&M
| 33.21 | Fixed Pipeline
| 41.29 | Fixed O&M including Fixed Pipeline & Capitalized O&M ($/kW-Yr)
| 9.39 | Variable O&M Costs inluding O&M Capitalized in $/MWh
| 7.954% | Payment Factor
| 21% | Capacity Factor
| 36.8% | Capacity Factor - On-peak 21.0% / 57% (percent of hours on-peak)
Table 8
Total Cost of Displaceable Resources
Page 2 of 3
Year | Estimated Capital Cost | Fixed Capital Cost at Real Levelized Rate | Fixed O&M | Variable O&M | Total O&M at Expected CF | Total Resource Fixed Costs | Fuel Cost | Total Resource Energy Cost | Total Resource Costs
| $/kW | $/kW-yr | $/kW-yr | $/MWH | $/kW-yr | $/kW-yr | $/MMBtu | $/MWh | $/MWh
| (a) | (b) | (c) | (d) | (e) | (f) | (g) | (h) | (i)
CCCT (Dry "J" Adv 1x1) - West Side Options (1500')
2012 | 918 | 72.3935 | 31.06 | 2.36 | 41.87 | 114.26
2013 |  | 73.41 | 31.49 | 2.39 | 42.44 | 115.85
2014 |  | 74.66 | 32.03 | 2.43 | 43.16 | 117.82
2015 |  | 76 | 32.61 | 2.47 | 43.93 | 119.93
2016 |  | 77.14 | 33.1 | 2.51 | 44.6 | 121.74
2017 |  | 78.53 | 33.7 | 2.56 | 45.43 | 123.96
2018 |  | 80.02 | 34.34 | 2.61 | 46.3 | 126.32
2019 |  | 81.46 | 34.96 | 2.66 | 47.15 | 128.61
2020 |  | 83.01 | 35.62 | 2.71 | 48.04 | 131.05
2021 |  | 84.67 | 36.33 | 2.76 | 48.97 | 133.64 | 5.16 | 33.8 | 62.97
2022 |  | 86.36 | 37.06 | 2.82 | 49.98 | 136.34 | 5.6 | 36.68 | 66.44
2023 |  | 88.09 | 37.8 | 2.88 | 50.99 | 139.08 | 5.8 | 37.99 | 68.35
2024 |  | 89.94 | 38.59 | 2.94 | 52.06 | 142 | 6.01 | 39.37 | 70.36
Table 8
Total Cost of Displaceable Resources
Page 3 of 3
Sources, Inputs and Assumptions
Source: (a)(c)(d) |  | Plant Costs - 2013 IRP - Table 6.1 & 6.2
| (b) | = (a) x 0.07886 Payment Factor
| (e) | = (d) x (8.76 x 52.3%) + (c)
| (f) | = (b) + (e)
| (g) | -
| (h) | = 6,550 MMBtu/MWH x (g)
| (i) | = (f) / (8.76 x 'Capacity Factor' ) + (h)
CCCT (Dry "J" Adv 1x1) - West Side Options (1500')
| CCCT Statistics |  |  | MW | Percent | Cap Cost | Fixed
| CCCT (Dry "J" 1x1) |  |  | 425 | 90.81% | 962 | 31.29
| CCCT Duct Firing (Dry "J" 1x1) |  |  | 43 | 9.188% | 486 | 28.74
| Capacity Weighted |  |  | 468 | 100% | 918 | 31.06
| CCCT Statistics |  |  | MW | CF | aMW | Percent | Variable | Heat Rate
| CCCT (Dry "J" 1x1) |  |  | 425 | 56% | 238 | 97.19% | 2.43 | 6495
| CCCT Duct Firing (Dry "J" 1x1) |  |  | 43 | 16% | 6.88 | 2.81% | 0.08 | 8611
| Energy Weighted |  |  | 468 | 52.3% | 244.88 | 100% | 2.36 | 6550
Rounded
| CCCT | Duct Firing | Plant Costs - 2013 IRP - Table 6.1 & 6.2
| 425 | 43 | MW Plant capacity
| 962 | 486 | Plant capacity cost
| 9.61 | 0 | Fixed O&M & Capitalized O&M
| 21.68 | 28.74 | Fixed Pipeline
| 31.29 | 28.74 | Fixed O&M including Fixed Pipeline & on-going capital cost
| 2.43 | 0.08 | Variable O&M Costs & Capitalized Variable O&M ($/MWh)
| 6495 | 8611 | Heat Rate in btu/kWh
| 7.886% | 7.886% | Payment Factor
| 56% | 16% | Capacity Factor
|  | 52.3% | Energy Weighted Capacity Factor
|  | 91.8% | Capacity Factor - On-peak 52.3% / 57% (percent of hours on-peak)
| Company Official Inflation Forecast Dated September 2014 Forecast | [8 empty] | Company Official Inflation Forecast - Dated March 2010
| 2012 |  |  | 2021 | 2% |  | 2030 | 1.9% |  | 2009 | 0.4%
| 2013 | 1.4% |  | 2022 | 2% |  | 2031 | 1.9% |  | 2010 | 1.3%
| 2014 | 1.7% |  | 2023 | 2% |  | 2032 | 1.9% |  | 2011 | 1.7%
| 2015 | 1.8% |  | 2024 | 2.1% |  | 2033 | 2% |  | 2012 | 2%
| 2016 | 1.5% |  | 2025 | 2% |  | 2034 | 1.9% |  | 2013 | 2%
| 2017 | 1.8% |  | 2026 | 2% |  | 2035 | 2% |  | 2014 | 1.9%
| 2018 | 1.9% |  | 2027 | 2% |  | 2036 | 2% |  | 2015 | 1.9%
| 2019 | 1.8% |  | 2028 | 1.9% |  | 2037 | 2% |  | 2016 | 1.9%
| 2020 | 1.9% |  | 2029 | 1.9% |  | 2038 | 2% |  | 2017 | 1.9%
[10 empty] | 2018 | 1.9%
[10 empty] | 2019 | 1.8%
[10 empty] | 2020 | 1.7%
[10 empty] | 2021 | 1.6%
[10 empty] | 2022 | 1.6%
[10 empty] | 2023 | 1.6%
[10 empty] | 2024 | 1.7%
[10 empty] | 2025 | 1.7%

## Table 9
Table 9
Natural Gas Price - Delivered to Plant
$/MMBtu
Burnertip
Year | East Side Gas
Fuel Cost
(a)
2021 | 5.16
2022 | 5.6
2023 | 5.8
2024 | 6.01
Source
Offical Market Price Forecast dated September 2014

## Tariff Page
Avoided Cost Prices
Intended to be Cut and Pasted Directly into the Tariff
Currrent Methodology
Capacity
Deliveries | Capacity | Energy | Capacity
During | Price | Payment | Price
Calendar Year | $/kW-Month | $/MWH | $/kW-yr
2015 | 2.5 | 32.48 | 29.95
2016 | 2.53 | 34.12 | 30.4
2017 | 2.58 | 36.4 | 30.9475
2018 | 2.63 | 39.1 | 31.535
2019 | 2.68 | 41.7 | 32.105
2020 | 2.73 | 44.14 | 32.7125
2021 | 11.12 | 33.8 | 133.48
2022 | 11.35 | 36.68 | 136.15
2023 | 11.57 | 37.99 | 138.88
2024 | 11.82 | 39.37 | 141.8
$/kW-month | 5.453
$/MWh |  | 37.1335
Discount Rate - 2013 IRP Update Page 39
6.882%