## FCR Read Me
Special Contract
UE-19xxxx Electric Rate Design Work Paper
Proposed Effective May 2020
Background | In order to caculate customer-specific rates, it is necessary to convert the distribution plant used by the customer into a levelized fixed charge rate (FCR). This spreadsheet shows what annual rate is necessary to recover the remaining value of the distribution facilities used to serve the customer
Inputs | Once the cost of capital and capital structure for the rate case has been determined, those numbers should be entered in the top of the tab LvlFCR.
Notes: | Based upon the depreciation study, gross plant, and plant in service assume all facilities under the Special Contract distribution rate have an original life of 49 years for substation equipment and 35 years for OH/UG Feeder
Cost of Capital updated for Docket No. UE-19xxxx @ 7.620%

## MSSC FCR Table
Special Contract Fixed Charge Rates For Land and Depreciable Plant
Docket No. UE-19xxxx + Weighted Cost of Capital = 7.620% + 49 Year Substation Plant Life + 35 Year Feeder Plant Life
Special Contract Table
With FIT & Revenue sensitive together
Book Life | Real Property O&M, A&G and Capital Charge | FCR on Net Plant Value of Feeders | FCR on Net Plant Value of Substations
0 | 9.21% | 8.979% | 10.11%
1 |  | 8.981% | 10.05%
2 |  | 8.998% | 10.01%
3 |  | 9.022% | 9.974%
4 |  | 9.053% | 9.939%
5 |  | 9.091% | 9.904%
6 |  | 9.137% | 9.868%
7 |  | 9.19% | 9.83%
8 |  | 9.251% | 9.787%
9 |  | 9.324% | 9.742%
10 |  | 9.409% | 9.696%
11 |  | 9.509% | 9.659%
12 |  | 9.626% | 9.635%
13 |  | 9.764% | 9.62%
14 |  | 9.926% | 9.616%
15 |  | 10.12% | 9.624%
16 |  | 10.34% | 9.647%
17 |  | 10.61% | 9.688%
18 |  | 10.94% | 9.748%
19 |  | 11.33% | 9.832%
20 |  | 11.8% | 9.944%
21 |  | 12.34% | 10.05%
22 |  | 12.95% | 10.15%
23 |  | 13.69% | 10.26%
24 |  | 14.58% | 10.38%
25 |  | 15.66% | 10.51%
26 |  | 17.02% | 10.65%
27 |  | 18.77% | 10.8%
28 |  | 21.09% | 10.96%
29 |  | 24.29% | 11.15%
30 |  | 28.99% | 11.35%
31 |  | 36.47% | 11.57%
32 |  | 50.11% | 11.82%
33 |  | 81.65% | 12.1%
34 |  | 210.1% | 12.42%
35 |  |  | 12.79%
36 |  |  | 12.48%
37 |  |  | 12.11%
38 |  |  | 11.65%
39 |  |  | 12.25%
40 |  |  | 12.98%
41 |  |  | 13.89%
42 |  |  | 15.07%
43 |  |  | 15.11%
44 |  |  | 15.14%
45 |  |  | 15.18%
46 |  |  | 15.22%
47 |  |  | 15.26%
48 |  |  | 15.31%
49

## FCR Rates Feeder
Special Contract Fixed Charge Rates For Depreciable Plant
Docket No. UE-19xxxx + Weighted Cost of Capital = 7.620% + 35 Year Feeder Plant Life
Book Life | NPV Rev Requirements | Annualized | FCR on net Plant Value
0 | 108823.1857 | 8979.3824 | 8.979%
1 | 105061.9017 | 8724.1053 | 8.981%
2 | 101471.0992 | 8483.9443 | 8.998%
3 | 97928.9479 | 8248.9069 | 9.022%
4 | 94429.5038 | 8018.554 | 9.053%
5 | 90966.3698 | 7792.396 | 9.091%
6 | 87537.8014 | 7570.33 | 9.137%
7 | 84138.7112 | 7351.9576 | 9.19%
8 | 80763.6246 | 7136.8286 | 9.251%
9 | 77427.2086 | 6926.2709 | 9.324%
10 | 74132.4098 | 6720.6174 | 9.409%
11 | 70882.3995 | 6520.2442 | 9.509%
12 | 67680.5905 | 6325.5806 | 9.626%
13 | 64530.6559 | 6137.1212 | 9.764%
14 | 61436.5484 | 5955.4408 | 9.926%
15 | 58402.5221 | 5781.2149 | 10.12%
16 | 55433.1551 | 5615.2464 | 10.34%
17 | 52533.3744 | 5458.5009 | 10.61%
18 | 49708.4827 | 5312.1547 | 10.94%
19 | 46964.1863 | 5177.6613 | 11.33%
20 | 44306.6267 | 5056.8437 | 11.8%
21 | 41598.5006 | 4934.9546 | 12.34%
22 | 38838.4448 | 4811.6956 | 12.95%
23 | 36077.0634 | 4693.4171 | 13.69%
24 | 33314.2554 | 4580.8744 | 14.58%
25 | 30549.912 | 4475.1098 | 15.66%
26 | 27783.9163 | 4377.6139 | 17.02%
27 | 25016.1425 | 4290.606 | 18.77%
28 | 22246.4549 | 4217.5574 | 21.09%
29 | 19474.7077 | 4164.2352 | 24.29%
30 | 16700.7441 | 4141.0017 | 28.99%
31 | 13924.395 | 4168.5606 | 36.47%
32 | 11145.4789 | 4295.1972 | 50.11%
33 | 8363.8 | 4665.7388 | 81.65%
34 | 5579.1478 | 6004.2788 | 210.1%
35

## FCR Rates Sub
Special Contract Fixed Charge Rates For Depreciable Plant
Docket No. UE-19xxxx + Weighted Cost of Capital = 7.620% + 49 Year Sub Plant Life
Book Life | NPV Rev Requirements | Annualized | FCR on Gross Plant Value | NBV | FCR on NBV | FCR ON 10 Year Terms | Annual | Substation NBV Based on 10 Year
0 | 107825.1034 | 8447.4633 | 8.447% | 100000 | 8.447% | 68984.0456 | 10105.1414 | 10.11%
1 |  |  |  | 97959.1837 | 8.623% | 67189.781 | 9842.3082 | 10.05%
2 |  |  |  | 95918.3673 | 8.807% | 65542.8703 | 9601.0602 | 10.01%
3 |  |  |  | 93877.551 | 8.998% | 63919.7211 | 9363.2929 | 9.974%
4 |  |  |  | 91836.7347 | 9.198% | 62312.4925 | 9127.8577 | 9.939%
5 |  |  |  | 89795.9184 | 9.407% | 60712.7466 | 8893.5186 | 9.904%
6 |  |  |  | 87755.102 | 9.626% | 59116.5418 | 8659.6982 | 9.868%
7 |  |  |  | 85714.2857 | 9.855% | 57516.427 | 8425.3051 | 9.83%
8 |  |  |  | 83673.4694 | 10.1% | 55904.3833 | 8189.1645 | 9.787%
9 |  |  |  | 81632.6531 | 10.35% | 54292.3397 | 7953.024 | 9.742%
10 |  |  |  | 79591.8367 | 10.61% | 52680.296 | 7716.8835 | 9.696%
11 |  |  |  | 77551.0204 | 10.89% | 51137.3031 | 7490.8579 | 9.659%
12 |  |  |  | 75510.2041 | 11.19% | 49667.4281 | 7275.5429 | 9.635%
13 |  |  |  | 73469.3878 | 11.5% | 48250.0634 | 7067.92 | 9.62%
14 |  |  |  | 71428.5714 | 11.83% | 46889.2104 | 6868.5752 | 9.616%
15 |  |  |  | 69387.7551 | 12.17% | 45589.1751 | 6678.1392 | 9.624%
16 |  |  |  | 67346.9388 | 12.54% | 44354.592 | 6497.2911 | 9.647%
17 |  |  |  | 65306.1224 | 12.94% | 43190.4485 | 6326.7613 | 9.688%
18 |  |  |  | 63265.3061 | 13.35% | 42102.1121 | 6167.3361 | 9.748%
19 |  |  |  | 61224.4898 | 13.8% | 41095.3593 | 6019.8618 | 9.832%
20 |  |  |  | 59183.6735 | 14.27% | 40176.4068 | 5885.2488 | 9.944%
21 |  |  |  | 57142.8571 | 14.78% | 39208.0322 | 5743.3963 | 10.05%
22 |  |  |  | 55102.0408 | 15.33% | 38188.9597 | 5594.1172 | 10.15%
23 |  |  |  | 53061.2245 | 15.92% | 37169.8872 | 5444.8382 | 10.26%
24 |  |  |  | 51020.4082 | 16.56% | 36150.8147 | 5295.5592 | 10.38%
25 |  |  |  | 48979.5918 | 17.25% | 35131.7422 | 5146.2801 | 10.51%
26 |  |  |  | 46938.7755 | 18% | 34112.6697 | 4997.0011 | 10.65%
27 |  |  |  | 44897.9592 | 18.81% | 33093.5972 | 4847.7221 | 10.8%
28 |  |  |  | 42857.1429 | 19.71% | 32074.5247 | 4698.443 | 10.96%
29 |  |  |  | 40816.3265 | 20.7% | 31055.4521 | 4549.164 | 11.15%
30 |  |  |  | 38775.5102 | 21.79% | 30036.3796 | 4399.885 | 11.35%
31 |  |  |  | 36734.6939 | 23% | 29017.3071 | 4250.6059 | 11.57%
32 |  |  |  | 34693.8776 | 24.35% | 27998.2346 | 4101.3269 | 11.82%
33 |  |  |  | 32653.0612 | 25.87% | 26979.1621 | 3952.0478 | 12.1%
34 |  |  |  | 30612.2449 | 27.6% | 25960.0896 | 3802.7688 | 12.42%
35 |  |  |  | 28571.4286 | 29.57% | 24941.0171 | 3653.4898 | 12.79%
36 |  |  |  | 26530.6122 | 31.84% | 22605.9072 | 3311.4307 | 12.48%
37 |  |  |  | 24489.7959 | 34.49% | 20242.1409 | 2965.174 | 12.11%
38 |  |  |  | 22448.9796 | 37.63% | 17847.5347 | 2614.3996 | 11.65%
39 |  |  |  | 20408.1633 | 41.39% | 17060.1289 | 2499.0563 | 12.25%
40 |  |  |  | 18367.3469 | 45.99% | 16272.723 | 2383.713 | 12.98%
41 |  |  |  | 16326.5306 | 51.74% | 15485.3172 | 2268.3697 | 13.89%
42 |  |  |  | 14285.7143 | 59.13% | 14697.9113 | 2153.0264 | 15.07%
43 |  |  |  | 12244.898 | 68.99% | 12627.23 | 1849.7023 | 15.11%
44 |  |  |  | 10204.0816 | 82.79% | 10548.0419 | 1545.132 | 15.14%
45 |  |  |  | 8163.2653 | 103.5% | 8459.6986 | 1239.2206 | 15.18%
46 |  |  |  | 6122.449 | 138% | 6361.5026 | 931.8659 | 15.22%
47 |  |  |  | 4081.6327 | 207% | 4252.703 | 622.958 | 15.26%
48 |  |  |  | 2040.8163 | 413.9% | 2132.492 | 312.3785 | 15.31%
49

## Lvl FCR Sub Equip
Special Contract Analysis | [12 empty] | ‚
For Substations and Feeder Lines at Primary Service Voltage | [7 empty] | CAPITAL STRUCTURE: |  |  |  |  | ‚
[8 empty] | ALL DEBT | 51.5% | 5.573% | 2.87% |  | ‚
[8 empty] | PREFERRED | 48.5% | 9.8% | 4.75% |  | ‚
|  | NPV Revenue Req. |  | 107825.1034 | [8 empty] | ‚
|  | Annual Equivalent |  | 8447.4633 | [6 empty] | ----------- |  | ‚
|  | FCR |  | 8.4475 |  |  |  | COST OF CAPITAL |  |  | 7.62% |  | ‚
‚
|  | 1st YR MOS. | 12 |  |  |  | 0.04% | Insurance Rate |  |  |  |  | ‚
|  | BOOK VALUE | 100000 |  |  |  | 49 | Substation Book Life |  |  |  |  | ‚
|  | TAX BASIS | 100000 |  |  |  | 24.86% | Income Tax Rate + Revenue Sensitive Items = 1-Conv Factor |  |  |  |  | ‚
|  | DEPREC BASE | 100000 |  |  |  | 21% | Income Tax Rate
Year | Net Book Value | 20 Year MACRS | Net Investment | Tax Depreciation | Deferred Taxes | Debt Return | Equity Return | Book Depreciation | Property Insurance | Income Taxes | Revenue Requirement | NPV10 Years
1 | 100000 | 0.038 | 100000 | 3800 | 369.4286 | 2870 | 4750 | 2040.8163 | 40 | 1125.0823 | 11195.3272 | 68984.0456
2 | 97959.1837 | 0.072 | 97589.7551 | 7200 | 1083.4286 | 2800.826 | 4635.5134 | 2040.8163 | 39.1837 | 198.1795 | 10797.9475 | 67189.781
3 | 95918.3673 | 0.067 | 94465.5102 | 6700 | 978.4286 | 2711.1601 | 4487.1117 | 2040.8163 | 38.3673 | 279.5046 | 10535.3887 | 65542.8703
4 | 93877.551 | 0.062 | 91446.2653 | 6200 | 873.4286 | 2624.5078 | 4343.6976 | 2040.8163 | 37.551 | 362.4799 | 10282.4812 | 63919.7211
5 | 91836.7347 | 0.057 | 88532.0204 | 5700 | 768.4286 | 2540.869 | 4205.271 | 2040.8163 | 36.7347 | 447.1055 | 10039.225 | 62312.4925
6 | 89795.9184 | 0.053 | 85722.7755 | 5300 | 684.4286 | 2460.2437 | 4071.8318 | 2040.8163 | 35.9184 | 507.2416 | 9800.4804 | 60712.7466
7 | 87755.102 | 0.049 | 82997.5306 | 4900 | 600.4286 | 2382.0291 | 3942.3827 | 2040.8163 | 35.102 | 568.698 | 9569.4567 | 59116.5418
8 | 85714.2857 | 0.045 | 80356.2857 | 4500 | 516.4286 | 2306.2254 | 3816.9236 | 2040.8163 | 34.2857 | 631.4745 | 9346.1541 | 57516.427
9 | 83673.4694 | 0.045 | 77799.0408 | 4500 | 516.4286 | 2232.8325 | 3695.4544 | 2040.8163 | 33.4694 | 591.0124 | 9110.0136 | 55904.3833
10 | 81632.6531 | 0.045 | 75241.7959 | 4500 | 516.4286 | 2159.4395 | 3573.9853 | 2040.8163 | 32.6531 | 550.5502 | 8873.8731 | 54292.3397
11 | 79591.8367 | 0.045 | 72684.551 | 4500 | 516.4286 | 2086.0466 | 3452.5162 | 2040.8163 | 31.8367 | 510.0881 | 8637.7325 | 52680.296
12 | 77551.0204 | 0.045 | 70127.3061 | 4500 | 516.4286 | 2012.6537 | 3331.047 | 2040.8163 | 31.0204 | 469.626 | 8401.592 | 51137.3031
13 | 75510.2041 | 0.045 | 67570.0612 | 4500 | 516.4286 | 1939.2608 | 3209.5779 | 2040.8163 | 30.2041 | 429.1638 | 8165.4514 | 49667.4281
14 | 73469.3878 | 0.045 | 65012.8163 | 4500 | 516.4286 | 1865.8678 | 3088.1088 | 2040.8163 | 29.3878 | 388.7017 | 7929.3109 | 48250.0634
15 | 71428.5714 | 0.045 | 62455.5714 | 4500 | 516.4286 | 1792.4749 | 2966.6396 | 2040.8163 | 28.5714 | 348.2395 | 7693.1704 | 46889.2104
16 | 69387.7551 | 0.045 | 59898.3265 | 4500 | 516.4286 | 1719.082 | 2845.1705 | 2040.8163 | 27.7551 | 307.7774 | 7457.0298 | 45589.1751
17 | 67346.9388 | 0.045 | 57341.0816 | 4500 | 516.4286 | 1645.689 | 2723.7014 | 2040.8163 | 26.9388 | 267.3152 | 7220.8893 | 44354.592
18 | 65306.1224 | 0.045 | 54783.8367 | 4500 | 516.4286 | 1572.2961 | 2602.2322 | 2040.8163 | 26.1224 | 226.8531 | 6984.7488 | 43190.4485
19 | 63265.3061 | 0.045 | 52226.5918 | 4500 | 516.4286 | 1498.9032 | 2480.7631 | 2040.8163 | 25.3061 | 186.3909 | 6748.6082 | 42102.1121
20 | 61224.4898 | 0.045 | 49669.3469 | 4500 | 516.4286 | 1425.5103 | 2359.294 | 2040.8163 | 24.4898 | 145.9288 | 6512.4677 | 41095.3593
21 | 59183.6735 | 0.017 | 47112.102 | 1700 | -71.5714 | 1352.1173 | 2237.8248 | 2040.8163 | 23.6735 | 837.3792 | 6420.2398 | 40176.4068
22 | 57142.8571 | 0 | 45142.8571 | 0 | -428.5714 | 1295.6 | 2144.2857 | 2040.8163 | 22.8571 | 1250.5342 | 6325.5219 | 39208.0322
23 | 55102.0408 | 0 | 43530.6122 | 0 | -428.5714 | 1249.3286 | 2067.7041 | 2040.8163 | 22.0408 | 1224.9245 | 6176.2429 | 38188.9597
24 | 53061.2245 | 0 | 41918.3673 | 0 | -428.5714 | 1203.0571 | 1991.1224 | 2040.8163 | 21.2245 | 1199.3149 | 6026.9638 | 37169.8872
25 | 51020.4082 | 0 | 40306.1224 | 0 | -428.5714 | 1156.7857 | 1914.5408 | 2040.8163 | 20.4082 | 1173.7052 | 5877.6848 | 36150.8147
26 | 48979.5918 | 0 | 38693.8776 | 0 | -428.5714 | 1110.5143 | 1837.9592 | 2040.8163 | 19.5918 | 1148.0956 | 5728.4058 | 35131.7422
27 | 46938.7755 | 0 | 37081.6327 | 0 | -428.5714 | 1064.2429 | 1761.3776 | 2040.8163 | 18.7755 | 1122.4859 | 5579.1267 | 34112.6697
28 | 44897.9592 | 0 | 35469.3878 | 0 | -428.5714 | 1017.9714 | 1684.7959 | 2040.8163 | 17.9592 | 1096.8763 | 5429.8477 | 33093.5972
29 | 42857.1429 | 0 | 33857.1429 | 0 | -428.5714 | 971.7 | 1608.2143 | 2040.8163 | 17.1429 | 1071.2666 | 5280.5687 | 32074.5247
30 | 40816.3265 | 0 | 32244.898 | 0 | -428.5714 | 925.4286 | 1531.6327 | 2040.8163 | 16.3265 | 1045.657 | 5131.2896 | 31055.4521
31 | 38775.5102 | 0 | 30632.6531 | 0 | -428.5714 | 879.1571 | 1455.051 | 2040.8163 | 15.5102 | 1020.0473 | 4982.0106 | 30036.3796
32 | 36734.6939 | 0 | 29020.4082 | 0 | -428.5714 | 832.8857 | 1378.4694 | 2040.8163 | 14.6939 | 994.4377 | 4832.7315 | 29017.3071
33 | 34693.8776 | 0 | 27408.1633 | 0 | -428.5714 | 786.6143 | 1301.8878 | 2040.8163 | 13.8776 | 968.828 | 4683.4525 | 27998.2346
34 | 32653.0612 | 0 | 25795.9184 | 0 | -428.5714 | 740.3429 | 1225.3061 | 2040.8163 | 13.0612 | 943.2184 | 4534.1735 | 26979.1621
35 | 30612.2449 | 0 | 24183.6735 | 0 | -428.5714 | 694.0714 | 1148.7245 | 2040.8163 | 12.2449 | 917.6087 | 4384.8944 | 25960.0896
36 | 28571.4286 | 0 | 22571.4286 | 0 | -428.5714 | 647.8 | 1072.1429 | 2040.8163 | 11.4286 | 891.9991 | 4235.6154 | 24941.0171
37 | 26530.6122 | 0 | 20959.1837 | 0 | -428.5714 | 601.5286 | 995.5612 | 2040.8163 | 10.6122 | 866.3894 | 4086.3364 | 22605.9072
38 | 24489.7959 | 0 | 19346.9388 | 0 | -428.5714 | 555.2571 | 918.9796 | 2040.8163 | 9.7959 | 840.7798 | 3937.0573 | 20242.1409
39 | 22448.9796 | 0 | 17734.6939 | 0 | -428.5714 | 508.9857 | 842.398 | 2040.8163 | 8.9796 | 815.1701 | 3787.7783 | 17847.5347
40 | 20408.1633 | 0 | 16122.449 | 0 | -428.5714 | 462.7143 | 765.8163 | 2040.8163 | 8.1633 | 789.5605 | 3638.4993 | 15419.7386
41 | 18367.3469 | 0 | 14510.2041 | 0 | -428.5714 | 416.4429 | 689.2347 | 2040.8163 | 7.3469 | 763.9508 | 3489.2202 | 12956.2234
42 | 16326.5306 | 0 | 12897.9592 | 0 | -428.5714 | 370.1714 | 612.6531 | 2040.8163 | 6.5306 | 738.3412 | 3339.9412 | 10454.2674
43 | 14285.7143 | 0 | 11285.7143 | 0 | -428.5714 | 323.9 | 536.0714 | 2040.8163 | 5.7143 | 712.7315 | 3190.6622 | 7910.9414
44 | 12244.898 | 0 | 9673.4694 | 0 | -428.5714 | 277.6286 | 459.4898 | 2040.8163 | 4.898 | 687.1219 | 3041.3831 | 5323.093
45 | 10204.0816 | 0 | 8061.2245 | 0 | -428.5714 | 231.3571 | 382.9082 | 2040.8163 | 4.0816 | 661.5122 | 2892.1041 | 2687.3296
46 | 8163.2653 | 0 | 6448.9796 | 0 | -428.5714 | 185.0857 | 306.3265 | 2040.8163 | 3.2653 | 635.9026 | 2742.825 | 2548.6202
47 | 6122.449 | 0 | 4836.7347 | 0 | -428.5714 | 138.8143 | 229.7449 | 2040.8163 | 2.449 | 610.2929 | 2593.546 | 2409.9108
48 | 4081.6327 | 0 | 3224.4898 | 0 | -428.5714 | 92.5429 | 153.1633 | 2040.8163 | 1.6327 | 584.6833 | 2444.267 | 2271.2014
49 | 2040.8163 | 0 | 1612.2449 | 0 | -428.5714 | 46.2714 | 76.5816 | 2040.8163 | 0.81633 | 559.0736 | 2294.9879 | 2132.492
50 | 5.2296e-11 | 0 | 8.5265e-11 | 0 | 0 | 2.4471e-12 | 4.0501e-12 | 0 | 2.0918e-14 | 1.347e-12 | 7.8651e-12 | 7.3083e-12
----------- |  | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | -----------
TOTAL |  | 1 |  | 100000 | -1.0118e-11 | 62784.2348 | 103911.19 | 100000 | 1000 | 34713.3014 | 302408.7262
|  | PRESENT WORTH |  | 52121.5977 | 5475.1645 | 25790.6221 | 42684.8276 | 26049.3858 | 388.1922 | 7436.9112 | 107825.1034

## Lvl FCR Feeder
Special Contract Analysis | [12 empty] | ‚
For Substations and Feeder Lines at Primary Service Voltage | [7 empty] | CAPITAL STRUCTURE |  |  |  |  | ‚
[8 empty] | ALL DEBT | 51.5% | 5.573% | 2.87% |  | ‚
[8 empty] | PREFERRED | 48.5% | 9.8% | 4.75% |  | ‚
|  | NPV Revenue Req. |  | 108609.6103 | [8 empty] | ‚
|  | Annual Equivalent |  | 8961.7595 | [6 empty] | ----------- |  | ‚
|  | FCR |  | 8.9618 |  |  |  | COST OF CAPITAL |  |  | 7.62% |  | ‚
‚
|  | 1st YR MOS. | 12 |  |  |  | 0.04% | Insurance Rate |  |  |  |  | ‚
|  | BOOK VALUE | 100000 |  |  |  | 35 | Feeder Book Life |  |  |  |  | ‚
|  | TAX BASIS | 100000 |  |  |  | 24.86% | Income Tax Rate + Revenue Sensitive Items |  |  |  |  | ‚
|  | DEPREC BASE | 100000 |  |  |  | 21% | Income Tax Rate
Year | Net Book Value | 20 Year MACRS | Net Investment | Tax Depreciation | Deferred Taxes | Debt Return | Equity Return | Book Depreciation | Property Insurance | Income Taxes | Revenue Requirement | NPV10 Years
1 | 100000 | 0.038 | 100000 | 3800 | 198 | 2870 | 4750 | 2857.1429 | 40 | 1338.4679 | 12053.6108 | 73253.6464
2 | 97142.8571 | 0.072 | 96944.8571 | 7200 | 912 | 2782.3174 | 4604.8807 | 2857.1429 | 38.8571 | 401.3213 | 11596.5194 | 71051.7527
3 | 94285.7143 | 0.067 | 93175.7143 | 6700 | 807 | 2674.143 | 4425.8464 | 2857.1429 | 37.7143 | 472.4025 | 11274.249 | 68997.2131
4 | 91428.5714 | 0.062 | 89511.5714 | 6200 | 702 | 2568.9821 | 4251.7996 | 2857.1429 | 36.5714 | 545.1339 | 10961.6299 | 66966.4349
5 | 88571.4286 | 0.057 | 85952.4286 | 5700 | 597 | 2466.8347 | 4082.7404 | 2857.1429 | 35.4286 | 619.5156 | 10658.6621 | 64951.5773
6 | 85714.2857 | 0.053 | 82498.2857 | 5300 | 513 | 2367.7008 | 3918.6686 | 2857.1429 | 34.2857 | 669.4079 | 10360.2059 | 62944.2023
7 | 82857.1429 | 0.049 | 79128.1429 | 4900 | 429 | 2270.9777 | 3758.5868 | 2857.1429 | 33.1429 | 720.6204 | 10069.4706 | 60940.3685
8 | 80000 | 0.045 | 75842 | 4500 | 345 | 2176.6654 | 3602.495 | 2857.1429 | 32 | 773.1531 | 9786.4564 | 58932.6248
9 | 77142.8571 | 0.045 | 72639.8571 | 4500 | 345 | 2084.7639 | 3450.3932 | 2857.1429 | 30.8571 | 722.4471 | 9490.6042 | 56912.9521
10 | 74285.7143 | 0.045 | 69437.7143 | 4500 | 345 | 1992.8624 | 3298.2914 | 2857.1429 | 29.7143 | 671.7411 | 9194.7521 | 54893.2794
11 | 71428.5714 | 0.045 | 66235.5714 | 4500 | 345 | 1900.9609 | 3146.1896 | 2857.1429 | 28.5714 | 621.0351 | 8898.8999 | 52873.6067
12 | 68571.4286 | 0.045 | 63033.4286 | 4500 | 345 | 1809.0594 | 2994.0879 | 2857.1429 | 27.4286 | 570.3291 | 8603.0478 | 50922.9849
13 | 65714.2857 | 0.045 | 59831.2857 | 4500 | 345 | 1717.1579 | 2841.9861 | 2857.1429 | 26.2857 | 519.6231 | 8307.1956 | 49045.4808
14 | 62857.1429 | 0.045 | 56629.1429 | 4500 | 345 | 1625.2564 | 2689.8843 | 2857.1429 | 25.1429 | 468.9171 | 8011.3435 | 47220.4871
15 | 60000 | 0.045 | 53427 | 4500 | 345 | 1533.3549 | 2537.7825 | 2857.1429 | 24 | 418.2111 | 7715.4913 | 45452.0051
16 | 57142.8571 | 0.045 | 50224.8571 | 4500 | 345 | 1441.4534 | 2385.6807 | 2857.1429 | 22.8571 | 367.5051 | 7419.6392 | 43744.3408
17 | 54285.7143 | 0.045 | 47022.7143 | 4500 | 345 | 1349.5519 | 2233.5789 | 2857.1429 | 21.7143 | 316.7991 | 7123.787 | 42102.1287
18 | 51428.5714 | 0.045 | 43820.5714 | 4500 | 345 | 1257.6504 | 2081.4771 | 2857.1429 | 20.5714 | 266.0931 | 6827.9349 | 40530.3562
19 | 48571.4286 | 0.045 | 40618.4286 | 4500 | 345 | 1165.7489 | 1929.3754 | 2857.1429 | 19.4286 | 215.3871 | 6532.0827 | 39034.3908
20 | 45714.2857 | 0.045 | 37416.2857 | 4500 | 345 | 1073.8474 | 1777.2736 | 2857.1429 | 18.2857 | 164.681 | 6236.2306 | 37620.009
21 | 42857.1429 | 0.017 | 34214.1429 | 1700 | -243 | 981.9459 | 1625.1718 | 2857.1429 | 17.1429 | 845.8876 | 6084.291 | 36293.4275
22 | 40000 | 0 | 31600 | 0 | -600 | 906.92 | 1501 | 2857.1429 | 16 | 1248.7987 | 5929.8616 | 34917.4239
23 | 37142.8571 | 0 | 29342.8571 | 0 | -600 | 842.14 | 1393.7857 | 2857.1429 | 14.8571 | 1212.9452 | 5720.8709 | 33490.7224
24 | 34285.7143 | 0 | 27085.7143 | 0 | -600 | 777.36 | 1286.5714 | 2857.1429 | 13.7143 | 1177.0917 | 5511.8803 | 32064.0209
25 | 31428.5714 | 0 | 24828.5714 | 0 | -600 | 712.58 | 1179.3571 | 2857.1429 | 12.5714 | 1141.2382 | 5302.8896 | 30637.3194
26 | 28571.4286 | 0 | 22571.4286 | 0 | -600 | 647.8 | 1072.1429 | 2857.1429 | 11.4286 | 1105.3847 | 5093.899 | 29210.6179
27 | 25714.2857 | 0 | 20314.2857 | 0 | -600 | 583.02 | 964.9286 | 2857.1429 | 10.2857 | 1069.5312 | 4884.9083 | 26342.568
28 | 22857.1429 | 0 | 18057.1429 | 0 | -600 | 518.24 | 857.7143 | 2857.1429 | 9.1429 | 1033.6777 | 4675.9177 | 23464.9633
29 | 20000 | 0 | 15800 | 0 | -600 | 453.46 | 750.5 | 2857.1429 | 8 | 997.8242 | 4466.927 | 20577.0759
30 | 17142.8571 | 0 | 13542.8571 | 0 | -600 | 388.68 | 643.2857 | 2857.1429 | 6.8571 | 961.9706 | 4257.9364 | 17678.1221
31 | 14285.7143 | 0 | 11285.7143 | 0 | -600 | 323.9 | 536.0714 | 2857.1429 | 5.7143 | 926.1171 | 4048.9457 | 14767.2586
32 | 11428.5714 | 0 | 9028.5714 | 0 | -600 | 259.12 | 428.8571 | 2857.1429 | 4.5714 | 890.2636 | 3839.9551 | 11843.578
33 | 8571.4286 | 0 | 6771.4286 | 0 | -600 | 194.34 | 321.6429 | 2857.1429 | 3.4286 | 854.4101 | 3630.9644 | 8906.1036
34 | 5714.2857 | 0 | 4514.2857 | 0 | -600 | 129.56 | 214.4286 | 2857.1429 | 2.2857 | 818.5566 | 3421.9738 | 5953.7843
35 | 2857.1429 | 0 | 2257.1429 | 0 | -600 | 64.78 | 107.2143 | 2857.1429 | 1.1429 | 782.7031 | 3212.9831 | 5579.1478
36 | 3.9108e-11 | 0 | 3.0013e-11 | 0 | -600 | 8.6138e-13 | 1.4256e-12 | 2857.1429 | 1.5643e-14 | 746.8496 | 3003.9925 | 204326.5716
----------- |  | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | -----------
TOTAL |  | 1 |  | 100000 | -1.819e-12 | 46913.1348 | 77643.69 | 100000 | 720 | 25929.192 | 251206.0168
|  | PRESENT WORTH |  | 52121.5977 | 3673.9985 | 23238.5763 | 38461.0584 | 34626.3668 | 343.1687 | 8266.4416 | 108609.6103

## LvlFCR Land
Special Contract Analysis | [7 empty] | CAPITAL STRUCTURE |  |  |  | ‚
For Substations and Feeder Lines at Primary Service Voltage | [11 empty] | ‚
‚
[8 empty] | ALL DEBT | 51.5% | 5.573% | 2.87% | ‚
|  | NPV Revenue Req. |  | 117558.3458 |  |  |  | PREFERRED | 48.5% | 9.8% | 4.75% | ‚
|  | Annual Equivalent |  | 9210.0057 | [7 empty] | ‚
|  | FCR |  | 9.21 |  | 0.0921 |  |  |  |  | ----------- | ‚
[8 empty] | COST OF CAPITAL |  |  | 7.62% | ‚
|  | 1st YR MOS. |  | 12 | [7 empty] | ‚
|  | BOOK VALUE |  | 100000 |  |  |  | 49 | Book Life |  |  | ‚
|  | TAX BASIS |  | 100000 |  |  |  | 24.86% | Income Tax Rate + Revenue Sensitive Items |  |  | ‚
|  | DEPREC BASE |  | 100000 |  |  |  | 21% | Income Tax Rate
Year | Net Book Value | 20 Year MACRS | Net Investment | Tax Depreciation | Deferred Taxes | Debt Return | Equity Return | Book Depreciation | Income Taxes | Revenue Requirement
1 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
2 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
3 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
4 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
5 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
6 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
7 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
8 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
9 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
10 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
11 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
12 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
13 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
14 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
15 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
16 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
17 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
18 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
19 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
20 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
21 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
22 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
23 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
24 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
25 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
26 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
27 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
28 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
29 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
30 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
31 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
32 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
33 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
34 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
35 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
36 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
37 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
38 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
39 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
40 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
41 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
42 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
43 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
44 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
45 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
46 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
47 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
48 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
49 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
50 | 100000 | 0 | 100000 | 0 | 0 | 2870 | 4750 | 0 | 1571.693 | 9191.693
----------- |  | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | ----------- | -----------
TOTAL |  | 0% |  | 0 | 0 | 143500 | 237500 | 0 | 78584.6495 | 459584.6495
|  | PRESENT WORTH |  | 0 | 0 | 36706.236 | 60750.7391 | 0 | 20101.3707 | 117558.3458

## Sub & Feeder Depr Life
| PUGET SOUND ENERGY-ELECTRIC |  |  | Reference 6.21
DEPRECIATION RESTATEMENT - ELECTRIC
FOR THE TWELVE MONTHS ENDED DECEMBER 31, 2018
2019 GENERAL RATE CASE
ACCOUNT |  | PROPOSED
NUMBER | DESCRIPTION | RATE | Life
362 | STATION EQUIPMENT | 2.04% | 49 | Years
364 | POLES, TOWERS AND FIXTURES | 3.14% | 32 | Years
365 | OVERHEAD CONDUCTORS AND DEVICES | 3.74% | 27 | Years
366 | UNDERGROUND CONDUIT | 1.77% | 56 | Years
367 | UNDERGROUND CONDUCTORS AND DEVICES | 3.93% | 25 | Years
364-367 | Average Life of Feeders |  | 35 | Years

## Converson Factor
PUGET SOUND ENERGY
ELECTRIC RESULTS OF OPERATIONS
2019 GENERAL RATE CASE
12 MONTHS ENDED DECEMBER 31, 2018
CONVERSION FACTOR
DESCRIPTION
BAD DEBTS |  | 0.008479
ANNUAL FILING FEE |  | 0.002
STATE UTILITY TAX ( 3.8406% - ( LINE 1 * 3.8406% ) ) | 3.873% | 0.038406
SUM OF TAXES OTHER |  | 0.048885
CONVERSION FACTOR EXCLUDING FEDERAL INCOME TAX ( 1 - LINE 6 ) |  | 0.95112
FEDERAL INCOME TAX ( LINE 7 * 21% ) | 21% | 0.19973
CONVERSION FACTOR INCL FEDERAL INCOME TAX ( LINE 7 - LINE 8 ) |  | 0.75138

## Cost of Capital
PUGET SOUND ENERGY
ELECTRIC RESULTS OF OPERATIONS
2019 GENERAL RATE CASE
12 MONTHS ENDED DECEMBER 31, 2018
COST OF CAPITAL - GRC
LINE |  | CAPITAL |  | WEIGHTED
NO. | DESCRIPTION | STRUCTURE | COST | COST
1 | SHORT AND LONG TERM DEBT | 51.5% | 5.573% | 2.87%
2 | EQUITY | 48.5% | 9.8% | 4.75%
3 | TOTAL | 100% |  | 7.62%
4
5 | AFTER TAX SHORT TERM DEBT ( (LINE 1)* 79%) | 51.5% | 4.403% | 2.27%
6 | EQUITY | 48.5% | 9.8% | 4.75%
7 | TOTAL AFTER TAX COST OF CAPITAL | 100% |  | 7.02%

## Property Insurance Rate
Puget Sound Energy
FCR Property Insurance Rate
Docket No. UE-19xxxx
Line No. | Description | Source
1 | A&G Exp - Prop Insurance - Other | SEF WP 4.07E (FERC Income Statement) | 4733023.9572
2 | Total Plant in Service | SEF WP 4.00E (Summary Electric Model) | 10965881739.479
3 | Property Insurance Rate | Line 1 / Line 2 | 0.04%